## 70x30_RE_Buildout_ScenarioLoad
Area | Sub-type | PSSE Bus | PSSE Bus name | Voltage Level(kV) | Capacity(MW)
NYCITY | Added OSW | 126287 | GOWANUS | 345 | 816
LONG ISLAND | Added OSW | 129421 | HOLBROOK | 138 | 880
LONG ISLAND | Added OSW | 129868 | EHAMP | 69 | 130
NYCITY | Added OSW | 126645 | FARRAGUT | 345 | 544
LONG ISLAND | Added OSW | 129415 | BRKHVEN3 | 138 | 384
NYCITY | Added OSW | 126287 | GOWANUS | 345 | 640
NYCITY | Added OSW | 126645 | FARRAGUT | 345 | 368
NYCITY | Added OSW | 126645 | FARRAGUT | 345 | 528
NYCITY | Added OSW | 126282 | FRESH KI | 345 | 320
NYCITY | Added OSW | 126282 | FRESH KI | 345 | 448
NYCITY | Added OSW | 126282 | FRESH KI | 345 | 384
NYCITY | Added OSW | 126282 | FRESH KI | 345 | 272
LONG ISLAND | Added OSW | 129361 | RULND RD | 138 | 384
WEST | Added LBW | 146245 | PPC_DUMMY | 115 | 80.56
WEST | Added LBW | 146286 | ARKWR_11 | 115 | 50.13
WEST | Added LBW | 130754 | SOMERSET | 345 | 128.71
WEST | Added LBW | 135277 | FALCONER | 115 | 84.4
WEST | Added LBW | 135250 | DUNKIRK | 230 | 63.94
WEST | Added LBW | 147804 | FREEDOM | 115 | 63.94
WEST | Added LBW | 135398 | 5MILE345 | 345 | 216.82
WEST | Added LBW | 135300 | BETH-149 | 115 | 127.88
WEST | Added LBW | 135301 | BETH-150 | 115 | 191.82
WEST | Added LBW | 135250 | DUNKIRK | 230 | 191.82
GENESEE | Added LBW | 135867 | OAKFLDTP | 115 | 49.89
GENESEE | Added LBW | 135874 | SWDN-113 | 115 | 125.1
GENESEE | Added LBW | 135853 | BATAVIA1 | 115 | 12.5
GENESEE | Added LBW | 135864 | NAKR-107 | 115 | 12.5
CENTRAL | Added LBW | 136212 | LABRADOR | 115 | 95.41
CENTRAL | Added LBW | 130751 | CNDGUA_T | 230 | 318.05
CENTRAL | Added LBW | 131342 | BENET115 | 115 | 107.3
CENTRAL | Added LBW | 136250 | WHITMAN | 115 | 76.97
CENTRAL | Added LBW | 136203 | HMMRMILL | 115 | 117.05
CENTRAL | Added LBW | 131342 | BENET115 | 115 | 308.2
CENTRAL | Added LBW | 147917 | OM-FENNR | 115 | 21.2
CENTRAL | Added LBW | 130761 | AVOCA230 | 230 | 155.85
NORTH | Added LBW | 147980 | PATNODE | 230 | 134.44
NORTH | Added LBW | 147980 | PATNODE | 230 | 204.09
NORTH | Added LBW | 147980 | PATNODE | 230 | 97.74
NORTH | Added LBW | 136791 | NICHOLVL | 115 | 67.23
NORTH | Added LBW | 147845 | WILLIS E | 230 | 200.47
MOHAWK VALLEY | Added LBW | 130856 | STILV115 | 115 | 15.97
MOHAWK VALLEY | Added LBW | 137240 | SCHUYLER | 115 | 29.27
MOHAWK VALLEY | Added LBW | 130771 | MADISONT | 115 | 64.42
MOHAWK VALLEY | Added LBW | 136778 | LOWVILLE | 115 | 93.89
MOHAWK VALLEY | Added LBW | 137928 | CHASES L | 230 | 69.22
MOHAWK VALLEY | Added LBW | 136755 | BLACK RV | 115 | 88.74
MOHAWK VALLEY | Added LBW | 136755 | BLACK RV | 115 | 399.34
MOHAWK VALLEY | Added LBW | 130856 | STILV115 | 115 | 110.22
MOHAWK VALLEY | Added LBW | 130796 | E.NOR115 | 115 | 89.44
WEST | Added UPV | 130857 | STOLE115 | 115 | 27.56
WEST | Added UPV | 135284 | MCHS-151 | 115 | 27.56
WEST | Added UPV | 135284 | MCHS-151 | 115 | 27.56
WEST | Added UPV | 135510 | SHAW-102 | 115 | 138.11
WEST | Added UPV | 135251 | S RIPLEY | 230 | 372.74
WEST | Added UPV | 148770 | Q545A_DY | 345 | 1104.51
WEST | Added UPV | 130766 | ROBIN230 | 230 | 496.98
WEST | Added UPV | 130756 | STOLE345 | 345 | 483.29
WEST | Added UPV | 130754 | SOMERSET | 345 | 483.29
GENESEE | Added UPV | 135858 | GOLAH115 | 115 | 63.36
GENESEE | Added UPV | 149690 | NEWROCH3 | 345 | 98.51
GENESEE | Added UPV | 149003 | ARS TAP | 115 | 47.36
GENESEE | Added UPV | 135858 | GOLAH115 | 115 | 7.1
GENESEE | Added UPV | 149001 | PANNELL3 | 345 | 123.09
GENESEE | Added UPV | 135874 | SWDN-113 | 115 | 7.1
GENESEE | Added UPV | 149010 | STA 162 | 115 | 7.1
GENESEE | Added UPV | 135874 | SWDN-113 | 115 | 6.93
CENTRAL | Added UPV | 136246 | TILDEN | 115 | 31.68
CENTRAL | Added UPV | 130827 | CAYUGA | 115 | 31.68
CENTRAL | Added UPV | 130882 | WRIGH115 | 115 | 28.55
CENTRAL | Added UPV | 131345 | S.PER115 | 115 | 31.68
CENTRAL | Added UPV | 130830 | MONTR115 | 115 | 79.37
CENTRAL | Added UPV | 131345 | S.PER115 | 115 | 39.6
CENTRAL | Added UPV | 136181 | CLAY | 115 | 31.68
CENTRAL | Added UPV | 130816 | HYATT115 | 115 | 31.68
CENTRAL | Added UPV | 130831 | MORAI115 | 115 | 138.77
CENTRAL | Added UPV | 130861 | S PERRY | 230 | 281.16
CENTRAL | Added UPV | 136184 | CORTLAND | 115 | 79.37
CENTRAL | Added UPV | 130776 | BORDR115 | 115 | 127.05
CENTRAL | Added UPV | 130811 | HAMLT115 | 115 | 31.68
CENTRAL | Added UPV | 131342 | BENET115 | 115 | 31.68
CENTRAL | Added UPV | 130863 | WILET115 | 115 | 31.68
CENTRAL | Added UPV | 130819 | KATEL115 | 115 | 31.68
CENTRAL | Added UPV | 130770 | SHLDN230 | 230 | 277.86
CENTRAL | Added UPV | 136680 | FEN-WIND | 115 | 222.26
CENTRAL | Added UPV | 130848 | S.OWE115 | 115 | 31.68
CENTRAL | Added UPV | 136184 | CORTLAND | 115 | 31.68
CENTRAL | Added UPV | 130827 | CAYUGA | 115 | 31.68
CENTRAL | Added UPV | 136150 | CLAY | 345 | 317.63
MOHAWK VALLEY | Added UPV | 137228 | INGMS-CD | 115 | 15.02
MOHAWK VALLEY | Added UPV | 147905 | ILION | 115 | 15.02
MOHAWK VALLEY | Added UPV | 137221 | BOONVL | 115 | 11.22
MOHAWK VALLEY | Added UPV | 137247 | YAHNDSIS | 115 | 15.02
MOHAWK VALLEY | Added UPV | 137928 | CHASES L | 230 | 153.12
MOHAWK VALLEY | Added UPV | 136815 | LYMETP | 115 | 88.94
MOHAWK VALLEY | Added UPV | 136809 | W ADAMS | 115 | 14.85
MOHAWK VALLEY | Added UPV | 136758 | BREMEN | 115 | 15.02
MOHAWK VALLEY | Added UPV | 130778 | BROTH115 | 115 | 15.02
MOHAWK VALLEY | Added UPV | 130753 | FRASR345 | 345 | 261.53
MOHAWK VALLEY | Added UPV | 136763 | COFFEEN | 115 | 89.6
MOHAWK VALLEY | Added UPV | 137228 | INGMS-CD | 115 | 15.02
MOHAWK VALLEY | Added UPV | 137200 | EDIC | 345 | 186.78
MOHAWK VALLEY | Added UPV | 137200 | EDIC | 345 | 186.78
MOHAWK VALLEY | Added UPV | 136758 | BREMEN | 115 | 74.75
MOHAWK VALLEY | Added UPV | 136816 | LYME | 115 | 74.75
MOHAWK VALLEY | Added UPV | 137248 | SALBRY4 | 115 | 15.02
CAPITAL | Added UPV | 137891 | MARSH115 | 115 | 213.18
CAPITAL | Added UPV | 137891 | MARSH115 | 115 | 43.56
CAPITAL | Added UPV | 137905 | ST JOHNS | 115 | 43.56
CAPITAL | Added UPV | 137481 | JMC1+7TP | 115 | 43.56
CAPITAL | Added UPV | 137490 | BLUECIRC | 115 | 43.56
CAPITAL | Added UPV | 137860 | AMST 115 | 115 | 195.86
CAPITAL | Added UPV | 137891 | MARSH115 | 115 | 108.74
CAPITAL | Added UPV | 137506 | INDC+BKL | 115 | 217.64
CAPITAL | Added UPV | 137860 | AMST 115 | 115 | 43.56
CAPITAL | Added UPV | 130793 | CRARY115 | 115 | 130.52
CAPITAL | Added UPV | 137892 | MECO 115 | 115 | 43.56
CAPITAL | Added UPV | 137875 | CHURCH-E | 115 | 87.12
CAPITAL | Added UPV | 137865 | BATKILL | 115 | 43.56
CAPITAL | Added UPV | 137865 | BATKILL | 115 | 43.56
CAPITAL | Added UPV | 137888 | IP TICON | 115 | 43.56
CAPITAL | Added UPV | 130833 | MULBR115 | 115 | 43.56
CAPITAL | Added UPV | 137892 | MECO 115 | 115 | 43.56
CAPITAL | Added UPV | 137906 | STONER | 115 | 43.56
CAPITAL | Added UPV | 137911 | VAIL TAP | 115 | 43.56
CAPITAL | Added UPV | 137563 | EASTOVER | 115 | 43.56
CAPITAL | Added UPV | 137517 | N. TROY | 115 | 43.56
CAPITAL | Added UPV | 137893 | MOHICAN | 115 | 43.56
CAPITAL | Added UPV | 137865 | BATKILL | 115 | 43.23
CAPITAL | Added UPV | 137865 | BATKILL | 115 | 43.23
CAPITAL | Added UPV | 137877 | CLINTON | 115 | 174.08
CAPITAL | Added UPV | 148965 | PRNCTWN | 345 | 652.74
HUDSON VALLEY | Added UPV | 125040 | N.CAT. 1 | 115 | 152.63
HUDSON VALLEY | Added UPV | 125040 | N.CAT. 1 | 115 | 76.23
HUDSON VALLEY | Added UPV | 146771 | SHOEM138 | 138 | 152.63
HUDSON VALLEY | Added UPV | 125040 | N.CAT. 1 | 115 | 152.63
HUDSON VALLEY | Added UPV | 125030 | HURLEY 1 | 115 | 152.63
HUDSON VALLEY | Added UPV | 125040 | N.CAT. 1 | 115 | 152.63
HUDSON VALLEY | Added UPV | 146771 | SHOEM138 | 138 | 152.63
HUDSON VALLEY | Added UPV | 125039 | MODENA 1 | 115 | 152.63
HUDSON VALLEY | Added UPV | 146773 | SGRLF138 | 138 | 152.63
HUDSON VALLEY | Added UPV | 125040 | N.CAT. 1 | 115 | 152.63
HYDRO QUEBEC | Added Hydro IMP | 126642 | RAINEY W | 345 | 1310