## report1763751852936
This Cluster Study Project List has been updated as of 11/21/25 and includes all projects that elected to enter Phase 2 by the close of the Phase 2 Entry Decision Period. The list is subject to change as Interconnection Requests or CRIS-Only Requests withdraw from the Queue or are deemed withdrawn by the NYISO in accordance with the applicable requirements in Attachment HH to the NYISO OATT. If an Interconnection Customer has submitted a Notice of Dispute concerning the withdrawal of its Interconnection Request or CRIS-Only Request, the withdrawn project is not currently included in the list, pending the resolution of the dispute.
Queue Number | Project: Project Name | Developer Name | CTO/Utility | Affected System(s) | Affected Transmission Owner (ATO) | MW Requested ERIS | MW Requested CRIS | County | State | Points of Interconnection | Proposed Initial Backfeed Date | Type/Fuel Code | NYISO Zone
C24-005 | Blue Spruce Storage | Blue Spruce Storage LLC | ConEd | NYPA & LIPA |  | 300 | 300 | Bronx | New York | Mott Haven 138KV Bus | 06-2028 | ES | J
C24-008 | KCE NY 30 | KCE NY 30, LLC | LIPA |  |  | 50 | 50 | Suffolk | New York | West Babylon 69 kV | 05-2028 | ES | K
C24-003 | Vineyard Mid-Atlantic West | Vineyard Mid-Atlantic LLC | NYPA |  | LIPA, Transco | 1321 | 1321 | Nassu | New York | East Garden City 345kV | 01-2031 | W | K
C24-004 | Palladium Storage | Palladium Storage LLC | NYPA |  | ConEd | 140 | 140 | Bronx | New York | Hell Gate Annex 138KV Substation | 06-2028 | ES | J
C24-013 | Battery Park Storage | Battery Park Storage LLC | ConEd |  |  | 190 | 190 | Brooklyn | New York | Greenwood 138KV | 06-2028 | ES | J
C24-066 | Coral Energy Storage | Hanwha Q CELLS USA Corp. | NYSEG | PJM |  | 100 | 100 | Chemung | New York | Yawger 115kV Substation | 06-2027 | ES | C
C24-010 | KCE NY 21 | KCE NY 21, LLC | LIPA |  |  | 60 | 60 | Suffolk | New York | Pulaski 69kV Substation | 09-2029 | ES | K
C24-021 | Bluepoint Wind 1 | Bluepoint Wind LLC | CONED |  |  | 1310 | 1310 | Kings | New York | Brooklyn Clean Energy Hub 345kV Substation | 01-2033 | W | J
C24-032 | Oakdale Battery Storage LLC | BayWa r.e Projects LLC. | NYSEG | PJM |  | 150 | 150 | Broome | New York | Oakdale 115 kV | 03-2030 | ES | C
C24-097 | Basecamp BESS | RWE Solar Development, LLC | NM-NG | PJM |  | 170 | 170 | Chautauqua | New York | Laona Station 115kV | 09-2028 | ES | A
C24-033 | KCE NY 31 | KCE NY 31, LLC | LIPA |  |  | 50 | 50 | Suffolk | New York | Shoreham 138kV | 05-2027 | ES | K
C24-042 | Hoffman Falls Wind 2 | Liberty Renewables Inc. | NM-NG | NYPA |  | 29.8 | 29.8 | Madison | New York | Fenner - Shippy Rd Line 3 115 kV | 10-2027 | W | C
C24-047 | Lincoln Park DG, LLC | BayWa r.e Projects LLC. | CHGE |  |  | 150 | 150 | Ulster | New York | Lincoln Park - East Kingston 115 kV | 07-2030 | ES | G
C24-048 | BPP NY Lansing BESS I | BPP NY Lansing BESS I LLC | NYSEG | NM-NG |  | 200 | 200 | Tompkins | New York | Milliken 115kV (aka Cayuga 115kV) | 05-2028 | ES | C
C24-060 | Gemma Energy Storage | Hanwha Q CELLS USA Corp. | NYSEG | PJM |  | 200 | 200 | Steuben | New York | Stony Ridge 230kV | 06-2027 | ES | C
C24-098 | Farmhouse BESS | RWE Solar Development, LLC | CHGE |  | NYPA | 150 | 150 | Orange | New York | Roseton 345 kV Substation | 01-2029 | ES | G
C24-061 | Daphne Energy Storage | Hanwha Q CELLS USA Corp. | LIPA |  |  | 75 | 75 | Suffolk County & Mastic City | New York | Moriches 69kV | 06-2027 | ES | K
C24-052-001 | Hemlock Hollow Wind | Liberty Renewables Inc. | NM-NG | NYPA, RG&E, PJM |  | 95 | 95 | Cattaraugus | New York | Dugan - Homer Hill 115kV, Line #155 | 07-2029 | W | A
C24-062 | Highbush Energy Storage | Hanwha Q CELLS USA Corp. | CHGE | NM-NG, ConEd |  | 200 | 200 | Dutchess | New York | Manchester 115 kV | 06-2027 | ES | G
C24-064 | Fraser Energy Storage | EDF Renewables Development, Inc. | NYSEG | NM-NG,NYPA, Transco |  | 135 | 135 | Delaware | New York | Fraser substation 115 kV | 09-2028 | ES | E
C24-074 | Lighthouse Energy Storage | GCI Lighthouse Energy Storage, LLC | NM-NG | NYSEG, PJM |  | 250 | 250 | Chautauqua | New York | Gardenville - Dunkirk Line 74 230 kV | 02-2027 | ES | A
C24-072 | Eastwater Energy Storage | GCI Eastwater, LLC | NM-NG | NYPA | RG&E | 100 | 100 | Monroe | New York | Station 82 - Station 121 Line 23 115kV | 02-2027 | ES | B
C24-108 | NY125C - Little Salmon Solar | Little Salmon Solar LLC | NYPA | NM-NG |  | 200 | 200 | Franklin | New York | 345kV Line HW1 Haverstock - WIllis | 11-2028 | S | D
C24-130 | Elevate Bethlehem | Lighthouse Bethlehem, LLC | NM-NG | NYSEG |  | 120 | 120 | Albany | New York | Albany Steam 115 kV Substation | 03-2028 | ES | F
C24-079 | Maple Harvest Wind | Maple Harvest Wind | NM-NG |  |  | 162 | 162 | Onondaga | New York | Tilden-Cortland Line 18. | 10-2028 | W | C
C24-081 | Port Morris Energy Storage | The New York Power Authority | NYPA |  | ConEd | 130 | 130 | Bronx | New York | Hell Gate Annex 138kV | 10-2028 | ES | J
C24-131 | Elevate Arthur Kill II | Lighthouse Arthur Kill II, LLC | ConEd |  |  | 180 | 180 | Richmond | New York | Fresh Kills 345 kV substation | 03-2028 | ES | J
C24-088 | Arch 3 | Terra-Gen Development Company, LLC | CHGE | ConEd, NYSEG, NYPA | Transco, O&R | 100 | 100 | Orange | New York | Rock Tavern 345kV Substation | 10-2028 | ES | G
C24-085 | Arch 4 | Terra-Gen Development Company, LLC | CHGE | ConEd, NYSEG | Transco, O&R, NYPA | 150 | 150 | Orange | New York | Rock Tavern 345kV Substation | 10-2028 | ES | G
C24-111 | Fort Edward Solar Farm (NY53) | Fort Edward Solar LLC | NM-NG | NYSEG |  | 100 | 100 | Washington | New York | Mohican to Battenkill 115 kV Line #15 | 11-2027 | S | F
C24-093 | Alcazar 1 | Terra-Gen Development Company, LLC | CHGE | NM-NG, ConEd, NYPA, Transco |  | 100 | 100 | Ulster | New York | Hurley 345kV Substation | 10-2028 | ES | G
C24-094 | Alcazar 2 | Terra-Gen Development Company, LLC | CHGE | NM-NG, ConEd, NYPA, Transco |  | 150 | 150 | Ulster | New York | Hurley 345kV Substation | 10-2028 | ES | G
C24-104 | Horseblock Energy Storage | ACE DevCo NC, LLC | LIPA |  |  | 100 | 100 | Suffolk | New York | West Yaphank 69kV Substation | 03-2028 | ES | K
C24-125 | Town Line Solar Phase II | RWE Solar Development, LLC | NYPA | CHG&E | NYSEG, O&R | 60 | 60 | Sullivan | New York | Coopers Corner to Middletown Tap 345 kV Line | 12-2029 | CR | E
C24-336 | Mill Point Solar II | ConnectGen Montgomery County LLC | NM-NG |  | NYPA | 100 | 100 | Montgomery | New York | Marcy - New Scotland 345kV, Line 18 | 07-2028 | CR | E
C24-163 | Porter Energy Storage | BGTF US Development Holdings LLC | NM-NG |  |  | 50 | 50 | Essex | New York | Hague Road to Ticonderoga 115 kV line 4 | 10-2028 | ES | F
C24-129 | Buffalo Road Energy Storage | MN8 Energy Development Company LLC | NM-NG |  |  | 100 | 100 | Niagara | New York | Dupont to Packard 115 kV Line #184 | 08-2028 | ES | A
C24-135 | Cayuga Solar | Cayuga Lake Solar, LLC | NYSEG |  |  | 60 | 60 | Tompkins | New York | Milliken 115 kV Substation | 09-2028 | S | C
C24-138 | Marathon BESS | Marathon Power | LIPA |  |  | 135 | 135 | Suffolk | New York | Greenlawn 138kV | 12-2027 | ES | K
C24-139 | Valcour Storage | Emeren US, LLC | NYPA | NYSEG |  | 150 | 150 | Clinton | New York | Patnode 230 kV substation | 10-2028 | ES | D
C24-148 | Willard Storage | Emeren US, LLC | NM-NG | ISO-NE, NYSEG |  | 300 | 300 | Rensselaer | New York | Eastover 115kV | 10-2028 | ES | F
C24-293 | Oswego Clean Energy | Oswego Clean Energy Holdings | NM-NG |  |  | 24.9 | 24.9 | Oswego | New York | Oswego 115 kV Substation | 11-2026 | S | C
C24-154 | Sandlot IFB | Sandlot Energy LLC | LIPA |  |  | 50 | 50 | Suffolk | New York | Deposit - Indian Head 69 kV Line | 12-2027 | ES | K
C24-173 | KCE NY 34 | KCE NY 34, LLC | CHGE |  |  | 100 | 100 | Ulster | New York | Saugerties 69 kV | 09-2029 | ES | G
C24-162 | Ramadi Utility Storage | Ramadi LLC | LIPA |  |  | 140 | 140 | Suffolk | New York | William Floyd to West Yaphank 69kV | 09-2027 | ES | K
C24-178 | Gowanus Energy Storage | Astoria Generating Company, L.P. | ConEd |  |  | 150 | 150 | Kings | New York | Gowanus 138kV Substation | 03-2028 | ES | J
C24-182 | Southern Tier Energy Center | Southern Tier Energy Center, LLC | NYSEG | PJM, NM-NG, NYPA |  | 200.0 | 200 | Tioga | New York | Oakdale 130755 - Watercure 130757 345 kV line | 10-2029 | ES | C
C24-205 | Wheelhouse Energy Storage | NEER Interconnection Holdings, LLC | NYPA | LSPower | NM-NG | 200 | 200 | Schoharie | New York | Edic - Princetown Line #352 | 10-2030 | ES | F
C24-207 | Trelina Energy Storage | NextEra Energy Resources Interconnection Holdings, LLC | NYSEG |  | NM-NG, RG&E | 120 | 120 | Seneca, Ontario | New York | Border City to Station 168 115 kV | 10-2030 | ES | C
C24-167 | KCE NY 37 | KCE NY 37, LLC | LIPA |  |  | 150 | 150 | Suffolk | New York | Sills Rd - Brookhaven 138 kV line | 09-2029 | ES | K
C24-165 | KCE NY 38 | KCE NY 38, LLC | Transco |  |  | 250 | 250 | Columbia | New York | Churchtown 115 kV Substation | 09-2029 | ES | F
C24-175 | Stargazer I | RWE Solar Development, LLC | NYSEG | PJM |  | 325 | 325 | McKean | Pennsylvania | Homer City to Pierce Brook 345 kV Line | 01-2029 | CR | A
C24-176 | Stargazer II | RWE Solar Development, LLC | NYSEG | PJM, NM-NG |  | 325 | 325 | McKean | Pennsylvania | Homer City to Pierce Brook 345 kV Line | 01-2029 | CR | A
C24-230 | Dewdrop Wind | Dewdrop Wind LLC | NM-NG | NYSEG, PJM |  | 62 | 62 | Chautauqua | New York | South Ripley Substation -Dunkirk Substation 230kV | 06-2029 | W | A
C24-229 | Buttercup Wind | Buttercup Wind LLC | NM-NG | PJM |  | 49.9 | 49.9 | Chautauqua | New York | Dunkirk-Falconer Line 160 115kV | 06-2029 | W | A
C24-225 | Goldenrod Wind | Goldenrod Wind LLC | NM-NG |  |  | 39 | 39 | Chautauqua | New York | Moon Road-Hartfield 115kV Line159 | 06-2029 | W | A
C24-183 | East Setauket Storage II | East Setauket Energy Storage, LLC | LIPA |  |  | 248 | 248 | Suffolk | New York | Holbrook - North Shore Beach 138kV | 09-2029 | ES | K
C24-189 | North Country Wind | NY North Country, LLC | NYPA | NYSEG, NM-NG |  | 380 | 380 | Franklin and Clinton | New York | Willis 230kV substation | 11-2028 | W | D
C24-190 | North Country Wind II | NY North Country, LLC | NYPA | NM-NG |  | 380 | 380 | Franklin and Clinton | New York | Willis-Haverstock 345kV HW1 | 11-2028 | W | D
C24-304-004 | NY Chateaugay 0 Willis Rd Storage | Chateauguay River, LLC | NYPA | NM-NG, ISO-NE |  | 150 | 150 | Franklin | New York | Willis 230kV substation | 02-2028 | ES | D
C24-202 | Brusselville Solar Energy Center | Brusselville Solar, LLC | NYPA |  | NYSEG,RG&E | 170 | 170 | Genesee | New York | Dysinger-New Rochester 345kV Line (DH2) | 10-2030 | CR | B
C24-284 | South Bronx Energy Storage | Prologis Energy LLC | NYPA |  | ConEd | 100 | 100 | Bronx | New York | Hell Gate 138 kV Substation | 07-2030 | ES | J
C24-270 | Bassett Energy Storage | Bassett Energy Storage | NYSEG |  |  | 79.9 | 79.9 | Steuben | New York | Spencer Hill 115 kV Substation | 02-2028 | ES | C
C24-326 | Lockport Storage | Origis Development LLC | NYSEG | NYPA |  | 180 | 180 | Niagara | New York | Robinson Road 230 kV | 09-2028 | ES | A
C24-217 | Bay Breeze solar | Bay Breeze Solar, LLC | NM-NG |  |  | 150 | 150 | Jefferson | New York | North Watertown (Lyme Junction)-Lyme Line 13 115 kV | 09-2029 | S | E
C24-238 | Zenobe Burns LLC | Zenobe Americas Inc. | NYSEG | NM-NG, RG&E |  | 100 | 100 | Allegany | New York | Moraine Rd 115kV Substation | 12-2027 | ES | C
C24-224 | Cohocton | ACE DevCo NC, LLC | NYSEG | PJM |  | 130 | 130 | Steuben | New York | Bath - Spencer Hill (Howard) 115 kV | 07-2029 | CR | C
C24-233 | Shallow Seam BESS | Shallow Seam Energy Storage, LLC | NYSEG | PJM |  | 400 | 400 | Clearfield | Pennsylvania | Homer City - Mainesburg 345kV Line (L47) | 09-2028 | ES | C
C24-253 | Troy Heights Energy Storage | Nexamp Solar LLC | NYSEG |  |  | 40 | 40 | Tompkins | New York | Coddington Substation 34.5 kV | 08-2028 | ES | C
C24-341 | Marlboro Storage | Origis Development LLC | CHGE |  |  | 100 | 100 | Ulster | New York | Marlboro 115kV Substation | 09-2028 | ES | G
C24-324 | Overlook Storage | Origis Development LLC | CHGE |  |  | 199 | 199 | Dutchess | New York | Pleasant Valley - Todd Hill 115 kV | 09-2028 | ES | G
C24-283 | Resilient New York Energy Storage | Resilient New York Storage, LLC by Hanwha Energy USA Holdings Corporation, its Manager | ConEd | PJM |  | 349 | 349 | Richmond | New York | Goethals 345 kV | 11-2028 | ES | J
C24-281 | Brentwood Energy Storage | the New York Power Authority | LIPA |  |  | 49.1 | 49.1 | Suffolk | New York | Brentwood 69 kV Substation | 06-2028 | ES | K
CR24-1002 | West Babylon Internal Combustion (IC), Unit 4 | National Grid Generation, LLC | LIPA |  |  |  | 49 | Suffolk | New York | West Babylon 13.8 kV | 05-2025 | O | K
C24-337 | Aria Storage 1 | Terra-Gen Development Company, LLC | ConEd |  |  | 100 | 100 | Dutchess | New York | East Fishkill 345 kV substation | 10-2028 | ES | H
C24-338 | Aria Storage 2 | Terra-Gen Development Company, LLC | ConEd |  |  | 150 | 150 | Dutchess | New York | East Fishkill 345 kV | 10-2028 | ES | H
C24-300 | Kimberlite Solar | Kimberlite Solar Power, LLC | NYSEG | PJM |  | 175 | 175 | Clearfield | Pennsylvania | Homer City - Mainesburg 345kV Line (L47) | 09-2028 | S | C
C24-301 | Moonlight Flats Solar | Moonlight Flats Solar Power, LLC | NYSEG | NM-NG, PJM |  | 250 | 250 | Clearfield | Pennsylvania | Homer City 345 kV to Mainesburg 345 kV L47 | 09-2028 | S | C
C24-318 | Sherburne Storage | Nexamp Solar LLC | NYSEG | NYPA |  | 40 | 40 | Chenango | New York | County Line 46 kV Substation | 08-2028 | ES | E
C24-331 | Hell Gate Energy Storage | the New York Power Authority | NYPA |  | ConEd | 90 | 90 | Bronx | New York | Hell Gate 138kV | 10-2028 | ES | J
C24-333 | Pouch Energy Storage System | the New York Power Authority | ConEd |  |  | 47.1 | 47.1 | Kings | New York | Fox Hills 138kV Substation | 10-2028 | ES | J
C24-317 | Leo Energy Storage | BGTF US Development Holdings LLC | NYSEG |  | NYPA | 75 | 75 | Clinton | New York | Lyon Mountain 115 kV Substation | 10-2028 | ES | D
C24-321 | Jericho Solar | Jericho Solar Park LLC | NYPA |  |  | 100 | 100 | Franklin | New York | NYPA's Willis Sub @115kV | 05-2029 | S | D
CR24-1004 | Arthur Kill Unit 2 Uprate | Arthur Kill Power LLC | ConEd |  |  |  | 369.9 | Richmond | New York | Freshkills 138kV | 05-2025 | NG | J
CR24-1003 | Bethlehem Energy Center Uprate | GB II New York LLC | NM-NG |  |  |  | 875 | Albany | New York | Albany Steam 115 kV | 06-2026 | NG | F
C24-358 | Sugar Loaf Energy Storage I | Hambletonian Energy Storage LLC | O&R | CHGE, ConEd | Transco | 300 | 300 | Orange | New York | Sugarloaf 138 kV Substation | 09-2029 | ES | G
C24-352 | Swiss Valley Energy Storage | Sawhall Energy Storage LLC | NYSEG |  |  | 300 | 300 | Wyoming | New York | Wethersfield 230 kV Substation | 09-2029 | ES | C
C24-366 | Azalea Wind 1 | Azalea Wind LLC | NYSEG |  |  | 50 | 50 | Schuyler | New York | Montour Falls to Coddington Road 115kV | 06-2029 | W | C
C24-370 | Azalea Wind 2 | Azalea Wind LLC | NYSEG |  |  | 50 | 50 | Schuyler | New York | Montour Falls to Coddington Road 115kV | 06-2029 | W | C
C24-362 | Amsterdam Solar | RWE Solar Development, LLC | NM-NG |  | NYPA, LSpower | 150 | 150 | Montgomery | New York | Edic - Gordon Road 345 kV, Line 14 | 05-2028 | S | E
C24-364 | Erie Canal BESS | RWE Solar Development, LLC | NYSEG | NYPA, NM-NG, IESO |  | 230 | 230 | Niagara | New York | Robinson Road 115 kV | 09-2028 | ES | A
C24-363 | Town Line Solar CSR Phase I | RWE Solar Development, LLC | NYPA | CHGE | NYSEG, O&R | 240 | 240 | Sullivan | New York | Coopers Corner to Middletown Tap 345 kV Line | 12-2029 | CR | E
● Type / Fuel Key: ST=Steam Turbine, CT=Combustion Turbine, CC, CS= Steam Turbine & Combustion Turbine, H=Hydro, PS=Pumped Storage, W, OSW= Off-Shore Wind, NU=Nuclear, NG=Natural Gas, M=Methane, SW=Solid Waste, S, Wo=Wood, F=Flywheel ES, O=Oil, C=Coal, D=Dual Fuel, AC,
DC, L=Load, FC=Fuel Cell,CW=CSR - ES + Wind, CR=CSR - ES + Solar
● The column labeled 'Z' refers to the zone