## General Guidance
NERC STANDARDS GUIDANCE MATRIX March 1, 2017
NERC Standard | Req. | Text of Requirement | BA | DP | GO | GOP | PA | RC | RP | TO | TOP | TP | TSP | NYISO Proposal | Required Action By Registered Entity | Document Support for NYISO Role (Tariff, Agreements, etc.) | NYISO Action Required to Coordinate Compliance
BAL-005-0.2b | R1. | All generation, transmission, and load operating within an Interconnection must be included within the metered boundaries of a Balancing Authority Area. | GOP: GOP | NYISO Tariffs require evidence of this from its customers.The NYISO provides the process and procedures for MPs to follow to be compliant. | Submission and acceptance of required NYISO customer registration documents. | NYISO Control Center Requirements Manual 3.2.4 - NYISO Data Requirements NYISO Market Services Tariff Article 5, 5.6 Requirements For Inclusion Within The New York Control Area NYISO OATT Section 4 & Attachment G | No
EOP-005-2 | R16.2 | R16.2. Each Generator Operator shall provide the blackstart test results within 30 calendar days following a request from its Reliability Coordinator or Transmission Operator. | [11 empty] | NYISO receives annual test results from GOPs in accordance with NPCC Directory 8 | Black Start Units supply self-certifications to the NYISO. | NYISO Market ServicesTariff Sec. 15.5, Schedule 5, Appendix II NYISO Restoration Manual Section 3.2.2 - Testing Requirements for Critical Components NPCC Directory #8 System Restoration | No
FAC-001-2 | All | R1. Each Transmission Owner shall document Facility interconnection requirements, update them as needed, and make them available upon request. Each Transmission Owner’s Facility interconnection requirements shall address interconnection requirements for: 1.1. generation Facilities; 1.2. transmission Facilities; and 1.3. end-user Facilities. M1. Each Transmission Owner shall have evidence (such as dated, documented Facility interconnection requirements) that it met all requirements in Requirement R1. R2. Each applicable Generator Owner shall document Facility interconnection requirements and make them available upon request within 45 calendar days of full execution of an Agreement to conduct a study on the reliability impact of interconnecting a third party Facility to the Generator Owner’s existing Facility that is used to interconnect to the Transmission system. | [11 empty] | Compliance covered by the NYISO TIP and SGIP process and participation by MPs in the NYISO Class Year Working Groups and in attending Interconnection Study Scoping Meetings. | The Transmission Owners must meet R1 of this standard for their individual system interconnection requirements. | NYISO OATT - Sections 3.7, 3.9, 3.11, 4.5, Attachment D "Methodology for Completing a System Impact Study;" Attachment S "Rules to Allocate Responsibility for the Cost of New Interconnection Facilities;" Attachment X "Standard Large Facilities Interconnection Procedure;" Attachment Z "Small Generator Interconnection Procedures." NYISO Transmission Expansion and Interconnection Manual. NYISO System Reliability Impact Study Criteria and Procedures. | No | bar: TO
FAC-002-2 | R2 thru R5 | The Generator Owner, Transmission Owner, Distribution Provider seeking to interconnect new generation Facilities, or to materially modify existing interconnections of generation Facilities, shall coordinate and cooperate on studies with its Transmission Planner or Planning Coordinator, including but not limited to the provision of data as described in R1, Parts 1.1-1.4. | DP: DP; GO: GO; TO: TO | Compliance covered by the NYISO TIP and SGIP process and participation by MPs in the NYISO Class Year Working Groups and in attending Interconnection Study Scoping Meetings. | Maintain assessments and reports regarding specific interconnection facilities | NYISO OATT - Sections 3.7, 3.9, 3.11, 4.5, Attachment D "Methodology for Completing a System Impact Study;" Attachment S "Rules to Allocate Responsibility for the Cost of New Interconnection Facilities;" Attachment X "Standard Large Facilities Interconnection Procedure;" Attachment Z "Small Generator Interconnection Procedures." NYISO Transmission Expansion and Interconnection Manual. NYISO System Reliability Impact Study Criteria and Procedures. | No
FAC-003-4 | R1. | Each applicable Transmission Owner and applicable Generator Owner shall manage vegetation to prevent encroachments into the MVCD of its applicable line(s) which are either an element of an IROL, or an element of a Major WECC Transfer Path; operating within their Rating and all Rated Electrical Operating Conditions of the types shown below: [See Standard for further information] | [11 empty] | The NYISO notifies entities that own lines that are part of an IROL. | Registered Entities must meet the requirements of this standard. | NYISO Emergency Operations Manual Table A.6 NYISO Seasonal Operating Studies | yes | bar: GO; TO
FAC-008-3 | R8. | Each Transmission Owner (and each Generator Owner subject to Requirement R2) shall provide requested information as specified below (for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities) to its associated Reliability Coordinator(s), Planning Coordinator(s), Transmission Planner(s), Transmission Owner(s) and Transmission Operator(s): [See Standard for further information] | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Registered Entities must independently meet the requirements of this standard. | NYISO Reliability Analysis Data Manual New York Power Pool Tie-line Rating Guide dated 1995 | No | bar: GO; TO
MOD-025-2 | R1, R2 | Each Generator Owner shall provide its Transmission Planner with verification of the Real and Reactive Power capability of its applicable Facilities in accordance with R1 and R2. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Ancillary Services Manual NYISO Installed Capacity Manual | No | bar: GO
MOD-025-2 | R3. | Each Transmission Owner shall provide its Transmission Planner with verification of the Reactive Power capability of its applicable Facilities in accordance with R3. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Ancillary Services Manual NYISO Installed Capacity Manual | No | bar: TO
MOD-031-1 | R2. | Each Applicable Entity identified in a data request shall provide the data requested by its Planning Coordinator or Balancing Authority in accordance with the data request issued pursuant to Requirement R1. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Load Forecast Manual NYISO Emergency Demand Response Program Manual NYISO Gold Book | Yes | bar: DP
MOD-032-1 | R2 | R2. Each Balancing Authority, Generator Owner, Load Serving Entity, Resource Planner, Transmission Owner, and Transmission Service Provider shall provide steady-state, dynamics, and short circuit modeling data to its Transmission Planner(s) and Planning Coordinator(s) according to the data requirements and reporting procedures developed by its Planning Coordinator and Transmission Planner in Requirement R1. For data that has not changed since the last submission, a written confirmation that the data has not changed is sufficient. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Reliability Analysis Data Manual | No | bar: DP to GO
PRC-001-1.1(ii) | R2 | R2. Each Generator Operator and Transmission Operator shall notify reliability entities of relay or equipment failures as follows: R2.1. If a protective relay or equipment failure reduces system reliability, the Generator Operator shall notify its Transmission Operator and Host Balancing Authority. The Generator Operator shall take corrective action as soon as possible. | [11 empty] | Registered Entities should coordiante through the interconnecting TO | Notify the interconnecting TO as supported by NYISO documents. | NYISO Transmission Dispatch Manual section 2.2.3. | No
PRC-001-1.1(ii) | R3 | Generator Operator or Transmission Operator shall coordinate new protective systems and changes as follows. R3.1. Each Generator Operator shall coordinate all new protective systems and all protective system changes with its Transmission Operator and Host Balancing Authority.  Requirement R3.1 is not applicable to the individual generating units of dispersed power producing resources identified through Inclusion I4 of the Bulk Electric System definition. | [11 empty] | Registered Entities should coordiante through the interconnecting TO | Notify the interconnecting TO as supported by NYISO documents. | NYISO Transmission Dispatch Manual section 2.2.3. | No
PRC-001-1.1(ii) | R5 | A Generator Operator or Transmission Operator shall coordinate changes in generation, transmission, load or operating conditions that could require changes in the Protection Systems of others: R5.1. Each Generator Operator shall notify its Transmission Operator in advance of changes in generation or operating conditions that could require changes in the Transmission Operator’s Protection Systems. R5.2. Each Transmission Operator shall notify neighboring Transmission Operators in advance of changes in generation, transmission, load, or operating conditions that could require changes in the other Transmission Operators’ Protection Systems. | [11 empty] | Registered Entities should coordiante through the interconnecting TO | Notify the interconnecting TO as supported by NYISO documents. | NYISO Transmission Dispatch Manual section 2.2.3. | No
PRC-002-2 | R6 | Each Transmission Owner shall have DDR data to determine the following electrical quantities for each BES Element it owns for which it received notification as identified in Requirement R5 | [11 empty] | The NYISO conducts the required assessment and notifies the affected entities. | Comply with the Standard | n/a | Yes | bar: GO; TO
PRC-002-2 | R8. | Each Transmission Owner and Generator Owner responsible for DDR data for the BES Elements identified in Requirement R5 shall have continuous data recording and storage. If the equipment was installed prior to the effective date of this standard and is not capable of continuous recording, triggered records must meet the following:[See Standard for further information] | [11 empty] | The NYISO conducts the required assessment and notifies the affected entities. | Comply with the Standard | n/a | Yes | bar: GO; TO
PRC-002-2 | R9 | Each Transmission Owner and Generator Owner responsible for DDR data for the BES Elements identified in Requirement R5 shall have DDR data that meet the following:[See Standard for further information] | [11 empty] | The NYISO conducts the required assessment and notifies the affected entities. | Comply with the Standard | n/a | Yes | bar: GO; TO
PRC-006-2 | R8. | Each UFLS entity shall provide data to its Planning Coordinator(s) according to the format and schedule specified by the Planning Coordinator(s) to support maintenance of each Planning Coordinator’s UFLS database. | [11 empty] | NYISO specifies the format for data submittals | UFLS Entities provide the data in the specified format. | NYISO System Protection Manual | yes | bar: DP; TO
PRC-010-0 | R1. | The Load-Serving Entity, Transmission Owner, Transmission Operator, and Distribution Provider that owns or operates a UVLS program shall periodically (at least every five years or as required by changes in system conditions) conduct and document an assessment of the effectiveness of the UVLS program. This assessment shall be conducted with the associated Transmission Planner(s) and Planning Authority(ies). | [11 empty] | NYISO has responded that New York does not operate a UVLS program | Registered Entities need to respond independently |  | No | bar: DP; TO
PRC-011-0 | R1. | The Transmission Owner and Distribution Provider that owns a UVLS system shall have a UVLS equipment maintenance and testing program in place. This program shall include:[See Standard for further information] | [11 empty] | NYISO has responded that New York does not operate a UVLS program | Registered Entities need to respond independently |  | No | bar: DP; TO
PRC-015-0 | R1. | The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall maintain a list of and provide data for existing and proposed SPSs as specified in Reliability Standard PRC-013-0_R 1. | DP: DP; GO: GO; TO: TO | This is a requirement that must be met by the Registered Entities solely | Have and provide details of the program | NPCC Directory #7 - Special Protection Systems Appendix B | No
PRC-015-0 | R2. | The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall have evidence it reviewed new or functionally modified SPSs in accordance with the Regional Reliability Organization’s procedures as defined in Reliability Standard PRC-012-0_R1 prior to being placed in service. | DP: DP; GO: GO; TO: TO | This is a requirement that must be met by the Registered Entities solely | Have and provide details of the program | NPCC Directory #7 - Special Protection Systems Appendix B NPCC Directory #4 - System Protection Criteria Appendix A | No
PRC-015-0 | R3. | The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of SPS data and the results of studies that show compliance of new or functionally modified SPSs with NERC Reliability Standards and Regional Reliability Organization criteria to affected Regional Reliability Organizations and NERC on request (within 30 calendar days). | DP: DP; GO: GO; TO: TO | This is a requirement that must be met by the Registered Entities solely | Have and provide details of the program | NPCC Directory #7 - Special Protection Systems Appendix B NPCC Directory #4 - System Protection Criteria Appendix A | No
PRC-016-0.1 | R3. | The Transmission Owner, Generator Owner, and Distribution Provider that owns an SPS shall provide documentation of the misoperation analyses and the corrective action plans to its Regional Reliability Organization and NERC on request (within 90 calendar days). | DP: DP; GO: GO; TO: TO | This is a requirement that must be met by the Registered Entities solely | Have and provide details of the program | NPCC Directory #4 - System Protection Criteria Appendix A NPCC C-45 - Procedure for Analysis and Reporting of Protection System Misoperations | No
PRC-018-1 | All requirements | Each Transmission Owner and Generator Owner required to install DMEs by its Regional Reliability Organization (reliability standard PRC-002 Requirements 1-3) shall have DMEs installed that meet the following requirements:[See Standard for further information] | [11 empty] | This is a requirement that must be met by the Registered Entities solely | Have and provide details of the program | NPCC Directory #7 - Special Protection Systems NPCC A-15 Disturbance Monitoring Equipment Criteria | No | bar: GO; TO
TOP-001-1a | R4. | Each Distribution Provider and Load-Serving Entity shall comply with all reliability directives issued by the Transmission Operator, including shedding firm load, unless such actions would violate safety, equipment, regulatory or statutory requirements. Under these circumstances, the Distribution Provider or Load-Serving Entity shall immediately inform the Transmission Operator of the inability to perform the directive so that the Transmission Operator can implement alternate remedial actions. | [11 empty] | Each Registered Entity must perform the actions as described in the Standard. | Each Registered Entity must perform the actions as described in the Standard. | NYISO OATT Section 2.1 - Term and Effectiveness, Section 4 - Network Integration Transmission Service NYISO MST Article 3 - Term and Effectiveness, Article 5 -Control Area Services: Rights and Obligations NYISO Emergency Operating Manual Section 1.1 NYISO Transmission and Dispatching Manual Sections 2.2.3, 2.2.4 NYISO Agreement Article 2: Scope and Parties, Article 6: Duties of the ISO, 6.01, 6.02, 6.03 NYISO-Transmission Owners Agreement Article 2: Responsibilities of the Transmission Owners 2.01, 2.02, 2.03, 2.04 | No | bar: DP
TOP-002-2.1b | R3. | Each Load-Serving Entity and Generator Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal operations with its Host Balancing Authority and Transmission Service Provider. Each Balancing Authority and Transmission Service Provider shall coordinate its current-day, next-day, and seasonal operations with its Transmission Operator. | GOP: GOP | Each Registered Entity must perform the actions as described in the Standard. | Each Registered Entity must perform the actions as described in the Standard. | NYISO Transmission & Dispatching Manual Sections 2.2.4 (TO - which also does the coordination for LSEs); 2.2.5 (Generation Owners) for General Coordination Responsibilities NYISO Transmission & Dispatching Manual Section 5.7 for transmission, scheduling and dispatching coordination NYISO Transmission & Dispatching Manual Section 2.2.3 stating the Transmission Owner coordinates with Generators connected to its transmission system, the NYISO in turn coordinates with the TOs NYISO Emergency Operations Manual Section 2 - Responses to Alert States, Section 4 - Monitored Conditions, Section 5 - Metering, Verification, Billing and Settlement, and Section 6 - Targeted Demand Response Program NYISO Reliability Analysis Data Manual - Section 5 (Real Time Representation), Section 2 NYISO Data Bank Update Procedure and 3 (System Network Representation). | No
TOP-002-2.1b | R18. | Neighboring Balancing Authorities, Transmission Operators, Generator Operators, Transmission Service Providers, and Load-Serving Entities shall use uniform line identifiers when referring to transmission facilities of an interconnected network. | GOP: GOP | Each Registered Entity must perform the actions as described in the Standard. | Each Registered Entity must perform the actions as described in the Standard. | NYISO Transmission and Dispatching Manual Appendix A NYISO Outage Scheduling Manual Sections 1 and 2, Appendix A. | No