## Table 1
Zone | Capacity | Load
A | 5155 | 2771
B | 1017 | 1914
C | 6680 | 3080
D | 1512 | 1155
E | 1022 | 1496
F | 3924 | 2193
G | 3423 | 2242
H | 2070 | 618
I | 13 | 1802
J | 10364 | 11630
K | 5767 | 5348
Totals | 40947 | 34249
| Coincident Peak | 33295
NYCA Capacity Requirment |  | 18%
NYCA Capacity Obligation |  | 39288.1
Total NYCA Actual Installed Capacity |  | 40947
Difference between NYCA Actual Capacity and Obligation |  | 1658.9
Zone J Locational Capacity Requirment |  | 80%
Zone J Locational Capacity Obligation |  | 9304
Zone K Locational Capacity Requirment |  | 99%
Zone K Locational Capacity Obligation |  | 5294.52
Total Locational Capacity Obligation |  | 14598.52
Total Actually Installed Capacity in Zone J and K |  | 16131
Difference between Zones J and K Actual Capacity and Obligation |  | 1532.48

## CapCalc
NYCA Capacity Calculations
A |  | IRM |  | 16.5% | 17% | 17.25% | 17.5% | 18% | 19% | 20%
B |  | LI - Zone K Peak Load | MW | 5348 | 5348 | 5348 | 5348 | 5348 | 5348 | 5348
C |  | LI - Zone K LCR | % | 107.8% | 102% | 101.2% | 100.3% | 99.1% | 97.9% | 96.6%
D | B * C | LI - Zone K Locational Capacity Obligation | MW | 5765.144 | 5454.96 | 5412.176 | 5364.044 | 5299.868 | 5235.692 | 5166.168
B' | (1 + A) * B | LI - Zone K Required Capacity | MW | 6230.42 | 6257.16 | 6270.53 | 6283.9 | 6310.64 | 6364.12 | 6417.6
E |  | NYC - Zone J Peak Load | MW | 11630 | 11630 | 11630 | 11630 | 11630 | 11630 | 11630
F |  | NYC - Zone J LCR | % | 89.1% | 81.9% | 81% | 80.3% | 79.7% | 78.6% | 77.4%
G | E * F | NYC - Zone J Locational Capacity Obligation | MW | 10362.33 | 9524.97 | 9420.3 | 9338.89 | 9269.11 | 9141.18 | 9001.62
E' | (1 + A) * E | NYC - Zone J Required Capacity | MW | 13548.95 | 13607.1 | 13636.175 | 13665.25 | 13723.4 | 13839.7 | 13956
H | D + G | Constrained Downstate Capacity Obligation | MW | 16127.474 | 14979.93 | 14832.476 | 14702.934 | 14568.978 | 14376.872 | 14167.788
I |  | NYCA Peak | MW | 33295 | 33295 | 33295 | 33295 | 33295 | 33295 | 33295
J | (1 + A) * I | NYCA Capacity Obligation | MW | 38788.675 | 38955.15 | 39038.3875 | 39121.625 | 39288.1 | 39621.05 | 39954
K | I - J | Upstate Capacity | MW | 22661.201 | 23975.22 | 24205.9115 | 24418.691 | 24719.122 | 25244.178 | 25786.212
L | Δ K | Increase in FFE Upstate Cap Obligation | MW | 0 | 1314.019 | 1544.7105 | 1757.49 | 2057.921 | 2582.977 | 3125.011
M | Δ H | Decrease in FFE Downstate Cap Obligation | MW | 0 | 1147.544 | 1294.998 | 1424.54 | 1558.496 | 1750.602 | 1959.686
N | ΔH / ΔK | Downstate:Upstate Delta Ratio |  |  | 0.87331 | 0.83834 | 0.81055 | 0.75732 | 0.67775 | 0.6271
O | Step ΔH | Delta (Y) Downstate Capacity | MW |  | 1147.544 | 147.454 | 129.542 | 133.956 | 192.106 | 209.084
P | Step ΔK | Delta (X) Upstate Capacity | MW |  | -1314.019 | -230.6915 | -212.7795 | -300.431 | -525.056 | -542.034
Q | Ratio Step ΔH / ΔK | Change in Y / Change in X | MW |  | -0.87331 | -0.63918 | -0.60881 | -0.44588 | -0.36588 | -0.38574
R | arctan K | Arc Tangent (M) Radian | rad |  | -0.71787 | -0.56873 | -0.54687 | -0.41942 | -0.35075 | -0.36815
S |  | Arc Tan (K) Degree | deg |  | -41.131 | -32.586 | -31.3334 | -24.0311 | -20.0964 | -21.0936
T | Set Y ( Col J) = 1 and solve for X | 1 MW of LCR is equivalent to ??? MW of ROS |  |  | 1.1451 | 1.1928 | 1.2337 | 1.3205 | 1.4755 | 1.5946
U |  | NYCA Load in Downstate | % | 50.99% | 50.99% | 50.99% | 50.99% | 50.99% | 50.99% | 50.99%
V | B' - D | Upstate Capacity req'd in LI | MW | 465.276 | 802.2 | 858.354 | 919.856 | 1010.772 | 1128.428 | 1251.432
W | E' - G | Upstate Capacity req'd in NYC | MW | 3186.62 | 4082.13 | 4215.875 | 4326.36 | 4454.29 | 4698.52 | 4954.38
X | V + W | Upstate Capacity req'd in Downstate | MW | 3651.896 | 4884.33 | 5074.229 | 5246.216 | 5465.062 | 5826.948 | 6205.812
Y | K - X | Balance Upstate Capacity left for ROS | MW | 19009.305 | 19090.89 | 19131.6825 | 19172.475 | 19254.06 | 19417.23 | 19580.4
Z | ΔY | Delta Upstate Capacity | MW | 0 | 81.585 | 122.3775 | 163.17 | 244.755 | 407.925 | 571.095
NYCA Capacity Calculations |  |  |  | FFE |  |  |  | TAN45
A |  | IRM | % | 16.5% | 17% | 17.25% | 17.5% | 18% | 19% | 20%
B | Input | LI - Zone K Peak Load | MW | 5348 | 5348 | 5348 | 5348 | 5348 | 5348 | 5348
C | Input | LI - Zone K LCR | % | 107.8% | 102% | 101.2% | 100.3% | 99.1% | 97.9% | 96.6%
D | B * C | LI - Zone K Locational Capacity Obligation | MW | 5765.144 | 5454.96 | 5412.176 | 5364.044 | 5299.868 | 5235.692 | 5166.168
E | B * (1 + A) | LI - Zone K REQUIRED TOTAL Capacity | MW | 6230.42 | 6257.16 | 6270.53 | 6283.9 | 6310.64 | 6364.12 | 6417.6
F | Input | NYC - Zone J Peak Load | MW | 11630 | 11630 | 11630 | 11630 | 11630 | 11630 | 11630
G | Input | NYC - Zone J LCR | % | 89.1% | 81.9% | 81% | 80.3% | 79.7% | 78.6% | 77.4%
H | F * G | NYC - Zone J Locational Capacity Obligation | MW | 10362.33 | 9524.97 | 9420.3 | 9338.89 | 9269.11 | 9141.18 | 9001.62
I | F * (1 + A) | NYC - Zone J REQUIRED TOTAL Capacity | MW | 13548.95 | 13607.1 | 13636.175 | 13665.25 | 13723.4 | 13839.7 | 13956
J | D + H | Total DS Locational Cap Obligation | MW | 16127.474 | 14979.93 | 14832.476 | 14702.934 | 14568.978 | 14376.872 | 14167.788
K | Δ J | Incremental Change on Downstate Cap Obligation | ΔMW |  | -1147.544 | -1294.998 | -1424.54 | -1558.496 | -1750.602 | -1959.686
L | Input | NYCA Peak | MW | 33295 | 33295 | 33295 | 33295 | 33295 | 33295 | 33295
M | L * (1 + A) | NYCA Required Capacity Obligation | MW | 38788.675 | 38955.15 | 39038.3875 | 39121.625 | 39288.1 | 39621.05 | 39954
N | M - J | Balance > Upstate Capacity | MW | 22661.201 | 23975.22 | 24205.9115 | 24418.691 | 24719.122 | 25244.178 | 25786.212
O | Input | NYCA Load in Downstate | % | 50.99% | 50.99% | 50.99% | 50.99% | 50.99% | 50.99% | 50.99%
P | E - D | Upstate Capacity req'd by LI | MW | 465.276 | 802.2 | 858.354 | 919.856 | 1010.772 | 1128.428 | 1251.432
Q | I - H | Upstate Capacity req'd by NYC | MW | 3186.62 | 4082.13 | 4215.875 | 4326.36 | 4454.29 | 4698.52 | 4954.38
R | P + Q | Upstate Capacity req'd in Downstate | MW | 3651.896 | 4884.33 | 5074.229 | 5246.216 | 5465.062 | 5826.948 | 6205.812
S | Δ R | Incremental Upstate Capacity for DS |  |  | 1232.434 | 1422.333 | 1594.32 | 1813.166 | 2175.052 | 2553.916
T | N - R | Balance > Upstate Capacity left for ROS | MW | 19009.305 | 19090.89 | 19131.6825 | 19172.475 | 19254.06 | 19417.23 | 19580.4
U | Δ T | Incremental Upstate Capacity for ROS = Subsidy | MW |  | 81.585 | 122.3775 | 163.17 | 244.755 | 407.925 | 571.095
V | S + U | Incremental Change on Upstate Cap Obligation | ΔMW |  | 1314.019 | 1544.7105 | 1757.49 | 2057.921 | 2582.977 | 3125.011
W | V ÷ K | Ratio: x.xx MW Upstate per 1 MW Downstate |  |  | 1.1451 | 1.1928 | 1.2337 | 1.3205 | 1.4755 | 1.5946
4405590
616782.6
0

## UCAP Auction
UCAP Auction Results | [24 empty] | 3/29/06
Rest of State (ROS) … excludes PJM, HQ and ISO-NE
|  |  |  | Price $/kW-month | [6 empty] | Amount Cleared (MW) | [6 empty] | Capacity Purchased (K$) | [7 empty] | Weighted
| WINTER 2005-2006 |  |  | NOV | DEC | JAN | FEB | MAR | APR | Wt. Avg. | NOV | DEC | JAN | FEB | MAR | APR | Totals | NOV | DEC | JAN | FEB | MAR | APR | Totals | Total | Average
[25 empty] | (MW-Month) | ($/KW-Month)
| ROS | 6-month Strip | 2005-09-30 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 0.62 | 2987.1 | 2987.1 | 2987.1 | 2987.1 | 2987.1 | 2987.1 | 17922.6 | 1852.002 | 1852.002 | 1852.002 | 1852.002 | 1852.002 | 1852.002 | 11112.012 | 17922.6 | 0.62
| ROS | Monthly - NOV | 2005-10-14 | 0.67 | 0.63 | 0.65 | 0.62 | 0.62 | 0.61 | 0.64659 | 2626.1 | 428.1 | 400 | 425 | 679.6 | 720 | 5278.8 | 1759.487 | 269.703 | 260 | 263.5 | 421.352 | 439.2 | 3413.242 | 5278.8 | 0.64659
| ROS | Monthly - DEC | 2005-11-14 |  | 0.69 | 0.65 | 0.65 | 0.6 | 0.6 | 0.66215 |  | 2988.6 | 515.2 | 515.2 | 571.9 | 565.9 | 5156.8 |  | 2062.134 | 334.88 | 334.88 | 343.14 | 339.54 | 3414.574 | 5156.8 | 0.66215
| ROS | Monthly - JAN | 2005-12-12 |  |  | 0.63 | 0.57 | 0.55 | 0.55 | 0.60353 |  |  | 3050.9 | 477 | 675 | 535 | 4737.9 |  |  | 1922.067 | 271.89 | 371.25 | 294.25 | 2859.457 | 4737.9 | 0.60353
| ROS | Monthly - FEB | 2006-01-12 | Price $/kW-month FEB: 1.3; Price $/kW-month MAR: 0.6; Price $/kW-month APR: 0.58 | 1.0428 |  |  |  | 1962.6 | 556.5 | 558 | 3077.1 |  |  |  | 2551.38 | 333.9 | 323.64 | 3208.92 | 3077.1 | 1.0428
| ROS | Monthly - MAR | 2006-02-13 | Price $/kW-month MAR: 0.58; Price $/kW-month APR: 0.53 | 0.57506 |  |  |  |  | 2443.9 | 267.9 | 2711.8 |  |  |  |  | 1417.462 | 141.987 | 1559.449 | 2711.8 | 0.57506
| ROS | Monthly - APR | 2006-03-13 | Price $/kW-month APR: 0.42 | 0.42 | [5 empty] | 1997.9 | 1997.9 | [5 empty] | 839.118 | 839.118 | 1997.9 | 0.42
| ROS | Spot - NOV | 2005-10-26 | Price $/kW-month NOV: 0.85 | 0.85 | 6661.9 | [5 empty] | 6661.9 | 5662.615 | [5 empty] | 5662.615 | 6661.9 | 0.85
| ROS | Spot - DEC | 2005-11-28 | Price $/kW-month DEC: 0.65 | 0.65 |  | 6306 |  |  |  |  | 6306 |  | 4098.9 |  |  |  |  | 4098.9 | 6306 | 0.65
| ROS | Spot - JAN | 2005-12-27 | Price $/kW-month JAN: 2.01 | 2.01 |  |  | 5625.3 |  |  |  | 5625.3 |  |  | 11306.853 |  |  |  | 11306.853 | 5625.3 | 2.01
| ROS | Spot - FEB | 2006-01-26 | Price $/kW-month FEB: 1.67 | 1.67 |  |  |  | 6432.7 |  |  | 6432.7 |  |  |  | 10742.609 |  |  | 10742.609 | 6432.7 | 1.67
| ROS | Spot - MAR | 2006-02-23 | Price $/kW-month MAR: 0.57 | 0.57 |  |  |  |  | 5234.1 |  | 5234.1 |  |  |  |  | 2983.437 |  | 2983.437 | 5234.1 | 0.57
| ROS | Spot - APR | 2006-03-27 | Price $/kW-month APR: 0.4 | 0.4 | [5 empty] | 5357.5 | 5357.5 | [5 empty] | 2143 | 2143 | 5357.5 | 0.4
| ROS | Totals |  | 0.75552 | 0.65168 | 1.2462 | 1.2513 | 0.58735 | 0.49061 | 0.82802 | 12275.1 | 12709.8 | 12578.5 | 12799.6 | 13148.1 | 12989.3 | 76500.4 | 9274.104 | 8282.739 | 15675.802 | 16016.261 | 7722.543 | 6372.737 | 63344.186 | 76500.4 | 0.82802
|  |  |  | Price $/kW-month NOV: Price $/kW-month |  | Amount Cleared (MW) | [6 empty] | Capacity Purchased (K$) | [7 empty] | Weighted
| SUMMER 2006 |  |  | MAY | JUN | JUL | AUG | SEP | OCT | Wt. Avg. | MAY | JUN | JUL | AUG | SEP | OCT | Totals | MAY | JUN | JUL | AUG | SEP | OCT | Totals | Total | Average
| ROS | 6-month Strip | 2006-03-31 | 1.44 | 1.44 | 1.44 | 1.44 | 1.44 | 1.44 | 1.44 | 3014.5 | 3014.5 | 3014.5 | 3014.5 | 3014.5 | 3014.5 | 18087 | 4340.88 | 4340.88 | 4340.88 | 4340.88 | 4340.88 | 4340.88 | 26045.28 | 18087 | 1.44
| ROS | Monthly - MAY | 2006-04-12 | 1.64 | 1.66 | 1.66 | 1.66 | 1.66 | 1.66 | 1.6521 | 2196.7 | 624.6 | 684.6 | 693.6 | 683.6 | 693.6 | 5576.7 | 3602.588 | 1036.836 | 1136.436 | 1151.376 | 1134.776 | 1151.376 | 9213.388 | 5576.7 | 1.6521
| ROS | Monthly - JUN | 2006-05-12 |  | 2.59 | 2.35 | 2.3 | 2.3 | 2.3 | 2.4933 |  | 2123.1 | 303.3 | 253.3 | 291.6 | 291.6 | 3262.9 |  | 5498.829 | 712.755 | 582.59 | 670.68 | 670.68 | 8135.534 | 3262.9 | 2.4933
| ROS | Monthly - JUL | 2006-06-13 |  |  | 2.94 | 2.81 | 2.8 | 2.75 | 2.8955 |  |  | 1926.2 | 330.1 | 266 | 221 | 2743.3 |  |  | 5663.028 | 927.581 | 744.8 | 607.75 | 7943.159 | 2743.3 | 2.8955
| ROS | Monthly - AUG | 2006-07-13 | Price $/kW-month AUG: 3.3; Price $/kW-month SEP: 3.25; Price $/kW-month OCT: 3.15 | 3.2632 |  |  |  | 2170.6 | 587 | 637 | 3394.6 |  |  |  | 7162.98 | 1907.75 | 2006.55 | 11077.28 | 3394.6 | 3.2632
| ROS | Monthly - SEP | 2006-08-14 | [13 empty] | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
| ROS | Monthly - OCT | 2006-09-13 | [13 empty] | 0 | [5 empty] | 0 | 0 | 0
| ROS | Spot - MAY | 2006-04-25 | Price $/kW-month MAY: 3.25 | 3.25 | 6936.84 | [5 empty] | 6936.84 | 22544.73 | [5 empty] | 22544.73 | 6936.84 | 3.25
| ROS | Spot - JUN | 2006-05-25 | Price $/kW-month JUN: 3.12 | 3.12 |  | 6163 |  |  |  |  | 6163 |  | 19228.56 |  |  |  |  | 19228.56 | 6163 | 3.12
| ROS | Spot - JUL | 2006-06-27 | Price $/kW-month JUL: 3.33 | 3.33 |  |  | 5901.1 |  |  |  | 5901.1 |  |  | 19650.663 |  |  |  | 19650.663 | 5901.1 | 3.33
| ROS | Spot - AUG | 2006-07-26 | Price $/kW-month AUG: 3 | 3 |  |  |  | 5488.483 |  |  | 5488.483 |  |  |  | 16465.449 |  |  | 16465.449 | 0
| ROS | Spot - SEP | 2006-08-28 | [13 empty] | 0 |  |  |  |  | 0 |  | 0 | 0
| ROS | Spot - OCT | 2006-09-25 | [13 empty] | 0 | [5 empty] | 0 | 0 | 0
| ROS | Totals |  | 2.5097 | 2.5245 | 2.6631 | 2.5631 | 1.8169 | 1.8069 | 2.4378 | 12148.04 | 11925.2 | 11829.7 | 11950.583 | 4842.7 | 4857.7 | 57553.923 | 30488.198 | 30105.105 | 31503.762 | 30630.856 | 8798.886 | 8777.236 | 140304.043 | 52065.44 | 2.3785
NYISO Auction Clearing Prices for Rest Of State (includes ROS offers from PJM, HQ, and ISO-NE)
fbd\nyiso\auctionz.xls
New York City (NYC)
|  |  |  | Price $/kW-month MAY: Price $/kW-month |  | Amount Cleared (MW) | [6 empty] | Capacity Purchased (K$) | [7 empty] | Weighted
| WINTER 2005-2006 |  |  | NOV | DEC | JAN | FEB | MAR | APR | Wt. Avg. | NOV | DEC | JAN | FEB | MAR | APR | Totals | NOV | DEC | JAN | FEB | MAR | APR | Totals | Total | Average
[25 empty] | (MW-Month) | ($/KW-Month)
| NYC | 6-month Strip | 2005-09-30 | 5.11 | 5.11 | 5.11 | 5.11 | 5.11 | 5.11 | 5.11 | 1846.4 | 1846.4 | 1846.4 | 1846.4 | 1846.4 | 1846.4 | 11078.4 | 9435.104 | 9435.104 | 9435.104 | 9435.104 | 9435.104 | 9435.104 | 56610.624 | 17922.6 | 0.62
| NYC | Monthly - NOV | 2005-10-14 | 6.39 | 6.37 | 5.36 | 5.36 | 5.36 | 5.36 | 6.2959 | 943.9 | 443 | 32.5 | 32.5 | 32.5 | 32.5 | 1516.9 | 6031.521 | 2821.91 | 174.2 | 174.2 | 174.2 | 174.2 | 9550.231 | 5278.8 | 0.64659
| NYC | Monthly - DEC | 2005-11-14 |  | 6.46 | 5.93 | 5.5 | 5.4 | 5.4 | 5.745 |  | 1687.4 | 1105 | 2112.8 | 1295 | 1295 | 7495.2 |  | 10900.604 | 6552.65 | 11620.4 | 6993 | 6993 | 43059.654 | 5156.8 | 0.66215
| NYC | Monthly - JAN | 2005-12-12 |  |  | 6.45 | 3 | 5.25 | 5.25 | 5.9721 |  |  | 1420.7 | 53.5 | 360 | 360 | 2194.2 |  |  | 9163.515 | 160.5 | 1890 | 1890 | 13104.015 | 4737.9 | 0.60353
| NYC | Monthly - FEB | 2006-01-12 | Price $/kW-month FEB: 6.55; Price $/kW-month MAR: 4.5; Price $/kW-month APR: 4.44 | 6.3832 |  |  |  | 963.7 | 42 | 42 | 1047.7 |  |  |  | 6312.235 | 189 | 186.48 | 6687.715 | 3077.1 | 1.0428
| NYC | Monthly - MAR | 2006-02-13 | Price $/kW-month MAR: 6.55; Price $/kW-month APR: 4.55 | 6.3524 |  |  |  |  | 2443.9 | 267.9 | 2711.8 |  |  |  |  | 16007.545 | 1218.945 | 17226.49 | 2711.8 | 0.57506
| NYC | Monthly - APR | 2006-03-13 | Price $/kW-month APR: 6.55 | 6.55 | [5 empty] | 1462.3 | 1462.3 | [5 empty] | 9578.065 | 9578.065 | 1997.9 | 0.42
| NYC | Spot - NOV | 2005-10-26 | Price $/kW-month NOV: 6.55 | 6.55 | 3865.4 | [5 empty] | 3865.4 | 25318.37 | [5 empty] | 25318.37 | 6661.9 | 0.85
| NYC | Spot - DEC | 2005-11-28 | Price $/kW-month DEC: 6.55 | 6.55 |  | 2674.7 |  |  |  |  | 2674.7 |  | 17519.285 |  |  |  |  | 17519.285 | 6306 | 0.65
| NYC | Spot - JAN | 2005-12-27 | Price $/kW-month JAN: 6.55 | 6.55 |  |  | 2116.6 |  |  |  | 2116.6 |  |  | 13863.73 |  |  |  | 13863.73 | 5625.3 | 2.01
| NYC | Spot - FEB | 2006-01-26 | Price $/kW-month FEB: 6.55 | 6.55 |  |  |  | 2037.4 |  |  | 2037.4 |  |  |  | 13344.97 |  |  | 13344.97 | 6432.7 | 1.67
| NYC | Spot - MAR | 2006-02-23 | Price $/kW-month MAR: 6.55 | 6.55 |  |  |  |  | 2031.7 |  | 2031.7 |  |  |  |  | 13307.635 |  | 13307.635 | 5234.1 | 0.57
| NYC | Spot - APR | 2006-03-27 | Price $/kW-month APR: 6.55 | 6.55 | [5 empty] | 1540.4 | 1540.4 | [5 empty] | 10089.62 | 10089.62 | 5357.5 | 0.4
| NYC | Totals |  | 6.1278 | 6.1154 | 6.0095 | 5.8254 | 5.9612 | 5.7789 | 5.9671 | 6655.7 | 6651.5 | 6521.2 | 7046.3 | 8051.5 | 6846.5 | 41772.7 | 40784.995 | 40676.903 | 39189.199 | 41047.409 | 47996.484 | 39565.414 | 249260.404 | 76500.4 | 0.82802
|  |  |  | Price $/kW-month NOV: Price $/kW-month |  | Amount Cleared (MW) | [6 empty] | Capacity Purchased (K$) | [7 empty] | Weighted
| SUMMER 2006 |  |  | MAY | JUN | JUL | AUG | SEP | OCT | Wt. Avg. | MAY | JUN | JUL | AUG | SEP | OCT | Totals | MAY | JUN | JUL | AUG | SEP | OCT | Totals | Total | Average
| NYC | 6-month Strip | 2006-03-31 | 12.35 | 12.35 | 12.35 | 12.35 | 12.35 | 12.35 | 12.35 | 2186.7 | 2186.7 | 2186.7 | 2186.7 | 2186.7 | 2186.7 | 13120.2 | 27005.745 | 27005.745 | 27005.745 | 27005.745 | 27005.745 | 27005.745 | 162034.47 | 18087 | 1.44
| NYC | Monthly - MAY | 2006-04-12 | 12.43 | 12.33 | 12.33 | 12.33 | 12.33 | 12.33 | 12.3745 | 1422.7 | 359 | 359 | 354 | 350 | 350 | 3194.7 | 17684.161 | 4426.47 | 4426.47 | 4364.82 | 4315.5 | 4315.5 | 39532.921 | 5576.7 | 1.6521
| NYC | Monthly - JUN | 2006-05-12 |  | 12.44 | 12.43 | 12.43 | 12.43 | 12.43 | 12.4365 |  | 2123.1 | 303.3 | 253.3 | 291.6 | 291.6 | 3262.9 |  | 26411.364 | 3770.019 | 3148.519 | 3624.588 | 3624.588 | 40579.078 | 3262.9 | 2.4933
| NYC | Monthly - JUL | 2006-06-13 |  |  | 12.5 | 12.43 | 12.43 | 12.43 | 12.4829 |  |  | 1021 | 120 | 105 | 105 | 1351 |  |  | 12762.5 | 1491.6 | 1305.15 | 1305.15 | 16864.4 | 2743.3 | 2.8955
| NYC | Monthly - AUG | 2006-07-13 | Price $/kW-month AUG: 12.6; Price $/kW-month SEP: 12.43; Price $/kW-month OCT: 12.43 | 12.5697 |  |  |  | 930.5 | 101 | 101 | 1132.5 |  |  |  | 11724.3 | 1255.43 | 1255.43 | 14235.16 | 3394.6 | 3.2632
| NYC | Monthly - SEP | 2006-08-14 | [6 empty] | #DIV/0! | [6 empty] | 0 |  |  |  |  | 0 | 0 | 0 | 0
| NYC | Monthly - OCT | 2006-09-13 | [6 empty] | #DIV/0! | [6 empty] | 0 | [5 empty] | 0 | 0 | 0
| NYC | Spot - MAY | 2006-04-25 | Price $/kW-month MAY: 12.71 | 12.71 | 2209.8 | [5 empty] | 2209.8 | 28086.558 | [5 empty] | 28086.558 | 6936.84 | 3.25
| NYC | Spot - JUN | 2006-05-25 | Price $/kW-month JUN: 12.71 | 12.71 |  | 2165.3 |  |  |  |  | 2165.3 |  | 27520.963 |  |  |  |  | 27520.963 | 6163 | 3.12
| NYC | Spot - JUL | 2006-06-27 | Price $/kW-month JUL: 12.71 | 12.71 |  |  | 1909.6 |  |  |  | 1909.6 |  |  | 24271.016 |  |  |  | 24271.016 | 5901.1 | 3.33
| NYC | Spot - AUG | 2006-07-26 | Price $/kW-month AUG: 12.71 | 12.71 |  |  |  | 1870.7 |  |  | 1870.7 |  |  |  | 23776.597 |  |  | 23776.597 | 0
| NYC | Spot - SEP | 2006-08-28 | [6 empty] | #DIV/0! | [6 empty] | 0 |  |  |  |  | 0 |  | 0 | 0
| NYC | Spot - OCT | 2006-09-25 | [6 empty] | #DIV/0! | [6 empty] | 0 | [5 empty] | 0 | 0 | 0
| NYC | Totals |  | 12.5063 | 12.491 | 12.4984 | 12.5125 | 12.3608 | 12.3608 | 12.4733 | 5819.2 | 6834.1 | 5779.6 | 5715.2 | 3034.3 | 3034.3 | 30216.7 | 72776.464 | 85364.542 | 72235.75 | 71511.581 | 37506.413 | 37506.413 | 376901.163 | 52065.44 | 2.3785
NYISO Auction Clearing Prices for Rest Of State (includes ROS offers from PJM, HQ, and ISO-NE)
fbd\nyiso\auctionz.xls
Long Island (LI)
|  |  |  | Price $/kW-month MAY: Price $/kW-month |  | Amount Cleared (MW) | [6 empty] | Capacity Purchased (K$) | [7 empty] | Weighted
| WINTER 2005-2006 |  |  | NOV | DEC | JAN | FEB | MAR | APR | Wt. Avg. | NOV | DEC | JAN | FEB | MAR | APR | Totals | NOV | DEC | JAN | FEB | MAR | APR | Totals | Total | Average
[25 empty] | (MW-Month) | ($/KW-Month)
| LI | 6-month Strip | 2005-09-30 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 15 | 15 | 15 | 15 | 15 | 15 | 90 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 61.2 | 17922.6 | 0.62
| LI | Monthly - NOV | 2005-10-14 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 10 | 10 | 10 | 10 | 10 | 10 | 60 | 50 | 50 | 50 | 50 | 50 | 50 | 300 | 5278.8 | 0.64659
| LI | Monthly - DEC | 2005-11-14 |  | 4 | 4 | 4 | 4 | 4 | 4 |  | 0.1 |  |  |  |  | 0.1 |  | 0.4 | 0 | 0 | 0 | 0 | 0.4 | 5156.8 | 0.66215
| LI | Monthly - JAN | 2005-12-12 |  |  | 4 | 4 | 4 | 4 | #DIV/0! | [6 empty] | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 4737.9 | 0.60353
| LI | Monthly - FEB | 2006-01-12 | Price $/kW-month FEB: 4; Price $/kW-month MAR: 4; Price $/kW-month APR: 4 | #DIV/0! | [6 empty] | 0 |  |  |  | 0 | 0 | 0 | 0 | 3077.1 | 1.0428
| LI | Monthly - MAR | 2006-02-13 | Price $/kW-month MAR: 4; Price $/kW-month APR: 4 | #DIV/0! | [6 empty] | 0 |  |  |  |  | 0 | 0 | 0 | 2711.8 | 0.57506
| LI | Monthly - APR | 2006-03-13 | Price $/kW-month APR: 4 | #DIV/0! | [6 empty] | 0 | [5 empty] | 0 | 0 | 1997.9 | 0.42
| LI | Spot - NOV | 2005-10-26 | Price $/kW-month NOV: 8.37 | 8.37 | 330.5 | [5 empty] | 330.5 | 2766.285 | [5 empty] | 2766.285 | 6661.9 | 0.85
| LI | Spot - DEC | 2005-11-28 | Price $/kW-month DEC: 8.16 | 8.16 |  | 344.5 |  |  |  |  | 344.5 |  | 2811.12 |  |  |  |  | 2811.12 | 6306 | 0.65
| LI | Spot - JAN | 2005-12-27 | Price $/kW-month JAN: 6.52 | 6.52 |  |  | 483 |  |  |  | 483 |  |  | 3149.16 |  |  |  | 3149.16 | 5625.3 | 2.01
| LI | Spot - FEB | 2006-01-26 | Price $/kW-month FEB: 8.18 | 8.18 |  |  |  | 343.1 |  |  | 343.1 |  |  |  | 2806.558 |  |  | 2806.558 | 6432.7 | 1.67
| LI | Spot - MAR | 2006-02-23 | Price $/kW-month MAR: 8.07 | 8.07 |  |  |  |  | 350.8 |  | 350.8 |  |  |  |  | 2830.956 |  | 2830.956 | 5234.1 | 0.57
| LI | Spot - APR | 2006-03-27 | Price $/kW-month APR: 8.14 | 8.14 | [5 empty] | 346.1 | 346.1 | [5 empty] | 2817.254 | 2817.254 | 5357.5 | 0.4
| LI | Totals |  | 7.9507 | 7.7698 | 6.3176 | 7.788 | 7.6933 | 7.7539 | 7.4711 | 355.5 | 369.6 | 508 | 368.1 | 375.8 | 371.1 | 2348.1 | 2826.485 | 2871.72 | 3209.36 | 2866.758 | 2891.156 | 2877.454 | 17542.933 | 76500.4 | 0.82802
|  |  |  | Price $/kW-month NOV: Price $/kW-month |  | Amount Cleared (MW) | [6 empty] | Capacity Purchased (K$) | [7 empty] | Weighted
| SUMMER 2006 |  |  | MAY | JUN | JUL | AUG | SEP | OCT | Wt. Avg. | MAY | JUN | JUL | AUG | SEP | OCT | Totals | MAY | JUN | JUL | AUG | SEP | OCT | Totals | Total | Average
| LI | 6-month Strip | 2006-03-31 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 4 | 4 | 4 | 4 | 4 | 4 | 24 | 26 | 26 | 26 | 26 | 26 | 26 | 156 | 18087 | 1.44
| LI | Monthly - MAY | 2006-04-12 | Price $/kW-month MAY: 6.5 | 6.5 | 9 | [5 empty] | 9 | 58.5 | 0 | 0 | 0 | 0 | 0 | 58.5 | 5576.7 | 1.6521
| LI | Monthly - JUN | 2006-05-12 | Price $/kW-month JUN: 7.5 | 7.5 |  | 2.3 |  |  |  |  | 2.3 |  | 17.25 | 0 | 0 | 0 | 0 | 17.25 | 3262.9 | 2.4933
| LI | Monthly - JUL | 2006-06-13 | Price $/kW-month JUL: 7 | 7 |  |  | 3 |  |  |  | 3 |  |  | 21 | 0 | 0 | 0 | 21 | 2743.3 | 2.8955
| LI | Monthly - AUG | 2006-07-13 | Price $/kW-month AUG: 6.75 | 6.75 |  |  |  | 3 |  |  | 3 |  |  |  | 20.25 | 0 | 0 | 20.25 | 3394.6 | 3.2632
| LI | Monthly - SEP | 2006-08-14 | [6 empty] | #DIV/0! | [6 empty] | 0 |  |  |  |  | 0 | 0 | 0 | 0
| LI | Monthly - OCT | 2006-09-13 | [6 empty] | #DIV/0! | [6 empty] | 0 | [5 empty] | 0 | 0 | 0
| LI | Spot - MAY | 2006-04-25 | Price $/kW-month MAY: 11.15 | 11.15 | 166.8 | [5 empty] | 166.8 | 1859.82 | [5 empty] | 1859.82 | 6936.84 | 3.25
| LI | Spot - JUN | 2006-05-25 | Price $/kW-month JUN: 6.76 | 6.76 |  | 469.3 |  |  |  |  | 469.3 |  | 3172.468 |  |  |  |  | 3172.468 | 6163 | 3.12
| LI | Spot - JUL | 2006-06-27 | Price $/kW-month JUL: 6.52 | 6.52 |  |  | 483 |  |  |  | 483 |  |  | 3149.16 |  |  |  | 3149.16 | 5901.1 | 3.33
| LI | Spot - AUG | 2006-07-26 | Price $/kW-month AUG: 6.31 | 6.31 |  |  |  | 497.2 |  |  | 497.2 |  |  |  | 3137.332 |  |  | 3137.332 | 0
| LI | Spot - SEP | 2006-08-28 | [6 empty] | #DIV/0! | [6 empty] | 0 |  |  |  |  | 0 |  | 0 | 0
| LI | Spot - OCT | 2006-09-25 | [6 empty] | #DIV/0! | [6 empty] | 0 | [5 empty] | 0 | 0 | 0
| LI | Totals |  | 10.8138 | 6.7614 | 6.5228 | 6.3141 | 6.5 | 6.5 | 6.9931 | 179.8 | 475.6 | 490 | 504.2 | 4 | 4 | 1657.6 | 1944.32 | 3215.718 | 3196.16 | 3183.582 | 26 | 26 | 11591.78 | 52065.44 | 2.3785
NYISO Auction Clearing Prices for Rest Of State (includes ROS offers from PJM, HQ, and ISO-NE)
fbd\nyiso\auctionz.xls

## UCAP Cost
NYCA Capacity Cost Analysis & Downstate Capacity Subsidy |  |  |  | WINTER 2005-2006 |  | SUMMER 2006 |  | TOTAL 2005-2006
|  |  |  | 16.5% | 18% | 16.5% | 18% | 16.5% | 18%
|  |  |  | Free-Flowing Equivalent (FFE) | TAN 45 IRM Anchor | Free-Flowing Equivalent (FFE) | TAN 45 IRM Anchor | Free-Flowing Equivalent (FFE) | TAN 45 IRM Anchor
ICAP Obligation Basis
|  | Peak Load - New York Control Area (NYCA) | MW | 31962 | 31962 | 33295 | 33295
|  | Peak Load - New York City (NYC) | MW | 11298 | 11298 | 11630 | 11630
|  | Peak Load - Long Island (LI) | MW | 5231 | 5231 | 5348 | 5348
|  | LCR - New York City (NYC) | LCR% | 89.1% | 79.7% | 89.1% | 79.7%
|  | LCR - Long Island (LI) | LCR% | 107.8% | 99.1% | 107.8% | 99.1%
|  | ICAP - New York Control Area (NYCA) | MW | 37235.73 | 37715.16 | 38788.675 | 39288.1
|  | ICAP - New York City (NYC) | MW | 10066.518 | 9004.506 | 10362.33 | 9269.11
|  | ICAP - Long Island (LI) | MW | 5639.018 | 5183.921 | 5765.144 | 5299.868
|  | ICAP - Downstate NY | MW | 15705.536 | 14188.427 | 16127.474 | 14568.978
|  | ICAP - Rest of State (ROS) | MW | 21530.194 | 23526.733 | 22661.201 | 24719.122
UCAP Obligation Basis
|  | EFORd - New York Control Area (NYCA) | EFORd% | 5.18% | 5.18% | 5.43% | 5.43%
|  | EFORd - New York City (NYC) | EFORd% | 5.19% | 5.19% | 5.42% | 5.42%
|  | EFORd - Long Island (LI) | EFORd% | 4.17% | 4.17% | 3.48% | 3.48%
|  | UCAP - New York Control Area (NYCA) | Req'd MW | 35306.9192 | 35761.5147 | 36682.4499 | 37154.7562
|  | UCAP - Locational New York City (NYC) | Req'd MW | 9544.0657 | 8537.1721 | 9800.6917 | 8766.7242
|  | UCAP - Locational Long Island (LI) | Req'd MW | 5403.8709 | 4967.7515 | 5564.517 | 5115.4326
|  | UCAP - Locational Downstate NY | Req'd MW | 14947.9367 | 13504.9236 | 15365.2087 | 13882.1568
|  | UCAP - Rest of State (ROS) | Req'd MW | 20358.9825 | 22256.5911 | 21317.2412 | 23272.5993
100% Equilibrium UCAP |  |  |  | 6 months | 6 months | 6 months | 6 months | 12 months | 12 months
|  | UCAP Price - New York Control Area (NYCA) | $.kW-month | 7.1636 | 7.2559 | 7.4018 | 7.4971
|  | UCAP Price - Locational New York City (NYC) | $.kW-month | 16.4136 | 14.682 | 16.95 | 15.1618
|  | UCAP Price - Locational Long Island (LI) | $.kW-month | 14.4615 | 13.2944 | 14.7864 | 13.593
|  | 100% UCAP Cost - Locational NYC | $ | 939916216.7801 | 752056341.12 | 996729249.7129 | 797514224.4 | 1936645466.4931 | 1549570565.52
|  | 100% UCAP Cost - Locational LI | $ | 468888159.1541 | 396258921.24 | 493674109.2463 | 417205608.96 | 962562268.4004 | 813464530.2
|  | 100% UCAP Cost - Locational Downstate | $ | 1408804375.9343 | 1148315262.36 | 1490403358.9592 | 1214719833.36 | 2899207734.8934 | 2363035095.72
|  | 100% UCAP Cost - Rest of State (ROS) | $ | 875063814.2245 | 968943345.0171 | 946714469.0331 | 1046860924.0304 | 1821778283.2576 | 2015804269.0475
|  | 100% UCAP - New York Control Area (NYCA) | $ | 2283868190.1588 | 2117258607.3771 | 2437117827.9923 | 2261580757.3904 | 4720986018.1511 | 4378839364.7675
100% UCAP Costs (Savings)
|  | New York City (NYC) | $ | 187859875.6601 |  | 199215025.3129 |  | 387074900.973
|  | Long Island (LI) | $ | 72629237.9141 |  | 76468500.2863 |  | 149097738.2004
|  | Downstate NY | $ | 260489113.5743 |  | 275683525.5992 |  | 536172639.1735
|  | Rest of State (ROS) | $ | -93879530.7926 |  | -100146454.9973 |  | -194025985.7899
|  | Total NY Statewide (NYCA) | $ | 166609582.7817 |  | 175537070.6019 |  | 342146653.3836
100% Equilibrium Regional UCAP |  |  |  | 6 months | 6 months | 6 months | 6 months | 12 months | 12 months
NEW YORK CITY (NYC) @ 100% UCAP
|  | NYC Total ICAP Obligation | MW | 13162.17 | 13331.64 | 13548.95 | 13723.4
|  | NYC Total UCAP Obligation | MW | 12480.3696 | 12641.061 | 12813.242 | 12978.2194
|  | NYC Minimum Locational UCAP | MW | 9544.0657 | 8537.1721 | 9800.6917 | 8766.7242
|  | NYC Upstate UCAP Balance Required | MW | 2936.3039 | 4103.8889 | 3012.5503 | 4211.4951
|  | NYC Locational UCAP Price | $.kW-month | 16.4136 | 14.682 | 16.95 | 15.1618
|  | ROS Upstate UCAP Price | $.kW-month | 7.1636 | 7.2559 | 7.4018 | 7.4971
|  | NYC Cost - Minimum Locational UCAP | $ | 939916216.7801 | 752056341.12 | 996729249.7129 | 797514224.4 | 1936645466.4931 | 1549570565.52
|  | NYC Cost - ROS UCAP Required Balance | $ | 126207351.9025 | 178663292.7442 | 133789589.6523 | 189443801.7772 | 259996941.5548 | 368107094.5214
|  | NYC Cost - Total UCAP Obligation | $ | 1066123568.6826 | 930719633.8642 | 1130518839.3652 | 986958026.1772 | 2196642408.0478 | 1917677660.0414
|  | NYC Total UCAP Cost (Savings) with FFE |  | 135403934.8185 |  | 143560813.188 |  | 278964748.0065
LONG ISLAND (LI) @ 100% UCAP |  |  |  | 6 months | 6 months | 6 months | 6 months | 12 months | 12 months
|  | LI Total ICAP Obligation | MW | 6094.115 | 6172.58 | 6230.42 | 6310.64
|  | LI Total UCAP Obligation | MW | 5839.9904 | 5915.1834 | 6013.6014 | 6091.0297
|  | LI Minimum Locational UCAP | MW | 5403.8709 | 4967.7515 | 5564.517 | 5115.4326
|  | LI Upstate UCAP Balance Required | MW | 436.1195 | 947.4319 | 449.0844 | 975.5971
|  | LI Locational UCAP Price | $.kW-month | 14.4615 | 13.2944 | 14.7864 | 13.593
|  | ROS Upstate UCAP Price | $.kW-month | 7.1636 | 7.2559 | 7.4018 | 7.4971
|  | LI Minimum Locational UCAP | $ | 468888159.1541 | 396258921.24 | 493674109.2463 | 417205608.96 | 962562268.4004 | 813464530.2
|  | LI Upstate UCAP Balance Required | $ | 18745158.4797 | 41246561.5326 | 19944170.5365 | 43884849.4209 | 38689329.0162 | 85131410.9535
|  | LI Total UCAP Costs | $ | 487633317.6338 | 437505482.7726 | 513618279.7828 | 461090458.3809 | 1001251597.4166 | 898595941.1535
|  | LI Total UCAP Cost (Savings) with FFE |  | 50127834.8612 |  | 52527821.4019 |  | 102655656.2631
REST OF STATE (ROS) @ 100% UCAP |  |  |  | 6 months | 6 months | 6 months | 6 months | 12 months | 12 months
|  | ROS Upstate Total ICAP Obligation | MW | na | na | na | na
|  | ROS Upstate Total UCAP Obligation | MW | 20358.9825 | 22256.5911 | 21317.2412 | 23272.5993
|  | ROS UCAP Remaining for Upstate Obligation | MW | 16986.5592 | 17205.2703 | 17855.6065 | 18085.5071
|  | Downstate UCAP Subsidy | MW | -218.7111 |  | -229.9005
|  | ROS Upstate UCAP Price | $.kW-month | 7.1636 | 7.2559 | 7.4018 | 7.4971
|  | Upstate UCAP Obligation Cost | $ | 730111303.8423 | 749033490.7404 | 792980708.8443 | 813532272.8323 | 1523092012.6866 | 1562565763.5726
|  | Upstate Total UCAP Cost (Savings) with FFE |  | -18922186.898 |  | -20551563.988 |  | -39473750.886 | Downstate Subsidy
NYCA Total @ 100% UCAP |  |  |  | 6 months | 6 months | 6 months | 6 months | 12 months | 12 months
|  | NYC Total ICAP Obligation | MW | 37235.73 | 37715.16 | 38788.675 | 39288.1
|  | NYC Total UCAP Obligation | MW | 35306.9192 | 35761.5147 | 36682.4499 | 37154.7562
|  | TOTAL NYCA 2005-06 100% UCAP Costs | $ | 2283868190.1588 | 2117258607.3771 | 2437117827.9923 | 2261580757.3904 | 4720986018.1511 | 4378839364.7675
|  | TOTAL NYCA 2005-06 UCAP COSTS (SAVINGS) with FFE |  | 166609582.7817 |  | 175537070.6019 |  | 342146653.3836
Auction Basis UCAP Procurement
NEW YORK CITY (NYC) @ UCAP AUCTION
|  | NYC - Total UCAP Obligation | MW | 12480.3696 | 12641.061 | 12813.242 | 12978.2194
|  | NYC - Minimum Locational UCAP | MW | 9544.0657 | 8537.1721 | 9800.6917 | 8766.7242
|  | NYC - UCAP Auction Procurement Percentage | % | 110.7% | 110.7% | 103.2% | 103.2%
|  | NYC - Locational UCAP Procured at Auction | MW | 10563.7947 | 9449.3203 | 10113.5074 | 9046.538
|  | NYC - Locational UCAP Auction Price | $.kW-month | 17.3188 | 5.9671 | 23.9586 | 12.4733
|  | NYC - Locational UCAP Cost | $ | 1097716585.1562 | 338308235.1888 | 1453830054.4681 | 677039658.6062
|  | NYC - Upstate UCAP Balance Required | MW | 1916.5748 | 3191.7407 | 2699.7346 | 3931.6813
|  | NYC - Upstate UCAP Auction Price | $.kW-month | 0 | 0.82802 | 1.5483 | 2.4378
|  | NYC - Upstate UCAP Cost | $ | 0 | 15857032.2075 | 25079973.2316 | 57507543.4226
|  | NYC - Total UCAP Auction Cost |  | 1097716585.1562 | 354165267.3963 | 1478910027.6996 | 734547202.0289 | 2576626612.8558 | 1088712469.4252
|  | NYC Total UCAP Auction Cost (Savings) with FFE |  | 743551317.7599 |  | 744362825.6708 |  | 1487914143.4306
LONG ISLAND (LI) @ UCAP AUCTION
|  | LI - Total UCAP Obligation | MW | 5839.9904 | 5915.1834 | 6013.6014 | 6091.0297
|  | LI - Minimum Locational UCAP | MW | 5403.8709 | 4967.7515 | 5564.517 | 5115.4326
|  | LI - UCAP Auction Procurement Percentage | % | 107.9% | 107.9% | 108.7% | 108.7%
|  | LI - Locational UCAP Procured at Auction | MW | 5829.9356 | 5359.4306 | 6050.8375 | 5562.5046
|  | LI - Locational UCAP Auction Price | $.kW-month | 15.1222 | 7.4711 | 14.8161 | 6.9931
|  | LI - Locational UCAP Cost | $ | 528968837.8987 | 240245641.3815 | 537898147.1891 | 233395257.3885
|  | LI - Upstate UCAP Balance Required | MW | 10.0548 | 555.7528 | 0 | 528.5251
|  | LI - Upstate UCAP Auction Price | $.kW-month | 0 | 0.82802 | 1.5483 | 2.4378
|  | LI - Upstate UCAP Cost | $ | 0 | 2761060.8782 | 0 | 7730580.9201
|  | NYC - Total UCAP Auction Cost |  | 528968837.8987 | 243006702.2597 | 537898147.1891 | 241125838.3086 | 1066866985.0878 | 484132540.5682
|  | NYC Total UCAP Auction Cost (Savings) with FFE |  | 285962135.6391 |  | 296772308.8805 |  | 582734444.5196
REST OF STATE (ROS) @ UCAP AUCTION
|  | ROS - Total UCAP Obligation | MW | 20358.9825 | 22256.5911 | 21317.2412 | 23272.5993
|  | ROS - UCAP Auction Procurement Percentage | % | 110.6% | 110.6% | 108.1% | 108.1%
|  | ROS - Upstate UCAP Procured at Auction | MW | 22523.261 | 24622.5964 | 23043.5184 | 25157.222
|  | ROS - Upstate UCAP Procured by Downstate NY | MW | 1926.6297 | 3747.4935 | 2699.7346 | 4460.2064
|  | ROS - Upstate UCAP Balance Procured by Upstate NY | MW | 20596.6313 | 20875.1029 | 20343.7837 | 20697.0155
|  | ROS - Downstate Capacity Subsidy | MW | -278.4715 |  | -353.2318
|  | ROS - Upstate UCAP Auction Price | $.kW-month | 0 | 0.82802 | 1.5483 | 2.4378
|  | ROS - Total UCAP Auction Cost |  | 0 | 103710547.7623 | 188989520.6363 | 302729142.2671 | 188989520.6363 | 406439690.0294
|  | ROS - Total UCAP Auction Cost (Savings) with FFE |  | -103710547.7623 |  | -113739621.6308 |  | -217450169.3931 | Downstate Subsidy
NYCA Total @ UCAP AUCTION
|  | ROS - Total UCAP Auction Cost |  | 1626685423.0549 | 700882517.4183 | 2205797695.5251 | 1278402182.6045 | 3832483118.58 | 1979284700.0229
|  | ROS - Total UCAP Auction Cost (Savings) with FFE |  | 925802905.6366 |  | 927395512.9205 |  | 1853198418.5571

## 18% DC
Current NYISO Capacity Demand Curves @ 18% IRM
WINTER 2005-2006
Winter 2005-06 @ 18% IRM (Tan45) | [5 empty] | UCAP-Based Origin Points | UCAP Requirement | ICAP-Based Reference Points | ICAP/UCAP Translation Factor | UCAP-Based Reference Points | UCAP Requirement | ICAP-Based Maximum Clearing | ICAP-Based Maximum Clearing | ICAP/UCAP Translation Factor | UCAP-Based Maximum Clearing
[6 empty] | Monthly ($/kW-month) | Zero Crossing Point % | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month) | % | Annual ($.kW-year) | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month)
[5 empty] | NYCA | 0 | 112% | 6.88 | 5.18% | 7.2559 | 100% | 130.5 | 10.875 | 5.18% | 11.4691
[5 empty] | NYC | 0 | 118% | 13.92 | 5.19% | 14.682 | 100% | 264 | 22 | 5.19% | 23.2043
[5 empty] | LI | 0 | 118% | 12.74 | 4.17% | 13.2944 | 100% | 232.5 | 19.375 | 4.17% | 20.2181
WINTER 2005-2006
| % |  | $/kW-month | %/$
18% IRM | x | x' (MW) | y | m | b
NYCA | 112% | 40052.8965 | 0 | -60.4654 | 67.7213
NYCA | 100% | 35761.5147 | 7.2559
NYCA | 93.03% | 33269.6441 | 11.4691
NYCA | 84% | 30039.6724 | 11.4691
NYC | 118% | 10073.8631 | 0 | -81.5666 | 96.2486
NYC | 100% | 8537.1721 | 14.682
NYC | 89.55% | 7645.1848 | 23.2043
NYC | 84% | 7171.2246 | 23.2043
LI | 118% | 5861.9468 | 0 | -73.8576 | 87.152
LI | 100% | 4967.7515 | 13.2944
LI | 90.63% | 4502.054 | 20.2181
LI | 84% | 4172.9113 | 20.2181
Auction Results
18% IRM | x | x' (MW) | y | m | b
NYCA | 100% | 35761.5147 | 0.82802
NYCA | 110.6% | 39563.1721 | 0.82802
NYC | 100% | 8537.1721 | 5.9671
NYC | 110.7% | 9449.3203 | 5.9671
LI | 100% | 4967.7515 | 7.4711
LI | 107.9% | 5359.4306 | 7.4711
[17 empty] | 100% | 0
[17 empty] | 100% | 25
SUMMER 2006
Summer 2006 @ 18% IRM (Tan45) | [5 empty] | UCAP-Based Origin Points | UCAP Requirement | ICAP-Based Reference Points | ICAP/UCAP Translation Factor | UCAP-Based Reference Points | UCAP Requirement | ICAP-Based Maximum Clearing | ICAP-Based Maximum Clearing | ICAP/UCAP Translation Factor | UCAP-Based Maximum Clearing | UCAP Requirement
[6 empty] | Monthly ($/kW-month) | % | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month) | % | Annual ($.kW-year) | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month) | %
[5 empty] | NYCA | 0 | 112% | 7.09 | 5.43% | 7.4971 | 100% | 134.42 | 11.2017 | 5.43% | 11.8448 | 5.43%
[5 empty] | NYC | 0 | 118% | 14.34 | 5.42% | 15.1618 | 100% | 271.92 | 22.66 | 5.42% | 23.9586 | 5.42%
[5 empty] | LI | 0 | 118% | 13.12 | 3.48% | 13.593 | 100% | 239.48 | 19.9567 | 3.48% | 20.6762 | 3.48%
SUMMER 2006
| % |  | $/kW-month | %/$
18% IRM | x | x' (MW) | y | m | b
NYCA | 112% | 40052.8965 | 0 | -62.4758 | 69.9729
NYCA | 100% | 37154.7562 | 7.4971
NYCA | 93.04% | 33272.8361 | 11.8448
NYCA | 84% | 30039.6724 | 11.8448
NYC | 118% | 10073.8631 | 0 | -84.232 | 99.3938
NYC | 100% | 8766.7242 | 15.1618
NYC | 89.56% | 7645.5913 | 23.9586
NYC | 84% | 7171.2246 | 23.9586
LI | 118% | 5861.9468 | 0 | -75.5169 | 89.1099
LI | 100% | 5115.4326 | 13.593
LI | 90.62% | 4501.7976 | 20.6762
LI | 84% | 4172.9113 | 20.6762
Auction Results
18% IRM | x | x' (MW) | y | m | b
NYCA | 100% | 37154.7562 | 2.4378
| 108.1% | 40163.5604 | 2.4378
NYC | 100% | 8766.7242 | 12.4733
| 103.2% | 9046.538 | 12.4733
LI | 100% | 5115.4326 | 6.9931
| 108.7% | 5562.5046 | 6.9931
[17 empty] | 100% | 0
[17 empty] | 100% | 25

## 16.5% DC
Projected NYISO Capacity Demand Curves @ 16.5% IRM
WINTER 2005-2006
Winter 2005-06 @ 16.5% IRM (FFE) | [6 empty] | UCAP-Based Origin Points | UCAP Requirement | ICAP-Based Reference Points | ICAP/UCAP Translation Factor | UCAP-Based Reference Points | UCAP Requirement | ICAP-Based Maximum Clearing | ICAP-Based Maximum Clearing | ICAP/UCAP Translation Factor | UCAP-Based Maximum Clearing
[7 empty] | Monthly ($/kW-month) | Zero Crossing Point % | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month) | % | Annual ($.kW-year) | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month)
[6 empty] | NYCA | 0 | 112% | 6.88 | 5.18% | 7.2559 | 100% | 130.5 | 10.875 | 5.18% | 11.4691
[6 empty] | NYC | 0 | 118% | 13.92 | 5.19% | 14.682 | 100% | 264 | 22 | 5.19% | 23.2043
[6 empty] | LI | 0 | 118% | 12.74 | 4.17% | 13.2944 | 100% | 232.5 | 19.375 | 4.17% | 20.2181
WINTER 2005-2006
| UCAP |  | UCAP
| % |  | $/kW-month | %/$
18% IRM | x % | x' (MW) | y | m | m' | b
NYCA | 112% | 40052.8965 | 0 | -60.4654 | -0.0016908 | 67.7213
NYCA | 100% | 35761.5147 | 7.2559
NYCA | 93.03% | 33269.6441 | 11.4691
NYCA | 84% |  | 11.4691
NYC | 118% | 10073.8631 | 0 | -81.5666 | -0.0095543 | 96.2486
NYC | 100% | 8537.1721 | 14.682
NYC | 89.55% | 7645.1848 | 23.2043
NYC | 84% |  | 23.2043
LI | 118% | 5861.9468 | 0 | -73.8576 | -0.014867 | 87.152
LI | 100% | 4967.7515 | 13.2944
LI | 90.63% | 4502.054 | 20.2181
LI | 84% |  | 20.2181
16.5% IRM | x | x' (MW) | y | m | m' | b
NYCA | 110.6% | 39543.7495 | 0 | -60.4654 | -0.0016908 | 66.8604
NYCA | 98.73% | 35306.9192 | 7.1636
NYCA | 91.61% | 32760.4971 | 11.4691
NYCA | 84% |  | 11.4691
NYC | 131.9% | 11261.9975 | 0 | -81.5666 | -0.0095543 | 107.6004
NYC | 111.8% | 9544.0657 | 16.4136
NYC | 103.5% | 8833.3193 | 23.2043
NYC | 84% |  | 23.2043
LI | 128.4% | 6376.5677 | 0 | -73.8576 | -0.014867 | 94.8031
LI | 108.8% | 5403.8709 | 14.4615
LI | 101% | 5016.675 | 20.2181
LI | 84% |  | 20.2181
Projected 16.5% Results |  | Cleared MW
NYCA Auction | 110.6% | 39563.1721 | -0.03284 | -0.03284
NYC Auction | 110.7% | 9449.3203 | 17.3188 | 17.3188
LI Auction | 107.9% | 5359.4306 | 15.1222 | 15.1222
[18 empty] | 100% | 0
[18 empty] | 100% | 25
SUMMER 2006
Summer 2006 @ 16.5% IRM (FFE) | [6 empty] | UCAP-Based Origin Points | UCAP Requirement | ICAP-Based Reference Points | ICAP/UCAP Translation Factor | UCAP-Based Reference Points | UCAP Requirement | ICAP-Based Maximum Clearing | ICAP-Based Maximum Clearing | ICAP/UCAP Translation Factor | UCAP-Based Maximum Clearing | UCAP Requirement
[7 empty] | Monthly ($/kW-month) | % | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month) | % | Annual ($.kW-year) | Monthly ($/kW-month) | Summer 2006 | Monthly ($/kW-month) | %
[6 empty] | NYCA | 0 | 112% | 7.09 | 5.43% | 7.4971 | 100% | 134.42 | 11.2017 | 5.43% | 11.8448 | 5.43%
[6 empty] | NYC | 0 | 118% | 14.34 | 5.42% | 15.1618 | 100% | 271.92 | 22.66 | 5.42% | 23.9586 | 5.42%
[6 empty] | LI | 0 | 118% | 13.12 | 3.48% | 13.593 | 100% | 239.48 | 19.9567 | 3.48% | 20.6762 | 3.48%
SUMMER 2006
| UCAP |  | UCAP
| % |  | $/kW-month | %/$
18% IRM | x | x' (MW) | y | m | m' | b
NYCA | 112% | 41613.3269 | 0
NYCA | 100% | 37154.7562 | 7.4971 | -62.4758 | -0.0016815 | 69.9729
NYCA | 93.04% | 34569.1205 | 11.8448
NYCA | 84% |  | 11.8448
NYC | 118% | 10344.7346 | 0
NYC | 100% | 8766.7242 | 15.1618 | -84.232 | -0.0096082 | 99.3938
NYC | 89.56% | 7851.1701 | 23.9586
NYC | 84% |  | 23.9586
LI | 118% | 6036.2105 | 0
LI | 100% | 5115.4326 | 13.593 | -75.5169 | -0.014763 | 89.1099
LI | 90.62% | 4635.6269 | 20.6762
LI | 84% |  | 20.6762
16.5% IRM | x | x' (MW) | y | m | m' | b
NYCA | 110.6% | 41084.3439 | 0 | -62.4758 | -0.0016815 | 69.0834
NYCA | 98.73% | 36682.4499 | 7.4018
NYCA | 91.62% | 34040.1376 | 11.8448
NYCA | 84% |  | 11.8448
NYC | 131.9% | 11564.8162 | 0 | -84.232 | -0.0096082 | 111.1165
NYC | 111.8% | 9800.6917 | 16.95
NYC | 103.5% | 9071.2517 | 23.9586
NYC | 84% |  | 23.9586
LI | 128.4% | 6566.13 | 0 | -75.5169 | -0.014763 | 96.9329
LI | 108.8% | 5564.517 | 14.7864
LI | 101% | 5165.5464 | 20.6762
LI | 84% |  | 20.6762
Projected 16.5% Results |  | Cleared MW
NYCA Auction | 108.1% | 40163.5604 | 1.5483 | 1.5483
NYC Auction | 103.2% | 9046.538 | 24.196 | 24.196
LI Auction | 108.7% | 5562.5046 | 14.8161 | 14.8161
[18 empty] | 100% | 0
[18 empty] | 100% | 25

## Zonal
2006 IRM Study - Zonal LOLE
Zone | 15.3% | 16% | 16.25% | 16.5% | 16.75% | 17% | 17.5% | 18% | 16.5% | 18% | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED | INTERCONNECTED
[11 empty] | ------------ --------- | ------------ --------- | ------------ --------- | ------------ --------- | ------------ --------- | ------------ --------- | ------------ --------- | ------------ --------- | ------------ --------- | ------------ ---------
A - West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000 | AREA-A 0.000
B - Genesee | 0.08 | 0.051 | 0.043 | 0.03 | 0.03 | 0.025 | 0.017 | 0.012 | 0.037 | 0.032 | AREA-B 0.080 | AREA-B 0.051 | AREA-B 0.025 | AREA-B 0.017 | AREA-B 0.043 | AREA-B 0.030 | AREA-B 0.032 | AREA-B 0.041 | AREA-B 0.037 | AREA-B 0.012
C - Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000 | AREA-C 0.000
D - North | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AREA-D 0.001 | AREA-D 0.000 | AREA-D 0.000 | AREA-D 0.000 | AREA-D 0.000 | AREA-D 0.000 | AREA-D 0.000 | AREA-D 0.000 | AREA-D 0.000 | AREA-D 0.000
E - Mohawk Valley | 0.036 | 0.025 | 0.021 | 0.015 | 0.015 | 0.013 | 0.009 | 0.006 | 0.018 | 0.015 | AREA-E 0.036 | AREA-E 0.025 | AREA-E 0.013 | AREA-E 0.009 | AREA-E 0.021 | AREA-E 0.015 | AREA-E 0.015 | AREA-E 0.019 | AREA-E 0.018 | AREA-E 0.006
F - Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000 | AREA-F 0.000
G - Hudson Valley | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000 | AREA-G 0.000
H - Millwood | 0.001 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | AREA-H 0.001 | AREA-H 0.002 | AREA-H 0.002 | AREA-H 0.002 | AREA-H 0.002 | AREA-H 0.002 | AREA-H 0.002 | AREA-H 0.001 | AREA-H 0.002 | AREA-H 0.002
I - Dunwoodie | 0.085 | 0.07 | 0.067 | 0.062 | 0.062 | 0.06 | 0.058 | 0.055 | 0.065 | 0.063 | AREA-I 0.085 | AREA-I 0.070 | AREA-I 0.060 | AREA-I 0.058 | AREA-I 0.067 | AREA-I 0.062 | AREA-I 0.063 | AREA-I 0.046 | AREA-I 0.065 | AREA-I 0.055
J - New York City | 0.088 | 0.079 | 0.075 | 0.072 | 0.072 | 0.072 | 0.07 | 0.07 | 0.074 | 0.071 | AREA-J 0.088 | AREA-J 0.079 | AREA-J 0.072 | AREA-J 0.070 | AREA-J 0.075 | AREA-J 0.072 | AREA-J 0.071 | AREA-J 0.045 | AREA-J 0.074 | AREA-J 0.070
K - Long Island | 0.014 | 0.033 | 0.039 | 0.04 | 0.04 | 0.041 | 0.042 | 0.041 | 0.037 | 0.042 | AREA-K 0.014 | AREA-K 0.033 | AREA-K 0.041 | AREA-K 0.042 | AREA-K 0.039 | AREA-K 0.040 | AREA-K 0.042 | AREA-K 0.073 | AREA-K 0.037 | AREA-K 0.041
NYD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000 | AREA-NYD 0.000
HQ | 2.368 | 2.401 | 2.396 | 2.394 | 2.394 | 2.393 | 2.39 | 2.388 | 2.396 | 2.393 | HYDQUE 2.368 | HYDQUE 2.401 | HYDQUE 2.393 | HYDQUE 2.390 | HYDQUE 2.396 | HYDQUE 2.394 | HYDQUE 2.393 | HYDQUE 2.361 | HYDQUE 2.396 | HYDQUE 2.388
PJM Central | 0.985 | 0.973 | 0.966 | 0.958 | 0.958 | 0.956 | 0.952 | 0.958 | 0.962 | 0.958 | CENTRAL 0.985 | CENTRAL 0.973 | CENTRAL 0.956 | CENTRAL 0.952 | CENTRAL 0.966 | CENTRAL 0.958 | CENTRAL 0.958 | CENTRAL 0.959 | CENTRAL 0.962 | CENTRAL 0.958
PJM East | 1.813 | 1.773 | 1.748 | 1.713 | 1.713 | 1.691 | 1.67 | 1.666 | 1.732 | 1.716 | EAST 1.813 | EAST 1.773 | EAST 1.691 | EAST 1.670 | EAST 1.748 | EAST 1.713 | EAST 1.716 | EAST 1.691 | EAST 1.732 | EAST 1.666
PJM West | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | WEST 0.000 | WEST 0.000 | WEST 0.000 | WEST 0.000 | WEST 0.000 | WEST 0.000 | WEST 0.000 | WEST 0.000 | WEST 0.000 | WEST 0.000
SWCT | 4.782 | 4.945 | 4.958 | 4.998 | 4.998 | 4.988 | 5.004 | 5.006 | 4.969 | 4.97 | SWCT 4.782 | SWCT 4.945 | SWCT 4.988 | SWCT 5.004 | SWCT 4.958 | SWCT 4.998 | SWCT 4.970 | SWCT 5.004 | SWCT 4.969 | SWCT 5.006
Rest CT | 0.008 | 0.006 | 0.006 | 0.006 | 0.006 | 0.005 | 0.005 | 0.005 | 0.006 | 0.006 | REST-CT 0.008 | REST-CT 0.006 | REST-CT 0.005 | REST-CT 0.005 | REST-CT 0.006 | REST-CT 0.006 | REST-CT 0.006 | REST-CT 0.006 | REST-CT 0.006 | REST-CT 0.005
Boston | 0.017 | 0.019 | 0.018 | 0.018 | 0.018 | 0.017 | 0.016 | 0.015 | 0.018 | 0.018 | BOSTON 0.017 | BOSTON 0.019 | BOSTON 0.017 | BOSTON 0.016 | BOSTON 0.018 | BOSTON 0.018 | BOSTON 0.018 | BOSTON 0.018 | BOSTON 0.018 | BOSTON 0.015
Maine | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000 | MAINE 0.000
Rest NE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000 | REST-NE 0.000
Ontario | 14.807 | 13.81 | 13.754 | 13.658 | 13.658 | 13.649 | 13.602 | 13.591 | 13.7 | 13.685 | ONTARIO 14.807 | ONTARIO 13.810 | ONTARIO 13.649 | ONTARIO 13.602 | ONTARIO 13.754 | ONTARIO 13.658 | ONTARIO 13.685 | ONTARIO 14.086 | ONTARIO 13.700 | ONTARIO 13.591
HQ - Hydro Quebec | 2.368 | 2.401 | 2.396 | 2.394 | 2.394 | 2.393 | 2.39 | 2.388 | 2.396 | 2.393 | _HQ_ 2.368 | _HQ_ 2.401 | _HQ_ 2.393 | _HQ_ 2.390 | _HQ_ 2.396 | _HQ_ 2.394 | _HQ_ 2.393 | _HQ_ 2.361 | _HQ_ 2.396 | _HQ_ 2.388
NYCA | 0.098 | 0.101 | 0.1 | 0.1 | 0.1 | 0.1 | 0.099 | 0.098 | 0.1 | 0.101 | _NYCA_ 0.098 | _NYCA_ 0.101 | _NYCA_ 0.100 | _NYCA_ 0.099 | _NYCA_ 0.100 | _NYCA_ 0.100 | _NYCA_ 0.101 | _NYCA_ 0.098 | _NYCA_ 0.100 | _NYCA_ 0.098
NE - New England | 4.785 | 4.947 | 4.959 | 4.999 | 4.999 | 4.989 | 5.006 | 5.008 | 4.97 | 4.972 | _NE_ 4.785 | _NE_ 4.947 | _NE_ 4.989 | _NE_ 5.006 | _NE_ 4.959 | _NE_ 4.999 | _NE_ 4.972 | _NE_ 5.006 | _NE_ 4.970 | _NE_ 5.008
PJM MA | 1.819 | 1.78 | 1.753 | 1.718 | 1.718 | 1.696 | 1.675 | 1.672 | 1.737 | 1.72 | PJM_MA 1.819 | PJM_MA 1.780 | PJM_MA 1.696 | PJM_MA 1.675 | PJM_MA 1.753 | PJM_MA 1.718 | PJM_MA 1.720 | PJM_MA 1.696 | PJM_MA 1.737 | PJM_MA 1.672
OH - Ontario Hydro | 14.807 | 13.81 | 13.754 | 13.658 | 13.658 | 13.649 | 13.602 | 13.591 | 13.7 | 13.685 | _ONT_ 14.807 | _ONT_ 13.810 | _ONT_ 13.649 | _ONT_ 13.602 | _ONT_ 13.754 | _ONT_ 13.658 | _ONT_ 13.685 | _ONT_ 14.086 | _ONT_ 13.700 | _ONT_ 13.591
Upstate NY | 0.08 | 0.053 | 0.045 | 0.032 | 0.032 | 0.027 | 0.019 | 0.014 | 0.039 | 0.034 | UPSTATE 0.080 | UPSTATE 0.053 | UPSTATE 0.027 | UPSTATE 0.019 | UPSTATE 0.045 | UPSTATE 0.032 | UPSTATE 0.034 | UPSTATE 0.042 | UPSTATE 0.039 | UPSTATE 0.014
Region | 20.551 | 19.748 | 19.701 | 19.646 | 19.646 | 19.626 | 19.606 | 19.601 | 19.661 | 19.644 | REGION 20.551 | REGION 19.748 | REGION 19.626 | REGION 19.606 | REGION 19.701 | REGION 19.646 | REGION 19.644 | REGION 20.045 | REGION 19.661 | REGION 19.601
K Group | 0.014 | 0.033 | 0.039 | 0.04 | 0.04 | 0.041 | 0.042 | 0.041 | 0.037 | 0.042 | K GROUP 0.014 | K GROUP 0.033 | K GROUP 0.041 | K GROUP 0.042 | K GROUP 0.039 | K GROUP 0.040 | K GROUP 0.042 | K GROUP 0.073 | K GROUP 0.037 | K GROUP 0.041
````

## Apps AB
Appendix A 2006 IRM and LCR Study
LI Peak | 5348
NYC Peak | 11630
NYCA Peak | 33295
A | B | C | D | E | F | G | H | I | J | K | L | K | N | L | M | K | N | L | M
|  | B*LI Peak |  | B*NYC Peak | C+E | (1+A*NYCA Peak) - F | Increase in Col G | Increase in Col F | Col H / Col I | Change in Col F | Change in Col G |  |  |  | Set Y ( Col J) = 1 and solve for X |  |  |  | Set Y ( Col J) = 1 and solve for X
IRM | Zone K LCR | LCR K (MW) | Zone J LCR | LCR J (MW) | Constrained Capacity | Zone A- I Capacity (MW) | Increase in Zone A- I Capacity (MW) | Zone J & K Capacity Reduction | Y/X | Delta Y | Delta X | Change in Y / Change in X | Arc Tangent (M) Radian | Arc Tan (K) Degree | 1 MW of LCR is equivalent to ??? MW of ROS | Change in X / Change in Y | Arc Tangent (M) Radian | Arc Tan (K) Degree | 1 MW of ROS is equivalent to Downstate MW
16.5% | 107.8% | 5765.144 | 89.1% | 10362.33 | 16127.474 | 22661.201 | 0 | 0
17% | 102% | 5454.96 | 81.9% | 9524.97 | 14979.93 | 23975.22 | 1314.019 | 1147.544 | 0.87331 | 1147.544 | -1314.019 | -0.87331 | -0.71787 | -41.131 | 1.1451 | -35.92 | -1.543 | -88.4053 | 0.87331
17.25% | 101.2% | 5412.176 | 81% | 9420.3 | 14832.476 | 24205.9115 | 1544.7105 | 1294.998 | 0.83834 | 147.454 | -230.6915 | -0.63918 | -0.56873 | -32.586 | 1.1928 | -27.3183 | -1.5342 | -87.9036 | 0.83834
17.5% | 100.3% | 5364.044 | 80.3% | 9338.89 | 14702.934 | 24418.691 | 1757.49 | 1424.54 | 0.81055 | 129.542 | -212.7795 | -0.60881 | -0.54687 | -31.3334 | 1.2337 | -25.3974 | -1.5314 | -87.7452 | 0.81055
18% | 99.1% | 5299.868 | 79.7% | 9269.11 | 14568.978 | 24719.122 | 2057.921 | 1558.496 | 0.75732 | 133.956 | -300.431 | -0.44588 | -0.41942 | -24.0311 | 1.3205 | -18.1991 | -1.5159 | -86.8549 | 0.75732
19% | 97.9% | 5235.692 | 78.6% | 9141.18 | 14376.872 | 25244.178 | 2582.977 | 1750.602 | 0.67775 | 192.106 | -525.056 | -0.36588 | -0.35075 | -20.0964 | 1.4755 | -13.6203 | -1.4975 | -85.8009 | 0.67775
20% | 96.6% | 5166.168 | 77.4% | 9001.62 | 14167.788 | 25786.212 | 3125.011 | 1959.686 | 0.6271 | 209.084 | -542.034 | -0.38574 | -0.36815 | -21.0936 | 1.5946 | -13.2277 | -1.4953 | -85.6767 | 0.6271
Appendix B 2005 IRM and LCR Study
LI Peak | 5231
NYC Peak | 11315
NYCA Peak | 31962
A | B | C | D | E | F | G | H | I | J | K | L | K | N | L | M
|  | B*LI Peak |  | B*NYC Peak | C+E | (1+A*NYCA Peak) - F | Increase in Col G | Increase in Col F | Col H / Col I | Change in Col F | Change in Col G |  |  |  | Set Y ( Col J) = 1 and solve for X
IRM | Zone K LCR | LCR K (MW) | Zone J LCR | LCR J (MW) | Constrained Capacity | Zone A- I Capacity (MW) | Increase in Zone A- I Capacity (MW) | Zone J & K Capacity Reduction | Y/X | Delta Y | Delta X | Change in Y / Change in X | Arc Tangent (M) Radian | Arc Tan (K) Degree | 1 MW of LCR is equivalent to ??? MW of ROS
15.9% | 104.2% | 5450.702 | 87.8% | 9934.57 | 15385.272 | 21658.686 | 0 | 0
16% | 103.1% | 5393.161 | 81.7% | 9244.355 | 14637.516 | 22438.404 | 779.718 | 747.756 | 0.95901 | 747.756 | -779.718 | -0.95901 | -0.76448 | -43.8013 | 1.0427
16.5% | 100.9% | 5278.079 | 79.5% | 8995.425 | 14273.504 | 22962.226 | 1303.54 | 1111.768 | 0.85288 | 364.012 | -523.822 | -0.69492 | -0.60731 | -34.796 | 1.1725
17.56% | 99% | 5178.69 | 78.3% | 8859.645 | 14038.335 | 23536.1922 | 1877.5062 | 1346.937 | 0.71741 | 235.169 | -573.9662 | -0.40973 | -0.38886 | -22.2802 | 1.3939
20.3% | 97.6% | 5105.456 | 76.6% | 8667.29 | 13772.746 | 24677.54 | 3018.854 | 1612.526 | 0.53415 | 265.589 | -1141.3478 | -0.2327 | -0.22863 | -13.0995 | 1.8721
24% | 97.3% | 5089.763 | 76.5% | 8655.975 | 13745.738 | 25887.142 | 4228.456 | 1639.534 | 0.38774 | 27.008 | -1209.602 | -0.022328 | -0.022324 | -1.2791 | 2.5791
28% | 97.1% | 5079.301 | 76.2% | 8622.03 | 13701.331 | 27210.029 | 5551.343 | 1683.941 | 0.30334 | 44.407 | -1322.887 | -0.033568 | -0.033556 | -1.9226 | 3.2966

## Simple
NYCA Capacity Cost Comparison
|  | Peak Load (MW) | Summer 2006 ($/kW-Month)
Long Island (LI) |  | 5348 | 11.15
New York City (NYC) |  | 11630 | 12.71
Rest of State (ROS) |  | 16317 | 3.25
Total NYCA |  | 33295
|  | 16.5% | 17% | 17.25% | 17.5% | 18% | 19% | 20%
NYCA Capacity Obligation | MW | 38788.675 | 38955.15 | 39038.3875 | 39121.625 | 39288.1 | 39621.05 | 39954
Long Island | LCR% | 107.8% | 102% | 101.2% | 100.3% | 99.1% | 97.9% | 96.6%
Long Island | MW | 5765.144 | 5454.96 | 5412.176 | 5364.044 | 5299.868 | 5235.692 | 5166.168
Long Island | $ | 64281355.6 | 60822804 | 60345762.4 | 59809090.6 | 59093528.2 | 58377965.8 | 57602773.2
New York City | LCR% | 89.1% | 81.9% | 81% | 80.3% | 79.7% | 78.6% | 77.4%
New York City | MW | 10362.33 | 9524.97 | 9420.3 | 9338.89 | 9269.11 | 9141.18 | 9001.62
New York City | $ | 131705214.3 | 121062368.7 | 119732013 | 118697291.9 | 117810388.1 | 116184397.8 | 114410590.2
Downstate NY | MW | 16127.474 | 14979.93 | 14832.476 | 14702.934 | 14568.978 | 14376.872 | 14167.788
Downstate NY | $ | 195986569.9 | 181885172.7 | 180077775.4 | 178506382.5 | 176903916.3 | 174562363.6 | 172013363.4
Rest of State | MW | 22661.201 | 23975.22 | 24205.9115 | 24418.691 | 24719.122 | 25244.178 | 25786.212
Rest of State | $ | 73648903.25 | 77919465 | 78669212.375 | 79360745.75 | 80337146.5 | 82043578.5 | 83805189
NYCA Capacity Obligation | $ | 269635473.15 | 259804637.7 | 258746987.775 | 257867128.25 | 257241062.8 | 256605942.1 | 255818552.4
NYCA Capacity Obligation | MW |  |  |  |  | 39288.1
Long Island | LCR% |  |  |  |  | 99.1%
Long Island | MW |  |  |  |  | 5299.868
Long Island | $ |  |  |  |  | 59093528.2
New York City | LCR% |  |  |  |  | 79.7%
New York City | MW |  |  |  |  | 9269.11
New York City | $ |  |  |  |  | 117810388.1
Downstate NY | MW |  |  |  |  | 14568.978
Downstate NY | $ |  |  |  |  | 176903916.3
Rest of State | MW | 22661.201
Rest of State | $ | 73648903.25
U/D Ratio
Downstate Capacity Balance | MW |  |  |  |  | 2057.921 | 1.3433
Downstate Capacity Balance | $ |  |  |  |  | 6688243.25
NYCA Capacity Obligation | $ |  |  |  |  | 257241062.8