# Revised Transmission District ICAP Requirements for

Winter 1999-2000 Capability Period

| Transmission District | Peaking Period | Installed Capacity |
| --- | --- | --- |
|  |  | Requirement (MW) |
| Central Hudson | Summer | 1197.7 |
| Con Edison - Westchester | Summer | 1732.2 |
| Con Edison - NYC | Summer | 12250.8 |
| LIPA | Summer | 5684.1 |
| NYSEG | Winter | 3134.1 |
| NMPC | Summer | 7582.9 |
| NYPA | Winter | 775.3 |
| O & R | Summer | 1493.9 |
| RG&E | Summer | 1712.2 |
| NYCA |  | 35563.1 |

## Locational ICAP Requirements for In-City and On-Island

| Locality | Locality Requirement (MW) |
| --- | --- |
| (1) NYC | 8305.6 |
| (2) LI | 4555.3 |

The Locality Requirement is the minimum amount of ICAP which must be obtained from within the Locality.

- 80% of the In-City Summer 1999 peak load

- 89.7% of the On-Island Summer 1999 ICAP Requirement adjusted for grandfathered ICAP contracts, as below:

(5684.1 - 605.7)*.897 = 4555.3

Note that the issue of grandfathering contracts for the purpose of meeting on-island locational requirements is subject to review and revision for capability periods beyond the Winter 1999-2000.