## Legend
Project: | NYISO Demand Curve Reset 2020
Date: | 2021-04-01
Worksheet: | Legend
NYISO Net EAS Revenues Fossil Model: Run Specifcations
Workbook Legend
Sheet: All_Case_Specs
Feature | Item (if applicable) | Description
Sheet Purpose |  | This sheet is used to set parameters that apply to all cases in the run.
Variables & Toggles | Historical_Start_Period | This column allows users to select the first year of historical data to be analyzed in the run. This first year determines the three-year historical period used by the run. Years in this case are defined as yearlong periods from September 1 to August 31. - So, for instance, selecting 2017-2018 means that the first year of historical data included in the model period is September 1, 2017 to August 31, 2018. The resulting three-year period covers September 1, 2017 until August 31, 2020 and is used to determine the reference point for Capability Year 2021/22. Note: selecting a start year for which you do not have three subsequent years of data available will cause the model to break. For instance, if you select 2018-2019 but you do not have data from September 1, 2018 until August 31, 2021, the model will break.
| Generate_Intermediate_Output | This column allows users to identify whether they would like to produce intermediate datasets. Intermediate datasets available for export are a full dataset of cleaned and merged inputs (produced at the end of code module 1) or the full hourly results of the model (produced at the end of code module 2).
| Intermediate_Dataset_Format | This column allows users who have selected to export intermediate datasets whether they would like them in .csv or .rds format (or both).
Sheet: Individual_Case_Specs
Feature | Item (if applicable) | Description
Sheet Purpose |  | This sheet is used to set the units and parameters in the cases evaluated in each run.
Variables & Toggles | Case_Number | This column assigns a separate number to each, used by the model to call each case in turn. Set these in ascending numerical order (1, 2, 3, …).
| Unit_Type | This column identifies the type of unit in the case. Case may only include units of a single type. The types to select are: - CT: simple-cycle combustion turbines & other peaking plants - CC: combined-cycle plants
| Case_ID | This column is a user-specified ID for each case that will be used in output workbooks and (where applicable) intermediate dataset filenames to help users identify the case used to generate a given intermediate dataset. We recommend making this ID no more than 10-15 characters, to avoid breaking Windows filepath length limitations.
| Unit_1 through Unit_4 | These columns identify the units to be evaluated in the case. The unit codes are as follows: Simple-Cycle Combustion Turbines & Other Peaking Plants (CT) - f: 1x GE 7F.05 [frame combustion turbine] - j25: 1x GE HA.02 25ppm [frame combustion turbine] - j15: 1x GE HA.02 15ppm [frame combustion turbine] - aero: 3x Siemens SGT-A65 WLE [aeroderivative technology combustion turbine] Combined-Cycle Plants (CC) - ccj: 1x1 GE HA.02 [frame combustion turbine] Note: all units selected must be of the type identified for that case under "Unit_Type"
| SCR_Toggle | This column identifies whether units in the case have scrubbers or not. Technical parameters for units with and without scrubbers are different. Note: Cases for units without scrubbers (1) cannot include CC units and (2) can only be evaluated in Zones C, F, and the Dutchess County portion of Zone G ("G1")
| Gas_Only_Toggle | This column identifies whether units in the case have dual-fuel capabilities (gas and ULSD) or not. Note: gas-only runs can only be evaluated in Zones C, F, and G (both Dutchess County, or "G1", and Rockland County, or "G2"). Dual-fuel runs can be evaluated in all zones.
| Zone_C_Hub | This column identifies which gas price series to use for Zone C. - TGP Z4 200L: uses TGP Z4 200L prices, as recommended by AG. - Niagara / TGP Z4 200L: uses TGP Z4 200L prices in March to November and Niagara prices in December to February, as recomended by NYISO staff. Note: cases where units are not evaluated in Zone C, users can select either series; Zone C results will not be provided.
| Zones | This column allows users to select the zones within which they would like to evaluate a given case. The model is set up to evaluate cases in zones C, F, J, and K, as well as the Dutchess County portion of zone G ("G1") and the Rockland County portion ("G2"). Users can select any of the following options: - All Zones: zones C, F, G1, G2, J, and K. - No-SCR Zones: zones C, F, and G1. Only these zones allow for units without scrubbers. - Gas-Only Zones: zones C, F, G1, and G2. Only these zones allow for units without dual-fuel capabilities. - ROS: zones C and F. - G-K Zones: zones G1, G2, J, and K. - G-J Zones: zones G1, G2, and J. - Users can also select any single zone to evaluate. Note: cases with no-scrubber units or gas-only units will automatically remove disallowed zones from their case if users have selected evaluation across zones that do not permit these types of units.
| Price_Cost_Inputs_Filename | This column allows users to direct the case to use a custom Price and Cost Inputs file instead of the default shared file. Users can use custom files to examine DCR results under different specifications: for instance, a different set of underlying gas price indices. - If you would like to use the default Price and Cost Inputs file, set this field to [Default] - If you would like to use a custom Price and Cost Inputs file, set this field to the filename of your custom file (e.g. "ModifiedGasIndices PCIs.xlsx"). Save the file in your "1. Run Inputs" folder, alongside this workbook. Make sure that your custom file is formatted identically to the default file.
| Technical_Inputs_Filename | This column allows users to direct the case to use a custom Unit Technical Parameters file instead of the default shared file. Users can use custom files to examine DCR results under different specifications: for instance, a different set of underlying gas price indices. - If you would like to use the default Unit Technical Parameters file, set this field to [Default]. - If you would like to use a custom Unit Technical Parameters file, set this field to the filename of your custom file (e.g. "ModifiedGasIndices PCIs.xlsx"). Save the file in your "1. Run Inputs" folder, alongside this workbook. Make sure that your custom file is formatted identically to the default file.

## All_Case_Specs
Historical_Start_Period | Generate_Intermediate_Output | Intermediate_Dataset_Format
2017-2018 | Yes | Both (.rds, .csv)

## Individual_Case_Specs
Case_Number | Unit_Type | Case_ID | Number_of_Units | Unit_1 | Unit_2 | Unit_3 | Unit_4 | SCR_Toggle | Gas_Only_Toggle | Zone_C_Hub | Zones | Price_Cost_Inputs_Filename | Technical_Inputs_Filename
1 | CT | NYCA | 1 | j15 | #N/A | #N/A | #N/A | No | Yes | Niagara / TGP Z4 200L | C | [Default] | [Default]
2 | CT | G-J | 1 | j25 | #N/A | #N/A | #N/A | Yes | No | Niagara / TGP Z4 200L | G2 | [Default] | [Default]
3 | CT | NYC | 1 | j25 | #N/A | #N/A | #N/A | Yes | No | Niagara / TGP Z4 200L | J | [Default] | [Default]
4 | CT | LI | 1 | j25 | #N/A | #N/A | #N/A | Yes | No | Niagara / TGP Z4 200L | K | [Default] | [Default]

## Run_Specs_Choices
Output_Format | Dataset_Format | Generate_Intermediate_Output | Historical_Start_Period
By Unit | .rds | Yes | 2016-2017
By Zone | .csv | No | 2017-2018
| Both (.rds, .csv) |  | 2018-2019
| #N/A |  | 2019-2020
2020-2021