## Instructions
Project: |  | NYISO Demand Curve Reset 2020
Date: |  | 2021-04-01
Worksheet: |  | Instructions
NYISO Net EAS Revenues Fossil Model: Results Tables
Instructions
Using the Results Tables
The results tables allow users to view several breakdowns of data from their model runs in a user-friendly fashion. There are three tables:
Yearly_Revs: displays the average annual revenues ($/kW-yr), operating hours, and start counts over the three-year period.
Oil_v_Gas_Operation: displays total energy revenues ($/kW-yr) and operating hours by fuel type for each year.
DAM_v_RTD_CoOpt:displays total operating hours and energy revenues ($/kW-yr) for each year by day-ahead commitment (energy/reserve/none) and real-time dispatch decision (energy/reserve/buyout/limited/none).
Updating Data: to view data from a new run …
1. Delete all data in the three backup sheets: "3Yr_Avg_$kWYr", "DAMvRTD_$kWYr", "FuelType_EngOnly_$kWYr"
2. Paste into these worksheets the contents of the corresponding sheets in your run's Diagnostic Tables workbook

## Yearly_Revs
NYISO Demand Curve Reset 2021/2022 Capability Year
Final Net EAS Revenues Yearly Summary
GE 7HA.02
|  |  |  | Load Zone |  | Fuel Type/ Emission Control | Annual Average Net EAS Revenues ($/kW-year) | Annual Average Run Hours | Annual Average Unit Starts | Annual Average Hours per Start
Unit | Area | SCR_Toggle | Gas_Only_Toggle |  |  |  | Avg.Profit.per.kWyr | Avg.Hour.Count | Avg.Start.Count
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 7.6359 | 76 | 13 | 5.8462
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 27.5323 | 144 | 7.6667 | 18.7826
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 29.0309 | 147.6667 | 9.3333 | 15.8214
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 37.6489 | 262 | 30.3333 | 8.6374
Notes:
[1] Net EAS Revenues are in $2019.
[2] Assumes a $2.04/kW-year VSS revenues adder for all CT units, based on settlement data provided by NYISO.
[3] Run-time limits were applied based on New Source Performance Standards. All units with SCRs were limited to 3,066 hours of runtime in each modeled year (September 1, 2017 to August 31, 2018; September 1, 2018 to August 31, 2019; September 1, 2019 to August 31, 2020). All units without SCRs were limited to 200,000 lbs of NOx emissions in each modeled year.
Note: reference prices are calculated using fuel and emissions price data from S&P Global Market Intelligence that is not publicly releasable. The figures in this workbook reflect results calculated using placeholder data. See the Price and Cost Input Data.xlsx workbook for information on how to update.

## Oil_v_Gas Operation
NYISO Demand Curve Reset 2021/2022 Capability Year
Gas vs. Oil Operations: Hours & Energy Revenues
GE 7HA.02
[7 empty] | 1 | 1 | 1 | 1 | 1 | 1
[7 empty] | Gas | Oil |  | Gas | Oil
September, 2017 - August, 2018
[7 empty] | Run-Time Hours |  |  | Net Energy Revenues ($/kW-year)
|  |  |  | Load Zone |  | Fuel Type/ Emission Control | Gas | Oil | Total | Gas | Oil | Total
Unit | Area | SCR_Toggle | Gas_Only_Toggle |  |  |  | Energy.Hours | Energy.Hours | Energy.Hours | Energy.Profit.per.kWyr | Energy.Profit.per.kWyr | Energy.Profit.per.kWyr
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 203 | - | 203 | 10.9223 | - | 10.9223
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 386 | - | 386 | 19.9625 | - | 19.9625
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 393 | - | 393 | 22.192 | - | 22.192
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 560 | - | 560 | 35.5601 | - | 35.5601
[7 empty] | 2 | 2 | 2 | 2 | 2 | 2
September, 2018 - August, 2019
[7 empty] | Run-Time Hours |  |  | Net Energy Revenues ($/kW-year)
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Load Zone |  | Fuel Type/ Emission Control | Gas | Oil | Total | Gas | Oil | Total
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 21 | - | 21 | 2.5671 | - | 2.5671
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 42 | - | 42 | 0.7707 | - | 0.7707
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 44 | - | 44 | 1.3065 | - | 1.3065
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 179 | - | 179 | 10.792 | - | 10.792
[7 empty] | 3 | 3 | 3 | 3 | 3 | 3
September, 2019 - August, 2020
[7 empty] | Run-Time Hours |  |  | Net Energy Revenues ($/kW-year)
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Load Zone |  | Fuel Type/ Emission Control | Gas | Oil | Total | Gas | Oil | Total
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 4 | - | 4 | 0.036443 | - | 0.036443
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 4 | - | 4 | 0.10139 | - | 0.10139
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 6 | - | 6 | 0.11711 | - | 0.11711
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 47 | - | 47 | 3.7484 | - | 3.7484
Notes:
[1] Net EAS Revenues are in 2019$.
[2] Results do not assume a $2.04/kW-year VSS revenues adder for all CT units.
[3] Run-time limits were applied based on New Source Performance Standards. All units with SCRs were limited to 3,066 hours of runtime in each modeled year (September 1, 2017 to August 31, 2018; September 1, 2018 to August 31, 2019; September 1, 2019 to August 31, 2020). All units without SCRs were limited to 200,000 lbs of NOx emissions in each modeled year.
Note: reference prices are calculated using fuel and emissions price data from S&P Global Market Intelligence that is not publicly releasable. The figures in this workbook reflect results calculated using placeholder data. See the Price and Cost Input Data.xlsx workbook for information on how to update.

## DAM_v_RTD_CoOptimization
NYISO Demand Curve Reset 2021/2022 Capability Year
Day-Ahead Commitments vs. Real-Time Dispatch: Hours & Revenues
GE 7HA.02
[7 empty] | Energy | Energy | Energy | Energy | Reserve | Reserve | Reserve | Reserve | None | None | None | None
[7 empty] | Energy.Hours | Reserve.Hours | Buyout.Hours | Limited.Hours | Energy.Hours | Reserve.Hours | Buyout.Hours | Limited.Hours | Energy.Hours | Reserve.Hours | None.Hours | Limited.Hours
[7 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Run Hours September, 2017 - August, 2018
|  |  |  | Day-Ahead Commitment |  |  | Energy |  |  |  | Reserve |  |  |  | None |  |  |  | Total
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Real-Time Dispatch |  |  | Energy | Reserve | Buyout | Limited | Energy | Reserve | Buyout | Limited | Energy | Reserve | None | Limited
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 142 | 0 | 21 | 0 | 11 | 29 | 86 | 0 | 50 | 30 | 8391 | 0 | 8760
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 358 | 0 | 23 | 0 | 28 | 185 | 8140 | 0 | 0 | 0 | 26 | 0 | 8760
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 373 | 0 | 17 | 0 | 20 | 182 | 8140 | 0 | 0 | 0 | 28 | 0 | 8760
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 468 | 0 | 15 | 0 | 92 | 151 | 8008 | 0 | 0 | 0 | 26 | 0 | 8760
[7 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Run Hours September, 2018 - August, 2019
|  |  |  | Day-Ahead Commitment |  |  | Energy |  |  |  | Reserve |  |  |  | None |  |  |  | Total
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Real-Time Dispatch |  |  | Energy | Reserve | Buyout | Limited | Energy | Reserve | Buyout | Limited | Energy | Reserve | None | Limited
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 5 | 0 | 16 | 0 | 0 | 0 | 12 | 0 | 16 | 46 | 8665 | 0 | 8760
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 31 | 0 | 28 | 0 | 11 | 214 | 8466 | 0 | 0 | 0 | 10 | 0 | 8760
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 37 | 0 | 40 | 0 | 7 | 256 | 8409 | 0 | 0 | 0 | 11 | 0 | 8760
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 124 | 0 | 42 | 0 | 55 | 198 | 8333 | 0 | 0 | 0 | 8 | 0 | 8760
[7 empty] | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Run Hours September, 2019 - August, 2020
|  |  |  | Day-Ahead Commitment |  |  | Energy |  |  |  | Reserve |  |  |  | None |  |  |  | Total
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Real-Time Dispatch |  |  | Energy | Reserve | Buyout | Limited | Energy | Reserve | Buyout | Limited | Energy | Reserve | None | Limited
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 4 | 25 | 8750 | 0 | 8784
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 0 | 0 | 0 | 0 | 4 | 95 | 8436 | 0 | 0 | 0 | 249 | 0 | 8784
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 0 | 0 | 0 | 0 | 6 | 164 | 8360 | 0 | 0 | 0 | 254 | 0 | 8784
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 18 | 12 | 0 | 0 | 29 | 88 | 8388 | 0 | 0 | 0 | 249 | 0 | 8784
[7 empty] | Energy.Profit.per.kWYr | Reserve.Profit.per.kWYr | Buyout.Profit.per.kWYr | Limited.Profit.per.kWYr | Energy.Profit.per.kWYr | Reserve.Profit.per.kWYr | Buyout.Profit.per.kWYr | Limited.Profit.per.kWYr | Energy.Profit.per.kWYr | Reserve.Profit.per.kWYr | Buyout.Profit.per.kWYr | Limited.Profit.per.kWYr
[7 empty] | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Net EAS Revenues September, 2017 - August, 2018 ($/kW-yr)
|  |  |  | Day-Ahead Commitment |  |  | Energy |  |  |  | Reserve |  |  |  | None |  |  |  | Total | Total with Adders (VSS, AS)
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Real-Time Dispatch |  |  | Energy | Reserve | Buyout | Limited | Energy | Reserve | Buyout | Limited | Energy | Reserve | None | Limited
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 8.2284 | 0 | 0.77335 | 0 | 0.8838 | 0.10098 | 0.16603 | 0 | 1.8102 | 0.53749 | 0 | 0 | 12.5002 | 14.5402
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 19.0899 | 0 | 0.56243 | 0 | 0.87264 | 1.1158 | 19.3547 | 0 | 0 | 0 | 0 | 0 | 40.9954 | 43.0354
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 21.4357 | 0 | 0.33845 | 0 | 0.75626 | 1.0603 | 19.0499 | 0 | 0 | 0 | 0 | 0 | 42.6406 | 44.6806
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 28.7831 | 0 | 0.78345 | 0 | 6.7771 | 0.67606 | 19.1076 | 0 | 0 | 0 | 0 | 0 | 56.1272 | 58.1672
[7 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Net EAS Revenues September, 2018 - August, 2019 ($/kW-yr)
|  |  |  | Day-Ahead Commitment |  |  | Energy |  |  |  | Reserve |  |  |  | None |  |  |  | Total | Total with Adders (VSS, AS)
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Real-Time Dispatch |  |  | Energy | Reserve | Buyout | Limited | Energy | Reserve | Buyout | Limited | Energy | Reserve | None | Limited
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 0.041417 | 0 | 0.46177 | 0 | 0 | 0 | 0.01576 | 0 | 2.5257 | 0.77979 | 0 | 0 | 3.8244 | 5.8644
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 0.48817 | 0 | 1.0405 | 0 | 0.28252 | 1.0107 | 17.5085 | 0 | 0 | 0 | 0 | 0 | 20.3305 | 22.3705
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 0.43415 | 0 | 1.6814 | 0 | 0.87238 | 1.343 | 18.0573 | 0 | 0 | 0 | 0 | 0 | 22.3883 | 24.4283
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 3.8464 | 0 | 1.4698 | 0 | 6.9456 | 0.87841 | 17.7586 | 0 | 0 | 0 | 0 | 0 | 30.8988 | 32.9388
[7 empty] | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Net EAS Revenues September, 2019 - August, 2020 ($/kW-yr)
|  |  |  | Day-Ahead Commitment |  |  | Energy |  |  |  | Reserve |  |  |  | None |  |  |  | Total | Total with Adders (VSS, AS)
Unit | Area | SCR_Toggle | Gas_Only_Toggle | Real-Time Dispatch |  |  | Energy | Reserve | Buyout | Limited | Energy | Reserve | Buyout | Limited | Energy | Reserve | None | Limited
j15 | C | No | Yes | C | Upstate | Gas Only, tuned to 15ppm, without SCR | 0 | 0 | 0 | 0 | 0 | 0 | 0.0019793 | 0 | 0.036443 | 0.42466 | 0 | 0 | 0.46308 | 2.5031
j25 | G2 | Yes | No | G | G-J | Dual Fuel, tuned to 25ppm, with SCR | 0 | 0 | 0 | 0 | 0.10139 | 0.26983 | 14.7798 | 0 | 0 | 0 | 0 | 0 | 15.151 | 17.191
j25 | J | Yes | No | J | NYC | Dual Fuel, tuned to 25ppm, with SCR | 0 | 0 | 0 | 0 | 0.11711 | 0.64128 | 15.1854 | 0 | 0 | 0 | 0 | 0 | 15.9438 | 17.9838
j25 | K | Yes | No | K | Long Island | Dual Fuel, tuned to 25ppm, with SCR | 0.52241 | 0.58542 | 0 | 0 | 3.226 | 0.25384 | 15.213 | 0 | 0 | 0 | 0 | 0 | 19.8006 | 21.8406
Notes:
[1] Net EAS Revenues are in 2019$.
[2] Assumes a $2.04/kW-year VSS revenues adder for all CT units, based on settlement data provided by NYISO.
[3] Run-time limits were applied based on New Source Performance Standards. All units with SCRs were limited to 3,066 hours of runtime in each modeled year (September 1, 2017 to August 31, 2018; September 1, 2018 to August 31, 2019; September 1, 2019 to August 31, 2020). All units without SCRs were limited to 200,000 lbs of NOx emissions in each modeled year.
[4] For each hour, a unit is committed via day-ahead then dispatched in real time.
[5] "Limited" hours are hours in which a unit would schedule to dispatch energy but does not to avoid exceeding environmental runtime limitatoins for the model year. Units in these hours may earn reserve revenues if it is profitable to do so.
Note: reference prices are calculated using fuel and emissions price data from S&P Global Market Intelligence that is not publicly releasable. The figures in this workbook reflect results calculated using placeholder data. See the Price and Cost Input Data.xlsx workbook for information on how to update.

## 3Yr_Avg_$kWYr
Case | Unit | Area | Zone | Capacity_Zone | Avg.Profit.per.kWyr | Avg.Hour.Count | Avg.Start.Count | Start_Date | SCR_Toggle | Gas_Only_Toggle | Zone_C_Hub | Price_Cost_Inputs | Technical_Inputs
NYCA | j15 | C | CENTRL | ROS | 5.5959 | 76 | 13 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 25.4923 | 144 | 7.6667 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 26.9909 | 147.6667 | 9.3333 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 35.6089 | 262 | 30.3333 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]

## DAMvRTD_$kWYr
Case | Unit | Area | Zone | Capacity_Zone | Model.Year | DAM.Commit | Energy.Profit.per.kWyr | Energy.Hours | Reserve.Profit.per.kWyr | Reserve.Hours | Buyout.Profit.per.kWyr | Buyout.Hours | Limited.Profit.per.kWyr | Limited.Hours | None.Profit.per.kWyr | None.Hours | Start_Date | SCR_Toggle | Gas_Only_Toggle | Zone_C_Hub | Price_Cost_Inputs | Technical_Inputs
NYCA | j15 | C | CENTRL | ROS | 1 | Energy | 8.2284 | 142 | 0 | 0 | 0.77335 | 21 | 0 | 0 | 0 | 0 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 1 | None | 1.8102 | 50 | 0.53749 | 30 | 0 | 0 | 0 | 0 | 0 | 8391 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 1 | Reserve | 0.8838 | 11 | 0.10098 | 29 | 0.16603 | 86 | 0 | 0 | 0 | 0 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 2 | Energy | 0.041417 | 5 | 0 | 0 | 0.46177 | 16 | 0 | 0 | 0 | 0 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 2 | None | 2.5257 | 16 | 0.77979 | 46 | 0 | 0 | 0 | 0 | 0 | 8665 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 2 | Reserve | 0 | 0 | 0 | 0 | 0.01576 | 12 | 0 | 0 | 0 | 0 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 3 | None | 0.036443 | 4 | 0.42466 | 25 | 0 | 0 | 0 | 0 | 0 | 8750 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 3 | Reserve | 0 | 0 | 0 | 0 | 0.0019793 | 5 | 0 | 0 | 0 | 0 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 1 | Energy | 19.0899 | 358 | 0 | 0 | 0.56243 | 23 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 1 | Reserve | 0.87264 | 28 | 1.1158 | 185 | 19.3547 | 8140 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 2 | Energy | 0.48817 | 31 | 0 | 0 | 1.0405 | 28 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 2 | Reserve | 0.28252 | 11 | 1.0107 | 214 | 17.5085 | 8466 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 3 | Reserve | 0.10139 | 4 | 0.26983 | 95 | 14.7798 | 8436 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 1 | Energy | 21.4357 | 373 | 0 | 0 | 0.33845 | 17 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 1 | Reserve | 0.75626 | 20 | 1.0603 | 182 | 19.0499 | 8140 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 2 | Energy | 0.43415 | 37 | 0 | 0 | 1.6814 | 40 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 2 | Reserve | 0.87238 | 7 | 1.343 | 256 | 18.0573 | 8409 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 254 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 3 | Reserve | 0.11711 | 6 | 0.64128 | 164 | 15.1854 | 8360 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 1 | Energy | 28.7831 | 468 | 0 | 0 | 0.78345 | 15 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 1 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 1 | Reserve | 6.7771 | 92 | 0.67606 | 151 | 19.1076 | 8008 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 2 | Energy | 3.8464 | 124 | 0 | 0 | 1.4698 | 42 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 2 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 2 | Reserve | 6.9456 | 55 | 0.87841 | 198 | 17.7586 | 8333 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 3 | Energy | 0.52241 | 18 | 0.58542 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 3 | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 3 | Reserve | 3.226 | 29 | 0.25384 | 88 | 15.213 | 8388 | 0 | 0 | 0 | 0 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]

## FuelType_EngOnly_$kWYr
Case | Unit | Area | Zone | Capacity_Zone | Model.Year | Fuel.Used | Energy.Profit.per.kWyr | Energy.Hours | Start_Date | SCR_Toggle | Gas_Only_Toggle | Zone_C_Hub | Price_Cost_Inputs | Technical_Inputs
NYCA | j15 | C | CENTRL | ROS | 1 | Gas | 10.9223 | 203 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 2 | Gas | 2.5671 | 21 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
NYCA | j15 | C | CENTRL | ROS | 3 | Gas | 0.036443 | 4 | 2017-09-01 | No | Yes | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 1 | Gas | 19.9625 | 386 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 2 | Gas | 0.7707 | 42 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
G-J | j25 | G2 | HUD VL | HV | 3 | Gas | 0.10139 | 4 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 1 | Gas | 22.192 | 393 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 2 | Gas | 1.3065 | 44 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
NYC | j25 | J | N.Y.C. | NYC | 3 | Gas | 0.11711 | 6 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 1 | Gas | 35.5601 | 560 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 2 | Gas | 10.792 | 179 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]
LI | j25 | K | LONGIL | LI | 3 | Gas | 3.7484 | 47 | 2017-09-01 | Yes | No | Niagara / TGP Z4 200L | [Default] | [Default]