## NYC
NYC ICAP Forecast Inputs for Class Year 2012 Examined Facilities
See accompanying “Assumptions and References” document posted November 12, 2012.
Date Published: December 26, 2014
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2015 | 2016 | 2017 | 2015/16 | 2016/17 | 2017/18 | Document | Abbrev.
NYC ICAP Reference Point | $/kW-mo, ICAP | 18.95 | 19.37 | 19.8 | 18.95 | 19.37 | 19.8 | (1) | RP_ICAP
ICAP/UCAP Translation Factor | % | 5.39% | 5.39% | 5.39% | 5.27% | 5.27% | 5.27% | (2) - Does not reflect changes due to projects no longer in CY2012 | EFORd
NYC UCAP Reference Point | $/kW-mo, UCAP | 20.03 | 20.47 | 20.93 | 20 | 20.45 | 20.9 | =RP_ICAP * (1-EFORd) | RP_UCAP
Load Forecast | MW, ICAP | 12050 | 12215 | 12385 | 12050 | 12215 | 12385 | (3) Table I-2b | LF
NYC Locational Minimum ICAP Requirement | % | 85% | 85% | 85% | 85% | 85% | 85% | (4) | LCR
UCAP Requirement | MW, UCAP | 9690.4 | 9823.1 | 9959.8 | 9702.7 | 9835.6 | 9972.5 | = LF * LCR * (1-EFORd) | UCAP Req
Demand Curve Length | none | 1.18 | 1.18 | 1.18 | 1.18 | 1.18 | 1.18 | (1) | DCL
Zero Crossing Point | MW, UCAP | 11434.672 | 11591.258 | 11752.564 | 11449.186 | 11606.008 | 11767.55 | =UCAP Req * DCL | ZCP
Demand Curve Slope per 100 MW | $/kW-mo | -1.1483 | -1.1577 | -1.1675 | -1.1452 | -1.1551 | -1.1643 | =(-100) * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Escalation Factor | % | 2015: 2.2%; 2016: 2.2%; 2017: 2.2% | (1) | EF
Supply (excludes units subject to Offer Floor)
Generation Capacity | MW, ICAP | 8895.9 | 8895.9 | 8895.9 | 9616.3 | 9616.3 | 9616.3 | (3) Table III-2
Mothballed Units | MW, ICAP | 421.4 | 421.4 | 421.4 | 439.8 | 439.8 | 439.8 | (3) Table III-2, Table IV-3
Municipalities | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (3) Table III-2
UDRs | MW, ICAP | 315 | 315 | 315 | 315 | 315 | 315 | Maximum capability from (6), sales determined per (2)
Returned to Service | MW, ICAP | 242.6 | 242.6 | 242.6 | 273.6 | 273.6 | 273.6 | (5)
Special Case Resources (UCAP) | MW, UCAP | 341.5 | 341.5 | 341.5 | 232.8 | 232.8 | 232.8 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered MW (UCAP) | MW, UCAP | 30.8 | 30.8 | 30.8 | 23.3 | 23.3 | 23.3 | (2) - Corrected an error where the "unoffered" row was only reporting "resale unoffered", rather than the sum of "resale" and "resource".
Existing capacity that Received an Offer Floor |  | 2015: Summer; 2016: Winter
Astoria Energy II | MW, ICAP | 2015: 543.6; 2016: 612 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2015: 660; 2016: 660 | (3) Table VII-1
Class Year 2012 Examined Facilities
Berrians GT III (queue pos. 266)
Prior Class Year Examined Facilities
Berrians GT I/II (queue pos. 201 & 224, Class Year 2011)
Expected Retirements
There were no applicable retirement notices
Source Documents:
(1) NYISO 2014/2017 Demand Parameters
Services Tariff Section 5.14.1.2 at table, see also,
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/2014-2017%20Demand%20Curve%20Reset/Demand_Curve_Reset/2014-2017%20Demand%20Curve%20Parameters%20and%20Demand%20Curves.pdf
(2) ICAP Forecast Assumptions for Class Year 2012 Examined Projects
(3) 2014 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2014_GoldBook_Final.pdf
(4) LCR Report and LCR Recommendations to the NYISO Operating Committee, January 16, 2014
(5) Capacity of Resources Removed From the Gold Book
http://www.nyiso.com/public/markets_operations/services/planning/documents/index.jsp
(6) Installed Capacity Manual Section 4.9.6
http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/icap_mnl.pdf
Note: The November 2014 posting contained a rounding error on a few Demand Curve parameters. Some cells were off by a cent. This posting corrects these errors.

## G-J Locality
G-J Locality ICAP Forecast Inputs for Class Year 2012 Examined Facilities
See accompanying “Assumptions and References” document posted November 12, 2012.
Date Published: December 26, 2014
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2015 | 2016 | 2017 | 2015/16 | 2016/17 | 2017/18 | Document | Abbrev.
G-J Locality ICAP Reference Point | $/kW-mo, ICAP | 12.41 | 12.68 | 12.96 | 12.41 | 12.68 | 12.96 | (1) | RP_ICAP
ICAP/UCAP Translation Factor | % | 5.98% | 5.98% | 5.98% | 5.84% | 5.84% | 5.84% | (2) - Does not reflect changes due to projects no longer in CY2012 | EFORd
G-J Locality UCAP Reference Point | $/kW-mo, UCAP | 13.2 | 13.49 | 13.78 | 13.18 | 13.47 | 13.76 | =RP_ICAP * (1-EFORd) | RP_UCAP
Load Forecast | MW, ICAP | 16557 | 16749 | 16935 | 16557 | 16749 | 16935 | (3) Table I-2b-2 | LF
G-J Locality Locational Minimum ICAP Requirement | % | 88% | 88% | 88% | 88% | 88% | 88% | (4) | LCR
UCAP Requirement | MW, UCAP | 13698.9 | 13857.7 | 14011.6 | 13719.3 | 13878.4 | 14032.5 | = LF * LCR * (1-EFORd) | UCAP Req
Demand Curve Length | none | 1.15 | 1.15 | 1.15 | 1.15 | 1.15 | 1.15 | (1) | DCL
Zero Crossing Point | MW, UCAP | 15753.735 | 15936.355 | 16113.34 | 15777.195 | 15960.16 | 16137.375 | =UCAP Req * DCL | ZCP
Demand Curve Slope per 100 MW | $/kW-mo | -0.64239 | -0.64898 | -0.65565 | -0.64046 | -0.64705 | -0.65372 | =(-100) * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Escalation Factor | % | 2015: 2.2%; 2016: 2.2%; 2017: 2.2% | (1) | EF
Supply (excludes units subject to Offer Floor)
Generation Capacity | MW, ICAP | 13172 | 13172 | 13172 | 13958.5 | 13958.5 | 13958.5 | (3) Table III-2
Mothballed Units | MW, ICAP | 421.4 | 421.4 | 421.4 | 439.8 | 439.8 | 439.8 | (3) Table III-2, Table IV-3
Municipalities | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (3) Table III-2
UDRs | MW, ICAP | 315 | 315 | 315 | 315 | 315 | 315 | Maximum capability from (6), sales determined per (2)
Returned to Service | MW, ICAP | 736.2 | 736.2 | 736.2 | 772.5 | 772.5 | 772.5 | (5)
Special Case Resources (UCAP) | MW, UCAP | 392.4 | 392.4 | 392.4 | 272.9 | 272.9 | 272.9 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered MW (UCAP) | MW, UCAP | 56.5 | 56.5 | 56.5 | 47.5 | 47.5 | 47.5 | (2) - Corrected an error where the "unoffered" row was only reporting "resale unoffered", rather than the sum of "resale" and "resource".
Existing capacity that Received an Offer Floor |  | 2015: Summer; 2016: Winter
Astoria Energy II | MW, ICAP | 2015: 543.6; 2016: 612 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2015: 660; 2016: 660 | (3) Table VII-1
Class Year 2012 Examined Facilities (7)
Berrians GT III (queue pos. 266)
Prior Class Year Examined Facilities
CPV Valley Energy Center (queue pos. 251)
Taylor Biomass (queue pos. 349)
Berrians GT I/II (queue pos. 201 & 224, Class Year 2011)
Expected Retirements
There were no applicable retirement notices
Source Documents:
(1) NYISO 2014/2017 Demand Parameters
Services Tariff Section 5.14.1.2 at table, see also,
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/2014-2017%20Demand%20Curve%20Reset/Demand_Curve_Reset/2014-2017%20Demand%20Curve%20Parameters%20and%20Demand%20Curves.pdf
(2) ICAP Forecast Assumptions for Class Year 2012 Examined Projects
(3) 2014 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2014_GoldBook_Final.pdf
(4) LCR Report and LCR Recommendations to the NYISO Operating Committee, January 16, 2014
(5) Capacity of Resources Removed From the Gold Book
http://www.nyiso.com/public/markets_operations/services/planning/documents/index.jsp
(6) Installed Capacity Manual Section 4.9.6
http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/icap_mnl.pdf
(7) Cricket Valley & TDI did not accept their cost allocations and are no longer in CY2012
Note: The November 2014 posting contained a rounding error on a few Demand Curve parameters. Some cells were off by a cent. This posting corrects these errors.

## NYCA
NYCA ICAP Forecast Inputs for Class Year 2012 Examined Facilities
See accompanying “Assumptions and References” document posted November 12, 2012.
Date Published: December 26, 2014
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2015 | 2016 | 2017 | 2015/16 | 2016/17 | 2017/18 | Document | Abbrev.
NYCA ICAP Reference Point | $/kW-mo, ICAP | 9.03 | 9.23 | 9.43 | 9.03 | 9.23 | 9.43 | (1) | RP_ICAP
ICAP/UCAP Translation Factor | % | 9.16% | 9.16% | 9.16% | 7.82% | 7.82% | 7.82% | (2) - Does not reflect changes due to projects no longer in CY2012 | EFORd
NYCA UCAP Reference Point | $/kW-mo, UCAP | 9.94 | 10.16 | 10.38 | 9.8 | 10.01 | 10.23 | =RP_ICAP * (1-EFORd) | RP_UCAP
Load Forecast | MW, ICAP | 34066 | 34412 | 34766 | 34066 | 34412 | 34766 | (3) Table I-2a | LF
NYCA Locational Minimum ICAP Requirement | % | 117% | 117% | 117% | 117% | 117% | 117% | (4) | LCR
UCAP Requirement | MW, UCAP | 36206.3 | 36574 | 36950.3 | 36740.4 | 37113.5 | 37495.3 | = LF * LCR * (1-EFORd) | UCAP Req
Demand Curve Length | none | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | (1) | DCL
Zero Crossing Point | MW, UCAP | 40551.1 | 40962.9 | 41384.3 | 41149.2 | 41567.1 | 41994.7 | =UCAP Req * DCL | ZCP
Demand Curve Slope per 100 MW | $/kW-mo | -0.22878 | -0.23149 | -0.2341 | -0.22228 | -0.22476 | -0.22736 | =(-100) * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Escalation Factor | % | 2015: 2.2%; 2016: 2.2%; 2017: 2.2% | (1) | EF
Supply (excludes units subject to Offer Floor)
Generation Capacity | MW, ICAP | 37121.1 | 37121.1 | 37121.1 | 39396.4 | 39396.4 | 39396.4 | (3) Table III-2
Mothballed Units | MW, ICAP | 866.4 | 866.4 | 866.4 | 884.8 | 884.8 | 884.8 | (3) Table III-2, Table IV-3
Municipalities | MW, ICAP | 133 | 133 | 133 | 157.6 | 157.6 | 157.6 | (3) Table III-2
UDRs | MW, ICAP | 1305 | 1305 | 1305 | 1305 | 1305 | 1305 | Maximum capability from (6), sales determined per (2)
Returned to Service | MW, ICAP | 814.7 | 814.7 | 814.7 | 859.1 | 859.1 | 859.1 | (5)
Special Case Resources (UCAP) | MW, UCAP | 1066.2 | 1066.2 | 1066.2 | 791.2 | 791.2 | 791.2 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered MW (UCAP) | MW, UCAP | 274.8 | 274.8 | 274.8 | 367.5 | 367.5 | 367.5 | (2) - Corrected an error where the "unoffered" row was only reporting "resale unoffered", rather than the sum of "resale" and "resource".
Existing capacity that Received an Offer Floor |  | 2015: Summer; 2016: Winter
Astoria Energy II | MW, ICAP | 2015: 543.6; 2016: 612 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2015: 660; 2016: 660 | (3) Table VII-1
G-J Locality Class Year 2012 Examined Facilities
NYC Class Year 2012 Examined Facilities (7)
Berrians GT III (queue pos. 266)
Prior Class Year Examined Facilities
CPV Valley Energy Center (queue pos. 251)
Taylor Biomass (queue pos. 349)
Berrians GT I/II (queue pos. 201 & 224, Class Year 2011)
Expected Retirements
There were no applicable retirement notices
Source Documents:
(1) NYISO 2014/2017 Demand Parameters
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/2014-2017%20Demand%20Curve%20Reset/Demand_Curve_Reset/2014-2017%20Demand%20Curve%20Parameters%20and%20Demand%20Curves.pdf
(2) ICAP Forecast Assumptions for Class Year 2012 Examined Projects
(3) 2014 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2014_GoldBook_Final.pdf
(4) New York State Reliability Council, LLC, "New York Control Area Installed Capacity Requirement for the Period May 2014 to April 2015"
http://www.nysrc.org/pdf/Reports/2014%20IRM%20Report%20Body%20%20Final%2012-6-13.pdf
(5) Capacity of Resources Removed From the Gold Book
http://www.nyiso.com/public/markets_operations/services/planning/documents/index.jsp
(6) Installed Capacity Manual Section 4.9.6
http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/icap_mnl.pdf
(7) Cricket Valley & TDI did not accept their cost allocations and are no longer in CY2012
Note: The November 2014 posting contained a rounding error on a few Demand Curve parameters. Some cells were off by a cent. This posting corrects these errors.

## GJ DOF
G-J Locality Default Net CONE Shaping
Date Published: December 26, 2014
Input | Abbreviation | Source | Calculation | Units | Capability Year 2015/2016 | Capability Year 2016/2017 | Capability Year 2017/2018
Annual ICAP Revenue Requirement | ARR | (1) | ARR inflated with IR | $/kW-yr, ICAP | 120.2603 | 122.906 | 125.61
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 205.599 | 205.599 | 205.599
Winter DMNC | Qw | (1) | -- | MW, ICAP | 225.243 | 225.243 | 225.243
Summer DMNC | Qs | (1) | -- | MW, ICAP | 209.377 | 209.377 | 209.377
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.0682 | 1.0682 | 1.0682
Demand Curve Length | DCL | (1) | -- | none | 1.15 | 1.15 | 1.15
Escalation Factor | EF | (1) | -- | % | 2.2% | 2.2% | 2.2%
Inflation Rate | IR | (1) | -- | % | 2.2% | 2.2% | 2.2%
Excess | Exc | (2) | -- | % | 1.4% | 1.4% | 1.4%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.17% | 2.17% | 2.17%
Mitigation Net CONE | MNC | Calc. | ARR*(1-Exc/(DCL-1)) | $/kW-yr, ICAP | 109.036 | 111.4348 | 113.8864
Annual Default Offer Floor, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 81.777 | 83.5761 | 85.4148
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 8.4356 | 8.6211 | 8.8108
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 4.5995 | 4.7007 | 4.8041
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 83.5909 | 85.4299 | 87.3094
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 8.6227 | 8.8124 | 9.0062
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 4.7015 | 4.8049 | 4.9106
Notes:
- For Class Year 2012, the Default Net CONE is calculated based on Capability Year 2015, the first year of the Mitigation Study Period.
- The inflation rate is equal to the escalation factor of 2.2% in the currently-accepted ICAP Demand Curves.
- The term “Mitigation Net CONE” is currently pending before the Commission in Docket No. ER10-2371. See New York Independent System Operator, Inc.,
Resubmittal of August 12, 2010 Filing, Docket No. ER10-2371-000 (filed Aug. 24, 2010).
Source Documents:
(1) NYISO 2014/2017 Demand Parameters
Services Tariff Section 5.14.1.2 at table, see also,
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/2014-2017%20Demand%20Curve%20Reset/Demand_Curve_Reset/2014-2017%20Demand%20Curve%20Parameters%20and%20Demand%20Curves.pdf
(2) Documents under Reference Documents/2014-2017 Demand Curve Reset/Demand Curve Reset
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp

## NYC DOF
NYC Default Net CONE Shaping
Date Published: December 29, 2014
Input | Abbreviation | Source | Calculation | Units | Capability Year 2015/2016 | Capability Year 2016/2017 | Capability Year 2017/2018
Annual ICAP Revenue Requirement | ARR | (1) | For 2015/2016: ARR inflated with IR | $/kW-yr, ICAP | 179.5194 | 183.4688 | 187.5051
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 205.3 | 205.3 | 205.3
Winter DMNC | Qw | (1) | -- | MW, ICAP | 223.6 | 223.6 | 223.6
Summer DMNC | Qs | (1) | -- | MW, ICAP | 208.8 | 208.8 | 208.8
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.0872 | 1.0872 | 1.0872
Demand Curve Length | DCL | (1) | -- | none | 1.18 | 1.18 | 1.18
Escalation Factor | EF | (1) | -- | % | 2.2% | 2.2% | 2.2%
Inflation Rate | IR | (1) | -- | % | 2.2% | 2.2% | 2.2%
Excess | Exc | (2) | -- | % | 2% | 2% | 2%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.17% | 2.17% | 2.17%
Mitigation Net CONE | MNC | Calc. | ARR*(1-Exc/(DCL-1)) | $/kW-yr, ICAP | 159.5728 | 163.0834 | 166.6712
Annual Default Offer Floor, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 119.6796 | 122.3126 | 125.0034
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 12.6354 | 12.9134 | 13.1975
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 6.5151 | 6.6584 | 6.8049
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 122.3343 | 125.0256 | 127.7762
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 12.9157 | 13.1998 | 13.4902
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 6.6596 | 6.8061 | 6.9558
Notes:
- For Class Year 2012, the Default Net CONE is calculated based on Capability Year 2015/2016, the first year of the Mitigation Study Period.
- The inflation rate is equal to the escalation factor of 2.2% in the currently-accepted ICAP Demand Curves.
- The term “Mitigation Net CONE” is currently pending before the Commission in Docket No. ER10-2371. See New York Independent System Operator, Inc.,
Resubmittal of August 12, 2010 Filing, Docket No. ER10-2371-000 (filed Aug. 24, 2010).
Source Documents:
(1) NYISO 2014/2017 Demand Parameters
Services Tariff Section 5.14.1.2 at table, see also,
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/2014-2017%20Demand%20Curve%20Reset/Demand_Curve_Reset/2014-2017%20Demand%20Curve%20Parameters%20and%20Demand%20Curves.pdf
(2) Documents under Reference Documents/2014-2017 Demand Curve Reset/Demand Curve Reset
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp