## NYC - WebPosting
NYC Locality ICAP Forecast Inputs for Class Year 2017-1 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: June 8, 2018
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2020 | 2021 | 2022 | 2020/21 | 2021/22 | 2022/23 | Document | Abbrev.
Load Forecast | ICAP MW | 11410 | 11363 | 11336 | 11410 | 11363 | 11336 | (3) Table I-4a | LF
NYCA Installed Reserve Margin | % | 83% | 85% | 85% | 83% | 85% | 85% | (4) | LCR
ICAP Monthly Reference Point | $/kW-mo | 21.52 | 19.8 | 18.47 | 21.52 | 19.8 | 18.47 | (1) | RP_ICAP
ICAP/UCAP Derating Factor | % | 4.37% | 4.37% | 4.37% | 5.26% | 5.26% | 5.26% | (5) | EFORd
UCAP Reference Point | $/kW-mo | 22.5 | 20.7 | 19.31 | 22.71 | 20.9 | 19.5 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 9056.4 | 9236.5 | 9214.5 | 8972.2 | 9150.5 | 9128.8 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 118% | 118% | 118% | 118% | 118% | 118% | (1) | DCL
UCAP at $0 | UCAP MW | 10686.6 | 10899.1 | 10873.1 | 10587.2 | 10797.6 | 10772 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.013802 | -0.01245 | -0.011642 | -0.014062 | -0.012689 | -0.011867 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2020: 2.15%; 2021: 2.15%; 2022: 2.15% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 9274.3 | 9274.3 | 9274.3 | 10243 | 10243 | 10243 | (3) Table III-2 less Retirements and Expected Retirements
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 315 | 315 | 315 | 315 | 315 | 315 | Max value (8). Actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, ICAP | 367.8 | 367.8 | 367.8 | 244.8 | 244.8 | 244.8 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered and Unsold MW (UCAP) | MW, UCAP | 11.3 | 11.3 | 11.3 | 42.3 | 42.3 | 42.3 | (2)
Existing capacity that Received an Offer Floor |  | 2020: Summer; 2021: Winter
Astoria Energy II | MW, ICAP | 2020: 572; 2021: 658.8 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2020: 660; 2021: 660 | (9) Table VII-1
Class Year 2017 Examined Facilities in J | Requested CRIS MW
Berrians East Repower | 3.6
CH Interconnection | 1000
East River 1 | N/A
East River 2 | N/A
Linden Cogen Uprate | 234.4
East River 6 (CRIS only) | 8
Linden Cogen (CRIS only) | 37.2
Bayonne Energy Center II | 120.4
Prior Class Year Examined Facilities and not yet entered the market |  | 2020: Summer; 2021: Winter
(There are no prior Class Year Examined Facilities in NYC)
Facilities Evaluated under MST Sections 23.4.5.7.15.4, .5, and .6 | CRIS | 2020: Summer; 2021: Winter
Ravenswood 04 | 15.2 | 2020: 12.9; 2021: 15.6 | (6), (3) Table IV-3
Ravenswood 05 | 15.7 | 2020: 15.5; 2021: 17.2 | (6), (3) Table IV-3
Ravenswood 06 | 16.7 | 2020: 12.6; 2021: 16.5 | (6), (3) Table IV-3
Astoria GT 05 | 16 | 2020: 12.3; 2021: 14.9 | (6), (3) Table IV-3
Astoria GT 07 | 15.5 | 2020: 11.5; 2021: 14.3 | (6), (3) Table IV-3
Astoria GT 08 | 15.3 | 2020: 11.4; 2021: 14.8 | (6), (3) Table IV-3
Astoria GT 10 | 24.9 | 2020: 18.4; 2021: 22.6 | (6), (3) Table IV-3
Astoria GT 11 | 23.6 | 2020: 16.5; 2021: 25 | (6), (3) Table IV-3
Astoria GT 12 | 22.7 | 2020: 17.7; 2021: 22.3 | (6), (3) Table IV-3
Astoria GT 13 | 24 | 2020: 16.9; 2021: 22.7 | (6), (3) Table IV-3
Ravenswood 09 | 21.7 | 2020: 16.3; 2021: 21.9 | (6), (3) Table IV-4
Source Documents:
(1) NYISO 2018/2019 Demand Curves
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/Demand_Curve_Reset_Annual_Updates/2018/Demand-Curve-2018-2019.pdf
(2) NYISO Monthly UCAP Reports
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2018 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2018-Load-Capacity-Data-Report-Gold-Book.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2018-2019 Capability Year. (January 18, 2018)
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Resource_Adequacy/Resource_Adequacy_Documents/LCR2018_Report.pdf
(5) ICAP Translation of Demand Curve
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
http://www.nyiso.com/public/markets_operations/services/planning/documents/index.jsp
See the "Generator Status Updates" folder
(7) Second Quarter 2018 Survery of Professional Forecasters
https://www.philadelphiafed.org/research-and-data/real-time-center/survey-of-professional-forecasters/2018/survq218
See table for Median Short-Run and Long Run Projections for Inflation
(8) NYISO Installed Capacity Manual. March 2018
http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/icap_mnl.pdf
(9) 2013 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2013_GoldBook_Public_Revised_05_16.pdf

## G-J - WebPosting
G-J Locality ICAP Forecast Inputs for Class Year 2017-1 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: June 8, 2018
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2020 | 2021 | 2022 | 2020/21 | 2021/22 | 2022/23 | Document | Abbrev.
Load Forecast | ICAP MW | 15715 | 15639 | 15594 | 15715 | 15639 | 15594 | (3) Table I-5 | LF
NYCA Installed Reserve Margin | % | 91% | 91.5% | 91.5% | 91% | 91.5% | 91.5% | (4) | LCR
ICAP Monthly Reference Point | $/kW-mo | 17.22 | 16.42 | 17.86 | 17.22 | 16.42 | 17.86 | (1) | RP_ICAP
ICAP/UCAP Derating Factor | % | 7.31% | 7.31% | 7.31% | 7.54% | 7.54% | 7.54% | (5) | EFORd
UCAP Reference Point | $/kW-mo | 18.58 | 17.71 | 19.27 | 18.62 | 17.76 | 19.32 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 13255.3 | 13263.6 | 13225.5 | 13222.4 | 13230.7 | 13192.7 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 115% | 115% | 115% | 115% | 115% | 115% | (1) | DCL
UCAP at $0 | UCAP MW | 15243.6 | 15253.1 | 15209.3 | 15205.8 | 15215.3 | 15171.6 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.0093447 | -0.0089017 | -0.0097137 | -0.0093879 | -0.0089489 | -0.009763 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2020: 2.15%; 2021: 2.15%; 2022: 2.15% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 14406.4 | 14406.4 | 14406.4 | 15418.7 | 15418.7 | 15418.7 | (3) Table III-2 less Retirements and Expected Retirements
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 315 | 315 | 315 | 315 | 315 | 315 | Max value (8). Actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, ICAP | 450.9 | 450.9 | 450.9 | 293 | 293 | 293 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered and Unsold MW (UCAP) | MW, UCAP | 13.6 | 13.6 | 13.6 | 36.6 | 36.6 | 36.6 | (2)
Existing capacity that Received an Offer Floor |  | 2020: Summer; 2021: Winter
Astoria Energy II | MW, ICAP | 2020: 572; 2021: 658.8 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2020: 660; 2021: 660 | (9) Table VII-1
Class Year 2017 Examined Facilities in G-J | Requested CRIS MW
Berrians East Repower | 3.6
Cricket Valley Energy Center | 1020
CH Interconnection | 1000
East River 1 | N/A
East River 2 | N/A
Linden Cogen Uprate | 234.4
East River 6 (CRIS only) | 8
Linden Cogen (CRIS only) | 37.2
Bayonne Energy Center II | 120.4
Prior Class Year Examined Facilities and not yet entered the market |  | 2020: Summer; 2021: Winter
Taylor Biomass (Q#349, CY2011) | CRIS MW | 2020: 19; 2021: 19
Facilities Evaluated under MST Sections 23.4.5.7.15.4, .5, and .6 | CRIS | 2020: Summer; 2021: Winter
Ravenswood 04 | 15.2 | 2020: 12.9; 2021: 15.6 | (6), (3) Table IV-3
Ravenswood 05 | 15.7 | 2020: 15.5; 2021: 17.2 | (6), (3) Table IV-3
Ravenswood 06 | 16.7 | 2020: 12.6; 2021: 16.5 | (6), (3) Table IV-3
Astoria GT 05 | 16 | 2020: 12.3; 2021: 14.9 | (6), (3) Table IV-3
Astoria GT 07 | 15.5 | 2020: 11.5; 2021: 14.3 | (6), (3) Table IV-3
Astoria GT 08 | 15.3 | 2020: 11.4; 2021: 14.8 | (6), (3) Table IV-3
Astoria GT 10 | 24.9 | 2020: 18.4; 2021: 22.6 | (6), (3) Table IV-3
Astoria GT 11 | 23.6 | 2020: 16.5; 2021: 25 | (6), (3) Table IV-3
Astoria GT 12 | 22.7 | 2020: 17.7; 2021: 22.3 | (6), (3) Table IV-3
Astoria GT 13 | 24 | 2020: 16.9; 2021: 22.7 | (6), (3) Table IV-3
Ravenswood 09 | 21.7 | 2020: 16.3; 2021: 21.9 | (6), (3) Table IV-4
Indian Point 2 | 1026.5 | 2020: 1018.5; 2021: 1026.5 | (6), (3) Table IV-5, (10)
Indian Point 3 | 1040.4 | 2020: 1037.8; 2021: 1037.4 | (6), (3) Table IV-5, (10)
Source Documents:
(1) NYISO 2018/2019 Demand Curves
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/Demand_Curve_Reset_Annual_Updates/2018/Demand-Curve-2018-2019.pdf
(2) NYISO Monthly UCAP Reports
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2018 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2018-Load-Capacity-Data-Report-Gold-Book.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2018-2019 Capability Year. (January 18, 2018)
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Resource_Adequacy/Resource_Adequacy_Documents/LCR2018_Report.pdf
(5) ICAP Translation of Demand Curve
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
http://www.nyiso.com/public/markets_operations/services/planning/documents/index.jsp
See the "Generator Status Updates" folder
(7) Second Quarter 2018 Survery of Professional Forecasters
https://www.philadelphiafed.org/research-and-data/real-time-center/survey-of-professional-forecasters/2018/survq218
See table for Median Short-Run and Long Run Projections for Inflation
(8) NYISO Installed Capacity Manual. March 2018
http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/icap_mnl.pdf
(9) 2013 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2013_GoldBook_Public_Revised_05_16.pdf
(10) Indian Point Agreement by and among, the State of New York, et al., and Entergy Nuclear Indian Point 2, LLC, et al. (dated January 8, 2017)
https://www.riverkeeper.org/wp-content/uploads/2017/01/Indian-Point-Closure-Agreement-January-8-2017.pdf

## NYCA - WebPosting
NYCA ICAP Forecast Inputs for Class Year 2017-1 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: June 8, 2018
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2020 | 2021 | 2022 | 2020/21 | 2021/22 | 2022/23 | Document | Abbrev.
Load Forecast | ICAP MW | 32629 | 32451 | 32339 | 32629 | 32451 | 32339 | (3) Table I-3a | LF
NYCA Installed Reserve Margin | % | 118.2% | 118.2% | 118.2% | 118.2% | 118.2% | 118.2% | (4) | LCR
ICAP Monthly Reference Point | $/kW-mo | 10.38 | 9.96 | 10.92 | 10.38 | 9.96 | 10.92 | (1) | RP_ICAP
ICAP/UCAP Derating Factor | % | 9.29% | 9.29% | 9.29% | 8.43% | 8.43% | 8.43% | (5) | EFORd
UCAP Reference Point | $/kW-mo | 11.44 | 10.98 | 12.04 | 11.34 | 10.88 | 11.93 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 34984.6 | 34793.7 | 34673.6 | 35316.2 | 35123.6 | 35002.4 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 112% | 112% | 112% | 112% | 112% | 112% | (1) | DCL
UCAP at $0 | UCAP MW | 39182.8 | 38968.9 | 38834.4 | 39554.1 | 39338.4 | 39202.7 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.002725 | -0.0026298 | -0.0028937 | -0.0026759 | -0.0025814 | -0.0028403 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2020: 2.15%; 2021: 2.15%; 2022: 2.15% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 38000.6556 | 38000.6556 | 38000.6556 | 40200.2422 | 40200.2422 | 40200.2422 | (3) Table III-2 less Retirements and Expected Retirements
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 1305 | 1305 | 1305 | 1305 | 1305 | 1305 | Max value (8). Actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, ICAP | 1190 | 1190 | 1190 | 830.2 | 830.2 | 830.2 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered and Unsold MW (UCAP) | MW, UCAP | 89.5 | 89.5 | 89.5 | 386.9 | 386.9 | 386.9 | (2)
Existing capacity that Received an Offer Floor |  | 2020: Summer; 2021: Winter
Astoria Energy II | MW, ICAP | 2020: 572; 2021: 658.8 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2020: 660; 2021: 660 | (9) Table VII-1
Class Year 2017 Examined Facilities in G-J | Requested CRIS MW
Berrians East Repower | 3.6
Cricket Valley Energy Center | 1020
CH Interconnection | 1000
East River 1 | N/A
East River 2 | N/A
Linden Cogen Uprate | 234.4
East River 6 (CRIS only) | 8
Linden Cogen (CRIS only) | 37.2
Bayonne Energy Center II | 120.4
Class Year 2017 Members in ROS & LI | Requested CRIS MW
Cassadaga Wind | 126
Baron Winds | 300
Arkwright Summit | 78.4
Eight Point Wind Energy Center | 101.2
Shoreham Solar | 24.9
Galloo Island Wind | 108.9
Alabama Ledge Wind | 79.8
Renovo Energy Center | 480
ESC Tioga County Power | 550
Ball Hill Wind | 100
Ogdensburg | 79
Dunkirk 2 | 85
Dunkirk 3&4 | 370
Cedar Rapids Transmission (CRIS only) | 80
Riverhead Solar (CRIS only) | 20
East Hamption Energy Storage (CRIS only) | 5
Montauk Energy Storage Ctr. (CRIS only) | 5
Nine Mile Point 2 (CRIS only) | 63.4
Prior Class Year Examined Facilities and not yet entered the market |  | 2020: Summer; 2021: Winter
Taylor Biomass (Q#349, CY2011) | CRIS MW | 2020: 19; 2021: 19
Facilities Evaluated under MST Sections 23.4.5.7.15.4, .5, and .6 | CRIS | 2020: Summer; 2021: Winter
Ravenswood 04 | 15.2 | 2020: 12.9; 2021: 15.6 | (6), (3) Table IV-3
Ravenswood 05 | 15.7 | 2020: 15.5; 2021: 17.2 | (6), (3) Table IV-3
Ravenswood 06 | 16.7 | 2020: 12.6; 2021: 16.5 | (6), (3) Table IV-3
Astoria GT 05 | 16 | 2020: 12.3; 2021: 14.9 | (6), (3) Table IV-3
Astoria GT 07 | 15.5 | 2020: 11.5; 2021: 14.3 | (6), (3) Table IV-3
Astoria GT 08 | 15.3 | 2020: 11.4; 2021: 14.8 | (6), (3) Table IV-3
Astoria GT 10 | 24.9 | 2020: 18.4; 2021: 22.6 | (6), (3) Table IV-3
Astoria GT 11 | 23.6 | 2020: 16.5; 2021: 25 | (6), (3) Table IV-3
Astoria GT 12 | 22.7 | 2020: 17.7; 2021: 22.3 | (6), (3) Table IV-3
Astoria GT 13 | 24 | 2020: 16.9; 2021: 22.7 | (6), (3) Table IV-3
Ravenswood 09 | 21.7 | 2020: 16.3; 2021: 21.9 | (6), (3) Table IV-4
Indian Point 2 | 1026.5 | 2020: 1018.5; 2021: 1026.5 | (6), (3) Table IV-5, (10)
Indian Point 3 | 1040.4 | 2020: 1037.8; 2021: 1037.4 | (6), (3) Table IV-5, (10)
Ticonderoga | 7.6 | 2020: 9.5; 2021: 9.8 | (6), (3) Table IV-3
Niagara Bio-Gen | 50.5 | 2020: 37.2; 2021: 37.2 | (6), (3) Table IV-3
Dunkirk 2 | 97.2 | 2020: 75; 2021: 75 | (6), (3) Table IV-3
Huntley 67 | 196.5 | 2020: 187.9; 2021: 188 | (6), (3) Table IV-3
Huntley 68 | 198 | 2020: 189.5; 2021: 186.8 | (6), (3) Table IV-3
Chateaugay Power | 18.6 | 2020: 18.2; 2021: 18.5 | (6), (3) Table IV-3
Binghamton | 43.8 | 2020: 43.7; 2021: 47.1 | (6), (3) Table IV-4
Lyonsdale | 20.2 | 2020: 19.3; 2021: 20.3 | (6)
Selkirk 1 | 82.1 | 2020: 78.1; 2021: 104.3 | (6), (3) Table IV-5
Selkirk 2 | 291.3 | 2020: 282.1; 2021: 325.9 | (6), (3) Table IV-5
Source Documents:
(1) NYISO 2018/2019 Demand Curves
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/Demand_Curve_Reset_Annual_Updates/2018/Demand-Curve-2018-2019.pdf
(2) NYISO Monthly UCAP Reports
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2018 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2018-Load-Capacity-Data-Report-Gold-Book.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2018-2019 Capability Year. (January 18, 2018)
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Resource_Adequacy/Resource_Adequacy_Documents/LCR2018_Report.pdf
(5) ICAP Translation of Demand Curve
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
http://www.nyiso.com/public/markets_operations/services/planning/documents/index.jsp
See the "Generator Status Updates" folder
(7) Second Quarter 2018 Survery of Professional Forecasters
https://www.philadelphiafed.org/research-and-data/real-time-center/survey-of-professional-forecasters/2018/survq218
See table for Median Short-Run and Long Run Projections for Inflation
(8) NYISO Installed Capacity Manual. March 2018
http://www.nyiso.com/public/webdocs/markets_operations/documents/Manuals_and_Guides/Manuals/Operations/icap_mnl.pdf
(9) 2013 Load & Capacity Data "Gold Book"
http://www.nyiso.com/public/webdocs/markets_operations/services/planning/Documents_and_Resources/Planning_Data_and_Reference_Docs/Data_and_Reference_Docs/2013_GoldBook_Public_Revised_05_16.pdf
(10) Indian Point Agreement by and among, the State of New York, et al., and Entergy Nuclear Indian Point 2, LLC, et al. (dated January 8, 2017)
https://www.riverkeeper.org/wp-content/uploads/2017/01/Indian-Point-Closure-Agreement-January-8-2017.pdf

## DOF NYC - (WebPosting)
NYC Default Net CONE Shaping
Date Published: June 8, 2018
Input | Abbreviation | Source | Calculation | Units | Capability Year 2020/21 | Capability Year 2021/22 | Capability Year 2022/23
Annual ICAP Reference Value | ARV | (1) | ARV escalated | $/kW-yr, ICAP | 186.2225 | 170.1199 | 170.8289
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 217.571 | 217.571 | 217.571
Winter DMNC | Qw | (1) | -- | MW, ICAP | 228.726 | 228.726 | 228.726
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.883 | 226.883 | 226.883
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.066 | 1.056 | 1.049
Demand Curve Length | DCL | (1) | -- | none | 1.18 | 1.18 | 1.18
Inflation Index | EF | (1) | -- | % | 2.15% | 2.15% | 2.15%
Excess | Exc | (2) | -- | % | 2.291% | 2.291% | 2.291%
Demand Curve Peaking Plant EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 186.22 | 170.12 | 170.83
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 139.67 | 127.59 | 128.12
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 13.62 | 12.03 | 11.81
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 8.63 | 8.29 | 8.6
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 142.81 | 130.46 | 131
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 13.93 | 12.31 | 12.08
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 8.82 | 8.48 | 8.79
Notes:
- For Class Year 2017, the Default Net CONE is calculated based on Capability Year 2020/2021, the first year of the Mitigation Study Period.
- The inflation rate is equal to the inflation index of 2.15% from the survey of professional forecasters long-term projections for inflation.
Source Documents:
(1) NYISO 2018/2019 Demand Curves
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/Demand_Curve_Reset_Annual_Updates/2018/Demand-Curve-2018-2019.pdf
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp

## DOF G-J - (WebPosting)
G-J Locality Default Net CONE Shaping
Date Published: June 8, 2018
Input | Abbreviation | Source | Calculation | Units | Capability Year 2020/21 | Capability Year 2021/22 | Capability Year 2022/23
Annual ICAP Reference Value | ARV | (1) | ARV escalated | $/kW-yr, ICAP | 152.9999 | 143.1387 | 152.6475
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 217.959 | 217.959 | 217.959
Winter DMNC | Qw | (1) | -- | MW, ICAP | 230.272 | 230.272 | 230.272
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.786 | 226.786 | 226.786
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.058 | 1.062 | 1.066
Demand Curve Length | DCL | (1) | -- | none | 1.15 | 1.15 | 1.15
Inflation Index | EF | (1) | -- | % | 2.15% | 2.15% | 2.15%
Excess | Exc | (2) | -- | % | 1.485% | 1.485% | 1.485%
Demand Curve Peaking Plant EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 153 | 143.14 | 152.65
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 114.75 | 107.36 | 114.49
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 11.33 | 10.78 | 11.69
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 6.95 | 6.32 | 6.55
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 117.33 | 109.78 | 117.07
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 11.58 | 11.02 | 11.95
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 7.1 | 6.47 | 6.69
Notes:
- For Class Year 2017, the Default Net CONE is calculated based on Capability Year 2020/2021, the first year of the Mitigation Study Period.
- The inflation rate is equal to the inflation index of 2.15% from the survey of professional forecasters long-term projections for inflation.
Source Documents:
(1) NYISO 2018/2019 Demand Curves
http://www.nyiso.com/public/webdocs/markets_operations/market_data/icap/Reference_Documents/Demand_Curve_Reset_Annual_Updates/2018/Demand-Curve-2018-2019.pdf
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
http://www.nyiso.com/public/markets_operations/market_data/icap/index.jsp