## NYC
NYC Locality ICAP Forecast Inputs for Class Year 2017-2 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: May 16, 2019
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2020 | 2021 | 2022 | 2020/21 | 2021/22 | 2022/23 | Document | Abbrev.
Load Forecast | ICAP MW | 11651 | 11695 | 11704 | 11651 | 11695 | 11704 | (3) Table I-4a | LF
Locational Minimum Installed Capacity Requirements | % | 83% | 84.5% | 84.5% | 83% | 84.5% | 84.5% | (4) | LCR
ICAP Monthly Reference Point | $/kW-mo | 22.49 | 20.88 | 21.45 | 22.49 | 20.88 | 21.45 | (1) | RP_ICAP
ICAP/UCAP Derating Factor | % | 7.09% | 7.09% | 7.09% | 5.98% | 5.98% | 5.98% | (5) | EFORd
UCAP Reference Point | $/kW-mo | 24.21 | 22.47 | 23.09 | 23.92 | 22.21 | 22.81 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 8984.7 | 9181.6 | 9188.7 | 9092 | 9291.3 | 9298.5 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 118% | 118% | 118% | 118% | 118% | 118% | (1) | DCL
UCAP at $0 | UCAP MW | 10601.9 | 10834.3 | 10842.7 | 10728.6 | 10963.7 | 10972.2 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.01497 | -0.013596 | -0.01396 | -0.014616 | -0.01328 | -0.013628 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2020: 2.1%; 2021: 2.1%; 2022: 2.1% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 8970 | 8970 | 8970 | 9815.1 | 9815.1 | 9815.1 | (3) Table III-2
UDRs | MW, UCAP | 315 | 315 | 315 | 315 | 315 | 315 | Max value (8). Actuals are adjusted historic sales from (2)
Special Case Resources | MW, ICAP | 400.4 | 400.4 | 400.4 | 275.3 | 275.3 | 275.3 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered and Unsold MW (UCAP) | MW, UCAP | 21.1 | 21.1 | 21.1 | 108.8 | 108.8 | 108.8 | (2)
Existing capacity that Received an Offer Floor |  | 2020: Summer; 2021: Winter
Astoria Energy II | MW, ICAP | 2020: 573; 2021: 663.6 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2020: 660; 2021: 660 | (9) Table VII-1
Class Year 2017-2 Examined Facilities in J | Requested CRIS MW
CH Interconnection | 1000
Linden Cogen Uprate | 234.4
Linden Cogen (CRIS only) | 31.9
Prior Class Year Examined Facilities and not yet entered the market |  | 2020: Summer; 2021: Winter
Berrians East Replacement (Q393, CY2017-1) | CRIS MW | 2020: 3.6; 2021: 3.6
Facilities Evaluated under MST Sections 23.4.5.7.15.4, .5, and .6 | CRIS | 2020: Summer; 2021: Winter
Ravenswood 04 | 15.2 | 2020: 12.9; 2021: 15.6 | (6), (3) Table IV-3
Ravenswood 05 | 15.7 | 2020: 15.5; 2021: 17.2 | (6), (3) Table IV-3
Ravenswood 06 | 16.7 | 2020: 12.6; 2021: 16.5 | (6), (3) Table IV-3
Ravenswood 09 | 21.7 | 2020: 16.3; 2021: 21.9 | (6), (3) Table IV-4
Astoria GT 11 | 23.6 | 2020: 16.5; 2021: 25 | (3) Table IV-3
Ravenswood 2-1 | 40.4 | 2020: 31.4; 2021: 41.7 | (3) Table IV-4
Ravenswood 2-2 | 37.6 | 2020: 29.9; 2021: 41.9 | (3) Table IV-4
Ravenswood 2-3 | 39.2 | 2020: 28.9; 2021: 37.3 | (3) Table IV-4
Ravenswood 2-4 | 39.8 | 2020: 30.7; 2021: 41.6 | (3) Table IV-4
Ravenswood 3-1 | 40.5 | 2020: 31.9; 2021: 40.8 | (3) Table IV-4
Ravenswood 3-2 | 38.1 | 2020: 29.4; 2021: 40.3 | (3) Table IV-4
Ravenswood 3-4 | 35.8 | 2020: 31.2; 2021: 40.8 | (3) Table IV-4
Source Documents:
(1) NYISO 2019/2020 Demand Curves
https://www.nyiso.com/documents/20142/2953344/Demand-Curve-2019-2020.pdf/
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" > "Monthly UCAP Reports" > [Year]
(3) 2019 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2019-Gold-Book-Final-Public.pdf/
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2019-2020 Capability Year. (January 18, 2018)
https://www.nyiso.com/documents/20142/3679493/LCR2019-Report2-clean.pdf/
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" > "Upadates sine [date]"
(7) First Quarter 2019 Survery of Professional Forecasters
https://www.philadelphiafed.org/research-and-data/real-time-center/survey-of-professional-forecasters/2019/survq119
See table for Median Short-Run and Long Run Projections for Inflation
(8) NYISO Installed Capacity Manual. March 2019
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf/
(9) 2013 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226467/2013-Load-Capacity-Data-Report-Gold-Book.pdf/
(10) Indian Point Agreement by and among, the State of New York, et al., and Entergy Nuclear Indian Point 2, LLC, et al. (dated January 8, 2017)
https://www.riverkeeper.org/wp-content/uploads/2017/01/Indian-Point-Closure-Agreement-January-8-2017.pdf

## G-J Locality
G-J Locality ICAP Forecast Inputs for Class Year 2017-2 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: May 16, 2019
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2020 | 2021 | 2022 | 2020/21 | 2021/22 | 2022/23 | Document | Abbrev.
Load Forecast | ICAP MW | 15911 | 15937 | 15944 | 15911 | 15937 | 15944 | (3) Table I-5 | LF
Locational Minimum Installed Capacity Requirements | % | 92.5% | 92.5% | 92.5% | 92.5% | 92.5% | 92.5% | (4) | LCR
ICAP Monthly Reference Point | $/kW-mo | 17.13 | 16.45 | 17.66 | 17.13 | 16.45 | 17.66 | (1) | RP_ICAP
ICAP/UCAP Derating Factor | % | 6.26% | 6.26% | 6.26% | 6.16% | 6.16% | 6.16% | (5) | EFORd
UCAP Reference Point | $/kW-mo | 18.27 | 17.55 | 18.84 | 18.25 | 17.53 | 18.82 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 13796.3 | 13818.9 | 13825 | 13811.1 | 13833.6 | 13839.7 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 115% | 115% | 115% | 115% | 115% | 115% | (1) | DCL
UCAP at $0 | UCAP MW | 15865.7 | 15891.7 | 15898.8 | 15882.8 | 15908.6 | 15915.7 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.0088286 | -0.0084668 | -0.0090848 | -0.0088092 | -0.0084482 | -0.0090655 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2020: 2.1%; 2021: 2.1%; 2022: 2.1% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 14665.8 | 14665.8 | 14665.8 | 15730.4 | 15730.4 | 15730.4 | (3) Table III-2
UDRs | MW, UCAP | 315 | 315 | 315 | 315 | 315 | 315 | Max value (8). Actuals are adjusted historic sales from (2)
Special Case Resources | MW, ICAP | 492.8 | 492.8 | 492.8 | 329.1 | 329.1 | 329.1 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered and Unsold MW (UCAP) | MW, UCAP | 25.5 | 25.5 | 25.5 | 53.3 | 53.3 | 53.3 | (2)
Existing capacity that Received an Offer Floor |  | 2020: Summer; 2021: Winter
Astoria Energy II | MW, ICAP | 2020: 573; 2021: 663.6 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2020: 660; 2021: 660 | (9) Table VII-1
Class Year 2017-2 Examined Facilities in G-J | Requested CRIS MW
CH Interconnection | 1000
Linden Cogen Uprate | 234.4
Linden Cogen (CRIS only) | 31.9
Prior Class Year Examined Facilities and not yet entered the market |  | 2020: Summer; 2021: Winter
Taylor Biomass (Q#349, CY2011) | CRIS MW | 2020: 19; 2021: 19
Berrians East Replacement (Q393, CY2017-1) | CRIS MW | 2020: 3.6; 2021: 3.6
Cricket Valley Energy Center (Q444, CY2017-1) | CRIS MW | 2020: 1020; 2021: 1020
Facilities Evaluated under MST Sections 23.4.5.7.15.4, .5, and .6 | CRIS | 2020: Summer; 2021: Winter
Ravenswood 04 | 15.2 | 2020: 12.9; 2021: 15.6 | (6), (3) Table IV-3
Ravenswood 05 | 15.7 | 2020: 15.5; 2021: 17.2 | (6), (3) Table IV-3
Ravenswood 06 | 16.7 | 2020: 12.6; 2021: 16.5 | (6), (3) Table IV-3
Ravenswood 09 | 21.7 | 2020: 16.3; 2021: 21.9 | (6), (3) Table IV-4
Astoria GT 11 | 23.6 | 2020: 16.5; 2021: 25 | (3) Table IV-3
Ravenswood 2-1 | 40.4 | 2020: 31.4; 2021: 41.7 | (3) Table IV-4
Ravenswood 2-2 | 37.6 | 2020: 29.9; 2021: 41.9 | (3) Table IV-4
Ravenswood 2-3 | 39.2 | 2020: 28.9; 2021: 37.3 | (3) Table IV-4
Ravenswood 2-4 | 39.8 | 2020: 30.7; 2021: 41.6 | (3) Table IV-4
Ravenswood 3-1 | 40.5 | 2020: 31.9; 2021: 40.8 | (3) Table IV-4
Ravenswood 3-2 | 38.1 | 2020: 29.4; 2021: 40.3 | (3) Table IV-4
Ravenswood 3-4 | 35.8 | 2020: 31.2; 2021: 40.8 | (3) Table IV-4
Indian Point 2 | 1026.5 | 2020: 1018.5; 2021: 1026.5 | (6), (3) Table IV-5, (10)
Indian Point 3 | 1040.4 | 2020: 1037.8; 2021: 1037.4 | (6), (3) Table IV-5, (10)
Source Documents:
(1) NYISO 2019/2020 Demand Curves
https://www.nyiso.com/documents/20142/2953344/Demand-Curve-2019-2020.pdf/
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" > "Monthly UCAP Reports" > [Year]
(3) 2019 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2019-Gold-Book-Final-Public.pdf/
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2019-2020 Capability Year. (January 18, 2018)
https://www.nyiso.com/documents/20142/3679493/LCR2019-Report2-clean.pdf/
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" > "Upadates sine [date]"
(7) First Quarter 2019 Survery of Professional Forecasters
https://www.philadelphiafed.org/research-and-data/real-time-center/survey-of-professional-forecasters/2019/survq119
See table for Median Short-Run and Long Run Projections for Inflation
(8) NYISO Installed Capacity Manual. March 2019
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf/
(9) 2013 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226467/2013-Load-Capacity-Data-Report-Gold-Book.pdf/
(10) Indian Point Agreement by and among, the State of New York, et al., and Entergy Nuclear Indian Point 2, LLC, et al. (dated January 8, 2017)
https://www.riverkeeper.org/wp-content/uploads/2017/01/Indian-Point-Closure-Agreement-January-8-2017.pdf

## NYCA
NYCA ICAP Forecast Inputs for Class Year 2017-2 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: May 16, 2019
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2020 | 2021 | 2022 | 2020/21 | 2021/22 | 2022/23 | Document | Abbrev.
Load Forecast | ICAP MW | 32202 | 32063 | 31971 | 32202 | 32063 | 31971 | (3) Table I-3a | LF
NYCA Installed Reserve Margin | % | 117% | 117% | 117% | 117% | 117% | 117% | (4) | LCR
ICAP Monthly Reference Point | $/kW-mo | 10.33 | 9.78 | 10.33 | 10.33 | 9.78 | 10.33 | (1) | RP_ICAP
ICAP/UCAP Derating Factor | % | 8.56% | 8.56% | 8.56% | 7.57% | 7.57% | 7.57% | (5) | EFORd
UCAP Reference Point | $/kW-mo | 11.3 | 10.7 | 11.3 | 11.18 | 10.58 | 11.18 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 34451.2 | 34302.5 | 34204.1 | 34824.2 | 34673.9 | 34574.4 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 112% | 112% | 112% | 112% | 112% | 112% | (1) | DCL
UCAP at $0 | UCAP MW | 38585.3 | 38418.8 | 38308.6 | 39003.1 | 38834.8 | 38723.3 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.0027334 | -0.0025994 | -0.0027531 | -0.0026753 | -0.0025427 | -0.0026947 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2020: 2.1%; 2021: 2.1%; 2022: 2.1% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 38534.2 | 38534.2 | 38534.2 | 40993.4 | 40993.4 | 40993.4 | (3) Table III-2
UDRs | MW, UCAP | 1305 | 1305 | 1305 | 1305 | 1305 | 1305 | Max value (8). Actuals are adjusted historic sales from (2)
Special Case Resources | MW, ICAP | 1199.5 | 1199.5 | 1199.5 | 832.4 | 832.4 | 832.4 | (3) Zonal totals underlying Table V-2a & Table V-2b
Unoffered and Unsold MW (UCAP) | MW, UCAP | 94.1 | 94.1 | 94.1 | 424.9 | 424.9 | 424.9 | (2)
Existing capacity that Received an Offer Floor |  | 2020: Summer; 2021: Winter
Astoria Energy II | MW, ICAP | 2020: 573; 2021: 663.6 | (3) Table III-2
Hudson Transmission Project | MW, ICAP | 2020: 660; 2021: 660 | (9) Table VII-1
Class Year 2017-2 Examined Facilities in G-J | Requested CRIS MW
CH Interconnection | 1000
Linden Cogen Uprate | 234.4
Linden Cogen (CRIS only) | 31.9
Class Year 2017-2 Members in ROS & LI | Requested CRIS MW
Arkwright Summit | 78.4
Galloo Island Wind | 108.9
Alabama Ledge Wind | 79.8
Renovo Energy Center | 480
Ball Hill Wind | 100
Ogdensburg | 79
Prior Class Year Examined Facilities and not yet entered the market |  | 2020: Summer; 2021: Winter
Taylor Biomass (Q#349, CY2011) | CRIS MW | 2020: 19; 2021: 19
Cassadaga Wind (Q#387, CY2017-1) | CRIS MW | 2020: 126; 2021: 126
Berrians East Replacement (Q393, CY2017-1) | CRIS MW | 2020: 3.6; 2021: 3.6
Baron Winds (Q#396, CY2017-1) | CRIS MW | 2020: 300; 2021: 300
Eight Point Wind (Q#422, CY2017-1) | CRIS MW | 2020: 101.2; 2021: 101.2
Cricket Valley Energy Center (Q444, CY2017-1) | CRIS MW | 2020: 1020; 2021: 1020
Cedar Rapids Transmission (CRIS only, CY2017-1) | CRIS MW | 2020: 80; 2021: 80
Riverhead Solar (CRIS only, CY2017-1) | CRIS MW | 2020: 20; 2021: 20
Facilities Evaluated under MST Sections 23.4.5.7.15.4, .5, and .6 | Summer CRIS | 2020: Summer; 2021: Winter
Ravenswood 04 | 15.2 | 2020: 12.9; 2021: 15.6 | (3) Table IV-3
Ravenswood 05 | 15.7 | 2020: 15.5; 2021: 17.2 | (3) Table IV-3
Ravenswood 06 | 16.7 | 2020: 12.6; 2021: 16.5 | (3) Table IV-3
Ravenswood 09 | 21.7 | 2020: 16.3; 2021: 21.9 | (3) Table IV-3
Astoria GT 11 | 23.6 | 2020: 16.5; 2021: 25 | (3) Table IV-3
Binghamton | 43.8 | 2020: 43.7; 2021: 47.1 | (3) Table IV-4
Cayuga 2 | 154.7 | 2020: 139.6; 2021: 158 | (3) Table IV-4
Ravenswood 2-1 | 40.4 | 2020: 31.4; 2021: 41.7 | (3) Table IV-4
Ravenswood 2-2 | 37.6 | 2020: 29.9; 2021: 41.9 | (3) Table IV-4
Ravenswood 2-3 | 39.2 | 2020: 28.9; 2021: 37.3 | (3) Table IV-4
Ravenswood 2-4 | 39.8 | 2020: 30.7; 2021: 41.6 | (3) Table IV-4
Ravenswood 3-1 | 40.5 | 2020: 31.9; 2021: 40.8 | (3) Table IV-4
Ravenswood 3-2 | 38.1 | 2020: 29.4; 2021: 40.3 | (3) Table IV-4
Ravenswood 3-4 | 35.8 | 2020: 31.2; 2021: 40.8 | (3) Table IV-4
Lyonsdale | 20.2 | 2020: 19.3; 2021: 20.3 | (3) Table IV-4, (6)
Gilboa 1 | 290.7 | 2020: 293.7; 2021: 292.5 | (3) Table IV-4, (6)
Indian Point 2 | 1026.5 | 2020: 1018.5; 2021: 1026.5 | (3) Table IV-5, (10)
Indian Point 3 | 1040.4 | 2020: 1037.8; 2021: 1037.4 | (3) Table IV-5, (10)
Source Documents:
(1) NYISO 2019/2020 Demand Curves
https://www.nyiso.com/documents/20142/2953344/Demand-Curve-2019-2020.pdf/
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" > "Monthly UCAP Reports" > [Year]
(3) 2019 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2019-Gold-Book-Final-Public.pdf/
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2019-2020 Capability Year. (January 18, 2018)
https://www.nyiso.com/documents/20142/3679493/LCR2019-Report2-clean.pdf/
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" > "Upadates sine [date]"
(7) First Quarter 2019 Survery of Professional Forecasters
https://www.philadelphiafed.org/research-and-data/real-time-center/survey-of-professional-forecasters/2019/survq119
See table for Median Short-Run and Long Run Projections for Inflation
(8) NYISO Installed Capacity Manual. March 2019
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf/
(9) 2013 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226467/2013-Load-Capacity-Data-Report-Gold-Book.pdf/
(10) Indian Point Agreement by and among, the State of New York, et al., and Entergy Nuclear Indian Point 2, LLC, et al. (dated January 8, 2017)
https://www.riverkeeper.org/wp-content/uploads/2017/01/Indian-Point-Closure-Agreement-January-8-2017.pdf

## DOF NYC
NYC Default Net CONE Shaping
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: May 16, 2019
Input | Abbreviation | Source | Calculation | Units | Capability Year 2020/21 | Capability Year 2021/22 | Capability Year 2022/23
Annual ICAP Reference Value | ARV | (1) | ARV escalated | $/kW-yr, ICAP | 183.8593 | 170.4236 | 173.6559
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 217.571 | 217.571 | 217.571
Winter DMNC | Qw | (1) | -- | MW, ICAP | 228.726 | 228.726 | 228.726
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.883 | 226.883 | 226.883
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.0796 | 1.08 | 1.0819
Demand Curve Length | DCL | (1) | -- | none | 1.18 | 1.18 | 1.18
Inflation Index | EF | (1) | -- | % | 2.1% | 2.1% | 2.1%
Excess | Exc | (2) | -- | % | 2.291% | 2.291% | 2.291%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 183.86 | 170.42 | 173.66
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 137.9 | 127.82 | 130.25
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 14.11 | 13.09 | 13.43
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 7.87 | 7.27 | 7.32
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 141 | 130.7 | 133.18
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 14.42 | 13.39 | 13.74
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 8.04 | 7.44 | 7.49
Notes:
- For Class Year 2017, the Default Net CONE is calculated based on Capability Year 2020/2021, the first year of the Mitigation Study Period.
- The inflation rate is equal to the inflation index of 2.10% from the survey of professional forecasters long-term projections for inflation.
Source Documents:
(1) NYISO 2019/2020 Demand Curves
https://www.nyiso.com/documents/20142/2953344/Demand-Curve-2019-2020.pdf/
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
https://www.nyiso.com/installed-capacity-market

## DOF G-J Locality
G-J Locality Default Net CONE Shaping
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: May 16, 2019
Input | Abbreviation | Source | Calculation | Units | Capability Year 2020/21 | Capability Year 2021/22 | Capability Year 2022/23
Annual ICAP Reference Value | ARV | (1) | ARV escalated | $/kW-yr, ICAP | 151.1243 | 142.7071 | 150.2554
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 217.959 | 217.959 | 217.959
Winter DMNC | Qw | (1) | -- | MW, ICAP | 230.272 | 230.272 | 230.272
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.786 | 226.786 | 226.786
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.0594 | 1.0629 | 1.0669
Demand Curve Length | DCL | (1) | -- | none | 1.15 | 1.15 | 1.15
Inflation Index | EF | (1) | -- | % | 2.1% | 2.1% | 2.1%
Excess | Exc | (2) | -- | % | 1.485% | 1.485% | 1.485%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 151.12 | 142.71 | 150.26
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 113.34 | 107.03 | 112.7
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 11.26 | 10.79 | 11.55
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 6.8 | 6.26 | 6.4
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 115.89 | 109.44 | 115.24
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 11.51 | 11.03 | 11.81
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 6.95 | 6.4 | 6.54
Notes:
- For Class Year 2017, the Default Net CONE is calculated based on Capability Year 2020/2021, the first year of the Mitigation Study Period.
- The inflation rate is equal to the inflation index of 2.10% from the survey of professional forecasters long-term projections for inflation.
Source Documents:
(1) NYISO 2019/2020 Demand Curves
https://www.nyiso.com/documents/20142/2953344/Demand-Curve-2019-2020.pdf/
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
https://www.nyiso.com/installed-capacity-market