## WindPlant
NYISO requires details of each wind and solar plant operating in the NY Control area in order to model them properly in our forecasting tools. Please send the information listed below to customer_registration@nyiso.com. This information must be received as part of the Registration process. Attach pages as necessary.
Please specify…….
Organization:
Plant name:
PTID | (provided by NYISO)
Number of Turbines:
Type of Tubines:
Hub Height:
Total Operating Capacity
Coordinate System:
Coordinate Datum:
Low temperature operational limit (Celsius/Farenheit)
Cold Weather Package (Yes or No)
Size of electrical auxiliary heating load (kW)
Identify with an 'x' those points from which you will be supplying meteorlogical data
Meteorological data
Met Tower ID | Latitude | Longitude | Sensor Height | Speed | Direction | Temp | Pressure | Humidity | Dew Point
Sample M1a | 43.7704 | -75.5928 | 80m | x | x | x | x | x
Sample M2a | 43.7208 | -75.5632 | 80m | x | x | x | x | x
Sample M1b 20M | 43.7704 | -75.5928 | 20m | x | x | x
Sample M2b 20M | 43.7208 | -75.5632 | 20m | x | x | x
Turbine ID | Latitude | Longitude | Sensor Height | Speed | Direction | Temp | Pressure | Humidity | Dew Point
Sample 1 | 43.7975 | -75.6084 | 80m | x | x
Sample 2 | 43.7955 | -75.6036 | 80m | x | x
Sample 3 | 43.793 | -75.597 | 80m | x | x
Sample 4 | 43.7907 | -75.5941 | 80m | x | x
Sample 5 | 43.7893 | -75.5766 | 80m | x | x
Sample 6 | 43.7883 | -75.5734 | 80m | x | x
Sample 7 | 43.7833 | -75.5666 | 80m | x | x
Sample 8 | 43.7955 | -75.6216 | 80m | x | x
Sample 9 | 43.7901 | -75.6118 | 80m | x | x
Sample 10 | 43.7839 | -75.6106 | 80m | x | x
Instructions:
PTID will be provided to you by NYISO.
Met Tower ID and Turbine ID should be unique identifiers to the entire plant. These identifiers will be referenced in your meteorogical data that will be sent from your site to the NYISO. You may use any unique identifier scheme you like, as long as each one is unique within the plant.
Meteorological Data - Specify each unique point at your plant from which you will be sending met sensor measurements to NYISO.

## SolarPlant
NYISO requires details of each wind and solar plant operating in the NY Control area in order to model them properly in our forecasting tools. Please send the information listed below to customer_registration@nyiso.com. This information must be received as part of the Registration process. Attach pages as necessary.
Please specify…….
Organization:
Plant name:
PTID | [provided by NYISO]
Number of PV Modules
PV Module make/model
Number of inverters
Inverter make/model
Inverter Maximum Efficiency
Total Operating Capacity (DC and AC)
Coordinate System:
Coordinate Datum:
Array Data
Array ID | Latitude | Longitude | Tilt | Azimuth | Panel Elevation | MW Capability (AC)
Sample A-1 | 43.7704 | -75.5928 | 27 deg fixed | 180 deg | 2m | 1 MW
Sample A-2 | 43.7208 | -75.5632 | 27 deg fixed | 180 deg | 2m | 1 MW
Sample B-1 | 43.7704 | -75.5928 | 27 deg fixed | 180 deg | 2m | 1 MW
Sample B-2 | 43.7208 | -75.5632 | 27 deg fixed | 180 deg | 2m | 1 MW
Tracking System Data
Array ID | Tracking System ID | Tilt/Azimuth Angle Collection Point ID | Array Axes of Rotation (Horizontal, Vertical, other) | MW Capability (DC)
Sample A-1 | Tracker Sample 1 | Track Measure Sample 1
Sample A-2 | Tracker Sample 1 | Track Measure Sample 1
Sample B-1 | Tracker Sample 2 | Track Measure Sample 1
Sample B-2 | Tracker Sample 2 | Track Measure Sample 1
Identify with an 'x' those points from which you will be supplying meteorological data
Meteorological data
Met Sensor ID | Latitude | Longitude | Back Panel Temperature at avg array height | POA Irradiance | Tilt (Tracking Systems Only) | Azimuth (Tracking Systems Only)
Sample 1 | 43.7975 | -75.6084 | x | x
Sample 2 | 43.7955 | -75.6036 | x | x
Sample 3 | 43.793 | -75.597 |  | x
Sample 4 | 43.7907 | -75.5941 | x | x
Sample 5 | 43.7893 | -75.5766 |  | x
Sample 6 | 43.7883 | -75.5734 | x | x
Sample 7 | 43.7833 | -75.5666 | x | x
Tilt Sample 1 | 43.7943 | -75.5217 |  |  | x
Azimuth Sample 1 | 43.7943 | -75.5217 |  |  |  | x
Instructions:
PTID will be provided to you by NYISO.
Array Data - This data shall describe the layout and orientation of the arrays across the plant. Arrays that share the same common attributes (coordinates/tilt/azimuth/elevation) may be listed together in a single row. Please specify a latitude/longitude that represents the center point of the array.
Tracking System Data - Specify at least one tilt/azimuth collection point that corresponds to each array's tracking driver. More than one pair of Azimuth and Tilt angle points may be provided, if available, to better represent the plant’s capabilities. If the plant is a fixed array installation, this section can be left blank. Tracking system data is only required for plants with a namplate capacity greater than 20 MW.
Meteorological Data - Specify each unique point at your plant from which you will be sending met sensor measurements to NYISO. Meterological data is only required for plants with a namplate capacity greater than 20 MW.
Met Sensor ID should be unique identifiers to the entire plant. These identifiers will be referenced in your meteorogical data that will be sent from your site to NYISO. You may use any unique identifier scheme you like, as long as each one is unique within the plant.