## Instructions
Version 1.1 of Attachment D
Last Updated on November 9, 2004
Attachment D:
Dependable Maximum Net Capability Audit Forms, the Procedure to Adjust a Resource’s Proven Maximum Production Capability and the Procedure to Weather Adjust DMNC Test Data
The following forms are included in this attachment:
· Steam Generation
· Hydro Generation
· Internal Combustion and Combustion Turbine Generation
· Combined Cycle Generation
· Other
Procedure to Adjust a Resource’s Proven Maximum Production Capability
A Resource’s Proven Maximum Production Capability (PMPC) may be adjusted at any time. Five (5) business days are required to process the PMPC request and to be made available in the Market Information System.
· Provide the appropriate Dependable Maximum Net Capability Audit Form for the type of Resource being reported.
· Check the PMPC box at top left of form. If only the PMPC box is checked, then DMNC information is not required with this submission.
Procedure to Weather Adjust DMNC Test Data
All DMNC tests on internal combustion, combustion units and combined cycles units must be temperature adjusted. The temperature to be used for the temperature adjustment is the average ambient and cooling system temperature at the generator location experienced at the time of the TD peak during the previous four (4) relevant Capability Periods. The dates and times of the TD peak in each Capability Period are posted on the ISO website at:
www.nyiso.com/markets/icapinfo.html under “General Information.”
· Determine the weather adjusted DMNC rating for the generator using the manufacturer’s provided temperature adjustment curves and generator specific curves (if applicable) produced from historical experience.
· Provide both sets of ratings and temperature adjustment curves.
· The higher of the two values may be claimed. The ISO may lower the value claimed for the weather-adjusted DMNC, if the provided temperature adjustment curves are significantly different.
Submission of PMPC and DMNC Test Data
PMPC and DMNC test data must be submitted to the NYISO’s Analysis & Planning Department. Documentation submitted via e-mail is preferred, however, delivery by regular mail, courier service or fax is also acceptable. Documentation should be addressed as follows:
Email: generator_test_data@nyiso.com
FAX: (518) 356-6208
Manager, Resource Reliability
c/o New York Independent System Operator
290 Washington Ave. Extension
Albany, NY 12203
Data should be submitted in accordance with Attachment A and Section 4.2 of the Installed Capacity Manual.

## Fossil or Nuclear Steam
Version 1.1 of Attachment D
Last Updated on November 9, 2004
NEW YORK ISO
DEPENDABLE MAXIMUM NET CAPABILITY (DMNC) TEST
And PROVEN MAXIMUM PRODUCTION CAPABILITY (PMPC) TEST
Fossil or Nuclear Steam Generation
Company: | [10 empty] | Check all that apply:
DMNC/PMPC (MW)
Generator or Station Name |  | PTID Number | Date of Test | Demonstrated PMPC |  |  |  |  | Pre-Test DMNC/PMPC Rating* | Post-Test DMNC/PMPC Rating | Difference (Post-Pre) | Test |  |  | Remarks
|  |  |  | Hourly |  |  |  | Average
|  |  |  | 1 | 2 | 3 | 4 |  |  |  |  | A | B | C
| A. Over Pressure | [5 empty] | Name (if submitted electronically):
B. Top Feed Water Heater OS
| C. Exceptions to Procedure Explained in Remarks Section | [5 empty] | Signed (if submitted by fax/mail):
* From Last Like Capability Period
Title:
Date:

## Hydro
Version 1.1 of Attachment D
Last Updated on November 9, 2004
NEW YORK ISO
DEPENDABLE MAXIMUM NET CAPABILITY (DMNC) TEST
And PROVEN MAXIMUM PRODUCTION CAPABILITY (PMPC) TEST
Hydro Generation
Company: | [10 empty] | Check all that apply:
DMNC/PMPC (MW)
Generator or Station Name |  | PTID Number | Date of Test | Demonstrated PMPC |  |  |  |  | Pre-Test DMNC/PMPC Rating* | Post-Test DMNC/PMPC Rating | Difference (Post-Pre) | Remarks
|  |  |  | Hourly |  |  |  | Average
|  |  |  | 1 | 2 | 3 | 4
| * From Last Like Capability Period | [5 empty] | Name (if submitted electronically):
Signed (if submitted by fax/mail):
Title:
Date:

## Internal Combustion & Turbine
Version 1.1 of Attachment D
Last Updated on November 9, 2004
NEW YORK ISO
DEPENDABLE MAXIMUM NET CAPABILITY (DMNC) TEST
And PROVEN MAXIMUM PRODUCTION CAPABILITY (PMPC) TEST
Internal Combustion and Combustion Turbine Generation
Company: | [9 empty] | Check all that apply:
Generator or Station Name |  | PTID Number | Date of Test | Capability at Test Temp. (MW) |  |  |  | Avg. Amb Temp. (/F) | DMNC at Average Ambient Temperature (MW) |  | Remarks
|  |  |  | Test Temp. (/F) | Demonstrated PMPC | Per Curve | Excess (+) Deficiency (-) |  | Pre-Test DMNC/PMPC Rating* | Post-Test DMNC/PMPC Rating
| * From Last Like Capability Period |  |  |  | Name (if submitted electronically):
Signed (if submitted by fax/mail):
Title:
Date:

## Combined Cycle
Version 1.1 of Attachment D
Last Updated on November 9, 2004
NEW YORK ISO
DEPENDABLE MAXIMUM NET CAPABILITY (DMNC) TEST
And PROVEN MAXIMUM PRODUCTION CAPABILITY (PMPC) TEST
Combined Cycle Generation
Company: | [12 empty] | Check all that apply:
Generator or Station Name |  | PTID Number | Date of Test | Capability at Test Temperature (MW) | [7 empty] | Avg. Amb Temp. (/F) | DMNC at Average Ambient Temperature (MW) |  | Remarks
|  |  |  | Test Temp. (/F) | Demonstrated PMPC |  |  |  |  | Per Curve | Excess (+) Deficiency (-) |  | Pre-Test DMNC/PMPC Rating* | Post-Test DMNC/PMPC Rating
[5 empty] | Hourly |  |  |  | Aver.
[5 empty] | 1 | 2 | 3 | 4
| * From Last Like Capability Period | [6 empty] | Name (if submitted electronically):
Signed (if submitted by fax/mail):
Title:
Date:

## Other
Version 1.1 of Attachment D
Last Updated on November 9, 2004
NEW YORK ISO
DEPENDABLE MAXIMUM NET CAPABILITY (DMNC) TEST
And PROVEN MAXIMUM PRODUCTION CAPABILITY (PMPC) TEST
Other Generation or Production Data in Lieu of PMPC/DMNC Test Data
Company: | [10 empty] | Check all that apply:
DMNC/PMPC (MW)
Generator or Station Name |  | PTID Number | Date of Test | Demonstrated PMPC |  |  |  |  | Pre-Test DMNC/PMPC Rating* | Post-Test DMNC/PMPC Rating | Difference (Post-Pre) | Test |  |  | Remarks
|  |  |  | Hourly |  |  |  | Average
|  |  |  | 1 | 2 | 3 | 4 |  |  |  |  | A | B | C
| A. Over Pressure | [5 empty] | Name (if submitted electronically):
B. Top Feed Water Heater OS
| C. Exceptions to Procedure Explained in Remarks Section | [5 empty] | Signed (if submitted by fax/mail):
* From Last Like Capability Period
Title:
Date: