## GenTrack
Generator Status Updates from March 15, 2022 through July 1, 2022
Generating Unit | Owner | PTID | Interconnecting TO | Zone | Current Generator Status | Date of Generator Status Change, if applicable | Initial Testing Date, if applicable | Generator Deactivation Assessment/Short-Term Assessment of Reliability Start Date, if applicable | Generator Deactivation Assessment/Short-Term Assessment of Reliability Completion Date, if applicable | PSC Retirement/Mothball Notice Date, if applicable | Proposed Retirement/ Mothball Date, if applicable | Rescinded Notice Date, if applicable | Notes
Ravenswood GT 11 | Helix Ravenswood, LLC | 24259 | Con Edison | J | ICAP Ineligible Forced Outage | 2021-12-01 |  | 2022-01-15 | 2022-04-15 | 2022-03-31 | 2023-05-01 |  | As of April 1, the NYISO does not have a complete Generator Deactivation Notice for the retirement of this Unit.
Ravenswood GT 1 | Helix Ravenswood, LLC | 23729 | Con Edison | J | ICAP Ineligible Forced Outage | 2022-01-01 |  | 2022-01-15 | 2022-04-15 | 2022-03-31 | 2023-05-01 |  | As of April 1, the NYISO does not have a complete Generator Deactivation Notice for the retirement of this Unit.
Madison County LF | Exelon Generation Company, LLC | 323628 | National Grid | E | ICAP Ineligible Forced Outage | 2022-04-01 |  | 2022-04-15
Nassau Energy Corporation | ENGIE Energy Marketing NA, Inc. | 323695 | LIPA | K | ICAP Ineligible Forced Outage | 2022-05-24 |  | 2022-04-15 |  | 2022-01-28 | 3/31/2022* |  | *Per the NYISO’s Generator Deactivation Process, the earliest date on which the Generator might retire is 7/15/22.
Hudson Ave 3 | Consolidated Edison Co. of New York, Inc. | 23810 | Con Edison | J | In Service |  |  | 2022-04-15 |  |  | 2022-11-01
Hudson Ave 5 | Consolidated Edison Co. of New York, Inc. | 23657 | Con Edison | J | In Service |  |  | 2022-04-15 |  |  | 2022-11-01
74th St. GT 1 | Consolidated Edison Co. of New York, Inc. | 24260 | Con Edison | J | In Service |  |  | 2022-04-15 |  |  | 2023-05-01
74th St. GT 2 | Consolidated Edison Co. of New York, Inc. | 24261 | Con Edison | J | In Service |  |  | 2022-04-15 |  |  | 2023-05-01
Dunkirk 1 | NRG Power Marketing, LLC | 23563 | National Grid | A | Retired | 2022-04-29 |  |  |  | 2022-04-29 | 2022-04-29
Dunkirk 3 | NRG Power Marketing, LLC | 23565 | National Grid | A | Retired | 2022-04-29 |  |  |  | 2022-04-29 | 2022-04-29
Dunkirk 4 | NRG Power Marketing, LLC | 23566 | National Grid | A | Retired | 2022-04-29 |  |  |  | 2022-04-29 | 2022-04-29
SITHE__BATAVIA | Seneca Power Partners, L.P. | 24024 | National Grid | B | In Service |  |  | 2022-01-15 | 2022-04-15 |  | 2022-05-02 | 2022-04-25
Calverton Solar | LI Solar Generation, LLC | 323806 | LIPA | K | In Service | 2022-06-02
Ravenswood GT 10 | Helix Ravenswood, LLC | 24258 | Con Edison | J | In Service |  |  | 2022-07-15
Glenwood GT 01 | Long Island Power Authority | 23712 | LIPA | K | Load Modifier | 2021-03-20
West Babylon 4 | Long Island Power Authority | 23714 | LIPA | K | Load Modifier | 2021-05-01
Explanatory Note:
For the purpose of the Generator Status Update chart (first tab in this document), new or repowered units will be identified as "In Service" in the "Current Generator Status" column following the first date that they produce energy on the system, including test energy. That date will now be identified in the column "Initial Testing Date."
The second tab in this document contains a historic list of generator status changes, dating back to 2009. This tab will be updated on a monthly basis based on the information in the first tab of this document.
The third tab in this document contains CRIS expirations.
Updates made since the prior posting are highlighted in yellow.

## Gen Status Changes Hist
Historic Generator Status Changes (1)
Generating Unit | Owner | PTID | Zone | MW(2) | Status(3) | Date(4)
AES Greenidge Unit 3 | AES Eastern Energy, LP | 23582 | C | 52.8 | R | 2009-12-31
AES Westover Unit 7 | AES Eastern Energy, LP | 23579 | C | 43.5 | R | 2009-12-31
Albany LFGE | Albany Energy LLC | 323615 | F | 4.5 | IIFO | 2020-07-01
Astoria 2 | Astoria Generating Company, LP | 24149 | J | 177 | M | 2012-04-11
Astoria 2 | Astoria Generating Company, LP | 24149 | J | 177 | RTS | 2014-12-20
Astoria 4 | Astoria Generating Company, LP | 23517 | J | 375.6 | M | 2012-04-18
Astoria GT 05 | NRG Power Marketing, LLC | 24106 | J | 16 | IIFO | 2016-01-01
Astoria GT 05 | NRG Power Marketing, LLC | 24106 | J | 16 | R | 2019-01-01
Astoria GT 07 | NRG Power Marketing, LLC | 24107 | J | 15.5 | IIFO | 2016-01-01
Astoria GT 07 | NRG Power Marketing, LLC | 24107 | J | 15.5 | R | 2019-01-01
Astoria GT 08 | NRG Power Marketing, LLC | 24108 | J | 15.3 | M | 2016-07-01
Astoria GT 08 | NRG Power Marketing, LLC | 24108 | J | 15.3 | R | 2020-12-22
Astoria GT 10 | NRG Power Marketing, LLC | 24110 | J | 24.9 | M | 2012-05-01
Astoria GT 10 | NRG Power Marketing, LLC | 24110 | J | 24.9 | RTS | 2013-07-15
Astoria GT 10 | NRG Power Marketing, LLC | 24110 | J | 24.9 | M | 2016-07-01
Astoria GT 10 | NRG Power Marketing, LLC | 24110 | J | 24.9 | R | 2020-12-22
Astoria GT 11 | NRG Power Marketing, LLC | 24225 | J | 23.6 | M | 2012-07-01
Astoria GT 11 | NRG Power Marketing, LLC | 24225 | J | 23.6 | RTS | 2013-07-15
Astoria GT 11 | NRG Power Marketing, LLC | 24225 | J | 23.6 | M | 2016-07-01
Astoria GT 11 | NRG Power Marketing, LLC | 24225 | J | 23.6 | R | 2020-12-22
Astoria GT 12 | NRG Power Marketing, LLC | 24226 | J | 22.7 | IIFO | 2016-01-01
Astoria GT 12 | NRG Power Marketing, LLC | 24226 | J | 22.7 | R | 2019-01-01
Astoria GT 13 | NRG Power Marketing, LLC | 24227 | J | 24 | IIFO | 2016-01-01
Astoria GT 13 | NRG Power Marketing, LLC | 24227 | J | 24 | R | 2019-01-01
Auburn LFG | Innovative Energy Systems, Inc. | 323710 | C | 0 | IIFO | 2016-07-16
Auburn LFG | Innovative Energy Systems, Inc. | 323710 | C | 0 | R | 2017-03-16
Auburn-State St. | New York State Electric and Gas Corporation | 24147 | C | 5.8 | R | 2019-10-01
Baldwinsville 2 | Erie Blvd. Hydro - Seneca Oswego | 24041 | C | 0.2 | R | 2012-07-03
Baldwinsville 2 | Erie Blvd. Hydro - Seneca Oswego | 24041 | C | 0.2 | RTS | 2013-08-01
Barrett 07 | National Grid Generation LLC | 23710 | K | 17.3 | R | 2011-10-11
Beebee GT | Rochester Gas & Electric Corp. | 23619 | B | 15 | R | 2012-02-18
Binghamton Cogen Plant | Binghamton BOP, LLC | 23790 | C | 43.8 | R | 2018-01-09
Binghamton Cogen Plant | Binghamton BOP, LLC | 23790 | C | 43.8 | R | 2012-02-17
Binghamton Cogen Plant | Binghamton BOP, LLC | 23790 | C | 43.8 | RTS | 2014-12-11
Cayuga 1 | Cayuga Operating Company, LLC | 23584 | C | 154.1 | M | 2019-11-01
Cayuga 1 | Cayuga Operating Company, LLC | 23584 | C | 154.1 | R | 2020-06-04
Cayuga 2 | Cayuga Operating Company, LLC | 23585 | C | 154.7 | IIFO | 2018-07-01
Cayuga 2 | Cayuga Operating Company, LLC | 23585 | C | 154.7 | R | 2020-06-04
Chateaugay Power | ReEnergy Chateaugay LLC | 23792 | D | 18.6 | M | 2013-06-03
Chateaugay Power | ReEnergy Chateaugay LLC | 23792 | D | 18.6 | R | 2016-05-31
Danskammer 1 | Dynegy Danskammer, LLC | 23586 | G | 67 | R(5) | 2013-01-03
Danskammer 1 | Danskammer Energy, LLC | 23586 | G | 67 | RTS | 2014-10-01
Danskammer 2 | Dynegy Danskammer, LLC | 23589 | G | 62.7 | R(5) | 2013-01-03
Danskammer 2 | Danskammer Energy, LLC | 23589 | G | 62.7 | RTS | 2014-10-01
Danskammer 3 | Dynegy Danskammer, LLC | 23590 | G | 137.2 | R(5) | 2013-01-03
Danskammer 3 | Danskammer Energy, LLC | 23590 | G | 137.2 | RTS | 2014-12-16
Danskammer 4 | Dynegy Danskammer, LLC | 23591 | G | 236.2 | R(5) | 2013-01-03
Danskammer 4 | Danskammer Energy, LLC | 23591 | G | 236.2 | RTS | 2014-11-01
Danskammer 5 | Dynegy Danskammer, LLC | 23592 | G | 2.5 | R | 2013-01-03
Danskammer 6 | Dynegy Danskammer, LLC | 23592 | G | 2.5 | R | 2013-01-03
Dunkirk 1 | NRG Energy, Inc. (Dunkirk Power LLC) | 23563 | A | 96.2 | M | 2013-06-01
Dunkirk 1 | NRG Power Marketing, LLC | 23563 | A | 96.2 | R | 2022-04-29
Dunkirk 2 | NRG Power Marketing, LLC | 23564 | A | 97.2 | MO | 2016-01-01
Dunkirk 2 | NRG Power Marketing, LLC | 23564 | A | 97.2 | R | 2019-01-01
Dunkirk 3 | NRG Energy, Inc. (Dunkirk Power LLC) | 23565 | A | 201.4 | M | 2012-09-11
Dunkirk 3 | NRG Power Marketing, LLC | 23565 | A | 201.4 | R | 2022-04-29
Dunkirk 4 | NRG Energy, Inc. (Dunkirk Power LLC) | 23566 | A | 199.1 | M | 2012-09-11
Dunkirk 4 | NRG Power Marketing, LLC | 23566 | A | 199.1 | R | 2022-04-29
Energy Systems NE | Energy Systems North East LLC | 23901 | A | 82 | R | 2010-11-01
Far Rockaway ST 04 | National Grid Generation LLC | 23548 | K | 110.6 | R | 2012-07-01
Freeport 1-1 | Freeport Electric Municipality | 1660 | K | 0 | R | 2013-05-01
Fulton 1 | Erie Blvd. Hydro - Seneca Oswego | 24041 | C | 0.7 | R | 2013-08-01
Fulton 2 | Erie Blvd. Hydro - Seneca Oswego | 24041 | C | 0.3 | R | 2013-08-01
GILBOA__1 | New York Power Authority | 23756 | F | 290.7 | IIFO | 2019-01-01
GILBOA__1 | New York Power Authority | 23756 | F | 290.7 | RTS | 2019-06-01
Glenwood ST 04 | National Grid Generation LLC | 23550 | K | 118.7 | R | 2012-07-01
Glenwood ST 05 | National Grid Generation LLC | 23614 | K | 122 | R | 2012-07-01
Gowanus 1-8 | Astoria Generating Company L. | 24113 | J | 16.1 | IIFO | 2021-02-01
Greenidge 4 | AES Eastern Energy, LP | 23583 | C | 106.1 | M | 2011-03-18
Greenidge Unit #4 | Emera Energy U.S. Subsidiary No. 1, Inc. | 23583 | C | 106.1 | RTS | 2017-03-27
Hogansburg | Erie Blvd. Hydro - North Salmon | 24042 | D | 0.3 | R | 2015-03-17
HUDSON AVE_GT_3 | Consolidated Edison Co. of NY, Inc. | 23810 | J | 16 | IIFO | 2019-11-01
HUDSON AVE_GT_3 | Consolidated Edison Co. of NY, Inc. | 23810 | J | 16 | RTS | 2020-07-10
HUDSON AVE_GT_4 | Consolidated Edison Co. of NY, Inc. | 23540 | J | 13.9 | IIFO | 2019-04-01
HUDSON AVE_GT_4 | Consolidated Edison Co. of NY, Inc. | 23540 | J | 13.9 | R | 2019-09-10
Huntley 67 | NRG Power Marketing, LLC | 23561 | A | 196.5 | R | 2016-03-01
Huntley 68 | NRG Power Marketing, LLC | 23562 | A | 198 | R | 2016-03-01
INDIAN POINT__2 | Entergy Nuclear Power Marketing LLC | 23530 | H | 1026.5 | R | 2020-04-30
INDIAN POINT__3 | Entergy Nuclear Power Marketing LLC | 23531 | H | 1040.4 | R | 2021-04-30
Johnsonville 2 | Erie Blvd. Hydro - Lower Hudson | 24059 | F | 0 | R | 2010-05-01
Johnsonville 2 | Erie Blvd. Hydro - Lower Hudson | 24059 | F | 0 | RTS | 2013-12-23
Kensico 1 | New York Power Authority | 23655 | I | 1 | R | 2012-09-25
Kensico 2 | New York Power Authority | 23655 | I | 1 | R | 2012-09-25
Kensico 3 | New York Power Authority | 23655 | I | 1 | R | 2012-09-25
KINTIGH____ | Somerset Operating Company, LLC | 23543 | A | 686.5 | R | 2020-03-31
Lyonsdale | Lyonsdale Biomass, LLC | 23803 | E | 20.2 | IIFO | 2018-04-01
Lyonsdale | Lyonsdale Biomass, LLC | 23803 | E | 20.2 | R | 2019-07-18
Madison County LF | Exelon Generation Company, LLC | 323628 | E | 1.6 | IIFO | 2022-04-01
Monroe Livingston | WM Renewable Energy, LLC | 24207 | B | 2.4 | R | 2019-09-01
Montauk 02 | National Grid Generation LLC | 23721 | K | 2 | R | 2013-05-04
Montauk 03 | National Grid Generation LLC | 23721 | K | 2 | R | 2013-05-04
Montauk 04 | National Grid Generation LLC | 23721 | K | 2 | R | 2013-05-04
Niagara Bio-Gen | Niagara Generation, LLC | 23895 | A | 50.5 | M | 2013-05-09
Niagara Bio-Gen | Niagara Generation, LLC | 23895 | A | 50.5 | RTS | 2014-01-23
Niagara Bio-Gen | Niagara Power Marketing, LLC | 23895 | A | 50.5 | IIFO | 2016-01-01
Niagara Bio-Gen | Niagara Power Marketing, LLC | 23895 | A | 50.5 | R | 2019-01-01
Poletti 1 | New York Power Authority | 23519 | J | 891 | R | 2010-01-31
Project Orange 1 | Project Orange Associates | 24174 | C | 43.6 | R | 2010-11-12
Project Orange 2 | Project Orange Associates | 24166 | C | 44 | R | 2010-11-12
Ravenswood 04 | TC Ravenswood, LLC | 24252 | J | 15.2 | MO | 2016-05-01
Ravenswood 04 | TC Ravenswood, LLC | 24252 | J | 15.2 | R | 2019-05-01
Ravenswood 05 | TC Ravenswood, LLC | 24254 | J | 15.7 | MO | 2016-05-01
Ravenswood 05 | TC Ravenswood, LLC | 24254 | J | 15.7 | R | 2019-05-01
Ravenswood 06 | TC Ravenswood, LLC | 24253 | J | 16.7 | MO | 2016-05-01
Ravenswood 06 | TC Ravenswood, LLC | 24253 | J | 16.7 | R | 2019-05-01
Ravenswood 07 | TC Ravenswood, LLC | 24255 | J | 16.5 | M | 2014-03-13
Ravenswood 09 | Helix Ravenswood, LLC | 24257 | J | 21.7 | IIFO | 2017-11-01
Ravenswood 09 | Helix Ravenswood, LLC | 24257 | J | 21.7 | R | 2020-11-01
Ravenswood 3-3 | TC Ravenswood, LLC | 24250 | J | 37.7 | M | 2014-10-31
Ravenswood 3-4 | TC Ravenswood, LLC | 24251 | J | 35.8 | M | 2011-09-01
Ravenswood 3-4 | TC Ravenswood, LLC | 24251 | J | 35.8 | RTS | 2014-08-20
Ravenswood GT 1 | Helix Ravenswood, LLC | 23729 | J | 8.8 | IIFO | 2022-01-01
Ravenswood GT 2-1 | Helix Ravenswood, LLC | 24244 | J | 40.4 | IIFO | 2018-04-01
Ravenswood GT 2-1 | Helix Ravenswood, LLC | 24244 | J | 40.4 | R | 2021-04-01
Ravenswood GT 2-2 | Helix Ravenswood, LLC | 24245 | J | 37.6 | IIFO | 2018-04-01
Ravenswood GT 2-2 | Helix Ravenswood, LLC | 24245 | J | 37.6 | R | 2021-04-01
Ravenswood GT 2-3 | Helix Ravenswood, LLC | 24246 | J | 39.2 | IIFO | 2018-04-01
Ravenswood GT 2-3 | Helix Ravenswood, LLC | 24246 | J | 39.2 | R | 2021-04-01
Ravenswood GT 2-4 | Helix Ravenswood, LLC | 24247 | J | 39.8 | IIFO | 2018-04-01
Ravenswood GT 2-4 | Helix Ravenswood, LLC | 24247 | J | 39.8 | R | 2018-04-01
Ravenswood GT 3-1 | Helix Ravenswood, LLC | 24248 | J | 40.5 | IIFO | 2018-04-01
Ravenswood GT 3-1 | Helix Ravenswood, LLC | 24248 | J | 40.5 | R | 2021-04-01
Ravenswood GT 3-2 | Helix Ravenswood, LLC | 24249 | J | 38.1 | IIFO | 2018-04-01
Ravenswood GT 3-2 | Helix Ravenswood, LLC | 24249 | J | 38.1 | R | 2021-04-01
Ravenswood GT 3-4 | Helix Ravenswood, LLC | 24251 | J | 35.8 | IIFO | 2018-04-01
Ravenswood GT 3-4 | Helix Ravenswood, LLC | 24251 | J | 35.8 | R | 2021-04-01
Ravenswood GT 11 | Helix Ravenswood, LLC | 24259 | J | 20.2 | IIFO | 2021-12-01
Station 9 | Rochester Gas & Electric | 23652 | B | 15.8 | R | 2014-03-03
Steuben County LF | Steuben Rural Electric Cooperative, Inc. | 323667 | C | 3.2 | R | 2019-09-01
Syracuse Energy ST1 | Syracuse Energy Corporation | 323597 | C | 11 | R | 2013-09-25
Syracuse Energy ST2 | Syracuse Energy Corporation | 323598 | C | 58.9 | R | 2013-09-25
Westover 8 | AES Eastern Energy, LP | 23580 | C | 83.8 | M | 2011-03-18
Westover LESR | AES ES Westover LLC | 323668 | C | 0 | R | 2013-08-20
Footnotes:
Note 1: This list contains only status changes for pre-existing generators. New entrants to the NYISO markets are not included.
Note 2: The capacity values listed are the Summer CRIS MW values stated in the NYISO’s Load and Capacity Data Report (referred to as the “Gold Book”) from the most recent report following the effective date of the status change.
Note 3: “IIFO” indicates ICAP Ineligible Forced Outage, “R” indicates “retired” (including “Retired,) “M” indicates “mothballed”, MO indicates “Mothball Outage”, and “RTS” indicates returned to service after being M, MO, or R. Changes in status of generators that were IIFO and subsequently changed their status are indicated on this table. Services Tariff provisions defining the terms ICAP Ineligible Force Outage, Mothball, and Retire apply to outages pursuant to the rules effective May 1, 2015.
Note 4: Date is the known effective date of the status change.
Note 5: Helios Power Capital, LLC, et al., Joint Petition for Expedited Approval for the Lease, Sale and Operation of the Danskammer Generating Facility Under Lightened Regulation and for Related Relief, PSC Case No. 14- E-0117 (Jun. 27, 2014).

## CRIS Expiration Tracker
Historic CRIS Expirations
PTID | Facility | Zone | Prior CRIS Value (MW) | Date | Notes
323794 | ORANGEVILLE__ESR | C | 20 | 2022-05-01 | Correction for Gold Book
23570 | Lyons Fall Hydro | E | 7.3 | 2022-03-31 | CRIS Expiration
23540 | Hudson Ave GT 4 | J | 13.9 | 2022-03-31 | CRIS Expiration
323667 | Steuben REC LFGE | C | 3.2 | 2022-03-31 | CRIS Expiration
23585 | Cayuga 2 | C | 154.7 | 2021-07-01 | CRIS Expiration
24244 | Ravenswood GT 2-1 | J | 40.4 | 2021-04-01 | CRIS Expiration
24245 | Ravenswood GT 2-2 | J | 37.6 | 2021-04-01 | CRIS Expiration
24246 | Ravenswood GT 2-3 | J | 39.2 | 2021-04-01 | CRIS Expiration
23803 | Lyonsdale | E | 20.2 | 2021-01-31 | CRIS Expiration
23790 | BINGHAMTON___COGEN | C | 43.8 | 2020-11-30 | CRIS Expiration
24257 | RAVENSWOOD_GT_9 | J | 21.7 | 2020-11-30 | CRIS Expiration
N/A | HTP Scheduled Line | J | 660 | 2020-04-30 | CRIS Expiration
24252 | RAVENSWOOD_GT_4 | J | 15.2 | 2019-05-01 | CRIS Expiration
24254 | RAVENSWOOD_GT_5 | J | 15.7 | 2019-05-01 | CRIS Expiration
24253 | RAVENSWOOD_GT_6 | J | 16.7 | 2019-05-01 | CRIS Expiration
24225 | ASTORIA_GT_11 | J | 23.6 | 2019-05-01 | CRIS Expiration
23561 | HUNTLEY___67 | A | 196.5 | 2019-03-02 | CRIS Expiration
23562 | HUNTLEY___68 | A | 198 | 2019-03-02 | CRIS Expiration
24226 | ASTORIA_GT_12 | J | 22.7 | 2019-01-01 | CRIS Expiration
24227 | ASTORIA_GT_13 | J | 24 | 2019-01-01 | CRIS Expiration
24106 | ASTORIA_GT_5 | J | 16 | 2019-01-01 | CRIS Expiration
24107 | ASTORIA_GT_7 | J | 15.5 | 2019-01-01 | CRIS Expiration
23564 | DUNKIRK___2 | A | 97.2 | 2019-01-01 | CRIS Expiration
24110 | ASTORIA_GT_10 | J | 24.9 | 2018-11-01 | CRIS Expiration
24108 | ASTORIA_GT_8 | J | 15.3 | 2018-11-01 | CRIS Expiration
23895 | CH_RES_NIAGARA | A | 50.5 | 2018-11-01 | CRIS Expiration
24250 | RAVENSWOOD_GT3_3 | J | 37.7 | 2017-11-01 | CRIS Expiration
323694 | SYNERGY-BIOGAS | B | 2 | 2017-06-01 | CRIS Expiration
24255 | RAVENSWOOD_GT_7 | J | 16.5 | 2017-04-01 | CRIS Expiration
323597 | SYRACUSE___ENERGY_ST1 | C | 11 | 2016-10-01 | CRIS Expiration
323598 | SYRACUSE___ENERGY_ST2 | C | 58.9 | 2016-10-01 | CRIS Expiration
23565 | DUNKIRK___3 | A | 201.4 | 2016-08-01 | CRIS Expiration
23566 | DUNKIRK___4 | A | 199.1 | 2016-08-01 | CRIS Expiration
323596 | STEEL___WIND | A | 20 | 2016-08-01 | CRIS Expiration
23792 | NEG NORTH_KES_CHATEGAY | D | 18.6 | 2016-07-01 | CRIS Expiration
23563 | DUNKIRK___1 | A | 96.2 | 2016-06-01 | CRIS Expiration
23655 | KENSICO____ | I | 1.8 | 2016-02-01 | CRIS Expiration
23548 | FAR ROCKAWAY___4 | K | 110.6 | 2015-08-01 | CRIS Expiration
23550 | GLENWOOD___4 | K | 118.7 | 2015-08-01 | CRIS Expiration
23614 | GLENWOOD___5 | K | 122 | 2015-08-01 | CRIS Expiration
23517 | ASTORIA___4 | J | 375.6 | 2015-05-01 | CRIS Expiration
23619 | BEEBEE_GT_13 | B | 15 | 2015-03-01 | CRIS Expiration
23710 | Barrett IC 7 | K | 17.3 | 2014-10-01 | CRIS Expiration
23592 | DANSKAMMER___DIESEL | G | 5 | 2014-10-01 | CRIS Expiration
24204 | FENNER___WINDPWR | C | 30 | 2014-10-01 | CRIS Expiration
323602 | GROVEVILLE_HYD | G | 0.9 | 2014-10-01 | CRIS Expiration
23629 | MILLIKEN___DIESEL | C | 5.6 | 2014-10-01 | CRIS Expiration
24148 | WALDEN___HYDRO | G | 1.5 | 2014-10-01 | CRIS Expiration
24143 | WESTERN_NY_WIND | B | 6.6 | 2014-10-01 | CRIS Expiration
23901 | NEPA___ENERGY | A | 82 | 2013-11-01 | CRIS Expiration
24174 | PROJECT___ORANGE 1 | C | 43.6 | 2013-10-01 | CRIS Expiration
24166 | PROJECT___ORANGE 2 | C | 44 | 2013-10-01 | CRIS Expiration
Explanatory Note:
The NYISO has conducted a one-time historical review to document CRIS expirations. Going forward this tab will be used to note CRIS expirations on a monthly basis.