## GADS Design Data
Line |  |  |  | GADS ID |  |  | Gross | Net | In | Fuel
Ref. |  |  | Unit |  |  | Unit | Max. | Max. | Service | Type | Type | Type
No. | Owner / Operator | Plant Name | No. | Utility | Unit | Type | Capacity | Capacity | Date | 1 | 2 | 3
R001
R002 | [12 empty] | Gross Maximum Capacity (GMC) -
R003 | [12 empty] | Maximum capacity (MW) a unit can
R004 | [12 empty] | sustain over a specified period of
R005 | [12 empty] | time when not restricted by seasonal
R006 | [12 empty] | or other deratings.
R007
R008 | [12 empty] | Net Maximum Capacity (NMC) -
R009 | [12 empty] | GMC less the unit capacity (MW)
R010 | [12 empty] | utilized for that unit's station
R011 | [12 empty] | service and/or auxiliaries.
R012
R013 | [12 empty] | GADS ID-
R014 | [12 empty] | Made up of the Utility Code (3-characater
R015 | [12 empty] | code for the utility company) plus a
R016 | [12 empty] | Unit Code (3-characater code for the
R017 | [12 empty] | facility set by the generator
R018 | [12 empty] | owner). Codes and criteria found in
R019 | [12 empty] | Appendix C of the NERC GADS Data
R020 | [12 empty] | Reporting instructions.
R021
R022 | [12 empty] | UNIT TYPES
R023 | [12 empty] | CC - Combined Cycle BLOCK
R024 | [12 empty] | CG - Cogeneration
R025 | [12 empty] | CT - Combustion Turbine Portion (CC)
R026 | [12 empty] | CW - Waste Heat Only (CC)
R027 | [12 empty] | ES - Energy Storage
R028 | [12 empty] | FC - Fuel Cell
R029 | [12 empty] | GT - Combustion Turbine
R030 | [12 empty] | HY - Conventional Hydro
R031 | [12 empty] | IC - Internal Combustion (Any Fuel)
R032 | [12 empty] | IG - Integrated Coal Gasification (CC)
R033 | [12 empty] | JE - Jet Engine
R034 | [12 empty] | NB - Steam (BWR Nuclear)
R035 | [12 empty] | NP - Steam (PWR Nuclear)
R036 | [12 empty] | PS - Pumped Storage Hydro
R037 | [12 empty] | PV - Photovoltaic
R038 | [12 empty] | ST - Steam Turbine (Any Fuel)
R039 | [12 empty] | WT - Wind Turbine
R040
R041 | [12 empty] | FUEL TYPES
R042 | [12 empty] | BAT - Battery
R043 | [12 empty] | BIT - Bituminous Coal
R044 | [12 empty] | COL - Liquefied Coal
R045 | [12 empty] | FO2 - No. 2 Fuel Oil
R046 | [12 empty] | FO4 - No. 4 Fuel Oil
R047 | [12 empty] | FO6 - No. 6 Fuel Oil
R048 | [12 empty] | FW - Flywheel
R049 | [12 empty] | JF - Jet Fuel
R050 | [12 empty] | KER - Kerosene
R051 | [12 empty] | LFG - Landfill Gas
R052 | [12 empty] | MTE - Methane Gas
R053 | [12 empty] | NG - Natural Gas
R054 | [12 empty] | OT - Other (Describe In Footnote)
R055 | [12 empty] | REF - Refuse (Solid Waste)
R056 | [12 empty] | SUN - Solar
R057 | [12 empty] | UR - Uranium
R058 | [12 empty] | WAT - Water
R059 | [12 empty] | WND - Wind
R060 | [12 empty] | WD - Wood and/or Wood Waste

## Admins_Users
Organization MIS Administrator Details
MIS ADMIN(s) who will be granting USER access on behalf of REGISTERED UNITS
First Name | Last Name | Contact/Email | MIS User ID | Organization | Units Assigned
Market Information System (MIS) User ID- Unique MIS ID for User, assigned by a MIS administrator, to access GADS Portal
MIS Users requesting GADS Portal access will need GADS observer privileges, a digital certificate, and email approval sent to GADS_Info@NYISO.com from their respective MIS administrator to access the NYISO GADS Portal.
NYISO GADS Portal Users
USERS uploading monthly YTD GADS via the NYISO PORTAL
First Name | Last Name | Contact/Email | MIS User ID | Company | Units Assigned