## General Guidance
NERC STANDARDS GUIDANCE MATRIX May 12, 2023
NERC Standard | Req. | Text of Requirement | BA | DP | GO | GOP | PA | RC | RP | TO | TOP | TP | TSP | NYISO Proposal | Required Action By Registered Entity | Document Support for NYISO Role (Tariff, Agreements, etc.) | NYISO Action Required to Coordinate Compliance
CIP-002-5.1a | R1 | R1. Each Responsible Entity shall implement a process that considers each of the following assets for purposes of parts 1.1 through 1.3: iii. Generation resources; 1.2. Identify each of the medium impact BES Cyber Systems according to Attachment 1, Section 2if any, at each asset; Attachment 1 2.3. Each generation Facility that it’s Planning Coordinator or Transmission Planner designates, and informs the Generator Owner or Generator Operator, as necessary to avoid an Adverse Reliability Impact in the planning horizon of more than one year. 2.6. Generation at a single plant location or Transmission Facilities at a single station or substation location that are identified by its Reliability Coordinator, Planning Coordinator, or Transmission Planner as critical to the derivation of Interconnection Reliability Operating Limits (IROLs) and their associated contingencies. 2.9. Each Special Protection System (SPS), Remedial Action Scheme (RAS), or automated switching System that operates BES Elements, that, if destroyed, degraded, misused or otherwise rendered unavailable, would cause one or more Interconnection Reliability Operating Limits (IROLs) violations for failure to operate as designed or cause a reduction in one or more IROLs if destroyed, degraded, misused, or otherwise rendered unavailable. | GO: GO; GOP: GOP; RC: RC | The NYISO informs Generator Owners or Generator Operators when their generation facility impacts reliability pursuant CIP-002-5 Attachment 1, Sections 2.3, 2.6, and 2.9. A generating facility that wishes to receive confirmation from the NYISO that they have not been notified of their facility impacting reliability pursuant to CIP-002-5, should contact the NYISO’s Stakeholders Services at: stakeholder_services@nyiso.com. | comply with the Stanard as appropriate in accordance with notification from the NYISO. | n/a | yes
EOP-005-3 | R14.2 | R16.2. Each Generator Operator shall provide the blackstart test results within 30 calendar days following a request from its Reliability Coordinator or Transmission Operator. | GOP: GOP | NYISO receives annual test results from GOPs in accordance with NPCC Directory 8 | Black Start Units supply self-certifications to the NYISO. | NYISO Market ServicesTariff Section 15.5, Schedule 5, Appendix II NYISO Restoration Manual Section 3.2.2 - Testing Requirements for Critical Components NPCC Directory 8 System Restoration | No
FAC-001-3 | All | To avoid adverse impacts on the reliability of the Bulk Electric System, Transmission Owners and applicable Generator Owners must document and make Facility interconnection requirements available so that entities seeking to interconnect will have the necessary information. See Standard for further information. | [11 empty] | Compliance covered by the NYISO TIP and SGIP process and participation by MPs in the NYISO Class Year Working Groups and in attending Interconnection Study Scoping Meetings. | The Transmission Owners must meet R1 of this standard for their individual system interconnection requirements. | NYISO OATT - Sections 3.7, 3.9, 3.11, 4.5, Attachment D "Methodology for Completing a System Impact Study;" Attachment S "Rules to Allocate Responsibility for the Cost of New Interconnection Facilities;" Attachment X "Standard Large Facilities Interconnection Procedure;" Attachment Z "Small Generator Interconnection Procedures." NYISO Transmission Expansion and Interconnection Manual. NYISO System Reliability Impact Study Criteria and Procedures. | No | bar: GO; TO
FAC-002-3 | R2 thru R5 | The Generator Owner, Transmission Owner, Distribution Provider seeking to interconnect new generation Facilities, or to materially modify existing interconnections of generation Facilities, shall coordinate and cooperate on studies with its Transmission Planner or Planning Coordinator, including but not limited to the provision of data as described in R1, Parts 1.1-1.4. See Standard for R3, R4, and R5. | DP: DP; GO: GO; TO: TO | Compliance covered by the NYISO TIP and SGIP process and participation by MPs in the NYISO Class Year Working Groups and in attending Interconnection Study Scoping Meetings. | Maintain assessments and reports regarding specific interconnection facilities | NYISO OATT - Sections 3.7, 3.9, 3.11, 4.5, Attachment D "Methodology for Completing a System Impact Study;" Attachment S "Rules to Allocate Responsibility for the Cost of New Interconnection Facilities;" Attachment X "Standard Large Facilities Interconnection Procedure;" Attachment Z "Small Generator Interconnection Procedures." NYISO Transmission Expansion and Interconnection Manual. NYISO System Reliability Impact Study Criteria and Procedures. | No
FAC-003-4 | R1. | Each applicable Transmission Owner and applicable Generator Owner shall manage vegetation to prevent encroachments into the MVCD of its applicable line(s) which are either an element of an IROL, or an element of a Major WECC Transfer Path; operating within their Rating and all Rated Electrical Operating Conditions of the types shown below: [See Standard for further information] | [11 empty] | The NYISO notifies entities that own lines that are part of an IROL. | Registered Entities must meet the requirements of this standard. | NYISO Emergency Operations Manual Table A.6 NYISO Seasonal Operating Studies | Yes | bar: GO; TO
FAC-008-5 | R8. | Each Transmission Owner (and each Generator Owner subject to Requirement R2) shall provide requested information as specified below (for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities) to its associated Reliability Coordinator(s), Planning Coordinator(s), Transmission Planner(s), Transmission Owner(s) and Transmission Operator(s): See Standard for further information | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Registered Entities must independently meet the requirements of this standard. | NYISO Reliability Analysis Data Manual New York Power Pool Tie-line Rating Guide Dated 1995 | No | bar: GO; TO
MOD-025-2 | R1, R2 | Each Generator Owner shall provide its Transmission Planner with verification of the Real and Reactive Power capability of its applicable Facilities in accordance with R1 and R2. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Ancillary Services Manual NYISO Installed Capacity Manual | No | bar: GO
MOD-025-2 | R3. | Each Transmission Owner shall provide its Transmission Planner with verification of the Reactive Power capability of its applicable Facilities in accordance with R3. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Ancillary Services Manual NYISO Installed Capacity Manual | No | bar: TO
MOD-031-3 | R2. | Each Applicable Entity identified in a data request shall provide the data requested by its Planning Coordinator or Balancing Authority in accordance with the data request issued pursuant to Requirement R1. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Load Forecast Manual NYISO Emergency Demand Response Program Manual NYISO Gold Book | Yes | bar: DP
MOD-032-1 | R2 | R2. Each Balancing Authority, Generator Owner, Load Serving Entity, Resource Planner, Transmission Owner, and Transmission Service Provider shall provide steady-state, dynamics, and short circuit modeling data to its Transmission Planner(s) and Planning Coordinator(s) according to the data requirements and reporting procedures developed by its Planning Coordinator and Transmission Planner in Requirement R1. For data that has not changed since the last submission, a written confirmation that the data has not changed is sufficient. | [11 empty] | Registered Entities must follow the requirement as stated. The requirement is supported by NYISO documents. | Provide appropriate data to the NYISO. | NYISO Reliability Analysis Data Manual | No | bar: DP to GO
PRC-002-3 | R6 | Each Transmission Owner shall have DDR data to determine the following electrical quantities for each BES Element it owns for which it received notification as identified in Requirement R5 See Standard for further information | [11 empty] | The NYISO conducts the required assessment and notifies the affected entities. | Comply with the Standard | n/a | Yes | bar: GO; TO
PRC-002-3 | R8. | Each Transmission Owner and Generator Owner responsible for DDR data for the BES Elements identified in Requirement R5 shall have continuous data recording and storage. If the equipment was installed prior to the effective date of this standard and is not capable of continuous recording, triggered records must meet the following: See Standard for further information. | [11 empty] | The NYISO conducts the required assessment and notifies the affected entities. | Comply with the Standard | n/a | Yes | bar: GO; TO
PRC-006-5 | R8. | Each UFLS entity shall provide data to its Planning Coordinator(s) according to the format and schedule specified by the Planning Coordinator(s) to support maintenance of each Planning Coordinator’s UFLS database. | [11 empty] | NYISO specifies the format for data submittals | UFLS Entities provide the data in the specified format. | NYISO System Protection Manual | yes | bar: DP; TO
PRC-010-2 | R2 | Each UVLS entity shall adhere to the UVLS Program specifications and implementation schedule determined by its Planning Coordinator or Transmission Planner associated with UVLS Program development per Requirement R1 or with any Corrective Action Plans per Requirement R5. | [11 empty] | NYISO has responded that New York does not operate a UVLS program | Registered Entities need to respond independently |  | No | bar: DP; TO
PRC-011-0 | R1. | The Transmission Owner and Distribution Provider that owns a UVLS system shall have a UVLS equipment maintenance and testing program in place. This program shall include: See Standard for further information. | [11 empty] | NYISO has responded that New York does not operate a UVLS program | Registered Entities need to respond independently |  | No | bar: DP; TO
PRC-012-2 | All | R1. Prior to placing a new or functionally modified RAS in service or retiring an existing RAS, each RAS-entity shall provide the information identified in Attachment 1 for review to the Reliability Coordinator(s) where the RAS is located. | DP: DP; GO: GO; RC: RC; TO: TO | NPCC has the lead in reviewing and approving RAS on behalf of NPCC RCs |  | NPCC Directory 7 - Special Protection Systems Appendix B NPCC Directory 4 - System Protection Criteria Appendix A | No
PRC-027-1 | R1 | R1. Each Transmission Owner, Generator Owner, and Distribution Provider shall establish a process for developing new and revised Protection System settings for BES Elements, such that the Protection Systems operate in the intended sequence during Faults. The process shall include: 1.3. For Protection System settings applied on BES Elements that electrically join Facilities owned by separate functional entities (Transmission Owners, Generator Owners, and Distribution Providers), provisions to: 1.3.1. Provide the proposed Protection System settings to the owner(s) of the electrically joined Facilities. 1.3.2. Respond to any owner(s) that provided its proposed Protection System settings pursuant to Requirement R1, Part 1.3.1 by identifying any coordination issue(s) or affirming that no coordination issue(s) were identified. 1.3.3. Verify that identified coordination issue(s) associated with the proposed Protection System settings for the associated BES Elements are addressed prior to implementation. 1.3.4. Communicate with the other owner(s) of the electrically joined Facilities regarding revised Protection System settings resulting from unforeseen circumstances that arise during implementation or commissioning, Misoperation investigations, maintenance activities, or emergency replacements required as a result of Protection System component failure. | DP: DP; GO: GO; TO: TO | Registered Entities should coordinate through the interconnecting TO | Notify the interconnecting TO as supported by NYISO documents. | NYISO Transmission Dispatch Manual Section 2.2.3. | No
TOP-001-5 | R3. | Each Balancing Authority, Generator Operator, and Distribution Provider shall comply with each Operating Instruction issued by its Transmission Operator(s), unless such action cannot be physically implemented or it would violate safety, equipment, regulatory, or statutory requirements. | DP: DP; GOP: GOP | Each Registered Entity must perform the actions as described in the Standard. | Each Registered Entity must perform the actions as described in the Standard. | NYISO OATT Section 2.1 - Term and Effectiveness, Section 4 - Network Integration Transmission Service NYISO MST Article 3 - Term and Effectiveness, Article 5 -Control Area Services: Rights and Obligations NYISO Emergency Operating Manual Section 1.1 NYISO Transmission and Dispatching Manual Sections 2.2.3, 2.2.4 NYISO Agreement Article 2: Scope and Parties, Article 6: Duties of the ISO, 6.01, 6.02, 6.03 NYISO-Transmission Owners Agreement Article 2: Responsibilities of the Transmission Owners 2.01, 2.02, 2.03, 2.04 | No
TOP-003-5 | R5 | Each Transmission Operator, Balancing Authority, Generator Owner, Generator Operator, Transmission Owner, and Distribution Provider receiving a data specification in Requirement R3 or R4 shall satisfy the obligations of the documented specificationsusing: 5.1. A mutually agreeable format 5.2. A mutually agreeable process for resolving data conflicts 5.3. A mutually agreeable security protocol | DP: DP; GO: GO; GOP: GOP; TO: TO |  | Each Registered Entity must perform the actions as described in the Standard. | NYISO Data Specification NY LCC Data Specification | No