Eastern Generation Comments on 2023 Interconnection Reform 4-3-23 TPAS Presentation

Eastern Generation would like to submit the following comments on the 2023 Interconnection Reform TPAS presentation given on April 3rd, 2023:

• If SRIS phase is eliminated, increased CTO transparency with regard to providing substation design info will be crucial to allow third parties to perform similar studies for developers.

o CTOs should publish a list of substations in their service area, listing available capacity and ability to expand. This would allow developers better decide on POIs before entering the queue.

o Processes should be implemented to allow developers to request CEII drawings (General Arrangements and Single Lines) from the CTO prior to entering the queue.

• How does the proposed process affect the Small Generator Interconnection Process?

Thank you,

Aaron Steppa

Senior Electrical Engineer

Eastern Generation LLC

(w) 443-622-1867

(e) asteppa@easterngen.com