## Validation Questionnaire
Dependable Maximum Net Capability Audit Form
Generator Name
PTID
Capability Season/Year
Test Date
Fuel Type Used During Test
Name of Person Providing Information
Phone
Email
Form Completion Date
REQUIRED
1 | Does this test show a net change +/- 1% of the previoius capability season approved test? If so, why does this test differ?
2 | Were there any equipment updates or malfunctions in the past year that impacted DMNC test outcomes? If so, please explain and quantify that impact:
3 | Describe ambient conditions, humidity, and cloud cover during DMNC test hour(s):
4 | Were any actions taken that differ from the normal day to day operation of the unit in preparation for and/or during DMNC test hour(s)? For example, please state if unique equipment or configurations were used, if any consultants were used, or any other similar actions were taken. If any action was taken please explain why:
5 | Does the unit use either evaporative coolers or inlet fogging equipment?
5a. Is the efficicency of evaporative cooler known? Describe assumptions:
6 | Is this a multi-unit station?
6a. Were all units tested simultaneously? If not, how are the individual units adjusted for station-level limitations?
6b. Do separate PTIDs share equipment (such as Once Through Cooling System, Gas Compressors, ACC, Other) that impacts the station-level DMNC results? Please Explain:
7 | Does this unit offer Emergency MW capability?
7a. Does this unit's configuration during DMNC testing require greater than 5 minutes to access capacity in real-time? Procedural or configurational? Please explain:
9 | Does the unit provide host steam?
9a. What is the Nameplate Rating of all Steam Turbines at the station?
9b. Is the steam load curtailable?
9c. Is this unit linked to an active host steam supply agreement(s)? If yes, please explain:
9d. Please provide readings for export steam to host facility (or facilities) during DMNC test by steam quality (ie. High/intermediate/low pressure).
10 | Is this unit a BTM:NG Resource?
10a. Describe Station Load and MW requirements:
10b. Does this unit participate in the Station Power Program?
OPTIONAL
1 | Does this station have water temperature restrictions?
1a. What were the inlet water temperature and discharge temperatures measured during the test?
1b. Does this unit have environmental permits pertaining to water temperature (discharge water temperature limitations and inlet-to-discharge temperature spread)?
1c. Please explain any environmental permit limitations that could limit generator capability, include permitted limitations.
2 | Is this a Once-Through-Cooled unit located on the Hudson River or Atlantic Coast? If yes, please answer 2a.
2a. What were the tidal readings on the day of DMNC test? Please provide 24 hours of readings.
3 | Does the unit have applicable Firm Gas Contracts?
3a. Please explain firm fuel supplier arrangements.
3b. Is this a multi-fueled unit? Please explain alternate fuel supplier arrangements:
END
G
H
Instructions for Market Participant:
Please provide applicable responses in the light blue shaded cells in the table below. Enter N/A if the question does not apply to the unit. Please answer for individual PTID and send your questions and responses to: dmncattachments @nyiso.com *Note that all Required questions must be answered for this Questionnaire to be deemed complete.