## I-1a
Table I-1a: NYCA Baseline Energy and Demand Forecasts
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
2024 Long Term Forecast1 - 2024 to 2054
Energy - GWh |  |  |  | Summer Peak Demand2 - MW |  |  |  | Winter Peak Demand2 - MW
Year | Low3 | Baseline4 | High3 | Year | Low3 | Baseline4, 5 | High3 | Year | Low3 | Baseline4 | High3
2023 |  | 149518 |  | 2023 |  | 31288 |  | 2023-24 |  | 23370
2024 | 149160 | 150540 | 151640 | 2024 | 31270 | 31541 | 31790 | 2024-25 | 23570 | 23800 | 24050
2025 | 148500 | 151020 | 154790 | 2025 | 31200 | 31650 | 32200 | 2025-26 | 23820 | 24210 | 24960
2026 | 149430 | 152990 | 159050 | 2026 | 31260 | 31900 | 32910 | 2026-27 | 24120 | 24730 | 25790
2027 | 149660 | 154530 | 162960 | 2027 | 31230 | 32110 | 33450 | 2027-28 | 24410 | 25270 | 26690
2028 | 149830 | 155100 | 167010 | 2028 | 31190 | 32130 | 33940 | 2028-29 | 24720 | 25760 | 27610
2029 | 150350 | 156660 | 171340 | 2029 | 31170 | 32340 | 34400 | 2029-30 | 25090 | 26350 | 28560
2030 | 151560 | 159050 | 176470 | 2030 | 31220 | 32580 | 34910 | 2030-31 | 25550 | 27020 | 29650
2031 | 153600 | 162360 | 182520 | 2031 | 31350 | 32880 | 35480 | 2031-32 | 26090 | 27900 | 30960
2032 | 156370 | 166530 | 189410 | 2032 | 31560 | 33320 | 36130 | 2032-33 | 26780 | 28850 | 32540
2033 | 159560 | 171380 | 196920 | 2033 | 31800 | 33830 | 36810 | 2033-34 | 27630 | 29950 | 34350
2034 | 162840 | 176040 | 204840 | 2034 | 32030 | 34210 | 37480 | 2034-35 | 28660 | 31480 | 36370
2035 | 166110 | 180640 | 213150 | 2035 | 32230 | 34520 | 38150 | 2035-36 | 29790 | 32990 | 38570
2036 | 169340 | 185190 | 221970 | 2036 | 32420 | 34870 | 38820 | 2036-37 | 31010 | 34490 | 40850
2037 | 172600 | 189800 | 231340 | 2037 | 32650 | 35280 | 39530 | 2037-38 | 32270 | 36100 | 43260
2038 | 175990 | 194470 | 241230 | 2038 | 32900 | 35700 | 40250 | 2038-39 | 33590 | 37740 | 45730
2039 | 179430 | 199390 | 251330 | 2039 | 33140 | 36100 | 40980 | 2039-40 | 34910 | 39520 | 48360
2040 | 182850 | 204080 | 261290 | 2040 | 33360 | 36450 | 41670 | 2040-41 | 36220 | 41200 | 50980
2041 | 186190 | 208540 | 270950 | 2041 | 33550 | 36740 | 42330 | 2041-42 | 37420 | 42850 | 53520
2042 | 189430 | 212740 | 280190 | 2042 | 33700 | 37000 | 42950 | 2042-43 | 38520 | 44200 | 55820
2043 | 192510 | 216910 | 288960 | 2043 | 33830 | 37210 | 43540 | 2043-44 | 39480 | 45410 | 57910
2044 | 195400 | 220660 | 297160 | 2044 | 33930 | 37400 | 44100 | 2044-45 | 40320 | 46430 | 59770
2045 | 198000 | 223970 | 304610 | 2045 | 34010 | 37570 | 44630 | 2045-46 | 41040 | 47400 | 61470
2046 | 200200 | 226610 | 311260 | 2046 | 34050 | 37710 | 45130 | 2046-47 | 41650 | 48230 | 62920
2047 | 202080 | 228970 | 317120 | 2047 | 34090 | 37820 | 45590 | 2047-48 | 42130 | 48880 | 64140
2048 | 203560 | 230680 | 322220 | 2048 | 34110 | 37910 | 46000 | 2048-49 | 42480 | 49350 | 65100
2049 | 204720 | 232030 | 326700 | 2049 | 34130 | 38000 | 46390 | 2049-50 | 42710 | 49640 | 65870
2050 | 205600 | 232860 | 330570 | 2050 | 34140 | 38080 | 46760 | 2050-51 | 42830 | 49840 | 66460
2051 | 206260 | 233690 | 333970 | 2051 | 34150 | 38160 | 47120 | 2051-52 | 42910 | 49950 | 66920
2052 | 206680 | 234030 | 336890 | 2052 | 34150 | 38210 | 47460 | 2052-53 | 42950 | 50040 | 67280
2053 | 206890 | 234210 | 338920 | 2053 | 34150 | 38260 | 47690 | 2053-54 | 42980 | 50080 | 67520
2054 | 206950 | 234110 | 340290 | 2054 | 34140 | 38300 | 47880 | 2054-55 | 42980 | 50110 | 67670
Average Annual Growth - Percent
Period | Low | Baseline | High | Period | Low | Baseline | High | Period | Low | Baseline | High
2024-29 | 0.1596% | 0.8131% | 2.598% | 2024-29 | -0.06396% | 0.5066% | 1.642% | 2024-29 | 1.29% | 2.143% | 3.751%
2029-34 | 1.661% | 2.474% | 3.91% | 2029-34 | 0.5518% | 1.156% | 1.791% | 2029-34 | 2.846% | 3.894% | 5.469%
2034-39 | 2.038% | 2.653% | 4.539% | 2034-39 | 0.6931% | 1.105% | 1.868% | 2034-39 | 4.361% | 5.108% | 6.593%
2039-44 | 1.78% | 2.134% | 3.647% | 2039-44 | 0.4768% | 0.7202% | 1.523% | 2039-44 | 3.099% | 3.497% | 4.719%
2024-34 | 0.9171% | 1.694% | 3.508% | 2024-34 | 0.243% | 0.8462% | 1.79% | 2024-34 | 2.16% | 3.227% | 5.123%
2034-44 | 2% | 2.535% | 4.507% | 2034-44 | 0.5932% | 0.9325% | 1.766% | 2034-44 | 4.068% | 4.749% | 6.434%
2044-54 | 0.5911% | 0.6095% | 1.451% | 2044-54 | 0.06189% | 0.2406% | 0.8571% | 2044-54 | 0.6597% | 0.7926% | 1.322%
2024-44 | 1.55% | 2.329% | 4.798% | 2024-44 | 0.4253% | 0.9288% | 1.936% | 2024-44 | 3.553% | 4.754% | 7.426%
2024-54 | 1.291% | 1.85% | 4.147% | 2024-54 | 0.3059% | 0.7143% | 1.687% | 2024-54 | 2.745% | 3.685% | 6.046%
Notes
1. All results in the Section I tables include transmission & distribution losses.
2. Summer Capability period is from May 1 to October 31. Winter Capability period is from November 1 of the current year to April 30 of the next year.
3. The low and high columns reflect the Lower Demand and Higher Demand Scenario forecasts under expected weather conditions, which are summarized in Tables I-15 and I-16.
These do not reflect the 90th and 10th percentile forecasts due to weather, which are found in Tables I-6 and I-7.
4. Energy and peak figures for 2023 are weather-normalized. The values for the actual annual energy, summer peak, and winter peak are reported in Tables I-2, I-3a, and I-3b respectively.
5. The 2024 NYCA summer peak forecast is the same as the 2024 ICAP forecast.

## Notes
2024 Gold Book Higher Demand Scenario Tables Notes
The following higher demand scenario forecasts are the same as the baseline forecast:
Forecast | Tables
Energy Efficiency and Codes & Standards | I-8a,b,c
Behind-the-Meter Solar PV | I-9a,b,c,d
Behind-the-Meter Non-Solar Distributed Generation | I-10a,b,c
Energy Storage | I-12a,b,c

## I-16
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh | [10 empty] | Table I-16b: Summary of NYCA Higher Demand Scenario Summer Coincident Peak Demand Forecasts - MW | [10 empty] | Table I-16c: Summary of NYCA Higher Demand Scenario Winter Coincident Peak Demand Forecasts - MW
Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
|  | (-) | (-) | (-) | (+) | (+) | (+) | (+) | (+) | =a-b-c-d+e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i
| Econometric Energy | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | Storage Net Energy Consumption | EV Energy | Building Electrification | Large Load Projects | Electrolysis | Higher Demand Scenario Annual Energy Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Higher Demand Scenario Summer Peak Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Higher Demand Scenario Winter Peak Forecast
2024 | 157927.5625 | 2422 | 6285 | 2013 | 115.4375 | 1203 | 254 | 2860 | 0 | 151640 | 2024 | 33741 | 406 | 1505 | 351 | 239 | 169 | 13 | 368 | 0 | 31790 | 2024-25 | 24080 | 349 | 0 | 351 | 239 | 313 | 174 | 422 | 0 | 24050
2025 | 159981.5625 | 4973 | 7402 | 2068 | 247.4375 | 1802 | 1052 | 6150 | 0 | 154790 | 2025 | 34150 | 864 | 1503 | 361 | 297 | 253 | 42 | 780 | 0 | 32200 | 2025-26 | 24565 | 722 | 0 | 361 | 297 | 434 | 358 | 983 | 0 | 24960
2026 | 160078.5625 | 7288 | 8459 | 2101 | 352.4375 | 2616 | 2021 | 11830 | 0 | 159050 | 2026 | 34350 | 1300 | 1496 | 367 | 356 | 373 | 87 | 1619 | 0 | 32910 | 2026-27 | 24645 | 1065 | 0 | 367 | 356 | 642 | 562 | 1729 | 0 | 25790
2027 | 161279.5625 | 9588 | 9448 | 2133 | 618.4375 | 3707 | 3194 | 15330 | 0 | 162960 | 2027 | 34825 | 1773 | 1482 | 372 | 423 | 551 | 147 | 1977 | 0 | 33450 | 2027-28 | 25175 | 1414 | 0 | 372 | 423 | 926 | 821 | 1977 | 0 | 26690
2028 | 163565.5625 | 11832 | 10329 | 2164 | 713.4375 | 5027 | 4609 | 17420 | 0 | 167010 | 2028 | 35262 | 2241 | 1469 | 378 | 492 | 787 | 214 | 2257 | 0 | 33940 | 2028-29 | 25508 | 1759 | 0 | 378 | 492 | 1278 | 1196 | 2257 | 0 | 27610
2029 | 165535.5625 | 14073 | 11089 | 2193 | 810.4375 | 6581 | 6163 | 18500 | 1105 | 171340 | 2029 | 35715 | 2706 | 1439 | 383 | 562 | 1068 | 296 | 2411 | 0 | 34400 | 2029-30 | 25803 | 2112 | 0 | 383 | 562 | 1697 | 1706 | 2411 | 0 | 28560
2030 | 167105.5625 | 16319 | 11723 | 2222 | 907.4375 | 8392 | 8038 | 19980 | 2311 | 176470 | 2030 | 36073 | 3146 | 1394 | 388 | 638 | 1391 | 390 | 2622 | 0 | 34910 | 2030-31 | 25979 | 2470 | 0 | 388 | 638 | 2161 | 2384 | 2622 | 0 | 29650
2031 | 169656.5625 | 18551 | 12238 | 2251 | 995.4375 | 10429 | 10198 | 20780 | 3501 | 182520 | 2031 | 36534 | 3593 | 1342 | 392 | 714 | 1755 | 495 | 2737 | 0 | 35480 | 2031-32 | 26253 | 2840 | 0 | 392 | 714 | 2671 | 3245 | 2737 | 0 | 30960
2032 | 172335.5625 | 20760 | 12652 | 2278 | 1080.4375 | 12698 | 12734 | 21590 | 4662 | 189410 | 2032 | 37040 | 4041 | 1282 | 397 | 794 | 2143 | 609 | 2852 | 0 | 36130 | 2032-33 | 26236 | 3221 | 0 | 397 | 794 | 3213 | 4651 | 2852 | 0 | 32540
2033 | 174852.5625 | 22896 | 12990 | 2306 | 1171.4375 | 15244 | 15671 | 22390 | 5783 | 196920 | 2033 | 37515 | 4464 | 1224 | 402 | 871 | 2557 | 732 | 2967 | 0 | 36810 | 2033-34 | 26276 | 3602 | 0 | 402 | 871 | 3774 | 6208 | 2967 | 0 | 34350
2034 | 177604.5625 | 24891 | 13252 | 2329 | 1259.4375 | 18092 | 18849 | 22600 | 6907 | 204840 | 2034 | 38022 | 4862 | 1168 | 406 | 953 | 2983 | 868 | 2996 | 0 | 37480 | 2034-35 | 26895 | 3974 | 0 | 406 | 953 | 4360 | 7452 | 2996 | 0 | 36370
2035 | 179584.5625 | 26747 | 13497 | 2352 | 1347.4375 | 21277 | 22510 | 22800 | 8227 | 213150 | 2035 | 38460 | 5228 | 1108 | 410 | 1034 | 3434 | 1011 | 3025 | 0 | 38150 | 2035-36 | 26904 | 4338 | 0 | 410 | 1034 | 4959 | 9464 | 3025 | 0 | 38570
2036 | 181353.5625 | 28464 | 13750 | 2375 | 1434.4375 | 24455 | 26587 | 22800 | 9929 | 221970 | 2036 | 38899 | 5570 | 1042 | 414 | 1115 | 3879 | 1158 | 3025 | 0 | 38820 | 2036-37 | 27183 | 4693 | 0 | 414 | 1115 | 5553 | 11311 | 3025 | 0 | 40850
2037 | 182724.5625 | 30063 | 13974 | 2396 | 1524.4375 | 27598 | 30922 | 22800 | 12204 | 231340 | 2037 | 39353 | 5888 | 988 | 418 | 1193 | 4329 | 1310 | 3025 | 0 | 39530 | 2037-38 | 27442 | 5051 | 0 | 418 | 1193 | 6137 | 13318 | 3025 | 0 | 43260
2038 | 183877.5625 | 31616 | 14185 | 2419 | 1613.4375 | 30689 | 35609 | 22800 | 14861 | 241230 | 2038 | 39818 | 6192 | 937 | 421 | 1273 | 4770 | 1460 | 3025 | 0 | 40250 | 2038-39 | 28105 | 5416 | 0 | 421 | 1273 | 6705 | 15005 | 3025 | 0 | 45730
2039 | 184885.5625 | 33125 | 14384 | 2442 | 1700.4375 | 33693 | 40597 | 22800 | 17605 | 251330 | 2039 | 40286 | 6491 | 877 | 426 | 1352 | 5204 | 1611 | 3025 | 0 | 40980 | 2039-40 | 28120 | 5782 | 0 | 426 | 1352 | 7262 | 17513 | 3025 | 0 | 48360
2040 | 186021.5625 | 34614 | 14555 | 2461 | 1788.4375 | 36589 | 45582 | 22800 | 20139 | 261290 | 2040 | 40684 | 6756 | 811 | 429 | 1427 | 5622 | 1762 | 3025 | 0 | 41670 | 2040-41 | 28633 | 6149 | 0 | 429 | 1427 | 7788 | 19539 | 3025 | 0 | 50980
2041 | 187314.5625 | 36065 | 14722 | 2480 | 1881.4375 | 39349 | 50500 | 22800 | 22372 | 270950 | 2041 | 41083 | 7026 | 745 | 433 | 1506 | 6026 | 1906 | 3025 | 0 | 42330 | 2041-42 | 28955 | 6508 | 0 | 433 | 1506 | 8296 | 21691 | 3025 | 0 | 53520
2042 | 188616.5625 | 37488 | 14870 | 2498 | 1971.4375 | 41961 | 55268 | 22800 | 24429 | 280190 | 2042 | 41427 | 7269 | 679 | 435 | 1577 | 6410 | 2048 | 3025 | 0 | 42950 | 2042-43 | 29329 | 6871 | 0 | 435 | 1577 | 8775 | 23574 | 3025 | 0 | 55820
2043 | 189981.5625 | 38822 | 15005 | 2517 | 2062.4375 | 44417 | 59660 | 22800 | 26383 | 288960 | 2043 | 41785 | 7513 | 623 | 439 | 1647 | 6771 | 2181 | 3025 | 0 | 43540 | 2043-44 | 29598 | 7227 | 0 | 439 | 1647 | 9211 | 25389 | 3025 | 0 | 57910
2044 | 191420.5625 | 40075 | 15130 | 2537 | 2148.4375 | 46710 | 63576 | 22800 | 28247 | 297160 | 2044 | 42085 | 7718 | 560 | 442 | 1711 | 7113 | 2308 | 3025 | 0 | 44100 | 2044-45 | 29986 | 7569 | 0 | 442 | 1711 | 9613 | 26868 | 3025 | 0 | 59770
2045 | 192905.5625 | 41275 | 15245 | 2550 | 2239.4375 | 48809 | 67014 | 22800 | 29912 | 304610 | 2045 | 42391 | 7917 | 502 | 445 | 1771 | 7422 | 2427 | 3025 | 0 | 44630 | 2045-46 | 30327 | 7907 | 0 | 445 | 1771 | 9981 | 28260 | 3025 | 0 | 61470
2046 | 194622.5625 | 42454 | 15352 | 2562 | 2327.4375 | 50694 | 69834 | 22800 | 31350 | 311260 | 2046 | 42718 | 8111 | 450 | 446 | 1826 | 7665 | 2555 | 3025 | 0 | 45130 | 2046-47 | 30712 | 8249 | 0 | 446 | 1826 | 10257 | 29447 | 3025 | 0 | 62920
2047 | 196441.5625 | 43593 | 15444 | 2576 | 2413.4375 | 52338 | 72120 | 22800 | 32620 | 317120 | 2047 | 42949 | 8286 | 403 | 449 | 1875 | 7884 | 2745 | 3025 | 0 | 45590 | 2047-48 | 31214 | 8587 | 0 | 449 | 1875 | 10495 | 30317 | 3025 | 0 | 64140
2048 | 198156.5625 | 44713 | 15544 | 2589 | 2500.4375 | 53743 | 74074 | 22800 | 33792 | 322220 | 2048 | 43352 | 8450 | 364 | 451 | 1922 | 8072 | 2738 | 3025 | 0 | 46000 | 2048-49 | 31822 | 8919 | 0 | 451 | 1922 | 10695 | 30850 | 3025 | 0 | 65100
2049 | 200215.5625 | 45821 | 15628 | 2603 | 2583.4375 | 54905 | 75342 | 22800 | 34906 | 326700 | 2049 | 43698 | 8620 | 331 | 454 | 1964 | 8228 | 2808 | 3025 | 0 | 46390 | 2049-50 | 32323 | 9251 | 0 | 454 | 1964 | 10855 | 31336 | 3025 | 0 | 65870
2050 | 202032.5625 | 46909 | 15696 | 2615 | 2667.4375 | 55879 | 76454 | 22800 | 35957 | 330570 | 2050 | 44053 | 8776 | 304 | 456 | 2001 | 8357 | 2862 | 3025 | 0 | 46760 | 2050-51 | 32803 | 9565 | 0 | 456 | 2001 | 10984 | 31670 | 3025 | 0 | 66460
2051 | 204059.5625 | 47961 | 15769 | 2628 | 2749.4375 | 56522 | 77230 | 22800 | 36967 | 333970 | 2051 | 44430 | 8925 | 278 | 459 | 2036 | 8458 | 2905 | 3025 | 0 | 47120 | 2051-52 | 33455 | 9871 | 0 | 459 | 2036 | 11081 | 31725 | 3025 | 0 | 66920
2052 | 205894.5625 | 48995 | 15840 | 2642 | 2831.4375 | 56976 | 77914 | 22800 | 37951 | 336890 | 2052 | 44849 | 9064 | 267 | 461 | 2063 | 8534 | 2907 | 3025 | 0 | 47460 | 2052-53 | 34041 | 10171 | 0 | 461 | 2063 | 11151 | 31758 | 3025 | 0 | 67280
2053 | 207319.5625 | 50040 | 15905 | 2655 | 2911.4375 | 57286 | 78267 | 22800 | 38936 | 338920 | 2053 | 45159 | 9212 | 256 | 464 | 2093 | 8588 | 2943 | 3025 | 0 | 47690 | 2053-54 | 34507 | 10480 | 0 | 464 | 2093 | 11195 | 31830 | 3025 | 0 | 67520
2054 | 208311.5625 | 51033 | 15950 | 2668 | 2995.4375 | 57596 | 78566 | 22800 | 39672 | 340290 | 2054 | 45500 | 9348 | 253 | 465 | 2120 | 8628 | 2913 | 3025 | 0 | 47880 | 2054-55 | 34908 | 10781 | 0 | 465 | 2120 | 11241 | 31862 | 3025 | 0 | 67670
(a) - Econometric Energy Forecast - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Summer Peak Demand - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Winter Peak Demand - Reflects impacts of projected weather trendsand economic growth
(b) - Table I-8a: Energy Efficiency and Codes & Standards Energy Impacts, Relative to 2023 | [10 empty] | (b) - Table I-8b: Energy Efficiency and Codes & Standards Summer Coincident Peak Demand Reductions, Relative to 2023 | [10 empty] | (b) - Table I-8c: Energy Efficiency and Codes & Standards Winter Coincident Peak Demand Reductions, Relative to 2023-24
(c) - Table I-9b: Solar PV Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (c) - Table I-9c: Solar PV Impacts, Behind-the-Meter, Total Reductions in Summer Coincident Peak Demand | [10 empty] | (c) - The forecast of solar PV-related reductions to the winter peak is zero because the system typically peaks after sunset
(d) - Table I-10b: Non-Solar Distributed Generation Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (d) - Table I-10d: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand | [10 empty] | (d) - Table I-10c: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand
(e) - Table I-12b: Storage Annual Net Energy Consumption, both wholesale and behind-the-meter (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources)
(f) - Table I-11b-H: Electric Vehicle Energy Usage | [10 empty] | (f) - Table I-11c-H: Electric Vehicle Summer Coincident Peak Demand | [10 empty] | (f) - Table I-11d-H: Electric Vehicle Winter Coincident Peak Demand
(g) - Table I-13a-H: Building Electrification Energy Usage - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13b-H: Building Electrification Summer Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13c-H: Building Electrification Winter Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses
(h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth
(i) - Table I-22-H: Electrolysis Annual Energy Impacts | [10 empty] | (i) - There are no electrolysis peak demand impacts as hydrogen production is expected to occur non-coincident with system peak electric load | [10 empty] | (i) - There are no electrolysis peak demand impacts as hydrogen production is expected to occur non-coincident with system peak electric load
(j) - Table I-2-H: Higher Demand Scenario Annual Energy Forecast | [10 empty] | (j) - Table I-3a-H: Higher Demand Scenario Summer Coincident Peak Demand Forecast | [10 empty] | (j) - Table I-3b-H: Higher Demand Scenario Winter Coincident Peak Demand Forecast

## I-2-H
Table I-2-H: Higher Demand Scenario Annual Energy Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 15570 | 9360 | 15030 | 5790 | 7240 | 11370 | 9290 | 2780 | 5540 | 49710 | 19960 | 151640
2025 | 16630 | 10140 | 15290 | 6210 | 7020 | 11140 | 9390 | 2780 | 5610 | 50390 | 20190 | 154790
2026 | 17090 | 10370 | 15500 | 8760 | 6880 | 11220 | 9480 | 2790 | 5660 | 50920 | 20380 | 159050
2027 | 17530 | 10530 | 15920 | 10130 | 6750 | 11500 | 9640 | 2820 | 5740 | 51720 | 20680 | 162960
2028 | 17780 | 10570 | 16670 | 10960 | 6730 | 12030 | 9870 | 2870 | 5840 | 52650 | 21040 | 167010
2029 | 18010 | 10630 | 17790 | 11290 | 6870 | 12510 | 10180 | 2930 | 5960 | 53690 | 21480 | 171340
2030 | 18370 | 10800 | 19210 | 11430 | 7150 | 12960 | 10570 | 3020 | 6110 | 54850 | 22000 | 176470
2031 | 18930 | 11110 | 20780 | 11580 | 7560 | 13380 | 11030 | 3120 | 6290 | 56130 | 22610 | 182520
2032 | 19630 | 11530 | 22380 | 11740 | 8050 | 13930 | 11560 | 3240 | 6500 | 57530 | 23320 | 189410
2033 | 20450 | 12040 | 23910 | 11910 | 8620 | 14580 | 12140 | 3380 | 6740 | 59040 | 24110 | 196920
2034 | 21360 | 12600 | 25320 | 12090 | 9240 | 15290 | 12770 | 3530 | 7000 | 60650 | 24990 | 204840
2035 | 22330 | 13200 | 26610 | 12290 | 9930 | 16050 | 13460 | 3690 | 7270 | 62370 | 25950 | 213150
2036 | 23380 | 13840 | 27870 | 12530 | 10710 | 16860 | 14200 | 3860 | 7560 | 64190 | 26970 | 221970
2037 | 24510 | 14520 | 29200 | 12820 | 11560 | 17720 | 14990 | 4030 | 7860 | 66100 | 28030 | 231340
2038 | 25730 | 15250 | 30590 | 13150 | 12490 | 18630 | 15820 | 4210 | 8170 | 68070 | 29120 | 241230
2039 | 26980 | 16000 | 32010 | 13490 | 13440 | 19560 | 16660 | 4390 | 8480 | 70090 | 30230 | 251330
2040 | 28210 | 16740 | 33410 | 13810 | 14370 | 20470 | 17500 | 4570 | 8800 | 72090 | 31320 | 261290
2041 | 29400 | 17450 | 34740 | 14100 | 15250 | 21360 | 18320 | 4760 | 9110 | 74060 | 32400 | 270950
2042 | 30520 | 18130 | 35990 | 14370 | 16080 | 22220 | 19110 | 4930 | 9420 | 75980 | 33440 | 280190
2043 | 31570 | 18770 | 37170 | 14620 | 16860 | 23020 | 19870 | 5110 | 9710 | 77820 | 34440 | 288960
2044 | 32550 | 19360 | 38250 | 14860 | 17580 | 23780 | 20600 | 5270 | 9980 | 79550 | 35380 | 297160
2045 | 33420 | 19890 | 39230 | 15070 | 18230 | 24460 | 21280 | 5410 | 10240 | 81150 | 36230 | 304610
2046 | 34190 | 20360 | 40100 | 15250 | 18800 | 25080 | 21900 | 5540 | 10460 | 82580 | 37000 | 311260
2047 | 34860 | 20770 | 40870 | 15420 | 19290 | 25620 | 22460 | 5640 | 10650 | 83870 | 37670 | 317120
2048 | 35430 | 21130 | 41540 | 15560 | 19710 | 26100 | 22950 | 5730 | 10820 | 85000 | 38250 | 322220
2049 | 35930 | 21430 | 42140 | 15700 | 20080 | 26510 | 23390 | 5810 | 10970 | 86000 | 38740 | 326700
2050 | 36350 | 21690 | 42670 | 15820 | 20400 | 26880 | 23770 | 5870 | 11090 | 86880 | 39150 | 330570
2051 | 36720 | 21920 | 43140 | 15940 | 20690 | 27200 | 24100 | 5920 | 11190 | 87660 | 39490 | 333970
2052 | 37030 | 22110 | 43560 | 16050 | 20940 | 27470 | 24390 | 5960 | 11270 | 88350 | 39760 | 336890
2053 | 37240 | 22250 | 43850 | 16140 | 21110 | 27660 | 24590 | 5990 | 11330 | 88830 | 39930 | 338920
2054 | 37380 | 22340 | 44060 | 16190 | 21230 | 27780 | 24720 | 6010 | 11370 | 89160 | 40050 | 340290
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3a-H
Table I-3a-H: Higher Demand Scenario Summer Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 2759 | 1870 | 2640 | 710 | 1345 | 2341 | 2160 | 614 | 1338 | 11020 | 4993 | 31790
2025 | 2894 | 2003 | 2645 | 754 | 1331 | 2293 | 2175 | 621 | 1345 | 11140 | 4999 | 32200
2026 | 3002 | 2019 | 2693 | 1125 | 1296 | 2302 | 2197 | 627 | 1358 | 11270 | 5021 | 32910
2027 | 3049 | 2041 | 2754 | 1315 | 1274 | 2336 | 2225 | 635 | 1373 | 11400 | 5048 | 33450
2028 | 3057 | 2039 | 2844 | 1428 | 1261 | 2400 | 2262 | 645 | 1390 | 11530 | 5084 | 33940
2029 | 3048 | 2034 | 2977 | 1465 | 1259 | 2453 | 2308 | 656 | 1410 | 11660 | 5130 | 34400
2030 | 3052 | 2036 | 3137 | 1474 | 1267 | 2494 | 2361 | 670 | 1432 | 11800 | 5187 | 34910
2031 | 3077 | 2050 | 3299 | 1483 | 1283 | 2525 | 2421 | 685 | 1457 | 11940 | 5260 | 35480
2032 | 3118 | 2073 | 3453 | 1493 | 1306 | 2566 | 2487 | 702 | 1483 | 12100 | 5349 | 36130
2033 | 3171 | 2101 | 3585 | 1503 | 1337 | 2614 | 2558 | 720 | 1512 | 12260 | 5449 | 36810
2034 | 3230 | 2131 | 3685 | 1514 | 1370 | 2665 | 2627 | 738 | 1539 | 12430 | 5551 | 37480
2035 | 3291 | 2163 | 3762 | 1526 | 1403 | 2717 | 2694 | 755 | 1566 | 12620 | 5653 | 38150
2036 | 3354 | 2198 | 3835 | 1540 | 1438 | 2772 | 2762 | 771 | 1593 | 12800 | 5757 | 38820
2037 | 3419 | 2239 | 3901 | 1553 | 1475 | 2833 | 2835 | 788 | 1621 | 13000 | 5866 | 39530
2038 | 3483 | 2282 | 3973 | 1566 | 1515 | 2898 | 2913 | 804 | 1650 | 13190 | 5976 | 40250
2039 | 3547 | 2326 | 4044 | 1577 | 1557 | 2964 | 2992 | 820 | 1679 | 13390 | 6084 | 40980
2040 | 3610 | 2367 | 4103 | 1589 | 1598 | 3027 | 3068 | 836 | 1707 | 13580 | 6185 | 41670
2041 | 3671 | 2406 | 4163 | 1600 | 1638 | 3089 | 3142 | 851 | 1732 | 13760 | 6278 | 42330
2042 | 3731 | 2441 | 4225 | 1612 | 1677 | 3148 | 3213 | 864 | 1756 | 13920 | 6363 | 42950
2043 | 3787 | 2475 | 4282 | 1624 | 1716 | 3208 | 3282 | 877 | 1777 | 14070 | 6442 | 43540
2044 | 3841 | 2508 | 4338 | 1636 | 1754 | 3266 | 3349 | 888 | 1795 | 14210 | 6515 | 44100
2045 | 3892 | 2540 | 4380 | 1646 | 1791 | 3324 | 3414 | 898 | 1811 | 14350 | 6584 | 44630
2046 | 3938 | 2569 | 4433 | 1657 | 1823 | 3377 | 3473 | 908 | 1825 | 14480 | 6647 | 45130
2047 | 3978 | 2594 | 4469 | 1667 | 1851 | 3425 | 3526 | 916 | 1838 | 14620 | 6706 | 45590
2048 | 4013 | 2615 | 4500 | 1676 | 1873 | 3466 | 3574 | 924 | 1850 | 14750 | 6759 | 46000
2049 | 4044 | 2633 | 4531 | 1686 | 1891 | 3503 | 3619 | 931 | 1862 | 14880 | 6810 | 46390
2050 | 4071 | 2649 | 4558 | 1695 | 1905 | 3538 | 3662 | 938 | 1873 | 15010 | 6861 | 46760
2051 | 4096 | 2665 | 4578 | 1703 | 1918 | 3569 | 3702 | 945 | 1884 | 15150 | 6910 | 47120
2052 | 4119 | 2679 | 4606 | 1712 | 1930 | 3596 | 3738 | 951 | 1894 | 15280 | 6955 | 47460
2053 | 4134 | 2689 | 4617 | 1718 | 1939 | 3615 | 3764 | 955 | 1902 | 15370 | 6987 | 47690
2054 | 4146 | 2697 | 4631 | 1723 | 1946 | 3629 | 3781 | 958 | 1908 | 15450 | 7011 | 47880
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3b-H
Table I-3b-H: Higher Demand Scenario Winter Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 2260 | 1524 | 2528 | 883 | 1291 | 1935 | 1517 | 512 | 883 | 7420 | 3297 | 24050
2025-26 | 2426 | 1617 | 2560 | 1137 | 1306 | 1959 | 1556 | 517 | 901 | 7620 | 3361 | 24960
2026-27 | 2528 | 1658 | 2691 | 1396 | 1318 | 2009 | 1588 | 523 | 916 | 7750 | 3413 | 25790
2027-28 | 2634 | 1704 | 2817 | 1559 | 1339 | 2100 | 1641 | 533 | 938 | 7930 | 3495 | 26690
2028-29 | 2723 | 1745 | 2967 | 1642 | 1367 | 2218 | 1705 | 544 | 964 | 8140 | 3595 | 27610
2029-30 | 2806 | 1791 | 3137 | 1669 | 1404 | 2322 | 1781 | 554 | 993 | 8390 | 3713 | 28560
2030-31 | 2909 | 1848 | 3321 | 1679 | 1452 | 2414 | 1870 | 565 | 1027 | 8710 | 3855 | 29650
2031-32 | 3040 | 1922 | 3518 | 1690 | 1514 | 2506 | 1978 | 579 | 1068 | 9110 | 4035 | 30960
2032-33 | 3197 | 2011 | 3739 | 1703 | 1594 | 2622 | 2109 | 600 | 1120 | 9590 | 4255 | 32540
2033-34 | 3384 | 2121 | 3954 | 1715 | 1692 | 2766 | 2264 | 630 | 1185 | 10120 | 4519 | 34350
2034-35 | 3594 | 2247 | 4177 | 1730 | 1803 | 2931 | 2438 | 666 | 1258 | 10710 | 4816 | 36370
2035-36 | 3834 | 2391 | 4384 | 1747 | 1930 | 3119 | 2632 | 706 | 1340 | 11340 | 5147 | 38570
2036-37 | 4085 | 2542 | 4588 | 1765 | 2063 | 3316 | 2835 | 748 | 1426 | 11990 | 5492 | 40850
2037-38 | 4353 | 2702 | 4795 | 1784 | 2205 | 3526 | 3051 | 792 | 1516 | 12680 | 5856 | 43260
2038-39 | 4630 | 2866 | 5009 | 1802 | 2351 | 3743 | 3272 | 838 | 1609 | 13380 | 6230 | 45730
2039-40 | 4924 | 3040 | 5229 | 1820 | 2506 | 3974 | 3502 | 886 | 1707 | 14150 | 6622 | 48360
2040-41 | 5215 | 3213 | 5454 | 1839 | 2658 | 4204 | 3729 | 933 | 1804 | 14920 | 7011 | 50980
2041-42 | 5497 | 3381 | 5677 | 1858 | 2804 | 4427 | 3950 | 979 | 1899 | 15660 | 7388 | 53520
2042-43 | 5755 | 3534 | 5879 | 1876 | 2937 | 4632 | 4156 | 1022 | 1986 | 16310 | 7733 | 55820
2043-44 | 5989 | 3672 | 6051 | 1894 | 3056 | 4820 | 4349 | 1063 | 2067 | 16900 | 8049 | 57910
2044-45 | 6196 | 3795 | 6210 | 1910 | 3162 | 4990 | 4526 | 1099 | 2139 | 17410 | 8333 | 59770
2045-46 | 6379 | 3905 | 6360 | 1925 | 3254 | 5144 | 4689 | 1131 | 2204 | 17890 | 8589 | 61470
2046-47 | 6533 | 3999 | 6479 | 1939 | 3331 | 5277 | 4833 | 1158 | 2261 | 18300 | 8810 | 62920
2047-48 | 6659 | 4075 | 6585 | 1952 | 3392 | 5388 | 4955 | 1182 | 2308 | 18650 | 8994 | 64140
2048-49 | 6757 | 4135 | 6657 | 1963 | 3438 | 5476 | 5055 | 1201 | 2347 | 18930 | 9141 | 65100
2049-50 | 6833 | 4182 | 6717 | 1974 | 3473 | 5544 | 5137 | 1216 | 2377 | 19160 | 9257 | 65870
2050-51 | 6889 | 4217 | 6761 | 1983 | 3498 | 5597 | 5201 | 1227 | 2401 | 19340 | 9346 | 66460
2051-52 | 6929 | 4244 | 6796 | 1993 | 3515 | 5635 | 5251 | 1235 | 2419 | 19490 | 9413 | 66920
2052-53 | 6958 | 4263 | 6814 | 2001 | 3528 | 5665 | 5292 | 1241 | 2433 | 19620 | 9465 | 67280
2053-54 | 6976 | 4276 | 6836 | 2008 | 3536 | 5685 | 5319 | 1244 | 2442 | 19700 | 9498 | 67520
2054-55 | 6988 | 4285 | 6839 | 2012 | 3541 | 5700 | 5338 | 1247 | 2449 | 19750 | 9521 | 67670
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4a-H
Table I-4a-H: Higher Demand Scenario Summer Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2024 | 2862 | 1912 | 2712 | 729 | 1383 | 2388 | 2207 | 628 | 1368 | 11270 | 5074
2025 | 3002 | 2048 | 2717 | 774 | 1368 | 2339 | 2222 | 635 | 1375 | 11390 | 5080
2026 | 3114 | 2065 | 2766 | 1155 | 1332 | 2348 | 2245 | 641 | 1389 | 11520 | 5102
2027 | 3163 | 2087 | 2829 | 1350 | 1310 | 2383 | 2273 | 649 | 1404 | 11660 | 5130
2028 | 3171 | 2085 | 2921 | 1466 | 1296 | 2448 | 2311 | 660 | 1421 | 11790 | 5166
2029 | 3162 | 2080 | 3058 | 1504 | 1294 | 2502 | 2358 | 671 | 1442 | 11920 | 5213
2030 | 3166 | 2082 | 3222 | 1514 | 1302 | 2544 | 2412 | 685 | 1464 | 12070 | 5271
2031 | 3192 | 2096 | 3389 | 1523 | 1319 | 2576 | 2474 | 700 | 1490 | 12210 | 5345
2032 | 3234 | 2120 | 3547 | 1533 | 1343 | 2617 | 2541 | 718 | 1516 | 12370 | 5436
2033 | 3289 | 2148 | 3683 | 1543 | 1374 | 2666 | 2614 | 736 | 1546 | 12540 | 5537
2034 | 3350 | 2179 | 3785 | 1555 | 1408 | 2718 | 2684 | 755 | 1574 | 12710 | 5641
2035 | 3414 | 2212 | 3864 | 1567 | 1442 | 2771 | 2752 | 772 | 1601 | 12900 | 5745
2036 | 3479 | 2248 | 3939 | 1581 | 1478 | 2827 | 2822 | 788 | 1629 | 13090 | 5850
2037 | 3547 | 2290 | 4007 | 1595 | 1516 | 2890 | 2897 | 806 | 1657 | 13290 | 5961
2038 | 3613 | 2334 | 4081 | 1608 | 1557 | 2956 | 2976 | 822 | 1687 | 13490 | 6073
2039 | 3679 | 2379 | 4154 | 1619 | 1601 | 3023 | 3057 | 838 | 1717 | 13690 | 6183
2040 | 3745 | 2420 | 4215 | 1632 | 1643 | 3088 | 3135 | 855 | 1745 | 13890 | 6285
2041 | 3808 | 2460 | 4276 | 1643 | 1684 | 3151 | 3210 | 870 | 1771 | 14070 | 6380
2042 | 3870 | 2496 | 4340 | 1655 | 1724 | 3211 | 3283 | 883 | 1796 | 14230 | 6466
2043 | 3928 | 2531 | 4398 | 1668 | 1764 | 3272 | 3353 | 897 | 1817 | 14390 | 6546
2044 | 3984 | 2565 | 4456 | 1680 | 1803 | 3331 | 3422 | 908 | 1835 | 14530 | 6621
2045 | 4037 | 2597 | 4499 | 1690 | 1841 | 3390 | 3488 | 918 | 1852 | 14670 | 6691
2046 | 4085 | 2627 | 4554 | 1702 | 1874 | 3445 | 3548 | 928 | 1866 | 14810 | 6755
2047 | 4126 | 2653 | 4591 | 1712 | 1903 | 3494 | 3603 | 937 | 1879 | 14950 | 6815
2048 | 4163 | 2674 | 4622 | 1721 | 1925 | 3535 | 3652 | 945 | 1892 | 15080 | 6868
2049 | 4195 | 2693 | 4654 | 1731 | 1944 | 3573 | 3698 | 952 | 1904 | 15210 | 6920
2050 | 4223 | 2709 | 4682 | 1741 | 1958 | 3609 | 3741 | 959 | 1915 | 15350 | 6972
2051 | 4249 | 2725 | 4703 | 1749 | 1972 | 3640 | 3782 | 966 | 1926 | 15490 | 7022
2052 | 4273 | 2740 | 4731 | 1758 | 1984 | 3668 | 3819 | 972 | 1937 | 15620 | 7068
2053 | 4288 | 2750 | 4743 | 1764 | 1993 | 3687 | 3846 | 976 | 1945 | 15720 | 7100
2054 | 4301 | 2758 | 4757 | 1769 | 2000 | 3702 | 3863 | 980 | 1951 | 15800 | 7125
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4b-H
Table I-4b-H: Higher Demand Scenario Winter Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2024-25 | 2285 | 1536 | 2533 | 902 | 1314 | 1947 | 1528 | 523 | 893 | 7490 | 3310
2025-26 | 2453 | 1630 | 2565 | 1161 | 1330 | 1971 | 1567 | 528 | 911 | 7690 | 3374
2026-27 | 2556 | 1671 | 2696 | 1425 | 1342 | 2021 | 1599 | 534 | 926 | 7820 | 3427
2027-28 | 2663 | 1718 | 2823 | 1592 | 1363 | 2113 | 1652 | 544 | 948 | 8000 | 3509
2028-29 | 2753 | 1759 | 2973 | 1676 | 1392 | 2231 | 1717 | 555 | 975 | 8210 | 3609
2029-30 | 2837 | 1805 | 3143 | 1704 | 1429 | 2336 | 1793 | 566 | 1004 | 8470 | 3728
2030-31 | 2941 | 1863 | 3328 | 1714 | 1478 | 2428 | 1883 | 577 | 1038 | 8790 | 3870
2031-32 | 3073 | 1937 | 3525 | 1725 | 1541 | 2521 | 1992 | 591 | 1080 | 9190 | 4051
2032-33 | 3232 | 2027 | 3746 | 1739 | 1623 | 2638 | 2124 | 613 | 1132 | 9680 | 4272
2033-34 | 3421 | 2138 | 3962 | 1751 | 1722 | 2783 | 2280 | 643 | 1198 | 10210 | 4537
2034-35 | 3634 | 2265 | 4185 | 1766 | 1835 | 2949 | 2455 | 680 | 1272 | 10810 | 4835
2035-36 | 3876 | 2410 | 4393 | 1784 | 1965 | 3138 | 2650 | 721 | 1355 | 11440 | 5168
2036-37 | 4130 | 2562 | 4597 | 1802 | 2100 | 3336 | 2855 | 764 | 1442 | 12100 | 5514
2037-38 | 4401 | 2724 | 4805 | 1821 | 2245 | 3547 | 3072 | 809 | 1533 | 12790 | 5879
2038-39 | 4681 | 2889 | 5019 | 1840 | 2393 | 3765 | 3295 | 856 | 1627 | 13500 | 6255
2039-40 | 4978 | 3064 | 5239 | 1858 | 2551 | 3998 | 3527 | 905 | 1726 | 14280 | 6648
2040-41 | 5272 | 3239 | 5465 | 1878 | 2706 | 4229 | 3755 | 953 | 1824 | 15050 | 7039
2041-42 | 5557 | 3408 | 5688 | 1897 | 2854 | 4454 | 3978 | 1000 | 1920 | 15800 | 7418
2042-43 | 5818 | 3562 | 5891 | 1915 | 2990 | 4660 | 4185 | 1043 | 2008 | 16460 | 7764
2043-44 | 6055 | 3701 | 6063 | 1934 | 3111 | 4849 | 4379 | 1085 | 2090 | 17050 | 8081
2044-45 | 6264 | 3825 | 6222 | 1950 | 3219 | 5020 | 4558 | 1122 | 2163 | 17570 | 8366
2045-46 | 6449 | 3936 | 6373 | 1965 | 3313 | 5175 | 4722 | 1155 | 2228 | 18050 | 8623
2046-47 | 6605 | 4031 | 6492 | 1980 | 3391 | 5309 | 4867 | 1182 | 2286 | 18460 | 8845
2047-48 | 6732 | 4108 | 6598 | 1993 | 3453 | 5420 | 4990 | 1207 | 2333 | 18820 | 9030
2048-49 | 6831 | 4168 | 6670 | 2004 | 3500 | 5509 | 5090 | 1226 | 2373 | 19100 | 9178
2049-50 | 6908 | 4215 | 6730 | 2015 | 3536 | 5577 | 5173 | 1242 | 2403 | 19330 | 9294
2050-51 | 6965 | 4251 | 6775 | 2025 | 3561 | 5631 | 5237 | 1253 | 2427 | 19510 | 9383
2051-52 | 7005 | 4278 | 6810 | 2035 | 3578 | 5669 | 5288 | 1261 | 2446 | 19670 | 9451
2052-53 | 7035 | 4297 | 6828 | 2043 | 3592 | 5699 | 5329 | 1267 | 2460 | 19800 | 9503
2053-54 | 7053 | 4310 | 6850 | 2050 | 3600 | 5719 | 5356 | 1270 | 2469 | 19880 | 9536
2054-55 | 7065 | 4319 | 6853 | 2054 | 3605 | 5734 | 5375 | 1273 | 2476 | 19930 | 9559
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-5-H
Table I-5-H: Higher Demand Scenario - Forecast of Peak Demand in G-to-J Locality
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
G-to-J Locality Summer Peak Demand by Zone - MW | [5 empty] | G-to-J Locality Winter Peak Demand by Zone - MW
Year | G | H | I | J | G-J | Year | G | H | I | J | G-J
2024 | 2191 | 623 | 1357 | 11176 | 15347 | 2024-25 | 1514 | 510 | 883 | 7465 | 10372
2025 | 2206 | 630 | 1364 | 11298 | 15498 | 2025-26 | 1553 | 515 | 901 | 7666 | 10635
2026 | 2228 | 636 | 1377 | 11430 | 15671 | 2026-27 | 1585 | 521 | 916 | 7797 | 10819
2027 | 2257 | 644 | 1392 | 11562 | 15855 | 2027-28 | 1638 | 531 | 938 | 7978 | 11085
2028 | 2294 | 654 | 1410 | 11694 | 16052 | 2028-29 | 1702 | 542 | 964 | 8189 | 11397
2029 | 2341 | 665 | 1430 | 11826 | 16262 | 2029-30 | 1777 | 552 | 993 | 8440 | 11762
2030 | 2395 | 680 | 1452 | 11968 | 16495 | 2030-31 | 1866 | 563 | 1027 | 8762 | 12218
2031 | 2455 | 695 | 1478 | 12110 | 16738 | 2031-32 | 1974 | 577 | 1068 | 9165 | 12784
2032 | 2522 | 712 | 1504 | 12272 | 17010 | 2032-33 | 2105 | 598 | 1120 | 9648 | 13471
2033 | 2594 | 730 | 1533 | 12434 | 17291 | 2033-34 | 2259 | 627 | 1185 | 10181 | 14252
2034 | 2664 | 748 | 1561 | 12607 | 17580 | 2034-35 | 2433 | 663 | 1258 | 10774 | 15128
2035 | 2732 | 766 | 1588 | 12799 | 17885 | 2035-36 | 2627 | 703 | 1340 | 11408 | 16078
2036 | 2801 | 782 | 1616 | 12982 | 18181 | 2036-37 | 2829 | 745 | 1426 | 12062 | 17062
2037 | 2875 | 799 | 1644 | 13185 | 18503 | 2037-38 | 3045 | 789 | 1516 | 12756 | 18106
2038 | 2954 | 815 | 1673 | 13377 | 18819 | 2038-39 | 3265 | 835 | 1609 | 13460 | 19169
2039 | 3034 | 832 | 1703 | 13580 | 19149 | 2039-40 | 3495 | 882 | 1707 | 14235 | 20319
2040 | 3112 | 848 | 1731 | 13773 | 19464 | 2040-41 | 3722 | 929 | 1804 | 15010 | 21465
2041 | 3187 | 863 | 1757 | 13955 | 19762 | 2041-42 | 3942 | 975 | 1899 | 15754 | 22570
2042 | 3259 | 876 | 1781 | 14118 | 20034 | 2042-43 | 4148 | 1018 | 1986 | 16408 | 23560
2043 | 3329 | 889 | 1802 | 14270 | 20290 | 2043-44 | 4340 | 1059 | 2067 | 17001 | 24467
2044 | 3397 | 901 | 1820 | 14412 | 20530 | 2044-45 | 4517 | 1095 | 2139 | 17514 | 25265
2045 | 3462 | 911 | 1837 | 14554 | 20764 | 2045-46 | 4680 | 1126 | 2204 | 17997 | 26007
2046 | 3522 | 921 | 1851 | 14686 | 20980 | 2046-47 | 4823 | 1153 | 2261 | 18410 | 26647
2047 | 3576 | 929 | 1864 | 14828 | 21197 | 2047-48 | 4945 | 1177 | 2308 | 18762 | 27192
2048 | 3625 | 937 | 1876 | 14959 | 21397 | 2048-49 | 5045 | 1196 | 2347 | 19044 | 27632
2049 | 3670 | 944 | 1888 | 15091 | 21593 | 2049-50 | 5127 | 1211 | 2377 | 19275 | 27990
2050 | 3714 | 951 | 1900 | 15223 | 21788 | 2050-51 | 5191 | 1222 | 2401 | 19456 | 28270
2051 | 3755 | 958 | 1911 | 15365 | 21989 | 2051-52 | 5240 | 1230 | 2419 | 19607 | 28496
2052 | 3791 | 965 | 1921 | 15497 | 22174 | 2052-53 | 5281 | 1236 | 2433 | 19738 | 28688
2053 | 3817 | 969 | 1929 | 15588 | 22303 | 2053-54 | 5308 | 1239 | 2442 | 19818 | 28807
2054 | 3835 | 972 | 1935 | 15669 | 22411 | 2054-55 | 5327 | 1242 | 2449 | 19869 | 28887
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-11a-H
Table I-11a-H: Electric Vehicle Stock Forecast - Higher Demand Scenario
Reflects Total NYCA Stock
Number of Electric Vehicles by Type - NYCA
Year | LDV (1) | MHDV (2) | Buses (3) | Total Stock
2024 | 268000 | 2000 | 3000 | 273000
2025 | 391000 | 4000 | 5000 | 400000
2026 | 560000 | 7000 | 9000 | 576000
2027 | 777000 | 11000 | 14000 | 802000
2028 | 1041000 | 15000 | 19000 | 1075000
2029 | 1352000 | 21000 | 24000 | 1397000
2030 | 1715000 | 27000 | 30000 | 1772000
2031 | 2123000 | 34000 | 35000 | 2192000
2032 | 2580000 | 42000 | 39000 | 2661000
2033 | 3088000 | 50000 | 43000 | 3181000
2034 | 3657000 | 60000 | 47000 | 3764000
2035 | 4293000 | 70000 | 50000 | 4413000
2036 | 4914000 | 80000 | 52000 | 5046000
2037 | 5515000 | 91000 | 53000 | 5659000
2038 | 6092000 | 103000 | 54000 | 6249000
2039 | 6638000 | 115000 | 54000 | 6807000
2040 | 7146000 | 128000 | 55000 | 7329000
2041 | 7613000 | 140000 | 55000 | 7808000
2042 | 8036000 | 154000 | 55000 | 8245000
2043 | 8412000 | 169000 | 55000 | 8636000
2044 | 8740000 | 186000 | 56000 | 8982000
2045 | 9020000 | 202000 | 56000 | 9278000
2046 | 9252000 | 218000 | 56000 | 9526000
2047 | 9436000 | 233000 | 57000 | 9726000
2048 | 9574000 | 247000 | 57000 | 9878000
2049 | 9666000 | 260000 | 57000 | 9983000
2050 | 9725000 | 271000 | 58000 | 10054000
2051 | 9746000 | 281000 | 58000 | 10085000
2052 | 9738000 | 289000 | 58000 | 10085000
2053 | 9711000 | 295000 | 58000 | 10064000
2054 | 9684000 | 301000 | 58000 | 10043000
(1) - Light Duty Vehicles, at most 8,500 lb.
(2) - Medium and Heavy Duty Vehicles, greater than 8,500 lb.
(3) - Includes school and transit buses.
Note: For reference, in 2023 there were approximately 9.8 million LDVs, 515,000 MHDVs,
and 60,000 buses registered in the state, per these classifications.

## I-11b-H
Table I-11b-H: Electric Vehicle Annual Energy Usage - Higher Demand Scenario
Reflects Total Cumulative Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 77 | 85 | 98 | 9 | 45 | 107 | 115 | 45 | 73 | 266 | 283 | 1203
2025 | 131 | 128 | 158 | 16 | 80 | 169 | 183 | 63 | 104 | 355 | 415 | 1802
2026 | 211 | 187 | 242 | 24 | 132 | 254 | 277 | 85 | 143 | 472 | 589 | 2616
2027 | 327 | 265 | 357 | 34 | 207 | 370 | 412 | 110 | 193 | 617 | 815 | 3707
2028 | 473 | 357 | 497 | 46 | 302 | 510 | 579 | 140 | 252 | 787 | 1084 | 5027
2029 | 648 | 464 | 662 | 60 | 415 | 677 | 780 | 173 | 320 | 984 | 1398 | 6581
2030 | 853 | 589 | 855 | 76 | 548 | 873 | 1014 | 214 | 399 | 1213 | 1758 | 8392
2031 | 1082 | 730 | 1072 | 95 | 697 | 1092 | 1277 | 258 | 487 | 1477 | 2162 | 10429
2032 | 1330 | 888 | 1314 | 117 | 859 | 1337 | 1569 | 308 | 585 | 1784 | 2607 | 12698
2033 | 1609 | 1064 | 1588 | 141 | 1043 | 1612 | 1897 | 364 | 695 | 2127 | 3104 | 15244
2034 | 1923 | 1261 | 1893 | 170 | 1248 | 1920 | 2267 | 426 | 817 | 2510 | 3657 | 18092
2035 | 2274 | 1481 | 2233 | 200 | 1480 | 2267 | 2685 | 495 | 952 | 2938 | 4272 | 21277
2036 | 2623 | 1699 | 2573 | 231 | 1709 | 2613 | 3106 | 564 | 1087 | 3366 | 4884 | 24455
2037 | 2967 | 1914 | 2909 | 261 | 1935 | 2959 | 3526 | 631 | 1221 | 3788 | 5487 | 27598
2038 | 3305 | 2124 | 3239 | 291 | 2158 | 3300 | 3941 | 698 | 1352 | 4205 | 6076 | 30689
2039 | 3633 | 2328 | 3559 | 320 | 2373 | 3632 | 4350 | 762 | 1480 | 4610 | 6646 | 33693
2040 | 3949 | 2524 | 3867 | 348 | 2581 | 3956 | 4747 | 822 | 1602 | 5001 | 7192 | 36589
2041 | 4249 | 2710 | 4160 | 373 | 2778 | 4265 | 5130 | 880 | 1719 | 5375 | 7710 | 39349
2042 | 4532 | 2884 | 4438 | 397 | 2964 | 4560 | 5495 | 934 | 1830 | 5730 | 8197 | 41961
2043 | 4795 | 3048 | 4696 | 420 | 3138 | 4838 | 5842 | 986 | 1935 | 6065 | 8654 | 44417
2044 | 5040 | 3199 | 4937 | 441 | 3298 | 5101 | 6168 | 1034 | 2034 | 6378 | 9080 | 46710
2045 | 5261 | 3337 | 5156 | 459 | 3444 | 5343 | 6470 | 1078 | 2125 | 6667 | 9469 | 48809
2046 | 5458 | 3460 | 5351 | 475 | 3572 | 5563 | 6748 | 1117 | 2208 | 6926 | 9816 | 50694
2047 | 5627 | 3565 | 5520 | 488 | 3681 | 5756 | 6993 | 1152 | 2281 | 7155 | 10120 | 52338
2048 | 5768 | 3654 | 5661 | 500 | 3772 | 5924 | 7208 | 1183 | 2345 | 7350 | 10378 | 53743
2049 | 5882 | 3727 | 5776 | 508 | 3846 | 6065 | 7389 | 1208 | 2398 | 7515 | 10591 | 54905
2050 | 5975 | 3787 | 5871 | 515 | 3905 | 6186 | 7543 | 1228 | 2443 | 7656 | 10770 | 55879
2051 | 6031 | 3825 | 5929 | 518 | 3940 | 6271 | 7652 | 1242 | 2473 | 7754 | 10887 | 56522
2052 | 6065 | 3849 | 5966 | 521 | 3961 | 6336 | 7734 | 1251 | 2496 | 7829 | 10968 | 56976
2053 | 6084 | 3864 | 5987 | 521 | 3971 | 6385 | 7795 | 1258 | 2512 | 7885 | 11024 | 57286
2054 | 6103 | 3879 | 6008 | 521 | 3981 | 6434 | 7856 | 1265 | 2528 | 7941 | 11080 | 57596

## I-11c-H
Table I-11c-H: Electric Vehicle Summer Coincident Peak Demand - Higher Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 16 | 12 | 18 | 2 | 10 | 18 | 18 | 4 | 10 | 25 | 36 | 169
2025 | 24 | 17 | 27 | 3 | 14 | 27 | 27 | 7 | 14 | 37 | 56 | 253
2026 | 35 | 27 | 40 | 4 | 22 | 40 | 42 | 10 | 19 | 54 | 80 | 373
2027 | 55 | 39 | 58 | 6 | 35 | 58 | 64 | 13 | 28 | 78 | 117 | 551
2028 | 81 | 56 | 83 | 8 | 51 | 83 | 93 | 19 | 39 | 108 | 166 | 787
2029 | 112 | 75 | 113 | 10 | 71 | 114 | 129 | 26 | 51 | 144 | 223 | 1068
2030 | 148 | 98 | 148 | 13 | 96 | 148 | 171 | 33 | 65 | 185 | 286 | 1391
2031 | 190 | 122 | 187 | 17 | 122 | 190 | 216 | 40 | 81 | 233 | 357 | 1755
2032 | 232 | 149 | 229 | 20 | 150 | 231 | 268 | 48 | 98 | 283 | 435 | 2143
2033 | 277 | 178 | 273 | 24 | 180 | 275 | 321 | 57 | 116 | 340 | 516 | 2557
2034 | 324 | 207 | 318 | 28 | 211 | 322 | 376 | 68 | 134 | 397 | 598 | 2983
2035 | 374 | 238 | 367 | 33 | 244 | 371 | 436 | 78 | 153 | 457 | 683 | 3434
2036 | 424 | 269 | 415 | 38 | 277 | 420 | 494 | 85 | 171 | 519 | 767 | 3879
2037 | 473 | 300 | 464 | 42 | 309 | 469 | 554 | 95 | 190 | 579 | 854 | 4329
2038 | 522 | 329 | 512 | 46 | 342 | 520 | 613 | 104 | 208 | 639 | 935 | 4770
2039 | 570 | 359 | 559 | 50 | 373 | 568 | 671 | 112 | 227 | 698 | 1017 | 5204
2040 | 616 | 387 | 604 | 55 | 403 | 614 | 729 | 122 | 244 | 753 | 1095 | 5622
2041 | 660 | 414 | 647 | 58 | 432 | 660 | 786 | 130 | 261 | 809 | 1169 | 6026
2042 | 702 | 440 | 688 | 63 | 460 | 704 | 837 | 137 | 278 | 862 | 1239 | 6410
2043 | 741 | 464 | 725 | 65 | 486 | 745 | 891 | 144 | 293 | 909 | 1308 | 6771
2044 | 778 | 487 | 762 | 68 | 512 | 785 | 937 | 152 | 307 | 958 | 1367 | 7113
2045 | 811 | 506 | 794 | 70 | 531 | 821 | 985 | 158 | 321 | 999 | 1426 | 7422
2046 | 836 | 521 | 817 | 73 | 547 | 848 | 1021 | 164 | 332 | 1031 | 1475 | 7665
2047 | 857 | 536 | 840 | 74 | 562 | 875 | 1056 | 168 | 342 | 1060 | 1514 | 7884
2048 | 876 | 548 | 862 | 76 | 575 | 898 | 1081 | 171 | 351 | 1090 | 1544 | 8072
2049 | 892 | 558 | 876 | 77 | 584 | 917 | 1106 | 175 | 358 | 1111 | 1574 | 8228
2050 | 904 | 564 | 888 | 77 | 591 | 934 | 1130 | 178 | 362 | 1130 | 1599 | 8357
2051 | 914 | 571 | 899 | 79 | 598 | 948 | 1143 | 179 | 368 | 1147 | 1612 | 8458
2052 | 920 | 575 | 905 | 78 | 602 | 957 | 1158 | 182 | 372 | 1158 | 1627 | 8534
2053 | 922 | 579 | 907 | 79 | 603 | 966 | 1169 | 183 | 374 | 1166 | 1640 | 8588
2054 | 925 | 579 | 909 | 79 | 605 | 972 | 1179 | 184 | 376 | 1173 | 1647 | 8628
Note: The higher demand scenario electric vehicle peak forecast assumes a lower share of managed charging relative to the baseline forecast.

## I-11d-H
Table I-11d-H: Electric Vehicle Winter Coincident Peak Demand - Higher Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 29 | 24 | 31 | 2 | 19 | 33 | 35 | 10 | 17 | 45 | 68 | 313
2025-26 | 40 | 33 | 45 | 3 | 27 | 45 | 50 | 13 | 22 | 62 | 94 | 434
2026-27 | 63 | 47 | 66 | 6 | 41 | 68 | 75 | 18 | 32 | 90 | 136 | 642
2027-28 | 94 | 67 | 96 | 8 | 61 | 98 | 111 | 24 | 45 | 127 | 195 | 926
2028-29 | 134 | 91 | 133 | 11 | 86 | 136 | 158 | 32 | 60 | 169 | 268 | 1278
2029-30 | 181 | 120 | 179 | 15 | 117 | 182 | 211 | 41 | 78 | 222 | 351 | 1697
2030-31 | 232 | 152 | 228 | 20 | 151 | 232 | 270 | 53 | 99 | 280 | 444 | 2161
2031-32 | 289 | 187 | 283 | 25 | 188 | 288 | 335 | 63 | 121 | 348 | 544 | 2671
2032-33 | 348 | 225 | 342 | 30 | 228 | 347 | 405 | 74 | 143 | 422 | 649 | 3213
2033-34 | 411 | 263 | 403 | 35 | 269 | 408 | 478 | 86 | 167 | 496 | 758 | 3774
2034-35 | 475 | 305 | 465 | 41 | 312 | 472 | 555 | 99 | 192 | 574 | 870 | 4360
2035-36 | 542 | 344 | 530 | 46 | 356 | 539 | 634 | 113 | 217 | 655 | 983 | 4959
2036-37 | 608 | 385 | 594 | 52 | 400 | 604 | 713 | 124 | 242 | 734 | 1097 | 5553
2037-38 | 672 | 426 | 656 | 58 | 441 | 669 | 793 | 136 | 267 | 811 | 1208 | 6137
2038-39 | 734 | 465 | 717 | 64 | 482 | 733 | 870 | 148 | 290 | 887 | 1315 | 6705
2039-40 | 793 | 501 | 773 | 69 | 520 | 791 | 949 | 162 | 316 | 963 | 1425 | 7262
2040-41 | 853 | 537 | 836 | 73 | 562 | 857 | 1020 | 171 | 335 | 1024 | 1520 | 7788
2041-42 | 909 | 571 | 890 | 78 | 599 | 913 | 1090 | 180 | 357 | 1101 | 1608 | 8296
2042-43 | 961 | 602 | 940 | 84 | 633 | 970 | 1159 | 192 | 377 | 1155 | 1702 | 8775
2043-44 | 1008 | 630 | 986 | 86 | 662 | 1018 | 1220 | 200 | 396 | 1227 | 1778 | 9211
2044-45 | 1051 | 657 | 1028 | 90 | 691 | 1063 | 1277 | 208 | 414 | 1283 | 1851 | 9613
2045-46 | 1089 | 681 | 1067 | 94 | 718 | 1110 | 1334 | 217 | 429 | 1317 | 1925 | 9981
2046-47 | 1118 | 700 | 1097 | 96 | 738 | 1143 | 1375 | 221 | 440 | 1355 | 1974 | 10257
2047-48 | 1140 | 714 | 1117 | 97 | 749 | 1167 | 1415 | 226 | 453 | 1402 | 2015 | 10495
2048-49 | 1160 | 726 | 1138 | 99 | 762 | 1193 | 1446 | 231 | 462 | 1427 | 2051 | 10695
2049-50 | 1175 | 736 | 1154 | 100 | 773 | 1216 | 1474 | 236 | 468 | 1438 | 2085 | 10855
2050-51 | 1186 | 744 | 1167 | 99 | 781 | 1233 | 1489 | 236 | 475 | 1472 | 2102 | 10984
2051-52 | 1195 | 749 | 1174 | 102 | 785 | 1244 | 1509 | 238 | 479 | 1487 | 2119 | 11081
2052-53 | 1198 | 753 | 1177 | 101 | 786 | 1254 | 1522 | 241 | 485 | 1502 | 2132 | 11151
2053-54 | 1199 | 754 | 1178 | 101 | 786 | 1262 | 1534 | 242 | 488 | 1510 | 2141 | 11195
2054-55 | 1203 | 756 | 1185 | 102 | 791 | 1275 | 1545 | 244 | 486 | 1500 | 2154 | 11241
Note: The higher demand scenario electric vehicle peak forecast assumes a lower share of managed charging relative to the baseline forecast.

## I-13a-H
Table I-13a-H: Building Electrification Annual Energy Usage - Higher Demand Scenario
Reflects Cumulative Future Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 23 | 14 | 19 | 2 | 12 | 18 | 17 | 3 | 9 | 103 | 34 | 254
2025 | 97 | 59 | 78 | 6 | 52 | 75 | 69 | 15 | 36 | 426 | 139 | 1052
2026 | 187 | 114 | 150 | 10 | 100 | 144 | 133 | 29 | 69 | 818 | 267 | 2021
2027 | 296 | 181 | 238 | 16 | 159 | 228 | 210 | 47 | 108 | 1289 | 422 | 3194
2028 | 430 | 263 | 344 | 22 | 230 | 330 | 304 | 68 | 156 | 1852 | 610 | 4609
2029 | 576 | 353 | 461 | 29 | 308 | 443 | 407 | 92 | 209 | 2468 | 817 | 6163
2030 | 756 | 462 | 603 | 38 | 404 | 580 | 533 | 121 | 273 | 3200 | 1068 | 8038
2031 | 965 | 589 | 768 | 48 | 514 | 740 | 679 | 154 | 347 | 4035 | 1359 | 10198
2032 | 1212 | 739 | 963 | 61 | 645 | 929 | 851 | 194 | 435 | 5004 | 1701 | 12734
2033 | 1505 | 916 | 1192 | 75 | 799 | 1151 | 1053 | 241 | 536 | 6101 | 2102 | 15671
2034 | 1822 | 1108 | 1439 | 90 | 964 | 1392 | 1272 | 291 | 646 | 7290 | 2535 | 18849
2035 | 2195 | 1333 | 1729 | 108 | 1158 | 1674 | 1528 | 351 | 774 | 8621 | 3039 | 22510
2036 | 2616 | 1586 | 2055 | 128 | 1376 | 1991 | 1815 | 417 | 916 | 10082 | 3605 | 26587
2037 | 3072 | 1859 | 2405 | 149 | 1610 | 2333 | 2124 | 489 | 1069 | 11601 | 4211 | 30922
2038 | 3570 | 2156 | 2787 | 172 | 1865 | 2706 | 2461 | 568 | 1235 | 13220 | 4869 | 35609
2039 | 4108 | 2476 | 3197 | 197 | 2138 | 3107 | 2824 | 653 | 1412 | 14910 | 5575 | 40597
2040 | 4646 | 2797 | 3606 | 222 | 2411 | 3510 | 3189 | 738 | 1590 | 16591 | 6282 | 45582
2041 | 5184 | 3117 | 4013 | 246 | 2682 | 3913 | 3554 | 823 | 1766 | 18217 | 6985 | 50500
2042 | 5705 | 3427 | 4408 | 270 | 2943 | 4304 | 3911 | 906 | 1938 | 19788 | 7668 | 55268
2043 | 6185 | 3714 | 4771 | 291 | 3183 | 4667 | 4244 | 983 | 2098 | 21225 | 8299 | 59660
2044 | 6607 | 3967 | 5091 | 310 | 3393 | 4991 | 4543 | 1052 | 2241 | 22520 | 8861 | 63576
2045 | 6982 | 4192 | 5373 | 326 | 3578 | 5279 | 4810 | 1114 | 2367 | 23634 | 9359 | 67014
2046 | 7282 | 4374 | 5600 | 339 | 3725 | 5514 | 5033 | 1164 | 2472 | 24564 | 9767 | 69834
2047 | 7521 | 4520 | 5781 | 348 | 3841 | 5706 | 5217 | 1206 | 2558 | 25324 | 10098 | 72120
2048 | 7720 | 4643 | 5932 | 356 | 3937 | 5870 | 5377 | 1241 | 2632 | 25985 | 10381 | 74074
2049 | 7846 | 4722 | 6028 | 361 | 3996 | 5980 | 5488 | 1265 | 2681 | 26407 | 10568 | 75342
2050 | 7955 | 4791 | 6110 | 364 | 4045 | 6077 | 5587 | 1287 | 2725 | 26781 | 10732 | 76454
2051 | 8022 | 4837 | 6161 | 366 | 4074 | 6144 | 5662 | 1302 | 2757 | 27059 | 10846 | 77230
2052 | 8074 | 4874 | 6203 | 367 | 4097 | 6202 | 5728 | 1315 | 2786 | 27323 | 10945 | 77914
2053 | 8094 | 4891 | 6219 | 367 | 4102 | 6235 | 5770 | 1323 | 2802 | 27465 | 10999 | 78267
2054 | 8105 | 4904 | 6228 | 366 | 4103 | 6262 | 5808 | 1329 | 2817 | 27601 | 11043 | 78566
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13b-H
Table I-13b-H: Building Electrification Summer Coincident Peak Demand - Higher Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 5 | 2 | 13
2025 | 3 | 2 | 3 | 0 | 2 | 3 | 2 | 1 | 1 | 19 | 6 | 42
2026 | 8 | 5 | 6 | 0 | 4 | 6 | 6 | 1 | 3 | 37 | 11 | 87
2027 | 13 | 9 | 10 | 1 | 8 | 10 | 10 | 1 | 4 | 63 | 18 | 147
2028 | 19 | 11 | 15 | 1 | 10 | 15 | 14 | 3 | 7 | 92 | 27 | 214
2029 | 26 | 16 | 21 | 1 | 14 | 20 | 19 | 4 | 10 | 127 | 38 | 296
2030 | 33 | 21 | 27 | 2 | 19 | 26 | 25 | 6 | 13 | 168 | 50 | 390
2031 | 43 | 27 | 35 | 2 | 23 | 34 | 32 | 7 | 17 | 212 | 63 | 495
2032 | 52 | 33 | 43 | 3 | 29 | 41 | 39 | 9 | 20 | 262 | 78 | 609
2033 | 62 | 39 | 51 | 3 | 34 | 50 | 47 | 11 | 25 | 316 | 94 | 732
2034 | 74 | 46 | 61 | 4 | 41 | 59 | 56 | 12 | 29 | 375 | 111 | 868
2035 | 86 | 54 | 71 | 4 | 47 | 69 | 65 | 15 | 34 | 436 | 130 | 1011
2036 | 98 | 63 | 81 | 4 | 53 | 79 | 75 | 17 | 39 | 500 | 149 | 1158
2037 | 111 | 70 | 91 | 6 | 61 | 90 | 85 | 19 | 44 | 565 | 168 | 1310
2038 | 124 | 78 | 102 | 6 | 68 | 100 | 95 | 21 | 49 | 630 | 187 | 1460
2039 | 135 | 86 | 111 | 7 | 75 | 111 | 105 | 23 | 55 | 696 | 207 | 1611
2040 | 147 | 94 | 123 | 8 | 82 | 121 | 115 | 26 | 60 | 760 | 226 | 1762
2041 | 160 | 102 | 132 | 8 | 88 | 131 | 125 | 28 | 64 | 823 | 245 | 1906
2042 | 171 | 109 | 142 | 9 | 94 | 141 | 134 | 30 | 69 | 886 | 263 | 2048
2043 | 182 | 116 | 151 | 9 | 101 | 150 | 143 | 31 | 73 | 944 | 281 | 2181
2044 | 193 | 122 | 160 | 10 | 106 | 159 | 151 | 33 | 78 | 999 | 297 | 2308
2045 | 202 | 129 | 168 | 10 | 111 | 168 | 159 | 36 | 82 | 1050 | 312 | 2427
2046 | 212 | 135 | 175 | 11 | 117 | 176 | 168 | 37 | 87 | 1108 | 329 | 2555
2047 | 228 | 146 | 188 | 11 | 125 | 189 | 181 | 40 | 93 | 1190 | 354 | 2745
2048 | 227 | 146 | 188 | 11 | 125 | 189 | 181 | 40 | 92 | 1187 | 352 | 2738
2049 | 232 | 149 | 192 | 11 | 127 | 194 | 186 | 41 | 96 | 1218 | 362 | 2808
2050 | 236 | 152 | 195 | 12 | 129 | 198 | 190 | 41 | 97 | 1243 | 369 | 2862
2051 | 240 | 154 | 199 | 12 | 130 | 202 | 193 | 42 | 98 | 1261 | 374 | 2905
2052 | 240 | 154 | 198 | 12 | 130 | 201 | 193 | 42 | 98 | 1264 | 375 | 2907
2053 | 242 | 156 | 200 | 11 | 132 | 205 | 196 | 42 | 99 | 1280 | 380 | 2943
2054 | 240 | 154 | 198 | 12 | 130 | 202 | 194 | 42 | 99 | 1266 | 376 | 2913
Note: Reflects end-use electrification of space conditioning, water heating, cooking, and other end-uses.

## I-13c-H
Table I-13c-H: Building Electrification Winter Coincident Peak Demand - Higher Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 16 | 10 | 13 | 1 | 9 | 13 | 11 | 3 | 6 | 69 | 23 | 174
2025-26 | 34 | 20 | 27 | 2 | 18 | 26 | 24 | 5 | 12 | 143 | 47 | 358
2026-27 | 53 | 32 | 42 | 3 | 29 | 40 | 37 | 9 | 19 | 223 | 75 | 562
2027-28 | 79 | 47 | 62 | 4 | 42 | 59 | 54 | 12 | 28 | 325 | 109 | 821
2028-29 | 113 | 69 | 90 | 5 | 61 | 87 | 80 | 18 | 41 | 472 | 160 | 1196
2029-30 | 163 | 99 | 130 | 9 | 87 | 125 | 113 | 27 | 58 | 667 | 228 | 1706
2030-31 | 230 | 140 | 183 | 11 | 122 | 175 | 160 | 36 | 81 | 927 | 319 | 2384
2031-32 | 321 | 194 | 251 | 16 | 169 | 242 | 219 | 50 | 112 | 1232 | 439 | 3245
2032-33 | 465 | 279 | 364 | 23 | 244 | 350 | 317 | 73 | 160 | 1744 | 632 | 4651
2033-34 | 622 | 375 | 485 | 31 | 326 | 467 | 424 | 98 | 214 | 2321 | 845 | 6208
2034-35 | 757 | 454 | 589 | 37 | 397 | 567 | 512 | 119 | 257 | 2741 | 1022 | 7452
2035-36 | 975 | 584 | 754 | 46 | 506 | 728 | 655 | 153 | 329 | 3430 | 1304 | 9464
2036-37 | 1177 | 704 | 908 | 56 | 609 | 877 | 789 | 184 | 393 | 4048 | 1566 | 11311
2037-38 | 1393 | 832 | 1074 | 66 | 720 | 1038 | 934 | 219 | 465 | 4726 | 1851 | 13318
2038-39 | 1590 | 947 | 1220 | 75 | 818 | 1181 | 1060 | 247 | 525 | 5246 | 2096 | 15005
2039-40 | 1870 | 1114 | 1432 | 88 | 959 | 1387 | 1245 | 292 | 614 | 6054 | 2458 | 17513
2040-41 | 2101 | 1247 | 1605 | 98 | 1073 | 1556 | 1398 | 328 | 689 | 6694 | 2750 | 19539
2041-42 | 2347 | 1393 | 1788 | 109 | 1197 | 1737 | 1561 | 366 | 767 | 7361 | 3065 | 21691
2042-43 | 2560 | 1519 | 1948 | 120 | 1302 | 1897 | 1706 | 400 | 835 | 7949 | 3338 | 23574
2043-44 | 2767 | 1641 | 2102 | 128 | 1403 | 2050 | 1847 | 433 | 903 | 8511 | 3604 | 25389
2044-45 | 2936 | 1742 | 2229 | 135 | 1486 | 2179 | 1963 | 460 | 958 | 8958 | 3822 | 26868
2045-46 | 3090 | 1834 | 2345 | 141 | 1561 | 2296 | 2074 | 486 | 1010 | 9398 | 4025 | 28260
2046-47 | 3220 | 1913 | 2441 | 147 | 1625 | 2398 | 2170 | 507 | 1055 | 9772 | 4199 | 29447
2047-48 | 3318 | 1971 | 2514 | 151 | 1671 | 2474 | 2244 | 524 | 1087 | 10033 | 4330 | 30317
2048-49 | 3376 | 2007 | 2556 | 153 | 1697 | 2523 | 2294 | 535 | 1110 | 10188 | 4411 | 30850
2049-50 | 3424 | 2037 | 2593 | 155 | 1719 | 2566 | 2337 | 545 | 1128 | 10348 | 4484 | 31336
2050-51 | 3459 | 2059 | 2618 | 154 | 1734 | 2597 | 2372 | 552 | 1144 | 10446 | 4535 | 31670
2051-52 | 3461 | 2063 | 2619 | 155 | 1732 | 2605 | 2384 | 553 | 1147 | 10460 | 4546 | 31725
2052-53 | 3455 | 2061 | 2617 | 154 | 1729 | 2610 | 2394 | 556 | 1151 | 10478 | 4553 | 31758
2053-54 | 3457 | 2066 | 2616 | 153 | 1727 | 2616 | 2407 | 557 | 1156 | 10510 | 4565 | 31830
2054-55 | 3453 | 2066 | 2614 | 152 | 1722 | 2621 | 2417 | 559 | 1160 | 10528 | 4570 | 31862
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13d-H
Table I-13d: Electrification Impacts by Scenario
Reflects Cumulative Impacts
NYCA Annual Energy Usage - GWh
Year | Baseline Forecast |  |  | Lower Demand Scenario |  |  | Higher Demand Scenario |  |  | Policy Scenario
| EV | Building | Total | EV | Building | Total | EV | Building | Total | EV | Building | Total
2024 | 1124 | 254 | 1378 | 956 | 254 | 1210 | 1203 | 254 | 1457 | 1203 | 254 | 1457
2025 | 1652 | 565 | 2217 | 1158 | 719 | 1877 | 1802 | 1052 | 2854 | 1802 | 1135 | 2937
2026 | 2374 | 1253 | 3627 | 1544 | 1285 | 2829 | 2616 | 2021 | 4637 | 2616 | 2204 | 4820
2027 | 3345 | 2085 | 5430 | 2073 | 1974 | 4047 | 3707 | 3194 | 6901 | 3707 | 3500 | 7207
2028 | 4501 | 3089 | 7590 | 2835 | 2797 | 5632 | 5027 | 4609 | 9636 | 5027 | 5061 | 10088
2029 | 5846 | 4189 | 10035 | 3741 | 3705 | 7446 | 6581 | 6163 | 12744 | 6581 | 6773 | 13354
2030 | 7394 | 5518 | 12912 | 4808 | 4798 | 9606 | 8392 | 8038 | 16430 | 8392 | 8841 | 17233
2031 | 9114 | 7050 | 16164 | 6015 | 6059 | 12074 | 10429 | 10198 | 20627 | 10429 | 11223 | 21652
2032 | 11011 | 8847 | 19858 | 7380 | 7539 | 14919 | 12698 | 12734 | 25432 | 12698 | 14021 | 26719
2033 | 13126 | 10929 | 24055 | 8926 | 9253 | 18179 | 15244 | 15671 | 30915 | 15244 | 17261 | 32505
2034 | 15459 | 13181 | 28640 | 10665 | 11110 | 21775 | 18092 | 18849 | 36941 | 18092 | 20767 | 38859
2035 | 18014 | 15773 | 33787 | 12610 | 13245 | 25855 | 21277 | 22510 | 43787 | 21277 | 24803 | 46080
2036 | 20543 | 18664 | 39207 | 14587 | 15625 | 30212 | 24455 | 26587 | 51042 | 24455 | 29303 | 53758
2037 | 23025 | 21740 | 44765 | 16579 | 18157 | 34736 | 27598 | 30922 | 58520 | 27598 | 34087 | 61685
2038 | 25421 | 25058 | 50479 | 18557 | 20896 | 39453 | 30689 | 35609 | 66298 | 30689 | 39255 | 69944
2039 | 27706 | 28595 | 56301 | 20503 | 23807 | 44310 | 33693 | 40597 | 74290 | 33693 | 44759 | 78452
2040 | 29869 | 32131 | 62000 | 22404 | 26716 | 49120 | 36589 | 45582 | 82171 | 36589 | 50258 | 86847
2041 | 31878 | 35615 | 67493 | 24228 | 29589 | 53817 | 39349 | 50500 | 89849 | 39349 | 55686 | 95035
2042 | 33731 | 38995 | 72726 | 25973 | 32368 | 58341 | 41961 | 55268 | 97229 | 41961 | 60942 | 102903
2043 | 35421 | 42108 | 77529 | 27628 | 34933 | 62561 | 44417 | 59660 | 104077 | 44417 | 65786 | 110203
2044 | 36937 | 44884 | 81821 | 29181 | 37220 | 66401 | 46710 | 63576 | 110286 | 46710 | 70106 | 116816
2045 | 38280 | 47322 | 85602 | 30622 | 39228 | 69850 | 48809 | 67014 | 115823 | 48809 | 73902 | 122711
2046 | 39417 | 49320 | 88737 | 31927 | 40875 | 72802 | 50694 | 69834 | 120528 | 50694 | 77010 | 127704
2047 | 40344 | 50942 | 91286 | 33082 | 42208 | 75290 | 52338 | 72120 | 124458 | 52338 | 79534 | 131872
2048 | 41064 | 52326 | 93390 | 34083 | 43348 | 77431 | 53743 | 74074 | 127817 | 53743 | 81689 | 135432
2049 | 41602 | 53223 | 94825 | 34947 | 44088 | 79035 | 54905 | 75342 | 130247 | 54905 | 83088 | 137993
2050 | 41979 | 54012 | 95991 | 35682 | 44738 | 80420 | 55879 | 76454 | 132333 | 55879 | 84315 | 140194
2051 | 42127 | 54563 | 96690 | 36230 | 45190 | 81420 | 56522 | 77230 | 133752 | 56522 | 85172 | 141694
2052 | 42170 | 55047 | 97217 | 36689 | 45591 | 82280 | 56976 | 77914 | 134890 | 56976 | 85925 | 142901
2053 | 42131 | 55297 | 97428 | 37075 | 45797 | 82872 | 57286 | 78267 | 135553 | 57286 | 86314 | 143600
2054 | 42092 | 55509 | 97601 | 37461 | 45971 | 83432 | 57596 | 78566 | 136162 | 57596 | 86643 | 144239
Note: Electric Vehicle annual energy usage from Tables I-1b, I-11b, I-15a, I-16a, and I-17a.
Includes light duty vehicles, medium and heavy duty vechiles, and buses.
Note: Building electrification annual energy usage from Tables I-1b, I-13a, I-15a, I-16a, and I-17a.
Includes electrification of space heating, water heating, cooking, and other end uses.

## I-14-H
Table I-14-H: Interconnecting Large Loads Forecast - Higher Demand Scenario
Reflects Cumulative Existing and Future Load Impacts of Large Load Projects
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 1480 | 0 | 0 | 1300 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 2860
2025 | 2660 | 1180 | 470 | 1710 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 6150
2026 | 3770 | 1960 | 1370 | 4570 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 11830
2027 | 4330 | 1960 | 2040 | 6520 | 160 | 320 | 0 | 0 | 0 | 0 | 0 | 15330
2028 | 4330 | 1960 | 2880 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 17420
2029 | 4330 | 1960 | 3960 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 18500
2030 | 4330 | 1960 | 5440 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 19980
2031 | 4330 | 1960 | 6240 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 20780
2032 | 4330 | 1960 | 7050 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 21590
2033 | 4330 | 1960 | 7850 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 22390
2034 | 4330 | 1960 | 8060 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 22600
2035 | 4330 | 1960 | 8260 | 6520 | 160 | 1570 | 0 | 0 | 0 | 0 | 0 | 22800
Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 188 | 0 | 0 | 169 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 368
2025 | 338 | 150 | 60 | 213 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 780
2026 | 550 | 248 | 182 | 618 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1619
2027 | 550 | 248 | 278 | 840 | 21 | 40 | 0 | 0 | 0 | 0 | 0 | 1977
2028 | 550 | 248 | 398 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2257
2029 | 550 | 248 | 552 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2411
2030 | 550 | 248 | 763 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2622
2031 | 550 | 248 | 878 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2737
2032 | 550 | 248 | 993 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2852
2033 | 550 | 248 | 1108 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2967
2034 | 550 | 248 | 1137 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2996
2035 | 550 | 248 | 1166 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 3025
Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 238 | 0 | 0 | 173 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 422
2025-26 | 338 | 150 | 60 | 414 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 983
2026-27 | 550 | 248 | 182 | 728 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1729
2027-28 | 550 | 248 | 278 | 840 | 21 | 40 | 0 | 0 | 0 | 0 | 0 | 1977
2028-29 | 550 | 248 | 398 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2257
2029-30 | 550 | 248 | 552 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2411
2030-31 | 550 | 248 | 763 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2622
2031-32 | 550 | 248 | 878 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2737
2032-33 | 550 | 248 | 993 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2852
2033-34 | 550 | 248 | 1108 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2967
2034-35 | 550 | 248 | 1137 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 2996
2035-36 | 550 | 248 | 1166 | 840 | 21 | 200 | 0 | 0 | 0 | 0 | 0 | 3025
Notes:
Forecasts for 2036 onward match the final year forecasts in these tables.
These forecast values are embedded in the final annual energy, summer peak, and winter peak demand forecasts.
Table IV-7 lists the NYISO Interconnection Queue information for proposed interconnecting large loads. These forecast tables do not necessarily reflect the proposed date and MW values listed in Table IV-7, and include impacts for load projects not listed in the NYISO IQ as of March 15, 2024.

## I-22-H
Table I-22-H: Higher Demand Scenario Electrolysis Forecast
Impacts from Clean Hydrogen Production
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 188 | 99 | 321 | 122 | 210 | 99 | 66 | 0 | 0 | 0 | 0 | 1105
2030 | 393 | 208 | 671 | 254 | 439 | 208 | 138 | 0 | 0 | 0 | 0 | 2311
2031 | 595 | 315 | 1016 | 385 | 665 | 315 | 210 | 0 | 0 | 0 | 0 | 3501
2032 | 792 | 419 | 1353 | 513 | 886 | 419 | 280 | 0 | 0 | 0 | 0 | 4662
2033 | 983 | 520 | 1678 | 636 | 1099 | 520 | 347 | 0 | 0 | 0 | 0 | 5783
2034 | 1174 | 621 | 2004 | 760 | 1313 | 621 | 414 | 0 | 0 | 0 | 0 | 6907
2035 | 1399 | 740 | 2387 | 905 | 1563 | 740 | 493 | 0 | 0 | 0 | 0 | 8227
2036 | 1688 | 893 | 2880 | 1092 | 1887 | 893 | 596 | 0 | 0 | 0 | 0 | 9929
2037 | 2075 | 1098 | 3540 | 1342 | 2319 | 1098 | 732 | 0 | 0 | 0 | 0 | 12204
2038 | 2526 | 1337 | 4310 | 1635 | 2824 | 1337 | 892 | 0 | 0 | 0 | 0 | 14861
2039 | 2993 | 1584 | 5106 | 1937 | 3345 | 1584 | 1056 | 0 | 0 | 0 | 0 | 17605
2040 | 3424 | 1812 | 5841 | 2215 | 3827 | 1812 | 1208 | 0 | 0 | 0 | 0 | 20139
2041 | 3803 | 2013 | 6489 | 2461 | 4251 | 2013 | 1342 | 0 | 0 | 0 | 0 | 22372
2042 | 4153 | 2198 | 7085 | 2687 | 4642 | 2198 | 1466 | 0 | 0 | 0 | 0 | 24429
2043 | 4485 | 2374 | 7652 | 2902 | 5013 | 2374 | 1583 | 0 | 0 | 0 | 0 | 26383
2044 | 4802 | 2542 | 8192 | 3107 | 5367 | 2542 | 1695 | 0 | 0 | 0 | 0 | 28247
2045 | 5085 | 2692 | 8675 | 3290 | 5683 | 2692 | 1795 | 0 | 0 | 0 | 0 | 29912
2046 | 5329 | 2821 | 9092 | 3449 | 5957 | 2821 | 1881 | 0 | 0 | 0 | 0 | 31350
2047 | 5545 | 2936 | 9460 | 3588 | 6198 | 2936 | 1957 | 0 | 0 | 0 | 0 | 32620
2048 | 5745 | 3041 | 9800 | 3717 | 6421 | 3041 | 2027 | 0 | 0 | 0 | 0 | 33792
2049 | 5934 | 3141 | 10124 | 3840 | 6632 | 3141 | 2094 | 0 | 0 | 0 | 0 | 34906
2050 | 6113 | 3236 | 10428 | 3955 | 6832 | 3236 | 2157 | 0 | 0 | 0 | 0 | 35957
2051 | 6284 | 3327 | 10721 | 4066 | 7024 | 3327 | 2218 | 0 | 0 | 0 | 0 | 36967
2052 | 6452 | 3415 | 11006 | 4175 | 7211 | 3415 | 2277 | 0 | 0 | 0 | 0 | 37951
2053 | 6619 | 3504 | 11292 | 4283 | 7398 | 3504 | 2336 | 0 | 0 | 0 | 0 | 38936
2054 | 6744 | 3570 | 11506 | 4364 | 7538 | 3570 | 2380 | 0 | 0 | 0 | 0 | 39672
Note: Reflects Climate Action Council Integration Analysis Scenario 2 electrolysis forecast for hydrogen production (50% in-state and 50% out-of-state),
discounted to reflect 100% LDV EV sales saturation in the Higher Demand Scenario forecast beginning in 2035,
and excluding hydrogen-producing large load facilities already accounted for in the large load forecast.