## I-1a
Table I-1a: NYCA Baseline Energy and Demand Forecasts
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
2024 Long Term Forecast1 - 2024 to 2054
Energy - GWh |  |  |  | Summer Peak Demand2 - MW |  |  |  | Winter Peak Demand2 - MW
Year | Low3 | Baseline4 | High3 | Year | Low3 | Baseline4, 5 | High3 | Year | Low3 | Baseline4 | High3
2023 |  | 149518 |  | 2023 |  | 31288 |  | 2023-24 |  | 23370
2024 | 149160 | 150540 | 151640 | 2024 | 31270 | 31541 | 31790 | 2024-25 | 23570 | 23800 | 24050
2025 | 148500 | 151020 | 154790 | 2025 | 31200 | 31650 | 32200 | 2025-26 | 23820 | 24210 | 24960
2026 | 149430 | 152990 | 159050 | 2026 | 31260 | 31900 | 32910 | 2026-27 | 24120 | 24730 | 25790
2027 | 149660 | 154530 | 162960 | 2027 | 31230 | 32110 | 33450 | 2027-28 | 24410 | 25270 | 26690
2028 | 149830 | 155100 | 167010 | 2028 | 31190 | 32130 | 33940 | 2028-29 | 24720 | 25760 | 27610
2029 | 150350 | 156660 | 171340 | 2029 | 31170 | 32340 | 34400 | 2029-30 | 25090 | 26350 | 28560
2030 | 151560 | 159050 | 176470 | 2030 | 31220 | 32580 | 34910 | 2030-31 | 25550 | 27020 | 29650
2031 | 153600 | 162360 | 182520 | 2031 | 31350 | 32880 | 35480 | 2031-32 | 26090 | 27900 | 30960
2032 | 156370 | 166530 | 189410 | 2032 | 31560 | 33320 | 36130 | 2032-33 | 26780 | 28850 | 32540
2033 | 159560 | 171380 | 196920 | 2033 | 31800 | 33830 | 36810 | 2033-34 | 27630 | 29950 | 34350
2034 | 162840 | 176040 | 204840 | 2034 | 32030 | 34210 | 37480 | 2034-35 | 28660 | 31480 | 36370
2035 | 166110 | 180640 | 213150 | 2035 | 32230 | 34520 | 38150 | 2035-36 | 29790 | 32990 | 38570
2036 | 169340 | 185190 | 221970 | 2036 | 32420 | 34870 | 38820 | 2036-37 | 31010 | 34490 | 40850
2037 | 172600 | 189800 | 231340 | 2037 | 32650 | 35280 | 39530 | 2037-38 | 32270 | 36100 | 43260
2038 | 175990 | 194470 | 241230 | 2038 | 32900 | 35700 | 40250 | 2038-39 | 33590 | 37740 | 45730
2039 | 179430 | 199390 | 251330 | 2039 | 33140 | 36100 | 40980 | 2039-40 | 34910 | 39520 | 48360
2040 | 182850 | 204080 | 261290 | 2040 | 33360 | 36450 | 41670 | 2040-41 | 36220 | 41200 | 50980
2041 | 186190 | 208540 | 270950 | 2041 | 33550 | 36740 | 42330 | 2041-42 | 37420 | 42850 | 53520
2042 | 189430 | 212740 | 280190 | 2042 | 33700 | 37000 | 42950 | 2042-43 | 38520 | 44200 | 55820
2043 | 192510 | 216910 | 288960 | 2043 | 33830 | 37210 | 43540 | 2043-44 | 39480 | 45410 | 57910
2044 | 195400 | 220660 | 297160 | 2044 | 33930 | 37400 | 44100 | 2044-45 | 40320 | 46430 | 59770
2045 | 198000 | 223970 | 304610 | 2045 | 34010 | 37570 | 44630 | 2045-46 | 41040 | 47400 | 61470
2046 | 200200 | 226610 | 311260 | 2046 | 34050 | 37710 | 45130 | 2046-47 | 41650 | 48230 | 62920
2047 | 202080 | 228970 | 317120 | 2047 | 34090 | 37820 | 45590 | 2047-48 | 42130 | 48880 | 64140
2048 | 203560 | 230680 | 322220 | 2048 | 34110 | 37910 | 46000 | 2048-49 | 42480 | 49350 | 65100
2049 | 204720 | 232030 | 326700 | 2049 | 34130 | 38000 | 46390 | 2049-50 | 42710 | 49640 | 65870
2050 | 205600 | 232860 | 330570 | 2050 | 34140 | 38080 | 46760 | 2050-51 | 42830 | 49840 | 66460
2051 | 206260 | 233690 | 333970 | 2051 | 34150 | 38160 | 47120 | 2051-52 | 42910 | 49950 | 66920
2052 | 206680 | 234030 | 336890 | 2052 | 34150 | 38210 | 47460 | 2052-53 | 42950 | 50040 | 67280
2053 | 206890 | 234210 | 338920 | 2053 | 34150 | 38260 | 47690 | 2053-54 | 42980 | 50080 | 67520
2054 | 206950 | 234110 | 340290 | 2054 | 34140 | 38300 | 47880 | 2054-55 | 42980 | 50110 | 67670
Average Annual Growth - Percent
Period | Low | Baseline | High | Period | Low | Baseline | High | Period | Low | Baseline | High
2024-29 | 0.1596% | 0.8131% | 2.598% | 2024-29 | -0.06396% | 0.5066% | 1.642% | 2024-29 | 1.29% | 2.143% | 3.751%
2029-34 | 1.661% | 2.474% | 3.91% | 2029-34 | 0.5518% | 1.156% | 1.791% | 2029-34 | 2.846% | 3.894% | 5.469%
2034-39 | 2.038% | 2.653% | 4.539% | 2034-39 | 0.6931% | 1.105% | 1.868% | 2034-39 | 4.361% | 5.108% | 6.593%
2039-44 | 1.78% | 2.134% | 3.647% | 2039-44 | 0.4768% | 0.7202% | 1.523% | 2039-44 | 3.099% | 3.497% | 4.719%
2024-34 | 0.9171% | 1.694% | 3.508% | 2024-34 | 0.243% | 0.8462% | 1.79% | 2024-34 | 2.16% | 3.227% | 5.123%
2034-44 | 2% | 2.535% | 4.507% | 2034-44 | 0.5932% | 0.9325% | 1.766% | 2034-44 | 4.068% | 4.749% | 6.434%
2044-54 | 0.5911% | 0.6095% | 1.451% | 2044-54 | 0.06189% | 0.2406% | 0.8571% | 2044-54 | 0.6597% | 0.7926% | 1.322%
2024-44 | 1.55% | 2.329% | 4.798% | 2024-44 | 0.4253% | 0.9288% | 1.936% | 2024-44 | 3.553% | 4.754% | 7.426%
2024-54 | 1.291% | 1.85% | 4.147% | 2024-54 | 0.3059% | 0.7143% | 1.687% | 2024-54 | 2.745% | 3.685% | 6.046%
Notes
1. All results in the Section I tables include transmission & distribution losses.
2. Summer Capability period is from May 1 to October 31. Winter Capability period is from November 1 of the current year to April 30 of the next year.
3. The low and high columns reflect the Lower Demand and Higher Demand Scenario forecasts under expected weather conditions, which are summarized in Tables I-15 and I-16.
These do not reflect the 90th and 10th percentile forecasts due to weather, which are found in Tables I-6 and I-7.
4. Energy and peak figures for 2023 are weather-normalized. The values for the actual annual energy, summer peak, and winter peak are reported in Tables I-2, I-3a, and I-3b respectively.
5. The 2024 NYCA summer peak forecast is the same as the 2024 ICAP forecast.

## Notes
2024 Gold Book Lower Demand Scenario Tables Notes
The following lower demand scenario forecasts are the same as the baseline forecast:
Forecast | Tables
Energy Efficiency and Codes & Standards | I-8a,b,c
Behind-the-Meter Solar PV | I-9a,b,c,d
Behind-the-Meter Non-Solar Distributed Generation | I-10a,b,c
Energy Storage | I-12a,b,c
Interconnecting Large Loads | I-14

## I-15
Table I-15a: Summary of NYCA Lower Demand Scenario Annual Energy Forecasts - GWh | [10 empty] | Table I-15b: Summary of NYCA Lower Demand Scenario Summer Coincident Peak Demand Forecasts - MW | [10 empty] | Table I-15c: Summary of NYCA Lower Demand Scenario Winter Coincident Peak Demand Forecasts - MW
Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
|  | (-) | (-) | (-) | (+) | (+) | (+) | (+) | (+) | =a-b-c-d+e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i
| Econometric Energy | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | Storage Net Energy Consumption | EV Energy | Building Electrification | Large Load Projects | Electrolysis | Lower Demand Scenario Annual Energy Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Lower Demand Scenario Summer Peak Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Lower Demand Scenario Winter Peak Forecast
2024 | 155694.5625 | 2422 | 6285 | 2013 | 115.4375 | 956 | 254 | 2860 | 0 | 149160 | 2024 | 33256 | 406 | 1505 | 351 | 239 | 134 | 13 | 368 | 0 | 31270 | 2024-25 | 23713 | 349 | 0 | 351 | 239 | 250 | 174 | 372 | 0 | 23570
2025 | 155858.5625 | 4973 | 7402 | 2068 | 247.4375 | 1158 | 719 | 4960 | 0 | 148500 | 2025 | 33408 | 864 | 1503 | 361 | 297 | 161 | 26 | 630 | 0 | 31200 | 2025-26 | 23839 | 722 | 0 | 361 | 297 | 278 | 300 | 783 | 0 | 23820
2026 | 155426.5625 | 7288 | 8459 | 2101 | 352.4375 | 1544 | 1285 | 8670 | 0 | 149430 | 2026 | 33414 | 1300 | 1496 | 367 | 356 | 220 | 54 | 1091 | 0 | 31260 | 2026-27 | 23917 | 1065 | 0 | 367 | 356 | 375 | 415 | 1201 | 0 | 24120
2027 | 155233.5625 | 9588 | 9448 | 2133 | 618.4375 | 2073 | 1974 | 10930 | 0 | 149660 | 2027 | 33488 | 1773 | 1482 | 372 | 423 | 302 | 81 | 1409 | 0 | 31230 | 2027-28 | 24122 | 1414 | 0 | 372 | 423 | 509 | 579 | 1409 | 0 | 24410
2028 | 156039.5625 | 11832 | 10329 | 2164 | 713.4375 | 2835 | 2797 | 11770 | 0 | 149830 | 2028 | 33686 | 2241 | 1469 | 378 | 492 | 432 | 123 | 1529 | 0 | 31190 | 2028-29 | 24282 | 1759 | 0 | 378 | 492 | 702 | 836 | 1529 | 0 | 24720
2029 | 156598.5625 | 14073 | 11089 | 2193 | 810.4375 | 3741 | 3705 | 12850 | 0 | 150350 | 2029 | 33816 | 2706 | 1439 | 383 | 562 | 588 | 173 | 1683 | 0 | 31170 | 2029-30 | 24320 | 2112 | 0 | 383 | 562 | 932 | 1212 | 1683 | 0 | 25090
2030 | 156980.5625 | 16319 | 11723 | 2222 | 907.4375 | 4808 | 4798 | 14330 | 0 | 151560 | 2030 | 33901 | 3146 | 1394 | 388 | 638 | 761 | 230 | 1894 | 0 | 31220 | 2030-31 | 24236 | 2470 | 0 | 388 | 638 | 1184 | 1732 | 1894 | 0 | 25550
2031 | 158440.5625 | 18551 | 12238 | 2251 | 995.4375 | 6015 | 6059 | 15130 | 0 | 153600 | 2031 | 34127 | 3593 | 1342 | 392 | 714 | 960 | 295 | 2009 | 0 | 31350 | 2031-32 | 24163 | 2840 | 0 | 392 | 714 | 1459 | 2405 | 2009 | 0 | 26090
2032 | 160120.5625 | 20760 | 12652 | 2278 | 1080.4375 | 7380 | 7539 | 15940 | 0 | 156370 | 2032 | 34413 | 4041 | 1282 | 397 | 794 | 1170 | 367 | 2124 | 0 | 31560 | 2032-33 | 24226 | 3221 | 0 | 397 | 794 | 1754 | 3088 | 2124 | 0 | 26780
2033 | 161661.5625 | 22896 | 12990 | 2306 | 1171.4375 | 8926 | 9253 | 16740 | 0 | 159560 | 2033 | 34686 | 4464 | 1224 | 402 | 871 | 1393 | 443 | 2239 | 0 | 31800 | 2033-34 | 24283 | 3602 | 0 | 402 | 871 | 2058 | 3925 | 2239 | 0 | 27630
2034 | 163127.5625 | 24891 | 13252 | 2329 | 1259.4375 | 10665 | 11110 | 17150 | 0 | 162840 | 2034 | 34975 | 4862 | 1168 | 406 | 953 | 1623 | 524 | 2297 | 0 | 32030 | 2034-35 | 24245 | 3974 | 0 | 406 | 953 | 2372 | 5079 | 2297 | 0 | 28660
2035 | 164353.5625 | 26747 | 13497 | 2352 | 1347.4375 | 12610 | 13245 | 17150 | 0 | 166110 | 2035 | 35243 | 5228 | 1108 | 410 | 1034 | 1861 | 609 | 2297 | 0 | 32230 | 2035-36 | 24482 | 4338 | 0 | 410 | 1034 | 2686 | 6107 | 2297 | 0 | 29790
2036 | 165132.5625 | 28464 | 13750 | 2375 | 1434.4375 | 14587 | 15625 | 17150 | 0 | 169340 | 2036 | 35474 | 5570 | 1042 | 414 | 1115 | 2095 | 695 | 2297 | 0 | 32420 | 2036-37 | 24607 | 4693 | 0 | 414 | 1115 | 2998 | 7330 | 2297 | 0 | 31010
2037 | 165622.5625 | 30063 | 13974 | 2396 | 1524.4375 | 16579 | 18157 | 17150 | 0 | 172600 | 2037 | 35719 | 5888 | 988 | 418 | 1193 | 2333 | 788 | 2297 | 0 | 32650 | 2037-38 | 24741 | 5051 | 0 | 418 | 1193 | 3306 | 8588 | 2297 | 0 | 32270
2038 | 165993.5625 | 31616 | 14185 | 2419 | 1613.4375 | 18557 | 20896 | 17150 | 0 | 175990 | 2038 | 35982 | 6192 | 937 | 421 | 1273 | 2566 | 878 | 2297 | 0 | 32900 | 2038-39 | 24780 | 5416 | 0 | 421 | 1273 | 3606 | 10017 | 2297 | 0 | 33590
2039 | 166220.5625 | 33125 | 14384 | 2442 | 1700.4375 | 20503 | 23807 | 17150 | 0 | 179430 | 2039 | 36230 | 6491 | 877 | 426 | 1352 | 2792 | 967 | 2297 | 0 | 33140 | 2039-40 | 25137 | 5782 | 0 | 426 | 1352 | 3899 | 11137 | 2297 | 0 | 34910
2040 | 166421.5625 | 34614 | 14555 | 2461 | 1788.4375 | 22404 | 26716 | 17150 | 0 | 182850 | 2040 | 36419 | 6756 | 811 | 429 | 1427 | 3009 | 1058 | 2297 | 0 | 33360 | 2040-41 | 25345 | 6149 | 0 | 429 | 1427 | 4170 | 12413 | 2297 | 0 | 36220
2041 | 166608.5625 | 36065 | 14722 | 2480 | 1881.4375 | 24228 | 29589 | 17150 | 0 | 186190 | 2041 | 36587 | 7026 | 745 | 433 | 1506 | 3228 | 1148 | 2297 | 0 | 33550 | 2041-42 | 25570 | 6508 | 0 | 433 | 1506 | 4445 | 13555 | 2297 | 0 | 37420
2042 | 166823.5625 | 37488 | 14870 | 2498 | 1971.4375 | 25973 | 32368 | 17150 | 0 | 189430 | 2042 | 36694 | 7269 | 679 | 435 | 1577 | 3436 | 1233 | 2297 | 0 | 33700 | 2042-43 | 25725 | 6871 | 0 | 435 | 1577 | 4702 | 14679 | 2297 | 0 | 38520
2043 | 167080.5625 | 38822 | 15005 | 2517 | 2062.4375 | 27628 | 34933 | 17150 | 0 | 192510 | 2043 | 36807 | 7513 | 623 | 439 | 1647 | 3629 | 1319 | 2297 | 0 | 33830 | 2043-44 | 25888 | 7227 | 0 | 439 | 1647 | 4936 | 15672 | 2297 | 0 | 39480
2044 | 167442.5625 | 40075 | 15130 | 2537 | 2148.4375 | 29181 | 37220 | 17150 | 0 | 195400 | 2044 | 36855 | 7718 | 560 | 442 | 1711 | 3811 | 1398 | 2297 | 0 | 33930 | 2044-45 | 25988 | 7569 | 0 | 442 | 1711 | 5151 | 16606 | 2297 | 0 | 40320
2045 | 167830.5625 | 41275 | 15245 | 2550 | 2239.4375 | 30622 | 39228 | 17150 | 0 | 198000 | 2045 | 36897 | 7917 | 502 | 445 | 1771 | 3976 | 1475 | 2297 | 0 | 34010 | 2045-46 | 26158 | 7907 | 0 | 445 | 1771 | 5349 | 17359 | 2297 | 0 | 41040
2046 | 168288.5625 | 42454 | 15352 | 2562 | 2327.4375 | 31927 | 40875 | 17150 | 0 | 200200 | 2046 | 36964 | 8111 | 450 | 446 | 1826 | 4089 | 1533 | 2297 | 0 | 34050 | 2046-47 | 26447 | 8249 | 0 | 446 | 1826 | 5468 | 17959 | 2297 | 0 | 41650
2047 | 168839.5625 | 43593 | 15444 | 2576 | 2413.4375 | 33082 | 42208 | 17150 | 0 | 202080 | 2047 | 37063 | 8286 | 403 | 449 | 1875 | 4181 | 1562 | 2297 | 0 | 34090 | 2047-48 | 26730 | 8587 | 0 | 449 | 1875 | 5567 | 18447 | 2297 | 0 | 42130
2048 | 169324.5625 | 44713 | 15544 | 2589 | 2500.4375 | 34083 | 43348 | 17150 | 0 | 203560 | 2048 | 37082 | 8450 | 364 | 451 | 1922 | 4266 | 1652 | 2297 | 0 | 34110 | 2048-49 | 26993 | 8919 | 0 | 451 | 1922 | 5652 | 18830 | 2297 | 0 | 42480
2049 | 170003.5625 | 45821 | 15628 | 2603 | 2583.4375 | 34947 | 44088 | 17150 | 0 | 204720 | 2049 | 37171 | 8620 | 331 | 454 | 1964 | 4335 | 1696 | 2297 | 0 | 34130 | 2049-50 | 27341 | 9251 | 0 | 454 | 1964 | 5719 | 19022 | 2297 | 0 | 42710
2050 | 170582.5625 | 46909 | 15696 | 2615 | 2667.4375 | 35682 | 44738 | 17150 | 0 | 205600 | 2050 | 37263 | 8776 | 304 | 456 | 2001 | 4387 | 1730 | 2297 | 0 | 34140 | 2050-51 | 27699 | 9565 | 0 | 456 | 2001 | 5767 | 19089 | 2297 | 0 | 42830
2051 | 171298.5625 | 47961 | 15769 | 2628 | 2749.4375 | 36230 | 45190 | 17150 | 0 | 206260 | 2051 | 37372 | 8925 | 278 | 459 | 2036 | 4426 | 1753 | 2297 | 0 | 34150 | 2051-52 | 28041 | 9871 | 0 | 459 | 2036 | 5797 | 19141 | 2297 | 0 | 42910
2052 | 171895.5625 | 48995 | 15840 | 2642 | 2831.4375 | 36689 | 45591 | 17150 | 0 | 206680 | 2052 | 37486 | 9064 | 267 | 461 | 2063 | 4456 | 1766 | 2297 | 0 | 34150 | 2052-53 | 28383 | 10171 | 0 | 461 | 2063 | 5824 | 19141 | 2297 | 0 | 42950
2053 | 172556.5625 | 50040 | 15905 | 2655 | 2911.4375 | 37075 | 45797 | 17150 | 0 | 206890 | 2053 | 37646 | 9212 | 256 | 464 | 2093 | 4478 | 1754 | 2297 | 0 | 34150 | 2053-54 | 28735 | 10480 | 0 | 464 | 2093 | 5836 | 19149 | 2297 | 0 | 42980
2054 | 173023.5625 | 51033 | 15950 | 2668 | 2995.4375 | 37461 | 45971 | 17150 | 0 | 206950 | 2054 | 37797 | 9348 | 253 | 465 | 2120 | 4490 | 1742 | 2297 | 0 | 34140 | 2054-55 | 29027 | 10781 | 0 | 465 | 2120 | 5849 | 19173 | 2297 | 0 | 42980
(a) - Econometric Energy Forecast - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Summer Peak Demand - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Winter Peak Demand - Reflects impacts of projected weather trendsand economic growth
(b) - Table I-8a: Energy Efficiency and Codes & Standards Energy Impacts, Relative to 2023 | [10 empty] | (b) - Table I-8b: Energy Efficiency and Codes & Standards Summer Coincident Peak Demand Reductions, Relative to 2023 | [10 empty] | (b) - Table I-8c: Energy Efficiency and Codes & Standards Winter Coincident Peak Demand Reductions, Relative to 2023-24
(c) - Table I-9b: Solar PV Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (c) - Table I-9c: Solar PV Impacts, Behind-the-Meter, Total Reductions in Summer Coincident Peak Demand | [10 empty] | (c) - The forecast of solar PV-related reductions to the winter peak is zero because the system typically peaks after sunset
(d) - Table I-10b: Non-Solar Distributed Generation Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (d) - Table I-10d: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand | [10 empty] | (d) - Table I-10c: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand
(e) - Table I-12b: Storage Annual Net Energy Consumption, both wholesale and behind-the-meter (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources)
(f) - Table I-11b-L: Electric Vehicle Energy Usage | [10 empty] | (f) - Table I-11c-L: Electric Vehicle Summer Coincident Peak Demand | [10 empty] | (f) - Table I-11d-L: Electric Vehicle Winter Coincident Peak Demand
(g) - Table I-13a-L: Building Electrification Energy Usage - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13b-L: Building Electrification Summer Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13c-L: Building Electrification Winter Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses
(h) - Table I-14: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14: Large Loads Forecast - reflects existing plus future load growth
(i) - There is no electrolysis in the Lower Demand Scenario beyond that included in the large loads forecast | [10 empty] | (i) - There is no electrolysis in the Lower Demand Scenario beyond that included in the large loads forecast | [10 empty] | (i) - There is no electrolysis in the Lower Demand Scenario beyond that included in the large loads forecast
(j) - Table I-2-L: Lower Demand Scenario Annual Energy Forecast | [10 empty] | (j) - Table I-3a-L: Lower Demand Scenario Summer Coincident Peak Demand Forecast | [10 empty] | (j) - Table I-3b-L: Lower Demand Scenario Winter Coincident Peak Demand Forecast

## I-2-L
Table I-2-L: Lower Demand Scenario Annual Energy Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 15360 | 9210 | 14820 | 5740 | 7130 | 11180 | 9110 | 2730 | 5430 | 48910 | 19540 | 149160
2025 | 15670 | 9800 | 14570 | 5810 | 6820 | 10800 | 9070 | 2690 | 5430 | 48350 | 19490 | 148500
2026 | 15670 | 9920 | 14590 | 7230 | 6620 | 10640 | 9070 | 2680 | 5440 | 48080 | 19490 | 149430
2027 | 15570 | 9960 | 14730 | 8000 | 6390 | 10470 | 9090 | 2680 | 5450 | 47790 | 19530 | 149660
2028 | 15380 | 9840 | 15130 | 8450 | 6200 | 10360 | 9140 | 2690 | 5470 | 47570 | 19600 | 149830
2029 | 15230 | 9700 | 15780 | 8590 | 6080 | 10310 | 9230 | 2720 | 5520 | 47470 | 19720 | 150350
2030 | 15200 | 9640 | 16620 | 8580 | 6040 | 10330 | 9370 | 2760 | 5580 | 47550 | 19890 | 151560
2031 | 15300 | 9680 | 17540 | 8580 | 6080 | 10440 | 9550 | 2820 | 5670 | 47830 | 20110 | 153600
2032 | 15520 | 9830 | 18480 | 8580 | 6200 | 10660 | 9770 | 2890 | 5780 | 48280 | 20380 | 156370
2033 | 15830 | 10040 | 19350 | 8590 | 6370 | 10940 | 10010 | 2980 | 5910 | 48840 | 20700 | 159560
2034 | 16190 | 10270 | 20050 | 8590 | 6570 | 11270 | 10280 | 3060 | 6040 | 49450 | 21070 | 162840
2035 | 16550 | 10520 | 20580 | 8590 | 6780 | 11600 | 10570 | 3160 | 6180 | 50110 | 21470 | 166110
2036 | 16900 | 10750 | 20970 | 8600 | 7000 | 11930 | 10880 | 3250 | 6330 | 50810 | 21920 | 169340
2037 | 17260 | 10990 | 21300 | 8600 | 7210 | 12270 | 11200 | 3350 | 6480 | 51550 | 22390 | 172600
2038 | 17640 | 11240 | 21610 | 8610 | 7440 | 12620 | 11530 | 3460 | 6650 | 52310 | 22880 | 175990
2039 | 18030 | 11500 | 21920 | 8630 | 7670 | 12970 | 11870 | 3560 | 6810 | 53090 | 23380 | 179430
2040 | 18420 | 11750 | 22240 | 8630 | 7900 | 13330 | 12210 | 3670 | 6980 | 53850 | 23870 | 182850
2041 | 18800 | 12000 | 22540 | 8630 | 8120 | 13680 | 12550 | 3780 | 7150 | 54590 | 24350 | 186190
2042 | 19160 | 12250 | 22830 | 8630 | 8340 | 14020 | 12880 | 3890 | 7310 | 55300 | 24820 | 189430
2043 | 19500 | 12470 | 23110 | 8630 | 8540 | 14340 | 13210 | 3990 | 7460 | 55990 | 25270 | 192510
2044 | 19810 | 12680 | 23350 | 8630 | 8720 | 14640 | 13540 | 4090 | 7610 | 56630 | 25700 | 195400
2045 | 20080 | 12860 | 23570 | 8630 | 8890 | 14910 | 13840 | 4180 | 7740 | 57200 | 26100 | 198000
2046 | 20300 | 13010 | 23740 | 8620 | 9020 | 15150 | 14130 | 4250 | 7850 | 57690 | 26440 | 200200
2047 | 20490 | 13130 | 23890 | 8610 | 9130 | 15360 | 14380 | 4310 | 7950 | 58090 | 26740 | 202080
2048 | 20630 | 13230 | 24000 | 8590 | 9200 | 15540 | 14610 | 4350 | 8020 | 58410 | 26980 | 203560
2049 | 20730 | 13300 | 24080 | 8570 | 9250 | 15690 | 14800 | 4390 | 8090 | 58650 | 27170 | 204720
2050 | 20800 | 13350 | 24130 | 8560 | 9280 | 15810 | 14970 | 4410 | 8140 | 58830 | 27320 | 205600
2051 | 20840 | 13390 | 24160 | 8540 | 9300 | 15910 | 15110 | 4430 | 8180 | 58970 | 27430 | 206260
2052 | 20860 | 13400 | 24170 | 8520 | 9300 | 15990 | 15230 | 4450 | 8210 | 59040 | 27510 | 206680
2053 | 20860 | 13410 | 24170 | 8510 | 9300 | 16030 | 15310 | 4460 | 8220 | 59070 | 27550 | 206890
2054 | 20850 | 13410 | 24160 | 8490 | 9290 | 16060 | 15360 | 4460 | 8230 | 59070 | 27570 | 206950
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3a-L
Table I-3a-L: Lower Demand Scenario Summer Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 2715 | 1839 | 2595 | 680 | 1322 | 2303 | 2124 | 603 | 1316 | 10860 | 4913 | 31270
2025 | 2784 | 1942 | 2520 | 680 | 1298 | 2239 | 2124 | 606 | 1315 | 10807 | 4885 | 31200
2026 | 2775 | 1939 | 2553 | 860 | 1252 | 2206 | 2127 | 609 | 1319 | 10750 | 4870 | 31260
2027 | 2761 | 1940 | 2568 | 959 | 1217 | 2179 | 2135 | 612 | 1323 | 10680 | 4856 | 31230
2028 | 2726 | 1920 | 2625 | 1018 | 1190 | 2160 | 2148 | 617 | 1329 | 10610 | 4847 | 31190
2029 | 2688 | 1897 | 2708 | 1037 | 1171 | 2148 | 2167 | 623 | 1338 | 10550 | 4843 | 31170
2030 | 2661 | 1878 | 2825 | 1035 | 1160 | 2140 | 2190 | 629 | 1347 | 10510 | 4845 | 31220
2031 | 2650 | 1869 | 2933 | 1033 | 1155 | 2139 | 2217 | 637 | 1358 | 10500 | 4859 | 31350
2032 | 2652 | 1867 | 3037 | 1032 | 1156 | 2147 | 2248 | 647 | 1369 | 10520 | 4885 | 31560
2033 | 2664 | 1869 | 3116 | 1031 | 1162 | 2161 | 2281 | 657 | 1381 | 10560 | 4918 | 31800
2034 | 2678 | 1871 | 3176 | 1031 | 1169 | 2175 | 2310 | 666 | 1393 | 10610 | 4951 | 32030
2035 | 2694 | 1874 | 3203 | 1030 | 1176 | 2188 | 2335 | 675 | 1403 | 10670 | 4982 | 32230
2036 | 2711 | 1879 | 3221 | 1031 | 1184 | 2204 | 2361 | 682 | 1413 | 10720 | 5014 | 32420
2037 | 2729 | 1890 | 3246 | 1031 | 1194 | 2226 | 2390 | 690 | 1424 | 10780 | 5050 | 32650
2038 | 2746 | 1905 | 3273 | 1032 | 1207 | 2251 | 2424 | 697 | 1436 | 10840 | 5089 | 32900
2039 | 2764 | 1919 | 3292 | 1032 | 1222 | 2276 | 2458 | 705 | 1447 | 10900 | 5125 | 33140
2040 | 2781 | 1931 | 3315 | 1031 | 1236 | 2301 | 2491 | 712 | 1457 | 10950 | 5155 | 33360
2041 | 2797 | 1940 | 3335 | 1030 | 1250 | 2324 | 2522 | 718 | 1465 | 10990 | 5179 | 33550
2042 | 2812 | 1947 | 3349 | 1029 | 1264 | 2346 | 2552 | 723 | 1471 | 11010 | 5197 | 33700
2043 | 2826 | 1954 | 3362 | 1028 | 1278 | 2368 | 2581 | 728 | 1475 | 11020 | 5210 | 33830
2044 | 2837 | 1960 | 3368 | 1026 | 1293 | 2391 | 2608 | 731 | 1477 | 11020 | 5219 | 33930
2045 | 2846 | 1964 | 3384 | 1024 | 1305 | 2412 | 2633 | 733 | 1476 | 11010 | 5223 | 34010
2046 | 2850 | 1966 | 3383 | 1022 | 1315 | 2429 | 2654 | 734 | 1474 | 11000 | 5223 | 34050
2047 | 2852 | 1966 | 3391 | 1019 | 1321 | 2443 | 2671 | 735 | 1471 | 11000 | 5221 | 34090
2048 | 2851 | 1964 | 3388 | 1017 | 1324 | 2454 | 2687 | 736 | 1468 | 11000 | 5221 | 34110
2049 | 2849 | 1960 | 3382 | 1014 | 1323 | 2463 | 2702 | 737 | 1467 | 11010 | 5223 | 34130
2050 | 2845 | 1955 | 3371 | 1011 | 1320 | 2471 | 2717 | 738 | 1465 | 11020 | 5227 | 34140
2051 | 2840 | 1950 | 3364 | 1007 | 1317 | 2477 | 2731 | 739 | 1464 | 11030 | 5231 | 34150
2052 | 2833 | 1945 | 3354 | 1004 | 1314 | 2481 | 2743 | 739 | 1463 | 11040 | 5234 | 34150
2053 | 2828 | 1942 | 3350 | 1001 | 1312 | 2482 | 2750 | 739 | 1462 | 11050 | 5234 | 34150
2054 | 2824 | 1939 | 3344 | 1000 | 1311 | 2483 | 2755 | 739 | 1461 | 11050 | 5234 | 34140
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3b-L
Table I-3b-L: Lower Demand Scenario Winter Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 2173 | 1498 | 2490 | 855 | 1271 | 1902 | 1486 | 503 | 865 | 7300 | 3227 | 23570
2025-26 | 2252 | 1557 | 2450 | 1015 | 1268 | 1897 | 1496 | 501 | 869 | 7280 | 3235 | 23820
2026-27 | 2287 | 1578 | 2547 | 1123 | 1267 | 1907 | 1508 | 502 | 874 | 7280 | 3247 | 24120
2027-28 | 2327 | 1599 | 2625 | 1202 | 1269 | 1929 | 1530 | 505 | 882 | 7270 | 3272 | 24410
2028-29 | 2362 | 1615 | 2727 | 1237 | 1275 | 1955 | 1559 | 509 | 893 | 7280 | 3308 | 24720
2029-30 | 2401 | 1633 | 2845 | 1246 | 1287 | 1982 | 1595 | 511 | 905 | 7330 | 3355 | 25090
2030-31 | 2450 | 1656 | 2973 | 1245 | 1303 | 2007 | 1636 | 512 | 918 | 7440 | 3410 | 25550
2031-32 | 2508 | 1685 | 3091 | 1243 | 1325 | 2039 | 1683 | 513 | 933 | 7590 | 3480 | 26090
2032-33 | 2578 | 1721 | 3222 | 1242 | 1356 | 2084 | 1741 | 520 | 955 | 7790 | 3571 | 26780
2033-34 | 2667 | 1771 | 3347 | 1242 | 1399 | 2148 | 1817 | 533 | 985 | 8030 | 3691 | 27630
2034-35 | 2775 | 1835 | 3478 | 1243 | 1454 | 2232 | 1909 | 551 | 1023 | 8320 | 3840 | 28660
2035-36 | 2901 | 1910 | 3591 | 1245 | 1517 | 2328 | 2012 | 572 | 1066 | 8640 | 4008 | 29790
2036-37 | 3039 | 1992 | 3695 | 1248 | 1588 | 2435 | 2124 | 595 | 1112 | 8990 | 4192 | 31010
2037-38 | 3184 | 2077 | 3800 | 1251 | 1664 | 2547 | 2242 | 619 | 1161 | 9340 | 4385 | 32270
2038-39 | 3338 | 2167 | 3906 | 1254 | 1744 | 2666 | 2364 | 644 | 1212 | 9710 | 4585 | 33590
2039-40 | 3490 | 2255 | 4006 | 1257 | 1822 | 2785 | 2484 | 668 | 1261 | 10100 | 4782 | 34910
2040-41 | 3638 | 2342 | 4123 | 1260 | 1898 | 2903 | 2601 | 690 | 1310 | 10480 | 4975 | 36220
2041-42 | 3775 | 2424 | 4215 | 1263 | 1968 | 3012 | 2710 | 712 | 1356 | 10830 | 5155 | 37420
2042-43 | 3902 | 2497 | 4312 | 1265 | 2031 | 3114 | 2814 | 734 | 1399 | 11130 | 5322 | 38520
2043-44 | 4013 | 2562 | 4394 | 1267 | 2087 | 3204 | 2911 | 754 | 1438 | 11380 | 5470 | 39480
2044-45 | 4110 | 2618 | 4460 | 1268 | 2135 | 3286 | 2999 | 771 | 1472 | 11600 | 5601 | 40320
2045-46 | 4190 | 2665 | 4515 | 1268 | 2174 | 3357 | 3079 | 786 | 1501 | 11790 | 5715 | 41040
2046-47 | 4256 | 2704 | 4568 | 1268 | 2204 | 3417 | 3148 | 798 | 1526 | 11950 | 5811 | 41650
2047-48 | 4307 | 2734 | 4604 | 1268 | 2226 | 3465 | 3205 | 807 | 1546 | 12080 | 5888 | 42130
2048-49 | 4344 | 2755 | 4622 | 1267 | 2241 | 3501 | 3250 | 814 | 1561 | 12180 | 5945 | 42480
2049-50 | 4368 | 2768 | 4639 | 1265 | 2248 | 3524 | 3284 | 819 | 1571 | 12240 | 5984 | 42710
2050-51 | 4381 | 2775 | 4638 | 1264 | 2251 | 3537 | 3308 | 822 | 1576 | 12270 | 6008 | 42830
2051-52 | 4388 | 2779 | 4636 | 1262 | 2252 | 3545 | 3324 | 822 | 1579 | 12300 | 6023 | 42910
2052-53 | 4391 | 2780 | 4635 | 1261 | 2252 | 3550 | 3337 | 822 | 1580 | 12310 | 6032 | 42950
2053-54 | 4392 | 2781 | 4640 | 1259 | 2252 | 3553 | 3345 | 822 | 1581 | 12320 | 6035 | 42980
2054-55 | 4392 | 2781 | 4635 | 1258 | 2251 | 3554 | 3350 | 821 | 1582 | 12320 | 6036 | 42980
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4a-L
Table I-4a-L: Lower Demand Scenario Summer Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2024 | 2816 | 1881 | 2666 | 698 | 1359 | 2349 | 2170 | 617 | 1346 | 11100 | 4993
2025 | 2888 | 1986 | 2589 | 698 | 1334 | 2284 | 2170 | 620 | 1345 | 11050 | 4964
2026 | 2879 | 1983 | 2622 | 883 | 1287 | 2250 | 2173 | 623 | 1349 | 10990 | 4949
2027 | 2864 | 1984 | 2638 | 985 | 1251 | 2223 | 2181 | 626 | 1353 | 10920 | 4935
2028 | 2828 | 1963 | 2696 | 1045 | 1223 | 2203 | 2195 | 631 | 1359 | 10850 | 4926
2029 | 2788 | 1940 | 2782 | 1065 | 1204 | 2191 | 2214 | 637 | 1368 | 10790 | 4921
2030 | 2760 | 1920 | 2902 | 1063 | 1192 | 2183 | 2238 | 643 | 1377 | 10750 | 4923
2031 | 2749 | 1911 | 3013 | 1061 | 1187 | 2182 | 2265 | 651 | 1389 | 10740 | 4938
2032 | 2751 | 1909 | 3120 | 1060 | 1188 | 2190 | 2297 | 662 | 1400 | 10760 | 4964
2033 | 2763 | 1911 | 3201 | 1059 | 1195 | 2204 | 2330 | 672 | 1412 | 10800 | 4998
2034 | 2778 | 1913 | 3262 | 1059 | 1202 | 2219 | 2360 | 681 | 1424 | 10850 | 5031
2035 | 2794 | 1916 | 3290 | 1058 | 1209 | 2232 | 2386 | 690 | 1435 | 10910 | 5063
2036 | 2812 | 1921 | 3309 | 1059 | 1217 | 2248 | 2412 | 697 | 1445 | 10960 | 5095
2037 | 2831 | 1933 | 3334 | 1059 | 1227 | 2271 | 2442 | 706 | 1456 | 11020 | 5132
2038 | 2848 | 1948 | 3362 | 1060 | 1241 | 2296 | 2477 | 713 | 1468 | 11080 | 5171
2039 | 2867 | 1962 | 3382 | 1060 | 1256 | 2322 | 2511 | 721 | 1480 | 11150 | 5208
2040 | 2885 | 1975 | 3405 | 1059 | 1271 | 2347 | 2545 | 728 | 1490 | 11200 | 5239
2041 | 2901 | 1984 | 3426 | 1058 | 1285 | 2370 | 2577 | 734 | 1498 | 11240 | 5263
2042 | 2917 | 1991 | 3440 | 1057 | 1299 | 2393 | 2607 | 739 | 1504 | 11260 | 5281
2043 | 2931 | 1998 | 3453 | 1056 | 1314 | 2415 | 2637 | 744 | 1508 | 11270 | 5294
2044 | 2943 | 2004 | 3460 | 1054 | 1329 | 2439 | 2665 | 747 | 1510 | 11270 | 5304
2045 | 2952 | 2008 | 3476 | 1052 | 1342 | 2460 | 2690 | 749 | 1509 | 11260 | 5308
2046 | 2956 | 2010 | 3475 | 1049 | 1352 | 2478 | 2712 | 751 | 1507 | 11250 | 5308
2047 | 2958 | 2010 | 3483 | 1046 | 1358 | 2492 | 2729 | 752 | 1504 | 11250 | 5306
2048 | 2957 | 2008 | 3480 | 1044 | 1361 | 2503 | 2745 | 753 | 1501 | 11250 | 5306
2049 | 2955 | 2004 | 3474 | 1041 | 1360 | 2512 | 2761 | 754 | 1500 | 11260 | 5308
2050 | 2951 | 1999 | 3463 | 1038 | 1357 | 2520 | 2776 | 755 | 1498 | 11270 | 5312
2051 | 2946 | 1994 | 3456 | 1034 | 1354 | 2527 | 2790 | 756 | 1497 | 11280 | 5316
2052 | 2939 | 1989 | 3445 | 1031 | 1351 | 2531 | 2803 | 756 | 1496 | 11290 | 5319
2053 | 2933 | 1986 | 3441 | 1028 | 1349 | 2532 | 2810 | 756 | 1495 | 11300 | 5319
2054 | 2929 | 1983 | 3435 | 1027 | 1348 | 2533 | 2815 | 756 | 1494 | 11300 | 5319
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4b-L
Table I-4b-L: Lower Demand Scenario Winter Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2024-25 | 2197 | 1510 | 2495 | 873 | 1294 | 1913 | 1496 | 514 | 875 | 7370 | 3240
2025-26 | 2277 | 1569 | 2455 | 1036 | 1291 | 1908 | 1506 | 512 | 879 | 7350 | 3248
2026-27 | 2312 | 1591 | 2552 | 1147 | 1290 | 1918 | 1519 | 513 | 884 | 7350 | 3260
2027-28 | 2353 | 1612 | 2630 | 1227 | 1292 | 1941 | 1541 | 516 | 892 | 7340 | 3285
2028-29 | 2388 | 1628 | 2732 | 1263 | 1298 | 1967 | 1570 | 520 | 903 | 7350 | 3321
2029-30 | 2427 | 1646 | 2851 | 1272 | 1310 | 1994 | 1606 | 522 | 915 | 7400 | 3368
2030-31 | 2477 | 1669 | 2979 | 1271 | 1326 | 2019 | 1647 | 523 | 928 | 7510 | 3424
2031-32 | 2536 | 1698 | 3097 | 1269 | 1349 | 2051 | 1695 | 524 | 943 | 7660 | 3494
2032-33 | 2606 | 1735 | 3228 | 1268 | 1380 | 2097 | 1753 | 531 | 966 | 7860 | 3585
2033-34 | 2696 | 1785 | 3354 | 1268 | 1424 | 2161 | 1830 | 544 | 996 | 8100 | 3706
2034-35 | 2806 | 1850 | 3485 | 1269 | 1480 | 2245 | 1922 | 563 | 1034 | 8390 | 3855
2035-36 | 2933 | 1925 | 3598 | 1271 | 1544 | 2342 | 2026 | 584 | 1078 | 8720 | 4024
2036-37 | 3072 | 2008 | 3702 | 1274 | 1617 | 2450 | 2139 | 607 | 1124 | 9070 | 4209
2037-38 | 3219 | 2094 | 3808 | 1277 | 1694 | 2562 | 2258 | 632 | 1174 | 9420 | 4403
2038-39 | 3375 | 2184 | 3914 | 1280 | 1775 | 2682 | 2381 | 658 | 1225 | 9800 | 4603
2039-40 | 3528 | 2273 | 4014 | 1283 | 1855 | 2802 | 2501 | 682 | 1275 | 10190 | 4801
2040-41 | 3678 | 2361 | 4131 | 1286 | 1932 | 2920 | 2619 | 704 | 1324 | 10570 | 4995
2041-42 | 3817 | 2443 | 4223 | 1290 | 2003 | 3030 | 2729 | 727 | 1371 | 10930 | 5176
2042-43 | 3945 | 2517 | 4321 | 1292 | 2068 | 3133 | 2834 | 749 | 1414 | 11230 | 5343
2043-44 | 4057 | 2582 | 4403 | 1294 | 2125 | 3223 | 2931 | 770 | 1454 | 11480 | 5492
2044-45 | 4155 | 2639 | 4469 | 1295 | 2173 | 3306 | 3020 | 787 | 1488 | 11700 | 5623
2045-46 | 4236 | 2686 | 4524 | 1295 | 2213 | 3377 | 3101 | 803 | 1518 | 11900 | 5738
2046-47 | 4303 | 2726 | 4577 | 1295 | 2244 | 3438 | 3170 | 815 | 1543 | 12060 | 5834
2047-48 | 4354 | 2756 | 4613 | 1295 | 2266 | 3486 | 3227 | 824 | 1563 | 12190 | 5912
2048-49 | 4392 | 2777 | 4631 | 1294 | 2281 | 3522 | 3273 | 831 | 1578 | 12290 | 5969
2049-50 | 4416 | 2790 | 4648 | 1292 | 2288 | 3545 | 3307 | 836 | 1588 | 12350 | 6008
2050-51 | 4429 | 2797 | 4647 | 1291 | 2292 | 3558 | 3331 | 839 | 1593 | 12380 | 6032
2051-52 | 4436 | 2801 | 4645 | 1289 | 2293 | 3566 | 3347 | 839 | 1596 | 12410 | 6047
2052-53 | 4439 | 2802 | 4644 | 1287 | 2293 | 3571 | 3360 | 839 | 1597 | 12420 | 6056
2053-54 | 4440 | 2803 | 4649 | 1285 | 2293 | 3574 | 3368 | 839 | 1598 | 12430 | 6059
2054-55 | 4440 | 2803 | 4644 | 1284 | 2292 | 3575 | 3373 | 838 | 1599 | 12430 | 6060
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-5-L
Table I-5-L: Lower Demand Scenario - Forecast of Peak Demand in G-to-J Locality
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
G-to-J Locality Summer Peak Demand by Zone - MW | [5 empty] | G-to-J Locality Winter Peak Demand by Zone - MW
Year | G | H | I | J | G-J | Year | G | H | I | J | G-J
2024 | 2154 | 612 | 1335 | 11014 | 15115 | 2024-25 | 1483 | 501 | 865 | 7344 | 10193
2025 | 2154 | 615 | 1334 | 10960 | 15063 | 2025-26 | 1493 | 499 | 869 | 7324 | 10185
2026 | 2157 | 618 | 1338 | 10903 | 15016 | 2026-27 | 1505 | 500 | 874 | 7324 | 10203
2027 | 2165 | 621 | 1342 | 10832 | 14960 | 2027-28 | 1527 | 503 | 882 | 7314 | 10226
2028 | 2179 | 626 | 1348 | 10761 | 14914 | 2028-29 | 1556 | 507 | 893 | 7324 | 10280
2029 | 2198 | 632 | 1357 | 10700 | 14887 | 2029-30 | 1592 | 509 | 905 | 7374 | 10380
2030 | 2221 | 638 | 1366 | 10659 | 14884 | 2030-31 | 1633 | 510 | 918 | 7485 | 10546
2031 | 2248 | 646 | 1377 | 10649 | 14920 | 2031-32 | 1680 | 511 | 933 | 7636 | 10760
2032 | 2280 | 656 | 1388 | 10669 | 14993 | 2032-33 | 1738 | 518 | 955 | 7837 | 11048
2033 | 2313 | 666 | 1401 | 10710 | 15090 | 2033-34 | 1813 | 531 | 985 | 8078 | 11407
2034 | 2343 | 675 | 1413 | 10761 | 15192 | 2034-35 | 1905 | 549 | 1023 | 8370 | 11847
2035 | 2368 | 685 | 1423 | 10822 | 15298 | 2035-36 | 2008 | 570 | 1066 | 8692 | 12336
2036 | 2395 | 692 | 1433 | 10872 | 15392 | 2036-37 | 2120 | 593 | 1112 | 9044 | 12869
2037 | 2424 | 700 | 1444 | 10933 | 15501 | 2037-38 | 2238 | 617 | 1161 | 9396 | 13412
2038 | 2458 | 707 | 1456 | 10994 | 15615 | 2038-39 | 2359 | 641 | 1212 | 9768 | 13980
2039 | 2493 | 715 | 1468 | 11055 | 15731 | 2039-40 | 2479 | 665 | 1261 | 10161 | 14566
2040 | 2526 | 722 | 1478 | 11105 | 15831 | 2040-41 | 2596 | 687 | 1310 | 10543 | 15136
2041 | 2558 | 728 | 1486 | 11146 | 15918 | 2041-42 | 2705 | 709 | 1356 | 10895 | 15665
2042 | 2588 | 733 | 1492 | 11166 | 15979 | 2042-43 | 2808 | 731 | 1399 | 11197 | 16135
2043 | 2618 | 738 | 1496 | 11176 | 16028 | 2043-44 | 2905 | 751 | 1438 | 11448 | 16542
2044 | 2645 | 741 | 1498 | 11176 | 16060 | 2044-45 | 2993 | 768 | 1472 | 11670 | 16903
2045 | 2670 | 743 | 1497 | 11166 | 16076 | 2045-46 | 3073 | 783 | 1501 | 11861 | 17218
2046 | 2692 | 744 | 1495 | 11156 | 16087 | 2046-47 | 3142 | 795 | 1526 | 12022 | 17485
2047 | 2709 | 745 | 1492 | 11156 | 16102 | 2047-48 | 3199 | 804 | 1546 | 12152 | 17701
2048 | 2725 | 746 | 1489 | 11156 | 16116 | 2048-49 | 3244 | 811 | 1561 | 12253 | 17869
2049 | 2740 | 747 | 1488 | 11166 | 16141 | 2049-50 | 3277 | 816 | 1571 | 12313 | 17977
2050 | 2756 | 748 | 1486 | 11176 | 16166 | 2050-51 | 3301 | 819 | 1576 | 12344 | 18040
2051 | 2770 | 749 | 1485 | 11187 | 16191 | 2051-52 | 3317 | 819 | 1579 | 12374 | 18089
2052 | 2782 | 749 | 1484 | 11197 | 16212 | 2052-53 | 3330 | 819 | 1580 | 12384 | 18113
2053 | 2789 | 749 | 1483 | 11207 | 16228 | 2053-54 | 3338 | 819 | 1581 | 12394 | 18132
2054 | 2794 | 749 | 1482 | 11207 | 16232 | 2054-55 | 3343 | 818 | 1582 | 12394 | 18137
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-11a-L
Table I-11a-L: Electric Vehicle Stock Forecast - Lower Demand Scenario
Reflects Total NYCA Stock
Number of Electric Vehicles by Type - NYCA
Year | LDV (1) | MHDV (2) | Buses (3) | Total Stock
2024 | 241000 | 2000 | 3000 | 246000
2025 | 312000 | 3000 | 4000 | 319000
2026 | 384000 | 5000 | 6000 | 395000
2027 | 464000 | 7000 | 9000 | 480000
2028 | 623000 | 9000 | 12000 | 644000
2029 | 813000 | 13000 | 15000 | 841000
2030 | 1034000 | 18000 | 19000 | 1071000
2031 | 1288000 | 22000 | 22000 | 1332000
2032 | 1577000 | 28000 | 26000 | 1631000
2033 | 1907000 | 34000 | 29000 | 1970000
2034 | 2280000 | 41000 | 32000 | 2353000
2035 | 2697000 | 49000 | 34000 | 2780000
2036 | 3117000 | 57000 | 36000 | 3210000
2037 | 3535000 | 66000 | 37000 | 3638000
2038 | 3944000 | 75000 | 38000 | 4057000
2039 | 4341000 | 85000 | 39000 | 4465000
2040 | 4721000 | 96000 | 40000 | 4857000
2041 | 5078000 | 106000 | 41000 | 5225000
2042 | 5412000 | 118000 | 42000 | 5572000
2043 | 5719000 | 129000 | 42000 | 5890000
2044 | 5998000 | 141000 | 43000 | 6182000
2045 | 6249000 | 154000 | 43000 | 6446000
2046 | 6469000 | 166000 | 44000 | 6679000
2047 | 6658000 | 177000 | 44000 | 6879000
2048 | 6814000 | 188000 | 45000 | 7047000
2049 | 6940000 | 197000 | 45000 | 7182000
2050 | 7035000 | 206000 | 46000 | 7287000
2051 | 7105000 | 213000 | 46000 | 7364000
2052 | 7153000 | 221000 | 47000 | 7421000
2053 | 7187000 | 226000 | 48000 | 7461000
2054 | 7220000 | 231000 | 48000 | 7499000
(1) - Light Duty Vehicles, at most 8,500 lb.
(2) - Medium and Heavy Duty Vehicles, greater than 8,500 lb.
(3) - Includes school and transit buses.
Note: For reference, in 2023 there were approximately 9.8 million LDVs, 515,000 MHDVs,
and 60,000 buses registered in the state, per these classifications.

## I-11b-L
Table I-11b-L: Electric Vehicle Annual Energy Usage - Lower Demand Scenario
Reflects Total Cumulative Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 61 | 67 | 77 | 9 | 37 | 84 | 90 | 36 | 57 | 217 | 221 | 956
2025 | 84 | 83 | 102 | 11 | 52 | 108 | 116 | 39 | 66 | 233 | 264 | 1158
2026 | 125 | 111 | 143 | 14 | 78 | 149 | 163 | 49 | 84 | 284 | 344 | 1544
2027 | 182 | 148 | 200 | 19 | 116 | 206 | 229 | 61 | 107 | 351 | 454 | 2073
2028 | 266 | 201 | 280 | 26 | 169 | 288 | 324 | 79 | 142 | 450 | 610 | 2835
2029 | 367 | 264 | 377 | 34 | 236 | 385 | 440 | 99 | 182 | 564 | 793 | 3741
2030 | 488 | 337 | 490 | 44 | 313 | 501 | 577 | 122 | 229 | 701 | 1006 | 4808
2031 | 622 | 420 | 619 | 54 | 401 | 632 | 733 | 149 | 282 | 858 | 1245 | 6015
2032 | 771 | 515 | 765 | 68 | 499 | 778 | 907 | 179 | 341 | 1043 | 1514 | 7380
2033 | 940 | 622 | 930 | 83 | 611 | 946 | 1105 | 214 | 408 | 1251 | 1816 | 8926
2034 | 1132 | 742 | 1117 | 99 | 736 | 1134 | 1330 | 251 | 482 | 1487 | 2155 | 10665
2035 | 1345 | 876 | 1325 | 118 | 876 | 1347 | 1584 | 293 | 566 | 1749 | 2531 | 12610
2036 | 1561 | 1012 | 1536 | 138 | 1019 | 1563 | 1845 | 336 | 650 | 2016 | 2911 | 14587
2037 | 1780 | 1148 | 1750 | 157 | 1163 | 1781 | 2108 | 379 | 735 | 2285 | 3293 | 16579
2038 | 1996 | 1283 | 1962 | 176 | 1305 | 1999 | 2373 | 421 | 819 | 2552 | 3671 | 18557
2039 | 2208 | 1416 | 2169 | 194 | 1444 | 2216 | 2636 | 463 | 902 | 2815 | 4040 | 20503
2040 | 2415 | 1544 | 2371 | 213 | 1581 | 2427 | 2895 | 503 | 983 | 3073 | 4399 | 22404
2041 | 2613 | 1667 | 2566 | 230 | 1712 | 2632 | 3146 | 540 | 1060 | 3320 | 4742 | 24228
2042 | 2803 | 1783 | 2750 | 246 | 1836 | 2828 | 3389 | 578 | 1134 | 3558 | 5068 | 25973
2043 | 2980 | 1894 | 2926 | 261 | 1953 | 3015 | 3621 | 612 | 1205 | 3784 | 5377 | 27628
2044 | 3146 | 1997 | 3088 | 275 | 2062 | 3192 | 3841 | 645 | 1272 | 3997 | 5666 | 29181
2045 | 3298 | 2092 | 3239 | 288 | 2162 | 3358 | 4048 | 674 | 1334 | 4195 | 5934 | 30622
2046 | 3434 | 2176 | 3374 | 299 | 2251 | 3510 | 4237 | 702 | 1392 | 4375 | 6177 | 31927
2047 | 3554 | 2251 | 3492 | 308 | 2328 | 3644 | 4408 | 727 | 1443 | 4535 | 6392 | 33082
2048 | 3654 | 2316 | 3593 | 316 | 2394 | 3762 | 4560 | 749 | 1488 | 4674 | 6577 | 34083
2049 | 3741 | 2370 | 3679 | 323 | 2449 | 3865 | 4691 | 768 | 1528 | 4796 | 6737 | 34947
2050 | 3812 | 2417 | 3751 | 328 | 2494 | 3955 | 4806 | 784 | 1561 | 4901 | 6873 | 35682
2051 | 3862 | 2449 | 3803 | 332 | 2526 | 4023 | 4894 | 796 | 1588 | 4982 | 6975 | 36230
2052 | 3902 | 2477 | 3844 | 335 | 2550 | 4084 | 4969 | 806 | 1610 | 5053 | 7059 | 36689
2053 | 3934 | 2498 | 3876 | 337 | 2570 | 4136 | 5035 | 814 | 1628 | 5115 | 7132 | 37075
2054 | 3965 | 2520 | 3909 | 339 | 2589 | 4188 | 5101 | 822 | 1647 | 5176 | 7205 | 37461

## I-11c-L
Table I-11c-L: Electric Vehicle Summer Coincident Peak Demand - Lower Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 13 | 9 | 14 | 2 | 8 | 14 | 14 | 3 | 8 | 20 | 29 | 134
2025 | 15 | 11 | 17 | 2 | 9 | 17 | 17 | 4 | 9 | 24 | 36 | 161
2026 | 21 | 16 | 23 | 3 | 13 | 23 | 25 | 6 | 11 | 32 | 47 | 220
2027 | 30 | 22 | 32 | 3 | 19 | 32 | 35 | 7 | 15 | 43 | 64 | 302
2028 | 44 | 31 | 46 | 4 | 28 | 46 | 51 | 11 | 21 | 59 | 91 | 432
2029 | 61 | 41 | 62 | 6 | 39 | 63 | 71 | 15 | 28 | 79 | 123 | 588
2030 | 81 | 54 | 81 | 7 | 52 | 81 | 93 | 18 | 36 | 101 | 157 | 761
2031 | 104 | 67 | 102 | 9 | 67 | 104 | 118 | 22 | 44 | 128 | 195 | 960
2032 | 127 | 81 | 125 | 11 | 82 | 126 | 146 | 26 | 54 | 155 | 237 | 1170
2033 | 151 | 97 | 149 | 13 | 98 | 150 | 175 | 31 | 63 | 185 | 281 | 1393
2034 | 176 | 113 | 173 | 15 | 115 | 175 | 205 | 37 | 73 | 216 | 325 | 1623
2035 | 203 | 129 | 199 | 18 | 132 | 201 | 236 | 42 | 83 | 248 | 370 | 1861
2036 | 229 | 145 | 224 | 21 | 149 | 227 | 267 | 46 | 93 | 280 | 414 | 2095
2037 | 255 | 161 | 250 | 23 | 166 | 253 | 299 | 51 | 103 | 312 | 460 | 2333
2038 | 281 | 177 | 275 | 25 | 184 | 279 | 330 | 56 | 112 | 344 | 503 | 2566
2039 | 306 | 192 | 300 | 27 | 200 | 305 | 360 | 60 | 122 | 374 | 546 | 2792
2040 | 330 | 207 | 323 | 29 | 216 | 329 | 390 | 65 | 131 | 403 | 586 | 3009
2041 | 354 | 222 | 346 | 31 | 231 | 354 | 421 | 70 | 140 | 433 | 626 | 3228
2042 | 376 | 236 | 369 | 34 | 247 | 377 | 449 | 73 | 149 | 462 | 664 | 3436
2043 | 397 | 249 | 388 | 35 | 260 | 400 | 478 | 77 | 157 | 487 | 701 | 3629
2044 | 417 | 261 | 409 | 36 | 274 | 421 | 502 | 81 | 164 | 513 | 733 | 3811
2045 | 434 | 271 | 425 | 37 | 285 | 440 | 528 | 85 | 172 | 535 | 764 | 3976
2046 | 446 | 278 | 436 | 39 | 292 | 452 | 545 | 87 | 177 | 550 | 787 | 4089
2047 | 455 | 284 | 446 | 39 | 298 | 464 | 560 | 89 | 181 | 562 | 803 | 4181
2048 | 463 | 290 | 456 | 40 | 304 | 475 | 571 | 90 | 185 | 576 | 816 | 4266
2049 | 470 | 294 | 462 | 40 | 308 | 483 | 583 | 92 | 188 | 586 | 829 | 4335
2050 | 475 | 296 | 466 | 41 | 310 | 490 | 593 | 94 | 190 | 593 | 839 | 4387
2051 | 478 | 299 | 470 | 41 | 313 | 496 | 598 | 94 | 193 | 600 | 844 | 4426
2052 | 480 | 300 | 472 | 41 | 314 | 500 | 605 | 95 | 194 | 605 | 850 | 4456
2053 | 481 | 302 | 473 | 41 | 314 | 504 | 609 | 96 | 195 | 608 | 855 | 4478
2054 | 481 | 301 | 473 | 41 | 315 | 506 | 614 | 96 | 196 | 610 | 857 | 4490
Note: The lower demand scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-11d-L
Table I-11d-L: Electric Vehicle Winter Coincident Peak Demand - Lower Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 23 | 19 | 25 | 2 | 15 | 26 | 28 | 8 | 14 | 36 | 54 | 250
2025-26 | 26 | 21 | 29 | 2 | 17 | 29 | 32 | 8 | 14 | 40 | 60 | 278
2026-27 | 37 | 27 | 39 | 3 | 24 | 40 | 44 | 10 | 19 | 52 | 80 | 375
2027-28 | 52 | 37 | 53 | 4 | 33 | 54 | 61 | 13 | 25 | 70 | 107 | 509
2028-29 | 74 | 50 | 73 | 6 | 47 | 75 | 87 | 17 | 33 | 93 | 147 | 702
2029-30 | 99 | 66 | 98 | 8 | 64 | 100 | 116 | 23 | 43 | 122 | 193 | 932
2030-31 | 127 | 83 | 125 | 11 | 83 | 127 | 148 | 29 | 54 | 154 | 243 | 1184
2031-32 | 158 | 102 | 155 | 14 | 103 | 157 | 183 | 34 | 66 | 190 | 297 | 1459
2032-33 | 190 | 123 | 187 | 16 | 125 | 189 | 221 | 41 | 78 | 230 | 354 | 1754
2033-34 | 224 | 143 | 220 | 19 | 147 | 222 | 261 | 47 | 91 | 271 | 413 | 2058
2034-35 | 258 | 166 | 253 | 22 | 170 | 257 | 302 | 54 | 105 | 312 | 473 | 2372
2035-36 | 294 | 187 | 287 | 25 | 193 | 292 | 343 | 61 | 117 | 355 | 532 | 2686
2036-37 | 328 | 208 | 321 | 28 | 216 | 326 | 385 | 67 | 131 | 396 | 592 | 2998
2037-38 | 362 | 229 | 353 | 31 | 238 | 360 | 428 | 73 | 144 | 437 | 651 | 3306
2038-39 | 395 | 250 | 386 | 34 | 259 | 394 | 468 | 80 | 156 | 477 | 707 | 3606
2039-40 | 425 | 269 | 415 | 37 | 279 | 425 | 510 | 87 | 170 | 517 | 765 | 3899
2040-41 | 457 | 287 | 448 | 39 | 301 | 459 | 546 | 92 | 179 | 548 | 814 | 4170
2041-42 | 487 | 306 | 477 | 42 | 321 | 489 | 584 | 96 | 191 | 590 | 862 | 4445
2042-43 | 515 | 322 | 504 | 45 | 339 | 520 | 621 | 103 | 202 | 619 | 912 | 4702
2043-44 | 540 | 338 | 528 | 46 | 355 | 545 | 654 | 107 | 212 | 658 | 953 | 4936
2044-45 | 563 | 352 | 551 | 48 | 370 | 570 | 684 | 112 | 222 | 687 | 992 | 5151
2045-46 | 583 | 365 | 572 | 50 | 385 | 595 | 715 | 116 | 230 | 706 | 1032 | 5349
2046-47 | 596 | 373 | 585 | 51 | 394 | 610 | 733 | 118 | 234 | 722 | 1052 | 5468
2047-48 | 605 | 379 | 592 | 51 | 397 | 619 | 751 | 120 | 240 | 744 | 1069 | 5567
2048-49 | 613 | 384 | 601 | 52 | 403 | 631 | 764 | 122 | 244 | 754 | 1084 | 5652
2049-50 | 619 | 388 | 608 | 53 | 407 | 641 | 776 | 124 | 247 | 758 | 1098 | 5719
2050-51 | 623 | 390 | 613 | 52 | 410 | 648 | 782 | 124 | 249 | 773 | 1103 | 5767
2051-52 | 625 | 392 | 614 | 53 | 411 | 651 | 790 | 124 | 250 | 778 | 1109 | 5797
2052-53 | 626 | 393 | 615 | 53 | 410 | 655 | 795 | 126 | 253 | 785 | 1113 | 5824
2053-54 | 625 | 393 | 614 | 53 | 410 | 658 | 800 | 126 | 254 | 787 | 1116 | 5836
2054-55 | 626 | 393 | 617 | 53 | 411 | 663 | 804 | 127 | 253 | 781 | 1121 | 5849
Note: The lower demand scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-13a-L
Table I-13a-L: Building Electrification Annual Energy Usage - Lower Demand Scenario
Reflects Cumulative Future Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 23 | 14 | 19 | 2 | 12 | 18 | 17 | 3 | 9 | 103 | 34 | 254
2025 | 66 | 40 | 54 | 4 | 35 | 51 | 47 | 10 | 25 | 292 | 95 | 719
2026 | 119 | 73 | 96 | 7 | 63 | 91 | 84 | 18 | 44 | 520 | 170 | 1285
2027 | 183 | 112 | 147 | 10 | 98 | 141 | 130 | 29 | 67 | 796 | 261 | 1974
2028 | 261 | 159 | 209 | 14 | 139 | 200 | 184 | 41 | 95 | 1124 | 371 | 2797
2029 | 346 | 212 | 277 | 18 | 185 | 266 | 245 | 55 | 126 | 1484 | 491 | 3705
2030 | 451 | 275 | 360 | 23 | 241 | 346 | 318 | 72 | 163 | 1911 | 638 | 4798
2031 | 573 | 350 | 456 | 29 | 305 | 440 | 403 | 91 | 207 | 2398 | 807 | 6059
2032 | 717 | 437 | 570 | 36 | 382 | 550 | 504 | 115 | 257 | 2964 | 1007 | 7539
2033 | 888 | 541 | 704 | 44 | 471 | 679 | 622 | 142 | 317 | 3604 | 1241 | 9253
2034 | 1073 | 653 | 848 | 53 | 568 | 820 | 750 | 171 | 381 | 4299 | 1494 | 11110
2035 | 1291 | 784 | 1017 | 64 | 681 | 984 | 899 | 206 | 455 | 5076 | 1788 | 13245
2036 | 1537 | 931 | 1207 | 75 | 808 | 1170 | 1067 | 245 | 539 | 5928 | 2118 | 15625
2037 | 1803 | 1091 | 1412 | 88 | 945 | 1369 | 1247 | 287 | 628 | 6815 | 2472 | 18157
2038 | 2094 | 1265 | 1635 | 102 | 1094 | 1587 | 1444 | 333 | 725 | 7760 | 2857 | 20896
2039 | 2408 | 1452 | 1874 | 116 | 1253 | 1822 | 1656 | 382 | 828 | 8747 | 3269 | 23807
2040 | 2722 | 1639 | 2113 | 130 | 1412 | 2057 | 1869 | 432 | 932 | 9728 | 3682 | 26716
2041 | 3036 | 1825 | 2351 | 145 | 1571 | 2292 | 2082 | 482 | 1035 | 10678 | 4092 | 29589
2042 | 3340 | 2007 | 2581 | 158 | 1723 | 2520 | 2290 | 530 | 1135 | 11594 | 4490 | 32368
2043 | 3620 | 2174 | 2793 | 171 | 1863 | 2732 | 2484 | 575 | 1228 | 12434 | 4859 | 34933
2044 | 3867 | 2322 | 2980 | 182 | 1986 | 2921 | 2659 | 615 | 1312 | 13189 | 5187 | 37220
2045 | 4086 | 2453 | 3145 | 191 | 2094 | 3089 | 2815 | 651 | 1386 | 13840 | 5478 | 39228
2046 | 4261 | 2559 | 3277 | 199 | 2180 | 3227 | 2945 | 681 | 1447 | 14383 | 5716 | 40875
2047 | 4400 | 2644 | 3383 | 204 | 2247 | 3339 | 3053 | 705 | 1497 | 14827 | 5909 | 42208
2048 | 4516 | 2716 | 3471 | 209 | 2303 | 3434 | 3146 | 726 | 1540 | 15213 | 6074 | 43348
2049 | 4590 | 2762 | 3527 | 211 | 2338 | 3498 | 3211 | 740 | 1569 | 15459 | 6183 | 44088
2050 | 4653 | 2803 | 3575 | 214 | 2366 | 3555 | 3269 | 752 | 1595 | 15677 | 6279 | 44738
2051 | 4693 | 2829 | 3605 | 215 | 2383 | 3594 | 3312 | 761 | 1613 | 15839 | 6346 | 45190
2052 | 4723 | 2851 | 3629 | 215 | 2397 | 3628 | 3351 | 769 | 1630 | 15994 | 6404 | 45591
2053 | 4735 | 2861 | 3638 | 215 | 2400 | 3647 | 3376 | 774 | 1640 | 16076 | 6435 | 45797
2054 | 4741 | 2869 | 3644 | 214 | 2400 | 3663 | 3398 | 777 | 1648 | 16156 | 6461 | 45971
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13b-L
Table I-13b-L: Building Electrification Summer Coincident Peak Demand - Lower Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 5 | 2 | 13
2025 | 2 | 1 | 2 | 0 | 1 | 2 | 1 | 0 | 1 | 12 | 4 | 26
2026 | 5 | 3 | 4 | 0 | 3 | 4 | 3 | 1 | 2 | 22 | 7 | 54
2027 | 7 | 5 | 6 | 0 | 5 | 6 | 6 | 0 | 2 | 35 | 9 | 81
2028 | 11 | 7 | 9 | 1 | 6 | 8 | 8 | 2 | 4 | 52 | 15 | 123
2029 | 15 | 9 | 12 | 1 | 8 | 12 | 11 | 3 | 6 | 74 | 22 | 173
2030 | 20 | 13 | 16 | 1 | 11 | 15 | 14 | 3 | 8 | 99 | 30 | 230
2031 | 26 | 16 | 21 | 1 | 14 | 20 | 19 | 4 | 10 | 127 | 37 | 295
2032 | 31 | 20 | 26 | 2 | 17 | 25 | 24 | 5 | 12 | 158 | 47 | 367
2033 | 38 | 24 | 31 | 2 | 21 | 30 | 28 | 6 | 15 | 191 | 57 | 443
2034 | 44 | 28 | 37 | 2 | 24 | 36 | 34 | 8 | 18 | 226 | 67 | 524
2035 | 52 | 33 | 43 | 3 | 28 | 42 | 39 | 9 | 20 | 262 | 78 | 609
2036 | 59 | 38 | 49 | 2 | 31 | 48 | 45 | 10 | 23 | 301 | 89 | 695
2037 | 67 | 42 | 55 | 3 | 37 | 54 | 51 | 11 | 27 | 340 | 101 | 788
2038 | 74 | 47 | 61 | 4 | 41 | 60 | 57 | 13 | 30 | 379 | 112 | 878
2039 | 81 | 52 | 67 | 4 | 45 | 67 | 63 | 14 | 33 | 417 | 124 | 967
2040 | 88 | 57 | 74 | 5 | 49 | 73 | 69 | 15 | 36 | 456 | 136 | 1058
2041 | 96 | 61 | 80 | 5 | 53 | 79 | 75 | 17 | 39 | 495 | 148 | 1148
2042 | 103 | 66 | 85 | 5 | 57 | 85 | 80 | 18 | 42 | 534 | 158 | 1233
2043 | 110 | 70 | 91 | 5 | 61 | 91 | 87 | 19 | 44 | 571 | 170 | 1319
2044 | 117 | 74 | 97 | 6 | 64 | 97 | 91 | 20 | 47 | 605 | 180 | 1398
2045 | 123 | 78 | 102 | 6 | 68 | 102 | 96 | 22 | 50 | 638 | 190 | 1475
2046 | 127 | 81 | 105 | 6 | 70 | 106 | 101 | 22 | 52 | 665 | 198 | 1533
2047 | 130 | 83 | 107 | 6 | 71 | 108 | 103 | 23 | 53 | 677 | 201 | 1562
2048 | 137 | 88 | 113 | 7 | 75 | 114 | 110 | 24 | 56 | 716 | 212 | 1652
2049 | 140 | 90 | 116 | 7 | 77 | 117 | 112 | 24 | 58 | 737 | 218 | 1696
2050 | 142 | 92 | 118 | 7 | 78 | 120 | 115 | 25 | 59 | 751 | 223 | 1730
2051 | 145 | 93 | 120 | 7 | 78 | 122 | 117 | 25 | 59 | 761 | 226 | 1753
2052 | 146 | 94 | 120 | 7 | 79 | 122 | 117 | 25 | 59 | 769 | 228 | 1766
2053 | 145 | 93 | 119 | 6 | 78 | 122 | 117 | 25 | 59 | 763 | 227 | 1754
2054 | 143 | 93 | 118 | 7 | 78 | 121 | 116 | 25 | 59 | 757 | 225 | 1742
Note: Reflects end-use electrification of space conditioning, water heating, cooking, and other end-uses.

## I-13c-L
Table I-13c-L: Building Electrification Winter Coincident Peak Demand - Lower Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 16 | 10 | 13 | 1 | 9 | 13 | 11 | 3 | 6 | 69 | 23 | 174
2025-26 | 28 | 17 | 23 | 1 | 15 | 22 | 20 | 4 | 10 | 120 | 40 | 300
2026-27 | 39 | 24 | 31 | 2 | 21 | 30 | 28 | 6 | 14 | 165 | 55 | 415
2027-28 | 56 | 33 | 44 | 3 | 30 | 42 | 38 | 9 | 19 | 228 | 77 | 579
2028-29 | 79 | 49 | 63 | 4 | 43 | 61 | 56 | 12 | 28 | 329 | 112 | 836
2029-30 | 116 | 70 | 92 | 7 | 62 | 89 | 81 | 19 | 41 | 473 | 162 | 1212
2030-31 | 168 | 102 | 133 | 8 | 88 | 127 | 117 | 26 | 59 | 672 | 232 | 1732
2031-32 | 240 | 144 | 187 | 12 | 126 | 180 | 163 | 38 | 83 | 906 | 326 | 2405
2032-33 | 311 | 186 | 243 | 15 | 163 | 234 | 211 | 49 | 107 | 1148 | 421 | 3088
2033-34 | 393 | 237 | 306 | 20 | 206 | 295 | 268 | 61 | 136 | 1469 | 534 | 3925
2034-35 | 520 | 311 | 403 | 25 | 272 | 388 | 350 | 82 | 176 | 1853 | 699 | 5079
2035-36 | 632 | 378 | 488 | 30 | 327 | 471 | 424 | 99 | 212 | 2203 | 843 | 6107
2036-37 | 766 | 458 | 590 | 37 | 396 | 570 | 513 | 119 | 255 | 2609 | 1017 | 7330
2037-38 | 900 | 538 | 693 | 43 | 465 | 670 | 603 | 142 | 300 | 3039 | 1195 | 8588
2038-39 | 1067 | 635 | 817 | 51 | 548 | 791 | 710 | 166 | 351 | 3479 | 1402 | 10017
2039-40 | 1193 | 710 | 913 | 56 | 610 | 884 | 793 | 187 | 391 | 3834 | 1566 | 11137
2040-41 | 1338 | 794 | 1021 | 62 | 683 | 991 | 890 | 209 | 439 | 4237 | 1749 | 12413
2041-42 | 1471 | 873 | 1120 | 68 | 749 | 1088 | 978 | 229 | 480 | 4580 | 1919 | 13555
2042-43 | 1596 | 947 | 1214 | 75 | 811 | 1183 | 1065 | 249 | 520 | 4939 | 2080 | 14679
2043-44 | 1711 | 1015 | 1299 | 79 | 866 | 1267 | 1143 | 268 | 558 | 5239 | 2227 | 15672
2044-45 | 1816 | 1078 | 1378 | 83 | 919 | 1350 | 1216 | 285 | 593 | 5524 | 2364 | 16606
2045-46 | 1898 | 1127 | 1440 | 87 | 958 | 1411 | 1276 | 299 | 621 | 5768 | 2474 | 17359
2046-47 | 1964 | 1167 | 1488 | 90 | 990 | 1464 | 1326 | 310 | 644 | 5954 | 2562 | 17959
2047-48 | 2020 | 1200 | 1530 | 91 | 1017 | 1507 | 1368 | 320 | 662 | 6096 | 2636 | 18447
2048-49 | 2060 | 1226 | 1560 | 93 | 1035 | 1541 | 1403 | 327 | 679 | 6212 | 2694 | 18830
2049-50 | 2076 | 1236 | 1573 | 94 | 1042 | 1558 | 1420 | 331 | 685 | 6284 | 2723 | 19022
2050-51 | 2085 | 1241 | 1578 | 92 | 1044 | 1566 | 1433 | 334 | 691 | 6290 | 2735 | 19089
2051-52 | 2087 | 1244 | 1579 | 93 | 1043 | 1572 | 1441 | 334 | 692 | 6312 | 2744 | 19141
2052-53 | 2080 | 1241 | 1576 | 93 | 1040 | 1573 | 1445 | 335 | 694 | 6319 | 2745 | 19141
2053-54 | 2078 | 1242 | 1572 | 92 | 1037 | 1574 | 1450 | 335 | 696 | 6326 | 2747 | 19149
2054-55 | 2076 | 1243 | 1571 | 91 | 1034 | 1577 | 1457 | 336 | 699 | 6338 | 2751 | 19173
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13d-L
Table I-13d: Electrification Impacts by Scenario
Reflects Cumulative Impacts
NYCA Annual Energy Usage - GWh
Year | Baseline Forecast |  |  | Lower Demand Scenario |  |  | Higher Demand Scenario |  |  | Policy Scenario
| EV | Building | Total | EV | Building | Total | EV | Building | Total | EV | Building | Total
2024 | 1124 | 254 | 1378 | 956 | 254 | 1210 | 1203 | 254 | 1457 | 1203 | 254 | 1457
2025 | 1652 | 565 | 2217 | 1158 | 719 | 1877 | 1802 | 1052 | 2854 | 1802 | 1135 | 2937
2026 | 2374 | 1253 | 3627 | 1544 | 1285 | 2829 | 2616 | 2021 | 4637 | 2616 | 2204 | 4820
2027 | 3345 | 2085 | 5430 | 2073 | 1974 | 4047 | 3707 | 3194 | 6901 | 3707 | 3500 | 7207
2028 | 4501 | 3089 | 7590 | 2835 | 2797 | 5632 | 5027 | 4609 | 9636 | 5027 | 5061 | 10088
2029 | 5846 | 4189 | 10035 | 3741 | 3705 | 7446 | 6581 | 6163 | 12744 | 6581 | 6773 | 13354
2030 | 7394 | 5518 | 12912 | 4808 | 4798 | 9606 | 8392 | 8038 | 16430 | 8392 | 8841 | 17233
2031 | 9114 | 7050 | 16164 | 6015 | 6059 | 12074 | 10429 | 10198 | 20627 | 10429 | 11223 | 21652
2032 | 11011 | 8847 | 19858 | 7380 | 7539 | 14919 | 12698 | 12734 | 25432 | 12698 | 14021 | 26719
2033 | 13126 | 10929 | 24055 | 8926 | 9253 | 18179 | 15244 | 15671 | 30915 | 15244 | 17261 | 32505
2034 | 15459 | 13181 | 28640 | 10665 | 11110 | 21775 | 18092 | 18849 | 36941 | 18092 | 20767 | 38859
2035 | 18014 | 15773 | 33787 | 12610 | 13245 | 25855 | 21277 | 22510 | 43787 | 21277 | 24803 | 46080
2036 | 20543 | 18664 | 39207 | 14587 | 15625 | 30212 | 24455 | 26587 | 51042 | 24455 | 29303 | 53758
2037 | 23025 | 21740 | 44765 | 16579 | 18157 | 34736 | 27598 | 30922 | 58520 | 27598 | 34087 | 61685
2038 | 25421 | 25058 | 50479 | 18557 | 20896 | 39453 | 30689 | 35609 | 66298 | 30689 | 39255 | 69944
2039 | 27706 | 28595 | 56301 | 20503 | 23807 | 44310 | 33693 | 40597 | 74290 | 33693 | 44759 | 78452
2040 | 29869 | 32131 | 62000 | 22404 | 26716 | 49120 | 36589 | 45582 | 82171 | 36589 | 50258 | 86847
2041 | 31878 | 35615 | 67493 | 24228 | 29589 | 53817 | 39349 | 50500 | 89849 | 39349 | 55686 | 95035
2042 | 33731 | 38995 | 72726 | 25973 | 32368 | 58341 | 41961 | 55268 | 97229 | 41961 | 60942 | 102903
2043 | 35421 | 42108 | 77529 | 27628 | 34933 | 62561 | 44417 | 59660 | 104077 | 44417 | 65786 | 110203
2044 | 36937 | 44884 | 81821 | 29181 | 37220 | 66401 | 46710 | 63576 | 110286 | 46710 | 70106 | 116816
2045 | 38280 | 47322 | 85602 | 30622 | 39228 | 69850 | 48809 | 67014 | 115823 | 48809 | 73902 | 122711
2046 | 39417 | 49320 | 88737 | 31927 | 40875 | 72802 | 50694 | 69834 | 120528 | 50694 | 77010 | 127704
2047 | 40344 | 50942 | 91286 | 33082 | 42208 | 75290 | 52338 | 72120 | 124458 | 52338 | 79534 | 131872
2048 | 41064 | 52326 | 93390 | 34083 | 43348 | 77431 | 53743 | 74074 | 127817 | 53743 | 81689 | 135432
2049 | 41602 | 53223 | 94825 | 34947 | 44088 | 79035 | 54905 | 75342 | 130247 | 54905 | 83088 | 137993
2050 | 41979 | 54012 | 95991 | 35682 | 44738 | 80420 | 55879 | 76454 | 132333 | 55879 | 84315 | 140194
2051 | 42127 | 54563 | 96690 | 36230 | 45190 | 81420 | 56522 | 77230 | 133752 | 56522 | 85172 | 141694
2052 | 42170 | 55047 | 97217 | 36689 | 45591 | 82280 | 56976 | 77914 | 134890 | 56976 | 85925 | 142901
2053 | 42131 | 55297 | 97428 | 37075 | 45797 | 82872 | 57286 | 78267 | 135553 | 57286 | 86314 | 143600
2054 | 42092 | 55509 | 97601 | 37461 | 45971 | 83432 | 57596 | 78566 | 136162 | 57596 | 86643 | 144239
Note: Electric Vehicle annual energy usage from Tables I-1b, I-11b, I-15a, I-16a, and I-17a.
Includes light duty vehicles, medium and heavy duty vechiles, and buses.
Note: Building electrification annual energy usage from Tables I-1b, I-13a, I-15a, I-16a, and I-17a.
Includes electrification of space heating, water heating, cooking, and other end uses.