## I-1a
Table I-1a: NYCA Baseline Energy and Demand Forecasts
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
2024 Long Term Forecast1 - 2024 to 2054
Energy - GWh |  |  |  | Summer Peak Demand2 - MW |  |  |  | Winter Peak Demand2 - MW
Year | Low3 | Baseline4 | High3 | Year | Low3 | Baseline4, 5 | High3 | Year | Low3 | Baseline4 | High3
2023 |  | 149518 |  | 2023 |  | 31288 |  | 2023-24 |  | 23370
2024 | 149160 | 150540 | 151640 | 2024 | 31270 | 31541 | 31790 | 2024-25 | 23570 | 23800 | 24050
2025 | 148500 | 151020 | 154790 | 2025 | 31200 | 31650 | 32200 | 2025-26 | 23820 | 24210 | 24960
2026 | 149430 | 152990 | 159050 | 2026 | 31260 | 31900 | 32910 | 2026-27 | 24120 | 24730 | 25790
2027 | 149660 | 154530 | 162960 | 2027 | 31230 | 32110 | 33450 | 2027-28 | 24410 | 25270 | 26690
2028 | 149830 | 155100 | 167010 | 2028 | 31190 | 32130 | 33940 | 2028-29 | 24720 | 25760 | 27610
2029 | 150350 | 156660 | 171340 | 2029 | 31170 | 32340 | 34400 | 2029-30 | 25090 | 26350 | 28560
2030 | 151560 | 159050 | 176470 | 2030 | 31220 | 32580 | 34910 | 2030-31 | 25550 | 27020 | 29650
2031 | 153600 | 162360 | 182520 | 2031 | 31350 | 32880 | 35480 | 2031-32 | 26090 | 27900 | 30960
2032 | 156370 | 166530 | 189410 | 2032 | 31560 | 33320 | 36130 | 2032-33 | 26780 | 28850 | 32540
2033 | 159560 | 171380 | 196920 | 2033 | 31800 | 33830 | 36810 | 2033-34 | 27630 | 29950 | 34350
2034 | 162840 | 176040 | 204840 | 2034 | 32030 | 34210 | 37480 | 2034-35 | 28660 | 31480 | 36370
2035 | 166110 | 180640 | 213150 | 2035 | 32230 | 34520 | 38150 | 2035-36 | 29790 | 32990 | 38570
2036 | 169340 | 185190 | 221970 | 2036 | 32420 | 34870 | 38820 | 2036-37 | 31010 | 34490 | 40850
2037 | 172600 | 189800 | 231340 | 2037 | 32650 | 35280 | 39530 | 2037-38 | 32270 | 36100 | 43260
2038 | 175990 | 194470 | 241230 | 2038 | 32900 | 35700 | 40250 | 2038-39 | 33590 | 37740 | 45730
2039 | 179430 | 199390 | 251330 | 2039 | 33140 | 36100 | 40980 | 2039-40 | 34910 | 39520 | 48360
2040 | 182850 | 204080 | 261290 | 2040 | 33360 | 36450 | 41670 | 2040-41 | 36220 | 41200 | 50980
2041 | 186190 | 208540 | 270950 | 2041 | 33550 | 36740 | 42330 | 2041-42 | 37420 | 42850 | 53520
2042 | 189430 | 212740 | 280190 | 2042 | 33700 | 37000 | 42950 | 2042-43 | 38520 | 44200 | 55820
2043 | 192510 | 216910 | 288960 | 2043 | 33830 | 37210 | 43540 | 2043-44 | 39480 | 45410 | 57910
2044 | 195400 | 220660 | 297160 | 2044 | 33930 | 37400 | 44100 | 2044-45 | 40320 | 46430 | 59770
2045 | 198000 | 223970 | 304610 | 2045 | 34010 | 37570 | 44630 | 2045-46 | 41040 | 47400 | 61470
2046 | 200200 | 226610 | 311260 | 2046 | 34050 | 37710 | 45130 | 2046-47 | 41650 | 48230 | 62920
2047 | 202080 | 228970 | 317120 | 2047 | 34090 | 37820 | 45590 | 2047-48 | 42130 | 48880 | 64140
2048 | 203560 | 230680 | 322220 | 2048 | 34110 | 37910 | 46000 | 2048-49 | 42480 | 49350 | 65100
2049 | 204720 | 232030 | 326700 | 2049 | 34130 | 38000 | 46390 | 2049-50 | 42710 | 49640 | 65870
2050 | 205600 | 232860 | 330570 | 2050 | 34140 | 38080 | 46760 | 2050-51 | 42830 | 49840 | 66460
2051 | 206260 | 233690 | 333970 | 2051 | 34150 | 38160 | 47120 | 2051-52 | 42910 | 49950 | 66920
2052 | 206680 | 234030 | 336890 | 2052 | 34150 | 38210 | 47460 | 2052-53 | 42950 | 50040 | 67280
2053 | 206890 | 234210 | 338920 | 2053 | 34150 | 38260 | 47690 | 2053-54 | 42980 | 50080 | 67520
2054 | 206950 | 234110 | 340290 | 2054 | 34140 | 38300 | 47880 | 2054-55 | 42980 | 50110 | 67670
Average Annual Growth - Percent
Period | Low | Baseline | High | Period | Low | Baseline | High | Period | Low | Baseline | High
2024-29 | 0.1596% | 0.8131% | 2.598% | 2024-29 | -0.06396% | 0.5066% | 1.642% | 2024-29 | 1.29% | 2.143% | 3.751%
2029-34 | 1.661% | 2.474% | 3.91% | 2029-34 | 0.5518% | 1.156% | 1.791% | 2029-34 | 2.846% | 3.894% | 5.469%
2034-39 | 2.038% | 2.653% | 4.539% | 2034-39 | 0.6931% | 1.105% | 1.868% | 2034-39 | 4.361% | 5.108% | 6.593%
2039-44 | 1.78% | 2.134% | 3.647% | 2039-44 | 0.4768% | 0.7202% | 1.523% | 2039-44 | 3.099% | 3.497% | 4.719%
2024-34 | 0.9171% | 1.694% | 3.508% | 2024-34 | 0.243% | 0.8462% | 1.79% | 2024-34 | 2.16% | 3.227% | 5.123%
2034-44 | 2% | 2.535% | 4.507% | 2034-44 | 0.5932% | 0.9325% | 1.766% | 2034-44 | 4.068% | 4.749% | 6.434%
2044-54 | 0.5911% | 0.6095% | 1.451% | 2044-54 | 0.06189% | 0.2406% | 0.8571% | 2044-54 | 0.6597% | 0.7926% | 1.322%
2024-44 | 1.55% | 2.329% | 4.798% | 2024-44 | 0.4253% | 0.9288% | 1.936% | 2024-44 | 3.553% | 4.754% | 7.426%
2024-54 | 1.291% | 1.85% | 4.147% | 2024-54 | 0.3059% | 0.7143% | 1.687% | 2024-54 | 2.745% | 3.685% | 6.046%
Notes
1. All results in the Section I tables include transmission & distribution losses.
2. Summer Capability period is from May 1 to October 31. Winter Capability period is from November 1 of the current year to April 30 of the next year.
3. The low and high columns reflect the Lower Demand and Higher Demand Scenario forecasts under expected weather conditions, which are summarized in Tables I-15 and I-16.
These do not reflect the 90th and 10th percentile forecasts due to weather, which are found in Tables I-6 and I-7.
4. Energy and peak figures for 2023 are weather-normalized. The values for the actual annual energy, summer peak, and winter peak are reported in Tables I-2, I-3a, and I-3b respectively.
5. The 2024 NYCA summer peak forecast is the same as the 2024 ICAP forecast.

## Notes
2024 Gold Book Policy Scenario Tables Notes
The following policy scenario forecasts are the same as the baseline forecast:
Forecast | Tables
Behind-the-Meter Solar PV | I-9a,b,c,d
Behind-the-Meter Non-Solar Distributed Generation | I-10a,b,c
Energy Storage | I-12a,b,c
Interconnecting Large Loads | I-14

## I-17
Table I-17a: Summary of NYCA Policy Scenario Annual Energy Forecasts - GWh | [10 empty] | Table I-17b: Summary of NYCA Policy Scenario Summer Coincident Peak Demand Forecasts - MW | [10 empty] | Table I-17c: Summary of NYCA Policy Scenario Winter Coincident Peak Demand Forecasts - MW
Reflects Achievement of State Policy Targets | [10 empty] | Reflects Achievement of State Policy Targets | [10 empty] | Reflects Achievement of State Policy Targets
Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
|  | (-) | (-) | (-) | (+) | (+) | (+) | (+) | (+) | =a-b-c-d+e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i
| Econometric Energy | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | Storage Net Energy Consumption | EV Energy | Building Electrification | Large Load Projects | Electrolysis | Policy Scenario Annual Energy Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Policy Scenario Summer Peak Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Policy Scenario Winter Peak Forecast
2024 | 156915.5625 | 3750 | 6285 | 2013 | 115.4375 | 1203 | 254 | 2860 | 0 | 149300 | 2024 | 33525 | 560 | 1505 | 351 | 239 | 169 | 13 | 368 | 0 | 31420 | 2024-25 | 23921 | 470 | 0 | 351 | 239 | 313 | 174 | 372 | 0 | 23720
2025 | 157575.5625 | 7810 | 7402 | 2068 | 247.4375 | 1802 | 1135 | 4960 | 0 | 148440 | 2025 | 33803 | 1290 | 1503 | 361 | 297 | 253 | 45 | 630 | 0 | 31280 | 2025-26 | 24152 | 1050 | 0 | 361 | 297 | 434 | 369 | 783 | 0 | 24030
2026 | 157887.5625 | 11830 | 8459 | 2101 | 352.4375 | 2616 | 2204 | 8670 | 0 | 149340 | 2026 | 33930 | 2040 | 1496 | 367 | 356 | 367 | 91 | 1091 | 0 | 31220 | 2026-27 | 24348 | 1670 | 0 | 367 | 356 | 630 | 584 | 1201 | 0 | 24370
2027 | 158425.5625 | 15810 | 9448 | 2133 | 618.4375 | 3707 | 3500 | 10930 | 0 | 149790 | 2027 | 34158 | 2860 | 1482 | 372 | 423 | 533 | 157 | 1409 | 0 | 31120 | 2027-28 | 24662 | 2270 | 0 | 372 | 423 | 895 | 859 | 1409 | 0 | 24760
2028 | 160291.5625 | 19580 | 10329 | 2164 | 713.4375 | 5027 | 5061 | 11770 | 0 | 150790 | 2028 | 34511 | 3650 | 1469 | 378 | 492 | 750 | 229 | 1529 | 0 | 31030 | 2028-29 | 24958 | 2890 | 0 | 378 | 492 | 1218 | 1255 | 1529 | 0 | 25200
2029 | 161192.5625 | 23090 | 11089 | 2193 | 810.4375 | 6581 | 6773 | 12850 | 1105 | 152940 | 2029 | 34803 | 4400 | 1439 | 383 | 562 | 1004 | 314 | 1683 | 0 | 31020 | 2029-30 | 25096 | 3460 | 0 | 383 | 562 | 1593 | 1783 | 1683 | 0 | 25750
2030 | 161743.5625 | 26110 | 11723 | 2222 | 907.4375 | 8392 | 8841 | 14330 | 2311 | 156470 | 2030 | 34959 | 4990 | 1394 | 388 | 638 | 1283 | 414 | 1894 | 0 | 31140 | 2030-31 | 25141 | 4000 | 0 | 388 | 638 | 1996 | 2485 | 1894 | 0 | 26490
2031 | 163540.5625 | 28920 | 12238 | 2251 | 995.4375 | 10429 | 11223 | 15130 | 3501 | 161410 | 2031 | 35261 | 5530 | 1342 | 392 | 714 | 1593 | 525 | 2009 | 0 | 31410 | 2031-32 | 25309 | 4490 | 0 | 392 | 714 | 2425 | 3373 | 2009 | 0 | 27520
2032 | 165518.5625 | 31600 | 12652 | 2278 | 1080.4375 | 12698 | 14021 | 15940 | 4662 | 167390 | 2032 | 35629 | 6070 | 1282 | 397 | 794 | 1914 | 646 | 2124 | 0 | 31770 | 2032-33 | 25143 | 5030 | 0 | 397 | 794 | 2869 | 4895 | 2124 | 0 | 28810
2033 | 167276.5625 | 34080 | 12990 | 2306 | 1171.4375 | 15244 | 17261 | 16740 | 5783 | 174100 | 2033 | 35967 | 6570 | 1224 | 402 | 871 | 2243 | 778 | 2239 | 0 | 32160 | 2033-34 | 25067 | 5560 | 0 | 402 | 871 | 3315 | 6562 | 2239 | 0 | 30350
2034 | 169125.5625 | 36420 | 13252 | 2329 | 1259.4375 | 18092 | 20767 | 17150 | 6907 | 181300 | 2034 | 36322 | 7050 | 1168 | 406 | 953 | 2577 | 921 | 2297 | 0 | 32540 | 2034-35 | 25619 | 6070 | 0 | 406 | 953 | 3761 | 7822 | 2297 | 0 | 32070
2035 | 170634.5625 | 38660 | 13497 | 2352 | 1347.4375 | 21277 | 24803 | 17150 | 8227 | 188930 | 2035 | 36670 | 7490 | 1108 | 410 | 1034 | 2913 | 1072 | 2297 | 0 | 32910 | 2035-36 | 25524 | 6600 | 0 | 410 | 1034 | 4207 | 9986 | 2297 | 0 | 33970
2036 | 171653.5625 | 40730 | 13750 | 2375 | 1434.4375 | 24455 | 29303 | 17150 | 9929 | 197070 | 2036 | 36993 | 7910 | 1042 | 414 | 1115 | 3243 | 1228 | 2297 | 0 | 33280 | 2036-37 | 25706 | 7160 | 0 | 414 | 1115 | 4646 | 11930 | 2297 | 0 | 35890
2037 | 172316.5625 | 42660 | 13974 | 2396 | 1524.4375 | 27598 | 34087 | 17150 | 12204 | 205850 | 2037 | 37302 | 8300 | 988 | 418 | 1193 | 3571 | 1389 | 2297 | 0 | 33660 | 2037-38 | 25845 | 7730 | 0 | 418 | 1193 | 5065 | 14054 | 2297 | 0 | 37920
2038 | 172655.5625 | 44550 | 14185 | 2419 | 1613.4375 | 30689 | 39255 | 17150 | 14861 | 215070 | 2038 | 37649 | 8660 | 937 | 421 | 1273 | 3885 | 1550 | 2297 | 0 | 34090 | 2038-39 | 26520 | 8340 | 0 | 421 | 1273 | 5459 | 15778 | 2297 | 0 | 40020
2039 | 172838.5625 | 46400 | 14384 | 2442 | 1700.4375 | 33693 | 44759 | 17150 | 17605 | 224520 | 2039 | 38054 | 9050 | 877 | 426 | 1352 | 4181 | 1713 | 2297 | 0 | 34540 | 2039-40 | 26420 | 8940 | 0 | 426 | 1352 | 5836 | 18505 | 2297 | 0 | 42340
2040 | 173241.5625 | 48360 | 14555 | 2461 | 1788.4375 | 36589 | 50258 | 17150 | 20139 | 233790 | 2040 | 38261 | 9200 | 811 | 429 | 1427 | 4459 | 1870 | 2297 | 0 | 35020 | 2040-41 | 26812 | 9370 | 0 | 429 | 1427 | 6180 | 20647 | 2297 | 0 | 44710
2041 | 173743.5625 | 50310 | 14722 | 2480 | 1881.4375 | 39349 | 55686 | 17150 | 22372 | 242670 | 2041 | 38467 | 9310 | 745 | 433 | 1506 | 4736 | 2024 | 2297 | 0 | 35530 | 2041-42 | 26983 | 9740 | 0 | 433 | 1506 | 6525 | 22954 | 2297 | 0 | 47080
2042 | 174274.5625 | 52240 | 14870 | 2498 | 1971.4375 | 41961 | 60942 | 17150 | 24429 | 251120 | 2042 | 38624 | 9370 | 679 | 435 | 1577 | 4998 | 2172 | 2297 | 0 | 36030 | 2042-43 | 27224 | 10070 | 0 | 435 | 1577 | 6842 | 24959 | 2297 | 0 | 49240
2043 | 174693.5625 | 53930 | 15005 | 2517 | 2062.4375 | 44417 | 65786 | 17150 | 26383 | 259040 | 2043 | 38849 | 9490 | 623 | 439 | 1647 | 5235 | 2318 | 2297 | 0 | 36500 | 2043-44 | 27336 | 10370 | 0 | 439 | 1647 | 7123 | 26900 | 2297 | 0 | 51200
2044 | 175265.5625 | 55650 | 15130 | 2537 | 2148.4375 | 46710 | 70106 | 17150 | 28247 | 266310 | 2044 | 38911 | 9490 | 560 | 442 | 1711 | 5457 | 2448 | 2297 | 0 | 36910 | 2044-45 | 27556 | 10650 | 0 | 442 | 1711 | 7375 | 28465 | 2297 | 0 | 52890
2045 | 175892.5625 | 57370 | 15245 | 2550 | 2239.4375 | 48809 | 73902 | 17150 | 29912 | 272740 | 2045 | 39036 | 9590 | 502 | 445 | 1771 | 5650 | 2575 | 2297 | 0 | 37250 | 2045-46 | 27719 | 11040 | 0 | 445 | 1771 | 7602 | 29958 | 2297 | 0 | 54320
2046 | 176662.5625 | 59040 | 15352 | 2562 | 2327.4375 | 50694 | 77010 | 17150 | 31350 | 278240 | 2046 | 39223 | 9820 | 450 | 446 | 1826 | 5766 | 2716 | 2297 | 0 | 37460 | 2046-47 | 28030 | 11590 | 0 | 446 | 1826 | 7712 | 31233 | 2297 | 0 | 55410
2047 | 177654.5625 | 60850 | 15444 | 2576 | 2413.4375 | 52338 | 79534 | 17150 | 32620 | 282840 | 2047 | 39287 | 10040 | 403 | 449 | 1875 | 5855 | 2928 | 2297 | 0 | 37600 | 2047-48 | 28420 | 12180 | 0 | 449 | 1875 | 7794 | 32163 | 2297 | 0 | 56170
2048 | 178498.5625 | 62670 | 15544 | 2589 | 2500.4375 | 53743 | 81689 | 17150 | 33792 | 286570 | 2048 | 39524 | 10250 | 364 | 451 | 1922 | 5920 | 2906 | 2297 | 0 | 37660 | 2048-49 | 28924 | 12770 | 0 | 451 | 1922 | 7842 | 32720 | 2297 | 0 | 56640
2049 | 179608.5625 | 64420 | 15628 | 2603 | 2583.4375 | 54905 | 83088 | 17150 | 34906 | 289590 | 2049 | 39665 | 10450 | 331 | 454 | 1964 | 5958 | 2979 | 2297 | 0 | 37700 | 2049-50 | 29256 | 13340 | 0 | 454 | 1964 | 7863 | 33252 | 2297 | 0 | 56910
2050 | 180472.5625 | 66170 | 15696 | 2615 | 2667.4375 | 55879 | 84315 | 17150 | 35957 | 291960 | 2050 | 39853 | 10680 | 304 | 456 | 2001 | 5976 | 3035 | 2297 | 0 | 37720 | 2050-51 | 29588 | 13900 | 0 | 456 | 2001 | 7855 | 33627 | 2297 | 0 | 57010
2051 | 181616.5625 | 67950 | 15769 | 2628 | 2749.4375 | 56522 | 85172 | 17150 | 36967 | 293830 | 2051 | 40034 | 10880 | 278 | 459 | 2036 | 5996 | 3086 | 2297 | 0 | 37760 | 2051-52 | 30089 | 14440 | 0 | 459 | 2036 | 7855 | 33684 | 2297 | 0 | 56990
2052 | 182528.5625 | 69710 | 15840 | 2642 | 2831.4375 | 56976 | 85925 | 17150 | 37951 | 295170 | 2052 | 40216 | 11030 | 267 | 461 | 2063 | 5995 | 3083 | 2297 | 0 | 37770 | 2052-53 | 30551 | 15000 | 0 | 461 | 2063 | 7835 | 33721 | 2297 | 0 | 56880
2053 | 183402.5625 | 71420 | 15905 | 2655 | 2911.4375 | 57286 | 86314 | 17150 | 38936 | 296020 | 2053 | 40426 | 11240 | 256 | 464 | 2093 | 5981 | 3129 | 2297 | 0 | 37780 | 2053-54 | 30972 | 15540 | 0 | 464 | 2093 | 7795 | 33803 | 2297 | 0 | 56770
2054 | 184161.5625 | 73130 | 15950 | 2668 | 2995.4375 | 57596 | 86643 | 17150 | 39672 | 296470 | 2054 | 40715 | 11450 | 253 | 465 | 2120 | 5951 | 3095 | 2297 | 0 | 37770 | 2054-55 | 31381 | 15990 | 0 | 465 | 2120 | 7753 | 33834 | 2297 | 0 | 56690
(a) - Econometric Energy Forecast - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Summer Peak Demand - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Winter Peak Demand - Reflects impacts of projected weather trendsand economic growth
(b) - Table I-8a-P: Energy Efficiency and Codes & Standards Energy Impacts, Relative to 2023 | [10 empty] | (b) - Table I-8b-P: Energy Efficiency and Codes & Standards Summer Coincident Peak Demand Reductions, Relative to 2023 | [10 empty] | (b) - Table I-8c-P: Energy Efficiency and Codes & Standards Winter Coincident Peak Demand Reductions, Relative to 2023-24
(c) - Table I-9b: Solar PV Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (c) - Table I-9c: Solar PV Impacts, Behind-the-Meter, Total Reductions in Summer Coincident Peak Demand | [10 empty] | (c) - The forecast of solar PV-related reductions to the winter peak is zero because the system typically peaks after sunset
(d) - Table I-10b: Non-Solar Distributed Generation Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (d) - Table I-10d: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand | [10 empty] | (d) - Table I-10c: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand
(e) - Table I-12b: Storage Annual Net Energy Consumption, both wholesale and behind-the-meter (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources)
(f) - Table I-11b-P: Electric Vehicle Energy Usage | [10 empty] | (f) - Table I-11c-P: Electric Vehicle Summer Coincident Peak Demand | [10 empty] | (f) - Table I-11d-P: Electric Vehicle Winter Coincident Peak Demand
(g) - Table I-13a-P: Building Electrification Energy Usage - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13b-P: Building Electrification Summer Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13c-P: Building Electrification Winter Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses
(h) - Table I-14: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14: Large Loads Forecast - reflects existing plus future load growth
(i) - Table I-22-P: Electrolysis Annual Energy Impacts | [10 empty] | (i) - There are no electrolysis peak demand impacts as hydrogen production is expected to occur non-coincident with system peak electric load | [10 empty] | (i) - There are no electrolysis peak demand impacts as hydrogen production is expected to occur non-coincident with system peak electric load
(j) - Table I-2-P: Policy Scenario Annual Energy Forecast | [10 empty] | (j) - Table I-3a-P: Policy Scenario Summer Coincident Peak Demand Forecast | [10 empty] | (j) - Table I-3b-P: Policy Scenario Winter Coincident Peak Demand Forecast

## I-2-P
Table I-2-P: Policy Scenario Annual Energy Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 15300 | 9160 | 14750 | 5750 | 7080 | 11150 | 9140 | 2740 | 5440 | 49080 | 19710 | 149300
2025 | 15490 | 9660 | 14370 | 5820 | 6720 | 10680 | 9100 | 2700 | 5390 | 48770 | 19740 | 148440
2026 | 15430 | 9740 | 14330 | 7240 | 6510 | 10470 | 9120 | 2690 | 5360 | 48650 | 19800 | 149340
2027 | 15300 | 9730 | 14450 | 8020 | 6280 | 10270 | 9190 | 2680 | 5340 | 48580 | 19950 | 149790
2028 | 15160 | 9620 | 14930 | 8510 | 6160 | 10190 | 9330 | 2700 | 5340 | 48670 | 20180 | 150790
2029 | 15170 | 9560 | 15810 | 8740 | 6220 | 10240 | 9590 | 2730 | 5380 | 48970 | 20530 | 152940
2030 | 15390 | 9620 | 17010 | 8870 | 6430 | 10420 | 9940 | 2790 | 5460 | 49560 | 20980 | 156470
2031 | 15820 | 9840 | 18370 | 9010 | 6770 | 10750 | 10380 | 2880 | 5590 | 50450 | 21550 | 161410
2032 | 16420 | 10180 | 19780 | 9170 | 7200 | 11220 | 10880 | 2980 | 5760 | 51590 | 22210 | 167390
2033 | 17140 | 10600 | 21150 | 9330 | 7710 | 11800 | 11450 | 3100 | 5960 | 52900 | 22960 | 174100
2034 | 17950 | 11090 | 22410 | 9500 | 8280 | 12450 | 12060 | 3240 | 6180 | 54340 | 23800 | 181300
2035 | 18840 | 11610 | 23580 | 9690 | 8920 | 13150 | 12740 | 3380 | 6420 | 55880 | 24720 | 188930
2036 | 19800 | 12170 | 24720 | 9920 | 9650 | 13900 | 13460 | 3530 | 6680 | 57530 | 25710 | 197070
2037 | 20860 | 12780 | 25940 | 10200 | 10460 | 14710 | 14240 | 3690 | 6950 | 59270 | 26750 | 205850
2038 | 21990 | 13430 | 27220 | 10520 | 11330 | 15560 | 15060 | 3850 | 7240 | 61060 | 27810 | 215070
2039 | 23150 | 14110 | 28540 | 10850 | 12230 | 16440 | 15890 | 4010 | 7530 | 62880 | 28890 | 224520
2040 | 24290 | 14770 | 29820 | 11150 | 13110 | 17300 | 16710 | 4180 | 7820 | 64680 | 29960 | 233790
2041 | 25380 | 15410 | 31030 | 11430 | 13940 | 18120 | 17500 | 4340 | 8100 | 66420 | 31000 | 242670
2042 | 26410 | 16000 | 32160 | 11690 | 14720 | 18910 | 18260 | 4500 | 8380 | 68090 | 32000 | 251120
2043 | 27360 | 16560 | 33210 | 11930 | 15440 | 19640 | 19000 | 4650 | 8640 | 69670 | 32940 | 259040
2044 | 28220 | 17060 | 34170 | 12150 | 16100 | 20320 | 19690 | 4800 | 8880 | 71110 | 33810 | 266310
2045 | 28980 | 17500 | 35010 | 12340 | 16690 | 20930 | 20320 | 4920 | 9100 | 72380 | 34570 | 272740
2046 | 29620 | 17870 | 35730 | 12510 | 17180 | 21450 | 20890 | 5020 | 9280 | 73470 | 35220 | 278240
2047 | 30140 | 18180 | 36330 | 12660 | 17600 | 21890 | 21380 | 5100 | 9420 | 74370 | 35770 | 282840
2048 | 30560 | 18420 | 36830 | 12780 | 17940 | 22250 | 21800 | 5170 | 9540 | 75080 | 36200 | 286570
2049 | 30890 | 18600 | 37250 | 12900 | 18220 | 22560 | 22160 | 5210 | 9630 | 75640 | 36530 | 289590
2050 | 31140 | 18740 | 37600 | 13000 | 18440 | 22800 | 22460 | 5250 | 9690 | 76060 | 36780 | 291960
2051 | 31340 | 18850 | 37880 | 13100 | 18630 | 23000 | 22710 | 5270 | 9740 | 76370 | 36940 | 293830
2052 | 31470 | 18920 | 38110 | 13190 | 18790 | 23140 | 22900 | 5280 | 9760 | 76570 | 37040 | 295170
2053 | 31550 | 18960 | 38270 | 13250 | 18890 | 23230 | 23030 | 5290 | 9780 | 76680 | 37090 | 296020
2054 | 31590 | 18990 | 38360 | 13300 | 18960 | 23290 | 23100 | 5290 | 9780 | 76710 | 37100 | 296470
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3a-P
Table I-3a-P: Policy Scenario Summer Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 2722 | 1852 | 2595 | 700 | 1332 | 2300 | 2144 | 608 | 1323 | 10880 | 4964 | 31420
2025 | 2757 | 1930 | 2498 | 708 | 1293 | 2212 | 2138 | 615 | 1314 | 10859 | 4956 | 31280
2026 | 2718 | 1911 | 2498 | 908 | 1230 | 2156 | 2126 | 616 | 1306 | 10800 | 4951 | 31220
2027 | 2676 | 1895 | 2487 | 1024 | 1180 | 2107 | 2125 | 617 | 1298 | 10760 | 4951 | 31120
2028 | 2616 | 1860 | 2517 | 1097 | 1140 | 2070 | 2136 | 621 | 1294 | 10720 | 4959 | 31030
2029 | 2559 | 1825 | 2589 | 1125 | 1114 | 2043 | 2160 | 625 | 1296 | 10700 | 4984 | 31020
2030 | 2521 | 1800 | 2694 | 1131 | 1101 | 2027 | 2194 | 632 | 1304 | 10710 | 5026 | 31140
2031 | 2507 | 1788 | 2806 | 1136 | 1098 | 2025 | 2237 | 640 | 1317 | 10770 | 5086 | 31410
2032 | 2512 | 1786 | 2907 | 1142 | 1101 | 2036 | 2289 | 648 | 1332 | 10860 | 5157 | 31770
2033 | 2527 | 1789 | 2991 | 1149 | 1109 | 2053 | 2345 | 658 | 1347 | 10960 | 5232 | 32160
2034 | 2545 | 1793 | 3044 | 1157 | 1120 | 2072 | 2398 | 670 | 1359 | 11080 | 5302 | 32540
2035 | 2565 | 1797 | 3085 | 1166 | 1130 | 2088 | 2447 | 682 | 1373 | 11210 | 5367 | 32910
2036 | 2588 | 1805 | 3110 | 1177 | 1139 | 2108 | 2496 | 693 | 1390 | 11340 | 5434 | 33280
2037 | 2611 | 1817 | 3136 | 1186 | 1151 | 2134 | 2548 | 704 | 1408 | 11460 | 5505 | 33660
2038 | 2636 | 1835 | 3161 | 1196 | 1166 | 2168 | 2607 | 715 | 1426 | 11600 | 5580 | 34090
2039 | 2665 | 1855 | 3195 | 1203 | 1185 | 2206 | 2669 | 726 | 1445 | 11740 | 5651 | 34540
2040 | 2701 | 1879 | 3225 | 1212 | 1211 | 2247 | 2734 | 738 | 1464 | 11890 | 5719 | 35020
2041 | 2741 | 1905 | 3265 | 1222 | 1240 | 2289 | 2799 | 749 | 1483 | 12060 | 5777 | 35530
2042 | 2784 | 1933 | 3305 | 1234 | 1271 | 2334 | 2861 | 760 | 1502 | 12220 | 5826 | 36030
2043 | 2823 | 1958 | 3347 | 1245 | 1301 | 2379 | 2920 | 771 | 1521 | 12370 | 5865 | 36500
2044 | 2858 | 1981 | 3388 | 1255 | 1327 | 2424 | 2974 | 780 | 1537 | 12490 | 5896 | 36910
2045 | 2886 | 1998 | 3422 | 1264 | 1350 | 2461 | 3021 | 789 | 1548 | 12590 | 5921 | 37250
2046 | 2902 | 2007 | 3431 | 1272 | 1365 | 2489 | 3058 | 792 | 1554 | 12650 | 5940 | 37460
2047 | 2907 | 2008 | 3438 | 1279 | 1373 | 2508 | 3084 | 795 | 1554 | 12700 | 5954 | 37600
2048 | 2903 | 2005 | 3435 | 1284 | 1373 | 2519 | 3103 | 794 | 1552 | 12730 | 5962 | 37660
2049 | 2897 | 2000 | 3420 | 1287 | 1369 | 2525 | 3120 | 794 | 1548 | 12770 | 5970 | 37700
2050 | 2888 | 1992 | 3404 | 1292 | 1362 | 2529 | 3137 | 793 | 1545 | 12800 | 5978 | 37720
2051 | 2879 | 1984 | 3398 | 1296 | 1354 | 2531 | 3154 | 793 | 1543 | 12840 | 5988 | 37760
2052 | 2869 | 1976 | 3382 | 1300 | 1346 | 2530 | 3165 | 792 | 1543 | 12870 | 5997 | 37770
2053 | 2862 | 1971 | 3372 | 1300 | 1340 | 2528 | 3171 | 792 | 1542 | 12900 | 6002 | 37780
2054 | 2857 | 1967 | 3361 | 1299 | 1335 | 2523 | 3171 | 792 | 1541 | 12920 | 6004 | 37770
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3b-P
Table I-3b-P: Policy Scenario Winter Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 2182 | 1505 | 2498 | 873 | 1277 | 1913 | 1497 | 506 | 870 | 7330 | 3269 | 23720
2025-26 | 2246 | 1556 | 2447 | 1040 | 1269 | 1896 | 1511 | 508 | 876 | 7380 | 3301 | 24030
2026-27 | 2276 | 1572 | 2539 | 1170 | 1265 | 1901 | 1525 | 512 | 879 | 7400 | 3331 | 24370
2027-28 | 2314 | 1590 | 2614 | 1268 | 1267 | 1919 | 1553 | 519 | 884 | 7450 | 3382 | 24760
2028-29 | 2350 | 1605 | 2718 | 1321 | 1277 | 1947 | 1594 | 527 | 891 | 7520 | 3450 | 25200
2029-30 | 2397 | 1629 | 2844 | 1340 | 1297 | 1982 | 1648 | 534 | 903 | 7640 | 3536 | 25750
2030-31 | 2465 | 1663 | 2985 | 1348 | 1327 | 2025 | 1717 | 540 | 921 | 7850 | 3649 | 26490
2031-32 | 2563 | 1712 | 3143 | 1356 | 1372 | 2088 | 1805 | 549 | 950 | 8180 | 3802 | 27520
2032-33 | 2686 | 1775 | 3311 | 1366 | 1432 | 2174 | 1915 | 565 | 992 | 8600 | 3994 | 28810
2033-34 | 2838 | 1858 | 3480 | 1375 | 1509 | 2289 | 2049 | 589 | 1045 | 9090 | 4228 | 30350
2034-35 | 3009 | 1957 | 3657 | 1386 | 1597 | 2422 | 2201 | 616 | 1106 | 9630 | 4489 | 32070
2035-36 | 3206 | 2072 | 3827 | 1399 | 1701 | 2576 | 2369 | 647 | 1172 | 10220 | 4781 | 33970
2036-37 | 3414 | 2192 | 3971 | 1415 | 1808 | 2733 | 2542 | 680 | 1242 | 10810 | 5083 | 35890
2037-38 | 3635 | 2318 | 4126 | 1429 | 1922 | 2901 | 2725 | 717 | 1317 | 11430 | 5400 | 37920
2038-39 | 3866 | 2446 | 4287 | 1442 | 2038 | 3076 | 2911 | 755 | 1395 | 12080 | 5724 | 40020
2039-40 | 4117 | 2587 | 4469 | 1456 | 2167 | 3271 | 3110 | 797 | 1480 | 12810 | 6076 | 42340
2040-41 | 4372 | 2734 | 4652 | 1473 | 2297 | 3471 | 3312 | 838 | 1566 | 13560 | 6435 | 44710
2041-42 | 4626 | 2881 | 4839 | 1489 | 2427 | 3669 | 3514 | 879 | 1653 | 14310 | 6793 | 47080
2042-43 | 4860 | 3016 | 5014 | 1505 | 2544 | 3852 | 3702 | 918 | 1736 | 14970 | 7123 | 49240
2043-44 | 5071 | 3138 | 5169 | 1521 | 2650 | 4020 | 3877 | 955 | 1813 | 15560 | 7426 | 51200
2044-45 | 5252 | 3242 | 5296 | 1534 | 2739 | 4166 | 4034 | 987 | 1879 | 16070 | 7691 | 52890
2045-46 | 5401 | 3327 | 5404 | 1545 | 2811 | 4290 | 4169 | 1014 | 1932 | 16510 | 7917 | 54320
2046-47 | 5512 | 3389 | 5484 | 1553 | 2861 | 4384 | 4278 | 1034 | 1973 | 16850 | 8092 | 55410
2047-48 | 5588 | 3429 | 5528 | 1561 | 2892 | 4452 | 4360 | 1048 | 2000 | 17090 | 8222 | 56170
2048-49 | 5632 | 3452 | 5548 | 1569 | 2907 | 4493 | 4419 | 1056 | 2016 | 17240 | 8308 | 56640
2049-50 | 5655 | 3464 | 5546 | 1577 | 2911 | 4517 | 4461 | 1060 | 2023 | 17330 | 8366 | 56910
2050-51 | 5658 | 3465 | 5527 | 1583 | 2906 | 4527 | 4489 | 1062 | 2025 | 17370 | 8398 | 57010
2051-52 | 5648 | 3458 | 5510 | 1588 | 2895 | 4525 | 4506 | 1061 | 2020 | 17370 | 8409 | 56990
2052-53 | 5630 | 3443 | 5486 | 1593 | 2880 | 4515 | 4516 | 1058 | 2012 | 17340 | 8407 | 56880
2053-54 | 5615 | 3427 | 5464 | 1597 | 2869 | 4505 | 4521 | 1055 | 2004 | 17310 | 8403 | 56770
2054-55 | 5604 | 3413 | 5454 | 1601 | 2861 | 4496 | 4524 | 1052 | 1995 | 17290 | 8400 | 56690
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4a-P
Table I-4a-P: Policy Scenario Summer Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2024 | 2824 | 1894 | 2666 | 719 | 1369 | 2346 | 2191 | 622 | 1353 | 11120 | 5044
2025 | 2860 | 1974 | 2566 | 727 | 1329 | 2256 | 2184 | 629 | 1344 | 11100 | 5036
2026 | 2819 | 1954 | 2566 | 932 | 1264 | 2199 | 2172 | 630 | 1335 | 11040 | 5031
2027 | 2776 | 1938 | 2555 | 1052 | 1213 | 2149 | 2171 | 631 | 1327 | 11000 | 5031
2028 | 2714 | 1902 | 2585 | 1127 | 1172 | 2111 | 2182 | 635 | 1323 | 10960 | 5039
2029 | 2654 | 1866 | 2659 | 1155 | 1145 | 2084 | 2207 | 639 | 1325 | 10940 | 5065
2030 | 2615 | 1841 | 2767 | 1161 | 1132 | 2068 | 2242 | 646 | 1333 | 10950 | 5107
2031 | 2601 | 1828 | 2882 | 1167 | 1129 | 2066 | 2286 | 654 | 1347 | 11010 | 5168
2032 | 2606 | 1826 | 2986 | 1173 | 1132 | 2077 | 2339 | 663 | 1362 | 11100 | 5241
2033 | 2621 | 1829 | 3072 | 1180 | 1140 | 2094 | 2396 | 673 | 1377 | 11210 | 5317
2034 | 2640 | 1834 | 3127 | 1188 | 1151 | 2113 | 2450 | 685 | 1390 | 11330 | 5388
2035 | 2661 | 1838 | 3169 | 1197 | 1162 | 2130 | 2500 | 697 | 1404 | 11460 | 5454
2036 | 2685 | 1846 | 3195 | 1209 | 1171 | 2150 | 2550 | 709 | 1421 | 11600 | 5522
2037 | 2708 | 1858 | 3221 | 1218 | 1183 | 2177 | 2603 | 720 | 1440 | 11720 | 5594
2038 | 2734 | 1876 | 3247 | 1228 | 1199 | 2211 | 2664 | 731 | 1458 | 11860 | 5670
2039 | 2764 | 1897 | 3282 | 1235 | 1218 | 2250 | 2727 | 742 | 1478 | 12000 | 5743
2040 | 2802 | 1921 | 3313 | 1245 | 1245 | 2292 | 2793 | 755 | 1497 | 12160 | 5812
2041 | 2843 | 1948 | 3354 | 1255 | 1275 | 2335 | 2860 | 766 | 1516 | 12330 | 5871
2042 | 2888 | 1977 | 3395 | 1267 | 1307 | 2381 | 2923 | 777 | 1536 | 12490 | 5920
2043 | 2928 | 2002 | 3438 | 1278 | 1337 | 2427 | 2983 | 788 | 1555 | 12650 | 5960
2044 | 2965 | 2026 | 3480 | 1289 | 1364 | 2472 | 3039 | 798 | 1572 | 12770 | 5992
2045 | 2994 | 2043 | 3515 | 1298 | 1388 | 2510 | 3087 | 807 | 1583 | 12870 | 6017
2046 | 3010 | 2052 | 3524 | 1306 | 1403 | 2539 | 3124 | 810 | 1589 | 12930 | 6036
2047 | 3015 | 2053 | 3532 | 1313 | 1411 | 2558 | 3151 | 813 | 1589 | 12990 | 6050
2048 | 3011 | 2050 | 3528 | 1319 | 1411 | 2569 | 3170 | 812 | 1587 | 13020 | 6059
2049 | 3005 | 2045 | 3513 | 1322 | 1407 | 2576 | 3188 | 812 | 1583 | 13060 | 6067
2050 | 2996 | 2037 | 3497 | 1327 | 1400 | 2580 | 3205 | 811 | 1580 | 13090 | 6075
2051 | 2986 | 2029 | 3490 | 1331 | 1392 | 2582 | 3222 | 811 | 1578 | 13130 | 6085
2052 | 2976 | 2021 | 3474 | 1335 | 1384 | 2581 | 3234 | 810 | 1578 | 13160 | 6094
2053 | 2969 | 2016 | 3464 | 1335 | 1378 | 2579 | 3240 | 810 | 1577 | 13190 | 6099
2054 | 2964 | 2011 | 3452 | 1334 | 1372 | 2573 | 3240 | 810 | 1576 | 13210 | 6101
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4b-P
Table I-4b-P: Policy Scenario Winter Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2024-25 | 2206 | 1517 | 2503 | 891 | 1300 | 1924 | 1507 | 517 | 880 | 7400 | 3282
2025-26 | 2271 | 1568 | 2452 | 1062 | 1292 | 1907 | 1522 | 519 | 886 | 7450 | 3314
2026-27 | 2301 | 1585 | 2544 | 1195 | 1288 | 1912 | 1536 | 523 | 889 | 7470 | 3344
2027-28 | 2339 | 1603 | 2619 | 1295 | 1290 | 1931 | 1564 | 530 | 894 | 7520 | 3396
2028-29 | 2376 | 1618 | 2723 | 1349 | 1300 | 1959 | 1605 | 538 | 901 | 7590 | 3464
2029-30 | 2423 | 1642 | 2850 | 1368 | 1320 | 1994 | 1660 | 545 | 913 | 7710 | 3550
2030-31 | 2492 | 1676 | 2991 | 1376 | 1351 | 2037 | 1729 | 551 | 931 | 7920 | 3664
2031-32 | 2591 | 1726 | 3149 | 1384 | 1397 | 2101 | 1818 | 561 | 960 | 8250 | 3817
2032-33 | 2716 | 1789 | 3318 | 1395 | 1458 | 2187 | 1928 | 577 | 1003 | 8680 | 4010
2033-34 | 2869 | 1873 | 3487 | 1404 | 1536 | 2303 | 2063 | 601 | 1056 | 9170 | 4245
2034-35 | 3042 | 1973 | 3664 | 1415 | 1626 | 2437 | 2216 | 629 | 1118 | 9720 | 4507
2035-36 | 3241 | 2089 | 3835 | 1428 | 1732 | 2591 | 2386 | 661 | 1185 | 10310 | 4800
2036-37 | 3452 | 2210 | 3979 | 1445 | 1841 | 2749 | 2560 | 694 | 1256 | 10910 | 5103
2037-38 | 3675 | 2337 | 4134 | 1459 | 1957 | 2918 | 2744 | 732 | 1331 | 11530 | 5422
2038-39 | 3909 | 2466 | 4296 | 1472 | 2075 | 3094 | 2931 | 771 | 1410 | 12190 | 5747
2039-40 | 4162 | 2608 | 4478 | 1487 | 2206 | 3291 | 3132 | 814 | 1496 | 12930 | 6100
2040-41 | 4420 | 2756 | 4661 | 1504 | 2338 | 3492 | 3335 | 856 | 1583 | 13680 | 6461
2041-42 | 4677 | 2904 | 4849 | 1520 | 2471 | 3691 | 3539 | 897 | 1671 | 14440 | 6820
2042-43 | 4913 | 3040 | 5024 | 1537 | 2590 | 3875 | 3728 | 937 | 1755 | 15100 | 7151
2043-44 | 5127 | 3163 | 5179 | 1553 | 2698 | 4044 | 3904 | 975 | 1833 | 15700 | 7456
2044-45 | 5310 | 3268 | 5307 | 1566 | 2788 | 4191 | 4062 | 1008 | 1900 | 16210 | 7722
2045-46 | 5460 | 3354 | 5415 | 1577 | 2862 | 4316 | 4198 | 1035 | 1953 | 16660 | 7949
2046-47 | 5573 | 3416 | 5495 | 1586 | 2912 | 4410 | 4308 | 1056 | 1995 | 17000 | 8124
2047-48 | 5649 | 3456 | 5539 | 1594 | 2944 | 4479 | 4391 | 1070 | 2022 | 17240 | 8255
2048-49 | 5694 | 3480 | 5559 | 1602 | 2959 | 4520 | 4450 | 1078 | 2038 | 17400 | 8341
2049-50 | 5717 | 3492 | 5557 | 1610 | 2963 | 4544 | 4492 | 1082 | 2045 | 17490 | 8399
2050-51 | 5720 | 3493 | 5538 | 1616 | 2958 | 4554 | 4520 | 1084 | 2047 | 17530 | 8432
2051-52 | 5710 | 3486 | 5521 | 1621 | 2947 | 4552 | 4538 | 1083 | 2042 | 17530 | 8443
2052-53 | 5692 | 3471 | 5497 | 1626 | 2932 | 4542 | 4548 | 1080 | 2034 | 17500 | 8441
2053-54 | 5677 | 3454 | 5475 | 1631 | 2921 | 4532 | 4553 | 1077 | 2026 | 17470 | 8437
2054-55 | 5666 | 3440 | 5465 | 1635 | 2912 | 4523 | 4556 | 1074 | 2017 | 17450 | 8434
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-5-P
Table I-5-P: Policy Scenario - Forecast of Peak Demand in G-to-J Locality
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
G-to-J Locality Summer Peak Demand by Zone - MW | [5 empty] | G-to-J Locality Winter Peak Demand by Zone - MW
Year | G | H | I | J | G-J | Year | G | H | I | J | G-J
2024 | 2174 | 617 | 1342 | 11034 | 15167 | 2024-25 | 1494 | 504 | 870 | 7374 | 10242
2025 | 2168 | 624 | 1333 | 11013 | 15138 | 2025-26 | 1508 | 506 | 876 | 7424 | 10314
2026 | 2156 | 625 | 1325 | 10953 | 15059 | 2026-27 | 1522 | 510 | 879 | 7444 | 10355
2027 | 2155 | 626 | 1316 | 10913 | 15010 | 2027-28 | 1550 | 517 | 884 | 7495 | 10446
2028 | 2166 | 630 | 1312 | 10872 | 14980 | 2028-29 | 1591 | 525 | 891 | 7565 | 10572
2029 | 2191 | 634 | 1314 | 10852 | 14991 | 2029-30 | 1645 | 532 | 903 | 7686 | 10766
2030 | 2225 | 641 | 1323 | 10862 | 15051 | 2030-31 | 1714 | 538 | 921 | 7897 | 11070
2031 | 2269 | 649 | 1336 | 10923 | 15177 | 2031-32 | 1801 | 547 | 950 | 8229 | 11527
2032 | 2322 | 657 | 1351 | 11014 | 15344 | 2032-33 | 1911 | 563 | 992 | 8652 | 12118
2033 | 2378 | 667 | 1366 | 11116 | 15527 | 2033-34 | 2045 | 587 | 1045 | 9145 | 12822
2034 | 2432 | 680 | 1378 | 11237 | 15727 | 2034-35 | 2197 | 614 | 1106 | 9688 | 13605
2035 | 2482 | 692 | 1392 | 11369 | 15935 | 2035-36 | 2364 | 644 | 1172 | 10281 | 14461
2036 | 2531 | 703 | 1410 | 11501 | 16145 | 2036-37 | 2537 | 677 | 1242 | 10875 | 15331
2037 | 2584 | 714 | 1428 | 11623 | 16349 | 2037-38 | 2720 | 714 | 1317 | 11499 | 16250
2038 | 2644 | 725 | 1446 | 11765 | 16580 | 2038-39 | 2905 | 752 | 1395 | 12152 | 17204
2039 | 2707 | 736 | 1466 | 11907 | 16816 | 2039-40 | 3104 | 794 | 1480 | 12887 | 18265
2040 | 2773 | 748 | 1485 | 12059 | 17065 | 2040-41 | 3305 | 835 | 1566 | 13641 | 19347
2041 | 2839 | 760 | 1504 | 12231 | 17334 | 2041-42 | 3507 | 875 | 1653 | 14396 | 20431
2042 | 2902 | 771 | 1523 | 12394 | 17590 | 2042-43 | 3695 | 914 | 1736 | 15060 | 21405
2043 | 2961 | 782 | 1543 | 12546 | 17832 | 2043-44 | 3869 | 951 | 1813 | 15653 | 22286
2044 | 3016 | 791 | 1559 | 12667 | 18033 | 2044-45 | 4026 | 983 | 1879 | 16166 | 23054
2045 | 3064 | 800 | 1570 | 12769 | 18203 | 2045-46 | 4161 | 1010 | 1932 | 16609 | 23712
2046 | 3101 | 803 | 1576 | 12830 | 18310 | 2046-47 | 4269 | 1030 | 1973 | 16951 | 24223
2047 | 3128 | 806 | 1576 | 12880 | 18390 | 2047-48 | 4351 | 1044 | 2000 | 17193 | 24588
2048 | 3147 | 805 | 1574 | 12911 | 18437 | 2048-49 | 4410 | 1052 | 2016 | 17343 | 24821
2049 | 3164 | 805 | 1570 | 12951 | 18490 | 2049-50 | 4452 | 1056 | 2023 | 17434 | 24965
2050 | 3182 | 804 | 1567 | 12982 | 18535 | 2050-51 | 4480 | 1058 | 2025 | 17474 | 25037
2051 | 3199 | 804 | 1565 | 13022 | 18590 | 2051-52 | 4497 | 1057 | 2020 | 17474 | 25048
2052 | 3210 | 803 | 1565 | 13053 | 18631 | 2052-53 | 4507 | 1054 | 2012 | 17444 | 25017
2053 | 3216 | 803 | 1564 | 13083 | 18666 | 2053-54 | 4512 | 1051 | 2004 | 17414 | 24981
2054 | 3216 | 803 | 1563 | 13103 | 18685 | 2054-55 | 4515 | 1048 | 1995 | 17394 | 24952
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-8a-P
Table I-8a-P: Energy Efficiency and Codes & Standards Energy Impacts - Policy Scenario
Reflects Cumulative Impacts
Forecast of Cumulative Reductions in Annual Energy by Zone Relative to 2023 - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 370 | 270 | 390 | 40 | 200 | 300 | 250 | 70 | 160 | 1220 | 480 | 3750
2025 | 770 | 550 | 820 | 80 | 410 | 620 | 530 | 150 | 330 | 2550 | 1000 | 7810
2026 | 1170 | 840 | 1240 | 120 | 620 | 940 | 800 | 230 | 500 | 3860 | 1510 | 11830
2027 | 1570 | 1120 | 1660 | 160 | 830 | 1250 | 1070 | 310 | 670 | 5150 | 2020 | 15810
2028 | 1940 | 1380 | 2060 | 200 | 1020 | 1550 | 1330 | 380 | 830 | 6380 | 2510 | 19580
2029 | 2290 | 1630 | 2420 | 240 | 1210 | 1830 | 1570 | 450 | 980 | 7520 | 2950 | 23090
2030 | 2590 | 1840 | 2740 | 270 | 1360 | 2070 | 1780 | 510 | 1100 | 8510 | 3340 | 26110
2031 | 2870 | 2040 | 3040 | 290 | 1510 | 2290 | 1970 | 570 | 1220 | 9420 | 3700 | 28920
2032 | 3140 | 2230 | 3320 | 320 | 1650 | 2500 | 2150 | 620 | 1330 | 10300 | 4040 | 31600
2033 | 3380 | 2400 | 3580 | 350 | 1780 | 2690 | 2320 | 670 | 1440 | 11110 | 4360 | 34080
2034 | 3610 | 2560 | 3830 | 370 | 1900 | 2880 | 2480 | 720 | 1540 | 11870 | 4660 | 36420
2035 | 3840 | 2720 | 4060 | 390 | 2020 | 3060 | 2630 | 760 | 1630 | 12600 | 4950 | 38660
2036 | 4040 | 2870 | 4280 | 410 | 2130 | 3220 | 2770 | 800 | 1720 | 13280 | 5210 | 40730
2037 | 4230 | 3000 | 4480 | 430 | 2230 | 3370 | 2910 | 840 | 1800 | 13910 | 5460 | 42660
2038 | 4420 | 3140 | 4680 | 450 | 2330 | 3520 | 3030 | 880 | 1880 | 14520 | 5700 | 44550
2039 | 4600 | 3270 | 4870 | 470 | 2420 | 3670 | 3160 | 920 | 1960 | 15120 | 5940 | 46400
2040 | 4800 | 3400 | 5080 | 490 | 2530 | 3820 | 3290 | 960 | 2040 | 15760 | 6190 | 48360
2041 | 4990 | 3540 | 5290 | 510 | 2630 | 3970 | 3430 | 990 | 2120 | 16400 | 6440 | 50310
2042 | 5180 | 3670 | 5480 | 530 | 2730 | 4120 | 3600 | 1030 | 2200 | 17020 | 6680 | 52240
2043 | 5350 | 3790 | 5660 | 550 | 2820 | 4260 | 3680 | 1070 | 2270 | 17570 | 6910 | 53930
2044 | 5520 | 3910 | 5840 | 570 | 2900 | 4390 | 3790 | 1100 | 2340 | 18120 | 7170 | 55650
2045 | 5680 | 4030 | 6010 | 580 | 2990 | 4520 | 3900 | 1130 | 2410 | 18660 | 7460 | 57370
2046 | 5840 | 4140 | 6180 | 600 | 3070 | 4650 | 4010 | 1160 | 2480 | 19190 | 7720 | 59040
2047 | 6010 | 4260 | 6370 | 620 | 3160 | 4790 | 4130 | 1200 | 2550 | 19750 | 8010 | 60850
2048 | 6190 | 4390 | 6550 | 630 | 3260 | 4920 | 4250 | 1230 | 2630 | 20320 | 8300 | 62670
2049 | 6350 | 4500 | 6730 | 650 | 3340 | 5060 | 4360 | 1270 | 2700 | 20870 | 8590 | 64420
2050 | 6520 | 4620 | 6900 | 670 | 3430 | 5190 | 4470 | 1300 | 2770 | 21410 | 8890 | 66170
2051 | 6690 | 4740 | 7080 | 690 | 3520 | 5320 | 4590 | 1330 | 2840 | 21970 | 9180 | 67950
2052 | 6860 | 4860 | 7260 | 700 | 3610 | 5450 | 4700 | 1370 | 2910 | 22510 | 9480 | 69710
2053 | 7020 | 4970 | 7430 | 720 | 3690 | 5580 | 4820 | 1400 | 2980 | 23050 | 9760 | 71420
2054 | 7180 | 5080 | 7600 | 740 | 3770 | 5710 | 4940 | 1430 | 3050 | 23590 | 10040 | 73130

## I-8b-P
Table I-8b-P: Energy Efficiency and Codes & Standards Summer Peak Impacts - Policy Scenario
Reflects Cumulative Impacts
Reductions in Summer Coincident Peak Demand by Zone Relative to 2023 - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 50 | 30 | 60 | 10 | 20 | 50 | 30 | 10 | 20 | 200 | 80 | 560
2025 | 130 | 90 | 140 | 10 | 60 | 110 | 80 | 20 | 50 | 430 | 170 | 1290
2026 | 210 | 140 | 210 | 20 | 100 | 170 | 140 | 30 | 80 | 680 | 260 | 2040
2027 | 280 | 200 | 300 | 20 | 150 | 230 | 200 | 50 | 120 | 940 | 370 | 2860
2028 | 360 | 250 | 390 | 30 | 190 | 290 | 250 | 60 | 150 | 1210 | 470 | 3650
2029 | 440 | 300 | 470 | 40 | 230 | 350 | 290 | 80 | 190 | 1450 | 560 | 4400
2030 | 500 | 350 | 520 | 40 | 260 | 400 | 340 | 90 | 210 | 1640 | 640 | 4990
2031 | 550 | 390 | 590 | 50 | 280 | 440 | 380 | 100 | 230 | 1820 | 700 | 5530
2032 | 600 | 420 | 640 | 60 | 310 | 480 | 410 | 120 | 250 | 2000 | 780 | 6070
2033 | 650 | 460 | 690 | 60 | 340 | 520 | 440 | 130 | 270 | 2160 | 850 | 6570
2034 | 700 | 490 | 740 | 70 | 360 | 550 | 480 | 140 | 300 | 2300 | 920 | 7050
2035 | 740 | 520 | 790 | 70 | 380 | 590 | 500 | 140 | 320 | 2440 | 1000 | 7490
2036 | 780 | 550 | 820 | 80 | 410 | 630 | 530 | 150 | 330 | 2570 | 1060 | 7910
2037 | 820 | 580 | 860 | 80 | 430 | 660 | 560 | 160 | 340 | 2690 | 1120 | 8300
2038 | 850 | 600 | 910 | 80 | 450 | 680 | 580 | 160 | 360 | 2820 | 1170 | 8660
2039 | 890 | 630 | 950 | 90 | 470 | 710 | 610 | 170 | 370 | 2930 | 1230 | 9050
2040 | 900 | 640 | 960 | 90 | 480 | 720 | 610 | 170 | 380 | 2980 | 1270 | 9200
2041 | 910 | 640 | 970 | 90 | 480 | 730 | 620 | 170 | 380 | 3010 | 1310 | 9310
2042 | 910 | 640 | 970 | 90 | 470 | 730 | 620 | 180 | 390 | 3010 | 1360 | 9370
2043 | 920 | 650 | 980 | 90 | 480 | 740 | 630 | 170 | 390 | 3030 | 1410 | 9490
2044 | 920 | 640 | 970 | 90 | 480 | 730 | 630 | 180 | 380 | 3010 | 1460 | 9490
2045 | 920 | 650 | 970 | 90 | 480 | 740 | 630 | 170 | 390 | 3050 | 1500 | 9590
2046 | 940 | 660 | 1000 | 90 | 490 | 750 | 640 | 180 | 390 | 3130 | 1550 | 9820
2047 | 960 | 680 | 1010 | 90 | 500 | 770 | 660 | 180 | 400 | 3200 | 1590 | 10040
2048 | 980 | 690 | 1040 | 90 | 510 | 780 | 670 | 190 | 410 | 3260 | 1630 | 10250
2049 | 1000 | 700 | 1050 | 100 | 520 | 790 | 680 | 190 | 420 | 3330 | 1670 | 10450
2050 | 1010 | 710 | 1080 | 100 | 530 | 810 | 700 | 200 | 430 | 3400 | 1710 | 10680
2051 | 1030 | 730 | 1100 | 100 | 540 | 830 | 700 | 200 | 440 | 3460 | 1750 | 10880
2052 | 1050 | 740 | 1110 | 100 | 550 | 830 | 710 | 210 | 440 | 3510 | 1780 | 11030
2053 | 1060 | 750 | 1130 | 110 | 560 | 850 | 730 | 210 | 450 | 3570 | 1820 | 11240
2054 | 1070 | 760 | 1150 | 120 | 570 | 870 | 750 | 210 | 460 | 3630 | 1860 | 11450

## I-8c-P
Table I-8c-P: Energy Efficiency and Codes & Standards Winter Peak Impacts - Policy Scenario
Reflects Cumulative Impacts
Reductions in Winter Coincident Peak Demand by Zone Relative to 2023-24 - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 40 | 30 | 50 | 10 | 20 | 30 | 30 | 10 | 20 | 170 | 60 | 470
2025-26 | 100 | 70 | 110 | 10 | 50 | 80 | 70 | 20 | 40 | 360 | 140 | 1050
2026-27 | 170 | 120 | 180 | 20 | 90 | 130 | 110 | 30 | 60 | 550 | 210 | 1670
2027-28 | 220 | 160 | 240 | 20 | 120 | 180 | 160 | 40 | 90 | 750 | 290 | 2270
2028-29 | 280 | 210 | 300 | 20 | 150 | 230 | 200 | 50 | 120 | 960 | 370 | 2890
2029-30 | 340 | 240 | 370 | 30 | 180 | 270 | 240 | 60 | 140 | 1140 | 450 | 3460
2030-31 | 400 | 280 | 420 | 30 | 210 | 310 | 270 | 70 | 170 | 1320 | 520 | 4000
2031-32 | 440 | 320 | 470 | 40 | 230 | 350 | 310 | 80 | 190 | 1480 | 580 | 4490
2032-33 | 500 | 360 | 530 | 40 | 260 | 400 | 350 | 90 | 200 | 1650 | 650 | 5030
2033-34 | 550 | 400 | 590 | 50 | 290 | 430 | 380 | 100 | 230 | 1820 | 720 | 5560
2034-35 | 600 | 430 | 640 | 60 | 320 | 480 | 410 | 110 | 250 | 1990 | 780 | 6070
2035-36 | 660 | 470 | 690 | 60 | 340 | 510 | 450 | 130 | 270 | 2170 | 850 | 6600
2036-37 | 710 | 500 | 760 | 70 | 370 | 560 | 490 | 140 | 300 | 2340 | 920 | 7160
2037-38 | 770 | 540 | 820 | 70 | 400 | 610 | 520 | 150 | 330 | 2530 | 990 | 7730
2038-39 | 820 | 590 | 880 | 80 | 440 | 660 | 570 | 160 | 340 | 2730 | 1070 | 8340
2039-40 | 890 | 630 | 940 | 90 | 470 | 700 | 610 | 170 | 370 | 2920 | 1150 | 8940
2040-41 | 930 | 660 | 990 | 90 | 490 | 730 | 640 | 180 | 390 | 3070 | 1200 | 9370
2041-42 | 970 | 690 | 1030 | 90 | 510 | 770 | 660 | 180 | 410 | 3180 | 1250 | 9740
2042-43 | 1000 | 710 | 1060 | 100 | 530 | 790 | 680 | 200 | 420 | 3290 | 1290 | 10070
2043-44 | 1030 | 730 | 1090 | 100 | 540 | 810 | 710 | 200 | 430 | 3400 | 1330 | 10370
2044-45 | 1060 | 750 | 1120 | 100 | 560 | 840 | 720 | 200 | 440 | 3490 | 1370 | 10650
2045-46 | 1100 | 780 | 1160 | 110 | 570 | 870 | 750 | 220 | 460 | 3610 | 1410 | 11040
2046-47 | 1150 | 820 | 1220 | 120 | 610 | 910 | 790 | 220 | 480 | 3780 | 1490 | 11590
2047-48 | 1210 | 860 | 1280 | 120 | 640 | 960 | 830 | 230 | 510 | 3980 | 1560 | 12180
2048-49 | 1270 | 900 | 1340 | 130 | 660 | 1010 | 870 | 250 | 530 | 4170 | 1640 | 12770
2049-50 | 1320 | 940 | 1400 | 130 | 700 | 1050 | 910 | 260 | 560 | 4360 | 1710 | 13340
2050-51 | 1380 | 980 | 1460 | 130 | 730 | 1100 | 950 | 270 | 580 | 4540 | 1780 | 13900
2051-52 | 1440 | 1010 | 1520 | 140 | 750 | 1140 | 980 | 280 | 610 | 4720 | 1850 | 14440
2052-53 | 1490 | 1050 | 1580 | 150 | 790 | 1180 | 1020 | 290 | 620 | 4900 | 1930 | 15000
2053-54 | 1540 | 1100 | 1630 | 150 | 810 | 1230 | 1060 | 300 | 650 | 5080 | 1990 | 15540
2054-55 | 1580 | 1140 | 1670 | 150 | 830 | 1270 | 1090 | 310 | 680 | 5230 | 2040 | 15990

## I-11a-P
Table I-11a-P: Electric Vehicle Stock Forecast - Policy Scenario
Reflects Total NYCA Stock
Number of Electric Vehicles by Type - NYCA
Year | LDV (1) | MHDV (2) | Buses (3) | Total Stock
2024 | 268000 | 2000 | 3000 | 273000
2025 | 391000 | 4000 | 5000 | 400000
2026 | 560000 | 7000 | 9000 | 576000
2027 | 777000 | 11000 | 14000 | 802000
2028 | 1041000 | 15000 | 19000 | 1075000
2029 | 1352000 | 21000 | 24000 | 1397000
2030 | 1715000 | 27000 | 30000 | 1772000
2031 | 2123000 | 34000 | 35000 | 2192000
2032 | 2580000 | 42000 | 39000 | 2661000
2033 | 3088000 | 50000 | 43000 | 3181000
2034 | 3657000 | 60000 | 47000 | 3764000
2035 | 4293000 | 70000 | 50000 | 4413000
2036 | 4914000 | 80000 | 52000 | 5046000
2037 | 5515000 | 91000 | 53000 | 5659000
2038 | 6092000 | 103000 | 54000 | 6249000
2039 | 6638000 | 115000 | 54000 | 6807000
2040 | 7146000 | 128000 | 55000 | 7329000
2041 | 7613000 | 140000 | 55000 | 7808000
2042 | 8036000 | 154000 | 55000 | 8245000
2043 | 8412000 | 169000 | 55000 | 8636000
2044 | 8740000 | 186000 | 56000 | 8982000
2045 | 9020000 | 202000 | 56000 | 9278000
2046 | 9252000 | 218000 | 56000 | 9526000
2047 | 9436000 | 233000 | 57000 | 9726000
2048 | 9574000 | 247000 | 57000 | 9878000
2049 | 9666000 | 260000 | 57000 | 9983000
2050 | 9725000 | 271000 | 58000 | 10054000
2051 | 9746000 | 281000 | 58000 | 10085000
2052 | 9738000 | 289000 | 58000 | 10085000
2053 | 9711000 | 295000 | 58000 | 10064000
2054 | 9684000 | 301000 | 58000 | 10043000
(1) - Light Duty Vehicles, at most 8,500 lb.
(2) - Medium and Heavy Duty Vehicles, greater than 8,500 lb.
(3) - Includes school and transit buses.
Note: For reference, in 2023 there were approximately 9.8 million LDVs, 515,000 MHDVs,
and 60,000 buses registered in the state, per these classifications.

## I-11b-P
Table I-11b-P: Electric Vehicle Annual Energy Usage - Policy Scenario
Reflects Total Cumulative Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 77 | 85 | 98 | 9 | 45 | 107 | 115 | 45 | 73 | 266 | 283 | 1203
2025 | 131 | 128 | 158 | 16 | 80 | 169 | 183 | 63 | 104 | 355 | 415 | 1802
2026 | 211 | 187 | 242 | 24 | 132 | 254 | 277 | 85 | 143 | 472 | 589 | 2616
2027 | 327 | 265 | 357 | 34 | 207 | 370 | 412 | 110 | 193 | 617 | 815 | 3707
2028 | 473 | 357 | 497 | 46 | 302 | 510 | 579 | 140 | 252 | 787 | 1084 | 5027
2029 | 648 | 464 | 662 | 60 | 415 | 677 | 780 | 173 | 320 | 984 | 1398 | 6581
2030 | 853 | 589 | 855 | 76 | 548 | 873 | 1014 | 214 | 399 | 1213 | 1758 | 8392
2031 | 1082 | 730 | 1072 | 95 | 697 | 1092 | 1277 | 258 | 487 | 1477 | 2162 | 10429
2032 | 1330 | 888 | 1314 | 117 | 859 | 1337 | 1569 | 308 | 585 | 1784 | 2607 | 12698
2033 | 1609 | 1064 | 1588 | 141 | 1043 | 1612 | 1897 | 364 | 695 | 2127 | 3104 | 15244
2034 | 1923 | 1261 | 1893 | 170 | 1248 | 1920 | 2267 | 426 | 817 | 2510 | 3657 | 18092
2035 | 2274 | 1481 | 2233 | 200 | 1480 | 2267 | 2685 | 495 | 952 | 2938 | 4272 | 21277
2036 | 2623 | 1699 | 2573 | 231 | 1709 | 2613 | 3106 | 564 | 1087 | 3366 | 4884 | 24455
2037 | 2967 | 1914 | 2909 | 261 | 1935 | 2959 | 3526 | 631 | 1221 | 3788 | 5487 | 27598
2038 | 3305 | 2124 | 3239 | 291 | 2158 | 3300 | 3941 | 698 | 1352 | 4205 | 6076 | 30689
2039 | 3633 | 2328 | 3559 | 320 | 2373 | 3632 | 4350 | 762 | 1480 | 4610 | 6646 | 33693
2040 | 3949 | 2524 | 3867 | 348 | 2581 | 3956 | 4747 | 822 | 1602 | 5001 | 7192 | 36589
2041 | 4249 | 2710 | 4160 | 373 | 2778 | 4265 | 5130 | 880 | 1719 | 5375 | 7710 | 39349
2042 | 4532 | 2884 | 4438 | 397 | 2964 | 4560 | 5495 | 934 | 1830 | 5730 | 8197 | 41961
2043 | 4795 | 3048 | 4696 | 420 | 3138 | 4838 | 5842 | 986 | 1935 | 6065 | 8654 | 44417
2044 | 5040 | 3199 | 4937 | 441 | 3298 | 5101 | 6168 | 1034 | 2034 | 6378 | 9080 | 46710
2045 | 5261 | 3337 | 5156 | 459 | 3444 | 5343 | 6470 | 1078 | 2125 | 6667 | 9469 | 48809
2046 | 5458 | 3460 | 5351 | 475 | 3572 | 5563 | 6748 | 1117 | 2208 | 6926 | 9816 | 50694
2047 | 5627 | 3565 | 5520 | 488 | 3681 | 5756 | 6993 | 1152 | 2281 | 7155 | 10120 | 52338
2048 | 5768 | 3654 | 5661 | 500 | 3772 | 5924 | 7208 | 1183 | 2345 | 7350 | 10378 | 53743
2049 | 5882 | 3727 | 5776 | 508 | 3846 | 6065 | 7389 | 1208 | 2398 | 7515 | 10591 | 54905
2050 | 5975 | 3787 | 5871 | 515 | 3905 | 6186 | 7543 | 1228 | 2443 | 7656 | 10770 | 55879
2051 | 6031 | 3825 | 5929 | 518 | 3940 | 6271 | 7652 | 1242 | 2473 | 7754 | 10887 | 56522
2052 | 6065 | 3849 | 5966 | 521 | 3961 | 6336 | 7734 | 1251 | 2496 | 7829 | 10968 | 56976
2053 | 6084 | 3864 | 5987 | 521 | 3971 | 6385 | 7795 | 1258 | 2512 | 7885 | 11024 | 57286
2054 | 6103 | 3879 | 6008 | 521 | 3981 | 6434 | 7856 | 1265 | 2528 | 7941 | 11080 | 57596

## I-11c-P
Table I-11c-P: Electric Vehicle Summer Coincident Peak Demand - Policy Scenario
Reflects Total Cumulative Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 16 | 12 | 18 | 2 | 10 | 18 | 18 | 4 | 10 | 25 | 36 | 169
2025 | 24 | 17 | 27 | 3 | 14 | 27 | 27 | 7 | 14 | 37 | 56 | 253
2026 | 35 | 26 | 39 | 4 | 22 | 39 | 41 | 10 | 19 | 53 | 79 | 367
2027 | 53 | 38 | 56 | 5 | 34 | 56 | 62 | 13 | 27 | 76 | 113 | 533
2028 | 77 | 53 | 79 | 8 | 49 | 79 | 89 | 18 | 37 | 103 | 158 | 750
2029 | 105 | 70 | 106 | 10 | 67 | 107 | 121 | 25 | 48 | 135 | 210 | 1004
2030 | 137 | 91 | 137 | 12 | 88 | 137 | 157 | 30 | 60 | 170 | 264 | 1283
2031 | 172 | 111 | 170 | 15 | 111 | 172 | 196 | 37 | 73 | 212 | 324 | 1593
2032 | 207 | 133 | 205 | 18 | 134 | 206 | 239 | 43 | 88 | 253 | 388 | 1914
2033 | 244 | 156 | 239 | 21 | 158 | 241 | 282 | 50 | 101 | 298 | 453 | 2243
2034 | 280 | 179 | 275 | 24 | 182 | 278 | 325 | 59 | 116 | 343 | 516 | 2577
2035 | 318 | 202 | 311 | 28 | 207 | 314 | 370 | 66 | 130 | 388 | 579 | 2913
2036 | 355 | 225 | 347 | 32 | 231 | 351 | 413 | 71 | 143 | 434 | 641 | 3243
2037 | 390 | 247 | 383 | 35 | 255 | 387 | 457 | 79 | 157 | 477 | 704 | 3571
2038 | 425 | 268 | 417 | 37 | 279 | 423 | 499 | 85 | 170 | 521 | 761 | 3885
2039 | 458 | 288 | 449 | 40 | 300 | 457 | 539 | 90 | 182 | 561 | 817 | 4181
2040 | 488 | 307 | 479 | 43 | 320 | 487 | 578 | 96 | 194 | 598 | 869 | 4459
2041 | 519 | 325 | 508 | 46 | 339 | 519 | 618 | 102 | 205 | 636 | 919 | 4736
2042 | 547 | 343 | 536 | 49 | 359 | 549 | 653 | 107 | 217 | 672 | 966 | 4998
2043 | 573 | 359 | 560 | 50 | 376 | 576 | 689 | 112 | 226 | 703 | 1011 | 5235
2044 | 597 | 373 | 585 | 52 | 393 | 602 | 719 | 117 | 235 | 735 | 1049 | 5457
2045 | 617 | 385 | 604 | 53 | 405 | 625 | 750 | 120 | 244 | 761 | 1086 | 5650
2046 | 629 | 392 | 615 | 55 | 412 | 637 | 768 | 123 | 250 | 776 | 1109 | 5766
2047 | 637 | 398 | 624 | 55 | 417 | 650 | 784 | 125 | 254 | 787 | 1124 | 5855
2048 | 643 | 402 | 632 | 56 | 422 | 659 | 793 | 125 | 257 | 799 | 1132 | 5920
2049 | 646 | 404 | 634 | 55 | 423 | 664 | 801 | 127 | 259 | 805 | 1140 | 5958
2050 | 647 | 403 | 635 | 55 | 423 | 668 | 808 | 127 | 259 | 808 | 1143 | 5976
2051 | 648 | 405 | 637 | 56 | 424 | 672 | 810 | 127 | 261 | 813 | 1143 | 5996
2052 | 646 | 404 | 636 | 55 | 423 | 673 | 813 | 128 | 261 | 813 | 1143 | 5995
2053 | 642 | 403 | 632 | 55 | 420 | 673 | 814 | 128 | 260 | 812 | 1142 | 5981
2054 | 638 | 399 | 627 | 55 | 417 | 670 | 813 | 127 | 260 | 809 | 1136 | 5951
Note: The policy scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-11d-P
Table I-11d-P: Electric Vehicle Winter Coincident Peak Demand - Policy Scenario
Reflects Total Cumulative Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 29 | 24 | 31 | 2 | 19 | 33 | 35 | 10 | 17 | 45 | 68 | 313
2025-26 | 40 | 33 | 45 | 3 | 27 | 45 | 50 | 13 | 22 | 62 | 94 | 434
2026-27 | 62 | 46 | 65 | 5 | 40 | 67 | 74 | 17 | 32 | 88 | 134 | 630
2027-28 | 91 | 65 | 93 | 8 | 59 | 94 | 107 | 23 | 43 | 123 | 189 | 895
2028-29 | 128 | 87 | 127 | 11 | 82 | 130 | 150 | 30 | 57 | 161 | 255 | 1218
2029-30 | 170 | 112 | 167 | 14 | 110 | 171 | 198 | 39 | 73 | 209 | 330 | 1593
2030-31 | 215 | 140 | 210 | 18 | 139 | 215 | 249 | 49 | 92 | 259 | 410 | 1996
2031-32 | 262 | 170 | 257 | 23 | 171 | 261 | 304 | 57 | 110 | 316 | 494 | 2425
2032-33 | 311 | 201 | 306 | 27 | 204 | 310 | 361 | 66 | 128 | 376 | 579 | 2869
2033-34 | 361 | 231 | 354 | 31 | 236 | 358 | 420 | 76 | 146 | 436 | 666 | 3315
2034-35 | 410 | 263 | 401 | 35 | 269 | 408 | 479 | 85 | 166 | 495 | 750 | 3761
2035-36 | 460 | 292 | 449 | 39 | 302 | 457 | 538 | 96 | 184 | 556 | 834 | 4207
2036-37 | 509 | 322 | 497 | 44 | 334 | 505 | 597 | 104 | 203 | 614 | 917 | 4646
2037-38 | 555 | 351 | 541 | 48 | 364 | 552 | 655 | 112 | 221 | 669 | 997 | 5065
2038-39 | 598 | 378 | 584 | 52 | 392 | 597 | 708 | 121 | 236 | 722 | 1071 | 5459
2039-40 | 637 | 403 | 621 | 55 | 418 | 636 | 763 | 130 | 254 | 774 | 1145 | 5836
2040-41 | 677 | 426 | 663 | 58 | 446 | 680 | 809 | 136 | 266 | 813 | 1206 | 6180
2041-42 | 715 | 449 | 700 | 62 | 471 | 718 | 857 | 141 | 281 | 866 | 1265 | 6525
2042-43 | 749 | 469 | 733 | 65 | 494 | 756 | 904 | 150 | 294 | 901 | 1327 | 6842
2043-44 | 779 | 487 | 762 | 67 | 512 | 787 | 944 | 155 | 306 | 949 | 1375 | 7123
2044-45 | 806 | 504 | 789 | 69 | 530 | 816 | 980 | 160 | 317 | 984 | 1420 | 7375
2045-46 | 829 | 519 | 813 | 72 | 547 | 845 | 1016 | 165 | 327 | 1003 | 1466 | 7602
2046-47 | 840 | 526 | 825 | 72 | 555 | 860 | 1034 | 166 | 331 | 1019 | 1484 | 7712
2047-48 | 847 | 530 | 829 | 72 | 556 | 867 | 1051 | 168 | 337 | 1041 | 1496 | 7794
2048-49 | 851 | 532 | 834 | 73 | 559 | 875 | 1060 | 169 | 338 | 1047 | 1504 | 7842
2049-50 | 851 | 533 | 836 | 73 | 560 | 881 | 1067 | 171 | 339 | 1042 | 1510 | 7863
2050-51 | 848 | 532 | 834 | 71 | 558 | 882 | 1065 | 169 | 340 | 1053 | 1503 | 7855
2051-52 | 847 | 531 | 832 | 72 | 557 | 882 | 1070 | 169 | 339 | 1054 | 1502 | 7855
2052-53 | 842 | 529 | 827 | 71 | 552 | 881 | 1069 | 169 | 341 | 1056 | 1498 | 7835
2053-54 | 835 | 525 | 820 | 71 | 547 | 878 | 1068 | 169 | 340 | 1051 | 1491 | 7795
2054-55 | 830 | 521 | 818 | 70 | 545 | 880 | 1065 | 168 | 335 | 1035 | 1486 | 7753
Note: The policy scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-13a-P
Table I-13a-P: Building Electrification Annual Energy Usage - Policy Scenario
Reflects Cumulative Future Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 23 | 14 | 19 | 2 | 12 | 18 | 17 | 3 | 9 | 103 | 34 | 254
2025 | 105 | 64 | 84 | 6 | 56 | 81 | 74 | 16 | 39 | 460 | 150 | 1135
2026 | 204 | 125 | 164 | 11 | 109 | 157 | 144 | 32 | 75 | 892 | 291 | 2204
2027 | 325 | 199 | 260 | 17 | 174 | 250 | 230 | 52 | 119 | 1412 | 462 | 3500
2028 | 472 | 289 | 378 | 24 | 253 | 363 | 333 | 75 | 172 | 2032 | 670 | 5061
2029 | 634 | 387 | 506 | 32 | 339 | 487 | 447 | 101 | 230 | 2712 | 898 | 6773
2030 | 831 | 508 | 663 | 42 | 444 | 638 | 586 | 133 | 301 | 3520 | 1175 | 8841
2031 | 1062 | 648 | 845 | 53 | 566 | 815 | 747 | 170 | 382 | 4440 | 1495 | 11223
2032 | 1335 | 814 | 1060 | 67 | 710 | 1023 | 937 | 214 | 479 | 5509 | 1873 | 14021
2033 | 1658 | 1010 | 1313 | 82 | 880 | 1268 | 1160 | 265 | 591 | 6719 | 2315 | 17261
2034 | 2007 | 1221 | 1586 | 99 | 1062 | 1533 | 1402 | 321 | 712 | 8031 | 2793 | 20767
2035 | 2419 | 1469 | 1905 | 119 | 1276 | 1844 | 1684 | 386 | 853 | 9499 | 3349 | 24803
2036 | 2884 | 1748 | 2265 | 141 | 1517 | 2194 | 2000 | 460 | 1010 | 11111 | 3973 | 29303
2037 | 3387 | 2049 | 2652 | 164 | 1775 | 2572 | 2341 | 540 | 1178 | 12787 | 4642 | 34087
2038 | 3936 | 2377 | 3072 | 190 | 2056 | 2983 | 2713 | 626 | 1361 | 14573 | 5368 | 39255
2039 | 4529 | 2730 | 3524 | 218 | 2358 | 3426 | 3113 | 720 | 1557 | 16437 | 6147 | 44759
2040 | 5123 | 3084 | 3976 | 245 | 2658 | 3871 | 3516 | 814 | 1753 | 18291 | 6927 | 50258
2041 | 5716 | 3437 | 4426 | 272 | 2957 | 4315 | 3919 | 908 | 1948 | 20086 | 7702 | 55686
2042 | 6291 | 3779 | 4860 | 298 | 3245 | 4747 | 4313 | 999 | 2137 | 21818 | 8455 | 60942
2043 | 6820 | 4095 | 5261 | 321 | 3510 | 5147 | 4680 | 1084 | 2313 | 23404 | 9151 | 65786
2044 | 7286 | 4375 | 5614 | 342 | 3742 | 5504 | 5009 | 1160 | 2471 | 24832 | 9771 | 70106
2045 | 7700 | 4623 | 5926 | 359 | 3946 | 5822 | 5305 | 1228 | 2611 | 26061 | 10321 | 73902
2046 | 8031 | 4823 | 6176 | 373 | 4108 | 6081 | 5550 | 1284 | 2726 | 27087 | 10771 | 77010
2047 | 8295 | 4984 | 6376 | 384 | 4236 | 6293 | 5753 | 1330 | 2821 | 27926 | 11136 | 79534
2048 | 8514 | 5120 | 6542 | 393 | 4342 | 6474 | 5930 | 1369 | 2902 | 28655 | 11448 | 81689
2049 | 8653 | 5208 | 6648 | 398 | 4406 | 6595 | 6052 | 1396 | 2957 | 29121 | 11654 | 83088
2050 | 8773 | 5284 | 6738 | 402 | 4461 | 6702 | 6162 | 1419 | 3006 | 29533 | 11835 | 84315
2051 | 8847 | 5334 | 6795 | 404 | 4493 | 6776 | 6244 | 1436 | 3041 | 29840 | 11962 | 85172
2052 | 8905 | 5375 | 6841 | 405 | 4518 | 6840 | 6317 | 1450 | 3072 | 30131 | 12071 | 85925
2053 | 8927 | 5394 | 6858 | 404 | 4524 | 6876 | 6364 | 1459 | 3090 | 30288 | 12130 | 86314
2054 | 8939 | 5408 | 6869 | 403 | 4525 | 6906 | 6406 | 1466 | 3106 | 30437 | 12178 | 86643
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13b-P
Table I-13b-P: Building Electrification Summer Coincident Peak Demand - Policy Scenario
Reflects Cumulative Future Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 1 | 5 | 2 | 13
2025 | 4 | 2 | 3 | 0 | 2 | 3 | 3 | 1 | 1 | 20 | 6 | 45
2026 | 8 | 5 | 7 | 0 | 4 | 6 | 6 | 1 | 3 | 39 | 12 | 91
2027 | 14 | 9 | 11 | 1 | 8 | 11 | 11 | 1 | 5 | 67 | 19 | 157
2028 | 20 | 12 | 16 | 1 | 11 | 16 | 15 | 4 | 7 | 98 | 29 | 229
2029 | 27 | 17 | 22 | 1 | 15 | 21 | 20 | 5 | 11 | 135 | 40 | 314
2030 | 35 | 23 | 29 | 2 | 20 | 28 | 26 | 6 | 14 | 178 | 53 | 414
2031 | 45 | 28 | 37 | 2 | 25 | 36 | 34 | 8 | 18 | 225 | 67 | 525
2032 | 55 | 35 | 45 | 3 | 30 | 44 | 42 | 9 | 22 | 278 | 83 | 646
2033 | 66 | 42 | 55 | 3 | 36 | 53 | 50 | 11 | 26 | 336 | 100 | 778
2034 | 78 | 49 | 65 | 4 | 43 | 63 | 59 | 13 | 31 | 398 | 118 | 921
2035 | 91 | 57 | 75 | 5 | 50 | 73 | 69 | 15 | 36 | 463 | 138 | 1072
2036 | 104 | 67 | 86 | 4 | 56 | 84 | 79 | 18 | 41 | 531 | 158 | 1228
2037 | 117 | 74 | 97 | 6 | 65 | 95 | 90 | 20 | 47 | 600 | 178 | 1389
2038 | 131 | 83 | 108 | 7 | 72 | 106 | 101 | 22 | 52 | 669 | 199 | 1550
2039 | 144 | 92 | 118 | 7 | 80 | 118 | 112 | 25 | 58 | 739 | 220 | 1713
2040 | 157 | 100 | 130 | 8 | 87 | 129 | 122 | 27 | 63 | 807 | 240 | 1870
2041 | 170 | 108 | 141 | 9 | 94 | 139 | 132 | 29 | 68 | 874 | 260 | 2024
2042 | 182 | 116 | 150 | 9 | 100 | 149 | 142 | 31 | 73 | 941 | 279 | 2172
2043 | 194 | 124 | 160 | 10 | 107 | 159 | 152 | 33 | 78 | 1003 | 298 | 2318
2044 | 205 | 130 | 169 | 10 | 112 | 169 | 160 | 35 | 83 | 1060 | 315 | 2448
2045 | 214 | 137 | 178 | 11 | 118 | 178 | 169 | 38 | 87 | 1114 | 331 | 2575
2046 | 226 | 144 | 186 | 11 | 124 | 187 | 179 | 40 | 92 | 1177 | 350 | 2716
2047 | 243 | 156 | 201 | 12 | 133 | 202 | 193 | 43 | 99 | 1269 | 377 | 2928
2048 | 241 | 155 | 199 | 12 | 132 | 200 | 193 | 42 | 98 | 1260 | 374 | 2906
2049 | 246 | 158 | 204 | 12 | 135 | 206 | 197 | 43 | 101 | 1293 | 384 | 2979
2050 | 250 | 161 | 207 | 12 | 137 | 210 | 201 | 44 | 103 | 1319 | 391 | 3035
2051 | 255 | 164 | 211 | 13 | 138 | 214 | 205 | 45 | 104 | 1339 | 398 | 3086
2052 | 254 | 164 | 210 | 12 | 138 | 214 | 205 | 44 | 104 | 1340 | 398 | 3083
2053 | 258 | 166 | 213 | 12 | 140 | 217 | 208 | 45 | 106 | 1360 | 404 | 3129
2054 | 255 | 164 | 210 | 13 | 139 | 215 | 206 | 44 | 105 | 1345 | 399 | 3095
Note: Reflects end-use electrification of space conditioning, water heating, cooking, and other end-uses.

## I-13c-P
Table I-13c-P: Building Electrification Winter Coincident Peak Demand - Policy Scenario
Reflects Cumulative Future Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024-25 | 16 | 10 | 13 | 1 | 9 | 13 | 11 | 3 | 6 | 69 | 23 | 174
2025-26 | 35 | 21 | 28 | 2 | 19 | 27 | 24 | 5 | 12 | 147 | 49 | 369
2026-27 | 55 | 33 | 43 | 3 | 30 | 42 | 39 | 9 | 20 | 232 | 78 | 584
2027-28 | 82 | 49 | 65 | 4 | 44 | 62 | 57 | 13 | 29 | 340 | 114 | 859
2028-29 | 119 | 73 | 95 | 6 | 64 | 91 | 84 | 19 | 43 | 494 | 167 | 1255
2029-30 | 170 | 103 | 136 | 9 | 91 | 131 | 118 | 28 | 61 | 698 | 238 | 1783
2030-31 | 240 | 146 | 190 | 11 | 127 | 182 | 167 | 38 | 84 | 967 | 333 | 2485
2031-32 | 333 | 201 | 261 | 17 | 176 | 251 | 228 | 52 | 116 | 1282 | 456 | 3373
2032-33 | 489 | 294 | 383 | 24 | 256 | 368 | 333 | 77 | 169 | 1837 | 665 | 4895
2033-34 | 657 | 397 | 513 | 33 | 344 | 494 | 448 | 103 | 226 | 2453 | 894 | 6562
2034-35 | 794 | 477 | 618 | 39 | 416 | 595 | 537 | 125 | 270 | 2879 | 1072 | 7822
2035-36 | 1028 | 616 | 795 | 49 | 534 | 768 | 691 | 161 | 347 | 3621 | 1376 | 9986
2036-37 | 1241 | 742 | 957 | 59 | 642 | 924 | 832 | 194 | 415 | 4272 | 1652 | 11930
2037-38 | 1470 | 878 | 1133 | 70 | 760 | 1095 | 985 | 231 | 490 | 4989 | 1953 | 14054
2038-39 | 1671 | 995 | 1282 | 79 | 859 | 1241 | 1115 | 260 | 552 | 5521 | 2203 | 15778
2039-40 | 1976 | 1176 | 1513 | 93 | 1013 | 1465 | 1315 | 309 | 649 | 6399 | 2597 | 18505
2040-41 | 2220 | 1318 | 1695 | 104 | 1134 | 1644 | 1477 | 346 | 728 | 7076 | 2905 | 20647
2041-42 | 2483 | 1474 | 1892 | 115 | 1266 | 1838 | 1652 | 387 | 811 | 7793 | 3243 | 22954
2042-43 | 2710 | 1608 | 2063 | 127 | 1379 | 2008 | 1806 | 423 | 884 | 8417 | 3534 | 24959
2043-44 | 2931 | 1739 | 2227 | 135 | 1487 | 2172 | 1956 | 458 | 957 | 9020 | 3818 | 26900
2044-45 | 3110 | 1845 | 2361 | 143 | 1575 | 2308 | 2080 | 487 | 1015 | 9492 | 4049 | 28465
2045-46 | 3276 | 1944 | 2486 | 150 | 1655 | 2434 | 2198 | 515 | 1070 | 9963 | 4267 | 29958
2046-47 | 3415 | 2029 | 2589 | 156 | 1723 | 2543 | 2302 | 538 | 1118 | 10366 | 4454 | 31233
2047-48 | 3520 | 2090 | 2667 | 160 | 1773 | 2625 | 2380 | 556 | 1153 | 10646 | 4593 | 32163
2048-49 | 3580 | 2129 | 2711 | 162 | 1800 | 2676 | 2432 | 567 | 1178 | 10807 | 4678 | 32720
2049-50 | 3634 | 2162 | 2752 | 164 | 1824 | 2723 | 2479 | 578 | 1197 | 10981 | 4758 | 33252
2050-51 | 3672 | 2186 | 2780 | 164 | 1841 | 2757 | 2518 | 587 | 1215 | 11092 | 4815 | 33627
2051-52 | 3675 | 2190 | 2781 | 164 | 1839 | 2766 | 2531 | 588 | 1218 | 11105 | 4827 | 33684
2052-53 | 3669 | 2189 | 2779 | 164 | 1836 | 2771 | 2542 | 590 | 1222 | 11125 | 4834 | 33721
2053-54 | 3671 | 2194 | 2779 | 163 | 1834 | 2778 | 2556 | 592 | 1227 | 11161 | 4848 | 33803
2054-55 | 3667 | 2194 | 2776 | 162 | 1829 | 2783 | 2566 | 593 | 1231 | 11180 | 4853 | 33834
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13d-P
Table I-13d: Electrification Impacts by Scenario
Reflects Cumulative Impacts
NYCA Annual Energy Usage - GWh
Year | Baseline Forecast |  |  | Lower Demand Scenario |  |  | Higher Demand Scenario |  |  | Policy Scenario
| EV | Building | Total | EV | Building | Total | EV | Building | Total | EV | Building | Total
2024 | 1124 | 254 | 1378 | 956 | 254 | 1210 | 1203 | 254 | 1457 | 1203 | 254 | 1457
2025 | 1652 | 565 | 2217 | 1158 | 719 | 1877 | 1802 | 1052 | 2854 | 1802 | 1135 | 2937
2026 | 2374 | 1253 | 3627 | 1544 | 1285 | 2829 | 2616 | 2021 | 4637 | 2616 | 2204 | 4820
2027 | 3345 | 2085 | 5430 | 2073 | 1974 | 4047 | 3707 | 3194 | 6901 | 3707 | 3500 | 7207
2028 | 4501 | 3089 | 7590 | 2835 | 2797 | 5632 | 5027 | 4609 | 9636 | 5027 | 5061 | 10088
2029 | 5846 | 4189 | 10035 | 3741 | 3705 | 7446 | 6581 | 6163 | 12744 | 6581 | 6773 | 13354
2030 | 7394 | 5518 | 12912 | 4808 | 4798 | 9606 | 8392 | 8038 | 16430 | 8392 | 8841 | 17233
2031 | 9114 | 7050 | 16164 | 6015 | 6059 | 12074 | 10429 | 10198 | 20627 | 10429 | 11223 | 21652
2032 | 11011 | 8847 | 19858 | 7380 | 7539 | 14919 | 12698 | 12734 | 25432 | 12698 | 14021 | 26719
2033 | 13126 | 10929 | 24055 | 8926 | 9253 | 18179 | 15244 | 15671 | 30915 | 15244 | 17261 | 32505
2034 | 15459 | 13181 | 28640 | 10665 | 11110 | 21775 | 18092 | 18849 | 36941 | 18092 | 20767 | 38859
2035 | 18014 | 15773 | 33787 | 12610 | 13245 | 25855 | 21277 | 22510 | 43787 | 21277 | 24803 | 46080
2036 | 20543 | 18664 | 39207 | 14587 | 15625 | 30212 | 24455 | 26587 | 51042 | 24455 | 29303 | 53758
2037 | 23025 | 21740 | 44765 | 16579 | 18157 | 34736 | 27598 | 30922 | 58520 | 27598 | 34087 | 61685
2038 | 25421 | 25058 | 50479 | 18557 | 20896 | 39453 | 30689 | 35609 | 66298 | 30689 | 39255 | 69944
2039 | 27706 | 28595 | 56301 | 20503 | 23807 | 44310 | 33693 | 40597 | 74290 | 33693 | 44759 | 78452
2040 | 29869 | 32131 | 62000 | 22404 | 26716 | 49120 | 36589 | 45582 | 82171 | 36589 | 50258 | 86847
2041 | 31878 | 35615 | 67493 | 24228 | 29589 | 53817 | 39349 | 50500 | 89849 | 39349 | 55686 | 95035
2042 | 33731 | 38995 | 72726 | 25973 | 32368 | 58341 | 41961 | 55268 | 97229 | 41961 | 60942 | 102903
2043 | 35421 | 42108 | 77529 | 27628 | 34933 | 62561 | 44417 | 59660 | 104077 | 44417 | 65786 | 110203
2044 | 36937 | 44884 | 81821 | 29181 | 37220 | 66401 | 46710 | 63576 | 110286 | 46710 | 70106 | 116816
2045 | 38280 | 47322 | 85602 | 30622 | 39228 | 69850 | 48809 | 67014 | 115823 | 48809 | 73902 | 122711
2046 | 39417 | 49320 | 88737 | 31927 | 40875 | 72802 | 50694 | 69834 | 120528 | 50694 | 77010 | 127704
2047 | 40344 | 50942 | 91286 | 33082 | 42208 | 75290 | 52338 | 72120 | 124458 | 52338 | 79534 | 131872
2048 | 41064 | 52326 | 93390 | 34083 | 43348 | 77431 | 53743 | 74074 | 127817 | 53743 | 81689 | 135432
2049 | 41602 | 53223 | 94825 | 34947 | 44088 | 79035 | 54905 | 75342 | 130247 | 54905 | 83088 | 137993
2050 | 41979 | 54012 | 95991 | 35682 | 44738 | 80420 | 55879 | 76454 | 132333 | 55879 | 84315 | 140194
2051 | 42127 | 54563 | 96690 | 36230 | 45190 | 81420 | 56522 | 77230 | 133752 | 56522 | 85172 | 141694
2052 | 42170 | 55047 | 97217 | 36689 | 45591 | 82280 | 56976 | 77914 | 134890 | 56976 | 85925 | 142901
2053 | 42131 | 55297 | 97428 | 37075 | 45797 | 82872 | 57286 | 78267 | 135553 | 57286 | 86314 | 143600
2054 | 42092 | 55509 | 97601 | 37461 | 45971 | 83432 | 57596 | 78566 | 136162 | 57596 | 86643 | 144239
Note: Electric Vehicle annual energy usage from Tables I-1b, I-11b, I-15a, I-16a, and I-17a.
Includes light duty vehicles, medium and heavy duty vechiles, and buses.
Note: Building electrification annual energy usage from Tables I-1b, I-13a, I-15a, I-16a, and I-17a.
Includes electrification of space heating, water heating, cooking, and other end uses.

## I-22-P
Table I-22-P: Policy Scenario Electrolysis Forecast
Impacts from Clean Hydrogen Production
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 188 | 99 | 321 | 122 | 210 | 99 | 66 | 0 | 0 | 0 | 0 | 1105
2030 | 393 | 208 | 671 | 254 | 439 | 208 | 138 | 0 | 0 | 0 | 0 | 2311
2031 | 595 | 315 | 1016 | 385 | 665 | 315 | 210 | 0 | 0 | 0 | 0 | 3501
2032 | 792 | 419 | 1353 | 513 | 886 | 419 | 280 | 0 | 0 | 0 | 0 | 4662
2033 | 983 | 520 | 1678 | 636 | 1099 | 520 | 347 | 0 | 0 | 0 | 0 | 5783
2034 | 1174 | 621 | 2004 | 760 | 1313 | 621 | 414 | 0 | 0 | 0 | 0 | 6907
2035 | 1399 | 740 | 2387 | 905 | 1563 | 740 | 493 | 0 | 0 | 0 | 0 | 8227
2036 | 1688 | 893 | 2880 | 1092 | 1887 | 893 | 596 | 0 | 0 | 0 | 0 | 9929
2037 | 2075 | 1098 | 3540 | 1342 | 2319 | 1098 | 732 | 0 | 0 | 0 | 0 | 12204
2038 | 2526 | 1337 | 4310 | 1635 | 2824 | 1337 | 892 | 0 | 0 | 0 | 0 | 14861
2039 | 2993 | 1584 | 5106 | 1937 | 3345 | 1584 | 1056 | 0 | 0 | 0 | 0 | 17605
2040 | 3424 | 1812 | 5841 | 2215 | 3827 | 1812 | 1208 | 0 | 0 | 0 | 0 | 20139
2041 | 3803 | 2013 | 6489 | 2461 | 4251 | 2013 | 1342 | 0 | 0 | 0 | 0 | 22372
2042 | 4153 | 2198 | 7085 | 2687 | 4642 | 2198 | 1466 | 0 | 0 | 0 | 0 | 24429
2043 | 4485 | 2374 | 7652 | 2902 | 5013 | 2374 | 1583 | 0 | 0 | 0 | 0 | 26383
2044 | 4802 | 2542 | 8192 | 3107 | 5367 | 2542 | 1695 | 0 | 0 | 0 | 0 | 28247
2045 | 5085 | 2692 | 8675 | 3290 | 5683 | 2692 | 1795 | 0 | 0 | 0 | 0 | 29912
2046 | 5329 | 2821 | 9092 | 3449 | 5957 | 2821 | 1881 | 0 | 0 | 0 | 0 | 31350
2047 | 5545 | 2936 | 9460 | 3588 | 6198 | 2936 | 1957 | 0 | 0 | 0 | 0 | 32620
2048 | 5745 | 3041 | 9800 | 3717 | 6421 | 3041 | 2027 | 0 | 0 | 0 | 0 | 33792
2049 | 5934 | 3141 | 10124 | 3840 | 6632 | 3141 | 2094 | 0 | 0 | 0 | 0 | 34906
2050 | 6113 | 3236 | 10428 | 3955 | 6832 | 3236 | 2157 | 0 | 0 | 0 | 0 | 35957
2051 | 6284 | 3327 | 10721 | 4066 | 7024 | 3327 | 2218 | 0 | 0 | 0 | 0 | 36967
2052 | 6452 | 3415 | 11006 | 4175 | 7211 | 3415 | 2277 | 0 | 0 | 0 | 0 | 37951
2053 | 6619 | 3504 | 11292 | 4283 | 7398 | 3504 | 2336 | 0 | 0 | 0 | 0 | 38936
2054 | 6744 | 3570 | 11506 | 4364 | 7538 | 3570 | 2380 | 0 | 0 | 0 | 0 | 39672
Note: Reflects Climate Action Council Integration Analysis Scenario 2 electrolysis forecast for hydrogen production (50% in-state and 50% out-of-state),
discounted to reflect 100% LDV EV sales saturation in the Policy Scenario forecast beginning in 2035,
and excluding hydrogen-producing large load facilities already accounted for in the large load forecast.