## I-1a
Table I-1a: NYCA Baseline Energy and Demand Forecasts
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
2025 Long Term Forecast1 - 2025 to 2055
Energy - GWh |  |  |  | Summer Peak Demand2 - MW |  |  |  | Winter Peak Demand2 - MW
Year | Low3 | Baseline4 | High3 | Year | Low3 | Baseline4, 5 | High3 | Year | Low3 | Baseline4 | High3
2024 |  | 151556 |  | 2024 |  | 31264 |  | 2024-25 |  | 24030
2025 | 151720 | 152400 | 153170 | 2025 | 31430 | 31471 | 31550 | 2025-26 | 23890 | 24200 | 24350
2026 | 150060 | 155460 | 159310 | 2026 | 31350 | 31990 | 32590 | 2026-27 | 24110 | 24920 | 25640
2027 | 149510 | 157220 | 165540 | 2027 | 31340 | 32280 | 33450 | 2027-28 | 24230 | 25330 | 26630
2028 | 149430 | 158700 | 170940 | 2028 | 31210 | 32410 | 34060 | 2028-29 | 24330 | 25850 | 27760
2029 | 149350 | 160370 | 176410 | 2029 | 31160 | 32620 | 34670 | 2029-30 | 24530 | 26410 | 28720
2030 | 150630 | 163200 | 182190 | 2030 | 31140 | 32910 | 35240 | 2030-31 | 24770 | 27080 | 29840
2031 | 151580 | 165640 | 186920 | 2031 | 31110 | 33190 | 35710 | 2031-32 | 24990 | 27730 | 31090
2032 | 153420 | 168950 | 192840 | 2032 | 31100 | 33520 | 36180 | 2032-33 | 25330 | 28440 | 32460
2033 | 154400 | 171430 | 198090 | 2033 | 31110 | 33870 | 36700 | 2033-34 | 25880 | 29210 | 34220
2034 | 155610 | 174180 | 204280 | 2034 | 31120 | 34170 | 37330 | 2034-35 | 26350 | 29970 | 35800
2035 | 157210 | 177740 | 211960 | 2035 | 31130 | 34500 | 38110 | 2035-36 | 26860 | 30850 | 37770
2036 | 159250 | 182350 | 220570 | 2036 | 31140 | 34850 | 38900 | 2036-37 | 27590 | 32020 | 40110
2037 | 160810 | 186730 | 229590 | 2037 | 31160 | 35180 | 39700 | 2037-38 | 28370 | 33370 | 42590
2038 | 163020 | 191670 | 239830 | 2038 | 31200 | 35510 | 40440 | 2038-39 | 29030 | 34830 | 45130
2039 | 165470 | 196660 | 250170 | 2039 | 31230 | 35810 | 41200 | 2039-40 | 29750 | 36280 | 47810
2040 | 168270 | 201870 | 260640 | 2040 | 31270 | 36100 | 41950 | 2040-41 | 30590 | 37760 | 50450
2041 | 170550 | 206040 | 270280 | 2041 | 31300 | 36400 | 42780 | 2041-42 | 31380 | 39080 | 53240
2042 | 173330 | 210190 | 279420 | 2042 | 31350 | 36650 | 43360 | 2042-43 | 32240 | 40370 | 55930
2043 | 176500 | 214610 | 288730 | 2043 | 31390 | 36920 | 43980 | 2043-44 | 33220 | 41690 | 58440
2044 | 180110 | 219160 | 297940 | 2044 | 31440 | 37170 | 44550 | 2044-45 | 34110 | 42840 | 60820
2045 | 183100 | 222550 | 305910 | 2045 | 31480 | 37400 | 45000 | 2045-46 | 35120 | 43930 | 63180
2046 | 186660 | 226100 | 313770 | 2046 | 31550 | 37590 | 45550 | 2046-47 | 36290 | 44930 | 65270
2047 | 190070 | 229180 | 320850 | 2047 | 31620 | 37740 | 46110 | 2047-48 | 37420 | 45890 | 67190
2048 | 193810 | 232470 | 327680 | 2048 | 31690 | 37870 | 46560 | 2048-49 | 38430 | 46770 | 68690
2049 | 196770 | 234680 | 333230 | 2049 | 31740 | 37980 | 46960 | 2049-50 | 39480 | 47450 | 70240
2050 | 200120 | 237510 | 338760 | 2050 | 31790 | 38060 | 47330 | 2050-51 | 40460 | 48110 | 71680
2051 | 202580 | 239310 | 342460 | 2051 | 31830 | 38150 | 47680 | 2051-52 | 41220 | 48720 | 72740
2052 | 205170 | 241220 | 345990 | 2052 | 31850 | 38240 | 47960 | 2052-53 | 41890 | 49270 | 73450
2053 | 206770 | 242090 | 348390 | 2053 | 31880 | 38310 | 48190 | 2053-54 | 42490 | 49700 | 74270
2054 | 208510 | 243180 | 350820 | 2054 | 31900 | 38370 | 48360 | 2054-55 | 42960 | 49940 | 74720
2055 | 209970 | 244100 | 353000 | 2055 | 31920 | 38430 | 48560 | 2055-56 | 43300 | 50000 | 75190
Average Annual Growth - Percent
Period | Low | Baseline | High | Period | Low | Baseline | High | Period | Low | Baseline | High
2025-30 | -0.1437% | 1.417% | 3.789% | 2025-30 | -0.1845% | 0.9145% | 2.339% | 2025-30 | 0.7367% | 2.38% | 4.509%
2020-35 | 0.8737% | 1.782% | 3.268% | 2020-35 | -0.006423% | 0.9663% | 1.629% | 2020-35 | 1.688% | 2.784% | 5.315%
2035-40 | 1.407% | 2.715% | 4.593% | 2035-40 | 0.08995% | 0.9275% | 2.015% | 2035-40 | 2.777% | 4.48% | 6.714%
2040-45 | 1.763% | 2.049% | 3.474% | 2040-45 | 0.1343% | 0.7202% | 1.454% | 2040-45 | 2.962% | 3.268% | 5.047%
2025-35 | 0.3619% | 1.663% | 3.838% | 2025-35 | -0.09545% | 0.9625% | 2.079% | 2025-35 | 1.243% | 2.748% | 5.511%
2035-45 | 1.647% | 2.521% | 4.432% | 2035-45 | 0.1124% | 0.8406% | 1.808% | 2035-45 | 3.075% | 4.24% | 6.728%
2045-55 | 1.468% | 0.9683% | 1.539% | 2045-55 | 0.1398% | 0.2754% | 0.7911% | 2045-55 | 2.329% | 1.382% | 1.901%
2025-45 | 1.034% | 2.302% | 4.986% | 2025-45 | 0.007954% | 0.942% | 2.132% | 2025-45 | 2.35% | 4.076% | 7.973%
2025-55 | 1.28% | 2.006% | 4.349% | 2025-55 | 0.05197% | 0.7371% | 1.797% | 2025-55 | 2.708% | 3.554% | 6.96%
Notes
1. All results in the Section I tables include transmission & distribution losses.
2. Summer Capability period is from May 1 to October 31. Winter Capability period is from November 1 of the current year to April 30 of the next year.
3. The low and high columns reflect the Lower Demand and Higher Demand Scenario forecasts under expected weather conditions, which are summarized in Tables I-15 and I-16.
These do not reflect the 90th and 10th percentile forecasts due to weather, which are found in Tables I-6 and I-7.
4. Energy and peak figures for 2024 are weather-normalized. The values for the actual annual energy, summer peak, and winter peak are reported in Tables I-2, I-3a, and I-3b respectively.
5. The 2025 NYCA summer peak forecast is the same as the 2025 ICAP forecast.

## Notes
2025 Gold Book Higher Demand Scenario Tables Notes
The following higher demand scenario forecasts are the same as the baseline forecast:
Forecast | Tables
Energy Efficiency and Codes & Standards | I-8a,b,c
Behind-the-Meter Solar PV | I-9a,b,c,d
Behind-the-Meter Non-Solar Distributed Generation | I-10a,b,c
Energy Storage | I-12a,b,c

## I-16
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh | [10 empty] | Table I-16b: Summary of NYCA Higher Demand Scenario Summer Coincident Peak Demand Forecasts - MW | [10 empty] | Table I-16c: Summary of NYCA Higher Demand Scenario Winter Coincident Peak Demand Forecasts - MW
Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
|  | (-) | (-) | (-) | (+) | (+) | (+) | (+) | (+) | =a-b-c-d+e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i
| Econometric Energy | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | Storage Net Energy Consumption | EV Energy | Building Electrification | Large Load Projects | Electrolysis | Higher Demand Scenario Annual Energy Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Higher Demand Scenario Summer Peak Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Higher Demand Scenario Winter Peak Forecast
2025 | 159137 | 1740 | 8071 | 1987 | 117 | 1353 | 651 | 3710 | 0 | 153170 | 2025 | 33317 | 309 | 1581 | 342 | 224 | 190 | 33 | 466 | 0 | 31550 | 2025-26 | 24028 | 249 | 0 | 342 | 224 | 414 | 245 | 478 | 0 | 24350
2026 | 161471 | 4060 | 9339 | 2069 | 310 | 1844 | 1483 | 9670 | 0 | 159310 | 2026 | 33854 | 729 | 1657 | 354 | 281 | 282 | 78 | 1397 | 0 | 32590 | 2026-27 | 24305 | 590 | 0 | 354 | 281 | 543 | 453 | 1564 | 0 | 25640
2027 | 162956 | 5980 | 10464 | 2137 | 551 | 2519 | 2455 | 15640 | 0 | 165540 | 2027 | 34187 | 1108 | 1688 | 356 | 347 | 380 | 131 | 2251 | 0 | 33450 | 2027-28 | 24500 | 880 | 0 | 356 | 347 | 705 | 704 | 2304 | 0 | 26630
2028 | 164897 | 7842 | 11424 | 2199 | 701 | 3404 | 3573 | 19830 | 0 | 170940 | 2028 | 34514 | 1481 | 1683 | 365 | 412 | 543 | 187 | 2757 | 0 | 34060 | 2028-29 | 24700 | 1164 | 0 | 365 | 412 | 937 | 1110 | 2954 | 0 | 27760
2029 | 166243 | 9662 | 12241 | 2257 | 820 | 4519 | 4838 | 23550 | 600 | 176410 | 2029 | 34812 | 1851 | 1655 | 372 | 468 | 717 | 252 | 3235 | 0 | 34670 | 2029-30 | 24858 | 1448 | 0 | 372 | 468 | 1213 | 1593 | 3344 | 0 | 28720
2030 | 167978 | 11598 | 12920 | 2312 | 906 | 5893 | 6243 | 26450 | 1550 | 182190 | 2030 | 35205 | 2225 | 1631 | 380 | 541 | 957 | 323 | 3532 | 0 | 35240 | 2030-31 | 25065 | 1752 | 0 | 380 | 541 | 1573 | 2234 | 3641 | 0 | 29840
2031 | 169634 | 13383 | 13524 | 2368 | 992 | 7576 | 7853 | 27840 | 2300 | 186920 | 2031 | 35576 | 2575 | 1609 | 386 | 604 | 1189 | 404 | 3715 | 0 | 35710 | 2031-32 | 25215 | 2043 | 0 | 386 | 604 | 2069 | 3023 | 3816 | 0 | 31090
2032 | 171602 | 14962 | 14061 | 2421 | 1078 | 9598 | 9706 | 29100 | 3200 | 192840 | 2032 | 35817 | 2889 | 1585 | 394 | 662 | 1513 | 492 | 3888 | 0 | 36180 | 2032-33 | 25347 | 2313 | 0 | 394 | 662 | 2593 | 3910 | 3979 | 0 | 32460
2033 | 172328 | 16409 | 14531 | 2466 | 1163 | 12021 | 11814 | 30220 | 3950 | 198090 | 2033 | 36037 | 3171 | 1563 | 401 | 723 | 1886 | 589 | 4046 | 0 | 36700 | 2033-34 | 25482 | 2569 | 0 | 401 | 723 | 3165 | 5142 | 4124 | 0 | 34220
2034 | 173469 | 17739 | 14928 | 2508 | 1249 | 14902 | 14095 | 30940 | 4800 | 204280 | 2034 | 36262 | 3434 | 1543 | 409 | 780 | 2369 | 697 | 4168 | 0 | 37330 | 2034-35 | 25623 | 2816 | 0 | 409 | 780 | 3737 | 6158 | 4287 | 0 | 35800
2035 | 174828 | 18961 | 15235 | 2549 | 1333 | 18303 | 16661 | 31830 | 5750 | 211960 | 2035 | 36541 | 3670 | 1523 | 416 | 846 | 2911 | 811 | 4302 | 0 | 38110 | 2035-36 | 25752 | 3056 | 0 | 416 | 846 | 4416 | 7489 | 4431 | 0 | 37770
2036 | 176429 | 20072 | 15568 | 2590 | 1422 | 21775 | 19584 | 32640 | 6950 | 220570 | 2036 | 36811 | 3887 | 1501 | 423 | 912 | 3450 | 935 | 4427 | 0 | 38900 | 2036-37 | 25876 | 3286 | 0 | 423 | 912 | 5135 | 9148 | 4572 | 0 | 40110
2037 | 177301 | 21069 | 15869 | 2629 | 1508 | 25296 | 22772 | 33680 | 8600 | 229590 | 2037 | 37009 | 4083 | 1481 | 428 | 980 | 4014 | 1064 | 4585 | 0 | 39700 | 2037-38 | 26019 | 3510 | 0 | 428 | 980 | 5854 | 10876 | 4759 | 0 | 42590
2038 | 178457 | 21992 | 16163 | 2659 | 1595 | 28831 | 26221 | 35040 | 10500 | 239830 | 2038 | 37144 | 4258 | 1462 | 432 | 1046 | 4509 | 1185 | 4800 | 0 | 40440 | 2038-39 | 26152 | 3730 | 0 | 432 | 1046 | 6578 | 12683 | 4925 | 0 | 45130
2039 | 179769 | 22906 | 16448 | 2680 | 1682 | 32355 | 29908 | 36090 | 12400 | 250170 | 2039 | 37393 | 4435 | 1443 | 435 | 1112 | 4994 | 1319 | 4919 | 0 | 41200 | 2039-40 | 26303 | 3953 | 0 | 435 | 1112 | 7312 | 14652 | 5043 | 0 | 47810
2040 | 181342 | 23871 | 16701 | 2698 | 1769 | 35822 | 33777 | 36900 | 14300 | 260640 | 2040 | 37598 | 4607 | 1425 | 438 | 1168 | 5517 | 1438 | 5035 | 0 | 41950 | 2040-41 | 26438 | 4191 | 0 | 438 | 1168 | 8063 | 16587 | 5159 | 0 | 50450
2041 | 182241 | 24787 | 16947 | 2708 | 1857 | 39212 | 37752 | 37710 | 15950 | 270280 | 2041 | 37858 | 4777 | 1408 | 441 | 1234 | 6068 | 1564 | 5150 | 0 | 42780 | 2041-42 | 26577 | 4412 | 0 | 441 | 1234 | 8744 | 18775 | 5231 | 0 | 53240
2042 | 183302 | 25635 | 17180 | 2719 | 1947 | 42503 | 41792 | 38110 | 17300 | 279420 | 2042 | 38079 | 4916 | 1390 | 443 | 1306 | 6495 | 1662 | 5179 | 0 | 43360 | 2042-43 | 26706 | 4631 | 0 | 443 | 1306 | 9439 | 20905 | 5260 | 0 | 55930
2043 | 184711 | 26421 | 17389 | 2731 | 2036 | 45675 | 45789 | 38310 | 18750 | 288730 | 2043 | 38234 | 5058 | 1375 | 445 | 1373 | 7026 | 1763 | 5208 | 0 | 43980 | 2043-44 | 26874 | 4844 | 0 | 445 | 1373 | 9982 | 22972 | 5274 | 0 | 58440
2044 | 186428 | 27161 | 17589 | 2741 | 2127 | 48693 | 49703 | 38380 | 20100 | 297940 | 2044 | 38430 | 5176 | 1354 | 446 | 1450 | 7493 | 1845 | 5208 | 0 | 44550 | 2044-45 | 27017 | 5053 | 0 | 446 | 1450 | 10540 | 24938 | 5274 | 0 | 60820
2045 | 187421 | 27825 | 17788 | 2752 | 2215 | 51528 | 53431 | 38380 | 21300 | 305910 | 2045 | 38580 | 5280 | 1334 | 447 | 1517 | 7856 | 1934 | 5208 | 0 | 45000 | 2045-46 | 27167 | 5249 | 0 | 447 | 1517 | 10925 | 27027 | 5274 | 0 | 63180
2046 | 188914 | 28468 | 17966 | 2760 | 2305 | 54060 | 56955 | 38380 | 22350 | 313770 | 2046 | 38901 | 5382 | 1314 | 448 | 1585 | 8173 | 1997 | 5208 | 0 | 45550 | 2046-47 | 27334 | 5453 | 0 | 448 | 1585 | 11289 | 28859 | 5274 | 0 | 65270
2047 | 190343 | 29108 | 18132 | 2767 | 2394 | 56277 | 60213 | 38380 | 23250 | 320850 | 2047 | 39146 | 5476 | 1290 | 449 | 1647 | 8554 | 2064 | 5208 | 0 | 46110 | 2047-48 | 27497 | 5655 | 0 | 449 | 1647 | 11632 | 30538 | 5274 | 0 | 67190
2048 | 192159 | 29737 | 18302 | 2774 | 2479 | 58184 | 63191 | 38380 | 24100 | 327680 | 2048 | 39420 | 5565 | 1266 | 450 | 1706 | 8795 | 2124 | 5208 | 0 | 46560 | 2048-49 | 27632 | 5854 | 0 | 450 | 1706 | 11914 | 31880 | 5274 | 0 | 68690
2049 | 193312 | 30313 | 18456 | 2782 | 2566 | 59815 | 65808 | 38380 | 24900 | 333230 | 2049 | 39651 | 5643 | 1241 | 452 | 1759 | 9019 | 2177 | 5208 | 0 | 46960 | 2049-50 | 27800 | 6049 | 0 | 452 | 1759 | 12102 | 33324 | 5274 | 0 | 70240
2050 | 194938 | 30870 | 18587 | 2789 | 2652 | 61216 | 68220 | 38380 | 25600 | 338760 | 2050 | 39805 | 5719 | 1212 | 452 | 1811 | 9272 | 2239 | 5208 | 0 | 47330 | 2050-51 | 27965 | 6230 | 0 | 452 | 1811 | 12336 | 34598 | 5274 | 0 | 71680
2051 | 196541 | 31434 | 18735 | 2796 | 2735 | 61980 | 69889 | 38380 | 25900 | 342460 | 2051 | 40070 | 5792 | 1186 | 454 | 1855 | 9409 | 2280 | 5208 | 0 | 47680 | 2051-52 | 28115 | 6415 | 0 | 454 | 1855 | 12561 | 35514 | 5274 | 0 | 72740
2052 | 198492 | 31996 | 18865 | 2800 | 2815 | 62614 | 71300 | 38380 | 26050 | 345990 | 2052 | 40268 | 5864 | 1157 | 454 | 1898 | 9543 | 2314 | 5208 | 0 | 47960 | 2052-53 | 28313 | 6599 | 0 | 454 | 1898 | 12696 | 36118 | 5274 | 0 | 73450
2053 | 199676 | 32529 | 18989 | 2804 | 2898 | 63150 | 72408 | 38380 | 26200 | 348390 | 2053 | 40380 | 5933 | 1129 | 454 | 1935 | 9679 | 2374 | 5208 | 0 | 48190 | 2053-54 | 28435 | 6780 | 0 | 454 | 1935 | 12799 | 36931 | 5274 | 0 | 74270
2054 | 201185 | 33059 | 19103 | 2807 | 2979 | 63598 | 73297 | 38380 | 26350 | 350820 | 2054 | 40458 | 5998 | 1099 | 454 | 1972 | 9787 | 2430 | 5208 | 0 | 48360 | 2054-55 | 28575 | 6965 | 0 | 454 | 1972 | 12907 | 37355 | 5274 | 0 | 74720
2055 | 202725 | 33596 | 19207 | 2811 | 3058 | 63966 | 73985 | 38380 | 26500 | 353000 | 2055 | 40593 | 6066 | 1067 | 454 | 2007 | 9890 | 2463 | 5208 | 0 | 48560 | 2055-56 | 28798 | 7155 | 0 | 454 | 2007 | 12995 | 37739 | 5274 | 0 | 75190
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (a) - Econometric Energy Forecast - Reflects impacts of projected weather trends and economic growth | (a) - Econometric Summer Peak Demand - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Winter Peak Demand - Reflects impacts of projected weather trendsand economic growth
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (b) - Table I-8a: Energy Efficiency and Codes & Standards Energy Impacts, Relative to 2024 | (b) - Table I-8b: Energy Efficiency and Codes & Standards Summer Coincident Peak Demand Reductions, Relative to 2024 | [10 empty] | (b) - Table I-8c: Energy Efficiency and Codes & Standards Winter Coincident Peak Demand Reductions, Relative to 2024-25
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (c) - Table I-9b: Solar PV Impacts, Behind-the-Meter - Total Reductions in Annual Energy | (c) - Table I-9c: Solar PV Impacts, Behind-the-Meter, Total Reductions in Summer Coincident Peak Demand | [10 empty] | (c) - The forecast of solar PV-related reductions to the winter peak is zero because the system typically peaks after sunset
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (d) - Table I-10b: Non-Solar Distributed Generation Impacts, Behind-the-Meter - Total Reductions in Annual Energy | (d) - Table I-10d: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand | [10 empty] | (d) - Table I-10c: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (e) - Table I-12b: Storage Annual Net Energy Consumption, both wholesale and behind-the-meter (pumped storage is not included - see Table III-2 for current resources) | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources)
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (f) - Table I-11b-H: Electric Vehicle Energy Usage | (f) - Table I-11c-H: Electric Vehicle Summer Coincident Peak Demand | [10 empty] | (f) - Table I-11d-H: Electric Vehicle Winter Coincident Peak Demand
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (g) - Table I-13a-H: Building Electrification Energy Usage - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | (g) - Table I-13b-H: Building Electrification Summer Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13c-H: Building Electrification Winter Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth | (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (i) - Table I-22-H: Electrolysis Annual Energy Impacts | (i) - There are no electrolysis peak demand impacts as hydrogen production is expected to occur non-coincident with system peak electric load | [10 empty] | (i) - There are no electrolysis peak demand impacts as hydrogen production is expected to occur non-coincident with system peak electric load
Table I-16a: Summary of NYCA Higher Demand Scenario Annual Energy Forecasts - GWh Year: (j) - Table I-2-H: Higher Demand Scenario Annual Energy Forecast | (j) - Table I-3a-H: Higher Demand Scenario Summer Coincident Peak Demand Forecast | [10 empty] | (j) - Table I-3b-H: Higher Demand Scenario Winter Coincident Peak Demand Forecast

## I-2-H
Table I-2-H: Higher Demand Scenario Annual Energy Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 15740 | 9450 | 14660 | 5690 | 7400 | 11620 | 9510 | 2780 | 5910 | 50340 | 20070 | 153170
2026 | 17240 | 10040 | 15260 | 8350 | 7240 | 11350 | 9790 | 2820 | 5940 | 51010 | 20270 | 159310
2027 | 18350 | 10970 | 16550 | 10080 | 7150 | 11420 | 10000 | 2840 | 5990 | 51790 | 20400 | 165540
2028 | 19780 | 11300 | 18110 | 10490 | 7210 | 11520 | 10210 | 2870 | 6080 | 52520 | 20850 | 170940
2029 | 21220 | 11330 | 20020 | 10520 | 7420 | 11710 | 10320 | 2890 | 6160 | 53250 | 21570 | 176410
2030 | 21910 | 11490 | 22060 | 10580 | 7740 | 12040 | 10590 | 2930 | 6260 | 54120 | 22470 | 182190
2031 | 22290 | 11640 | 23200 | 10640 | 8040 | 12390 | 10850 | 2990 | 6390 | 55030 | 23460 | 186920
2032 | 22820 | 11940 | 24500 | 10730 | 8430 | 12890 | 11240 | 3060 | 6550 | 56150 | 24530 | 192840
2033 | 23330 | 12180 | 25770 | 10780 | 8780 | 13330 | 11600 | 3130 | 6700 | 57030 | 25460 | 198090
2034 | 23980 | 12560 | 26930 | 10860 | 9220 | 13920 | 12100 | 3220 | 6900 | 58250 | 26340 | 204280
2035 | 24760 | 13020 | 28470 | 11010 | 9800 | 14580 | 12700 | 3330 | 7130 | 59680 | 27480 | 211960
2036 | 25740 | 13530 | 30220 | 11120 | 10470 | 15300 | 13330 | 3450 | 7390 | 61370 | 28650 | 220570
2037 | 26720 | 14070 | 32250 | 11310 | 11180 | 16060 | 14020 | 3570 | 7630 | 62920 | 29860 | 229590
2038 | 27800 | 14720 | 34740 | 11480 | 12040 | 16930 | 14820 | 3700 | 7900 | 64690 | 31010 | 239830
2039 | 28960 | 15330 | 37010 | 11690 | 12920 | 17770 | 15590 | 3830 | 8180 | 66560 | 32330 | 250170
2040 | 30160 | 16020 | 39050 | 11860 | 13770 | 18700 | 16410 | 3970 | 8470 | 68530 | 33700 | 260640
2041 | 31260 | 16630 | 40980 | 12060 | 14540 | 19530 | 17150 | 4100 | 8730 | 70320 | 34980 | 270280
2042 | 32330 | 17210 | 42490 | 12220 | 15320 | 20340 | 17850 | 4230 | 9000 | 72230 | 36200 | 279420
2043 | 33410 | 17840 | 43750 | 12380 | 16100 | 21210 | 18620 | 4360 | 9280 | 74220 | 37560 | 288730
2044 | 34500 | 18470 | 44900 | 12510 | 16830 | 22080 | 19400 | 4490 | 9560 | 76280 | 38920 | 297940
2045 | 35420 | 18990 | 45880 | 12650 | 17500 | 22820 | 20050 | 4610 | 9810 | 78050 | 40130 | 305910
2046 | 36290 | 19510 | 46760 | 12810 | 18110 | 23550 | 20740 | 4730 | 10050 | 79920 | 41300 | 313770
2047 | 37140 | 19990 | 47520 | 12910 | 18620 | 24210 | 21330 | 4840 | 10280 | 81670 | 42340 | 320850
2048 | 37910 | 20400 | 48320 | 13020 | 19150 | 24810 | 21900 | 4930 | 10500 | 83430 | 43310 | 327680
2049 | 38540 | 20780 | 48900 | 13100 | 19560 | 25340 | 22360 | 5020 | 10670 | 84890 | 44070 | 333230
2050 | 39130 | 21110 | 49530 | 13200 | 19960 | 25820 | 22830 | 5100 | 10850 | 86420 | 44810 | 338760
2051 | 39510 | 21350 | 49840 | 13230 | 20170 | 26160 | 23170 | 5160 | 10980 | 87600 | 45290 | 342460
2052 | 39880 | 21540 | 50140 | 13280 | 20370 | 26450 | 23450 | 5210 | 11100 | 88810 | 45760 | 345990
2053 | 40120 | 21660 | 50340 | 13290 | 20510 | 26650 | 23650 | 5250 | 11190 | 89680 | 46050 | 348390
2054 | 40370 | 21770 | 50540 | 13320 | 20640 | 26840 | 23850 | 5280 | 11280 | 90590 | 46340 | 350820
2055 | 40590 | 21870 | 50710 | 13350 | 20760 | 27010 | 24030 | 5320 | 11360 | 91430 | 46570 | 353000
Note: Historical values reflect actual experienced weather conditions. Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3a-H
Table I-3a-H: Higher Demand Scenario Summer Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 2868 | 1858 | 2523 | 692 | 1322 | 2272 | 2267 | 620 | 1318 | 10800 | 5010 | 31550
2026 | 3120 | 1995 | 2633 | 1045 | 1308 | 2274 | 2307 | 625 | 1324 | 10920 | 5039 | 32590
2027 | 3214 | 2124 | 2831 | 1287 | 1305 | 2299 | 2339 | 627 | 1333 | 11040 | 5051 | 33450
2028 | 3423 | 2135 | 3034 | 1297 | 1312 | 2284 | 2366 | 628 | 1343 | 11170 | 5068 | 34060
2029 | 3567 | 2137 | 3256 | 1297 | 1316 | 2305 | 2372 | 631 | 1352 | 11330 | 5107 | 34670
2030 | 3596 | 2140 | 3469 | 1298 | 1332 | 2329 | 2387 | 632 | 1360 | 11510 | 5187 | 35240
2031 | 3621 | 2148 | 3588 | 1299 | 1351 | 2363 | 2411 | 638 | 1372 | 11650 | 5269 | 35710
2032 | 3636 | 2156 | 3710 | 1304 | 1368 | 2396 | 2444 | 641 | 1381 | 11800 | 5344 | 36180
2033 | 3653 | 2182 | 3828 | 1312 | 1395 | 2435 | 2489 | 649 | 1388 | 11960 | 5409 | 36700
2034 | 3705 | 2206 | 3977 | 1320 | 1421 | 2476 | 2531 | 655 | 1403 | 12130 | 5506 | 37330
2035 | 3777 | 2250 | 4141 | 1330 | 1461 | 2543 | 2598 | 662 | 1418 | 12300 | 5630 | 38110
2036 | 3851 | 2284 | 4322 | 1336 | 1503 | 2614 | 2651 | 670 | 1445 | 12490 | 5734 | 38900
2037 | 3907 | 2328 | 4515 | 1341 | 1552 | 2683 | 2733 | 676 | 1462 | 12660 | 5843 | 39700
2038 | 3975 | 2363 | 4701 | 1347 | 1600 | 2750 | 2799 | 688 | 1498 | 12790 | 5929 | 40440
2039 | 4041 | 2378 | 4900 | 1358 | 1647 | 2814 | 2865 | 702 | 1513 | 12970 | 6012 | 41200
2040 | 4119 | 2424 | 5081 | 1365 | 1693 | 2894 | 2934 | 712 | 1529 | 13120 | 6079 | 41950
2041 | 4190 | 2470 | 5216 | 1372 | 1739 | 2947 | 3009 | 721 | 1541 | 13350 | 6225 | 42780
2042 | 4246 | 2507 | 5302 | 1381 | 1787 | 2988 | 3059 | 726 | 1562 | 13520 | 6282 | 43360
2043 | 4309 | 2554 | 5378 | 1386 | 1825 | 3035 | 3126 | 728 | 1585 | 13640 | 6414 | 43980
2044 | 4372 | 2586 | 5439 | 1394 | 1875 | 3096 | 3177 | 737 | 1617 | 13770 | 6487 | 44550
2045 | 4427 | 2608 | 5499 | 1398 | 1912 | 3153 | 3221 | 743 | 1639 | 13880 | 6520 | 45000
2046 | 4467 | 2637 | 5548 | 1402 | 1947 | 3208 | 3295 | 751 | 1663 | 14020 | 6612 | 45550
2047 | 4532 | 2664 | 5569 | 1406 | 1980 | 3246 | 3357 | 758 | 1689 | 14190 | 6719 | 46110
2048 | 4572 | 2683 | 5592 | 1409 | 2005 | 3289 | 3409 | 768 | 1696 | 14400 | 6737 | 46560
2049 | 4600 | 2698 | 5602 | 1413 | 2021 | 3322 | 3453 | 774 | 1708 | 14570 | 6799 | 46960
2050 | 4629 | 2715 | 5600 | 1418 | 2048 | 3357 | 3488 | 776 | 1720 | 14710 | 6869 | 47330
2051 | 4657 | 2728 | 5605 | 1420 | 2060 | 3393 | 3520 | 781 | 1731 | 14860 | 6925 | 47680
2052 | 4680 | 2732 | 5632 | 1425 | 2071 | 3421 | 3529 | 780 | 1739 | 14980 | 6971 | 47960
2053 | 4716 | 2752 | 5667 | 1430 | 2079 | 3444 | 3538 | 782 | 1745 | 15030 | 7007 | 48190
2054 | 4733 | 2756 | 5681 | 1430 | 2085 | 3462 | 3547 | 781 | 1750 | 15100 | 7035 | 48360
2055 | 4743 | 2765 | 5708 | 1433 | 2090 | 3477 | 3569 | 783 | 1754 | 15180 | 7058 | 48560
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3b-H
Table I-3b-H: Higher Demand Scenario Winter Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 2244 | 1519 | 2514 | 845 | 1335 | 1919 | 1618 | 524 | 945 | 7620 | 3267 | 24350
2026-27 | 2530 | 1744 | 2656 | 1253 | 1339 | 1934 | 1668 | 529 | 951 | 7740 | 3296 | 25640
2027-28 | 2668 | 1827 | 2898 | 1469 | 1347 | 1965 | 1719 | 530 | 963 | 7880 | 3364 | 26630
2028-29 | 2962 | 1843 | 3182 | 1477 | 1363 | 1997 | 1787 | 538 | 994 | 8110 | 3507 | 27760
2029-30 | 3085 | 1864 | 3406 | 1479 | 1409 | 2069 | 1811 | 550 | 1009 | 8320 | 3718 | 28720
2030-31 | 3156 | 1913 | 3679 | 1485 | 1469 | 2158 | 1886 | 568 | 1041 | 8560 | 3925 | 29840
2031-32 | 3258 | 1974 | 3864 | 1493 | 1535 | 2265 | 1977 | 588 | 1081 | 8890 | 4165 | 31090
2032-33 | 3387 | 2052 | 4072 | 1504 | 1612 | 2387 | 2084 | 611 | 1126 | 9220 | 4405 | 32460
2033-34 | 3545 | 2150 | 4294 | 1517 | 1710 | 2555 | 2235 | 638 | 1179 | 9690 | 4707 | 34220
2034-35 | 3713 | 2248 | 4588 | 1530 | 1805 | 2704 | 2350 | 671 | 1254 | 10050 | 4887 | 35800
2035-36 | 3900 | 2360 | 4869 | 1544 | 1946 | 2879 | 2492 | 709 | 1330 | 10590 | 5151 | 37770
2036-37 | 4101 | 2486 | 5154 | 1554 | 2091 | 3087 | 2702 | 747 | 1397 | 11300 | 5491 | 40110
2037-38 | 4328 | 2617 | 5496 | 1565 | 2271 | 3315 | 2907 | 784 | 1480 | 12020 | 5807 | 42590
2038-39 | 4589 | 2769 | 5842 | 1584 | 2456 | 3542 | 3098 | 829 | 1559 | 12730 | 6132 | 45130
2039-40 | 4852 | 2932 | 6162 | 1601 | 2611 | 3789 | 3322 | 874 | 1653 | 13480 | 6534 | 47810
2040-41 | 5103 | 3079 | 6489 | 1619 | 2767 | 4048 | 3530 | 915 | 1738 | 14220 | 6942 | 50450
2041-42 | 5373 | 3259 | 6759 | 1640 | 2954 | 4285 | 3764 | 959 | 1827 | 15030 | 7390 | 53240
2042-43 | 5640 | 3425 | 7004 | 1654 | 3104 | 4540 | 3972 | 1009 | 1924 | 15820 | 7838 | 55930
2043-44 | 5882 | 3588 | 7227 | 1672 | 3266 | 4758 | 4205 | 1055 | 2022 | 16600 | 8165 | 58440
2044-45 | 6103 | 3727 | 7402 | 1686 | 3418 | 4981 | 4440 | 1104 | 2109 | 17340 | 8510 | 60820
2045-46 | 6331 | 3884 | 7527 | 1697 | 3570 | 5215 | 4655 | 1156 | 2200 | 18110 | 8835 | 63180
2046-47 | 6513 | 4021 | 7719 | 1710 | 3720 | 5441 | 4810 | 1202 | 2277 | 18700 | 9157 | 65270
2047-48 | 6692 | 4131 | 7851 | 1717 | 3844 | 5609 | 4959 | 1231 | 2336 | 19440 | 9380 | 67190
2048-49 | 6853 | 4222 | 7949 | 1727 | 3936 | 5764 | 5080 | 1261 | 2389 | 19860 | 9649 | 68690
2049-50 | 7034 | 4312 | 8067 | 1740 | 4014 | 5936 | 5189 | 1286 | 2451 | 20330 | 9881 | 70240
2050-51 | 7146 | 4375 | 8182 | 1750 | 4108 | 6079 | 5285 | 1314 | 2507 | 20760 | 10174 | 71680
2051-52 | 7264 | 4436 | 8233 | 1757 | 4170 | 6178 | 5367 | 1332 | 2553 | 21100 | 10350 | 72740
2052-53 | 7363 | 4451 | 8265 | 1761 | 4189 | 6226 | 5457 | 1342 | 2571 | 21440 | 10385 | 73450
2053-54 | 7467 | 4512 | 8321 | 1768 | 4235 | 6283 | 5501 | 1358 | 2614 | 21730 | 10481 | 74270
2054-55 | 7520 | 4542 | 8360 | 1772 | 4272 | 6326 | 5515 | 1363 | 2629 | 21860 | 10561 | 74720
2055-56 | 7584 | 4576 | 8410 | 1779 | 4299 | 6364 | 5545 | 1373 | 2645 | 22010 | 10605 | 75190
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4a-H
Table I-4a-H: Higher Demand Scenario Summer Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2025 | 3027 | 1903 | 2602 | 720 | 1358 | 2327 | 2318 | 634 | 1348 | 11040 | 5087
2026 | 3293 | 2044 | 2715 | 1088 | 1343 | 2329 | 2359 | 639 | 1354 | 11160 | 5116
2027 | 3392 | 2176 | 2920 | 1340 | 1340 | 2355 | 2392 | 641 | 1363 | 11290 | 5128
2028 | 3613 | 2187 | 3129 | 1350 | 1348 | 2340 | 2420 | 642 | 1373 | 11420 | 5146
2029 | 3765 | 2189 | 3358 | 1350 | 1352 | 2361 | 2426 | 645 | 1382 | 11580 | 5185
2030 | 3796 | 2192 | 3578 | 1351 | 1368 | 2386 | 2441 | 646 | 1390 | 11770 | 5266
2031 | 3822 | 2200 | 3700 | 1352 | 1388 | 2421 | 2466 | 652 | 1403 | 11910 | 5350
2032 | 3838 | 2209 | 3826 | 1357 | 1405 | 2454 | 2499 | 655 | 1412 | 12060 | 5426
2033 | 3856 | 2235 | 3948 | 1366 | 1433 | 2494 | 2546 | 664 | 1419 | 12230 | 5492
2034 | 3911 | 2260 | 4101 | 1374 | 1460 | 2536 | 2588 | 670 | 1434 | 12400 | 5590
2035 | 3987 | 2305 | 4271 | 1384 | 1501 | 2605 | 2657 | 677 | 1450 | 12580 | 5716
2036 | 4065 | 2340 | 4457 | 1391 | 1544 | 2678 | 2711 | 685 | 1477 | 12770 | 5822
2037 | 4124 | 2385 | 4656 | 1396 | 1594 | 2748 | 2795 | 691 | 1495 | 12940 | 5932
2038 | 4196 | 2421 | 4848 | 1402 | 1643 | 2817 | 2863 | 703 | 1532 | 13080 | 6020
2039 | 4265 | 2436 | 5053 | 1414 | 1692 | 2883 | 2930 | 718 | 1547 | 13260 | 6104
2040 | 4348 | 2483 | 5240 | 1421 | 1739 | 2965 | 3001 | 728 | 1563 | 13410 | 6172
2041 | 4423 | 2530 | 5379 | 1428 | 1786 | 3019 | 3077 | 737 | 1576 | 13650 | 6320
2042 | 4482 | 2568 | 5468 | 1437 | 1835 | 3061 | 3128 | 742 | 1597 | 13820 | 6378
2043 | 4548 | 2616 | 5546 | 1443 | 1874 | 3109 | 3197 | 744 | 1621 | 13950 | 6512
2044 | 4615 | 2649 | 5609 | 1451 | 1926 | 3172 | 3249 | 754 | 1653 | 14080 | 6586
2045 | 4673 | 2672 | 5671 | 1455 | 1964 | 3230 | 3294 | 760 | 1676 | 14190 | 6620
2046 | 4715 | 2701 | 5722 | 1459 | 2000 | 3286 | 3370 | 768 | 1700 | 14330 | 6713
2047 | 4784 | 2729 | 5743 | 1464 | 2034 | 3325 | 3433 | 775 | 1727 | 14510 | 6822
2048 | 4826 | 2748 | 5767 | 1467 | 2059 | 3369 | 3486 | 785 | 1734 | 14720 | 6840
2049 | 4855 | 2764 | 5777 | 1471 | 2076 | 3403 | 3531 | 791 | 1746 | 14900 | 6903
2050 | 4886 | 2781 | 5775 | 1476 | 2104 | 3439 | 3567 | 793 | 1759 | 15040 | 6974
2051 | 4915 | 2795 | 5780 | 1478 | 2116 | 3476 | 3600 | 798 | 1770 | 15190 | 7031
2052 | 4940 | 2799 | 5808 | 1483 | 2127 | 3504 | 3609 | 797 | 1778 | 15320 | 7078
2053 | 4978 | 2819 | 5844 | 1488 | 2135 | 3528 | 3618 | 800 | 1784 | 15370 | 7114
2054 | 4996 | 2823 | 5859 | 1488 | 2142 | 3546 | 3628 | 798 | 1789 | 15440 | 7143
2055 | 5006 | 2832 | 5887 | 1492 | 2147 | 3562 | 3650 | 801 | 1793 | 15520 | 7166
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4b-H
Table I-4b-H: Higher Demand Scenario Winter Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2025-26 | 2271 | 1530 | 2524 | 862 | 1360 | 1932 | 1623 | 535 | 951 | 7670 | 3280
2026-27 | 2560 | 1756 | 2667 | 1278 | 1364 | 1948 | 1673 | 540 | 957 | 7790 | 3309
2027-28 | 2700 | 1840 | 2910 | 1498 | 1373 | 1979 | 1724 | 541 | 969 | 7940 | 3377
2028-29 | 2998 | 1856 | 3195 | 1507 | 1389 | 2011 | 1792 | 549 | 1000 | 8170 | 3521
2029-30 | 3122 | 1877 | 3420 | 1509 | 1436 | 2083 | 1816 | 562 | 1015 | 8380 | 3733
2030-31 | 3194 | 1926 | 3694 | 1515 | 1497 | 2173 | 1892 | 580 | 1047 | 8620 | 3941
2031-32 | 3297 | 1988 | 3879 | 1523 | 1564 | 2281 | 1983 | 600 | 1087 | 8950 | 4182
2032-33 | 3428 | 2066 | 4088 | 1534 | 1643 | 2404 | 2090 | 624 | 1133 | 9280 | 4423
2033-34 | 3588 | 2165 | 4311 | 1547 | 1742 | 2573 | 2242 | 651 | 1186 | 9760 | 4726
2034-35 | 3758 | 2264 | 4606 | 1561 | 1839 | 2723 | 2357 | 685 | 1262 | 10120 | 4907
2035-36 | 3947 | 2377 | 4888 | 1575 | 1983 | 2899 | 2499 | 724 | 1338 | 10660 | 5172
2036-37 | 4150 | 2503 | 5175 | 1585 | 2131 | 3109 | 2710 | 763 | 1405 | 11380 | 5513
2037-38 | 4380 | 2635 | 5518 | 1596 | 2314 | 3338 | 2916 | 800 | 1489 | 12100 | 5830
2038-39 | 4644 | 2788 | 5865 | 1616 | 2503 | 3567 | 3107 | 846 | 1568 | 12820 | 6157
2039-40 | 4910 | 2953 | 6187 | 1633 | 2661 | 3816 | 3332 | 892 | 1663 | 13570 | 6560
2040-41 | 5164 | 3101 | 6515 | 1651 | 2820 | 4076 | 3541 | 934 | 1748 | 14320 | 6970
2041-42 | 5437 | 3282 | 6786 | 1673 | 3010 | 4315 | 3775 | 979 | 1838 | 15140 | 7420
2042-43 | 5708 | 3449 | 7032 | 1687 | 3163 | 4572 | 3984 | 1030 | 1936 | 15930 | 7869
2043-44 | 5953 | 3613 | 7256 | 1705 | 3328 | 4791 | 4218 | 1077 | 2034 | 16720 | 8198
2044-45 | 6176 | 3753 | 7432 | 1720 | 3483 | 5016 | 4453 | 1127 | 2122 | 17460 | 8544
2045-46 | 6407 | 3911 | 7557 | 1731 | 3638 | 5252 | 4669 | 1180 | 2213 | 18240 | 8870
2046-47 | 6591 | 4049 | 7750 | 1744 | 3791 | 5479 | 4824 | 1227 | 2291 | 18830 | 9194
2047-48 | 6772 | 4160 | 7882 | 1751 | 3917 | 5648 | 4974 | 1257 | 2350 | 19580 | 9418
2048-49 | 6935 | 4252 | 7981 | 1762 | 4011 | 5804 | 5095 | 1287 | 2403 | 20000 | 9688
2049-50 | 7118 | 4342 | 8099 | 1775 | 4090 | 5978 | 5205 | 1313 | 2466 | 20470 | 9921
2050-51 | 7232 | 4406 | 8215 | 1785 | 4186 | 6122 | 5301 | 1342 | 2522 | 20910 | 10215
2051-52 | 7351 | 4467 | 8266 | 1792 | 4249 | 6221 | 5383 | 1360 | 2568 | 21250 | 10391
2052-53 | 7451 | 4482 | 8298 | 1796 | 4269 | 6270 | 5473 | 1370 | 2586 | 21590 | 10427
2053-54 | 7557 | 4544 | 8354 | 1803 | 4315 | 6327 | 5518 | 1387 | 2630 | 21880 | 10523
2054-55 | 7610 | 4574 | 8393 | 1807 | 4353 | 6370 | 5532 | 1392 | 2645 | 22010 | 10603
2055-56 | 7675 | 4608 | 8444 | 1815 | 4381 | 6409 | 5562 | 1402 | 2661 | 22160 | 10647
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-5-H
Table I-5-H: Higher Demand Scenario - Forecast of Peak Demand in G-to-J Locality
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
G-to-J Locality Summer Peak Demand by Zone - MW | [5 empty] | G-to-J Locality Winter Peak Demand by Zone - MW
Year | G | H | I | J | G-J | Year | G | H | I | J | G-J
2025 | 2304 | 630 | 1339 | 10976 | 15249 | 2025-26 | 1613 | 522 | 941 | 7666 | 10742
2026 | 2345 | 635 | 1346 | 11098 | 15424 | 2026-27 | 1663 | 527 | 947 | 7786 | 10923
2027 | 2377 | 637 | 1355 | 11220 | 15589 | 2027-28 | 1714 | 528 | 959 | 7927 | 11128
2028 | 2405 | 638 | 1365 | 11352 | 15760 | 2028-29 | 1782 | 536 | 990 | 8159 | 11467
2029 | 2411 | 641 | 1374 | 11515 | 15941 | 2029-30 | 1806 | 548 | 1005 | 8370 | 11729
2030 | 2426 | 642 | 1382 | 11698 | 16148 | 2030-31 | 1880 | 566 | 1037 | 8611 | 12094
2031 | 2450 | 648 | 1394 | 11840 | 16332 | 2031-32 | 1971 | 586 | 1077 | 8943 | 12577
2032 | 2484 | 651 | 1404 | 11992 | 16531 | 2032-33 | 2078 | 609 | 1121 | 9275 | 13083
2033 | 2530 | 660 | 1411 | 12155 | 16756 | 2033-34 | 2228 | 635 | 1174 | 9748 | 13785
2034 | 2572 | 666 | 1426 | 12328 | 16992 | 2034-35 | 2343 | 668 | 1249 | 10110 | 14370
2035 | 2640 | 673 | 1441 | 12500 | 17254 | 2035-36 | 2485 | 706 | 1325 | 10654 | 15170
2036 | 2694 | 681 | 1469 | 12694 | 17538 | 2036-37 | 2694 | 744 | 1391 | 11368 | 16197
2037 | 2778 | 687 | 1486 | 12866 | 17817 | 2037-38 | 2898 | 781 | 1474 | 12092 | 17245
2038 | 2845 | 699 | 1522 | 12998 | 18064 | 2038-39 | 3089 | 825 | 1553 | 12806 | 18273
2039 | 2912 | 713 | 1538 | 13181 | 18344 | 2039-40 | 3312 | 871 | 1646 | 13561 | 19390
2040 | 2982 | 724 | 1554 | 13334 | 18594 | 2040-41 | 3519 | 911 | 1731 | 14305 | 20466
2041 | 3058 | 733 | 1566 | 13568 | 18925 | 2041-42 | 3753 | 955 | 1820 | 15120 | 21648
2042 | 3109 | 738 | 1587 | 13740 | 19174 | 2042-43 | 3960 | 1005 | 1916 | 15915 | 22796
2043 | 3177 | 740 | 1611 | 13862 | 19390 | 2043-44 | 4192 | 1051 | 2014 | 16700 | 23957
2044 | 3229 | 749 | 1643 | 13994 | 19615 | 2044-45 | 4427 | 1100 | 2101 | 17444 | 25072
2045 | 3274 | 755 | 1666 | 14106 | 19801 | 2045-46 | 4641 | 1151 | 2191 | 18219 | 26202
2046 | 3349 | 763 | 1690 | 14249 | 20051 | 2046-47 | 4796 | 1197 | 2268 | 18812 | 27073
2047 | 3412 | 770 | 1717 | 14421 | 20320 | 2047-48 | 4944 | 1226 | 2327 | 19557 | 28054
2048 | 3465 | 781 | 1724 | 14635 | 20605 | 2048-49 | 5065 | 1256 | 2379 | 19979 | 28679
2049 | 3509 | 787 | 1736 | 14807 | 20839 | 2049-50 | 5173 | 1281 | 2441 | 20452 | 29347
2050 | 3545 | 789 | 1748 | 14950 | 21032 | 2050-51 | 5269 | 1309 | 2497 | 20885 | 29960
2051 | 3577 | 794 | 1759 | 15102 | 21232 | 2051-52 | 5351 | 1327 | 2543 | 21227 | 30448
2052 | 3587 | 793 | 1767 | 15224 | 21371 | 2052-53 | 5441 | 1337 | 2561 | 21569 | 30908
2053 | 3596 | 795 | 1773 | 15275 | 21439 | 2053-54 | 5484 | 1353 | 2604 | 21860 | 31301
2054 | 3605 | 794 | 1779 | 15346 | 21524 | 2054-55 | 5498 | 1358 | 2618 | 21991 | 31465
2055 | 3627 | 796 | 1783 | 15427 | 21633 | 2055-56 | 5528 | 1368 | 2634 | 22142 | 31672
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-11a-H
Table I-11a-H: Electric Vehicle Stock Forecast - Higher Demand Scenario
Total Number of Electric Vehicles
Number of Electric Vehicles by Type - NYCA
Year | LDV (1) | MHDV (2) | Buses (3) | Total Stock
2025 | 357000 | 6000 | 1000 | 364000
2026 | 484000 | 8000 | 3000 | 495000
2027 | 647000 | 10000 | 5000 | 662000
2028 | 852000 | 14000 | 8000 | 874000
2029 | 1105000 | 19000 | 11000 | 1135000
2030 | 1415000 | 25000 | 13000 | 1453000
2031 | 1790000 | 32000 | 16000 | 1838000
2032 | 2241000 | 41000 | 18000 | 2300000
2033 | 2778000 | 51000 | 21000 | 2850000
2034 | 3416000 | 63000 | 23000 | 3502000
2035 | 4168000 | 76000 | 25000 | 4269000
2036 | 4908000 | 90000 | 26000 | 5024000
2037 | 5631000 | 106000 | 27000 | 5764000
2038 | 6330000 | 123000 | 28000 | 6481000
2039 | 6995000 | 142000 | 28000 | 7165000
2040 | 7620000 | 162000 | 29000 | 7811000
2041 | 8201000 | 182000 | 29000 | 8412000
2042 | 8732000 | 204000 | 30000 | 8966000
2043 | 9212000 | 227000 | 30000 | 9469000
2044 | 9634000 | 251000 | 31000 | 9916000
2045 | 9992000 | 275000 | 31000 | 10298000
2046 | 10281000 | 298000 | 32000 | 10611000
2047 | 10502000 | 320000 | 32000 | 10854000
2048 | 10659000 | 341000 | 33000 | 11033000
2049 | 10761000 | 359000 | 33000 | 11153000
2050 | 10821000 | 377000 | 33000 | 11231000
2051 | 10855000 | 392000 | 34000 | 11281000
2052 | 10875000 | 406000 | 34000 | 11315000
2053 | 10890000 | 418000 | 34000 | 11342000
2054 | 10901000 | 428000 | 34000 | 11363000
2055 | 10910000 | 436000 | 34000 | 11380000
(1) - Light Duty Vehicles, at most 10,000 lb. (Gross Vehicle Weight Rating (GVWR) Vehicle Classes 1 & 2).
(2) - Medium and Heavy Duty Vehicles, greater than 10,000 lb. (GVWR Classes 3-8).
(3) - Includes school and transit buses.
Note: For reference, in 2024 there were approximately 10.6 million LDVs, 450,000 MHDVs,
and 45,000 buses registered in the state, per these classifications.

## I-11b-H
Table I-11b-H: Electric Vehicle Annual Energy Usage - Higher Demand Scenario
Reflects Total Cumulative Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 115 | 102 | 103 | 10 | 60 | 117 | 141 | 42 | 76 | 222 | 365 | 1353
2026 | 158 | 134 | 147 | 14 | 89 | 165 | 196 | 56 | 102 | 305 | 478 | 1844
2027 | 223 | 179 | 213 | 20 | 135 | 233 | 271 | 73 | 135 | 412 | 625 | 2519
2028 | 314 | 239 | 303 | 28 | 200 | 325 | 370 | 94 | 175 | 546 | 810 | 3404
2029 | 433 | 315 | 419 | 39 | 286 | 444 | 495 | 119 | 223 | 710 | 1036 | 4519
2030 | 583 | 409 | 564 | 53 | 395 | 593 | 650 | 148 | 280 | 907 | 1311 | 5893
2031 | 770 | 524 | 744 | 71 | 532 | 777 | 841 | 184 | 349 | 1143 | 1641 | 7576
2032 | 998 | 663 | 962 | 92 | 700 | 1001 | 1071 | 225 | 430 | 1423 | 2033 | 9598
2033 | 1274 | 830 | 1225 | 117 | 904 | 1270 | 1349 | 274 | 525 | 1754 | 2499 | 12021
2034 | 1605 | 1029 | 1539 | 148 | 1149 | 1593 | 1680 | 331 | 637 | 2144 | 3047 | 14902
2035 | 2000 | 1264 | 1912 | 184 | 1442 | 1976 | 2072 | 398 | 766 | 2599 | 3690 | 18303
2036 | 2402 | 1504 | 2293 | 222 | 1741 | 2369 | 2472 | 465 | 897 | 3066 | 4344 | 21775
2037 | 2810 | 1747 | 2680 | 259 | 2044 | 2769 | 2882 | 532 | 1030 | 3539 | 5004 | 25296
2038 | 3221 | 1991 | 3069 | 297 | 2350 | 3172 | 3295 | 599 | 1161 | 4014 | 5662 | 28831
2039 | 3632 | 2233 | 3457 | 335 | 2656 | 3576 | 3708 | 665 | 1291 | 4488 | 6314 | 32355
2040 | 4036 | 2471 | 3841 | 372 | 2957 | 3976 | 4117 | 728 | 1417 | 4956 | 6951 | 35822
2041 | 4432 | 2703 | 4217 | 408 | 3252 | 4369 | 4518 | 789 | 1540 | 5414 | 7570 | 39212
2042 | 4816 | 2928 | 4582 | 443 | 3538 | 4752 | 4909 | 848 | 1657 | 5862 | 8168 | 42503
2043 | 5184 | 3144 | 4933 | 477 | 3812 | 5122 | 5287 | 904 | 1770 | 6298 | 8744 | 45675
2044 | 5533 | 3348 | 5266 | 509 | 4071 | 5475 | 5648 | 957 | 1877 | 6718 | 9291 | 48693
2045 | 5858 | 3539 | 5580 | 538 | 4312 | 5809 | 5988 | 1005 | 1978 | 7117 | 9804 | 51528
2046 | 6147 | 3708 | 5858 | 564 | 4525 | 6107 | 6295 | 1049 | 2067 | 7479 | 10261 | 54060
2047 | 6396 | 3855 | 6100 | 586 | 4709 | 6369 | 6566 | 1087 | 2146 | 7801 | 10662 | 56277
2048 | 6608 | 3981 | 6306 | 604 | 4864 | 6595 | 6802 | 1119 | 2213 | 8085 | 11007 | 58184
2049 | 6786 | 4088 | 6481 | 619 | 4993 | 6789 | 7006 | 1147 | 2271 | 8333 | 11302 | 59815
2050 | 6936 | 4178 | 6630 | 632 | 5101 | 6956 | 7185 | 1170 | 2321 | 8552 | 11555 | 61216
2051 | 7014 | 4225 | 6709 | 637 | 5155 | 7052 | 7288 | 1181 | 2346 | 8685 | 11688 | 61980
2052 | 7075 | 4263 | 6773 | 642 | 5197 | 7132 | 7377 | 1190 | 2367 | 8800 | 11798 | 62614
2053 | 7125 | 4295 | 6826 | 645 | 5230 | 7199 | 7455 | 1198 | 2385 | 8901 | 11891 | 63150
2054 | 7164 | 4320 | 6868 | 647 | 5256 | 7256 | 7524 | 1204 | 2400 | 8991 | 11968 | 63598
2055 | 7193 | 4341 | 6900 | 649 | 5274 | 7303 | 7584 | 1210 | 2412 | 9069 | 12031 | 63966

## I-11c-H
Table I-11c-H: Electric Vehicle Summer Coincident Peak Demand - Higher Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 15 | 14 | 19 | 2 | 9 | 20 | 23 | 5 | 14 | 28 | 41 | 190
2026 | 22 | 22 | 21 | 2 | 12 | 30 | 29 | 7 | 17 | 42 | 78 | 282
2027 | 36 | 29 | 27 | 3 | 18 | 36 | 44 | 10 | 19 | 58 | 100 | 380
2028 | 51 | 39 | 43 | 5 | 31 | 53 | 63 | 14 | 27 | 84 | 133 | 543
2029 | 69 | 51 | 66 | 7 | 49 | 69 | 75 | 20 | 38 | 102 | 171 | 717
2030 | 96 | 66 | 90 | 9 | 63 | 103 | 89 | 23 | 47 | 144 | 227 | 957
2031 | 120 | 88 | 110 | 11 | 85 | 133 | 118 | 30 | 59 | 168 | 267 | 1189
2032 | 163 | 106 | 146 | 15 | 111 | 170 | 167 | 36 | 70 | 209 | 320 | 1513
2033 | 199 | 133 | 190 | 19 | 155 | 211 | 227 | 48 | 79 | 264 | 361 | 1886
2034 | 255 | 164 | 259 | 24 | 191 | 245 | 271 | 58 | 98 | 336 | 468 | 2369
2035 | 301 | 194 | 327 | 30 | 245 | 313 | 333 | 67 | 112 | 415 | 574 | 2911
2036 | 372 | 239 | 358 | 37 | 282 | 365 | 404 | 72 | 137 | 490 | 694 | 3450
2037 | 444 | 282 | 410 | 43 | 326 | 422 | 446 | 82 | 161 | 561 | 837 | 4014
2038 | 493 | 300 | 475 | 48 | 359 | 500 | 513 | 92 | 178 | 633 | 918 | 4509
2039 | 559 | 345 | 536 | 53 | 384 | 565 | 585 | 101 | 200 | 677 | 989 | 4994
2040 | 625 | 389 | 572 | 58 | 431 | 618 | 634 | 111 | 208 | 765 | 1106 | 5517
2041 | 683 | 426 | 648 | 63 | 480 | 700 | 664 | 125 | 228 | 843 | 1208 | 6068
2042 | 731 | 447 | 702 | 69 | 517 | 768 | 750 | 130 | 246 | 898 | 1237 | 6495
2043 | 808 | 504 | 752 | 74 | 572 | 816 | 811 | 134 | 264 | 931 | 1360 | 7026
2044 | 874 | 539 | 793 | 79 | 628 | 866 | 849 | 141 | 282 | 992 | 1450 | 7493
2045 | 930 | 545 | 871 | 84 | 664 | 896 | 901 | 146 | 303 | 1033 | 1483 | 7856
2046 | 959 | 557 | 907 | 86 | 703 | 929 | 973 | 147 | 322 | 1056 | 1534 | 8173
2047 | 998 | 587 | 947 | 87 | 712 | 959 | 1019 | 157 | 334 | 1104 | 1650 | 8554
2048 | 1023 | 591 | 964 | 88 | 735 | 983 | 1060 | 166 | 344 | 1176 | 1665 | 8795
2049 | 1032 | 604 | 981 | 89 | 750 | 1002 | 1092 | 168 | 352 | 1229 | 1720 | 9019
2050 | 1046 | 633 | 995 | 90 | 772 | 1017 | 1118 | 170 | 358 | 1284 | 1789 | 9272
2051 | 1073 | 641 | 1006 | 91 | 783 | 1029 | 1137 | 174 | 363 | 1322 | 1790 | 9409
2052 | 1097 | 645 | 1015 | 92 | 809 | 1039 | 1152 | 177 | 367 | 1356 | 1794 | 9543
2053 | 1117 | 652 | 1022 | 93 | 817 | 1047 | 1164 | 179 | 370 | 1383 | 1835 | 9679
2054 | 1133 | 658 | 1028 | 94 | 822 | 1053 | 1174 | 181 | 372 | 1405 | 1867 | 9787
2055 | 1146 | 663 | 1033 | 95 | 823 | 1058 | 1182 | 183 | 374 | 1423 | 1910 | 9890
Note: The higher demand scenario electric vehicle peak forecast assumes a lower share of managed charging relative to the baseline forecast.

## I-11d-H
Table I-11d-H: Electric Vehicle Winter Coincident Peak Demand - Higher Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 35 | 32 | 35 | 3 | 19 | 38 | 44 | 11 | 17 | 69 | 111 | 414
2026-27 | 52 | 42 | 43 | 5 | 32 | 49 | 57 | 14 | 25 | 87 | 137 | 543
2027-28 | 71 | 55 | 62 | 6 | 43 | 67 | 77 | 17 | 35 | 112 | 160 | 705
2028-29 | 92 | 63 | 86 | 8 | 58 | 93 | 99 | 22 | 48 | 153 | 215 | 937
2029-30 | 122 | 84 | 125 | 10 | 78 | 128 | 140 | 29 | 59 | 185 | 253 | 1213
2030-31 | 146 | 103 | 162 | 15 | 110 | 169 | 183 | 37 | 73 | 238 | 337 | 1573
2031-32 | 204 | 140 | 215 | 19 | 152 | 216 | 242 | 48 | 91 | 305 | 437 | 2069
2032-33 | 261 | 171 | 266 | 25 | 196 | 275 | 295 | 56 | 104 | 393 | 551 | 2593
2033-34 | 345 | 224 | 344 | 33 | 228 | 336 | 372 | 69 | 131 | 425 | 658 | 3165
2034-35 | 402 | 271 | 418 | 40 | 269 | 421 | 444 | 85 | 160 | 492 | 735 | 3737
2035-36 | 489 | 320 | 492 | 49 | 344 | 490 | 498 | 101 | 198 | 601 | 834 | 4416
2036-37 | 564 | 371 | 570 | 54 | 405 | 561 | 587 | 118 | 223 | 715 | 967 | 5135
2037-38 | 642 | 413 | 632 | 61 | 487 | 650 | 674 | 129 | 251 | 835 | 1080 | 5854
2038-39 | 736 | 460 | 700 | 70 | 571 | 728 | 745 | 141 | 268 | 942 | 1217 | 6578
2039-40 | 828 | 513 | 775 | 75 | 618 | 812 | 836 | 151 | 292 | 1011 | 1401 | 7312
2040-41 | 907 | 554 | 866 | 83 | 670 | 914 | 918 | 159 | 311 | 1116 | 1565 | 8063
2041-42 | 987 | 614 | 933 | 92 | 738 | 972 | 1009 | 165 | 326 | 1203 | 1705 | 8744
2042-43 | 1064 | 660 | 1018 | 98 | 769 | 1053 | 1073 | 177 | 350 | 1295 | 1882 | 9439
2043-44 | 1119 | 707 | 1092 | 104 | 814 | 1096 | 1159 | 188 | 378 | 1369 | 1956 | 9982
2044-45 | 1166 | 743 | 1152 | 111 | 866 | 1166 | 1250 | 203 | 404 | 1454 | 2025 | 10540
2045-46 | 1214 | 788 | 1166 | 115 | 905 | 1232 | 1305 | 219 | 427 | 1504 | 2050 | 10925
2046-47 | 1241 | 814 | 1230 | 121 | 945 | 1293 | 1325 | 231 | 435 | 1558 | 2096 | 11289
2047-48 | 1263 | 839 | 1267 | 124 | 984 | 1332 | 1354 | 233 | 445 | 1634 | 2157 | 11632
2048-49 | 1302 | 851 | 1282 | 126 | 1004 | 1374 | 1392 | 238 | 449 | 1660 | 2236 | 11914
2049-50 | 1345 | 855 | 1289 | 128 | 1009 | 1417 | 1410 | 240 | 457 | 1681 | 2271 | 12102
2050-51 | 1351 | 858 | 1312 | 130 | 1028 | 1451 | 1428 | 242 | 464 | 1692 | 2380 | 12336
2051-52 | 1392 | 860 | 1330 | 132 | 1043 | 1478 | 1461 | 244 | 477 | 1728 | 2416 | 12561
2052-53 | 1440 | 862 | 1344 | 134 | 1055 | 1500 | 1479 | 246 | 484 | 1735 | 2417 | 12696
2053-54 | 1478 | 864 | 1355 | 136 | 1065 | 1518 | 1480 | 248 | 490 | 1746 | 2419 | 12799
2054-55 | 1508 | 866 | 1364 | 138 | 1073 | 1532 | 1487 | 250 | 495 | 1765 | 2429 | 12907
2055-56 | 1532 | 868 | 1371 | 140 | 1079 | 1543 | 1493 | 252 | 499 | 1785 | 2433 | 12995
Note: The higher demand scenario electric vehicle peak forecast assumes a lower share of managed charging relative to the baseline forecast.

## I-13a-H
Table I-13a-H: Building Electrification Annual Energy Usage - Higher Demand Scenario
Reflects Cumulative Future Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 77 | 45 | 58 | 4 | 39 | 55 | 45 | 11 | 23 | 200 | 94 | 651
2026 | 169 | 98 | 127 | 8 | 86 | 120 | 98 | 25 | 50 | 494 | 208 | 1483
2027 | 277 | 161 | 209 | 13 | 141 | 197 | 162 | 41 | 83 | 830 | 341 | 2455
2028 | 402 | 234 | 303 | 19 | 205 | 286 | 236 | 60 | 120 | 1213 | 495 | 3573
2029 | 545 | 317 | 411 | 26 | 278 | 388 | 320 | 81 | 163 | 1637 | 672 | 4838
2030 | 711 | 414 | 536 | 34 | 363 | 506 | 417 | 106 | 213 | 2068 | 875 | 6243
2031 | 901 | 525 | 679 | 43 | 460 | 642 | 529 | 135 | 270 | 2559 | 1110 | 7853
2032 | 1119 | 653 | 844 | 53 | 572 | 798 | 659 | 168 | 336 | 3125 | 1379 | 9706
2033 | 1367 | 798 | 1032 | 65 | 699 | 977 | 806 | 206 | 411 | 3767 | 1686 | 11814
2034 | 1648 | 963 | 1245 | 78 | 843 | 1178 | 973 | 248 | 495 | 4391 | 2033 | 14095
2035 | 1963 | 1148 | 1483 | 93 | 1004 | 1404 | 1159 | 296 | 589 | 5101 | 2421 | 16661
2036 | 2309 | 1351 | 1744 | 110 | 1181 | 1653 | 1363 | 348 | 693 | 5984 | 2848 | 19584
2037 | 2686 | 1574 | 2029 | 127 | 1373 | 1925 | 1588 | 406 | 806 | 6944 | 3314 | 22772
2038 | 3094 | 1814 | 2338 | 147 | 1582 | 2219 | 1832 | 468 | 928 | 7981 | 3818 | 26221
2039 | 3530 | 2071 | 2669 | 167 | 1804 | 2533 | 2093 | 535 | 1059 | 9090 | 4357 | 29908
2040 | 3987 | 2341 | 3015 | 188 | 2038 | 2865 | 2368 | 605 | 1197 | 10250 | 4923 | 33777
2041 | 4457 | 2619 | 3370 | 210 | 2278 | 3205 | 2651 | 678 | 1339 | 11440 | 5505 | 37752
2042 | 4935 | 2902 | 3731 | 232 | 2520 | 3550 | 2940 | 751 | 1483 | 12652 | 6096 | 41792
2043 | 5405 | 3182 | 4088 | 254 | 2759 | 3892 | 3227 | 824 | 1625 | 13852 | 6681 | 45789
2044 | 5864 | 3455 | 4436 | 275 | 2993 | 4226 | 3509 | 896 | 1765 | 15030 | 7254 | 49703
2045 | 6301 | 3715 | 4768 | 295 | 3214 | 4545 | 3779 | 964 | 1898 | 16151 | 7801 | 53431
2046 | 6710 | 3961 | 5080 | 313 | 3422 | 4846 | 4036 | 1029 | 2024 | 17218 | 8316 | 56955
2047 | 7086 | 4187 | 5368 | 330 | 3612 | 5125 | 4275 | 1089 | 2141 | 18208 | 8792 | 60213
2048 | 7427 | 4392 | 5629 | 345 | 3784 | 5377 | 4493 | 1144 | 2248 | 19124 | 9228 | 63191
2049 | 7727 | 4574 | 5857 | 357 | 3933 | 5599 | 4688 | 1192 | 2342 | 19929 | 9610 | 65808
2050 | 7998 | 4740 | 6065 | 369 | 4069 | 5803 | 4868 | 1237 | 2429 | 20686 | 9956 | 68220
2051 | 8193 | 4860 | 6214 | 377 | 4167 | 5949 | 4994 | 1269 | 2489 | 21177 | 10200 | 69889
2052 | 8356 | 4960 | 6338 | 384 | 4248 | 6073 | 5101 | 1295 | 2540 | 21599 | 10406 | 71300
2053 | 8482 | 5040 | 6435 | 389 | 4312 | 6170 | 5187 | 1317 | 2580 | 21929 | 10567 | 72408
2054 | 8580 | 5103 | 6513 | 392 | 4360 | 6250 | 5256 | 1334 | 2612 | 22201 | 10696 | 73297
2055 | 8655 | 5151 | 6570 | 395 | 4396 | 6310 | 5312 | 1347 | 2637 | 22417 | 10795 | 73985
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13b-H
Table I-13b-H: Building Electrification Summer Coincident Peak Demand - Higher Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 3 | 2 | 2 | 0 | 1 | 2 | 2 | 1 | 1 | 14 | 5 | 33
2026 | 7 | 4 | 6 | 0 | 3 | 6 | 5 | 1 | 3 | 31 | 12 | 78
2027 | 11 | 7 | 10 | 1 | 6 | 9 | 9 | 2 | 5 | 51 | 20 | 131
2028 | 16 | 10 | 14 | 1 | 8 | 14 | 13 | 3 | 7 | 74 | 27 | 187
2029 | 22 | 14 | 20 | 1 | 11 | 19 | 17 | 4 | 9 | 101 | 34 | 252
2030 | 28 | 18 | 26 | 1 | 15 | 24 | 22 | 5 | 12 | 130 | 42 | 323
2031 | 35 | 22 | 32 | 2 | 19 | 30 | 28 | 6 | 15 | 162 | 53 | 404
2032 | 43 | 27 | 39 | 2 | 23 | 37 | 34 | 7 | 18 | 198 | 64 | 492
2033 | 51 | 32 | 47 | 2 | 27 | 45 | 41 | 8 | 21 | 238 | 77 | 589
2034 | 60 | 38 | 55 | 3 | 32 | 53 | 49 | 10 | 25 | 281 | 91 | 697
2035 | 70 | 44 | 64 | 3 | 38 | 62 | 57 | 11 | 29 | 327 | 106 | 811
2036 | 81 | 51 | 74 | 4 | 43 | 71 | 66 | 13 | 34 | 376 | 122 | 935
2037 | 95 | 59 | 84 | 5 | 50 | 80 | 74 | 15 | 39 | 429 | 134 | 1064
2038 | 105 | 65 | 93 | 5 | 56 | 89 | 83 | 17 | 44 | 478 | 150 | 1185
2039 | 120 | 74 | 103 | 6 | 64 | 97 | 92 | 19 | 49 | 532 | 163 | 1319
2040 | 130 | 80 | 113 | 6 | 69 | 107 | 100 | 21 | 54 | 580 | 178 | 1438
2041 | 145 | 88 | 122 | 7 | 77 | 114 | 108 | 23 | 59 | 632 | 189 | 1564
2042 | 150 | 92 | 130 | 7 | 80 | 124 | 117 | 24 | 62 | 671 | 205 | 1662
2043 | 159 | 98 | 138 | 8 | 84 | 131 | 124 | 26 | 66 | 711 | 218 | 1763
2044 | 162 | 101 | 145 | 8 | 87 | 140 | 132 | 26 | 67 | 743 | 234 | 1845
2045 | 171 | 106 | 150 | 8 | 89 | 143 | 138 | 28 | 69 | 786 | 246 | 1934
2046 | 172 | 109 | 156 | 8 | 91 | 150 | 144 | 28 | 70 | 810 | 259 | 1997
2047 | 178 | 112 | 161 | 8 | 94 | 156 | 149 | 29 | 72 | 837 | 268 | 2064
2048 | 183 | 115 | 165 | 9 | 96 | 161 | 154 | 30 | 74 | 861 | 276 | 2124
2049 | 187 | 118 | 170 | 9 | 99 | 165 | 158 | 31 | 76 | 882 | 282 | 2177
2050 | 192 | 121 | 172 | 9 | 108 | 171 | 160 | 31 | 80 | 908 | 287 | 2239
2051 | 196 | 124 | 175 | 9 | 110 | 174 | 161 | 32 | 82 | 925 | 292 | 2280
2052 | 199 | 126 | 178 | 9 | 111 | 177 | 162 | 32 | 83 | 940 | 297 | 2314
2053 | 204 | 129 | 180 | 10 | 118 | 180 | 163 | 33 | 85 | 971 | 301 | 2374
2054 | 210 | 132 | 181 | 10 | 126 | 182 | 164 | 33 | 87 | 1000 | 305 | 2430
2055 | 214 | 134 | 182 | 10 | 131 | 183 | 165 | 33 | 87 | 1017 | 307 | 2463
Note: Reflects end-use electrification of space conditioning, water heating, cooking, and other end-uses.

## I-13c-H
Table I-13c-H: Building Electrification Winter Coincident Peak Demand - Higher Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 30 | 19 | 22 | 2 | 17 | 25 | 20 | 4 | 8 | 70 | 28 | 245
2026-27 | 50 | 31 | 37 | 3 | 28 | 41 | 33 | 7 | 13 | 165 | 45 | 453
2027-28 | 72 | 45 | 53 | 4 | 41 | 59 | 58 | 10 | 25 | 267 | 70 | 704
2028-29 | 104 | 65 | 76 | 7 | 60 | 85 | 102 | 17 | 48 | 432 | 114 | 1110
2029-30 | 149 | 92 | 110 | 9 | 92 | 132 | 105 | 30 | 57 | 609 | 208 | 1593
2030-31 | 212 | 132 | 157 | 12 | 132 | 188 | 151 | 44 | 81 | 828 | 297 | 2234
2031-32 | 290 | 181 | 215 | 17 | 181 | 258 | 207 | 60 | 111 | 1097 | 406 | 3023
2032-33 | 378 | 236 | 280 | 22 | 236 | 336 | 270 | 78 | 145 | 1401 | 528 | 3910
2033-34 | 483 | 306 | 360 | 28 | 311 | 444 | 366 | 99 | 180 | 1836 | 729 | 5142
2034-35 | 598 | 375 | 445 | 35 | 375 | 534 | 430 | 125 | 231 | 2170 | 840 | 6158
2035-36 | 729 | 457 | 542 | 43 | 457 | 652 | 524 | 153 | 282 | 2626 | 1024 | 7489
2036-37 | 864 | 549 | 646 | 51 | 557 | 799 | 656 | 179 | 325 | 3215 | 1307 | 9148
2037-38 | 1029 | 653 | 768 | 61 | 663 | 953 | 782 | 213 | 387 | 3812 | 1555 | 10876
2038-39 | 1203 | 765 | 898 | 71 | 774 | 1113 | 913 | 249 | 452 | 4433 | 1812 | 12683
2039-40 | 1387 | 883 | 1038 | 82 | 894 | 1287 | 1056 | 288 | 523 | 5117 | 2097 | 14652
2040-41 | 1571 | 1000 | 1175 | 93 | 1011 | 1459 | 1197 | 327 | 593 | 5787 | 2374 | 16587
2041-42 | 1777 | 1133 | 1331 | 105 | 1144 | 1653 | 1356 | 371 | 673 | 6541 | 2691 | 18775
2042-43 | 1979 | 1263 | 1482 | 117 | 1273 | 1841 | 1512 | 414 | 750 | 7277 | 2997 | 20905
2043-44 | 2175 | 1387 | 1628 | 128 | 1398 | 2026 | 1666 | 455 | 824 | 7992 | 3293 | 22972
2044-45 | 2361 | 1507 | 1768 | 138 | 1516 | 2198 | 1810 | 495 | 895 | 8677 | 3573 | 24938
2045-46 | 2555 | 1634 | 1916 | 149 | 1642 | 2383 | 1964 | 537 | 971 | 9400 | 3876 | 27027
2046-47 | 2726 | 1745 | 2045 | 159 | 1752 | 2545 | 2100 | 574 | 1037 | 10037 | 4139 | 28859
2047-48 | 2882 | 1847 | 2164 | 168 | 1851 | 2694 | 2226 | 608 | 1098 | 10621 | 4379 | 30538
2048-49 | 3009 | 1928 | 2258 | 175 | 1929 | 2812 | 2327 | 635 | 1146 | 11094 | 4567 | 31880
2049-50 | 3148 | 2020 | 2362 | 182 | 2015 | 2940 | 2437 | 664 | 1198 | 11589 | 4769 | 33324
2050-51 | 3259 | 2094 | 2448 | 188 | 2088 | 3051 | 2533 | 690 | 1244 | 12049 | 4954 | 34598
2051-52 | 3342 | 2150 | 2511 | 192 | 2141 | 3132 | 2602 | 709 | 1278 | 12371 | 5086 | 35514
2052-53 | 3399 | 2187 | 2552 | 195 | 2174 | 3186 | 2650 | 721 | 1300 | 12587 | 5167 | 36118
2053-54 | 3470 | 2237 | 2609 | 199 | 2222 | 3258 | 2712 | 738 | 1330 | 12869 | 5287 | 36931
2054-55 | 3508 | 2261 | 2637 | 201 | 2245 | 3300 | 2747 | 747 | 1345 | 13018 | 5346 | 37355
2055-56 | 3549 | 2290 | 2667 | 203 | 2266 | 3333 | 2778 | 755 | 1359 | 13148 | 5391 | 37739
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13d
Table I-13d: Electrification Impacts by Scenario
Reflects Cumulative Impacts
NYCA Annual Energy Usage - GWh
Year | Baseline Forecast |  |  | Lower Demand Scenario |  |  | Higher Demand Scenario
| EV | Building | Total | EV | Building | Total | EV | Building | Total
2025 | 1353 | 411 | 1764 | 1353 | 359 | 1712 | 1353 | 651 | 2004
2026 | 1796 | 1177 | 2973 | 1724 | 972 | 2696 | 1844 | 1483 | 3327
2027 | 2383 | 1979 | 4362 | 2178 | 1566 | 3744 | 2519 | 2455 | 4974
2028 | 3133 | 2971 | 6104 | 2725 | 2232 | 4957 | 3404 | 3573 | 6977
2029 | 4067 | 3998 | 8065 | 3381 | 2949 | 6330 | 4519 | 4838 | 9357
2030 | 5208 | 5038 | 10246 | 4152 | 3746 | 7898 | 5893 | 6243 | 12136
2031 | 6579 | 6097 | 12676 | 5035 | 4631 | 9666 | 7576 | 7853 | 15429
2032 | 8209 | 7235 | 15444 | 6038 | 5622 | 11660 | 9598 | 9706 | 19304
2033 | 10128 | 8447 | 18575 | 7158 | 6717 | 13875 | 12021 | 11814 | 23835
2034 | 12373 | 9844 | 22217 | 8411 | 7920 | 16331 | 14902 | 14095 | 28997
2035 | 14984 | 11352 | 26336 | 9780 | 9234 | 19014 | 18303 | 16661 | 34964
2036 | 17663 | 13623 | 31286 | 11263 | 10638 | 21901 | 21775 | 19584 | 41359
2037 | 20392 | 16245 | 36637 | 12852 | 12136 | 24988 | 25296 | 22772 | 48068
2038 | 23142 | 19123 | 42265 | 14532 | 13737 | 28269 | 28831 | 26221 | 55052
2039 | 25889 | 21874 | 47763 | 16294 | 15440 | 31734 | 32355 | 29908 | 62263
2040 | 28607 | 24647 | 53254 | 18126 | 17235 | 35361 | 35822 | 33777 | 69599
2041 | 31277 | 27103 | 58380 | 20034 | 19101 | 39135 | 39212 | 37752 | 76964
2042 | 33891 | 29404 | 63295 | 22023 | 21050 | 43073 | 42503 | 41792 | 84295
2043 | 36433 | 31573 | 68006 | 24100 | 23039 | 47139 | 45675 | 45789 | 91464
2044 | 38883 | 33657 | 72540 | 26257 | 25069 | 51326 | 48693 | 49703 | 98396
2045 | 41213 | 35407 | 76620 | 28456 | 27098 | 55554 | 51528 | 53431 | 104959
2046 | 43328 | 36990 | 80318 | 30649 | 29149 | 59798 | 54060 | 56955 | 111015
2047 | 45215 | 38438 | 83653 | 32806 | 31184 | 63990 | 56277 | 60213 | 116490
2048 | 46873 | 39974 | 86847 | 34895 | 32801 | 67696 | 58184 | 63191 | 121375
2049 | 48311 | 41230 | 89541 | 36902 | 34332 | 71234 | 59815 | 65808 | 125623
2050 | 49535 | 42855 | 92390 | 38807 | 35851 | 74658 | 61216 | 68220 | 129436
2051 | 50351 | 43889 | 94240 | 40265 | 37032 | 77297 | 61980 | 69889 | 131869
2052 | 50907 | 44931 | 95838 | 41574 | 38167 | 79741 | 62614 | 71300 | 133914
2053 | 51378 | 45766 | 97144 | 42730 | 39183 | 81913 | 63150 | 72408 | 135558
2054 | 51742 | 46577 | 98319 | 43733 | 40134 | 83867 | 63598 | 73297 | 136895
2055 | 51978 | 47333 | 99311 | 44582 | 41000 | 85582 | 63966 | 73985 | 137951
Note: Electric Vehicle annual energy usage from Tables I-1b, I-11b, I-15a, and I-16a.
Includes light duty vehicles, medium and heavy duty vechiles, and buses.
Note: Building electrification annual energy usage from Tables I-1b, I-13a, I-15a, and I-16a.
Includes electrification of space heating, water heating, cooking, and other end uses.

## I-14-H
Table I-14-H: Large Load Forecast - Higher Demand Scenario
Reflects Cumulative Existing and Future Load Impacts of Large Load Projects
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 1930 | 40 | 0 | 1330 | 90 | 0 | 320 | 0 | 0 | 0 | 0 | 3710
2026 | 3420 | 750 | 810 | 3980 | 110 | 0 | 600 | 0 | 0 | 0 | 0 | 9670
2027 | 4520 | 1820 | 2320 | 5710 | 190 | 320 | 750 | 0 | 0 | 0 | 10 | 15640
2028 | 5890 | 2180 | 4000 | 6120 | 290 | 390 | 830 | 0 | 0 | 0 | 130 | 19830
2029 | 7180 | 2180 | 5820 | 6120 | 380 | 480 | 850 | 0 | 0 | 0 | 540 | 23550
2030 | 7550 | 2180 | 7550 | 6120 | 500 | 560 | 870 | 0 | 0 | 0 | 1120 | 26450
2031 | 7550 | 2180 | 8350 | 6120 | 550 | 660 | 890 | 0 | 0 | 0 | 1540 | 27840
2032 | 7550 | 2180 | 9160 | 6120 | 550 | 740 | 930 | 0 | 0 | 0 | 1870 | 29100
2033 | 7550 | 2180 | 9960 | 6120 | 550 | 820 | 950 | 0 | 0 | 0 | 2090 | 30220
2034 | 7550 | 2180 | 10510 | 6120 | 550 | 870 | 990 | 0 | 0 | 0 | 2170 | 30940
2035 | 7550 | 2180 | 11320 | 6120 | 550 | 880 | 1030 | 0 | 0 | 0 | 2200 | 31830
2036 | 7550 | 2180 | 12110 | 6120 | 550 | 880 | 1040 | 0 | 0 | 0 | 2210 | 32640
2037 | 7550 | 2180 | 13110 | 6120 | 550 | 880 | 1070 | 0 | 0 | 0 | 2220 | 33680
2038 | 7550 | 2180 | 14450 | 6120 | 550 | 880 | 1090 | 0 | 0 | 0 | 2220 | 35040
2039 | 7550 | 2180 | 15480 | 6120 | 550 | 880 | 1110 | 0 | 0 | 0 | 2220 | 36090
2040 | 7550 | 2180 | 16290 | 6120 | 550 | 880 | 1110 | 0 | 0 | 0 | 2220 | 36900
2041 | 7550 | 2180 | 17100 | 6120 | 550 | 880 | 1110 | 0 | 0 | 0 | 2220 | 37710
2042 | 7550 | 2180 | 17500 | 6120 | 550 | 880 | 1110 | 0 | 0 | 0 | 2220 | 38110
2043 | 7550 | 2180 | 17700 | 6120 | 550 | 880 | 1110 | 0 | 0 | 0 | 2220 | 38310
2044 | 7550 | 2180 | 17770 | 6120 | 550 | 880 | 1110 | 0 | 0 | 0 | 2220 | 38380
Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 250 | 5 | 0 | 166 | 13 | 0 | 32 | 0 | 0 | 0 | 0 | 466
2026 | 510 | 150 | 132 | 518 | 15 | 0 | 72 | 0 | 0 | 0 | 0 | 1397
2027 | 620 | 300 | 366 | 797 | 30 | 40 | 93 | 0 | 0 | 0 | 5 | 2251
2028 | 840 | 300 | 586 | 797 | 41 | 55 | 104 | 0 | 0 | 0 | 34 | 2757
2029 | 990 | 300 | 840 | 801 | 54 | 65 | 107 | 0 | 0 | 0 | 78 | 3235
2030 | 990 | 300 | 1051 | 801 | 70 | 75 | 110 | 0 | 0 | 0 | 135 | 3532
2031 | 990 | 300 | 1166 | 801 | 70 | 90 | 113 | 0 | 0 | 0 | 185 | 3715
2032 | 990 | 300 | 1281 | 801 | 70 | 100 | 117 | 0 | 0 | 0 | 229 | 3888
2033 | 990 | 300 | 1396 | 801 | 70 | 110 | 120 | 0 | 0 | 0 | 259 | 4046
2034 | 990 | 300 | 1497 | 801 | 70 | 115 | 124 | 0 | 0 | 0 | 271 | 4168
2035 | 990 | 300 | 1622 | 801 | 70 | 115 | 129 | 0 | 0 | 0 | 275 | 4302
2036 | 990 | 300 | 1742 | 801 | 70 | 115 | 132 | 0 | 0 | 0 | 277 | 4427
2037 | 990 | 300 | 1896 | 801 | 70 | 115 | 135 | 0 | 0 | 0 | 278 | 4585
2038 | 990 | 300 | 2107 | 801 | 70 | 115 | 138 | 0 | 0 | 0 | 279 | 4800
2039 | 990 | 300 | 2222 | 801 | 70 | 115 | 141 | 0 | 0 | 0 | 280 | 4919
2040 | 990 | 300 | 2337 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 280 | 5035
2041 | 990 | 300 | 2452 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 280 | 5150
2042 | 990 | 300 | 2481 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 280 | 5179
2043 | 990 | 300 | 2510 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 280 | 5208
2044 | 990 | 300 | 2510 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 280 | 5208
Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 250 | 5 | 0 | 177 | 14 | 0 | 32 | 0 | 0 | 0 | 0 | 478
2026-27 | 530 | 225 | 132 | 582 | 23 | 0 | 72 | 0 | 0 | 0 | 0 | 1564
2027-28 | 655 | 300 | 366 | 797 | 36 | 40 | 93 | 0 | 0 | 0 | 17 | 2304
2028-29 | 915 | 300 | 636 | 801 | 48 | 60 | 104 | 0 | 0 | 0 | 90 | 2954
2029-30 | 990 | 300 | 840 | 801 | 62 | 70 | 107 | 0 | 0 | 0 | 174 | 3344
2030-31 | 990 | 300 | 1051 | 801 | 70 | 83 | 110 | 0 | 0 | 0 | 236 | 3641
2031-32 | 990 | 300 | 1166 | 801 | 70 | 95 | 113 | 0 | 0 | 0 | 281 | 3816
2032-33 | 990 | 300 | 1281 | 801 | 70 | 105 | 117 | 0 | 0 | 0 | 315 | 3979
2033-34 | 990 | 300 | 1396 | 801 | 70 | 113 | 120 | 0 | 0 | 0 | 334 | 4124
2034-35 | 990 | 300 | 1545 | 801 | 70 | 115 | 124 | 0 | 0 | 0 | 342 | 4287
2035-36 | 990 | 300 | 1682 | 801 | 70 | 115 | 129 | 0 | 0 | 0 | 344 | 4431
2036-37 | 990 | 300 | 1819 | 801 | 70 | 115 | 132 | 0 | 0 | 0 | 345 | 4572
2037-38 | 990 | 300 | 2002 | 801 | 70 | 115 | 135 | 0 | 0 | 0 | 346 | 4759
2038-39 | 990 | 300 | 2165 | 801 | 70 | 115 | 138 | 0 | 0 | 0 | 346 | 4925
2039-40 | 990 | 300 | 2280 | 801 | 70 | 115 | 141 | 0 | 0 | 0 | 346 | 5043
2040-41 | 990 | 300 | 2395 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 346 | 5159
2041-42 | 990 | 300 | 2467 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 346 | 5231
2042-43 | 990 | 300 | 2496 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 346 | 5260
2043-44 | 990 | 300 | 2510 | 801 | 70 | 115 | 142 | 0 | 0 | 0 | 346 | 5274
Notes:
Forecasts for 2044 onward match the final year forecasts in these tables.
These forecast values are embedded in the final annual energy, summer peak, and winter peak demand forecasts.
Table IV-7 lists the NYISO Interconnection Queue information for proposed interconnecting large loads. These forecast tables do not necessarily reflect the proposed date and MW values listed in Table IV-7, and include impacts for load projects not listed in the NYISO Interconnection Queue as of March 15, 2025.

## I-22-H
Table I-22-H: Higher Demand Scenario Electrolysis Forecast
Impacts from Clean Hydrogen Production
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 100 | 50 | 200 | 50 | 150 | 50 | 0 | 0 | 0 | 0 | 0 | 600
2030 | 250 | 150 | 500 | 100 | 300 | 150 | 100 | 0 | 0 | 0 | 0 | 1550
2031 | 400 | 200 | 750 | 150 | 450 | 200 | 150 | 0 | 0 | 0 | 0 | 2300
2032 | 550 | 300 | 1000 | 200 | 650 | 300 | 200 | 0 | 0 | 0 | 0 | 3200
2033 | 700 | 350 | 1250 | 250 | 800 | 350 | 250 | 0 | 0 | 0 | 0 | 3950
2034 | 850 | 450 | 1500 | 300 | 950 | 450 | 300 | 0 | 0 | 0 | 0 | 4800
2035 | 1000 | 550 | 1750 | 400 | 1150 | 550 | 350 | 0 | 0 | 0 | 0 | 5750
2036 | 1250 | 650 | 2150 | 450 | 1400 | 650 | 400 | 0 | 0 | 0 | 0 | 6950
2037 | 1550 | 800 | 2650 | 600 | 1700 | 800 | 500 | 0 | 0 | 0 | 0 | 8600
2038 | 1850 | 1000 | 3200 | 700 | 2100 | 1000 | 650 | 0 | 0 | 0 | 0 | 10500
2039 | 2200 | 1150 | 3800 | 850 | 2500 | 1150 | 750 | 0 | 0 | 0 | 0 | 12400
2040 | 2550 | 1350 | 4350 | 950 | 2850 | 1350 | 900 | 0 | 0 | 0 | 0 | 14300
2041 | 2850 | 1500 | 4850 | 1100 | 3150 | 1500 | 1000 | 0 | 0 | 0 | 0 | 15950
2042 | 3100 | 1600 | 5300 | 1200 | 3450 | 1600 | 1050 | 0 | 0 | 0 | 0 | 17300
2043 | 3350 | 1750 | 5700 | 1300 | 3750 | 1750 | 1150 | 0 | 0 | 0 | 0 | 18750
2044 | 3600 | 1900 | 6100 | 1350 | 4000 | 1900 | 1250 | 0 | 0 | 0 | 0 | 20100
2045 | 3800 | 2000 | 6500 | 1450 | 4250 | 2000 | 1300 | 0 | 0 | 0 | 0 | 21300
2046 | 3950 | 2100 | 6800 | 1550 | 4450 | 2100 | 1400 | 0 | 0 | 0 | 0 | 22350
2047 | 4150 | 2200 | 7050 | 1600 | 4600 | 2200 | 1450 | 0 | 0 | 0 | 0 | 23250
2048 | 4300 | 2250 | 7350 | 1650 | 4800 | 2250 | 1500 | 0 | 0 | 0 | 0 | 24100
2049 | 4450 | 2350 | 7550 | 1700 | 4950 | 2350 | 1550 | 0 | 0 | 0 | 0 | 24900
2050 | 4550 | 2400 | 7800 | 1750 | 5100 | 2400 | 1600 | 0 | 0 | 0 | 0 | 25600
2051 | 4600 | 2450 | 7850 | 1750 | 5150 | 2450 | 1650 | 0 | 0 | 0 | 0 | 25900
2052 | 4650 | 2450 | 7900 | 1750 | 5200 | 2450 | 1650 | 0 | 0 | 0 | 0 | 26050
2053 | 4700 | 2450 | 7950 | 1750 | 5250 | 2450 | 1650 | 0 | 0 | 0 | 0 | 26200
2054 | 4750 | 2450 | 8000 | 1750 | 5300 | 2450 | 1650 | 0 | 0 | 0 | 0 | 26350
2055 | 4800 | 2450 | 8050 | 1750 | 5350 | 2450 | 1650 | 0 | 0 | 0 | 0 | 26500