## I-1a
Table I-1a: NYCA Baseline Energy and Demand Forecasts
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
2025 Long Term Forecast1 - 2025 to 2055
Energy - GWh |  |  |  | Summer Peak Demand2 - MW |  |  |  | Winter Peak Demand2 - MW
Year | Low3 | Baseline4 | High3 | Year | Low3 | Baseline4, 5 | High3 | Year | Low3 | Baseline4 | High3
2024 |  | 151556 |  | 2024 |  | 31264 |  | 2024-25 |  | 24030
2025 | 151720 | 152400 | 153170 | 2025 | 31430 | 31471 | 31550 | 2025-26 | 23890 | 24200 | 24350
2026 | 150060 | 155460 | 159310 | 2026 | 31350 | 31990 | 32590 | 2026-27 | 24110 | 24920 | 25640
2027 | 149510 | 157220 | 165540 | 2027 | 31340 | 32280 | 33450 | 2027-28 | 24230 | 25330 | 26630
2028 | 149430 | 158700 | 170940 | 2028 | 31210 | 32410 | 34060 | 2028-29 | 24330 | 25850 | 27760
2029 | 149350 | 160370 | 176410 | 2029 | 31160 | 32620 | 34670 | 2029-30 | 24530 | 26410 | 28720
2030 | 150630 | 163200 | 182190 | 2030 | 31140 | 32910 | 35240 | 2030-31 | 24770 | 27080 | 29840
2031 | 151580 | 165640 | 186920 | 2031 | 31110 | 33190 | 35710 | 2031-32 | 24990 | 27730 | 31090
2032 | 153420 | 168950 | 192840 | 2032 | 31100 | 33520 | 36180 | 2032-33 | 25330 | 28440 | 32460
2033 | 154400 | 171430 | 198090 | 2033 | 31110 | 33870 | 36700 | 2033-34 | 25880 | 29210 | 34220
2034 | 155610 | 174180 | 204280 | 2034 | 31120 | 34170 | 37330 | 2034-35 | 26350 | 29970 | 35800
2035 | 157210 | 177740 | 211960 | 2035 | 31130 | 34500 | 38110 | 2035-36 | 26860 | 30850 | 37770
2036 | 159250 | 182350 | 220570 | 2036 | 31140 | 34850 | 38900 | 2036-37 | 27590 | 32020 | 40110
2037 | 160810 | 186730 | 229590 | 2037 | 31160 | 35180 | 39700 | 2037-38 | 28370 | 33370 | 42590
2038 | 163020 | 191670 | 239830 | 2038 | 31200 | 35510 | 40440 | 2038-39 | 29030 | 34830 | 45130
2039 | 165470 | 196660 | 250170 | 2039 | 31230 | 35810 | 41200 | 2039-40 | 29750 | 36280 | 47810
2040 | 168270 | 201870 | 260640 | 2040 | 31270 | 36100 | 41950 | 2040-41 | 30590 | 37760 | 50450
2041 | 170550 | 206040 | 270280 | 2041 | 31300 | 36400 | 42780 | 2041-42 | 31380 | 39080 | 53240
2042 | 173330 | 210190 | 279420 | 2042 | 31350 | 36650 | 43360 | 2042-43 | 32240 | 40370 | 55930
2043 | 176500 | 214610 | 288730 | 2043 | 31390 | 36920 | 43980 | 2043-44 | 33220 | 41690 | 58440
2044 | 180110 | 219160 | 297940 | 2044 | 31440 | 37170 | 44550 | 2044-45 | 34110 | 42840 | 60820
2045 | 183100 | 222550 | 305910 | 2045 | 31480 | 37400 | 45000 | 2045-46 | 35120 | 43930 | 63180
2046 | 186660 | 226100 | 313770 | 2046 | 31550 | 37590 | 45550 | 2046-47 | 36290 | 44930 | 65270
2047 | 190070 | 229180 | 320850 | 2047 | 31620 | 37740 | 46110 | 2047-48 | 37420 | 45890 | 67190
2048 | 193810 | 232470 | 327680 | 2048 | 31690 | 37870 | 46560 | 2048-49 | 38430 | 46770 | 68690
2049 | 196770 | 234680 | 333230 | 2049 | 31740 | 37980 | 46960 | 2049-50 | 39480 | 47450 | 70240
2050 | 200120 | 237510 | 338760 | 2050 | 31790 | 38060 | 47330 | 2050-51 | 40460 | 48110 | 71680
2051 | 202580 | 239310 | 342460 | 2051 | 31830 | 38150 | 47680 | 2051-52 | 41220 | 48720 | 72740
2052 | 205170 | 241220 | 345990 | 2052 | 31850 | 38240 | 47960 | 2052-53 | 41890 | 49270 | 73450
2053 | 206770 | 242090 | 348390 | 2053 | 31880 | 38310 | 48190 | 2053-54 | 42490 | 49700 | 74270
2054 | 208510 | 243180 | 350820 | 2054 | 31900 | 38370 | 48360 | 2054-55 | 42960 | 49940 | 74720
2055 | 209970 | 244100 | 353000 | 2055 | 31920 | 38430 | 48560 | 2055-56 | 43300 | 50000 | 75190
Average Annual Growth - Percent
Period | Low | Baseline | High | Period | Low | Baseline | High | Period | Low | Baseline | High
2025-30 | -0.1437% | 1.417% | 3.789% | 2025-30 | -0.1845% | 0.9145% | 2.339% | 2025-30 | 0.7367% | 2.38% | 4.509%
2020-35 | 0.8737% | 1.782% | 3.268% | 2020-35 | -0.006423% | 0.9663% | 1.629% | 2020-35 | 1.688% | 2.784% | 5.315%
2035-40 | 1.407% | 2.715% | 4.593% | 2035-40 | 0.08995% | 0.9275% | 2.015% | 2035-40 | 2.777% | 4.48% | 6.714%
2040-45 | 1.763% | 2.049% | 3.474% | 2040-45 | 0.1343% | 0.7202% | 1.454% | 2040-45 | 2.962% | 3.268% | 5.047%
2025-35 | 0.3619% | 1.663% | 3.838% | 2025-35 | -0.09545% | 0.9625% | 2.079% | 2025-35 | 1.243% | 2.748% | 5.511%
2035-45 | 1.647% | 2.521% | 4.432% | 2035-45 | 0.1124% | 0.8406% | 1.808% | 2035-45 | 3.075% | 4.24% | 6.728%
2045-55 | 1.468% | 0.9683% | 1.539% | 2045-55 | 0.1398% | 0.2754% | 0.7911% | 2045-55 | 2.329% | 1.382% | 1.901%
2025-45 | 1.034% | 2.302% | 4.986% | 2025-45 | 0.007954% | 0.942% | 2.132% | 2025-45 | 2.35% | 4.076% | 7.973%
2025-55 | 1.28% | 2.006% | 4.349% | 2025-55 | 0.05197% | 0.7371% | 1.797% | 2025-55 | 2.708% | 3.554% | 6.96%
Notes
1. All results in the Section I tables include transmission & distribution losses.
2. Summer Capability period is from May 1 to October 31. Winter Capability period is from November 1 of the current year to April 30 of the next year.
3. The low and high columns reflect the Lower Demand and Higher Demand Scenario forecasts under expected weather conditions, which are summarized in Tables I-15 and I-16.
These do not reflect the 90th and 10th percentile forecasts due to weather, which are found in Tables I-6 and I-7.
4. Energy and peak figures for 2024 are weather-normalized. The values for the actual annual energy, summer peak, and winter peak are reported in Tables I-2, I-3a, and I-3b respectively.
5. The 2025 NYCA summer peak forecast is the same as the 2025 ICAP forecast.

## Notes
2025 Gold Book Lower Demand Scenario Tables Notes
The following lower demand scenario forecasts are the same as the baseline forecast:
Forecast | Tables
Energy Efficiency and Codes & Standards | I-8a,b,c
Behind-the-Meter Solar PV | I-9a,b,c,d
Behind-the-Meter Non-Solar Distributed Generation | I-10a,b,c
Energy Storage | I-12a,b,c

## I-15
Table I-15a: Summary of NYCA Lower Demand Scenario Annual Energy Forecasts - GWh | [10 empty] | Table I-15b: Summary of NYCA Lower Demand Scenario Summer Coincident Peak Demand Forecasts - MW | [10 empty] | Table I-15c: Summary of NYCA Lower Demand Scenario Winter Coincident Peak Demand Forecasts - MW
Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
|  | (-) | (-) | (-) | (+) | (+) | (+) | (+) | (+) | =a-b-c-d+e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h+i
| Econometric Energy | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | Storage Net Energy Consumption | EV Energy | Building Electrification | Large Load Projects | Electrolysis | Lower Demand Scenario Annual Energy Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Lower Demand Scenario Summer Peak Forecast |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Electrolysis | Lower Demand Scenario Winter Peak Forecast
2025 | 158019 | 1740 | 8071 | 1987 | 117 | 1353 | 359 | 3670 | 0 | 151720 | 2025 | 33208 | 309 | 1581 | 342 | 224 | 190 | 22 | 466 | 0 | 31430 | 2025-26 | 23744 | 249 | 0 | 342 | 224 | 387 | 104 | 470 | 0 | 23890
2026 | 157142 | 4060 | 9339 | 2069 | 310 | 1724 | 972 | 5380 | 0 | 150060 | 2026 | 33355 | 729 | 1657 | 354 | 281 | 255 | 53 | 708 | 0 | 31350 | 2026-27 | 23833 | 590 | 0 | 354 | 281 | 456 | 271 | 775 | 0 | 24110
2027 | 156606 | 5980 | 10464 | 2137 | 551 | 2178 | 1566 | 7190 | 0 | 149510 | 2027 | 33495 | 1108 | 1688 | 356 | 347 | 316 | 87 | 941 | 0 | 31340 | 2027-28 | 23836 | 880 | 0 | 356 | 347 | 544 | 489 | 944 | 0 | 24230
2028 | 157107 | 7842 | 11424 | 2199 | 701 | 2725 | 2232 | 8130 | 0 | 149430 | 2028 | 33536 | 1481 | 1683 | 365 | 412 | 417 | 125 | 1073 | 0 | 31210 | 2028-29 | 23839 | 1164 | 0 | 365 | 412 | 683 | 651 | 1098 | 0 | 24330
2029 | 156820 | 9662 | 12241 | 2257 | 820 | 3381 | 2949 | 9540 | 0 | 149350 | 2029 | 33550 | 1851 | 1655 | 372 | 468 | 510 | 169 | 1277 | 0 | 31160 | 2029-30 | 23840 | 1448 | 0 | 372 | 468 | 823 | 826 | 1329 | 0 | 24530
2030 | 157286 | 11598 | 12920 | 2312 | 906 | 4152 | 3746 | 11370 | 0 | 150630 | 2030 | 33555 | 2225 | 1631 | 380 | 541 | 640 | 200 | 1522 | 0 | 31140 | 2030-31 | 23841 | 1752 | 0 | 380 | 541 | 1013 | 1017 | 1572 | 0 | 24770
2031 | 157757 | 13383 | 13524 | 2368 | 992 | 5035 | 4631 | 12440 | 0 | 151580 | 2031 | 33617 | 2575 | 1609 | 386 | 604 | 743 | 256 | 1668 | 0 | 31110 | 2031-32 | 23843 | 2043 | 0 | 386 | 604 | 1189 | 1275 | 1716 | 0 | 24990
2032 | 158706 | 14962 | 14061 | 2421 | 1078 | 6038 | 5622 | 13420 | 0 | 153420 | 2032 | 33628 | 2889 | 1585 | 394 | 662 | 885 | 312 | 1805 | 0 | 31100 | 2032-33 | 23844 | 2313 | 0 | 394 | 662 | 1403 | 1604 | 1848 | 0 | 25330
2033 | 158428 | 16409 | 14531 | 2466 | 1163 | 7158 | 6717 | 14340 | 0 | 154400 | 2033 | 33623 | 3171 | 1563 | 401 | 723 | 1034 | 374 | 1937 | 0 | 31110 | 2033-34 | 23853 | 2569 | 0 | 401 | 723 | 1593 | 2153 | 1974 | 0 | 25880
2034 | 158545 | 17739 | 14928 | 2508 | 1249 | 8411 | 7920 | 14660 | 0 | 155610 | 2034 | 33642 | 3434 | 1543 | 409 | 780 | 1220 | 443 | 1981 | 0 | 31120 | 2034-35 | 23849 | 2816 | 0 | 409 | 780 | 1829 | 2661 | 2016 | 0 | 26350
2035 | 158688 | 18961 | 15235 | 2549 | 1333 | 9780 | 9234 | 14920 | 0 | 157210 | 2035 | 33629 | 3670 | 1523 | 416 | 846 | 1421 | 517 | 2018 | 0 | 31130 | 2035-36 | 23846 | 3056 | 0 | 416 | 846 | 2079 | 3201 | 2052 | 0 | 26860
2036 | 159257 | 20072 | 15568 | 2590 | 1422 | 11263 | 10638 | 14900 | 0 | 159250 | 2036 | 33629 | 3887 | 1501 | 423 | 912 | 1618 | 599 | 2017 | 0 | 31140 | 2036-37 | 23828 | 3286 | 0 | 423 | 912 | 2355 | 3978 | 2050 | 0 | 27590
2037 | 158981 | 21069 | 15869 | 2629 | 1508 | 12852 | 12136 | 14900 | 0 | 160810 | 2037 | 33597 | 4083 | 1481 | 428 | 980 | 1834 | 686 | 2015 | 0 | 31160 | 2037-38 | 23825 | 3510 | 0 | 428 | 980 | 2644 | 4770 | 2049 | 0 | 28370
2038 | 159060 | 21992 | 16163 | 2659 | 1595 | 14532 | 13737 | 14910 | 0 | 163020 | 2038 | 33587 | 4258 | 1462 | 432 | 1046 | 2023 | 770 | 2018 | 0 | 31200 | 2038-39 | 23801 | 3730 | 0 | 432 | 1046 | 2940 | 5446 | 2051 | 0 | 29030
2039 | 159148 | 22906 | 16448 | 2680 | 1682 | 16294 | 15440 | 14940 | 0 | 165470 | 2039 | 33549 | 4435 | 1443 | 435 | 1112 | 2219 | 866 | 2021 | 0 | 31230 | 2039-40 | 23795 | 3953 | 0 | 435 | 1112 | 3253 | 6148 | 2054 | 0 | 29750
2040 | 159470 | 23871 | 16701 | 2698 | 1769 | 18126 | 17235 | 14940 | 0 | 168270 | 2040 | 33494 | 4607 | 1425 | 438 | 1168 | 2437 | 956 | 2021 | 0 | 31270 | 2040-41 | 23769 | 4191 | 0 | 438 | 1168 | 3597 | 6967 | 2054 | 0 | 30590
2041 | 159060 | 24787 | 16947 | 2708 | 1857 | 20034 | 19101 | 14940 | 0 | 170550 | 2041 | 33409 | 4777 | 1408 | 441 | 1234 | 2677 | 1053 | 2021 | 0 | 31300 | 2041-42 | 23736 | 4412 | 0 | 441 | 1234 | 3913 | 7764 | 2054 | 0 | 31380
2042 | 158904 | 25635 | 17180 | 2719 | 1947 | 22023 | 21050 | 14940 | 0 | 173330 | 2042 | 33369 | 4916 | 1390 | 443 | 1306 | 2873 | 1142 | 2021 | 0 | 31350 | 2042-43 | 23699 | 4631 | 0 | 443 | 1306 | 4263 | 8604 | 2054 | 0 | 32240
2043 | 158926 | 26421 | 17389 | 2731 | 2036 | 24100 | 23039 | 14940 | 0 | 176500 | 2043 | 33262 | 5058 | 1375 | 445 | 1373 | 3128 | 1230 | 2021 | 0 | 31390 | 2043-44 | 23696 | 4844 | 0 | 445 | 1373 | 4680 | 9452 | 2054 | 0 | 33220
2044 | 159208 | 27161 | 17589 | 2741 | 2127 | 26257 | 25069 | 14940 | 0 | 180110 | 2044 | 33158 | 5176 | 1354 | 446 | 1450 | 3369 | 1318 | 2021 | 0 | 31440 | 2044-45 | 23664 | 5053 | 0 | 446 | 1450 | 4999 | 10342 | 2054 | 0 | 34110
2045 | 158756 | 27825 | 17788 | 2752 | 2215 | 28456 | 27098 | 14940 | 0 | 183100 | 2045 | 32992 | 5280 | 1334 | 447 | 1517 | 3635 | 1410 | 2021 | 0 | 31480 | 2045-46 | 23639 | 5249 | 0 | 447 | 1517 | 5413 | 11227 | 2054 | 0 | 35120
2046 | 158811 | 28468 | 17966 | 2760 | 2305 | 30649 | 29149 | 14940 | 0 | 186660 | 2046 | 32931 | 5382 | 1314 | 448 | 1585 | 3838 | 1489 | 2021 | 0 | 31550 | 2046-47 | 23600 | 5453 | 0 | 448 | 1585 | 5962 | 12160 | 2054 | 0 | 36290
2047 | 158753 | 29108 | 18132 | 2767 | 2394 | 32806 | 31184 | 14940 | 0 | 190070 | 2047 | 32815 | 5476 | 1290 | 449 | 1647 | 4074 | 1572 | 2021 | 0 | 31620 | 2047-48 | 23567 | 5655 | 0 | 449 | 1647 | 6529 | 13021 | 2054 | 0 | 37420
2048 | 159508 | 29737 | 18302 | 2774 | 2479 | 34895 | 32801 | 14940 | 0 | 193810 | 2048 | 32724 | 5565 | 1266 | 450 | 1706 | 4275 | 1657 | 2021 | 0 | 31690 | 2048-49 | 23523 | 5854 | 0 | 450 | 1706 | 6983 | 13880 | 2054 | 0 | 38430
2049 | 159581 | 30313 | 18456 | 2782 | 2566 | 36902 | 34332 | 14940 | 0 | 196770 | 2049 | 32655 | 5643 | 1241 | 452 | 1759 | 4436 | 1723 | 2021 | 0 | 31740 | 2049-50 | 23482 | 6049 | 0 | 452 | 1759 | 7498 | 14706 | 2054 | 0 | 39480
2050 | 160116 | 30870 | 18587 | 2789 | 2652 | 38807 | 35851 | 14940 | 0 | 200120 | 2050 | 32599 | 5719 | 1212 | 452 | 1811 | 4587 | 1777 | 2021 | 0 | 31790 | 2050-51 | 23459 | 6230 | 0 | 452 | 1811 | 7907 | 15533 | 2054 | 0 | 40460
2051 | 160573 | 31434 | 18735 | 2796 | 2735 | 40265 | 37032 | 14940 | 0 | 202580 | 2051 | 32568 | 5792 | 1186 | 454 | 1855 | 4705 | 1823 | 2021 | 0 | 31830 | 2051-52 | 23431 | 6415 | 0 | 454 | 1855 | 8164 | 16295 | 2054 | 0 | 41220
2052 | 161335 | 31996 | 18865 | 2800 | 2815 | 41574 | 38167 | 14940 | 0 | 205170 | 2052 | 32552 | 5864 | 1157 | 454 | 1898 | 4793 | 1857 | 2021 | 0 | 31850 | 2052-53 | 23423 | 6599 | 0 | 454 | 1898 | 8356 | 17008 | 2054 | 0 | 41890
2053 | 161341 | 32529 | 18989 | 2804 | 2898 | 42730 | 39183 | 14940 | 0 | 206770 | 2053 | 32554 | 5933 | 1129 | 454 | 1935 | 4873 | 1883 | 2021 | 0 | 31880 | 2053-54 | 23403 | 6780 | 0 | 454 | 1935 | 8535 | 17667 | 2054 | 0 | 42490
2054 | 161693 | 33059 | 19103 | 2807 | 2979 | 43733 | 40134 | 14940 | 0 | 208510 | 2054 | 32550 | 5998 | 1099 | 454 | 1972 | 4940 | 1912 | 2021 | 0 | 31900 | 2054-55 | 23361 | 6965 | 0 | 454 | 1972 | 8645 | 18291 | 2054 | 0 | 42960
2055 | 162004 | 33596 | 19207 | 2811 | 3058 | 44582 | 41000 | 14940 | 0 | 209970 | 2055 | 32602 | 6066 | 1067 | 454 | 2007 | 4970 | 1921 | 2021 | 0 | 31920 | 2055-56 | 23351 | 7155 | 0 | 454 | 2007 | 8711 | 18800 | 2054 | 0 | 43300
(a) - Econometric Energy Forecast - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Summer Peak Demand - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Winter Peak Demand - Reflects impacts of projected weather trendsand economic growth
(b) - Table I-8a: Energy Efficiency and Codes & Standards Energy Impacts, Relative to 2024 | [10 empty] | (b) - Table I-8b: Energy Efficiency and Codes & Standards Summer Coincident Peak Demand Reductions, Relative to 2024 | [10 empty] | (b) - Table I-8c: Energy Efficiency and Codes & Standards Winter Coincident Peak Demand Reductions, Relative to 2024-25
(c) - Table I-9b: Solar PV Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (c) - Table I-9c: Solar PV Impacts, Behind-the-Meter, Total Reductions in Summer Coincident Peak Demand | [10 empty] | (c) - The forecast of solar PV-related reductions to the winter peak is zero because the system typically peaks after sunset
(d) - Table I-10b: Non-Solar Distributed Generation Impacts, Behind-the-Meter - Total Reductions in Annual Energy | [10 empty] | (d) - Table I-10d: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand | [10 empty] | (d) - Table I-10c: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand
(e) - Table I-12b: Storage Annual Net Energy Consumption, both wholesale and behind-the-meter (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources)
(f) - Table I-11b-L: Electric Vehicle Energy Usage | [10 empty] | (f) - Table I-11c-L: Electric Vehicle Summer Coincident Peak Demand | [10 empty] | (f) - Table I-11d-L: Electric Vehicle Winter Coincident Peak Demand
(g) - Table I-13a-L: Building Electrification Energy Usage - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13b-L: Building Electrification Summer Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13c-L: Building Electrification Winter Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses
(h) - Table I-14-L: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14-L: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14-L: Large Loads Forecast - reflects existing plus future load growth
(i) - There is no electrolysis in the Lower Demand Scenario | [10 empty] | (i) - There is no electrolysis in the Lower Demand Scenario | [10 empty] | (i) - There is no electrolysis in the Lower Demand Scenario
(j) - Table I-2-L: Lower Demand Scenario Annual Energy Forecast | [10 empty] | (j) - Table I-3a-L: Lower Demand Scenario Summer Coincident Peak Demand Forecast | [10 empty] | (j) - Table I-3b-L: Lower Demand Scenario Winter Coincident Peak Demand Forecast

## I-2-L
Table I-2-L: Lower Demand Scenario Annual Energy Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 15650 | 9400 | 14590 | 5660 | 7370 | 11550 | 9450 | 2760 | 5880 | 49470 | 19940 | 151720
2026 | 15430 | 9150 | 14710 | 6890 | 7010 | 10980 | 9260 | 2770 | 5810 | 48160 | 19890 | 150060
2027 | 15330 | 8970 | 15040 | 7640 | 6850 | 10910 | 9300 | 2770 | 5830 | 47170 | 19700 | 149510
2028 | 15240 | 8850 | 15640 | 7630 | 6780 | 10820 | 9370 | 2770 | 5870 | 46830 | 19630 | 149430
2029 | 15110 | 8730 | 16450 | 7590 | 6700 | 10720 | 9330 | 2770 | 5890 | 46270 | 19790 | 149350
2030 | 15050 | 8650 | 17750 | 7560 | 6660 | 10690 | 9340 | 2770 | 5930 | 46140 | 20090 | 150630
2031 | 15010 | 8600 | 18410 | 7540 | 6640 | 10690 | 9360 | 2790 | 5980 | 46180 | 20380 | 151580
2032 | 15060 | 8620 | 19170 | 7530 | 6640 | 10750 | 9470 | 2820 | 6060 | 46590 | 20710 | 153420
2033 | 15030 | 8580 | 19860 | 7490 | 6610 | 10770 | 9520 | 2840 | 6100 | 46670 | 20930 | 154400
2034 | 15080 | 8610 | 20050 | 7460 | 6630 | 10860 | 9650 | 2870 | 6180 | 46990 | 21230 | 155610
2035 | 15180 | 8660 | 20280 | 7450 | 6680 | 11000 | 9830 | 2910 | 6270 | 47420 | 21530 | 157210
2036 | 15370 | 8770 | 20380 | 7460 | 6780 | 11190 | 10000 | 2950 | 6380 | 48060 | 21910 | 159250
2037 | 15500 | 8850 | 20440 | 7440 | 6850 | 11360 | 10190 | 3000 | 6470 | 48500 | 22210 | 160810
2038 | 15710 | 8970 | 20560 | 7440 | 6980 | 11580 | 10440 | 3040 | 6580 | 49110 | 22610 | 163020
2039 | 15940 | 9100 | 20710 | 7450 | 7120 | 11830 | 10710 | 3100 | 6700 | 49770 | 23040 | 165470
2040 | 16220 | 9260 | 20910 | 7460 | 7290 | 12120 | 11000 | 3160 | 6830 | 50510 | 23510 | 168270
2041 | 16450 | 9400 | 21060 | 7450 | 7430 | 12370 | 11260 | 3210 | 6940 | 51060 | 23920 | 170550
2042 | 16740 | 9570 | 21260 | 7450 | 7620 | 12670 | 11570 | 3260 | 7060 | 51740 | 24390 | 173330
2043 | 17060 | 9760 | 21510 | 7470 | 7810 | 13020 | 11910 | 3330 | 7200 | 52520 | 24910 | 176500
2044 | 17440 | 9980 | 21800 | 7490 | 8040 | 13390 | 12300 | 3400 | 7350 | 53420 | 25500 | 180110
2045 | 17750 | 10160 | 22030 | 7490 | 8240 | 13730 | 12650 | 3460 | 7480 | 54100 | 26010 | 183100
2046 | 18110 | 10380 | 22310 | 7510 | 8470 | 14110 | 13050 | 3540 | 7640 | 54960 | 26580 | 186660
2047 | 18470 | 10590 | 22580 | 7520 | 8690 | 14480 | 13430 | 3610 | 7780 | 55790 | 27130 | 190070
2048 | 18850 | 10820 | 22890 | 7540 | 8920 | 14880 | 13840 | 3680 | 7940 | 56730 | 27720 | 193810
2049 | 19150 | 11000 | 23110 | 7550 | 9110 | 15210 | 14190 | 3740 | 8070 | 57440 | 28200 | 196770
2050 | 19490 | 11200 | 23380 | 7570 | 9310 | 15570 | 14570 | 3810 | 8220 | 58280 | 28720 | 200120
2051 | 19740 | 11350 | 23560 | 7580 | 9450 | 15850 | 14860 | 3860 | 8330 | 58900 | 29100 | 202580
2052 | 19990 | 11500 | 23760 | 7600 | 9590 | 16130 | 15160 | 3920 | 8440 | 59600 | 29480 | 205170
2053 | 20130 | 11590 | 23860 | 7590 | 9680 | 16340 | 15380 | 3950 | 8520 | 60000 | 29730 | 206770
2054 | 20290 | 11680 | 23970 | 7600 | 9770 | 16540 | 15610 | 3990 | 8610 | 60470 | 29980 | 208510
2055 | 20410 | 11760 | 24050 | 7600 | 9840 | 16720 | 15800 | 4030 | 8680 | 60890 | 30190 | 209970
Note: Historical values reflect actual experienced weather conditions. Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3a-L
Table I-3a-L: Lower Demand Scenario Summer Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 2860 | 1852 | 2515 | 690 | 1308 | 2266 | 2261 | 618 | 1314 | 10750 | 4996 | 31430
2026 | 2840 | 1842 | 2559 | 839 | 1287 | 2240 | 2262 | 615 | 1316 | 10570 | 4980 | 31350
2027 | 2820 | 1837 | 2613 | 934 | 1271 | 2243 | 2261 | 613 | 1317 | 10470 | 4961 | 31340
2028 | 2802 | 1827 | 2716 | 931 | 1256 | 2206 | 2258 | 610 | 1318 | 10340 | 4946 | 31210
2029 | 2785 | 1816 | 2846 | 928 | 1246 | 2195 | 2254 | 606 | 1319 | 10230 | 4935 | 31160
2030 | 2768 | 1804 | 2966 | 927 | 1238 | 2186 | 2250 | 603 | 1320 | 10150 | 4928 | 31140
2031 | 2751 | 1792 | 3091 | 926 | 1232 | 2177 | 2246 | 599 | 1321 | 10050 | 4925 | 31110
2032 | 2737 | 1783 | 3173 | 925 | 1226 | 2170 | 2245 | 595 | 1321 | 10000 | 4925 | 31100
2033 | 2727 | 1776 | 3237 | 925 | 1222 | 2166 | 2246 | 592 | 1322 | 9970 | 4927 | 31110
2034 | 2721 | 1772 | 3274 | 926 | 1219 | 2166 | 2250 | 589 | 1323 | 9950 | 4930 | 31120
2035 | 2719 | 1770 | 3289 | 927 | 1218 | 2169 | 2256 | 586 | 1323 | 9940 | 4933 | 31130
2036 | 2721 | 1769 | 3292 | 927 | 1220 | 2175 | 2266 | 583 | 1324 | 9930 | 4933 | 31140
2037 | 2726 | 1767 | 3297 | 927 | 1225 | 2185 | 2277 | 581 | 1324 | 9920 | 4931 | 31160
2038 | 2731 | 1767 | 3304 | 927 | 1231 | 2196 | 2291 | 579 | 1325 | 9920 | 4929 | 31200
2039 | 2738 | 1767 | 3307 | 928 | 1238 | 2207 | 2305 | 577 | 1326 | 9910 | 4927 | 31230
2040 | 2745 | 1768 | 3308 | 928 | 1247 | 2218 | 2320 | 575 | 1326 | 9910 | 4925 | 31270
2041 | 2752 | 1770 | 3307 | 929 | 1257 | 2228 | 2334 | 573 | 1327 | 9900 | 4923 | 31300
2042 | 2759 | 1773 | 3313 | 929 | 1267 | 2239 | 2351 | 570 | 1328 | 9900 | 4921 | 31350
2043 | 2768 | 1775 | 3317 | 930 | 1278 | 2250 | 2368 | 567 | 1328 | 9890 | 4919 | 31390
2044 | 2777 | 1776 | 3321 | 931 | 1291 | 2265 | 2388 | 564 | 1329 | 9880 | 4918 | 31440
2045 | 2789 | 1777 | 3320 | 932 | 1304 | 2282 | 2409 | 562 | 1329 | 9860 | 4916 | 31480
2046 | 2802 | 1778 | 3326 | 933 | 1320 | 2303 | 2433 | 561 | 1330 | 9850 | 4914 | 31550
2047 | 2813 | 1779 | 3333 | 934 | 1337 | 2323 | 2457 | 560 | 1331 | 9840 | 4913 | 31620
2048 | 2821 | 1780 | 3336 | 934 | 1354 | 2344 | 2479 | 559 | 1331 | 9840 | 4912 | 31690
2049 | 2827 | 1781 | 3336 | 935 | 1370 | 2362 | 2498 | 558 | 1332 | 9830 | 4911 | 31740
2050 | 2832 | 1782 | 3337 | 935 | 1382 | 2380 | 2512 | 556 | 1333 | 9830 | 4911 | 31790
2051 | 2836 | 1783 | 3340 | 935 | 1392 | 2394 | 2524 | 553 | 1333 | 9830 | 4910 | 31830
2052 | 2839 | 1784 | 3338 | 936 | 1400 | 2406 | 2534 | 549 | 1334 | 9820 | 4910 | 31850
2053 | 2842 | 1785 | 3346 | 936 | 1406 | 2415 | 2541 | 546 | 1334 | 9820 | 4909 | 31880
2054 | 2844 | 1786 | 3344 | 936 | 1411 | 2423 | 2547 | 545 | 1335 | 9820 | 4909 | 31900
2055 | 2846 | 1787 | 3347 | 936 | 1415 | 2429 | 2552 | 543 | 1336 | 9820 | 4909 | 31920
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3b-L
Table I-3b-L: Lower Demand Scenario Winter Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 2217 | 1501 | 2498 | 833 | 1323 | 1898 | 1597 | 518 | 933 | 7350 | 3222 | 23890
2026-27 | 2208 | 1503 | 2555 | 1055 | 1309 | 1900 | 1599 | 519 | 933 | 7300 | 3229 | 24110
2027-28 | 2202 | 1499 | 2655 | 1094 | 1300 | 1900 | 1612 | 519 | 937 | 7250 | 3262 | 24230
2028-29 | 2201 | 1496 | 2763 | 1095 | 1298 | 1875 | 1631 | 519 | 941 | 7220 | 3291 | 24330
2029-30 | 2200 | 1494 | 2911 | 1094 | 1296 | 1884 | 1638 | 515 | 944 | 7180 | 3374 | 24530
2030-31 | 2205 | 1497 | 3123 | 1092 | 1295 | 1894 | 1656 | 517 | 946 | 7120 | 3425 | 24770
2031-32 | 2209 | 1501 | 3191 | 1092 | 1295 | 1905 | 1663 | 518 | 953 | 7150 | 3513 | 24990
2032-33 | 2236 | 1514 | 3317 | 1092 | 1302 | 1922 | 1693 | 529 | 965 | 7180 | 3580 | 25330
2033-34 | 2262 | 1525 | 3440 | 1094 | 1324 | 1969 | 1730 | 538 | 991 | 7340 | 3667 | 25880
2034-35 | 2305 | 1541 | 3495 | 1094 | 1355 | 2014 | 1767 | 545 | 1016 | 7470 | 3748 | 26350
2035-36 | 2348 | 1561 | 3546 | 1094 | 1389 | 2060 | 1811 | 555 | 1037 | 7630 | 3829 | 26860
2036-37 | 2408 | 1601 | 3581 | 1093 | 1436 | 2139 | 1885 | 566 | 1074 | 7900 | 3907 | 27590
2037-38 | 2471 | 1640 | 3628 | 1091 | 1503 | 2220 | 1968 | 575 | 1104 | 8170 | 4000 | 28370
2038-39 | 2548 | 1683 | 3669 | 1095 | 1559 | 2291 | 2030 | 588 | 1129 | 8370 | 4068 | 29030
2039-40 | 2620 | 1730 | 3723 | 1099 | 1602 | 2368 | 2105 | 600 | 1161 | 8580 | 4162 | 29750
2040-41 | 2704 | 1776 | 3787 | 1102 | 1657 | 2459 | 2185 | 613 | 1188 | 8820 | 4299 | 30590
2041-42 | 2781 | 1828 | 3832 | 1106 | 1716 | 2533 | 2266 | 621 | 1215 | 9030 | 4452 | 31380
2042-43 | 2867 | 1882 | 3896 | 1107 | 1766 | 2624 | 2346 | 639 | 1251 | 9260 | 4602 | 32240
2043-44 | 2973 | 1942 | 3971 | 1111 | 1831 | 2716 | 2450 | 654 | 1292 | 9530 | 4750 | 33220
2044-45 | 3054 | 1988 | 4025 | 1114 | 1887 | 2806 | 2560 | 672 | 1326 | 9780 | 4898 | 34110
2045-46 | 3159 | 2056 | 4091 | 1116 | 1956 | 2909 | 2657 | 693 | 1368 | 10030 | 5085 | 35120
2046-47 | 3261 | 2138 | 4192 | 1120 | 2046 | 3056 | 2790 | 719 | 1428 | 10230 | 5310 | 36290
2047-48 | 3390 | 2203 | 4268 | 1122 | 2132 | 3169 | 2892 | 738 | 1469 | 10580 | 5457 | 37420
2048-49 | 3481 | 2270 | 4380 | 1128 | 2205 | 3287 | 2986 | 760 | 1519 | 10790 | 5624 | 38430
2049-50 | 3592 | 2340 | 4507 | 1138 | 2275 | 3396 | 3058 | 782 | 1577 | 11000 | 5815 | 39480
2050-51 | 3685 | 2382 | 4612 | 1146 | 2350 | 3494 | 3146 | 806 | 1628 | 11230 | 5981 | 40460
2051-52 | 3761 | 2437 | 4681 | 1149 | 2399 | 3569 | 3213 | 821 | 1660 | 11430 | 6100 | 41220
2052-53 | 3804 | 2480 | 4726 | 1150 | 2422 | 3615 | 3307 | 835 | 1681 | 11690 | 6180 | 41890
2053-54 | 3872 | 2512 | 4762 | 1153 | 2451 | 3635 | 3364 | 846 | 1718 | 11880 | 6297 | 42490
2054-55 | 3905 | 2552 | 4789 | 1153 | 2495 | 3679 | 3395 | 852 | 1734 | 12000 | 6406 | 42960
2055-56 | 3937 | 2580 | 4802 | 1156 | 2521 | 3713 | 3430 | 861 | 1749 | 12080 | 6471 | 43300
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4a-L
Table I-4a-L: Lower Demand Scenario Summer Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2025 | 3019 | 1897 | 2594 | 718 | 1343 | 2321 | 2312 | 632 | 1343 | 10990 | 5072
2026 | 2998 | 1887 | 2639 | 873 | 1322 | 2295 | 2313 | 629 | 1345 | 10810 | 5056
2027 | 2977 | 1882 | 2695 | 972 | 1305 | 2298 | 2312 | 627 | 1347 | 10700 | 5037
2028 | 2958 | 1872 | 2801 | 969 | 1290 | 2260 | 2309 | 624 | 1348 | 10570 | 5022
2029 | 2940 | 1860 | 2935 | 966 | 1280 | 2249 | 2305 | 620 | 1349 | 10460 | 5011
2030 | 2922 | 1848 | 3059 | 965 | 1272 | 2239 | 2301 | 617 | 1350 | 10380 | 5003
2031 | 2904 | 1836 | 3188 | 964 | 1265 | 2230 | 2297 | 612 | 1351 | 10280 | 5000
2032 | 2889 | 1827 | 3272 | 963 | 1259 | 2223 | 2296 | 608 | 1351 | 10220 | 5000
2033 | 2878 | 1819 | 3338 | 963 | 1255 | 2219 | 2297 | 605 | 1352 | 10190 | 5002
2034 | 2872 | 1815 | 3376 | 964 | 1252 | 2219 | 2301 | 602 | 1353 | 10170 | 5005
2035 | 2870 | 1813 | 3392 | 965 | 1251 | 2222 | 2307 | 599 | 1353 | 10160 | 5008
2036 | 2872 | 1812 | 3395 | 965 | 1253 | 2228 | 2317 | 596 | 1354 | 10150 | 5008
2037 | 2877 | 1810 | 3400 | 965 | 1258 | 2238 | 2329 | 594 | 1354 | 10140 | 5006
2038 | 2883 | 1810 | 3407 | 965 | 1264 | 2250 | 2343 | 592 | 1355 | 10140 | 5004
2039 | 2890 | 1810 | 3411 | 966 | 1272 | 2261 | 2357 | 590 | 1356 | 10130 | 5002
2040 | 2897 | 1811 | 3412 | 966 | 1281 | 2272 | 2373 | 588 | 1356 | 10130 | 5000
2041 | 2905 | 1813 | 3411 | 967 | 1291 | 2282 | 2387 | 586 | 1357 | 10120 | 4998
2042 | 2912 | 1816 | 3417 | 967 | 1301 | 2294 | 2404 | 583 | 1358 | 10120 | 4996
2043 | 2922 | 1818 | 3421 | 968 | 1313 | 2305 | 2422 | 580 | 1358 | 10110 | 4994
2044 | 2931 | 1819 | 3425 | 969 | 1326 | 2320 | 2442 | 577 | 1359 | 10100 | 4993
2045 | 2944 | 1820 | 3424 | 970 | 1339 | 2338 | 2464 | 575 | 1359 | 10080 | 4991
2046 | 2958 | 1821 | 3430 | 971 | 1356 | 2359 | 2488 | 574 | 1360 | 10070 | 4989
2047 | 2969 | 1822 | 3437 | 972 | 1373 | 2380 | 2513 | 573 | 1361 | 10060 | 4988
2048 | 2978 | 1823 | 3440 | 972 | 1391 | 2401 | 2535 | 572 | 1361 | 10060 | 4987
2049 | 2984 | 1824 | 3440 | 973 | 1407 | 2420 | 2555 | 570 | 1362 | 10050 | 4986
2050 | 2989 | 1825 | 3441 | 973 | 1419 | 2438 | 2569 | 568 | 1363 | 10050 | 4986
2051 | 2993 | 1827 | 3445 | 973 | 1430 | 2452 | 2581 | 565 | 1363 | 10050 | 4985
2052 | 2997 | 1828 | 3442 | 974 | 1438 | 2465 | 2592 | 561 | 1364 | 10040 | 4985
2053 | 3000 | 1829 | 3451 | 974 | 1444 | 2474 | 2599 | 558 | 1364 | 10040 | 4984
2054 | 3002 | 1830 | 3449 | 974 | 1449 | 2482 | 2605 | 557 | 1365 | 10040 | 4984
2055 | 3004 | 1831 | 3452 | 974 | 1453 | 2488 | 2610 | 555 | 1366 | 10040 | 4984
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4b-L
Table I-4b-L: Lower Demand Scenario Winter Non-Coincident Peak Demand Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
Non-Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2025-26 | 2244 | 1512 | 2508 | 850 | 1348 | 1911 | 1602 | 529 | 939 | 7400 | 3235
2026-27 | 2234 | 1514 | 2565 | 1076 | 1334 | 1913 | 1604 | 530 | 939 | 7350 | 3242
2027-28 | 2228 | 1509 | 2666 | 1116 | 1325 | 1913 | 1617 | 530 | 943 | 7300 | 3275
2028-29 | 2227 | 1506 | 2774 | 1117 | 1323 | 1888 | 1636 | 530 | 947 | 7270 | 3304
2029-30 | 2226 | 1504 | 2923 | 1116 | 1321 | 1897 | 1643 | 526 | 950 | 7230 | 3387
2030-31 | 2231 | 1507 | 3135 | 1114 | 1320 | 1907 | 1661 | 528 | 952 | 7170 | 3439
2031-32 | 2236 | 1512 | 3204 | 1114 | 1320 | 1918 | 1668 | 529 | 959 | 7200 | 3527
2032-33 | 2263 | 1525 | 3330 | 1114 | 1327 | 1935 | 1698 | 540 | 971 | 7230 | 3594
2033-34 | 2289 | 1536 | 3454 | 1116 | 1349 | 1983 | 1735 | 549 | 997 | 7390 | 3682
2034-35 | 2333 | 1552 | 3509 | 1116 | 1381 | 2028 | 1772 | 556 | 1022 | 7520 | 3763
2035-36 | 2376 | 1572 | 3560 | 1116 | 1415 | 2074 | 1816 | 567 | 1043 | 7680 | 3844
2036-37 | 2437 | 1612 | 3595 | 1115 | 1463 | 2154 | 1891 | 578 | 1080 | 7960 | 3923
2037-38 | 2501 | 1651 | 3643 | 1113 | 1532 | 2236 | 1974 | 587 | 1111 | 8230 | 4016
2038-39 | 2579 | 1695 | 3684 | 1117 | 1589 | 2307 | 2036 | 600 | 1136 | 8430 | 4084
2039-40 | 2651 | 1742 | 3738 | 1121 | 1632 | 2385 | 2111 | 613 | 1168 | 8640 | 4179
2040-41 | 2736 | 1788 | 3802 | 1124 | 1688 | 2476 | 2192 | 626 | 1195 | 8880 | 4316
2041-42 | 2814 | 1841 | 3847 | 1128 | 1749 | 2551 | 2273 | 634 | 1222 | 9090 | 4470
2042-43 | 2901 | 1895 | 3912 | 1129 | 1800 | 2642 | 2353 | 652 | 1259 | 9320 | 4620
2043-44 | 3009 | 1956 | 3987 | 1133 | 1866 | 2735 | 2457 | 668 | 1300 | 9600 | 4769
2044-45 | 3091 | 2002 | 4041 | 1136 | 1923 | 2826 | 2568 | 686 | 1334 | 9850 | 4918
2045-46 | 3197 | 2070 | 4107 | 1138 | 1993 | 2929 | 2665 | 708 | 1376 | 10100 | 5105
2046-47 | 3300 | 2153 | 4209 | 1142 | 2085 | 3077 | 2798 | 734 | 1437 | 10300 | 5331
2047-48 | 3431 | 2218 | 4285 | 1144 | 2173 | 3191 | 2901 | 753 | 1478 | 10650 | 5479
2048-49 | 3523 | 2286 | 4398 | 1151 | 2247 | 3310 | 2995 | 776 | 1528 | 10870 | 5646
2049-50 | 3635 | 2356 | 4525 | 1161 | 2318 | 3420 | 3067 | 798 | 1586 | 11080 | 5838
2050-51 | 3729 | 2399 | 4630 | 1169 | 2395 | 3518 | 3155 | 823 | 1638 | 11310 | 6005
2051-52 | 3806 | 2454 | 4700 | 1172 | 2445 | 3594 | 3223 | 838 | 1670 | 11510 | 6124
2052-53 | 3850 | 2497 | 4745 | 1173 | 2468 | 3640 | 3317 | 853 | 1691 | 11770 | 6205
2053-54 | 3918 | 2530 | 4781 | 1176 | 2498 | 3660 | 3374 | 864 | 1728 | 11960 | 6322
2054-55 | 3952 | 2570 | 4808 | 1176 | 2542 | 3705 | 3405 | 870 | 1744 | 12080 | 6432
2055-56 | 3984 | 2598 | 4821 | 1179 | 2569 | 3739 | 3440 | 879 | 1759 | 12160 | 6497
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-5-L
Table I-5-L: Lower Demand Scenario - Forecast of Peak Demand in G-to-J Locality
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads
G-to-J Locality Summer Peak Demand by Zone - MW | [5 empty] | G-to-J Locality Winter Peak Demand by Zone - MW
Year | G | H | I | J | G-J | Year | G | H | I | J | G-J
2025 | 2298 | 628 | 1335 | 10925 | 15186 | 2025-26 | 1592 | 516 | 929 | 7394 | 10431
2026 | 2299 | 625 | 1337 | 10742 | 15003 | 2026-27 | 1594 | 517 | 929 | 7344 | 10384
2027 | 2298 | 623 | 1338 | 10641 | 14900 | 2027-28 | 1607 | 517 | 933 | 7294 | 10351
2028 | 2295 | 620 | 1339 | 10509 | 14763 | 2028-29 | 1626 | 517 | 937 | 7263 | 10343
2029 | 2291 | 616 | 1340 | 10397 | 14644 | 2029-30 | 1633 | 513 | 940 | 7223 | 10309
2030 | 2287 | 613 | 1342 | 10315 | 14557 | 2030-31 | 1651 | 515 | 942 | 7163 | 10271
2031 | 2283 | 609 | 1343 | 10214 | 14449 | 2031-32 | 1658 | 516 | 949 | 7193 | 10316
2032 | 2282 | 605 | 1343 | 10163 | 14393 | 2032-33 | 1688 | 527 | 961 | 7223 | 10399
2033 | 2283 | 602 | 1344 | 10133 | 14362 | 2033-34 | 1725 | 536 | 987 | 7384 | 10632
2034 | 2287 | 599 | 1345 | 10112 | 14343 | 2034-35 | 1762 | 543 | 1012 | 7515 | 10832
2035 | 2293 | 596 | 1345 | 10102 | 14336 | 2035-36 | 1806 | 553 | 1033 | 7676 | 11068
2036 | 2303 | 593 | 1346 | 10092 | 14334 | 2036-37 | 1879 | 564 | 1070 | 7947 | 11460
2037 | 2314 | 590 | 1346 | 10082 | 14332 | 2037-38 | 1962 | 573 | 1100 | 8219 | 11854
2038 | 2328 | 588 | 1347 | 10082 | 14345 | 2038-39 | 2024 | 585 | 1124 | 8420 | 12153
2039 | 2343 | 586 | 1348 | 10072 | 14349 | 2039-40 | 2099 | 598 | 1156 | 8631 | 12484
2040 | 2358 | 584 | 1348 | 10072 | 14362 | 2040-41 | 2178 | 611 | 1183 | 8873 | 12845
2041 | 2372 | 582 | 1349 | 10061 | 14364 | 2041-42 | 2259 | 619 | 1210 | 9084 | 13172
2042 | 2389 | 579 | 1350 | 10061 | 14379 | 2042-43 | 2339 | 636 | 1246 | 9316 | 13537
2043 | 2407 | 576 | 1350 | 10051 | 14384 | 2043-44 | 2443 | 651 | 1287 | 9587 | 13968
2044 | 2427 | 573 | 1351 | 10041 | 14392 | 2044-45 | 2552 | 669 | 1321 | 9839 | 14381
2045 | 2448 | 571 | 1351 | 10021 | 14391 | 2045-46 | 2649 | 690 | 1363 | 10090 | 14792
2046 | 2473 | 570 | 1352 | 10011 | 14406 | 2046-47 | 2782 | 716 | 1422 | 10291 | 15211
2047 | 2497 | 569 | 1353 | 10000 | 14419 | 2047-48 | 2883 | 735 | 1463 | 10643 | 15724
2048 | 2519 | 568 | 1353 | 10000 | 14440 | 2048-49 | 2977 | 757 | 1513 | 10855 | 16102
2049 | 2539 | 567 | 1354 | 9990 | 14450 | 2049-50 | 3049 | 779 | 1571 | 11066 | 16465
2050 | 2553 | 565 | 1355 | 9990 | 14463 | 2050-51 | 3137 | 803 | 1621 | 11297 | 16858
2051 | 2565 | 562 | 1355 | 9990 | 14472 | 2051-52 | 3203 | 818 | 1653 | 11499 | 17173
2052 | 2575 | 558 | 1356 | 9980 | 14469 | 2052-53 | 3297 | 832 | 1674 | 11760 | 17563
2053 | 2582 | 555 | 1356 | 9980 | 14473 | 2053-54 | 3354 | 843 | 1711 | 11951 | 17859
2054 | 2589 | 554 | 1357 | 9980 | 14480 | 2054-55 | 3385 | 849 | 1727 | 12072 | 18033
2055 | 2594 | 552 | 1358 | 9980 | 14484 | 2055-56 | 3420 | 858 | 1742 | 12152 | 18172
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-11a-L
Table I-11a-L: Electric Vehicle Stock Forecast - Lower Demand Scenario
Total Number of Electric Vehicles
Number of Electric Vehicles by Type - NYCA
Year | LDV (1) | MHDV (2) | Buses (3) | Total Stock
2025 | 357000 | 6000 | 1000 | 364000
2026 | 462000 | 7000 | 2000 | 471000
2027 | 584000 | 8000 | 3000 | 595000
2028 | 727000 | 9000 | 4000 | 740000
2029 | 892000 | 11000 | 5000 | 908000
2030 | 1081000 | 13000 | 6000 | 1100000
2031 | 1292000 | 15000 | 8000 | 1315000
2032 | 1526000 | 18000 | 9000 | 1553000
2033 | 1784000 | 22000 | 11000 | 1817000
2034 | 2065000 | 26000 | 13000 | 2104000
2035 | 2368000 | 31000 | 14000 | 2413000
2036 | 2689000 | 36000 | 16000 | 2741000
2037 | 3026000 | 42000 | 17000 | 3085000
2038 | 3375000 | 48000 | 19000 | 3442000
2039 | 3731000 | 55000 | 20000 | 3806000
2040 | 4093000 | 62000 | 21000 | 4176000
2041 | 4462000 | 70000 | 22000 | 4554000
2042 | 4841000 | 78000 | 24000 | 4943000
2043 | 5230000 | 86000 | 25000 | 5341000
2044 | 5628000 | 95000 | 25000 | 5748000
2045 | 6025000 | 104000 | 26000 | 6155000
2046 | 6410000 | 113000 | 27000 | 6550000
2047 | 6774000 | 123000 | 27000 | 6924000
2048 | 7112000 | 133000 | 27000 | 7272000
2049 | 7423000 | 143000 | 28000 | 7594000
2050 | 7707000 | 153000 | 28000 | 7888000
2051 | 7963000 | 162000 | 28000 | 8153000
2052 | 8190000 | 171000 | 28000 | 8389000
2053 | 8389000 | 179000 | 28000 | 8596000
2054 | 8557000 | 187000 | 28000 | 8772000
2055 | 8697000 | 193000 | 28000 | 8918000
(1) - Light Duty Vehicles, at most 10,000 lb. (Gross Vehicle Weight Rating (GVWR) Vehicle Classes 1 & 2).
(2) - Medium and Heavy Duty Vehicles, greater than 10,000 lb. (GVWR Classes 3-8).
(3) - Includes school and transit buses.
Note: For reference, in 2024 there were approximately 10.6 million LDVs, 450,000 MHDVs,
and 45,000 buses registered in the state, per these classifications.

## I-11b-L
Table I-11b-L: Electric Vehicle Annual Energy Usage - Lower Demand Scenario
Reflects Total Cumulative Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 115 | 102 | 103 | 10 | 60 | 117 | 141 | 42 | 76 | 222 | 365 | 1353
2026 | 143 | 126 | 133 | 12 | 78 | 151 | 183 | 54 | 98 | 289 | 457 | 1724
2027 | 181 | 155 | 173 | 16 | 103 | 194 | 234 | 68 | 123 | 367 | 564 | 2178
2028 | 231 | 191 | 223 | 20 | 137 | 248 | 295 | 83 | 151 | 457 | 689 | 2725
2029 | 293 | 235 | 286 | 26 | 180 | 314 | 369 | 100 | 183 | 561 | 834 | 3381
2030 | 369 | 286 | 361 | 33 | 234 | 393 | 457 | 119 | 220 | 680 | 1000 | 4152
2031 | 458 | 345 | 449 | 41 | 297 | 485 | 557 | 141 | 261 | 814 | 1187 | 5035
2032 | 561 | 413 | 550 | 50 | 372 | 591 | 672 | 165 | 306 | 963 | 1395 | 6038
2033 | 678 | 489 | 665 | 61 | 457 | 710 | 801 | 190 | 355 | 1127 | 1625 | 7158
2034 | 811 | 574 | 794 | 73 | 553 | 845 | 945 | 219 | 409 | 1309 | 1879 | 8411
2035 | 958 | 667 | 936 | 87 | 661 | 993 | 1103 | 249 | 466 | 1506 | 2154 | 9780
2036 | 1120 | 768 | 1092 | 102 | 779 | 1156 | 1274 | 280 | 527 | 1717 | 2448 | 11263
2037 | 1295 | 877 | 1260 | 118 | 908 | 1331 | 1459 | 314 | 592 | 1940 | 2758 | 12852
2038 | 1483 | 992 | 1440 | 135 | 1047 | 1518 | 1657 | 348 | 658 | 2173 | 3081 | 14532
2039 | 1683 | 1114 | 1630 | 153 | 1195 | 1716 | 1864 | 383 | 726 | 2415 | 3415 | 16294
2040 | 1893 | 1240 | 1829 | 173 | 1351 | 1924 | 2082 | 418 | 795 | 2664 | 3757 | 18126
2041 | 2114 | 1371 | 2038 | 193 | 1516 | 2141 | 2309 | 454 | 866 | 2922 | 4110 | 20034
2042 | 2344 | 1509 | 2256 | 214 | 1688 | 2369 | 2547 | 492 | 939 | 3190 | 4475 | 22023
2043 | 2586 | 1652 | 2484 | 235 | 1867 | 2607 | 2797 | 530 | 1015 | 3471 | 4856 | 24100
2044 | 2836 | 1801 | 2720 | 258 | 2053 | 2855 | 3057 | 570 | 1093 | 3764 | 5250 | 26257
2045 | 3090 | 1952 | 2960 | 281 | 2242 | 3107 | 3324 | 611 | 1174 | 4064 | 5651 | 28456
2046 | 3343 | 2102 | 3199 | 303 | 2429 | 3360 | 3591 | 651 | 1254 | 4366 | 6051 | 30649
2047 | 3590 | 2250 | 3434 | 325 | 2611 | 3608 | 3855 | 691 | 1332 | 4666 | 6444 | 32806
2048 | 3828 | 2392 | 3660 | 346 | 2787 | 3849 | 4112 | 729 | 1408 | 4959 | 6825 | 34895
2049 | 4056 | 2528 | 3876 | 366 | 2954 | 4081 | 4361 | 766 | 1481 | 5242 | 7191 | 36902
2050 | 4270 | 2657 | 4081 | 384 | 3112 | 4302 | 4598 | 801 | 1551 | 5513 | 7538 | 38807
2051 | 4435 | 2756 | 4237 | 398 | 3232 | 4472 | 4783 | 827 | 1602 | 5723 | 7800 | 40265
2052 | 4581 | 2844 | 4377 | 410 | 3338 | 4626 | 4951 | 850 | 1649 | 5914 | 8034 | 41574
2053 | 4708 | 2921 | 4499 | 421 | 3430 | 4762 | 5101 | 870 | 1690 | 6086 | 8242 | 42730
2054 | 4817 | 2987 | 4604 | 430 | 3509 | 4880 | 5234 | 888 | 1725 | 6238 | 8421 | 43733
2055 | 4908 | 3043 | 4692 | 437 | 3574 | 4981 | 5348 | 903 | 1755 | 6369 | 8572 | 44582

## I-11c-L
Table I-11c-L: Electric Vehicle Summer Coincident Peak Demand - Lower Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 15 | 14 | 19 | 2 | 9 | 20 | 23 | 5 | 14 | 28 | 41 | 190
2026 | 19 | 20 | 19 | 2 | 10 | 27 | 26 | 7 | 15 | 38 | 72 | 255
2027 | 28 | 25 | 21 | 2 | 13 | 29 | 36 | 9 | 16 | 49 | 88 | 316
2028 | 36 | 30 | 30 | 3 | 20 | 39 | 48 | 12 | 22 | 67 | 110 | 417
2029 | 45 | 36 | 42 | 4 | 29 | 46 | 54 | 16 | 30 | 77 | 131 | 510
2030 | 57 | 44 | 54 | 5 | 36 | 65 | 59 | 18 | 35 | 102 | 165 | 640
2031 | 67 | 55 | 63 | 6 | 45 | 78 | 73 | 21 | 41 | 112 | 182 | 743
2032 | 86 | 62 | 77 | 7 | 55 | 94 | 97 | 24 | 46 | 132 | 205 | 885
2033 | 98 | 73 | 95 | 9 | 72 | 109 | 124 | 31 | 50 | 155 | 218 | 1034
2034 | 118 | 84 | 122 | 11 | 84 | 119 | 140 | 35 | 57 | 187 | 263 | 1220
2035 | 133 | 95 | 146 | 13 | 103 | 144 | 162 | 38 | 62 | 220 | 305 | 1421
2036 | 159 | 111 | 156 | 15 | 115 | 162 | 188 | 39 | 72 | 248 | 353 | 1618
2037 | 185 | 127 | 175 | 18 | 131 | 183 | 203 | 43 | 82 | 275 | 412 | 1834
2038 | 203 | 134 | 199 | 20 | 143 | 213 | 229 | 47 | 89 | 304 | 442 | 2023
2039 | 230 | 153 | 223 | 22 | 154 | 239 | 258 | 51 | 98 | 321 | 470 | 2219
2040 | 257 | 171 | 239 | 24 | 173 | 261 | 279 | 55 | 101 | 358 | 519 | 2437
2041 | 283 | 187 | 271 | 26 | 195 | 296 | 293 | 61 | 110 | 392 | 563 | 2677
2042 | 306 | 197 | 296 | 29 | 212 | 326 | 331 | 63 | 118 | 417 | 578 | 2873
2043 | 342 | 223 | 321 | 31 | 238 | 351 | 361 | 65 | 127 | 434 | 635 | 3128
2044 | 375 | 241 | 344 | 34 | 265 | 377 | 382 | 69 | 136 | 465 | 681 | 3369
2045 | 409 | 251 | 381 | 37 | 288 | 410 | 416 | 73 | 146 | 495 | 729 | 3635
2046 | 430 | 265 | 403 | 38 | 311 | 431 | 455 | 75 | 156 | 512 | 762 | 3838
2047 | 455 | 283 | 429 | 39 | 322 | 453 | 483 | 80 | 164 | 542 | 824 | 4074
2048 | 481 | 294 | 450 | 41 | 337 | 475 | 516 | 87 | 170 | 580 | 844 | 4275
2049 | 495 | 305 | 466 | 41 | 351 | 481 | 538 | 89 | 178 | 612 | 880 | 4436
2050 | 509 | 317 | 477 | 42 | 366 | 502 | 556 | 90 | 183 | 643 | 902 | 4587
2051 | 528 | 324 | 484 | 45 | 377 | 519 | 572 | 91 | 186 | 667 | 912 | 4705
2052 | 544 | 324 | 493 | 45 | 392 | 529 | 577 | 91 | 188 | 688 | 922 | 4793
2053 | 551 | 333 | 495 | 46 | 403 | 535 | 579 | 91 | 189 | 702 | 949 | 4873
2054 | 557 | 337 | 502 | 48 | 408 | 539 | 583 | 92 | 190 | 720 | 964 | 4940
2055 | 560 | 341 | 507 | 48 | 410 | 541 | 585 | 92 | 191 | 725 | 970 | 4970
Note: The lower demand scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-11d-L
Table I-11d-L: Electric Vehicle Winter Coincident Peak Demand - Lower Demand Scenario
Reflects Total Cumulative Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 32 | 30 | 32 | 2 | 17 | 35 | 41 | 11 | 16 | 65 | 106 | 387
2026-27 | 41 | 36 | 34 | 3 | 24 | 40 | 48 | 12 | 22 | 76 | 120 | 456
2027-28 | 46 | 41 | 45 | 4 | 30 | 49 | 56 | 16 | 31 | 86 | 140 | 544
2028-29 | 60 | 50 | 60 | 5 | 38 | 54 | 71 | 19 | 39 | 112 | 175 | 683
2029-30 | 69 | 60 | 80 | 7 | 47 | 73 | 91 | 21 | 47 | 138 | 190 | 823
2030-31 | 91 | 72 | 93 | 8 | 62 | 92 | 115 | 24 | 49 | 173 | 234 | 1013
2031-32 | 105 | 87 | 106 | 10 | 73 | 113 | 137 | 30 | 57 | 191 | 280 | 1189
2032-33 | 130 | 99 | 125 | 11 | 89 | 135 | 160 | 36 | 60 | 223 | 335 | 1403
2033-34 | 153 | 116 | 155 | 15 | 96 | 156 | 189 | 42 | 75 | 227 | 369 | 1593
2034-35 | 178 | 131 | 187 | 17 | 114 | 194 | 216 | 48 | 88 | 262 | 394 | 1829
2035-36 | 209 | 149 | 214 | 20 | 140 | 218 | 234 | 55 | 105 | 305 | 430 | 2079
2036-37 | 230 | 168 | 241 | 22 | 162 | 247 | 271 | 60 | 116 | 349 | 489 | 2355
2037-38 | 261 | 184 | 265 | 25 | 194 | 282 | 306 | 64 | 127 | 401 | 535 | 2644
2038-39 | 299 | 203 | 292 | 29 | 227 | 313 | 335 | 69 | 134 | 446 | 593 | 2940
2039-40 | 337 | 226 | 324 | 31 | 248 | 349 | 374 | 73 | 144 | 475 | 672 | 3253
2040-41 | 380 | 246 | 367 | 35 | 273 | 392 | 409 | 79 | 152 | 525 | 739 | 3597
2041-42 | 417 | 273 | 399 | 38 | 305 | 420 | 451 | 80 | 159 | 566 | 805 | 3913
2042-43 | 456 | 297 | 440 | 42 | 324 | 460 | 485 | 88 | 171 | 611 | 889 | 4263
2043-44 | 512 | 325 | 485 | 45 | 354 | 495 | 537 | 95 | 188 | 667 | 977 | 4680
2044-45 | 543 | 346 | 519 | 49 | 384 | 534 | 585 | 103 | 202 | 713 | 1021 | 4999
2045-46 | 603 | 381 | 564 | 53 | 416 | 581 | 631 | 114 | 219 | 767 | 1084 | 5413
2046-47 | 656 | 417 | 628 | 59 | 460 | 650 | 699 | 127 | 245 | 839 | 1182 | 5962
2047-48 | 729 | 453 | 687 | 64 | 512 | 712 | 766 | 136 | 264 | 925 | 1281 | 6529
2048-49 | 766 | 482 | 748 | 68 | 551 | 785 | 823 | 145 | 280 | 977 | 1358 | 6983
2049-50 | 827 | 514 | 815 | 72 | 591 | 845 | 879 | 156 | 300 | 1048 | 1451 | 7498
2050-51 | 871 | 532 | 861 | 77 | 626 | 898 | 932 | 164 | 316 | 1095 | 1535 | 7907
2051-52 | 905 | 549 | 877 | 79 | 645 | 925 | 970 | 168 | 322 | 1140 | 1584 | 8164
2052-53 | 920 | 559 | 896 | 81 | 660 | 945 | 1003 | 172 | 330 | 1166 | 1624 | 8356
2053-54 | 943 | 578 | 905 | 83 | 671 | 948 | 1026 | 174 | 338 | 1202 | 1667 | 8535
2054-55 | 954 | 587 | 907 | 84 | 681 | 957 | 1044 | 174 | 338 | 1223 | 1696 | 8645
2055-56 | 961 | 592 | 908 | 85 | 687 | 962 | 1055 | 174 | 338 | 1236 | 1713 | 8711
Note: The lower demand scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-13a-L
Table I-13a-L: Building Electrification Annual Energy Usage - Lower Demand Scenario
Reflects Cumulative Future Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 39 | 24 | 31 | 2 | 21 | 29 | 24 | 6 | 13 | 119 | 51 | 359
2026 | 109 | 64 | 83 | 5 | 56 | 78 | 66 | 16 | 34 | 323 | 138 | 972
2027 | 174 | 102 | 133 | 8 | 90 | 126 | 107 | 27 | 55 | 522 | 222 | 1566
2028 | 248 | 146 | 189 | 12 | 128 | 180 | 153 | 38 | 78 | 744 | 316 | 2232
2029 | 327 | 193 | 250 | 16 | 169 | 238 | 203 | 50 | 104 | 981 | 418 | 2949
2030 | 415 | 245 | 318 | 20 | 214 | 303 | 258 | 64 | 133 | 1245 | 531 | 3746
2031 | 513 | 303 | 393 | 25 | 265 | 375 | 321 | 80 | 164 | 1535 | 657 | 4631
2032 | 622 | 368 | 477 | 30 | 321 | 456 | 391 | 97 | 200 | 1862 | 798 | 5622
2033 | 742 | 439 | 570 | 36 | 383 | 546 | 469 | 116 | 240 | 2222 | 954 | 6717
2034 | 874 | 518 | 671 | 42 | 452 | 644 | 555 | 138 | 284 | 2617 | 1125 | 7920
2035 | 1018 | 604 | 783 | 49 | 527 | 753 | 649 | 161 | 331 | 3047 | 1312 | 9234
2036 | 1173 | 697 | 902 | 56 | 607 | 869 | 750 | 186 | 383 | 3502 | 1513 | 10638
2037 | 1339 | 796 | 1029 | 64 | 692 | 994 | 859 | 213 | 438 | 3984 | 1728 | 12136
2038 | 1516 | 902 | 1166 | 72 | 784 | 1128 | 976 | 242 | 497 | 4496 | 1958 | 13737
2039 | 1705 | 1015 | 1312 | 81 | 881 | 1271 | 1101 | 274 | 560 | 5036 | 2204 | 15440
2040 | 1905 | 1135 | 1465 | 91 | 984 | 1423 | 1234 | 307 | 626 | 5602 | 2463 | 17235
2041 | 2114 | 1260 | 1626 | 100 | 1091 | 1582 | 1373 | 341 | 696 | 6184 | 2734 | 19101
2042 | 2332 | 1391 | 1793 | 110 | 1203 | 1749 | 1519 | 377 | 769 | 6789 | 3018 | 21050
2043 | 2556 | 1525 | 1965 | 121 | 1317 | 1920 | 1669 | 415 | 844 | 7399 | 3308 | 23039
2044 | 2785 | 1662 | 2140 | 131 | 1433 | 2096 | 1823 | 453 | 920 | 8020 | 3606 | 25069
2045 | 3015 | 1800 | 2316 | 142 | 1550 | 2273 | 1979 | 492 | 997 | 8630 | 3904 | 27098
2046 | 3246 | 1940 | 2494 | 152 | 1668 | 2453 | 2137 | 531 | 1075 | 9246 | 4207 | 29149
2047 | 3476 | 2078 | 2671 | 162 | 1785 | 2632 | 2296 | 571 | 1153 | 9852 | 4508 | 31184
2048 | 3658 | 2188 | 2811 | 170 | 1877 | 2775 | 2422 | 602 | 1215 | 10335 | 4748 | 32801
2049 | 3832 | 2293 | 2944 | 178 | 1964 | 2912 | 2543 | 632 | 1274 | 10784 | 4976 | 34332
2050 | 4004 | 2397 | 3076 | 186 | 2050 | 3048 | 2664 | 662 | 1333 | 11230 | 5201 | 35851
2051 | 4144 | 2481 | 3182 | 192 | 2120 | 3159 | 2760 | 686 | 1379 | 11549 | 5380 | 37032
2052 | 4277 | 2562 | 3283 | 198 | 2187 | 3266 | 2852 | 709 | 1424 | 11857 | 5552 | 38167
2053 | 4397 | 2635 | 3374 | 203 | 2248 | 3363 | 2936 | 730 | 1464 | 12126 | 5707 | 39183
2054 | 4508 | 2703 | 3459 | 208 | 2303 | 3455 | 3014 | 750 | 1502 | 12380 | 5852 | 40134
2055 | 4610 | 2764 | 3535 | 212 | 2353 | 3538 | 3087 | 768 | 1537 | 12612 | 5984 | 41000
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13b-L
Table I-13b-L: Building Electrification Summer Coincident Peak Demand - Lower Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 2 | 1 | 2 | 0 | 1 | 2 | 1 | 0 | 1 | 8 | 4 | 22
2026 | 5 | 3 | 4 | 0 | 2 | 4 | 4 | 1 | 2 | 20 | 8 | 53
2027 | 8 | 5 | 7 | 0 | 4 | 6 | 6 | 1 | 3 | 33 | 14 | 87
2028 | 11 | 7 | 10 | 1 | 6 | 9 | 9 | 2 | 4 | 48 | 18 | 125
2029 | 15 | 9 | 13 | 1 | 8 | 12 | 12 | 2 | 6 | 68 | 23 | 169
2030 | 19 | 12 | 17 | 1 | 10 | 16 | 15 | 3 | 8 | 71 | 28 | 200
2031 | 23 | 14 | 21 | 1 | 12 | 20 | 18 | 4 | 9 | 100 | 34 | 256
2032 | 28 | 18 | 26 | 1 | 15 | 24 | 23 | 4 | 11 | 121 | 41 | 312
2033 | 33 | 21 | 31 | 2 | 18 | 29 | 27 | 5 | 14 | 145 | 49 | 374
2034 | 40 | 25 | 37 | 2 | 21 | 34 | 32 | 6 | 16 | 172 | 58 | 443
2035 | 46 | 29 | 43 | 2 | 25 | 40 | 38 | 7 | 19 | 200 | 68 | 517
2036 | 54 | 34 | 49 | 2 | 28 | 46 | 44 | 9 | 22 | 232 | 79 | 599
2037 | 63 | 39 | 56 | 3 | 33 | 52 | 50 | 10 | 26 | 266 | 88 | 686
2038 | 71 | 43 | 63 | 3 | 37 | 59 | 56 | 11 | 29 | 299 | 99 | 770
2039 | 81 | 49 | 70 | 4 | 43 | 65 | 63 | 13 | 33 | 337 | 108 | 866
2040 | 89 | 54 | 78 | 4 | 47 | 72 | 70 | 14 | 36 | 372 | 120 | 956
2041 | 101 | 60 | 85 | 5 | 52 | 78 | 76 | 16 | 41 | 410 | 129 | 1053
2042 | 107 | 64 | 93 | 5 | 56 | 86 | 84 | 17 | 44 | 443 | 143 | 1142
2043 | 114 | 69 | 100 | 5 | 60 | 93 | 91 | 19 | 47 | 477 | 155 | 1230
2044 | 120 | 74 | 108 | 6 | 63 | 101 | 99 | 20 | 49 | 508 | 170 | 1318
2045 | 129 | 79 | 114 | 6 | 66 | 106 | 106 | 21 | 51 | 549 | 183 | 1410
2046 | 133 | 83 | 121 | 6 | 69 | 114 | 113 | 22 | 53 | 578 | 197 | 1489
2047 | 140 | 88 | 127 | 6 | 73 | 121 | 120 | 23 | 57 | 609 | 208 | 1572
2048 | 149 | 92 | 133 | 7 | 75 | 125 | 126 | 24 | 58 | 647 | 221 | 1657
2049 | 154 | 96 | 138 | 7 | 78 | 130 | 132 | 25 | 61 | 672 | 230 | 1723
2050 | 159 | 99 | 140 | 7 | 85 | 135 | 133 | 26 | 64 | 695 | 234 | 1777
2051 | 163 | 102 | 144 | 7 | 87 | 139 | 136 | 27 | 66 | 712 | 240 | 1823
2052 | 166 | 103 | 146 | 8 | 89 | 142 | 139 | 27 | 67 | 725 | 245 | 1857
2053 | 168 | 105 | 148 | 8 | 90 | 144 | 141 | 28 | 68 | 735 | 248 | 1883
2054 | 171 | 106 | 149 | 8 | 91 | 145 | 141 | 28 | 69 | 754 | 250 | 1912
2055 | 172 | 107 | 150 | 8 | 92 | 146 | 142 | 28 | 69 | 755 | 252 | 1921
Note: Reflects end-use electrification of space conditioning, water heating, cooking, and other end-uses.

## I-13c-L
Table I-13c-L: Building Electrification Winter Coincident Peak Demand - Lower Demand Scenario
Reflects Cumulative Future Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 12 | 8 | 9 | 1 | 7 | 10 | 9 | 2 | 4 | 32 | 10 | 104
2026-27 | 32 | 20 | 24 | 2 | 18 | 26 | 22 | 5 | 9 | 82 | 31 | 271
2027-28 | 57 | 36 | 43 | 3 | 32 | 48 | 39 | 8 | 17 | 151 | 55 | 489
2028-29 | 76 | 48 | 57 | 4 | 43 | 64 | 52 | 11 | 22 | 200 | 74 | 651
2029-30 | 96 | 61 | 72 | 5 | 54 | 81 | 67 | 14 | 28 | 254 | 94 | 826
2030-31 | 118 | 76 | 89 | 6 | 67 | 100 | 83 | 18 | 35 | 310 | 115 | 1017
2031-32 | 140 | 90 | 100 | 8 | 80 | 120 | 100 | 22 | 45 | 410 | 160 | 1275
2032-33 | 171 | 108 | 129 | 10 | 101 | 149 | 123 | 31 | 59 | 517 | 206 | 1604
2033-34 | 218 | 136 | 164 | 13 | 132 | 194 | 160 | 43 | 82 | 717 | 294 | 2153
2034-35 | 254 | 164 | 198 | 15 | 162 | 238 | 198 | 54 | 102 | 902 | 374 | 2661
2035-36 | 311 | 194 | 233 | 18 | 194 | 282 | 237 | 65 | 122 | 1089 | 456 | 3201
2036-37 | 374 | 242 | 288 | 22 | 242 | 352 | 298 | 78 | 152 | 1360 | 570 | 3978
2037-38 | 437 | 290 | 345 | 26 | 293 | 424 | 362 | 92 | 182 | 1633 | 686 | 4770
2038-39 | 498 | 331 | 393 | 30 | 334 | 485 | 415 | 106 | 207 | 1862 | 785 | 5446
2039-40 | 561 | 374 | 444 | 34 | 377 | 548 | 470 | 120 | 234 | 2099 | 887 | 6148
2040-41 | 630 | 422 | 497 | 38 | 429 | 622 | 539 | 135 | 262 | 2382 | 1011 | 6967
2041-42 | 702 | 471 | 554 | 42 | 478 | 695 | 603 | 151 | 292 | 2648 | 1128 | 7764
2042-43 | 778 | 522 | 614 | 47 | 529 | 772 | 670 | 168 | 325 | 2928 | 1251 | 8604
2043-44 | 854 | 574 | 674 | 51 | 581 | 850 | 738 | 185 | 358 | 3211 | 1376 | 9452
2044-45 | 934 | 628 | 738 | 56 | 635 | 933 | 810 | 203 | 393 | 3505 | 1507 | 10342
2045-46 | 1011 | 688 | 808 | 62 | 695 | 1018 | 865 | 222 | 431 | 3770 | 1657 | 11227
2046-47 | 1095 | 746 | 875 | 67 | 751 | 1106 | 941 | 241 | 468 | 4075 | 1795 | 12160
2047-48 | 1169 | 805 | 944 | 72 | 810 | 1190 | 992 | 260 | 507 | 4327 | 1945 | 13021
2048-49 | 1247 | 858 | 1016 | 77 | 860 | 1253 | 1058 | 279 | 546 | 4629 | 2057 | 13880
2049-50 | 1318 | 915 | 1094 | 83 | 914 | 1315 | 1103 | 298 | 588 | 4893 | 2185 | 14706
2050-51 | 1391 | 966 | 1164 | 88 | 962 | 1375 | 1167 | 317 | 626 | 5184 | 2293 | 15533
2051-52 | 1458 | 1014 | 1221 | 92 | 1009 | 1446 | 1227 | 334 | 659 | 5427 | 2408 | 16295
2052-53 | 1521 | 1060 | 1274 | 96 | 1053 | 1513 | 1285 | 350 | 689 | 5650 | 2517 | 17008
2053-54 | 1580 | 1101 | 1323 | 100 | 1094 | 1577 | 1339 | 365 | 717 | 5854 | 2617 | 17667
2054-55 | 1636 | 1141 | 1370 | 103 | 1132 | 1638 | 1391 | 379 | 744 | 6046 | 2711 | 18291
2055-56 | 1681 | 1174 | 1408 | 106 | 1163 | 1687 | 1433 | 391 | 767 | 6201 | 2789 | 18800
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13d
Table I-13d: Electrification Impacts by Scenario
Reflects Cumulative Impacts
NYCA Annual Energy Usage - GWh
Year | Baseline Forecast |  |  | Lower Demand Scenario |  |  | Higher Demand Scenario
| EV | Building | Total | EV | Building | Total | EV | Building | Total
2025 | 1353 | 411 | 1764 | 1353 | 359 | 1712 | 1353 | 651 | 2004
2026 | 1796 | 1177 | 2973 | 1724 | 972 | 2696 | 1844 | 1483 | 3327
2027 | 2383 | 1979 | 4362 | 2178 | 1566 | 3744 | 2519 | 2455 | 4974
2028 | 3133 | 2971 | 6104 | 2725 | 2232 | 4957 | 3404 | 3573 | 6977
2029 | 4067 | 3998 | 8065 | 3381 | 2949 | 6330 | 4519 | 4838 | 9357
2030 | 5208 | 5038 | 10246 | 4152 | 3746 | 7898 | 5893 | 6243 | 12136
2031 | 6579 | 6097 | 12676 | 5035 | 4631 | 9666 | 7576 | 7853 | 15429
2032 | 8209 | 7235 | 15444 | 6038 | 5622 | 11660 | 9598 | 9706 | 19304
2033 | 10128 | 8447 | 18575 | 7158 | 6717 | 13875 | 12021 | 11814 | 23835
2034 | 12373 | 9844 | 22217 | 8411 | 7920 | 16331 | 14902 | 14095 | 28997
2035 | 14984 | 11352 | 26336 | 9780 | 9234 | 19014 | 18303 | 16661 | 34964
2036 | 17663 | 13623 | 31286 | 11263 | 10638 | 21901 | 21775 | 19584 | 41359
2037 | 20392 | 16245 | 36637 | 12852 | 12136 | 24988 | 25296 | 22772 | 48068
2038 | 23142 | 19123 | 42265 | 14532 | 13737 | 28269 | 28831 | 26221 | 55052
2039 | 25889 | 21874 | 47763 | 16294 | 15440 | 31734 | 32355 | 29908 | 62263
2040 | 28607 | 24647 | 53254 | 18126 | 17235 | 35361 | 35822 | 33777 | 69599
2041 | 31277 | 27103 | 58380 | 20034 | 19101 | 39135 | 39212 | 37752 | 76964
2042 | 33891 | 29404 | 63295 | 22023 | 21050 | 43073 | 42503 | 41792 | 84295
2043 | 36433 | 31573 | 68006 | 24100 | 23039 | 47139 | 45675 | 45789 | 91464
2044 | 38883 | 33657 | 72540 | 26257 | 25069 | 51326 | 48693 | 49703 | 98396
2045 | 41213 | 35407 | 76620 | 28456 | 27098 | 55554 | 51528 | 53431 | 104959
2046 | 43328 | 36990 | 80318 | 30649 | 29149 | 59798 | 54060 | 56955 | 111015
2047 | 45215 | 38438 | 83653 | 32806 | 31184 | 63990 | 56277 | 60213 | 116490
2048 | 46873 | 39974 | 86847 | 34895 | 32801 | 67696 | 58184 | 63191 | 121375
2049 | 48311 | 41230 | 89541 | 36902 | 34332 | 71234 | 59815 | 65808 | 125623
2050 | 49535 | 42855 | 92390 | 38807 | 35851 | 74658 | 61216 | 68220 | 129436
2051 | 50351 | 43889 | 94240 | 40265 | 37032 | 77297 | 61980 | 69889 | 131869
2052 | 50907 | 44931 | 95838 | 41574 | 38167 | 79741 | 62614 | 71300 | 133914
2053 | 51378 | 45766 | 97144 | 42730 | 39183 | 81913 | 63150 | 72408 | 135558
2054 | 51742 | 46577 | 98319 | 43733 | 40134 | 83867 | 63598 | 73297 | 136895
2055 | 51978 | 47333 | 99311 | 44582 | 41000 | 85582 | 63966 | 73985 | 137951
Note: Electric Vehicle annual energy usage from Tables I-1b, I-11b, I-15a, and I-16a.
Includes light duty vehicles, medium and heavy duty vechiles, and buses.
Note: Building electrification annual energy usage from Tables I-1b, I-13a, I-15a, and I-16a.
Includes electrification of space heating, water heating, cooking, and other end uses.

## I-14-L
Table I-14-L: Large Load Forecast - Lower Demand Scenario
Reflects Cumulative Existing and Future Load Impacts of Large Load Projects
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 1930 | 40 | 0 | 1290 | 90 | 0 | 320 | 0 | 0 | 0 | 0 | 3670
2026 | 1880 | 80 | 510 | 2540 | 70 | 0 | 300 | 0 | 0 | 0 | 0 | 5380
2027 | 1960 | 80 | 1180 | 3330 | 100 | 160 | 380 | 0 | 0 | 0 | 0 | 7190
2028 | 1960 | 80 | 2020 | 3340 | 150 | 160 | 420 | 0 | 0 | 0 | 0 | 8130
2029 | 1960 | 80 | 3100 | 3340 | 200 | 160 | 430 | 0 | 0 | 0 | 270 | 9540
2030 | 1960 | 80 | 4580 | 3340 | 250 | 160 | 440 | 0 | 0 | 0 | 560 | 11370
2031 | 1960 | 80 | 5380 | 3340 | 280 | 160 | 450 | 0 | 0 | 0 | 790 | 12440
2032 | 1960 | 80 | 6190 | 3340 | 280 | 160 | 480 | 0 | 0 | 0 | 930 | 13420
2033 | 1960 | 80 | 6990 | 3340 | 280 | 160 | 490 | 0 | 0 | 0 | 1040 | 14340
2034 | 1960 | 80 | 7200 | 3340 | 280 | 160 | 520 | 0 | 0 | 0 | 1120 | 14660
2035 | 1960 | 80 | 7400 | 3340 | 280 | 160 | 550 | 0 | 0 | 0 | 1150 | 14920
2036 | 1960 | 80 | 7400 | 3340 | 280 | 160 | 520 | 0 | 0 | 0 | 1160 | 14900
2037 | 1960 | 80 | 7400 | 3340 | 280 | 160 | 540 | 0 | 0 | 0 | 1140 | 14900
2038 | 1960 | 80 | 7400 | 3340 | 280 | 160 | 550 | 0 | 0 | 0 | 1140 | 14910
2039 | 1960 | 80 | 7400 | 3340 | 280 | 160 | 570 | 0 | 0 | 0 | 1150 | 14940
Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025 | 250 | 5 | 0 | 166 | 13 | 0 | 32 | 0 | 0 | 0 | 0 | 466
2026 | 250 | 11 | 72 | 329 | 10 | 0 | 36 | 0 | 0 | 0 | 0 | 708
2027 | 250 | 11 | 168 | 431 | 15 | 20 | 46 | 0 | 0 | 0 | 0 | 941
2028 | 250 | 11 | 288 | 431 | 21 | 20 | 52 | 0 | 0 | 0 | 0 | 1073
2029 | 250 | 11 | 442 | 433 | 29 | 20 | 54 | 0 | 0 | 0 | 38 | 1277
2030 | 250 | 11 | 653 | 433 | 35 | 20 | 55 | 0 | 0 | 0 | 65 | 1522
2031 | 250 | 11 | 768 | 433 | 35 | 20 | 56 | 0 | 0 | 0 | 95 | 1668
2032 | 250 | 11 | 883 | 433 | 35 | 20 | 59 | 0 | 0 | 0 | 114 | 1805
2033 | 250 | 11 | 998 | 433 | 35 | 20 | 61 | 0 | 0 | 0 | 129 | 1937
2034 | 250 | 11 | 1027 | 433 | 35 | 20 | 64 | 0 | 0 | 0 | 141 | 1981
2035 | 250 | 11 | 1056 | 433 | 35 | 20 | 68 | 0 | 0 | 0 | 145 | 2018
2036 | 250 | 11 | 1056 | 433 | 35 | 20 | 65 | 0 | 0 | 0 | 147 | 2017
2037 | 250 | 11 | 1056 | 433 | 35 | 20 | 67 | 0 | 0 | 0 | 143 | 2015
2038 | 250 | 11 | 1056 | 433 | 35 | 20 | 69 | 0 | 0 | 0 | 144 | 2018
2039 | 250 | 11 | 1056 | 433 | 35 | 20 | 71 | 0 | 0 | 0 | 145 | 2021
Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2025-26 | 250 | 5 | 0 | 169 | 14 | 0 | 32 | 0 | 0 | 0 | 0 | 470
2026-27 | 250 | 11 | 72 | 391 | 15 | 0 | 36 | 0 | 0 | 0 | 0 | 775
2027-28 | 250 | 11 | 168 | 431 | 18 | 20 | 46 | 0 | 0 | 0 | 0 | 944
2028-29 | 250 | 11 | 288 | 433 | 25 | 20 | 52 | 0 | 0 | 0 | 19 | 1098
2029-30 | 250 | 11 | 442 | 433 | 33 | 20 | 54 | 0 | 0 | 0 | 86 | 1329
2030-31 | 250 | 11 | 653 | 433 | 35 | 20 | 55 | 0 | 0 | 0 | 115 | 1572
2031-32 | 250 | 11 | 768 | 433 | 35 | 20 | 56 | 0 | 0 | 0 | 143 | 1716
2032-33 | 250 | 11 | 883 | 433 | 35 | 20 | 59 | 0 | 0 | 0 | 157 | 1848
2033-34 | 250 | 11 | 998 | 433 | 35 | 20 | 61 | 0 | 0 | 0 | 166 | 1974
2034-35 | 250 | 11 | 1027 | 433 | 35 | 20 | 64 | 0 | 0 | 0 | 176 | 2016
2035-36 | 250 | 11 | 1056 | 433 | 35 | 20 | 68 | 0 | 0 | 0 | 179 | 2052
2036-37 | 250 | 11 | 1056 | 433 | 35 | 20 | 65 | 0 | 0 | 0 | 180 | 2050
2037-38 | 250 | 11 | 1056 | 433 | 35 | 20 | 67 | 0 | 0 | 0 | 177 | 2049
2038-39 | 250 | 11 | 1056 | 433 | 35 | 20 | 69 | 0 | 0 | 0 | 177 | 2051
2039-40 | 250 | 11 | 1056 | 433 | 35 | 20 | 71 | 0 | 0 | 0 | 178 | 2054
Notes:
Forecasts for 2040 onward match the final year forecasts in these tables.
These forecast values are embedded in the final annual energy, summer peak, and winter peak demand forecasts.
Table IV-7 lists the NYISO Interconnection Queue information for proposed interconnecting large loads. These forecast tables do not necessarily reflect the proposed date and MW values listed in Table IV-7, and include impacts for load projects not listed in the NYISO Interconnection Queue as of March 15, 2025.