## I-1a
Table I-1a: NYCA Baseline Energy and Demand Forecasts
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
2026 Long Term Forecast1 - 2026 to 2056
Energy - GWh |  |  |  | Summer Peak Demand2 - MW |  |  |  | Winter Peak Demand2 - MW
Year | Lower3 | Baseline4 | Higher3 | Year | Lower3 | Baseline4, 5 | Higher3 | Year | Lower3 | Baseline4 | Higher3
2025 |  | 151059 |  | 2025 |  | 31405 |  | 2025-26 |  | 24250
2026 | 150720 | 152600 | 153420 | 2026 | 31210 | 31578 | 31650 | 2026-27 | 24040 | 24620 | 24900
2027 | 149730 | 155030 | 156770 | 2027 | 31000 | 31880 | 32220 | 2027-28 | 24060 | 25110 | 25560
2028 | 149490 | 156760 | 160530 | 2028 | 30900 | 31980 | 32580 | 2028-29 | 24090 | 25410 | 26200
2029 | 149050 | 157740 | 165450 | 2029 | 30790 | 32070 | 33290 | 2029-30 | 24100 | 25880 | 27250
2030 | 149300 | 160160 | 170180 | 2030 | 30660 | 32250 | 33740 | 2030-31 | 24120 | 26310 | 27870
2031 | 149510 | 161830 | 174220 | 2031 | 30480 | 32420 | 34230 | 2031-32 | 24150 | 26690 | 28590
2032 | 149790 | 163940 | 178790 | 2032 | 30410 | 32560 | 34710 | 2032-33 | 24170 | 27120 | 29380
2033 | 149570 | 165740 | 182830 | 2033 | 30260 | 32760 | 35280 | 2033-34 | 24180 | 27550 | 30100
2034 | 149600 | 167950 | 186710 | 2034 | 30130 | 32920 | 35690 | 2034-35 | 24190 | 28000 | 30790
2035 | 149600 | 170170 | 190550 | 2035 | 30030 | 33140 | 36170 | 2035-36 | 24200 | 28480 | 31640
2036 | 149850 | 172980 | 195130 | 2036 | 29940 | 33430 | 36720 | 2036-37 | 24250 | 29060 | 32650
2037 | 149870 | 175440 | 199510 | 2037 | 29840 | 33720 | 37310 | 2037-38 | 24310 | 29610 | 33570
2038 | 150150 | 178210 | 204290 | 2038 | 29710 | 34020 | 37900 | 2038-39 | 24350 | 30190 | 34480
2039 | 150530 | 180960 | 208980 | 2039 | 29580 | 34270 | 38460 | 2039-40 | 24430 | 30810 | 35450
2040 | 150950 | 183800 | 213670 | 2040 | 29450 | 34480 | 38960 | 2040-41 | 24540 | 31400 | 36360
2041 | 151080 | 185770 | 217450 | 2041 | 29320 | 34660 | 39450 | 2041-42 | 24670 | 32040 | 37320
2042 | 151350 | 188010 | 221470 | 2042 | 29200 | 34850 | 39940 | 2042-43 | 24800 | 32630 | 38220
2043 | 151930 | 190490 | 225750 | 2043 | 29110 | 35020 | 40400 | 2043-44 | 24930 | 33280 | 39130
2044 | 152660 | 193160 | 230180 | 2044 | 29030 | 35210 | 40880 | 2044-45 | 25050 | 33840 | 40010
2045 | 153160 | 195160 | 233880 | 2045 | 28940 | 35390 | 41330 | 2045-46 | 25180 | 34310 | 40790
2046 | 153910 | 197550 | 237930 | 2046 | 28870 | 35580 | 41770 | 2046-47 | 25350 | 34800 | 41580
2047 | 154790 | 199730 | 241690 | 2047 | 28830 | 35760 | 42180 | 2047-48 | 25540 | 35290 | 42360
2048 | 155820 | 202170 | 245690 | 2048 | 28790 | 35940 | 42610 | 2048-49 | 25710 | 35790 | 43130
2049 | 156660 | 203830 | 248700 | 2049 | 28770 | 36100 | 43000 | 2049-50 | 25870 | 36230 | 43830
2050 | 157740 | 205760 | 251930 | 2050 | 28750 | 36280 | 43420 | 2050-51 | 26030 | 36560 | 44380
2051 | 158800 | 207170 | 254430 | 2051 | 28740 | 36420 | 43720 | 2051-52 | 26170 | 36860 | 44870
2052 | 159970 | 208860 | 257160 | 2052 | 28730 | 36560 | 44030 | 2052-53 | 26310 | 37150 | 45330
2053 | 160820 | 209630 | 258850 | 2053 | 28720 | 36670 | 44280 | 2053-54 | 26440 | 37350 | 45680
2054 | 161700 | 210620 | 260660 | 2054 | 28710 | 36740 | 44480 | 2054-55 | 26560 | 37570 | 46020
2055 | 162660 | 211520 | 262400 | 2055 | 28700 | 36810 | 44670 | 2055-56 | 26660 | 37770 | 46320
2056 | 163750 | 212630 | 264360 | 2056 | 28700 | 36860 | 44820 | 2056-57 | 26770 | 37940 | 46590
Average Annual Growth - Percent
Period | Lower | Baseline | Higher | Period | Lower | Baseline | Higher | Period | Lower | Baseline | Higher
2026-31 | -0.1611% | 1.181% | 2.575% | 2026-31 | -0.4722% | 0.5277% | 1.58% | 2026-31 | 0.09135% | 1.628% | 2.802%
2031-36 | 0.04544% | 1.342% | 2.293% | 2031-36 | -0.3569% | 0.6154% | 1.414% | 2031-36 | 0.08268% | 1.716% | 2.691%
2036-41 | 0.1636% | 1.437% | 2.19% | 2036-41 | -0.4176% | 0.7253% | 1.445% | 2036-41 | 0.344% | 1.972% | 2.71%
2041-46 | 0.3719% | 1.237% | 1.816% | 2041-46 | -0.3089% | 0.5253% | 1.149% | 2041-46 | 0.5453% | 1.666% | 2.185%
2026-36 | -0.05787% | 1.261% | 2.434% | 2026-36 | -0.4146% | 0.5716% | 1.497% | 2026-36 | 0.08701% | 1.672% | 2.747%
2036-46 | 0.2677% | 1.337% | 2.003% | 2036-46 | -0.3633% | 0.6252% | 1.297% | 2036-46 | 0.4446% | 1.819% | 2.447%
2046-56 | 0.6217% | 0.7383% | 1.059% | 2046-56 | -0.05904% | 0.3541% | 0.7073% | 2046-56 | 0.5465% | 0.8676% | 1.144%
2026-46 | 0.1048% | 1.299% | 2.218% | 2026-46 | -0.3889% | 0.5984% | 1.397% | 2026-46 | 0.2657% | 1.745% | 2.597%
2026-56 | 0.2768% | 1.112% | 1.83% | 2026-56 | -0.2791% | 0.5169% | 1.166% | 2026-56 | 0.3592% | 1.452% | 2.11%
Notes
1. All results in the Section I tables include transmission & distribution losses.
2. Summer Capability period is from May 1 to October 31. Winter Capability period is from November 1 of the current year to April 30 of the next year.
3. The lower and higher columns reflect the Lower Demand and Higher Demand forecasts under expected weather conditions, which are summarized in Tables I-15 and I-16.
These do not reflect the 90th and 10th percentile forecasts due to weather, which are found in Tables I-6 and I-7.
4. Energy and peak figures for 2025 are weather-normalized. The values for the actual annual energy, summer peak, and winter peak are reported in Tables I-2, I-3a, and I-3b respectively.
5. The 2026 NYCA summer peak forecast is the same as the 2026 ICAP forecast.

## Notes
2026 Gold Book Higher Demand Forecast Tables Notes
The following higher demand forecasts are the same as the baseline forecast:
Forecast | Tables
Energy Efficiency and Codes & Standards | I-8a,b,c
Behind-the-Meter Solar PV | I-9a,b,c,d
Behind-the-Meter Non-Solar Distributed Generation | I-10a,b,c
Energy Storage | I-12a,b,c

## I-16
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh | [10 empty] | Table I-16b: Summary of NYCA Higher Demand Summer Coincident Peak Forecasts - MW | [10 empty] | Table I-16c: Summary of NYCA Higher Demand Winter Coincident Peak Forecasts - MW
Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
|  | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d+e+f+g+h |  |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h |  |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h
| Econometric Energy | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | Storage Net Energy Consumption | EV Energy | Building Electrification | Large Load Projects | Higher Demand Annual Energy Forecast | Forecast With Baseline Large Loads |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Higher Demand Summer Peak Forecast | Forecast With Baseline Large Loads |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Higher Demand Winter Peak Forecast | Forecast With Baseline Large Loads
2026 | 161653 | 1301 | 9199 | 3926 | 245 | 1311 | 817 | 3820 | 153420 | 153240 | 2026 | 32791 | 322 | 941 | 448 | 301 | 252 | 41 | 578 | 31650 | 31610 | 2026-27 | 24418 | 169 | 0 | 448 | 301 | 473 | 220 | 707 | 24900 | 24900
2027 | 163275 | 2577 | 10365 | 4087 | 414 | 1596 | 1564 | 6950 | 156770 | 156690 | 2027 | 33262 | 637 | 1033 | 467 | 403 | 311 | 108 | 1079 | 32220 | 32216 | 2027-28 | 24580 | 333 | 0 | 467 | 403 | 551 | 382 | 1250 | 25560 | 25017
2028 | 164930 | 3819 | 11394 | 4230 | 582 | 1936 | 2425 | 10100 | 160530 | 159440 | 2028 | 33653 | 937 | 1105 | 482 | 511 | 366 | 157 | 1439 | 32580 | 32433 | 2028-29 | 24695 | 502 | 0 | 482 | 511 | 648 | 592 | 1760 | 26200 | 25147
2029 | 166048 | 5003 | 12281 | 4365 | 751 | 2350 | 3380 | 14570 | 165450 | 161430 | 2029 | 33957 | 1222 | 1168 | 499 | 623 | 449 | 203 | 2193 | 33290 | 32614 | 2029-30 | 24864 | 728 | 0 | 499 | 623 | 751 | 1070 | 2415 | 27250 | 25542
2030 | 167832 | 6565 | 13025 | 4411 | 920 | 2861 | 4548 | 18020 | 170180 | 164940 | 2030 | 34324 | 1573 | 1217 | 503 | 718 | 543 | 267 | 2617 | 33740 | 32954 | 2030-31 | 24866 | 948 | 0 | 503 | 718 | 870 | 1514 | 2789 | 27870 | 25788
2031 | 169452 | 8032 | 13647 | 4539 | 997 | 3487 | 5842 | 20660 | 174220 | 167710 | 2031 | 34721 | 1891 | 1255 | 518 | 802 | 654 | 341 | 2980 | 34230 | 33239 | 2031-32 | 24972 | 1162 | 0 | 518 | 802 | 1000 | 1944 | 3156 | 28590 | 26141
2032 | 171356 | 9415 | 14163 | 4662 | 1076 | 4264 | 7204 | 23130 | 178790 | 171020 | 2032 | 35034 | 2181 | 1282 | 532 | 869 | 821 | 407 | 3312 | 34710 | 33529 | 2032-33 | 25074 | 1378 | 0 | 532 | 869 | 1191 | 2393 | 3501 | 29380 | 26586
2033 | 172016 | 10697 | 14595 | 4784 | 1154 | 5236 | 8640 | 25860 | 182830 | 174070 | 2033 | 35308 | 2463 | 1304 | 546 | 940 | 1022 | 493 | 3710 | 35280 | 33949 | 2033-34 | 25144 | 1586 | 0 | 546 | 940 | 1392 | 2834 | 3802 | 30100 | 27005
2034 | 173047 | 11909 | 14962 | 4897 | 1231 | 6459 | 10121 | 27620 | 186710 | 177620 | 2034 | 35541 | 2712 | 1316 | 559 | 1011 | 1258 | 579 | 3910 | 35690 | 34334 | 2034-35 | 25196 | 1792 | 0 | 559 | 1011 | 1677 | 3290 | 3989 | 30790 | 27508
2035 | 174267 | 13057 | 15269 | 5011 | 1309 | 8002 | 11679 | 28630 | 190550 | 181320 | 2035 | 35861 | 2952 | 1319 | 571 | 1077 | 1534 | 675 | 4019 | 36170 | 34794 | 2035-36 | 25379 | 1995 | 0 | 571 | 1077 | 2033 | 3775 | 4096 | 31640 | 28251
2036 | 175906 | 14143 | 15535 | 5127 | 1388 | 9965 | 13286 | 29390 | 195130 | 185760 | 2036 | 36170 | 3164 | 1314 | 585 | 1142 | 1874 | 768 | 4113 | 36720 | 35324 | 2036-37 | 25528 | 2193 | 0 | 585 | 1142 | 2457 | 4395 | 4190 | 32650 | 29167
2037 | 176773 | 15109 | 15759 | 5242 | 1466 | 12462 | 14879 | 30040 | 199510 | 190010 | 2037 | 36462 | 3366 | 1303 | 598 | 1206 | 2263 | 861 | 4197 | 37310 | 35894 | 2037-38 | 25614 | 2392 | 0 | 598 | 1206 | 2934 | 4944 | 4274 | 33570 | 30003
2038 | 178084 | 16042 | 15961 | 5342 | 1544 | 14984 | 16493 | 30530 | 204290 | 194650 | 2038 | 36705 | 3552 | 1284 | 611 | 1261 | 2684 | 968 | 4251 | 37900 | 36464 | 2038-39 | 25713 | 2589 | 0 | 611 | 1261 | 3444 | 5456 | 4328 | 34480 | 30859
2039 | 179314 | 16948 | 16136 | 5437 | 1624 | 17515 | 18128 | 30920 | 208980 | 199220 | 2039 | 36892 | 3713 | 1263 | 621 | 1320 | 3125 | 1055 | 4305 | 38460 | 37004 | 2039-40 | 25847 | 2821 | 0 | 621 | 1320 | 3965 | 6028 | 4372 | 35450 | 31785
2040 | 180804 | 18036 | 16287 | 5526 | 1711 | 20043 | 19781 | 31180 | 213670 | 203890 | 2040 | 37097 | 3911 | 1245 | 631 | 1378 | 3547 | 1145 | 4336 | 38960 | 37504 | 2040-41 | 25908 | 3049 | 0 | 631 | 1378 | 4493 | 6624 | 4393 | 36360 | 32674
2041 | 181536 | 19007 | 16423 | 5605 | 1798 | 22554 | 21417 | 31180 | 217450 | 207670 | 2041 | 37279 | 4097 | 1222 | 641 | 1436 | 3975 | 1256 | 4336 | 39450 | 37994 | 2041-42 | 26012 | 3277 | 0 | 641 | 1436 | 4980 | 7289 | 4393 | 37320 | 33634
2042 | 182528 | 19958 | 16548 | 5673 | 1885 | 25032 | 23024 | 31180 | 221470 | 211690 | 2042 | 37470 | 4264 | 1201 | 649 | 1495 | 4401 | 1342 | 4336 | 39940 | 38484 | 2042-43 | 26144 | 3501 | 0 | 649 | 1495 | 5475 | 7853 | 4393 | 38220 | 34534
2043 | 183775 | 20839 | 16665 | 5740 | 1975 | 27484 | 24580 | 31180 | 225750 | 215970 | 2043 | 37610 | 4404 | 1184 | 656 | 1549 | 4826 | 1421 | 4336 | 40400 | 38944 | 2043-44 | 26283 | 3717 | 0 | 656 | 1549 | 5891 | 8485 | 4393 | 39130 | 35444
2044 | 185278 | 21714 | 16770 | 5808 | 2062 | 29885 | 26067 | 31180 | 230180 | 220400 | 2044 | 37773 | 4550 | 1160 | 664 | 1600 | 5222 | 1523 | 4336 | 40880 | 39424 | 2044-45 | 26357 | 3933 | 0 | 664 | 1600 | 6354 | 9103 | 4393 | 40010 | 36324
2045 | 186042 | 22474 | 16867 | 5874 | 2150 | 32219 | 27504 | 31180 | 233880 | 224100 | 2045 | 37882 | 4691 | 1132 | 671 | 1646 | 5637 | 1615 | 4336 | 41330 | 39874 | 2045-46 | 26429 | 4144 | 0 | 671 | 1646 | 6753 | 9676 | 4393 | 40790 | 37104
2046 | 187329 | 23225 | 16954 | 5936 | 2236 | 34457 | 28843 | 31180 | 237930 | 228150 | 2046 | 37996 | 4805 | 1101 | 679 | 1687 | 6011 | 1699 | 4336 | 41770 | 40314 | 2046-47 | 26517 | 4351 | 0 | 679 | 1687 | 7169 | 10218 | 4393 | 41580 | 37894
2047 | 188544 | 23961 | 17041 | 5990 | 2321 | 36551 | 30086 | 31180 | 241690 | 231910 | 2047 | 38108 | 4924 | 1063 | 685 | 1728 | 6373 | 1763 | 4336 | 42180 | 40724 | 2047-48 | 26608 | 4551 | 0 | 685 | 1728 | 7674 | 10649 | 4393 | 42360 | 38674
2048 | 190165 | 24634 | 17125 | 6045 | 2407 | 38428 | 31314 | 31180 | 245690 | 235910 | 2048 | 38250 | 5032 | 1022 | 691 | 1766 | 6691 | 1844 | 4336 | 42610 | 41154 | 2048-49 | 26705 | 4723 | 0 | 691 | 1766 | 8113 | 11099 | 4393 | 43130 | 39444
2049 | 191016 | 25195 | 17202 | 6097 | 2489 | 40068 | 32441 | 31180 | 248700 | 238920 | 2049 | 38375 | 5137 | 976 | 696 | 1800 | 6973 | 1925 | 4336 | 43000 | 41544 | 2049-50 | 26846 | 4881 | 0 | 696 | 1800 | 8397 | 11571 | 4393 | 43830 | 40144
2050 | 192438 | 25747 | 17280 | 6152 | 2574 | 41445 | 33472 | 31180 | 251930 | 242150 | 2050 | 38492 | 5223 | 929 | 703 | 1831 | 7258 | 2020 | 4336 | 43420 | 41964 | 2050-51 | 26946 | 5034 | 0 | 703 | 1831 | 8682 | 11927 | 4393 | 44380 | 40694
2051 | 193822 | 26281 | 17352 | 6206 | 2655 | 42222 | 34390 | 31180 | 254430 | 244650 | 2051 | 38611 | 5308 | 879 | 710 | 1861 | 7454 | 2077 | 4336 | 43720 | 42264 | 2051-52 | 27059 | 5179 | 0 | 710 | 1861 | 8899 | 12269 | 4393 | 44870 | 41184
2052 | 195632 | 26824 | 17423 | 6254 | 2737 | 42915 | 35197 | 31180 | 257160 | 247380 | 2052 | 38782 | 5398 | 829 | 715 | 1891 | 7609 | 2136 | 4336 | 44030 | 42574 | 2052-53 | 27185 | 5313 | 0 | 715 | 1891 | 9019 | 12652 | 4393 | 45330 | 41644
2053 | 196663 | 27276 | 17492 | 6300 | 2819 | 43359 | 35897 | 31180 | 258850 | 249070 | 2053 | 38915 | 5479 | 777 | 720 | 1915 | 7732 | 2188 | 4336 | 44280 | 42824 | 2053-54 | 27293 | 5441 | 0 | 720 | 1915 | 9161 | 12909 | 4393 | 45680 | 41994
2054 | 197996 | 27736 | 17560 | 6347 | 2901 | 43740 | 36486 | 31180 | 260660 | 250880 | 2054 | 39048 | 5566 | 725 | 725 | 1937 | 7807 | 2242 | 4336 | 44480 | 43024 | 2054-55 | 27396 | 5560 | 0 | 725 | 1937 | 9231 | 13222 | 4393 | 46020 | 42334
2055 | 199404 | 28186 | 17627 | 6395 | 2980 | 44072 | 36972 | 31180 | 262400 | 252620 | 2055 | 39225 | 5645 | 697 | 731 | 1957 | 7858 | 2281 | 4336 | 44670 | 43214 | 2055-56 | 27518 | 5671 | 0 | 731 | 1957 | 9292 | 13476 | 4393 | 46320 | 42634
2056 | 201174 | 28608 | 17691 | 6443 | 3058 | 44329 | 37361 | 31180 | 264360 | 254580 | 2056 | 39390 | 5719 | 669 | 737 | 1980 | 7878 | 2321 | 4336 | 44820 | 43364 | 2056-57 | 27624 | 5775 | 0 | 737 | 1980 | 9388 | 13677 | 4393 | 46590 | 42904
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (a) - Econometric Energy Forecast - Reflects impacts of projected weather trends and economic growth | (a) - Econometric Summer Peak Demand - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Winter Peak Demand - Reflects impacts of projected weather trendsand economic growth
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (b) - Table I-8a: Energy Efficiency and Codes & Standards Energy Impacts, Relative to 2025 | (b) - Table I-8b: Energy Efficiency and Codes & Standards Summer Coincident Peak Demand Reductions, Relative to 2025 | [10 empty] | (b) - Table I-8c: Energy Efficiency and Codes & Standards Winter Coincident Peak Demand Reductions, Relative to 2025-26
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (c) - Table I-9b: Solar PV Impacts, Behind-the-Meter - Total Reductions in Annual Energy | (c) - Table I-9c: Solar PV Impacts, Behind-the-Meter, Total Reductions in Summer Coincident Peak Demand | [10 empty] | (c) - The forecast of solar PV-related reductions to the winter peak is zero because the system typically peaks after sunset
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (d) - Table I-10b: Non-Solar Distributed Generation Impacts, Behind-the-Meter - Total Reductions in Annual Energy | (d) - Table I-10d: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand | [10 empty] | (d) - Table I-10c: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (e) - Table I-12b: Storage Annual Net Energy Consumption, both wholesale and behind-the-meter (pumped storage is not included - see Table III-2 for current resources) | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources)
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (f) - Table I-11b-H: Electric Vehicle Energy Usage | (f) - Table I-11c-H: Electric Vehicle Summer Coincident Peak Demand | [10 empty] | (f) - Table I-11d-H: Electric Vehicle Winter Coincident Peak Demand
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (g) - Table I-13a-H: Building Electrification Energy Usage - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | (g) - Table I-13b-H: Building Electrification Summer Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13c-H: Building Electrification Winter Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth | (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14-H: Large Loads Forecast - reflects existing plus future load growth
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (i) - Table I-2-H: Higher Demand Annual Energy Forecast | (i) - Table I-3a-H: Higher Demand Summer Coincident Peak Forecast | [10 empty] | (i) - Table I-3b-H: Higher Demand Winter Coincident Peak Forecast
Table I-16a: Summary of NYCA Higher Demand Annual Energy Forecasts - GWh Year: (j) - Higher Demand annual energy forecast with Baseline large load growth | (j) - Higher Demand summer peak forecast with Baseline large load growth | [10 empty] | (j) - Higher Demand winter peak forecast with Baseline large load growth

## I-2-H
Table I-2-H: Higher Demand Annual Energy Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 15840 | 9460 | 14750 | 5510 | 7270 | 11620 | 9730 | 2720 | 5810 | 50650 | 20060 | 153420
2027 | 16790 | 9470 | 14560 | 6830 | 7160 | 11490 | 10310 | 2720 | 5880 | 51320 | 20240 | 156770
2028 | 17400 | 10230 | 14460 | 7630 | 7330 | 11620 | 10640 | 2740 | 5980 | 51930 | 20570 | 160530
2029 | 18600 | 11070 | 14780 | 8450 | 7290 | 12190 | 10900 | 2750 | 6030 | 52400 | 20990 | 165450
2030 | 18900 | 11960 | 16110 | 8670 | 7250 | 12520 | 11130 | 2790 | 6110 | 53070 | 21670 | 170180
2031 | 18980 | 12080 | 17570 | 9160 | 7250 | 12730 | 11310 | 2820 | 6220 | 53880 | 22220 | 174220
2032 | 19140 | 12170 | 19540 | 9280 | 7300 | 12950 | 11510 | 2870 | 6350 | 54870 | 22810 | 178790
2033 | 19220 | 12240 | 21980 | 9260 | 7320 | 13140 | 11640 | 2910 | 6450 | 55450 | 23220 | 182830
2034 | 19390 | 12340 | 23680 | 9250 | 7400 | 13370 | 11840 | 2950 | 6570 | 56250 | 23670 | 186710
2035 | 19610 | 12500 | 24800 | 9250 | 7520 | 13610 | 12120 | 3010 | 6720 | 57270 | 24140 | 190550
2036 | 19940 | 12730 | 25780 | 9280 | 7700 | 13940 | 12480 | 3090 | 6910 | 58530 | 24750 | 195130
2037 | 20270 | 12960 | 26690 | 9290 | 7890 | 14280 | 12860 | 3180 | 7090 | 59610 | 25390 | 199510
2038 | 20660 | 13220 | 27490 | 9320 | 8110 | 14660 | 13290 | 3270 | 7300 | 60880 | 26090 | 204290
2039 | 21040 | 13480 | 28180 | 9340 | 8340 | 15050 | 13730 | 3360 | 7510 | 62140 | 26810 | 208980
2040 | 21440 | 13750 | 28760 | 9380 | 8580 | 15460 | 14180 | 3450 | 7700 | 63440 | 27530 | 213670
2041 | 21770 | 13970 | 29060 | 9380 | 8790 | 15820 | 14570 | 3520 | 7880 | 64510 | 28180 | 217450
2042 | 22130 | 14210 | 29380 | 9390 | 8990 | 16200 | 14970 | 3620 | 8070 | 65670 | 28840 | 221470
2043 | 22500 | 14470 | 29710 | 9430 | 9220 | 16600 | 15400 | 3700 | 8260 | 66930 | 29530 | 225750
2044 | 22890 | 14720 | 30060 | 9460 | 9450 | 17010 | 15830 | 3790 | 8460 | 68260 | 30250 | 230180
2045 | 23220 | 14940 | 30340 | 9470 | 9640 | 17370 | 16210 | 3870 | 8630 | 69330 | 30860 | 233880
2046 | 23560 | 15170 | 30660 | 9510 | 9840 | 17750 | 16610 | 3950 | 8810 | 70560 | 31510 | 237930
2047 | 23870 | 15390 | 30940 | 9530 | 10030 | 18110 | 16980 | 4020 | 8980 | 71720 | 32120 | 241690
2048 | 24190 | 15620 | 31240 | 9570 | 10200 | 18480 | 17350 | 4110 | 9170 | 73010 | 32750 | 245690
2049 | 24420 | 15780 | 31440 | 9570 | 10330 | 18760 | 17650 | 4170 | 9300 | 74030 | 33250 | 248700
2050 | 24660 | 15950 | 31660 | 9600 | 10460 | 19060 | 17940 | 4240 | 9460 | 75170 | 33730 | 251930
2051 | 24820 | 16070 | 31810 | 9620 | 10530 | 19280 | 18150 | 4290 | 9570 | 76190 | 34100 | 254430
2052 | 24980 | 16210 | 31970 | 9650 | 10610 | 19500 | 18380 | 4340 | 9700 | 77330 | 34490 | 257160
2053 | 25050 | 16280 | 32030 | 9650 | 10640 | 19640 | 18540 | 4380 | 9790 | 78120 | 34730 | 258850
2054 | 25120 | 16360 | 32100 | 9660 | 10670 | 19780 | 18700 | 4410 | 9880 | 79010 | 34970 | 260660
2055 | 25180 | 16430 | 32170 | 9670 | 10690 | 19920 | 18850 | 4460 | 9970 | 79860 | 35200 | 262400
2056 | 25260 | 16510 | 32260 | 9700 | 10720 | 20060 | 19020 | 4490 | 10060 | 80830 | 35450 | 264360
Note: Historical values reflect actual experienced weather conditions. Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3a-H
Table I-3a-H: Higher Demand Summer Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 2907 | 1831 | 2572 | 682 | 1275 | 2279 | 2298 | 614 | 1339 | 10840 | 5013 | 31650
2027 | 3015 | 1852 | 2513 | 952 | 1268 | 2252 | 2385 | 618 | 1351 | 10960 | 5054 | 32220
2028 | 3093 | 1960 | 2512 | 963 | 1305 | 2286 | 2388 | 620 | 1358 | 11010 | 5085 | 32580
2029 | 3263 | 2115 | 2521 | 1120 | 1288 | 2352 | 2429 | 621 | 1366 | 11090 | 5125 | 33290
2030 | 3251 | 2198 | 2740 | 1121 | 1281 | 2367 | 2440 | 627 | 1373 | 11140 | 5202 | 33740
2031 | 3239 | 2204 | 2977 | 1217 | 1276 | 2375 | 2455 | 628 | 1380 | 11200 | 5279 | 34230
2032 | 3236 | 2212 | 3253 | 1218 | 1280 | 2380 | 2464 | 631 | 1390 | 11300 | 5346 | 34710
2033 | 3239 | 2216 | 3544 | 1219 | 1288 | 2396 | 2482 | 636 | 1403 | 11440 | 5417 | 35280
2034 | 3242 | 2221 | 3716 | 1220 | 1300 | 2407 | 2502 | 640 | 1413 | 11560 | 5469 | 35690
2035 | 3269 | 2228 | 3779 | 1221 | 1323 | 2442 | 2535 | 648 | 1432 | 11750 | 5543 | 36170
2036 | 3300 | 2264 | 3972 | 1222 | 1350 | 2461 | 2566 | 653 | 1445 | 11910 | 5577 | 36720
2037 | 3336 | 2294 | 4086 | 1226 | 1406 | 2506 | 2600 | 661 | 1468 | 12080 | 5647 | 37310
2038 | 3372 | 2326 | 4198 | 1228 | 1446 | 2562 | 2642 | 670 | 1490 | 12250 | 5716 | 37900
2039 | 3407 | 2357 | 4282 | 1229 | 1484 | 2614 | 2684 | 680 | 1512 | 12420 | 5791 | 38460
2040 | 3444 | 2389 | 4323 | 1231 | 1516 | 2659 | 2733 | 691 | 1534 | 12580 | 5860 | 38960
2041 | 3480 | 2420 | 4362 | 1232 | 1545 | 2701 | 2781 | 702 | 1556 | 12740 | 5931 | 39450
2042 | 3518 | 2450 | 4398 | 1233 | 1572 | 2739 | 2839 | 712 | 1576 | 12900 | 6003 | 39940
2043 | 3551 | 2477 | 4432 | 1234 | 1597 | 2777 | 2890 | 724 | 1597 | 13050 | 6071 | 40400
2044 | 3590 | 2508 | 4467 | 1236 | 1623 | 2816 | 2937 | 734 | 1617 | 13210 | 6142 | 40880
2045 | 3629 | 2533 | 4503 | 1237 | 1649 | 2858 | 2977 | 745 | 1638 | 13350 | 6211 | 41330
2046 | 3663 | 2559 | 4538 | 1240 | 1675 | 2903 | 3017 | 752 | 1656 | 13480 | 6287 | 41770
2047 | 3692 | 2583 | 4557 | 1242 | 1699 | 2948 | 3051 | 761 | 1677 | 13610 | 6360 | 42180
2048 | 3724 | 2609 | 4585 | 1244 | 1724 | 2992 | 3086 | 769 | 1696 | 13750 | 6431 | 42610
2049 | 3747 | 2637 | 4604 | 1245 | 1747 | 3037 | 3123 | 777 | 1718 | 13870 | 6495 | 43000
2050 | 3771 | 2656 | 4640 | 1245 | 1765 | 3079 | 3164 | 784 | 1736 | 14020 | 6560 | 43420
2051 | 3788 | 2668 | 4651 | 1247 | 1775 | 3108 | 3206 | 790 | 1752 | 14130 | 6605 | 43720
2052 | 3801 | 2678 | 4666 | 1249 | 1784 | 3135 | 3247 | 795 | 1766 | 14260 | 6649 | 44030
2053 | 3811 | 2686 | 4675 | 1247 | 1791 | 3155 | 3280 | 802 | 1781 | 14380 | 6672 | 44280
2054 | 3819 | 2694 | 4676 | 1249 | 1795 | 3168 | 3304 | 806 | 1791 | 14490 | 6688 | 44480
2055 | 3825 | 2697 | 4688 | 1248 | 1796 | 3176 | 3316 | 811 | 1802 | 14600 | 6711 | 44670
2056 | 3829 | 2702 | 4691 | 1247 | 1798 | 3181 | 3327 | 815 | 1813 | 14690 | 6727 | 44820
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3b-H
Table I-3b-H: Higher Demand Winter Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 2395 | 1533 | 2590 | 842 | 1354 | 1951 | 1715 | 515 | 957 | 7760 | 3288 | 24900
2027-28 | 2484 | 1602 | 2562 | 1124 | 1356 | 1978 | 1807 | 517 | 976 | 7830 | 3324 | 25560
2028-29 | 2622 | 1714 | 2570 | 1207 | 1354 | 2052 | 1862 | 522 | 1001 | 7880 | 3416 | 26200
2029-30 | 2719 | 1904 | 2776 | 1284 | 1361 | 2118 | 1910 | 533 | 1036 | 8070 | 3539 | 27250
2030-31 | 2767 | 1955 | 2858.0046 | 1322.9954 | 1368 | 2147 | 1977 | 536 | 1064 | 8190 | 3685 | 27870
2031-32 | 2817 | 1980 | 3077 | 1369 | 1374 | 2174 | 2010 | 541 | 1081 | 8300 | 3867 | 28590
2032-33 | 2848 | 2013 | 3388 | 1371 | 1381 | 2205 | 2054 | 541 | 1112 | 8470 | 3997 | 29380
2033-34 | 2899 | 2041 | 3574 | 1374 | 1408 | 2284 | 2084 | 549 | 1142 | 8660 | 4085 | 30100
2034-35 | 2953 | 2069 | 3700 | 1377 | 1425 | 2304 | 2153 | 562 | 1184 | 8830 | 4233 | 30790
2035-36 | 3029 | 2110 | 3844 | 1380 | 1457 | 2364 | 2201 | 576 | 1234 | 9130 | 4315 | 31640
2036-37 | 3140 | 2171 | 3968 | 1383 | 1500 | 2454 | 2307 | 600 | 1267 | 9370 | 4490 | 32650
2037-38 | 3233 | 2230 | 4102 | 1388 | 1534 | 2515 | 2389 | 624 | 1310 | 9600 | 4645 | 33570
2038-39 | 3322 | 2290 | 4209 | 1391 | 1591 | 2589 | 2472 | 644 | 1352 | 9840 | 4780 | 34480
2039-40 | 3421 | 2351 | 4321 | 1397 | 1649 | 2671 | 2561 | 665 | 1386 | 10080 | 4948 | 35450
2040-41 | 3509 | 2413 | 4402 | 1399 | 1696 | 2762 | 2641 | 690 | 1428 | 10300 | 5120 | 36360
2041-42 | 3602 | 2469 | 4495 | 1403 | 1744 | 2851 | 2735 | 710 | 1463 | 10550 | 5298 | 37320
2042-43 | 3688 | 2530 | 4554 | 1406 | 1794 | 2927 | 2832 | 727 | 1498 | 10800 | 5464 | 38220
2043-44 | 3779 | 2591 | 4625 | 1408 | 1835 | 3015 | 2916 | 743 | 1538 | 11050 | 5630 | 39130
2044-45 | 3856 | 2652 | 4695 | 1410 | 1883 | 3088 | 3014 | 764 | 1582 | 11300 | 5766 | 40010
2045-46 | 3930 | 2703 | 4747 | 1413 | 1920 | 3166 | 3098 | 782 | 1623 | 11520 | 5888 | 40790
2046-47 | 4004 | 2755 | 4811 | 1414 | 1959 | 3247 | 3184 | 801 | 1664 | 11730 | 6011 | 41580
2047-48 | 4065 | 2805 | 4881 | 1418 | 2002 | 3330 | 3240 | 819 | 1696 | 11960 | 6144 | 42360
2048-49 | 4139 | 2845 | 4929 | 1419 | 2046 | 3405 | 3319 | 840 | 1728 | 12170 | 6290 | 43130
2049-50 | 4200 | 2884 | 4993 | 1420 | 2082 | 3496 | 3388 | 853 | 1753 | 12340 | 6421 | 43830
2050-51 | 4259 | 2912 | 5020 | 1420 | 2102 | 3561 | 3436 | 867 | 1781 | 12510 | 6512 | 44380
2051-52 | 4303 | 2935 | 5043 | 1420 | 2140 | 3603 | 3477 | 873 | 1802 | 12690 | 6584 | 44870
2052-53 | 4345 | 2958 | 5070 | 1420 | 2150 | 3650 | 3528 | 882 | 1830 | 12840 | 6657 | 45330
2053-54 | 4364 | 2975 | 5098 | 1420 | 2157 | 3677 | 3577 | 888 | 1850 | 12970 | 6704 | 45680
2054-55 | 4386 | 2990 | 5118 | 1421 | 2163 | 3700 | 3607 | 895 | 1869 | 13100 | 6771 | 46020
2055-56 | 4404 | 3002 | 5129 | 1421 | 2168 | 3719 | 3633 | 898 | 1885 | 13230 | 6831 | 46320
2056-57 | 4421 | 3011 | 5134 | 1423 | 2172 | 3735 | 3655 | 905 | 1900 | 13350 | 6884 | 46590
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4a-H
Table I-4a-H: Higher Demand Summer Non-Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Non-Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2026 | 3010 | 1893 | 2661 | 695 | 1314 | 2349 | 2358 | 629 | 1372 | 11110 | 5101
2027 | 3122 | 1914 | 2600 | 970 | 1307 | 2321 | 2447 | 633 | 1384 | 11230 | 5143
2028 | 3203 | 2026 | 2599 | 981 | 1345 | 2356 | 2451 | 635 | 1391 | 11280 | 5174
2029 | 3379 | 2186 | 2608 | 1141 | 1327 | 2424 | 2493 | 636 | 1399 | 11360 | 5215
2030 | 3367 | 2272 | 2835 | 1142 | 1320 | 2439 | 2504 | 642 | 1407 | 11410 | 5294
2031 | 3354 | 2278 | 3080 | 1240 | 1315 | 2447 | 2519 | 643 | 1414 | 11470 | 5372
2032 | 3351 | 2286 | 3365 | 1241 | 1319 | 2453 | 2529 | 646 | 1424 | 11580 | 5440
2033 | 3354 | 2290 | 3666 | 1242 | 1327 | 2469 | 2547 | 652 | 1437 | 11720 | 5512
2034 | 3357 | 2296 | 3844 | 1243 | 1340 | 2480 | 2568 | 656 | 1448 | 11840 | 5565
2035 | 3385 | 2303 | 3909 | 1244 | 1363 | 2516 | 2601 | 664 | 1467 | 12040 | 5641
2036 | 3417 | 2340 | 4109 | 1245 | 1391 | 2536 | 2633 | 669 | 1480 | 12200 | 5675
2037 | 3455 | 2371 | 4227 | 1249 | 1449 | 2582 | 2668 | 677 | 1504 | 12380 | 5746
2038 | 3492 | 2404 | 4343 | 1251 | 1490 | 2640 | 2711 | 686 | 1527 | 12550 | 5817
2039 | 3528 | 2436 | 4430 | 1252 | 1529 | 2694 | 2754 | 697 | 1549 | 12720 | 5893
2040 | 3567 | 2469 | 4472 | 1254 | 1562 | 2740 | 2805 | 708 | 1572 | 12890 | 5963
2041 | 3604 | 2501 | 4512 | 1255 | 1592 | 2783 | 2854 | 719 | 1594 | 13050 | 6035
2042 | 3643 | 2532 | 4550 | 1256 | 1620 | 2823 | 2913 | 729 | 1615 | 13220 | 6109
2043 | 3677 | 2560 | 4585 | 1257 | 1646 | 2862 | 2966 | 742 | 1636 | 13370 | 6178
2044 | 3718 | 2592 | 4621 | 1259 | 1673 | 2902 | 3014 | 752 | 1657 | 13530 | 6250
2045 | 3758 | 2618 | 4658 | 1261 | 1699 | 2945 | 3055 | 763 | 1678 | 13680 | 6320
2046 | 3793 | 2645 | 4695 | 1264 | 1726 | 2992 | 3096 | 770 | 1697 | 13810 | 6398
2047 | 3823 | 2670 | 4714 | 1266 | 1751 | 3038 | 3131 | 780 | 1718 | 13940 | 6472
2048 | 3857 | 2697 | 4743 | 1268 | 1777 | 3083 | 3167 | 788 | 1738 | 14090 | 6544
2049 | 3880 | 2726 | 4763 | 1269 | 1800 | 3130 | 3205 | 796 | 1760 | 14210 | 6609
2050 | 3905 | 2745 | 4800 | 1269 | 1819 | 3173 | 3247 | 803 | 1779 | 14360 | 6675
2051 | 3923 | 2758 | 4811 | 1271 | 1829 | 3203 | 3290 | 809 | 1795 | 14480 | 6721
2052 | 3936 | 2768 | 4827 | 1273 | 1839 | 3231 | 3332 | 814 | 1809 | 14610 | 6766
2053 | 3947 | 2776 | 4836 | 1271 | 1846 | 3251 | 3366 | 822 | 1825 | 14730 | 6789
2054 | 3955 | 2785 | 4837 | 1273 | 1850 | 3265 | 3391 | 826 | 1835 | 14850 | 6806
2055 | 3961 | 2788 | 4850 | 1272 | 1851 | 3273 | 3403 | 831 | 1846 | 14960 | 6829
2056 | 3965 | 2793 | 4853 | 1271 | 1853 | 3278 | 3414 | 835 | 1857 | 15050 | 6845
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4b-H
Table I-4b-H: Higher Demand Winter Non-Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Non-Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2026-27 | 2424 | 1544 | 2600 | 859 | 1380 | 1965 | 1720 | 526 | 963 | 7810 | 3301
2027-28 | 2514 | 1613 | 2572 | 1146 | 1382 | 1992 | 1812 | 528 | 982 | 7880 | 3337
2028-29 | 2653 | 1726 | 2580 | 1231 | 1380 | 2066 | 1868 | 533 | 1007 | 7940 | 3430
2029-30 | 2752 | 1917 | 2787 | 1310 | 1387 | 2133 | 1916 | 544 | 1042 | 8130 | 3553
2030-31 | 2800 | 1969 | 2869 | 1349 | 1394 | 2162 | 1983 | 547 | 1070 | 8250 | 3700
2031-32 | 2851 | 1994 | 3089 | 1396 | 1400 | 2189 | 2016 | 552 | 1087 | 8360 | 3882
2032-33 | 2882 | 2027 | 3402 | 1398 | 1407 | 2220 | 2060 | 552 | 1119 | 8530 | 4013
2033-34 | 2934 | 2055 | 3588 | 1401 | 1435 | 2300 | 2090 | 561 | 1149 | 8720 | 4101
2034-35 | 2988 | 2083 | 3715 | 1405 | 1452 | 2320 | 2159 | 574 | 1191 | 8890 | 4250
2035-36 | 3065 | 2125 | 3859 | 1408 | 1485 | 2381 | 2208 | 588 | 1241 | 9190 | 4332
2036-37 | 3178 | 2186 | 3984 | 1411 | 1529 | 2471 | 2314 | 613 | 1275 | 9440 | 4508
2037-38 | 3272 | 2246 | 4118 | 1416 | 1563 | 2533 | 2396 | 637 | 1318 | 9670 | 4664
2038-39 | 3362 | 2306 | 4226 | 1419 | 1621 | 2607 | 2479 | 658 | 1360 | 9910 | 4799
2039-40 | 3462 | 2367 | 4338 | 1425 | 1680 | 2690 | 2569 | 679 | 1394 | 10150 | 4968
2040-41 | 3551 | 2430 | 4420 | 1427 | 1728 | 2781 | 2649 | 704 | 1437 | 10370 | 5140
2041-42 | 3645 | 2486 | 4513 | 1431 | 1777 | 2871 | 2743 | 725 | 1472 | 10620 | 5319
2042-43 | 3732 | 2548 | 4572 | 1434 | 1828 | 2947 | 2840 | 742 | 1507 | 10880 | 5486
2043-44 | 3824 | 2609 | 4644 | 1436 | 1870 | 3036 | 2925 | 759 | 1547 | 11130 | 5653
2044-45 | 3902 | 2671 | 4714 | 1438 | 1919 | 3110 | 3023 | 780 | 1591 | 11380 | 5789
2045-46 | 3977 | 2722 | 4766 | 1441 | 1956 | 3188 | 3107 | 798 | 1633 | 11600 | 5912
2046-47 | 4052 | 2774 | 4830 | 1442 | 1996 | 3270 | 3194 | 818 | 1674 | 11810 | 6035
2047-48 | 4114 | 2825 | 4901 | 1446 | 2040 | 3353 | 3250 | 836 | 1706 | 12040 | 6169
2048-49 | 4189 | 2865 | 4949 | 1447 | 2085 | 3429 | 3329 | 858 | 1738 | 12260 | 6315
2049-50 | 4250 | 2904 | 5013 | 1448 | 2122 | 3520 | 3398 | 871 | 1764 | 12430 | 6447
2050-51 | 4310 | 2932 | 5040 | 1448 | 2142 | 3586 | 3446 | 885 | 1792 | 12600 | 6538
2051-52 | 4355 | 2956 | 5063 | 1448 | 2181 | 3628 | 3487 | 891 | 1813 | 12780 | 6610
2052-53 | 4397 | 2979 | 5090 | 1448 | 2191 | 3676 | 3539 | 901 | 1841 | 12930 | 6684
2053-54 | 4416 | 2996 | 5118 | 1448 | 2198 | 3703 | 3588 | 907 | 1861 | 13060 | 6731
2054-55 | 4439 | 3011 | 5138 | 1449 | 2204 | 3726 | 3618 | 914 | 1880 | 13190 | 6798
2055-56 | 4457 | 3023 | 5150 | 1449 | 2209 | 3745 | 3644 | 917 | 1896 | 13320 | 6858
2056-57 | 4474 | 3032 | 5155 | 1451 | 2213 | 3761 | 3666 | 924 | 1911 | 13440 | 6912
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-5-H
Table I-5-H: Higher Demand G-to-J Locality Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
G-to-J Locality Summer Peak Demand by Zone - MW | [5 empty] | G-to-J Locality Winter Peak Demand by Zone - MW
Year | G | H | I | J | G-J | Year | G | H | I | J | G-J
2026 | 2339 | 625 | 1363 | 11034 | 15361 | 2026-27 | 1710 | 513 | 953 | 7807 | 10983
2027 | 2428 | 629 | 1375 | 11156 | 15588 | 2027-28 | 1802 | 515 | 972 | 7877 | 11166
2028 | 2431 | 631 | 1382 | 11207 | 15651 | 2028-29 | 1856 | 520 | 997 | 7927 | 11300
2029 | 2472 | 632 | 1390 | 11289 | 15783 | 2029-30 | 1904 | 531 | 1032 | 8118 | 11585
2030 | 2484 | 638 | 1398 | 11339 | 15859 | 2030-31 | 1971 | 534 | 1060 | 8239 | 11804
2031 | 2499 | 639 | 1405 | 11400 | 15943 | 2031-32 | 2004 | 539 | 1077 | 8350 | 11970
2032 | 2508 | 642 | 1415 | 11502 | 16067 | 2032-33 | 2048 | 539 | 1108 | 8521 | 12216
2033 | 2526 | 647 | 1428 | 11645 | 16246 | 2033-34 | 2078 | 547 | 1137 | 8712 | 12474
2034 | 2547 | 651 | 1438 | 11767 | 16403 | 2034-35 | 2147 | 560 | 1179 | 8883 | 12769
2035 | 2580 | 660 | 1458 | 11960 | 16658 | 2035-36 | 2194 | 574 | 1229 | 9185 | 13182
2036 | 2612 | 665 | 1471 | 12123 | 16871 | 2036-37 | 2300 | 598 | 1262 | 9426 | 13586
2037 | 2647 | 673 | 1494 | 12296 | 17110 | 2037-38 | 2382 | 622 | 1305 | 9658 | 13967
2038 | 2689 | 682 | 1517 | 12469 | 17357 | 2038-39 | 2465 | 641 | 1347 | 9899 | 14352
2039 | 2732 | 692 | 1539 | 12642 | 17605 | 2039-40 | 2553 | 662 | 1380 | 10140 | 14735
2040 | 2782 | 703 | 1561 | 12805 | 17851 | 2040-41 | 2633 | 687 | 1422 | 10362 | 15104
2041 | 2831 | 715 | 1584 | 12968 | 18098 | 2041-42 | 2727 | 707 | 1457 | 10613 | 15504
2042 | 2890 | 725 | 1604 | 13131 | 18350 | 2042-43 | 2824 | 724 | 1492 | 10865 | 15905
2043 | 2942 | 737 | 1626 | 13284 | 18589 | 2043-44 | 2907 | 740 | 1532 | 11116 | 16295
2044 | 2990 | 747 | 1646 | 13446 | 18829 | 2044-45 | 3005 | 761 | 1576 | 11368 | 16710
2045 | 3030 | 758 | 1667 | 13589 | 19044 | 2045-46 | 3089 | 779 | 1617 | 11589 | 17074
2046 | 3071 | 765 | 1686 | 13721 | 19243 | 2046-47 | 3174 | 798 | 1657 | 11800 | 17429
2047 | 3106 | 775 | 1707 | 13854 | 19442 | 2047-48 | 3230 | 816 | 1689 | 12032 | 17767
2048 | 3141 | 783 | 1726 | 13996 | 19646 | 2048-49 | 3309 | 837 | 1721 | 12243 | 18110
2049 | 3179 | 791 | 1749 | 14118 | 19837 | 2049-50 | 3378 | 850 | 1746 | 12414 | 18388
2050 | 3221 | 798 | 1767 | 14271 | 20057 | 2050-51 | 3426 | 864 | 1774 | 12585 | 18649
2051 | 3263 | 804 | 1783 | 14383 | 20233 | 2051-52 | 3467 | 870 | 1795 | 12766 | 18898
2052 | 3305 | 809 | 1798 | 14515 | 20427 | 2052-53 | 3517 | 878 | 1823 | 12917 | 19135
2053 | 3339 | 816 | 1813 | 14637 | 20605 | 2053-54 | 3566 | 884 | 1843 | 13048 | 19341
2054 | 3363 | 820 | 1823 | 14749 | 20755 | 2054-55 | 3596 | 891 | 1862 | 13179 | 19528
2055 | 3375 | 826 | 1834 | 14861 | 20896 | 2055-56 | 3622 | 894 | 1877 | 13309 | 19702
2056 | 3387 | 830 | 1845 | 14953 | 21015 | 2056-57 | 3644 | 901 | 1892 | 13430 | 19867
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-11a-H
Table I-11a-H: Electric Vehicle Stock Forecast - Higher Demand Forecast
Total Number of Electric Vehicles
Number of Electric Vehicles(4) by Type - NYCA
Year | LDV (1) | MHDV (2) | Buses (3) | Total Stock
2026 | 369000 | 15000 | 1000 | 385000
2027 | 444000 | 17000 | 2000 | 463000
2028 | 531000 | 20000 | 2000 | 553000
2029 | 634000 | 24000 | 3000 | 661000
2030 | 759000 | 29000 | 4000 | 792000
2031 | 910000 | 34000 | 6000 | 950000
2032 | 1096000 | 41000 | 7000 | 1144000
2033 | 1328000 | 48000 | 9000 | 1385000
2034 | 1618000 | 57000 | 11000 | 1686000
2035 | 1986000 | 67000 | 13000 | 2066000
2036 | 2453000 | 78000 | 15000 | 2546000
2037 | 3048000 | 91000 | 16000 | 3155000
2038 | 3632000 | 105000 | 18000 | 3755000
2039 | 4200000 | 120000 | 19000 | 4339000
2040 | 4750000 | 137000 | 20000 | 4907000
2041 | 5278000 | 155000 | 21000 | 5454000
2042 | 5781000 | 175000 | 22000 | 5978000
2043 | 6259000 | 197000 | 22000 | 6478000
2044 | 6709000 | 222000 | 23000 | 6954000
2045 | 7125000 | 248000 | 23000 | 7396000
2046 | 7501000 | 278000 | 23000 | 7802000
2047 | 7827000 | 310000 | 23000 | 8160000
2048 | 8098000 | 341000 | 23000 | 8462000
2049 | 8309000 | 370000 | 23000 | 8702000
2050 | 8461000 | 398000 | 23000 | 8882000
2051 | 8556000 | 424000 | 23000 | 9003000
2052 | 8638000 | 447000 | 23000 | 9108000
2053 | 8669000 | 469000 | 23000 | 9161000
2054 | 8691000 | 489000 | 23000 | 9203000
2055 | 8708000 | 506000 | 23000 | 9237000
2056 | 8714000 | 520000 | 23000 | 9257000
(1) - Light Duty Vehicles, at most 8,500 lb. (Gross Vehicle Weight Rating (GVWR) Vehicle Classes 1 & 2a).
(2) - Medium and Heavy Duty Vehicles, greater than 8,5000 lb excluding school and transit buses (GVWR Classes 2b-8).
(3) - Includes school and transit buses.
(4) - Values represent End-of-Year EV counts.
Note: For reference, in 2025 there were approximately 10.2 million LDVs, 890,000 MHDVs,
and 36,000 buses registered in the state, per these classifications.

## I-11b-H
Table I-11b-H: Electric Vehicle Annual Energy Usage - Higher Demand Forecast
Reflects Total Cumulative Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 91 | 91 | 95 | 8 | 49 | 117 | 143 | 44 | 89 | 234 | 350 | 1311
2027 | 111 | 111 | 117 | 9 | 62 | 142 | 176 | 54 | 107 | 284 | 423 | 1596
2028 | 138 | 135 | 144 | 11 | 77 | 175 | 215 | 63 | 128 | 342 | 508 | 1936
2029 | 175 | 164 | 180 | 14 | 100 | 215 | 261 | 75 | 152 | 409 | 605 | 2350
2030 | 220 | 199 | 227 | 19 | 130 | 266 | 320 | 90 | 179 | 490 | 721 | 2861
2031 | 279 | 244 | 285 | 24 | 168 | 330 | 393 | 107 | 212 | 587 | 858 | 3487
2032 | 357 | 299 | 361 | 31 | 218 | 410 | 484 | 126 | 250 | 706 | 1022 | 4264
2033 | 456 | 368 | 458 | 42 | 284 | 513 | 598 | 148 | 297 | 851 | 1221 | 5236
2034 | 584 | 454 | 581 | 54 | 371 | 644 | 743 | 178 | 354 | 1030 | 1466 | 6459
2035 | 749 | 563 | 741 | 69 | 482 | 809 | 927 | 213 | 424 | 1255 | 1770 | 8002
2036 | 962 | 701 | 946 | 90 | 627 | 1024 | 1162 | 256 | 511 | 1536 | 2150 | 9965
2037 | 1237 | 878 | 1210 | 116 | 813 | 1298 | 1463 | 311 | 619 | 1891 | 2626 | 12462
2038 | 1515 | 1056 | 1477 | 144 | 1002 | 1576 | 1767 | 365 | 728 | 2251 | 3103 | 14984
2039 | 1795 | 1235 | 1744 | 171 | 1192 | 1857 | 2075 | 419 | 836 | 2612 | 3579 | 17515
2040 | 2074 | 1414 | 2013 | 198 | 1383 | 2139 | 2383 | 472 | 944 | 2974 | 4049 | 20043
2041 | 2353 | 1589 | 2280 | 226 | 1573 | 2422 | 2691 | 525 | 1049 | 3333 | 4513 | 22554
2042 | 2626 | 1763 | 2543 | 252 | 1761 | 2702 | 2996 | 577 | 1153 | 3690 | 4969 | 25032
2043 | 2898 | 1934 | 2803 | 279 | 1947 | 2981 | 3299 | 629 | 1255 | 4043 | 5416 | 27484
2044 | 3162 | 2101 | 3058 | 304 | 2128 | 3256 | 3596 | 678 | 1355 | 4392 | 5855 | 29885
2045 | 3419 | 2263 | 3303 | 330 | 2304 | 3523 | 3886 | 727 | 1452 | 4733 | 6279 | 32219
2046 | 3663 | 2419 | 3539 | 353 | 2472 | 3781 | 4164 | 773 | 1546 | 5062 | 6685 | 34457
2047 | 3890 | 2564 | 3758 | 374 | 2628 | 4024 | 4426 | 816 | 1632 | 5374 | 7065 | 36551
2048 | 4090 | 2693 | 3952 | 394 | 2765 | 4243 | 4662 | 855 | 1711 | 5656 | 7407 | 38428
2049 | 4264 | 2807 | 4119 | 410 | 2884 | 4436 | 4871 | 890 | 1779 | 5905 | 7703 | 40068
2050 | 4407 | 2901 | 4259 | 423 | 2982 | 4599 | 5047 | 918 | 1837 | 6119 | 7953 | 41445
2051 | 4485 | 2953 | 4335 | 430 | 3035 | 4696 | 5151 | 933 | 1869 | 6245 | 8090 | 42222
2052 | 4552 | 2999 | 4401 | 436 | 3082 | 4784 | 5244 | 948 | 1897 | 6359 | 8213 | 42915
2053 | 4591 | 3028 | 4440 | 439 | 3110 | 4844 | 5307 | 957 | 1915 | 6439 | 8289 | 43359
2054 | 4624 | 3053 | 4473 | 442 | 3132 | 4896 | 5364 | 965 | 1930 | 6507 | 8354 | 43740
2055 | 4650 | 3074 | 4501 | 444 | 3149 | 4942 | 5414 | 972 | 1945 | 6570 | 8411 | 44072
2056 | 4669 | 3090 | 4520 | 445 | 3161 | 4979 | 5457 | 978 | 1955 | 6621 | 8454 | 44329

## I-11c-H
Table I-11c-H: Electric Vehicle Summer Coincident Peak - Higher Demand Forecast
Reflects Total Cumulative Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 16 | 16 | 17 | 1 | 9 | 22 | 27 | 8 | 17 | 54 | 65 | 252
2027 | 20 | 26 | 21 | 1 | 13 | 27 | 32 | 10 | 20 | 63 | 78 | 311
2028 | 26 | 27 | 27 | 2 | 13 | 31 | 40 | 13 | 25 | 73 | 89 | 366
2029 | 30 | 33 | 32 | 3 | 23 | 41 | 48 | 15 | 28 | 86 | 110 | 449
2030 | 37 | 41 | 46 | 3 | 35 | 47 | 58 | 18 | 32 | 94 | 132 | 543
2031 | 47 | 49 | 60 | 4 | 43 | 56 | 70 | 21 | 38 | 109 | 157 | 654
2032 | 64 | 62 | 77 | 5 | 57 | 71 | 90 | 25 | 46 | 136 | 188 | 821
2033 | 81 | 72 | 91 | 27 | 75 | 88 | 113 | 29 | 54 | 167 | 225 | 1022
2034 | 103 | 90 | 116 | 38 | 95 | 109 | 139 | 33 | 65 | 200 | 270 | 1258
2035 | 132 | 106 | 131 | 38 | 123 | 141 | 175 | 40 | 78 | 245 | 325 | 1534
2036 | 161 | 127 | 181 | 50 | 155 | 172 | 210 | 45 | 92 | 297 | 384 | 1874
2037 | 196 | 155 | 222 | 53 | 191 | 217 | 252 | 52 | 107 | 358 | 460 | 2263
2038 | 241 | 186 | 267 | 61 | 229 | 261 | 297 | 60 | 122 | 417 | 543 | 2684
2039 | 281 | 217 | 310 | 67 | 269 | 308 | 350 | 66 | 139 | 492 | 626 | 3125
2040 | 327 | 247 | 355 | 74 | 299 | 351 | 401 | 76 | 155 | 554 | 708 | 3547
2041 | 368 | 277 | 404 | 78 | 333 | 397 | 450 | 86 | 171 | 631 | 780 | 3975
2042 | 417 | 305 | 442 | 81 | 372 | 438 | 512 | 94 | 190 | 693 | 857 | 4401
2043 | 457 | 336 | 493 | 81 | 402 | 476 | 567 | 105 | 209 | 762 | 938 | 4826
2044 | 510 | 364 | 540 | 85 | 434 | 523 | 615 | 115 | 224 | 825 | 987 | 5222
2045 | 555 | 393 | 577 | 90 | 470 | 575 | 658 | 122 | 238 | 888 | 1071 | 5637
2046 | 604 | 415 | 622 | 91 | 499 | 618 | 697 | 127 | 253 | 938 | 1147 | 6011
2047 | 644 | 444 | 658 | 95 | 528 | 662 | 732 | 134 | 265 | 995 | 1216 | 6373
2048 | 674 | 462 | 684 | 98 | 560 | 712 | 766 | 137 | 277 | 1048 | 1273 | 6691
2049 | 694 | 482 | 710 | 100 | 586 | 747 | 800 | 142 | 290 | 1088 | 1334 | 6973
2050 | 717 | 503 | 755 | 102 | 608 | 780 | 831 | 146 | 299 | 1140 | 1377 | 7258
2051 | 738 | 522 | 771 | 103 | 621 | 815 | 869 | 149 | 308 | 1166 | 1392 | 7454
2052 | 749 | 532 | 788 | 105 | 625 | 840 | 892 | 154 | 312 | 1196 | 1416 | 7609
2053 | 771 | 548 | 801 | 105 | 630 | 848 | 902 | 159 | 316 | 1224 | 1428 | 7732
2054 | 786 | 559 | 806 | 105 | 631 | 854 | 907 | 161 | 319 | 1244 | 1435 | 7807
2055 | 796 | 565 | 814 | 105 | 631 | 857 | 908 | 162 | 321 | 1260 | 1439 | 7858
2056 | 799 | 569 | 815 | 105 | 631 | 857 | 909 | 163 | 323 | 1268 | 1439 | 7878
Note: The higher demand scenario electric vehicle peak forecast assumes a lower share of managed charging relative to the baseline forecast.

## I-11d-H
Table I-11d-H: Electric Vehicle Winter Coincident Peak - Higher Demand Forecast
Reflects Total Cumulative Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 32 | 32 | 34 | 3 | 18 | 41 | 50 | 15 | 32 | 98 | 118 | 473
2027-28 | 41 | 38 | 39 | 3 | 21 | 48 | 59 | 18 | 37 | 111 | 136 | 551
2028-29 | 48 | 44 | 47 | 10 | 24 | 58 | 70 | 21 | 41 | 127 | 158 | 648
2029-30 | 54 | 52 | 60 | 10 | 29 | 68 | 82 | 23 | 47 | 147 | 179 | 751
2030-31 | 64 | 59 | 66 | 10 | 38 | 82 | 98 | 26 | 54 | 166 | 207 | 870
2031-32 | 79 | 69 | 80 | 10 | 47 | 92 | 109 | 29 | 59 | 187 | 239 | 1000
2032-33 | 97 | 86 | 102 | 12 | 57 | 111 | 134 | 34 | 70 | 207 | 281 | 1191
2033-34 | 121 | 103 | 121 | 14 | 69 | 139 | 157 | 38 | 84 | 235 | 311 | 1392
2034-35 | 155 | 123 | 143 | 19 | 91 | 166 | 187 | 47 | 99 | 282 | 365 | 1677
2035-36 | 186 | 154 | 176 | 23 | 117 | 201 | 233 | 53 | 118 | 342 | 430 | 2033
2036-37 | 237 | 185 | 214 | 26 | 141 | 251 | 289 | 66 | 140 | 400 | 508 | 2457
2037-38 | 290 | 218 | 253 | 31 | 181 | 306 | 350 | 74 | 163 | 478 | 590 | 2934
2038-39 | 345 | 254 | 290 | 37 | 227 | 361 | 411 | 85 | 181 | 562 | 691 | 3444
2039-40 | 405 | 290 | 337 | 43 | 260 | 422 | 470 | 97 | 204 | 639 | 798 | 3965
2040-41 | 464 | 325 | 393 | 49 | 296 | 485 | 531 | 107 | 220 | 722 | 901 | 4493
2041-42 | 520 | 365 | 440 | 56 | 336 | 531 | 595 | 112 | 237 | 791 | 997 | 4980
2042-43 | 576 | 402 | 500 | 61 | 363 | 584 | 653 | 122 | 255 | 856 | 1103 | 5475
2043-44 | 620 | 437 | 546 | 65 | 395 | 622 | 715 | 130 | 278 | 916 | 1167 | 5891
2044-45 | 666 | 471 | 595 | 69 | 430 | 673 | 788 | 139 | 301 | 976 | 1246 | 6354
2045-46 | 705 | 508 | 629 | 76 | 452 | 730 | 834 | 150 | 323 | 1030 | 1316 | 6753
2046-47 | 753 | 538 | 683 | 80 | 486 | 785 | 861 | 161 | 336 | 1089 | 1397 | 7169
2047-48 | 809 | 567 | 729 | 86 | 524 | 845 | 913 | 172 | 354 | 1183 | 1492 | 7674
2048-49 | 853 | 589 | 780 | 87 | 555 | 918 | 961 | 180 | 367 | 1232 | 1591 | 8113
2049-50 | 896 | 604 | 802 | 91 | 573 | 964 | 989 | 185 | 380 | 1270 | 1643 | 8397
2050-51 | 930 | 621 | 829 | 92 | 609 | 992 | 1016 | 188 | 388 | 1325 | 1692 | 8682
2051-52 | 963 | 634 | 834 | 94 | 619 | 1019 | 1048 | 190 | 402 | 1362 | 1734 | 8899
2052-53 | 972 | 637 | 845 | 95 | 627 | 1032 | 1079 | 193 | 409 | 1374 | 1756 | 9019
2053-54 | 989 | 652 | 852 | 97 | 630 | 1034 | 1092 | 194 | 416 | 1409 | 1796 | 9161
2054-55 | 989 | 661 | 868 | 99 | 637 | 1043 | 1103 | 196 | 419 | 1416 | 1800 | 9231
2055-56 | 998 | 661 | 872 | 99 | 638 | 1044 | 1121 | 198 | 421 | 1423 | 1817 | 9292
2056-57 | 998 | 661 | 890 | 100 | 646 | 1051 | 1150 | 202 | 424 | 1435 | 1831 | 9388
Note: The higher demand scenario electric vehicle peak forecast assumes a lower share of managed charging relative to the baseline forecast.

## I-13a-H
Table I-13a-H: Building Electrification Annual Energy Usage - Higher Demand Forecast
Reflects Cumulative Future Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 84 | 54 | 67 | 4 | 44 | 73 | 83 | 21 | 44 | 227 | 116 | 817
2027 | 159 | 104 | 127 | 8 | 83 | 142 | 161 | 41 | 84 | 431 | 224 | 1564
2028 | 248 | 160 | 198 | 12 | 128 | 220 | 244 | 61 | 126 | 678 | 350 | 2425
2029 | 346 | 224 | 275 | 16 | 178 | 304 | 331 | 81 | 168 | 966 | 491 | 3380
2030 | 468 | 300 | 371 | 21 | 240 | 405 | 431 | 107 | 218 | 1327 | 660 | 4548
2031 | 604 | 385 | 478 | 27 | 311 | 516 | 541 | 133 | 273 | 1730 | 844 | 5842
2032 | 747 | 474 | 590 | 34 | 384 | 632 | 657 | 161 | 329 | 2157 | 1039 | 7204
2033 | 899 | 567 | 708 | 40 | 462 | 756 | 776 | 189 | 388 | 2611 | 1244 | 8640
2034 | 1053 | 665 | 830 | 47 | 541 | 882 | 899 | 219 | 448 | 3081 | 1456 | 10121
2035 | 1217 | 765 | 958 | 55 | 624 | 1015 | 1027 | 249 | 511 | 3580 | 1678 | 11679
2036 | 1384 | 870 | 1090 | 62 | 710 | 1151 | 1159 | 281 | 575 | 4097 | 1907 | 13286
2037 | 1550 | 973 | 1218 | 69 | 792 | 1287 | 1290 | 312 | 640 | 4612 | 2136 | 14879
2038 | 1717 | 1078 | 1348 | 76 | 876 | 1425 | 1424 | 343 | 703 | 5135 | 2368 | 16493
2039 | 1885 | 1183 | 1480 | 83 | 960 | 1563 | 1559 | 375 | 769 | 5670 | 2601 | 18128
2040 | 2056 | 1289 | 1612 | 89 | 1045 | 1705 | 1697 | 407 | 834 | 6209 | 2838 | 19781
2041 | 2223 | 1394 | 1743 | 96 | 1128 | 1844 | 1833 | 439 | 899 | 6745 | 3073 | 21417
2042 | 2388 | 1497 | 1870 | 103 | 1209 | 1982 | 1967 | 470 | 963 | 7272 | 3303 | 23024
2043 | 2546 | 1596 | 1993 | 109 | 1286 | 2115 | 2099 | 500 | 1025 | 7785 | 3526 | 24580
2044 | 2695 | 1690 | 2109 | 115 | 1360 | 2242 | 2226 | 529 | 1084 | 8278 | 3739 | 26067
2045 | 2839 | 1780 | 2220 | 120 | 1430 | 2366 | 2350 | 557 | 1141 | 8755 | 3946 | 27504
2046 | 2970 | 1864 | 2323 | 126 | 1493 | 2481 | 2466 | 583 | 1196 | 9203 | 4138 | 28843
2047 | 3091 | 1941 | 2417 | 130 | 1551 | 2589 | 2576 | 608 | 1246 | 9619 | 4318 | 30086
2048 | 3208 | 2017 | 2510 | 133 | 1607 | 2696 | 2686 | 632 | 1295 | 10034 | 4496 | 31314
2049 | 3316 | 2086 | 2593 | 136 | 1656 | 2794 | 2788 | 654 | 1342 | 10417 | 4659 | 32441
2050 | 3410 | 2149 | 2667 | 139 | 1700 | 2884 | 2884 | 676 | 1384 | 10773 | 4806 | 33472
2051 | 3493 | 2204 | 2733 | 142 | 1738 | 2964 | 2972 | 695 | 1422 | 11088 | 4939 | 34390
2052 | 3564 | 2252 | 2788 | 144 | 1769 | 3036 | 3052 | 711 | 1457 | 11369 | 5055 | 35197
2053 | 3622 | 2293 | 2835 | 145 | 1794 | 3099 | 3123 | 726 | 1487 | 11616 | 5157 | 35897
2054 | 3668 | 2327 | 2872 | 145 | 1815 | 3153 | 3187 | 739 | 1512 | 11826 | 5242 | 36486
2055 | 3704 | 2353 | 2901 | 145 | 1828 | 3198 | 3242 | 749 | 1534 | 12005 | 5313 | 36972
2056 | 3727 | 2374 | 2921 | 145 | 1836 | 3235 | 3291 | 758 | 1552 | 12152 | 5370 | 37361
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13b-H
Table I-13b-H: Building Electrification Summer Coincident Peak - Higher Demand Forecast
Reflects Cumulative Future Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 2 | 3 | 3 | 0 | 2 | 3 | 3 | 1 | 2 | 19 | 3 | 41
2027 | 9 | 12 | 7 | 1 | 14 | 5 | 5 | 2 | 3 | 44 | 6 | 108
2028 | 9 | 12 | 12 | 1 | 26 | 11 | 8 | 3 | 5 | 61 | 9 | 157
2029 | 9 | 20 | 12 | 1 | 28 | 11 | 12 | 4 | 6 | 88 | 12 | 203
2030 | 14 | 24 | 24 | 2 | 31 | 13 | 17 | 5 | 8 | 108 | 21 | 267
2031 | 20 | 27 | 36 | 3 | 37 | 15 | 22 | 6 | 9 | 135 | 31 | 341
2032 | 24 | 28 | 46 | 3 | 40 | 20 | 26 | 6 | 11 | 165 | 38 | 407
2033 | 31 | 33 | 46 | 3 | 46 | 26 | 34 | 7 | 14 | 203 | 50 | 493
2034 | 38 | 36 | 52 | 4 | 52 | 31 | 41 | 9 | 17 | 238 | 61 | 579
2035 | 47 | 38 | 52 | 4 | 56 | 39 | 47 | 10 | 20 | 286 | 76 | 675
2036 | 51 | 42 | 63 | 5 | 59 | 45 | 54 | 11 | 22 | 332 | 84 | 768
2037 | 60 | 49 | 68 | 5 | 61 | 53 | 60 | 12 | 25 | 372 | 96 | 861
2038 | 68 | 55 | 76 | 5 | 68 | 60 | 69 | 15 | 30 | 412 | 110 | 968
2039 | 77 | 59 | 81 | 6 | 71 | 66 | 75 | 16 | 32 | 451 | 121 | 1055
2040 | 85 | 64 | 88 | 6 | 72 | 73 | 82 | 18 | 36 | 489 | 132 | 1145
2041 | 95 | 69 | 93 | 7 | 76 | 81 | 91 | 20 | 40 | 537 | 147 | 1256
2042 | 102 | 73 | 98 | 7 | 80 | 87 | 98 | 20 | 44 | 575 | 158 | 1342
2043 | 108 | 76 | 105 | 7 | 82 | 93 | 104 | 20 | 46 | 612 | 168 | 1421
2044 | 117 | 85 | 110 | 8 | 85 | 101 | 112 | 24 | 50 | 650 | 181 | 1523
2045 | 125 | 88 | 117 | 8 | 89 | 108 | 119 | 26 | 53 | 688 | 194 | 1615
2046 | 131 | 92 | 123 | 9 | 93 | 113 | 126 | 27 | 56 | 724 | 205 | 1699
2047 | 138 | 96 | 129 | 9 | 97 | 119 | 131 | 28 | 57 | 750 | 209 | 1763
2048 | 144 | 99 | 132 | 9 | 99 | 124 | 138 | 29 | 61 | 787 | 222 | 1844
2049 | 150 | 105 | 134 | 10 | 99 | 130 | 146 | 30 | 64 | 824 | 233 | 1925
2050 | 156 | 109 | 141 | 10 | 105 | 138 | 153 | 33 | 69 | 861 | 245 | 2020
2051 | 162 | 112 | 145 | 10 | 106 | 140 | 157 | 34 | 70 | 888 | 253 | 2077
2052 | 165 | 115 | 147 | 10 | 110 | 145 | 161 | 34 | 71 | 917 | 261 | 2136
2053 | 168 | 117 | 148 | 11 | 110 | 149 | 166 | 35 | 73 | 944 | 267 | 2188
2054 | 172 | 121 | 150 | 11 | 112 | 152 | 171 | 35 | 75 | 970 | 273 | 2242
2055 | 174 | 121 | 154 | 11 | 112 | 154 | 173 | 36 | 78 | 991 | 277 | 2281
2056 | 176 | 123 | 155 | 11 | 114 | 156 | 177 | 36 | 79 | 1012 | 282 | 2321
Note: Reflects end-use electrification of space conditioning, water heating, cooking, and other end-uses.

## I-13c-H
Table I-13c-H: Building Electrification Winter Coincident Peak - Higher Demand Forecast
Reflects Cumulative Future Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 26 | 17 | 22 | 2 | 14 | 22 | 21 | 6 | 13 | 63 | 14 | 220
2027-28 | 65 | 25 | 32 | 4 | 18 | 47 | 31 | 11 | 19 | 99 | 31 | 382
2028-29 | 72 | 40 | 45 | 6 | 26 | 66 | 67 | 15 | 34 | 156 | 65 | 592
2029-30 | 93 | 71 | 133 | 8 | 46 | 92 | 106 | 26 | 60 | 319 | 116 | 1070
2030-31 | 152 | 102 | 140 | 10 | 71 | 128 | 153 | 35 | 83 | 447 | 193 | 1514
2031-32 | 211 | 135 | 145 | 12 | 89 | 151 | 194 | 43 | 91 | 576 | 297 | 1944
2032-33 | 246 | 170 | 154 | 14 | 106 | 185 | 242 | 47 | 112 | 738 | 379 | 2393
2033-34 | 289 | 206 | 164 | 16 | 132 | 249 | 278 | 59 | 131 | 896 | 414 | 2834
2034-35 | 334 | 237 | 179 | 18 | 150 | 278 | 333 | 70 | 155 | 1032 | 504 | 3290
2035-36 | 387 | 268 | 194 | 20 | 173 | 323 | 366 | 80 | 182 | 1234 | 548 | 3775
2036-37 | 460 | 313 | 235 | 22 | 202 | 384 | 432 | 97 | 198 | 1405 | 647 | 4395
2037-38 | 508 | 346 | 281 | 26 | 227 | 429 | 475 | 110 | 220 | 1592 | 730 | 4944
2038-39 | 559 | 377 | 316 | 28 | 253 | 472 | 518 | 120 | 241 | 1766 | 806 | 5456
2039-40 | 610 | 409 | 360 | 30 | 277 | 520 | 568 | 132 | 264 | 1967 | 891 | 6028
2040-41 | 666 | 445 | 405 | 32 | 306 | 570 | 617 | 146 | 288 | 2168 | 981 | 6624
2041-42 | 730 | 487 | 458 | 35 | 338 | 627 | 674 | 158 | 313 | 2389 | 1080 | 7289
2042-43 | 783 | 520 | 502 | 37 | 363 | 674 | 723 | 171 | 335 | 2583 | 1162 | 7853
2043-44 | 848 | 562 | 549 | 39 | 397 | 726 | 777 | 182 | 361 | 2786 | 1258 | 8485
2044-45 | 903 | 598 | 593 | 41 | 424 | 778 | 833 | 197 | 386 | 2999 | 1351 | 9103
2045-46 | 954 | 631 | 633 | 43 | 450 | 826 | 884 | 210 | 409 | 3198 | 1438 | 9676
2046-47 | 996 | 661 | 668 | 43 | 470 | 875 | 932 | 224 | 435 | 3394 | 1520 | 10218
2047-48 | 1032 | 688 | 701 | 45 | 488 | 915 | 967 | 232 | 455 | 3543 | 1583 | 10649
2048-49 | 1069 | 716 | 731 | 48 | 505 | 955 | 1006 | 244 | 478 | 3696 | 1651 | 11099
2049-50 | 1109 | 746 | 764 | 49 | 527 | 997 | 1048 | 254 | 500 | 3856 | 1721 | 11571
2050-51 | 1142 | 765 | 788 | 51 | 540 | 1027 | 1086 | 263 | 513 | 3977 | 1775 | 11927
2051-52 | 1172 | 784 | 809 | 52 | 553 | 1056 | 1122 | 270 | 525 | 4097 | 1829 | 12269
2052-53 | 1202 | 805 | 833 | 54 | 567 | 1091 | 1164 | 278 | 543 | 4227 | 1888 | 12652
2053-54 | 1219 | 823 | 854 | 56 | 574 | 1117 | 1186 | 284 | 559 | 4312 | 1925 | 12909
2054-55 | 1242 | 843 | 872 | 58 | 585 | 1147 | 1217 | 293 | 576 | 4417 | 1972 | 13222
2055-56 | 1262 | 858 | 886 | 59 | 595 | 1170 | 1244 | 300 | 588 | 4503 | 2011 | 13476
2056-57 | 1278 | 870 | 897 | 62 | 604 | 1187 | 1265 | 306 | 597 | 4571 | 2040 | 13677
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13d
Table I-13d: Comparison of Electrification Impacts
Reflects Cumulative Impacts
NYCA Annual Energy Usage - GWh
Year | Lower Demand Forecast |  |  | Baseline Forecast |  |  | Higher Demand Forecast
| EV | Building | Total | EV | Building | Total | EV | Building | Total
2026 | 1308 | 159 | 1467 | 1309 | 449 | 1758 | 1311 | 817 | 2128
2027 | 1584 | 206 | 1790 | 1590 | 803 | 2393 | 1596 | 1564 | 3160
2028 | 1891 | 305 | 2196 | 1911 | 1245 | 3156 | 1936 | 2425 | 4361
2029 | 2236 | 450 | 2686 | 2298 | 1757 | 4055 | 2350 | 3380 | 5730
2030 | 2618 | 751 | 3369 | 2761 | 2455 | 5216 | 2861 | 4548 | 7409
2031 | 3053 | 1118 | 4171 | 3312 | 3250 | 6562 | 3487 | 5842 | 9329
2032 | 3525 | 1499 | 5024 | 3971 | 4090 | 8061 | 4264 | 7204 | 11468
2033 | 4044 | 1901 | 5945 | 4775 | 4981 | 9756 | 5236 | 8640 | 13876
2034 | 4607 | 2307 | 6914 | 5756 | 5902 | 11658 | 6459 | 10121 | 16580
2035 | 5219 | 2745 | 7964 | 6958 | 6877 | 13835 | 8002 | 11679 | 19681
2036 | 5872 | 3207 | 9079 | 8446 | 7895 | 16341 | 9965 | 13286 | 23251
2037 | 6563 | 3638 | 10201 | 10284 | 8897 | 19181 | 12462 | 14879 | 27341
2038 | 7273 | 4089 | 11362 | 12152 | 9922 | 22074 | 14984 | 16493 | 31477
2039 | 8001 | 4563 | 12564 | 14020 | 10969 | 24989 | 17515 | 18128 | 35643
2040 | 8729 | 5074 | 13803 | 15879 | 12048 | 27927 | 20043 | 19781 | 39824
2041 | 9464 | 5603 | 15067 | 17717 | 13120 | 30837 | 22554 | 21417 | 43971
2042 | 10190 | 6141 | 16331 | 19534 | 14181 | 33715 | 25032 | 23024 | 48056
2043 | 10931 | 6681 | 17612 | 21331 | 15213 | 36544 | 27484 | 24580 | 52064
2044 | 11698 | 7223 | 18921 | 23092 | 16207 | 39299 | 29885 | 26067 | 55952
2045 | 12481 | 7771 | 20252 | 24810 | 17169 | 41979 | 32219 | 27504 | 59723
2046 | 13289 | 8305 | 21594 | 26460 | 18065 | 44525 | 34457 | 28843 | 63300
2047 | 14128 | 8815 | 22943 | 28030 | 18892 | 46922 | 36551 | 30086 | 66637
2048 | 15001 | 9321 | 24322 | 29463 | 19708 | 49171 | 38428 | 31314 | 69742
2049 | 15903 | 9802 | 25705 | 30754 | 20451 | 51205 | 40068 | 32441 | 72509
2050 | 16837 | 10249 | 27086 | 31894 | 21117 | 53011 | 41445 | 33472 | 74917
2051 | 17651 | 10653 | 28304 | 32610 | 21704 | 54314 | 42222 | 34390 | 76612
2052 | 18530 | 11011 | 29541 | 33304 | 22209 | 55513 | 42915 | 35197 | 78112
2053 | 19383 | 11323 | 30706 | 33827 | 22628 | 56455 | 43359 | 35897 | 79256
2054 | 20246 | 11582 | 31828 | 34317 | 22970 | 57287 | 43740 | 36486 | 80226
2055 | 21095 | 11795 | 32890 | 34773 | 23233 | 58006 | 44072 | 36972 | 81044
2056 | 21892 | 11950 | 33842 | 35165 | 23423 | 58588 | 44329 | 37361 | 81690
Note: Electric Vehicle annual energy usage from Tables I-1b, I-11b, I-15a, and I-16a.
Includes light duty vehicles, medium and heavy duty vehicles, and buses.
Note: Building electrification annual energy usage from Tables I-1b, I-13a, I-15a, and I-16a.
Includes electrification of space heating, water heating, cooking, and other end uses.

## I-14-H
Table I-14-H: Higher Demand Large Load Forecast
Reflects Cumulative Existing and Future Load Impacts of Large Load Projects
Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 320 | 11 | 0 | 160 | 15 | 0 | 72 | 0 | 0 | 0 | 0 | 578
2027 | 440 | 11 | 0 | 439 | 15 | 0 | 173 | 0 | 0 | 0 | 1 | 1079
2028 | 540 | 161 | 0 | 447 | 65 | 35 | 184 | 0 | 0 | 0 | 7 | 1439
2029 | 760 | 291 | 70 | 611 | 65 | 140 | 227 | 0 | 0 | 0 | 29 | 2193
2030 | 760 | 411 | 290 | 611 | 65 | 170 | 241 | 0 | 0 | 0 | 69 | 2617
2031 | 760 | 411 | 480 | 711 | 65 | 185 | 255 | 0 | 0 | 0 | 113 | 2980
2032 | 760 | 411 | 760 | 711 | 65 | 195 | 260 | 0 | 0 | 0 | 150 | 3312
2033 | 760 | 411 | 1120 | 711 | 65 | 205 | 264 | 0 | 0 | 0 | 174 | 3710
2034 | 760 | 411 | 1300 | 711 | 65 | 210 | 269 | 0 | 0 | 0 | 184 | 3910
2035 | 760 | 411 | 1400 | 711 | 65 | 210 | 275 | 0 | 0 | 0 | 187 | 4019
2036 | 760 | 411 | 1490 | 711 | 65 | 210 | 279 | 0 | 0 | 0 | 187 | 4113
2037 | 760 | 411 | 1570 | 711 | 65 | 210 | 283 | 0 | 0 | 0 | 187 | 4197
2038 | 760 | 411 | 1620 | 711 | 65 | 210 | 287 | 0 | 0 | 0 | 187 | 4251
2039 | 760 | 411 | 1670 | 711 | 65 | 210 | 291 | 0 | 0 | 0 | 187 | 4305
2040 | 760 | 411 | 1700 | 711 | 65 | 210 | 292 | 0 | 0 | 0 | 187 | 4336
2041 | 760 | 411 | 1700 | 711 | 65 | 210 | 292 | 0 | 0 | 0 | 187 | 4336
Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 440 | 11 | 0 | 169 | 15 | 0 | 72 | 0 | 0 | 0 | 0 | 707
2027-28 | 490 | 91 | 0 | 443 | 40 | 10 | 173 | 0 | 0 | 0 | 3 | 1250
2028-29 | 650 | 191 | 20 | 531 | 65 | 83 | 184 | 0 | 0 | 0 | 36 | 1760
2029-30 | 760 | 381 | 150 | 611 | 65 | 150 | 227 | 0 | 0 | 0 | 71 | 2415
2030-31 | 760 | 411 | 345 | 661 | 65 | 170 | 241 | 0 | 0 | 0 | 136 | 2789
2031-32 | 760 | 411 | 580 | 711 | 65 | 185 | 255 | 0 | 0 | 0 | 189 | 3156
2032-33 | 760 | 411 | 880 | 711 | 65 | 195 | 260 | 0 | 0 | 0 | 219 | 3501
2033-34 | 760 | 411 | 1150 | 711 | 65 | 205 | 264 | 0 | 0 | 0 | 236 | 3802
2034-35 | 760 | 411 | 1320 | 711 | 65 | 210 | 269 | 0 | 0 | 0 | 243 | 3989
2035-36 | 760 | 411 | 1420 | 711 | 65 | 210 | 275 | 0 | 0 | 0 | 244 | 4096
2036-37 | 760 | 411 | 1510 | 711 | 65 | 210 | 279 | 0 | 0 | 0 | 244 | 4190
2037-38 | 760 | 411 | 1590 | 711 | 65 | 210 | 283 | 0 | 0 | 0 | 244 | 4274
2038-39 | 760 | 411 | 1640 | 711 | 65 | 210 | 287 | 0 | 0 | 0 | 244 | 4328
2039-40 | 760 | 411 | 1680 | 711 | 65 | 210 | 291 | 0 | 0 | 0 | 244 | 4372
2040-41 | 760 | 411 | 1700 | 711 | 65 | 210 | 292 | 0 | 0 | 0 | 244 | 4393
2041-42 | 760 | 411 | 1700 | 711 | 65 | 210 | 292 | 0 | 0 | 0 | 244 | 4393
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 2000 | 60 | 0 | 1250 | 110 | 0 | 400 | 0 | 0 | 0 | 0 | 3820
2027 | 2990 | 160 | 0 | 2650 | 140 | 10 | 1000 | 0 | 0 | 0 | 0 | 6950
2028 | 3610 | 960 | 20 | 3480 | 440 | 230 | 1310 | 0 | 0 | 0 | 50 | 10100
2029 | 4840 | 1830 | 460 | 4330 | 500 | 840 | 1550 | 0 | 0 | 0 | 220 | 14570
2030 | 5080 | 2700 | 1810 | 4560 | 500 | 1120 | 1720 | 0 | 0 | 0 | 530 | 18020
2031 | 5080 | 2760 | 3260 | 5070 | 500 | 1250 | 1820 | 0 | 0 | 0 | 920 | 20660
2032 | 5080 | 2760 | 5150 | 5180 | 500 | 1340 | 1870 | 0 | 0 | 0 | 1250 | 23130
2033 | 5080 | 2760 | 7560 | 5180 | 500 | 1420 | 1910 | 0 | 0 | 0 | 1450 | 25860
2034 | 5080 | 2760 | 9150 | 5180 | 500 | 1480 | 1940 | 0 | 0 | 0 | 1530 | 27620
2035 | 5080 | 2760 | 10090 | 5180 | 500 | 1490 | 1980 | 0 | 0 | 0 | 1550 | 28630
2036 | 5080 | 2760 | 10800 | 5180 | 500 | 1490 | 2020 | 0 | 0 | 0 | 1560 | 29390
2037 | 5080 | 2760 | 11430 | 5180 | 500 | 1490 | 2040 | 0 | 0 | 0 | 1560 | 30040
2038 | 5080 | 2760 | 11890 | 5180 | 500 | 1490 | 2070 | 0 | 0 | 0 | 1560 | 30530
2039 | 5080 | 2760 | 12250 | 5180 | 500 | 1490 | 2100 | 0 | 0 | 0 | 1560 | 30920
2040 | 5080 | 2760 | 12490 | 5180 | 500 | 1490 | 2120 | 0 | 0 | 0 | 1560 | 31180
2041 | 5080 | 2760 | 12490 | 5180 | 500 | 1490 | 2120 | 0 | 0 | 0 | 1560 | 31180
Large Loads by Forecast - MW
Forecast | A | B | C | D | E | F | G | H | I | J | K | NYCA
Lower | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
Baseline | 440 | 411 | 1050 | 435 | 65 | 0 | 292 | 0 | 0 | 0 | 244 | 2937
Higher | 760 | 411 | 1700 | 711 | 65 | 210 | 292 | 0 | 0 | 0 | 244 | 4393
All Loads | 2090 | 600 | 2216 | 2647 | 2924 | 450 | 292 | 1200 | 0 | 0 | 244 | 12663
Notes:
Forecasts for 2041 onward match the final year forecasts in these tables.
These forecast values are embedded in the final annual energy, summer peak, and winter peak demand forecasts.
Table IV-7 lists the NYISO Interconnection Queue information for proposed interconnecting large loads. These forecast tables do not necessarily reflect the proposed date and MW values listed in Table IV-7, and include impacts for load projects not listed in the NYISO IQ as of March 15, 2026.
Large Loads by Forecast table lists maximum large load demand included in the Lower, Baseline, and Higher Demand Forecasts.
All Loads row lists maximum aggregated Zonal load for projects listed in Table IV-7 or included in the 2026 Gold Book large load forecasts.