## I-1a
Table I-1a: NYCA Baseline Energy and Demand Forecasts
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
2026 Long Term Forecast1 - 2026 to 2056
Energy - GWh |  |  |  | Summer Peak Demand2 - MW |  |  |  | Winter Peak Demand2 - MW
Year | Lower3 | Baseline4 | Higher3 | Year | Lower3 | Baseline4, 5 | Higher3 | Year | Lower3 | Baseline4 | Higher3
2025 |  | 151059 |  | 2025 |  | 31405 |  | 2025-26 |  | 24250
2026 | 150720 | 152600 | 153420 | 2026 | 31210 | 31578 | 31650 | 2026-27 | 24040 | 24620 | 24900
2027 | 149730 | 155030 | 156770 | 2027 | 31000 | 31880 | 32220 | 2027-28 | 24060 | 25110 | 25560
2028 | 149490 | 156760 | 160530 | 2028 | 30900 | 31980 | 32580 | 2028-29 | 24090 | 25410 | 26200
2029 | 149050 | 157740 | 165450 | 2029 | 30790 | 32070 | 33290 | 2029-30 | 24100 | 25880 | 27250
2030 | 149300 | 160160 | 170180 | 2030 | 30660 | 32250 | 33740 | 2030-31 | 24120 | 26310 | 27870
2031 | 149510 | 161830 | 174220 | 2031 | 30480 | 32420 | 34230 | 2031-32 | 24150 | 26690 | 28590
2032 | 149790 | 163940 | 178790 | 2032 | 30410 | 32560 | 34710 | 2032-33 | 24170 | 27120 | 29380
2033 | 149570 | 165740 | 182830 | 2033 | 30260 | 32760 | 35280 | 2033-34 | 24180 | 27550 | 30100
2034 | 149600 | 167950 | 186710 | 2034 | 30130 | 32920 | 35690 | 2034-35 | 24190 | 28000 | 30790
2035 | 149600 | 170170 | 190550 | 2035 | 30030 | 33140 | 36170 | 2035-36 | 24200 | 28480 | 31640
2036 | 149850 | 172980 | 195130 | 2036 | 29940 | 33430 | 36720 | 2036-37 | 24250 | 29060 | 32650
2037 | 149870 | 175440 | 199510 | 2037 | 29840 | 33720 | 37310 | 2037-38 | 24310 | 29610 | 33570
2038 | 150150 | 178210 | 204290 | 2038 | 29710 | 34020 | 37900 | 2038-39 | 24350 | 30190 | 34480
2039 | 150530 | 180960 | 208980 | 2039 | 29580 | 34270 | 38460 | 2039-40 | 24430 | 30810 | 35450
2040 | 150950 | 183800 | 213670 | 2040 | 29450 | 34480 | 38960 | 2040-41 | 24540 | 31400 | 36360
2041 | 151080 | 185770 | 217450 | 2041 | 29320 | 34660 | 39450 | 2041-42 | 24670 | 32040 | 37320
2042 | 151350 | 188010 | 221470 | 2042 | 29200 | 34850 | 39940 | 2042-43 | 24800 | 32630 | 38220
2043 | 151930 | 190490 | 225750 | 2043 | 29110 | 35020 | 40400 | 2043-44 | 24930 | 33280 | 39130
2044 | 152660 | 193160 | 230180 | 2044 | 29030 | 35210 | 40880 | 2044-45 | 25050 | 33840 | 40010
2045 | 153160 | 195160 | 233880 | 2045 | 28940 | 35390 | 41330 | 2045-46 | 25180 | 34310 | 40790
2046 | 153910 | 197550 | 237930 | 2046 | 28870 | 35580 | 41770 | 2046-47 | 25350 | 34800 | 41580
2047 | 154790 | 199730 | 241690 | 2047 | 28830 | 35760 | 42180 | 2047-48 | 25540 | 35290 | 42360
2048 | 155820 | 202170 | 245690 | 2048 | 28790 | 35940 | 42610 | 2048-49 | 25710 | 35790 | 43130
2049 | 156660 | 203830 | 248700 | 2049 | 28770 | 36100 | 43000 | 2049-50 | 25870 | 36230 | 43830
2050 | 157740 | 205760 | 251930 | 2050 | 28750 | 36280 | 43420 | 2050-51 | 26030 | 36560 | 44380
2051 | 158800 | 207170 | 254430 | 2051 | 28740 | 36420 | 43720 | 2051-52 | 26170 | 36860 | 44870
2052 | 159970 | 208860 | 257160 | 2052 | 28730 | 36560 | 44030 | 2052-53 | 26310 | 37150 | 45330
2053 | 160820 | 209630 | 258850 | 2053 | 28720 | 36670 | 44280 | 2053-54 | 26440 | 37350 | 45680
2054 | 161700 | 210620 | 260660 | 2054 | 28710 | 36740 | 44480 | 2054-55 | 26560 | 37570 | 46020
2055 | 162660 | 211520 | 262400 | 2055 | 28700 | 36810 | 44670 | 2055-56 | 26660 | 37770 | 46320
2056 | 163750 | 212630 | 264360 | 2056 | 28700 | 36860 | 44820 | 2056-57 | 26770 | 37940 | 46590
Average Annual Growth - Percent
Period | Lower | Baseline | Higher | Period | Lower | Baseline | Higher | Period | Lower | Baseline | Higher
2026-31 | -0.1611% | 1.181% | 2.575% | 2026-31 | -0.4722% | 0.5277% | 1.58% | 2026-31 | 0.09135% | 1.628% | 2.802%
2031-36 | 0.04544% | 1.342% | 2.293% | 2031-36 | -0.3569% | 0.6154% | 1.414% | 2031-36 | 0.08268% | 1.716% | 2.691%
2036-41 | 0.1636% | 1.437% | 2.19% | 2036-41 | -0.4176% | 0.7253% | 1.445% | 2036-41 | 0.344% | 1.972% | 2.71%
2041-46 | 0.3719% | 1.237% | 1.816% | 2041-46 | -0.3089% | 0.5253% | 1.149% | 2041-46 | 0.5453% | 1.666% | 2.185%
2026-36 | -0.05787% | 1.261% | 2.434% | 2026-36 | -0.4146% | 0.5716% | 1.497% | 2026-36 | 0.08701% | 1.672% | 2.747%
2036-46 | 0.2677% | 1.337% | 2.003% | 2036-46 | -0.3633% | 0.6252% | 1.297% | 2036-46 | 0.4446% | 1.819% | 2.447%
2046-56 | 0.6217% | 0.7383% | 1.059% | 2046-56 | -0.05904% | 0.3541% | 0.7073% | 2046-56 | 0.5465% | 0.8676% | 1.144%
2026-46 | 0.1048% | 1.299% | 2.218% | 2026-46 | -0.3889% | 0.5984% | 1.397% | 2026-46 | 0.2657% | 1.745% | 2.597%
2026-56 | 0.2768% | 1.112% | 1.83% | 2026-56 | -0.2791% | 0.5169% | 1.166% | 2026-56 | 0.3592% | 1.452% | 2.11%
Notes
1. All results in the Section I tables include transmission & distribution losses.
2. Summer Capability period is from May 1 to October 31. Winter Capability period is from November 1 of the current year to April 30 of the next year.
3. The lower and higher columns reflect the Lower Demand and Higher Demand forecasts under expected weather conditions, which are summarized in Tables I-15 and I-16.
These do not reflect the 90th and 10th percentile forecasts due to weather, which are found in Tables I-6 and I-7.
4. Energy and peak figures for 2025 are weather-normalized. The values for the actual annual energy, summer peak, and winter peak are reported in Tables I-2, I-3a, and I-3b respectively.
5. The 2026 NYCA summer peak forecast is the same as the 2026 ICAP forecast.

## Notes
2026 Gold Book Lower Demand Forecast Tables Notes
The following lower demand forecasts are the same as the baseline forecast:
Forecast | Tables
Energy Efficiency and Codes & Standards | I-8a,b,c
Behind-the-Meter Solar PV | I-9a,b,c,d
Behind-the-Meter Non-Solar Distributed Generation | I-10a,b,c
Energy Storage | I-12a,b,c

## I-15
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh | [10 empty] | Table I-15b: Summary of NYCA Lower Demand Summer Coincident Peak Forecasts - MW | [10 empty] | Table I-15c: Summary of NYCA Lower Demand Winter Coincident Peak Forecasts - MW
Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | Year | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j)
|  | (-) | (-) | (-) | (+) | (+) | (+) | (+) | =a-b-c-d+e+f+g+h |  |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h |  |  |  | (-) | (-) | (-) | (-) | (+) | (+) | (+) | =a-b-c-d-e+f+g+h
| Econometric Energy | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | Storage Net Energy Consumption | EV Energy | Building Electrification | Large Load Projects | Lower Demand Annual Energy Forecast | Forecast Prior to Large Load Growth |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Lower Demand Summer Peak Forecast | Forecast Prior to Large Load Growth |  | Econometric Peak Demand | EE and C&S | Solar PV, BTM | Non-Solar DG, BTM | BTM Storage Peak Reductions | EV Peak Demand | Building Electrification | Large Load Projects | Lower Demand Winter Peak Forecast | Forecast Prior to Large Load Growth
2026 | 160764 | 1301 | 9199 | 3926 | 245 | 1308 | 159 | 2670 | 150720 | 150720 | 2026 | 32649 | 322 | 941 | 448 | 301 | 230 | 6 | 337 | 31210 | 31210 | 2026-27 | 24056 | 169 | 0 | 448 | 301 | 408 | 58 | 436 | 24040 | 24040
2027 | 161115 | 2577 | 10365 | 4087 | 414 | 1584 | 206 | 3440 | 149730 | 148960 | 2027 | 32753 | 637 | 1033 | 467 | 403 | 261 | 17 | 509 | 31000 | 30828 | 2027-28 | 24052 | 333 | 0 | 467 | 403 | 519 | 133 | 559 | 24060 | 23937
2028 | 161935 | 3819 | 11394 | 4230 | 582 | 1891 | 305 | 4220 | 149490 | 147940 | 2028 | 32980 | 937 | 1105 | 482 | 511 | 309 | 26 | 620 | 30900 | 30617 | 2028-29 | 24044 | 502 | 0 | 482 | 511 | 594 | 277 | 670 | 24090 | 23856
2029 | 162142 | 5003 | 12281 | 4365 | 751 | 2236 | 450 | 5120 | 149050 | 146600 | 2029 | 33140 | 1222 | 1168 | 499 | 623 | 363 | 36 | 763 | 30790 | 30364 | 2029-30 | 23971 | 728 | 0 | 499 | 623 | 673 | 503 | 803 | 24100 | 23733
2030 | 162822 | 6565 | 13025 | 4411 | 920 | 2618 | 751 | 6190 | 149300 | 145780 | 2030 | 33285 | 1573 | 1217 | 503 | 718 | 422 | 50 | 914 | 30660 | 30083 | 2030-31 | 23865 | 948 | 0 | 503 | 718 | 762 | 738 | 924 | 24120 | 23632
2031 | 163550 | 8032 | 13647 | 4539 | 997 | 3053 | 1118 | 7010 | 149510 | 145170 | 2031 | 33375 | 1891 | 1255 | 518 | 802 | 491 | 70 | 1010 | 30480 | 29807 | 2031-32 | 23846 | 1162 | 0 | 518 | 802 | 843 | 923 | 1020 | 24150 | 23566
2032 | 164300 | 9415 | 14163 | 4662 | 1076 | 3525 | 1499 | 7630 | 149790 | 144830 | 2032 | 33541 | 2181 | 1282 | 532 | 869 | 562 | 90 | 1081 | 30410 | 29666 | 2032-33 | 23789 | 1378 | 0 | 532 | 869 | 941 | 1128 | 1091 | 24170 | 23515
2033 | 164357 | 10697 | 14595 | 4784 | 1154 | 4044 | 1901 | 8190 | 149570 | 144050 | 2033 | 33604 | 2463 | 1304 | 546 | 940 | 648 | 110 | 1151 | 30260 | 29446 | 2033-34 | 23757 | 1586 | 0 | 546 | 940 | 1043 | 1291 | 1161 | 24180 | 23455
2034 | 164493 | 11909 | 14962 | 4897 | 1231 | 4607 | 2307 | 8730 | 149600 | 143540 | 2034 | 33635 | 2712 | 1316 | 559 | 1011 | 739 | 133 | 1221 | 30130 | 29246 | 2034-35 | 23725 | 1792 | 0 | 559 | 1011 | 1147 | 1459 | 1221 | 24190 | 23405
2035 | 164784 | 13057 | 15269 | 5011 | 1309 | 5219 | 2745 | 8880 | 149600 | 143390 | 2035 | 33734 | 2952 | 1319 | 571 | 1077 | 833 | 161 | 1221 | 30030 | 29146 | 2035-36 | 23715 | 1995 | 0 | 571 | 1077 | 1267 | 1640 | 1221 | 24200 | 23415
2036 | 165308 | 14143 | 15535 | 5127 | 1388 | 5872 | 3207 | 8880 | 149850 | 143640 | 2036 | 33805 | 3164 | 1314 | 585 | 1142 | 930 | 189 | 1221 | 29940 | 29056 | 2036-37 | 23705 | 2193 | 0 | 585 | 1142 | 1390 | 1854 | 1221 | 24250 | 23465
2037 | 165433 | 15109 | 15759 | 5242 | 1466 | 6563 | 3638 | 8880 | 149870 | 143660 | 2037 | 33853 | 3366 | 1303 | 598 | 1206 | 1031 | 208 | 1221 | 29840 | 28956 | 2037-38 | 23704 | 2392 | 0 | 598 | 1206 | 1525 | 2056 | 1221 | 24310 | 23525
2038 | 165709 | 16042 | 15961 | 5342 | 1544 | 7273 | 4089 | 8880 | 150150 | 143940 | 2038 | 33835 | 3552 | 1284 | 611 | 1261 | 1132 | 230 | 1221 | 29710 | 28826 | 2038-39 | 23702 | 2589 | 0 | 611 | 1261 | 1639 | 2249 | 1221 | 24350 | 23565
2039 | 165983 | 16948 | 16136 | 5437 | 1624 | 8001 | 4563 | 8880 | 150530 | 144320 | 2039 | 33809 | 3713 | 1263 | 621 | 1320 | 1226 | 241 | 1221 | 29580 | 28696 | 2039-40 | 23708 | 2821 | 0 | 621 | 1320 | 1795 | 2468 | 1221 | 24430 | 23645
2040 | 166405 | 18036 | 16287 | 5526 | 1711 | 8729 | 5074 | 8880 | 150950 | 144740 | 2040 | 33820 | 3911 | 1245 | 631 | 1378 | 1317 | 257 | 1221 | 29450 | 28566 | 2040-41 | 23711 | 3049 | 0 | 631 | 1378 | 1960 | 2706 | 1221 | 24540 | 23755
2041 | 166370 | 19007 | 16423 | 5605 | 1798 | 9464 | 5603 | 8880 | 151080 | 144870 | 2041 | 33803 | 4097 | 1222 | 641 | 1436 | 1410 | 282 | 1221 | 29320 | 28436 | 2041-42 | 23737 | 3277 | 0 | 641 | 1436 | 2082 | 2984 | 1221 | 24670 | 23885
2042 | 166433 | 19958 | 16548 | 5673 | 1885 | 10190 | 6141 | 8880 | 151350 | 145140 | 2042 | 33785 | 4264 | 1201 | 649 | 1495 | 1504 | 299 | 1221 | 29200 | 28316 | 2042-43 | 23764 | 3501 | 0 | 649 | 1495 | 2253 | 3207 | 1221 | 24800 | 24015
2043 | 166707 | 20839 | 16665 | 5740 | 1975 | 10931 | 6681 | 8880 | 151930 | 145720 | 2043 | 33762 | 4404 | 1184 | 656 | 1549 | 1601 | 319 | 1221 | 29110 | 28226 | 2043-44 | 23775 | 3717 | 0 | 656 | 1549 | 2376 | 3480 | 1221 | 24930 | 24145
2044 | 167089 | 21714 | 16770 | 5808 | 2062 | 11698 | 7223 | 8880 | 152660 | 146450 | 2044 | 33756 | 4550 | 1160 | 664 | 1600 | 1686 | 341 | 1221 | 29030 | 28146 | 2044-45 | 23788 | 3933 | 0 | 664 | 1600 | 2499 | 3739 | 1221 | 25050 | 24265
2045 | 167093 | 22474 | 16867 | 5874 | 2150 | 12481 | 7771 | 8880 | 153160 | 146950 | 2045 | 33706 | 4691 | 1132 | 671 | 1646 | 1785 | 368 | 1221 | 28940 | 28056 | 2045-46 | 23820 | 4144 | 0 | 671 | 1646 | 2620 | 3980 | 1221 | 25180 | 24395
2046 | 167315 | 23225 | 16954 | 5936 | 2236 | 13289 | 8305 | 8880 | 153910 | 147700 | 2046 | 33651 | 4805 | 1101 | 679 | 1687 | 1876 | 394 | 1221 | 28870 | 27986 | 2046-47 | 23832 | 4351 | 0 | 679 | 1687 | 2796 | 4218 | 1221 | 25350 | 24565
2047 | 167638 | 23961 | 17041 | 5990 | 2321 | 14128 | 8815 | 8880 | 154790 | 148580 | 2047 | 33627 | 4924 | 1063 | 685 | 1728 | 1974 | 408 | 1221 | 28830 | 27946 | 2047-48 | 23872 | 4551 | 0 | 685 | 1728 | 3006 | 4405 | 1221 | 25540 | 24755
2048 | 168015 | 24634 | 17125 | 6045 | 2407 | 15001 | 9321 | 8880 | 155820 | 149610 | 2048 | 33586 | 5032 | 1022 | 691 | 1766 | 2062 | 432 | 1221 | 28790 | 27906 | 2048-49 | 23893 | 4723 | 0 | 691 | 1766 | 3158 | 4618 | 1221 | 25710 | 24925
2049 | 168080 | 25195 | 17202 | 6097 | 2489 | 15903 | 9802 | 8880 | 156660 | 150450 | 2049 | 33554 | 5137 | 976 | 696 | 1800 | 2151 | 453 | 1221 | 28770 | 27886 | 2049-50 | 23904 | 4881 | 0 | 696 | 1800 | 3262 | 4860 | 1221 | 25870 | 25085
2050 | 168379 | 25747 | 17280 | 6152 | 2574 | 16837 | 10249 | 8880 | 157740 | 151530 | 2050 | 33472 | 5223 | 929 | 703 | 1831 | 2253 | 490 | 1221 | 28750 | 27866 | 2050-51 | 23925 | 5034 | 0 | 703 | 1831 | 3387 | 5065 | 1221 | 26030 | 25245
2051 | 168800 | 26281 | 17352 | 6206 | 2655 | 17651 | 10653 | 8880 | 158800 | 152590 | 2051 | 33414 | 5308 | 879 | 710 | 1861 | 2350 | 513 | 1221 | 28740 | 27856 | 2051-52 | 23933 | 5179 | 0 | 710 | 1861 | 3491 | 5275 | 1221 | 26170 | 25385
2052 | 169313 | 26824 | 17423 | 6254 | 2737 | 18530 | 11011 | 8880 | 159970 | 153760 | 2052 | 33370 | 5398 | 829 | 715 | 1891 | 2442 | 530 | 1221 | 28730 | 27846 | 2052-53 | 23924 | 5313 | 0 | 715 | 1891 | 3552 | 5532 | 1221 | 26310 | 25525
2053 | 169483 | 27276 | 17492 | 6300 | 2819 | 19383 | 11323 | 8880 | 160820 | 154610 | 2053 | 33311 | 5479 | 777 | 720 | 1915 | 2534 | 545 | 1221 | 28720 | 27836 | 2053-54 | 23913 | 5441 | 0 | 720 | 1915 | 3644 | 5738 | 1221 | 26440 | 25655
2054 | 169734 | 27736 | 17560 | 6347 | 2901 | 20246 | 11582 | 8880 | 161700 | 155490 | 2054 | 33261 | 5566 | 725 | 725 | 1937 | 2621 | 560 | 1221 | 28710 | 27826 | 2054-55 | 23881 | 5560 | 0 | 725 | 1937 | 3675 | 6005 | 1221 | 26560 | 25775
2055 | 170118 | 28186 | 17627 | 6395 | 2980 | 21095 | 11795 | 8880 | 162660 | 156450 | 2055 | 33244 | 5645 | 697 | 731 | 1957 | 2688 | 577 | 1221 | 28700 | 27816 | 2055-56 | 23828 | 5671 | 0 | 731 | 1957 | 3709 | 6261 | 1221 | 26660 | 25875
2056 | 170712 | 28608 | 17691 | 6443 | 3058 | 21892 | 11950 | 8880 | 163750 | 157540 | 2056 | 33233 | 5719 | 669 | 737 | 1980 | 2762 | 589 | 1221 | 28700 | 27816 | 2056-57 | 23793 | 5775 | 0 | 737 | 1980 | 3758 | 6490 | 1221 | 26770 | 25985
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (a) - Econometric Energy Forecast - Reflects impacts of projected weather trends and economic growth | (a) - Econometric Summer Peak Demand - Reflects impacts of projected weather trends and economic growth | [10 empty] | (a) - Econometric Winter Peak Demand - Reflects impacts of projected weather trendsand economic growth
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (b) - Table I-8a: Energy Efficiency and Codes & Standards Energy Impacts, Relative to 2025 | (b) - Table I-8b: Energy Efficiency and Codes & Standards Summer Coincident Peak Demand Reductions, Relative to 2025 | [10 empty] | (b) - Table I-8c: Energy Efficiency and Codes & Standards Winter Coincident Peak Demand Reductions, Relative to 2025-26
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (c) - Table I-9b: Solar PV Impacts, Behind-the-Meter - Total Reductions in Annual Energy | (c) - Table I-9c: Solar PV Impacts, Behind-the-Meter, Total Reductions in Summer Coincident Peak Demand | [10 empty] | (c) - The forecast of solar PV-related reductions to the winter peak is zero because the system typically peaks after sunset
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (d) - Table I-10b: Non-Solar Distributed Generation Impacts, Behind-the-Meter - Total Reductions in Annual Energy | (d) - Table I-10d: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand | [10 empty] | (d) - Table I-10c: Non-Solar Distributed Generation Impacts, Behind-the-Meter, Total Reductions in Coincident Peak Demand
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (e) - Table I-12b: Storage Annual Net Energy Consumption, both wholesale and behind-the-meter (pumped storage is not included - see Table III-2 for current resources) | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources) | [10 empty] | (e) - Table I-12c: Storage Impacts, Behind-the-Meter, Reductions in Coincident Peak Demand (pumped storage is not included - see Table III-2 for current resources)
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (f) - Table I-11b-L: Electric Vehicle Energy Usage | (f) - Table I-11c-L: Electric Vehicle Summer Coincident Peak Demand | [10 empty] | (f) - Table I-11d-L: Electric Vehicle Winter Coincident Peak Demand
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (g) - Table I-13a-L: Building Electrification Energy Usage - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | (g) - Table I-13b-L: Building Electrification Summer Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses | [10 empty] | (g) - Table I-13c-L: Building Electrification Winter Coincident Peak Demand - future end-use electrification including heat pumps, water heating, cooking, and other end-uses
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (h) - Table I-14-L: Large Loads Forecast - reflects existing plus future load growth | (h) - Table I-14-L: Large Loads Forecast - reflects existing plus future load growth | [10 empty] | (h) - Table I-14-L: Large Loads Forecast - reflects existing plus future load growth
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (i) - Table I-2-L: Lower Demand Annual Energy Forecast | (i) - Table I-3a-L: Lower Demand Summer Coincident Peak Forecast | [10 empty] | (j) - Table I-3b-L: Lower Demand Winter Coincident Peak Forecast
Table I-15a: Summary of NYCA Lower Demand Annual Energy Forecasts - GWh Year: (j) - Annual energy forecast with no additional large load growth beyond 2026 | (j) - Summer peak demand forecast with no additional large load growth beyond summer 2026 | [10 empty] | (j) - Winter peak demand forecast with no additional large load growth beyond winter 2026-27

## I-2-L
Table I-2-L: Lower Demand Annual Energy Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 14630 | 9320 | 14620 | 5470 | 7200 | 11510 | 9590 | 2690 | 5760 | 50060 | 19870 | 150720
2027 | 15040 | 9160 | 14290 | 5400 | 6900 | 11250 | 9580 | 2660 | 5760 | 50020 | 19670 | 149730
2028 | 15570 | 9080 | 14060 | 5360 | 6630 | 11070 | 9580 | 2660 | 5780 | 50040 | 19660 | 149490
2029 | 15990 | 8940 | 13990 | 5290 | 6440 | 10900 | 9580 | 2650 | 5770 | 49850 | 19650 | 149050
2030 | 15980 | 8860 | 14690 | 5250 | 6310 | 10800 | 9580 | 2640 | 5750 | 49800 | 19640 | 149300
2031 | 15870 | 8790 | 15320 | 5200 | 6210 | 10730 | 9560 | 2640 | 5780 | 49780 | 19630 | 149510
2032 | 15810 | 8760 | 15830 | 5180 | 6140 | 10700 | 9530 | 2650 | 5810 | 49760 | 19620 | 149790
2033 | 15660 | 8680 | 16210 | 5120 | 6040 | 10620 | 9480 | 2650 | 5810 | 49690 | 19610 | 149570
2034 | 15570 | 8630 | 16640 | 5080 | 5980 | 10580 | 9440 | 2650 | 5820 | 49590 | 19620 | 149600
2035 | 15500 | 8610 | 16700 | 5040 | 5930 | 10560 | 9430 | 2650 | 5840 | 49660 | 19680 | 149600
2036 | 15490 | 8630 | 16670 | 5030 | 5910 | 10600 | 9470 | 2670 | 5880 | 49750 | 19750 | 149850
2037 | 15430 | 8620 | 16600 | 4990 | 5880 | 10600 | 9470 | 2680 | 5900 | 49860 | 19840 | 149870
2038 | 15430 | 8630 | 16580 | 4970 | 5860 | 10630 | 9510 | 2700 | 5940 | 49950 | 19950 | 150150
2039 | 15420 | 8650 | 16560 | 4940 | 5860 | 10660 | 9570 | 2710 | 5980 | 50100 | 20080 | 150530
2040 | 15430 | 8680 | 16550 | 4930 | 5860 | 10730 | 9640 | 2720 | 6010 | 50190 | 20210 | 150950
2041 | 15390 | 8670 | 16500 | 4890 | 5850 | 10740 | 9680 | 2740 | 6030 | 50260 | 20330 | 151080
2042 | 15380 | 8680 | 16490 | 4860 | 5840 | 10790 | 9730 | 2750 | 6050 | 50330 | 20450 | 151350
2043 | 15400 | 8720 | 16500 | 4840 | 5860 | 10850 | 9820 | 2770 | 6090 | 50480 | 20600 | 151930
2044 | 15450 | 8760 | 16530 | 4830 | 5890 | 10950 | 9930 | 2780 | 6130 | 50640 | 20770 | 152660
2045 | 15460 | 8770 | 16530 | 4800 | 5900 | 11010 | 9990 | 2800 | 6150 | 50810 | 20940 | 153160
2046 | 15500 | 8820 | 16570 | 4800 | 5920 | 11110 | 10100 | 2820 | 6190 | 50960 | 21120 | 153910
2047 | 15550 | 8870 | 16600 | 4780 | 5950 | 11210 | 10210 | 2850 | 6240 | 51200 | 21330 | 154790
2048 | 15640 | 8930 | 16680 | 4780 | 5980 | 11340 | 10340 | 2870 | 6290 | 51420 | 21550 | 155820
2049 | 15670 | 8970 | 16700 | 4760 | 6010 | 11430 | 10440 | 2900 | 6330 | 51670 | 21780 | 156660
2050 | 15750 | 9040 | 16770 | 4770 | 6050 | 11570 | 10570 | 2930 | 6390 | 51900 | 22000 | 157740
2051 | 15820 | 9090 | 16830 | 4760 | 6090 | 11690 | 10680 | 2950 | 6430 | 52220 | 22240 | 158800
2052 | 15910 | 9170 | 16920 | 4770 | 6130 | 11830 | 10830 | 2980 | 6490 | 52480 | 22460 | 159970
2053 | 15940 | 9210 | 16940 | 4750 | 6160 | 11930 | 10950 | 3000 | 6530 | 52740 | 22670 | 160820
2054 | 15980 | 9270 | 16980 | 4750 | 6190 | 12040 | 11080 | 3030 | 6570 | 52950 | 22860 | 161700
2055 | 16030 | 9320 | 17030 | 4740 | 6220 | 12150 | 11210 | 3050 | 6620 | 53220 | 23070 | 162660
2056 | 16090 | 9380 | 17100 | 4750 | 6260 | 12270 | 11360 | 3070 | 6670 | 53520 | 23280 | 163750
Note: Historical values reflect actual experienced weather conditions. Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3a-L
Table I-3a-L: Lower Demand Summer Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 2679 | 1813 | 2556 | 674 | 1269 | 2266 | 2274 | 609 | 1331 | 10750 | 4989 | 31210
2027 | 2792 | 1774 | 2472 | 665 | 1212 | 2219 | 2255 | 607 | 1331 | 10700 | 4973 | 31000
2028 | 2867 | 1734 | 2437 | 658 | 1186 | 2188 | 2247 | 607 | 1330 | 10690 | 4956 | 30900
2029 | 2898 | 1722 | 2428 | 651 | 1166 | 2158 | 2240 | 606 | 1330 | 10660 | 4931 | 30790
2030 | 2855 | 1699 | 2506 | 642 | 1145 | 2130 | 2223 | 604 | 1329 | 10620 | 4907 | 30660
2031 | 2813 | 1681 | 2609 | 633 | 1125 | 2097 | 2193 | 599 | 1328 | 10530 | 4872 | 30480
2032 | 2789 | 1672 | 2652 | 627 | 1114 | 2076 | 2177 | 599 | 1328 | 10510 | 4866 | 30410
2033 | 2760 | 1657 | 2672 | 620 | 1106 | 2054 | 2156 | 597 | 1326 | 10460 | 4852 | 30260
2034 | 2734 | 1644 | 2703 | 613 | 1099 | 2048 | 2134 | 595 | 1325 | 10400 | 4835 | 30130
2035 | 2717 | 1630 | 2714 | 613 | 1099 | 2042 | 2113 | 594 | 1325 | 10370 | 4813 | 30030
2036 | 2711 | 1627 | 2722 | 610 | 1098 | 2035 | 2102 | 592 | 1325 | 10330 | 4788 | 29940
2037 | 2706 | 1619 | 2728 | 609 | 1092 | 2030 | 2083 | 591 | 1323 | 10290 | 4769 | 29840
2038 | 2693 | 1610 | 2709 | 608 | 1081 | 2020 | 2066 | 590 | 1322 | 10260 | 4751 | 29710
2039 | 2673 | 1599 | 2687 | 606 | 1069 | 2010 | 2053 | 589 | 1321 | 10230 | 4743 | 29580
2040 | 2655 | 1592 | 2667 | 602 | 1059 | 2000 | 2045 | 588 | 1320 | 10190 | 4732 | 29450
2041 | 2643 | 1588 | 2657 | 598 | 1054 | 1989 | 2040 | 586 | 1317 | 10130 | 4718 | 29320
2042 | 2627 | 1581 | 2637 | 594 | 1049 | 1978 | 2035 | 586 | 1316 | 10090 | 4707 | 29200
2043 | 2616 | 1576 | 2629 | 590 | 1048 | 1968 | 2032 | 586 | 1316 | 10050 | 4699 | 29110
2044 | 2603 | 1564 | 2621 | 587 | 1043 | 1958 | 2028 | 585 | 1316 | 10030 | 4695 | 29030
2045 | 2597 | 1561 | 2607 | 583 | 1041 | 1955 | 2024 | 585 | 1314 | 9990 | 4683 | 28940
2046 | 2585 | 1558 | 2589 | 581 | 1031 | 1953 | 2021 | 584 | 1314 | 9970 | 4684 | 28870
2047 | 2580 | 1556 | 2572 | 578 | 1030 | 1952 | 2019 | 582 | 1314 | 9960 | 4687 | 28830
2048 | 2572 | 1554 | 2561 | 576 | 1031 | 1951 | 2018 | 582 | 1314 | 9940 | 4691 | 28790
2049 | 2565 | 1550 | 2560 | 573 | 1033 | 1950 | 2017 | 581 | 1314 | 9930 | 4697 | 28770
2050 | 2556 | 1544 | 2551 | 572 | 1034 | 1949 | 2016 | 581 | 1314 | 9930 | 4703 | 28750
2051 | 2550 | 1540 | 2548 | 571 | 1035 | 1948 | 2015 | 581 | 1315 | 9930 | 4707 | 28740
2052 | 2546 | 1537 | 2544 | 570 | 1036 | 1947 | 2014 | 581 | 1315 | 9930 | 4710 | 28730
2053 | 2543 | 1535 | 2548 | 569 | 1037 | 1946 | 2013 | 581 | 1316 | 9920 | 4712 | 28720
2054 | 2541 | 1534 | 2542 | 568 | 1038 | 1945 | 2012 | 581 | 1316 | 9920 | 4713 | 28710
2055 | 2540 | 1533 | 2544 | 567 | 1039 | 1944 | 2011 | 581 | 1317 | 9910 | 4714 | 28700
2056 | 2539 | 1532 | 2547 | 566 | 1040 | 1943 | 2010 | 581 | 1317 | 9910 | 4715 | 28700
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-3b-L
Table I-3b-L: Lower Demand Winter Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 2077 | 1478 | 2529 | 824 | 1316 | 1898 | 1659 | 503 | 930 | 7600 | 3226 | 24040
2027-28 | 2156 | 1464 | 2500 | 819 | 1281 | 1885 | 1656 | 506 | 941 | 7620 | 3232 | 24060
2028-29 | 2194 | 1442 | 2520 | 814 | 1255 | 1871 | 1662 | 508 | 947 | 7630 | 3247 | 24090
2029-30 | 2224 | 1423 | 2545 | 809 | 1228 | 1857 | 1658 | 510 | 953 | 7640 | 3253 | 24100
2030-31 | 2235 | 1403 | 2586 | 804 | 1204 | 1844 | 1662 | 512 | 960 | 7650 | 3260 | 24120
2031-32 | 2228 | 1379 | 2634 | 800 | 1184 | 1830 | 1662 | 513 | 964 | 7690 | 3266 | 24150
2032-33 | 2212 | 1358 | 2682 | 796 | 1164 | 1813 | 1665 | 514 | 969 | 7730 | 3267 | 24170
2033-34 | 2198 | 1335 | 2704 | 792 | 1147 | 1799 | 1662 | 515 | 979 | 7770 | 3279 | 24180
2034-35 | 2186 | 1314 | 2710 | 788 | 1131 | 1786 | 1663 | 516 | 990 | 7810 | 3296 | 24190
2035-36 | 2178 | 1298 | 2710 | 785 | 1117 | 1779 | 1660 | 518 | 995 | 7850 | 3310 | 24200
2036-37 | 2177 | 1291 | 2711 | 782 | 1107 | 1781 | 1658 | 522 | 1003 | 7890 | 3328 | 24250
2037-38 | 2181 | 1292 | 2706 | 780 | 1102 | 1787 | 1658 | 526 | 1008 | 7920 | 3350 | 24310
2038-39 | 2192 | 1295 | 2699 | 772 | 1098 | 1787 | 1664 | 529 | 1011 | 7930 | 3373 | 24350
2039-40 | 2206 | 1301 | 2694 | 764 | 1097 | 1788 | 1679 | 532 | 1015 | 7940 | 3414 | 24430
2040-41 | 2225 | 1309 | 2692 | 752 | 1097 | 1793 | 1703 | 534 | 1021 | 7960 | 3454 | 24540
2041-42 | 2241 | 1317 | 2694 | 745 | 1098 | 1799 | 1727 | 537 | 1030 | 7990 | 3492 | 24670
2042-43 | 2254 | 1326 | 2695 | 738 | 1100 | 1806 | 1752 | 540 | 1041 | 8020 | 3528 | 24800
2043-44 | 2266 | 1334 | 2696 | 731 | 1103 | 1816 | 1778 | 544 | 1051 | 8050 | 3561 | 24930
2044-45 | 2275 | 1343 | 2695 | 727 | 1105 | 1828 | 1800 | 549 | 1062 | 8080 | 3586 | 25050
2045-46 | 2284 | 1352 | 2697 | 724 | 1107 | 1845 | 1820 | 555 | 1072 | 8110 | 3614 | 25180
2046-47 | 2293 | 1364 | 2701 | 724 | 1111 | 1864 | 1838 | 563 | 1082 | 8150 | 3660 | 25350
2047-48 | 2304 | 1375 | 2706 | 722 | 1116 | 1885 | 1863 | 570 | 1092 | 8200 | 3707 | 25540
2048-49 | 2318 | 1385 | 2709 | 719 | 1121 | 1906 | 1886 | 576 | 1103 | 8240 | 3747 | 25710
2049-50 | 2333 | 1393 | 2711 | 716 | 1126 | 1926 | 1904 | 580 | 1113 | 8290 | 3778 | 25870
2050-51 | 2348 | 1401 | 2712 | 713 | 1130 | 1945 | 1921 | 584 | 1124 | 8340 | 3812 | 26030
2051-52 | 2365 | 1408 | 2714 | 710 | 1135 | 1962 | 1943 | 587 | 1134 | 8370 | 3842 | 26170
2052-53 | 2381 | 1418 | 2718 | 708 | 1138 | 1979 | 1967 | 591 | 1144 | 8390 | 3876 | 26310
2053-54 | 2392 | 1427 | 2724 | 707 | 1140 | 1994 | 1989 | 594 | 1151 | 8410 | 3912 | 26440
2054-55 | 2399 | 1436 | 2730 | 702 | 1142 | 2006 | 2013 | 596 | 1156 | 8440 | 3940 | 26560
2055-56 | 2407 | 1443 | 2734 | 695 | 1143 | 2017 | 2042 | 599 | 1160 | 8460 | 3960 | 26660
2056-57 | 2415 | 1450 | 2738 | 688 | 1144 | 2028 | 2071 | 602 | 1164 | 8480 | 3990 | 26770
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4a-L
Table I-4a-L: Lower Demand Summer Non-Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Non-Coincident Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2026 | 2774 | 1874 | 2644 | 687 | 1308 | 2335 | 2334 | 624 | 1364 | 11010 | 5077
2027 | 2891 | 1834 | 2557 | 678 | 1249 | 2287 | 2314 | 622 | 1364 | 10960 | 5061
2028 | 2969 | 1792 | 2521 | 671 | 1222 | 2255 | 2306 | 622 | 1363 | 10950 | 5043
2029 | 3001 | 1780 | 2512 | 663 | 1202 | 2224 | 2299 | 621 | 1363 | 10920 | 5018
2030 | 2957 | 1756 | 2592 | 654 | 1180 | 2195 | 2281 | 619 | 1362 | 10880 | 4993
2031 | 2913 | 1737 | 2699 | 645 | 1159 | 2161 | 2250 | 614 | 1361 | 10790 | 4958
2032 | 2888 | 1728 | 2743 | 639 | 1148 | 2139 | 2234 | 614 | 1361 | 10770 | 4952
2033 | 2858 | 1713 | 2764 | 632 | 1140 | 2117 | 2212 | 612 | 1358 | 10720 | 4937
2034 | 2831 | 1699 | 2796 | 625 | 1133 | 2110 | 2190 | 610 | 1357 | 10650 | 4920
2035 | 2814 | 1685 | 2808 | 625 | 1133 | 2104 | 2168 | 609 | 1357 | 10620 | 4898
2036 | 2808 | 1682 | 2816 | 622 | 1132 | 2097 | 2157 | 607 | 1357 | 10580 | 4872
2037 | 2802 | 1673 | 2822 | 621 | 1125 | 2092 | 2138 | 605 | 1355 | 10540 | 4853
2038 | 2789 | 1664 | 2802 | 620 | 1114 | 2082 | 2120 | 604 | 1354 | 10510 | 4835
2039 | 2768 | 1653 | 2780 | 618 | 1102 | 2071 | 2107 | 603 | 1353 | 10480 | 4826
2040 | 2750 | 1645 | 2759 | 613 | 1091 | 2061 | 2099 | 602 | 1352 | 10440 | 4815
2041 | 2737 | 1641 | 2749 | 609 | 1086 | 2050 | 2093 | 600 | 1349 | 10380 | 4801
2042 | 2721 | 1634 | 2728 | 605 | 1081 | 2038 | 2088 | 600 | 1348 | 10340 | 4790
2043 | 2709 | 1629 | 2720 | 601 | 1080 | 2028 | 2085 | 600 | 1348 | 10300 | 4782
2044 | 2696 | 1617 | 2711 | 598 | 1075 | 2018 | 2081 | 599 | 1348 | 10280 | 4778
2045 | 2689 | 1613 | 2697 | 594 | 1073 | 2015 | 2077 | 599 | 1346 | 10230 | 4765
2046 | 2677 | 1610 | 2678 | 592 | 1063 | 2013 | 2074 | 598 | 1346 | 10210 | 4766
2047 | 2672 | 1608 | 2661 | 589 | 1062 | 2012 | 2072 | 596 | 1346 | 10200 | 4769
2048 | 2664 | 1606 | 2649 | 587 | 1063 | 2011 | 2071 | 596 | 1346 | 10180 | 4774
2049 | 2656 | 1602 | 2648 | 584 | 1065 | 2009 | 2070 | 595 | 1346 | 10170 | 4780
2050 | 2647 | 1596 | 2639 | 583 | 1066 | 2008 | 2069 | 595 | 1346 | 10170 | 4786
2051 | 2641 | 1592 | 2636 | 582 | 1067 | 2007 | 2068 | 595 | 1347 | 10170 | 4790
2052 | 2637 | 1589 | 2632 | 581 | 1068 | 2006 | 2067 | 595 | 1347 | 10170 | 4793
2053 | 2634 | 1587 | 2636 | 580 | 1069 | 2005 | 2066 | 595 | 1348 | 10160 | 4795
2054 | 2631 | 1586 | 2630 | 579 | 1070 | 2004 | 2065 | 595 | 1348 | 10160 | 4796
2055 | 2630 | 1585 | 2632 | 578 | 1071 | 2003 | 2064 | 595 | 1349 | 10150 | 4797
2056 | 2629 | 1583 | 2635 | 577 | 1072 | 2002 | 2063 | 595 | 1349 | 10150 | 4798
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-4b-L
Table I-4b-L: Lower Demand Winter Non-Coincident Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
Non-Coincident Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K
2026-27 | 2102 | 1488 | 2539 | 840 | 1341 | 1911 | 1664 | 514 | 936 | 7650 | 3239
2027-28 | 2182 | 1474 | 2510 | 835 | 1305 | 1898 | 1661 | 517 | 947 | 7670 | 3245
2028-29 | 2220 | 1452 | 2530 | 830 | 1279 | 1884 | 1667 | 519 | 953 | 7680 | 3260
2029-30 | 2251 | 1433 | 2555 | 825 | 1251 | 1870 | 1663 | 521 | 959 | 7690 | 3266
2030-31 | 2262 | 1413 | 2596 | 820 | 1227 | 1857 | 1667 | 523 | 966 | 7700 | 3273
2031-32 | 2255 | 1389 | 2645 | 816 | 1206 | 1843 | 1667 | 524 | 970 | 7740 | 3279
2032-33 | 2239 | 1368 | 2693 | 812 | 1186 | 1826 | 1670 | 525 | 975 | 7780 | 3280
2033-34 | 2224 | 1344 | 2715 | 808 | 1169 | 1812 | 1667 | 526 | 985 | 7820 | 3292
2034-35 | 2212 | 1323 | 2721 | 804 | 1152 | 1799 | 1668 | 527 | 996 | 7860 | 3309
2035-36 | 2204 | 1307 | 2721 | 801 | 1138 | 1791 | 1665 | 529 | 1001 | 7900 | 3323
2036-37 | 2203 | 1300 | 2722 | 798 | 1128 | 1793 | 1663 | 533 | 1009 | 7950 | 3341
2037-38 | 2207 | 1301 | 2717 | 796 | 1123 | 1800 | 1663 | 537 | 1014 | 7980 | 3363
2038-39 | 2218 | 1304 | 2710 | 787 | 1119 | 1800 | 1669 | 540 | 1017 | 7990 | 3386
2039-40 | 2232 | 1310 | 2705 | 779 | 1118 | 1801 | 1684 | 543 | 1021 | 8000 | 3428
2040-41 | 2252 | 1318 | 2703 | 767 | 1118 | 1806 | 1708 | 545 | 1027 | 8020 | 3468
2041-42 | 2268 | 1326 | 2705 | 760 | 1119 | 1812 | 1732 | 548 | 1036 | 8050 | 3506
2042-43 | 2281 | 1335 | 2706 | 753 | 1121 | 1819 | 1757 | 551 | 1047 | 8080 | 3542
2043-44 | 2293 | 1343 | 2707 | 746 | 1124 | 1829 | 1783 | 555 | 1057 | 8110 | 3575
2044-45 | 2302 | 1352 | 2706 | 742 | 1126 | 1841 | 1805 | 561 | 1068 | 8140 | 3600
2045-46 | 2311 | 1361 | 2708 | 738 | 1128 | 1858 | 1825 | 567 | 1078 | 8170 | 3628
2046-47 | 2321 | 1374 | 2712 | 738 | 1132 | 1877 | 1844 | 575 | 1088 | 8210 | 3675
2047-48 | 2332 | 1385 | 2717 | 736 | 1137 | 1898 | 1869 | 582 | 1099 | 8260 | 3722
2048-49 | 2346 | 1395 | 2720 | 733 | 1142 | 1919 | 1892 | 588 | 1110 | 8300 | 3762
2049-50 | 2361 | 1403 | 2722 | 730 | 1147 | 1939 | 1910 | 592 | 1120 | 8350 | 3793
2050-51 | 2376 | 1411 | 2723 | 727 | 1151 | 1959 | 1927 | 596 | 1131 | 8400 | 3827
2051-52 | 2393 | 1418 | 2725 | 724 | 1157 | 1976 | 1949 | 599 | 1141 | 8430 | 3857
2052-53 | 2410 | 1428 | 2729 | 722 | 1160 | 1993 | 1973 | 603 | 1151 | 8450 | 3892
2053-54 | 2421 | 1437 | 2735 | 721 | 1162 | 2008 | 1995 | 606 | 1158 | 8470 | 3928
2054-55 | 2428 | 1446 | 2741 | 716 | 1164 | 2020 | 2019 | 609 | 1163 | 8500 | 3956
2055-56 | 2436 | 1453 | 2745 | 709 | 1165 | 2031 | 2048 | 612 | 1167 | 8520 | 3976
2056-57 | 2444 | 1460 | 2749 | 702 | 1166 | 2042 | 2077 | 615 | 1171 | 8540 | 4006
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-5-L
Table I-5-L: Lower Demand G-to-J Locality Peak Forecast
Includes Impacts of Energy Saving Programs, Behind-the-Meter Generation, Electrification, & Large Loads, under Expected Weather
G-to-J Locality Summer Peak Demand by Zone - MW | [5 empty] | G-to-J Locality Winter Peak Demand by Zone - MW
Year | G | H | I | J | G-J | Year | G | H | I | J | G-J
2026 | 2315 | 620 | 1355 | 10942 | 15232 | 2026-27 | 1654 | 501 | 926 | 7646 | 10727
2027 | 2295 | 618 | 1355 | 10892 | 15160 | 2027-28 | 1651 | 504 | 937 | 7666 | 10758
2028 | 2287 | 618 | 1354 | 10881 | 15140 | 2028-29 | 1657 | 506 | 943 | 7676 | 10782
2029 | 2280 | 617 | 1354 | 10851 | 15102 | 2029-30 | 1653 | 508 | 949 | 7686 | 10796
2030 | 2263 | 615 | 1353 | 10810 | 15041 | 2030-31 | 1657 | 510 | 956 | 7696 | 10819
2031 | 2232 | 610 | 1352 | 10718 | 14912 | 2031-32 | 1657 | 511 | 960 | 7736 | 10864
2032 | 2216 | 610 | 1352 | 10698 | 14876 | 2032-33 | 1660 | 512 | 965 | 7776 | 10913
2033 | 2195 | 608 | 1350 | 10647 | 14800 | 2033-34 | 1657 | 513 | 975 | 7817 | 10962
2034 | 2172 | 606 | 1349 | 10586 | 14713 | 2034-35 | 1658 | 514 | 986 | 7857 | 11015
2035 | 2151 | 605 | 1349 | 10556 | 14661 | 2035-36 | 1655 | 516 | 991 | 7897 | 11059
2036 | 2140 | 603 | 1349 | 10515 | 14607 | 2036-37 | 1653 | 520 | 999 | 7937 | 11109
2037 | 2120 | 602 | 1347 | 10474 | 14543 | 2037-38 | 1653 | 524 | 1004 | 7968 | 11149
2038 | 2103 | 601 | 1346 | 10444 | 14494 | 2038-39 | 1659 | 527 | 1007 | 7978 | 11171
2039 | 2090 | 600 | 1345 | 10413 | 14448 | 2039-40 | 1674 | 530 | 1011 | 7988 | 11203
2040 | 2082 | 599 | 1344 | 10372 | 14397 | 2040-41 | 1698 | 532 | 1017 | 8008 | 11255
2041 | 2077 | 596 | 1341 | 10311 | 14325 | 2041-42 | 1722 | 535 | 1026 | 8038 | 11321
2042 | 2071 | 596 | 1340 | 10271 | 14278 | 2042-43 | 1747 | 538 | 1037 | 8068 | 11390
2043 | 2068 | 596 | 1340 | 10230 | 14234 | 2043-44 | 1773 | 542 | 1047 | 8098 | 11460
2044 | 2064 | 595 | 1340 | 10210 | 14209 | 2044-45 | 1795 | 547 | 1058 | 8128 | 11528
2045 | 2060 | 595 | 1338 | 10169 | 14162 | 2045-46 | 1815 | 553 | 1068 | 8159 | 11595
2046 | 2057 | 594 | 1338 | 10148 | 14137 | 2046-47 | 1832 | 561 | 1078 | 8199 | 11670
2047 | 2055 | 592 | 1338 | 10138 | 14123 | 2047-48 | 1857 | 568 | 1088 | 8249 | 11762
2048 | 2054 | 592 | 1338 | 10118 | 14102 | 2048-49 | 1880 | 574 | 1099 | 8289 | 11842
2049 | 2053 | 591 | 1338 | 10108 | 14090 | 2049-50 | 1898 | 578 | 1109 | 8340 | 11925
2050 | 2052 | 591 | 1338 | 10108 | 14089 | 2050-51 | 1915 | 582 | 1120 | 8390 | 12007
2051 | 2051 | 591 | 1339 | 10108 | 14089 | 2051-52 | 1937 | 585 | 1129 | 8420 | 12071
2052 | 2050 | 591 | 1339 | 10108 | 14088 | 2052-53 | 1961 | 589 | 1139 | 8440 | 12129
2053 | 2049 | 591 | 1340 | 10098 | 14078 | 2053-54 | 1983 | 592 | 1146 | 8460 | 12181
2054 | 2048 | 591 | 1340 | 10098 | 14077 | 2054-55 | 2007 | 594 | 1151 | 8491 | 12243
2055 | 2047 | 591 | 1341 | 10087 | 14066 | 2055-56 | 2036 | 597 | 1155 | 8511 | 12299
2056 | 2046 | 591 | 1341 | 10087 | 14065 | 2056-57 | 2065 | 600 | 1159 | 8531 | 12355
Note: Forecast values assume no demand response reductions.
Note: Forecasted values reflect expected trended weather conditions.
Note: Expected weather conditions include an increasing temperature trend from the NYISO Climate Change Impact Study Phase I report.

## I-11a-L
Table I-11a-L: Electric Vehicle Stock Forecast - Lower Demand Forecast
Total Number of Electric Vehicles
Number of Electric Vehicles(4) by Type - NYCA
Year | LDV (1) | MHDV (2) | Buses (3) | Total Stock
2026 | 369000 | 15000 | 1000 | 385000
2027 | 444000 | 17000 | 2000 | 463000
2028 | 525000 | 19000 | 2000 | 546000
2029 | 615000 | 22000 | 3000 | 640000
2030 | 713000 | 26000 | 3000 | 742000
2031 | 819000 | 30000 | 4000 | 853000
2032 | 934000 | 35000 | 4000 | 973000
2033 | 1056000 | 40000 | 5000 | 1101000
2034 | 1188000 | 46000 | 6000 | 1240000
2035 | 1327000 | 52000 | 7000 | 1386000
2036 | 1472000 | 59000 | 9000 | 1540000
2037 | 1622000 | 66000 | 10000 | 1698000
2038 | 1773000 | 74000 | 12000 | 1859000
2039 | 1922000 | 82000 | 14000 | 2018000
2040 | 2069000 | 91000 | 16000 | 2176000
2041 | 2211000 | 99000 | 17000 | 2327000
2042 | 2352000 | 108000 | 19000 | 2479000
2043 | 2492000 | 117000 | 20000 | 2629000
2044 | 2635000 | 127000 | 21000 | 2783000
2045 | 2781000 | 137000 | 21000 | 2939000
2046 | 2930000 | 147000 | 22000 | 3099000
2047 | 3083000 | 158000 | 22000 | 3263000
2048 | 3240000 | 169000 | 22000 | 3431000
2049 | 3401000 | 180000 | 22000 | 3603000
2050 | 3565000 | 192000 | 22000 | 3779000
2051 | 3731000 | 204000 | 22000 | 3957000
2052 | 3914000 | 216000 | 22000 | 4152000
2053 | 4090000 | 229000 | 22000 | 4341000
2054 | 4271000 | 241000 | 22000 | 4534000
2055 | 4451000 | 252000 | 22000 | 4725000
2056 | 4621000 | 263000 | 22000 | 4906000
(1) - Light Duty Vehicles, at most 8,500 lb. (Gross Vehicle Weight Rating (GVWR) Vehicle Classes 1 & 2a).
(2) - Medium and Heavy Duty Vehicles, greater than 8,5000 lb excluding school and transit buses (GVWR Classes 2b-8).
(3) - Includes school and transit buses.
(4) - Values represent End-of-Year EV counts.
Note: For reference, in 2025 there were approximately 10.2 million LDVs, 890,000 MHDVs,
and 36,000 buses registered in the state, per these classifications.

## I-11b-L
Table I-11b-L: Electric Vehicle Annual Energy Usage - Lower Demand Forecast
Reflects Total Cumulative Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 90 | 91 | 95 | 7 | 49 | 116 | 143 | 44 | 89 | 234 | 350 | 1308
2027 | 110 | 109 | 116 | 9 | 61 | 142 | 175 | 54 | 107 | 280 | 421 | 1584
2028 | 135 | 132 | 140 | 11 | 74 | 171 | 211 | 63 | 125 | 330 | 499 | 1891
2029 | 162 | 157 | 169 | 13 | 92 | 203 | 251 | 73 | 146 | 385 | 585 | 2236
2030 | 194 | 184 | 201 | 15 | 111 | 241 | 294 | 85 | 170 | 445 | 678 | 2618
2031 | 232 | 215 | 239 | 20 | 135 | 284 | 345 | 98 | 194 | 511 | 780 | 3053
2032 | 273 | 249 | 281 | 24 | 162 | 332 | 401 | 112 | 220 | 582 | 889 | 3525
2033 | 321 | 285 | 328 | 28 | 192 | 385 | 463 | 126 | 249 | 659 | 1008 | 4044
2034 | 374 | 326 | 380 | 32 | 226 | 444 | 530 | 141 | 279 | 740 | 1135 | 4607
2035 | 432 | 369 | 439 | 38 | 265 | 507 | 604 | 156 | 310 | 829 | 1270 | 5219
2036 | 495 | 416 | 502 | 43 | 305 | 576 | 683 | 174 | 344 | 921 | 1413 | 5872
2037 | 563 | 466 | 569 | 50 | 352 | 650 | 767 | 191 | 378 | 1017 | 1560 | 6563
2038 | 635 | 516 | 640 | 57 | 400 | 727 | 854 | 209 | 411 | 1114 | 1710 | 7273
2039 | 710 | 569 | 714 | 64 | 451 | 807 | 945 | 225 | 445 | 1211 | 1860 | 8001
2040 | 787 | 621 | 789 | 72 | 503 | 888 | 1036 | 242 | 478 | 1306 | 2007 | 8729
2041 | 867 | 674 | 867 | 80 | 557 | 971 | 1128 | 259 | 510 | 1400 | 2151 | 9464
2042 | 947 | 726 | 944 | 87 | 613 | 1055 | 1221 | 273 | 540 | 1492 | 2292 | 10190
2043 | 1029 | 780 | 1024 | 95 | 670 | 1141 | 1317 | 288 | 570 | 1583 | 2434 | 10931
2044 | 1115 | 835 | 1106 | 104 | 728 | 1231 | 1415 | 305 | 601 | 1677 | 2581 | 11698
2045 | 1203 | 890 | 1191 | 112 | 788 | 1323 | 1517 | 320 | 633 | 1773 | 2731 | 12481
2046 | 1292 | 948 | 1277 | 121 | 849 | 1418 | 1623 | 339 | 665 | 1871 | 2886 | 13289
2047 | 1385 | 1008 | 1368 | 130 | 913 | 1518 | 1733 | 355 | 700 | 1974 | 3044 | 14128
2048 | 1482 | 1069 | 1461 | 139 | 979 | 1622 | 1848 | 374 | 735 | 2081 | 3211 | 15001
2049 | 1582 | 1134 | 1557 | 149 | 1048 | 1729 | 1967 | 393 | 771 | 2191 | 3382 | 15903
2050 | 1685 | 1201 | 1656 | 159 | 1117 | 1840 | 2091 | 412 | 810 | 2305 | 3561 | 16837
2051 | 1776 | 1259 | 1744 | 167 | 1181 | 1940 | 2200 | 428 | 841 | 2403 | 3712 | 17651
2052 | 1873 | 1322 | 1838 | 176 | 1247 | 2047 | 2318 | 446 | 876 | 2510 | 3877 | 18530
2053 | 1968 | 1382 | 1929 | 186 | 1312 | 2151 | 2434 | 463 | 910 | 2611 | 4037 | 19383
2054 | 2064 | 1443 | 2021 | 195 | 1377 | 2257 | 2552 | 481 | 944 | 2713 | 4199 | 20246
2055 | 2158 | 1504 | 2111 | 202 | 1440 | 2361 | 2669 | 499 | 978 | 2814 | 4359 | 21095
2056 | 2245 | 1562 | 2195 | 210 | 1500 | 2460 | 2781 | 515 | 1010 | 2907 | 4507 | 21892

## I-11c-L
Table I-11c-L: Electric Vehicle Summer Coincident Peak - Lower Demand Forecast
Reflects Total Cumulative Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 16 | 16 | 16 | 1 | 8 | 19 | 25 | 8 | 14 | 45 | 62 | 230
2027 | 19 | 20 | 19 | 1 | 9 | 23 | 29 | 9 | 15 | 46 | 71 | 261
2028 | 23 | 23 | 23 | 2 | 12 | 28 | 33 | 11 | 18 | 52 | 84 | 309
2029 | 28 | 26 | 29 | 2 | 16 | 33 | 40 | 12 | 21 | 59 | 97 | 363
2030 | 34 | 30 | 36 | 2 | 19 | 38 | 47 | 14 | 24 | 67 | 111 | 422
2031 | 41 | 35 | 43 | 3 | 24 | 44 | 54 | 16 | 28 | 75 | 128 | 491
2032 | 47 | 40 | 51 | 3 | 32 | 50 | 63 | 18 | 31 | 86 | 141 | 562
2033 | 54 | 44 | 62 | 4 | 40 | 58 | 74 | 21 | 35 | 98 | 158 | 648
2034 | 61 | 50 | 73 | 5 | 49 | 66 | 85 | 23 | 40 | 109 | 178 | 739
2035 | 70 | 56 | 85 | 5 | 59 | 76 | 96 | 25 | 45 | 121 | 195 | 833
2036 | 78 | 61 | 98 | 6 | 69 | 85 | 107 | 27 | 49 | 134 | 216 | 930
2037 | 85 | 68 | 111 | 7 | 79 | 97 | 116 | 29 | 54 | 147 | 238 | 1031
2038 | 95 | 76 | 124 | 8 | 89 | 107 | 125 | 31 | 58 | 158 | 261 | 1132
2039 | 102 | 82 | 137 | 9 | 98 | 117 | 136 | 32 | 61 | 173 | 279 | 1226
2040 | 111 | 88 | 149 | 10 | 106 | 126 | 147 | 34 | 64 | 183 | 299 | 1317
2041 | 119 | 94 | 163 | 11 | 116 | 135 | 158 | 37 | 67 | 197 | 313 | 1410
2042 | 130 | 100 | 174 | 11 | 128 | 143 | 173 | 38 | 72 | 205 | 330 | 1504
2043 | 138 | 107 | 189 | 12 | 137 | 149 | 187 | 41 | 76 | 217 | 348 | 1601
2044 | 152 | 114 | 200 | 13 | 144 | 160 | 198 | 44 | 79 | 227 | 355 | 1686
2045 | 163 | 121 | 208 | 14 | 153 | 174 | 208 | 46 | 82 | 238 | 378 | 1785
2046 | 176 | 126 | 219 | 15 | 160 | 185 | 217 | 47 | 86 | 246 | 399 | 1876
2047 | 188 | 135 | 229 | 16 | 168 | 197 | 226 | 49 | 89 | 257 | 420 | 1974
2048 | 196 | 140 | 236 | 18 | 177 | 213 | 237 | 50 | 92 | 267 | 436 | 2062
2049 | 202 | 146 | 246 | 19 | 186 | 224 | 248 | 51 | 96 | 276 | 457 | 2151
2050 | 212 | 154 | 260 | 19 | 194 | 237 | 261 | 53 | 99 | 290 | 474 | 2253
2051 | 222 | 164 | 271 | 21 | 202 | 253 | 279 | 55 | 103 | 298 | 482 | 2350
2052 | 230 | 171 | 281 | 22 | 206 | 268 | 294 | 57 | 106 | 310 | 497 | 2442
2053 | 245 | 181 | 291 | 22 | 211 | 276 | 303 | 60 | 110 | 324 | 511 | 2534
2054 | 257 | 188 | 301 | 24 | 215 | 286 | 311 | 62 | 114 | 334 | 529 | 2621
2055 | 267 | 192 | 310 | 24 | 219 | 293 | 324 | 65 | 117 | 341 | 536 | 2688
2056 | 277 | 199 | 320 | 25 | 224 | 295 | 328 | 67 | 120 | 353 | 554 | 2762
Note: The lower demand scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-11d-L
Table I-11d-L: Electric Vehicle Winter Coincident Peak - Lower Demand Forecast
Reflects Total Cumulative Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 27 | 27 | 29 | 2 | 14 | 35 | 43 | 14 | 27 | 85 | 105 | 408
2027-28 | 38 | 36 | 36 | 2 | 19 | 44 | 57 | 18 | 34 | 105 | 130 | 519
2028-29 | 45 | 41 | 42 | 2 | 21 | 52 | 65 | 20 | 38 | 118 | 150 | 594
2029-30 | 50 | 47 | 49 | 3 | 25 | 60 | 76 | 21 | 43 | 131 | 168 | 673
2030-31 | 55 | 53 | 57 | 4 | 31 | 70 | 86 | 23 | 48 | 145 | 190 | 762
2031-32 | 65 | 60 | 65 | 5 | 33 | 80 | 94 | 24 | 54 | 159 | 204 | 843
2032-33 | 73 | 67 | 76 | 6 | 38 | 88 | 102 | 25 | 59 | 173 | 234 | 941
2033-34 | 84 | 77 | 83 | 7 | 45 | 94 | 115 | 29 | 66 | 186 | 257 | 1043
2034-35 | 98 | 85 | 94 | 8 | 53 | 100 | 129 | 31 | 71 | 202 | 276 | 1147
2035-36 | 108 | 97 | 108 | 9 | 62 | 116 | 141 | 35 | 77 | 224 | 290 | 1267
2036-37 | 119 | 105 | 113 | 10 | 74 | 126 | 154 | 40 | 81 | 241 | 327 | 1390
2037-38 | 128 | 117 | 122 | 11 | 83 | 150 | 178 | 44 | 90 | 251 | 351 | 1525
2038-39 | 139 | 127 | 138 | 13 | 91 | 163 | 186 | 46 | 92 | 267 | 377 | 1639
2039-40 | 155 | 137 | 149 | 14 | 99 | 187 | 198 | 51 | 100 | 286 | 419 | 1795
2040-41 | 172 | 147 | 166 | 15 | 107 | 204 | 222 | 52 | 104 | 305 | 466 | 1960
2041-42 | 187 | 159 | 186 | 16 | 116 | 212 | 238 | 51 | 112 | 321 | 484 | 2082
2042-43 | 211 | 171 | 211 | 17 | 127 | 225 | 258 | 52 | 117 | 343 | 521 | 2253
2043-44 | 223 | 180 | 223 | 18 | 139 | 239 | 283 | 55 | 126 | 357 | 533 | 2376
2044-45 | 235 | 190 | 237 | 19 | 149 | 252 | 308 | 57 | 132 | 367 | 553 | 2499
2045-46 | 251 | 203 | 248 | 22 | 153 | 272 | 321 | 61 | 140 | 376 | 573 | 2620
2046-47 | 267 | 216 | 272 | 25 | 166 | 302 | 337 | 68 | 143 | 390 | 610 | 2796
2047-48 | 281 | 229 | 290 | 27 | 182 | 329 | 362 | 73 | 152 | 426 | 655 | 3006
2048-49 | 300 | 239 | 302 | 28 | 194 | 349 | 384 | 76 | 156 | 438 | 692 | 3158
2049-50 | 317 | 244 | 311 | 29 | 200 | 367 | 395 | 78 | 160 | 448 | 713 | 3262
2050-51 | 332 | 252 | 324 | 30 | 216 | 379 | 408 | 79 | 164 | 467 | 736 | 3387
2051-52 | 348 | 260 | 328 | 31 | 222 | 392 | 423 | 80 | 170 | 480 | 757 | 3491
2052-53 | 357 | 263 | 334 | 32 | 227 | 398 | 432 | 81 | 173 | 486 | 769 | 3552
2053-54 | 366 | 271 | 346 | 33 | 233 | 408 | 443 | 82 | 175 | 497 | 790 | 3644
2054-55 | 369 | 274 | 350 | 33 | 235 | 411 | 447 | 82 | 176 | 501 | 797 | 3675
2055-56 | 374 | 276 | 353 | 33 | 236 | 414 | 454 | 83 | 177 | 503 | 806 | 3709
2056-57 | 377 | 277 | 360 | 33 | 240 | 419 | 465 | 84 | 179 | 508 | 816 | 3758
Note: The lower demand scenario electric vehicle peak forecast assumes a greater share of managed charging relative to the baseline forecast.

## I-13a-L
Table I-13a-L: Building Electrification Annual Energy Usage - Lower Demand Forecast
Reflects Cumulative Future Impacts
Total Annual Energy Usage by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 10 | 10 | 11 | 0 | 6 | 18 | 30 | 7 | 14 | 29 | 24 | 159
2027 | 13 | 13 | 13 | 1 | 8 | 24 | 38 | 9 | 18 | 38 | 31 | 206
2028 | 19 | 20 | 20 | 1 | 11 | 35 | 57 | 13 | 27 | 56 | 46 | 305
2029 | 28 | 29 | 29 | 1 | 17 | 52 | 84 | 20 | 39 | 83 | 68 | 450
2030 | 47 | 48 | 48 | 2 | 28 | 87 | 140 | 33 | 66 | 138 | 114 | 751
2031 | 70 | 72 | 72 | 3 | 41 | 130 | 208 | 49 | 98 | 205 | 170 | 1118
2032 | 105 | 97 | 102 | 4 | 59 | 166 | 253 | 59 | 118 | 311 | 225 | 1499
2033 | 142 | 124 | 133 | 6 | 79 | 205 | 297 | 69 | 137 | 425 | 284 | 1901
2034 | 180 | 149 | 165 | 7 | 99 | 244 | 342 | 79 | 156 | 541 | 345 | 2307
2035 | 222 | 179 | 200 | 8 | 120 | 286 | 388 | 89 | 177 | 667 | 409 | 2745
2036 | 267 | 210 | 237 | 10 | 143 | 329 | 436 | 98 | 198 | 800 | 479 | 3207
2037 | 309 | 239 | 270 | 11 | 163 | 371 | 481 | 108 | 218 | 924 | 544 | 3638
2038 | 353 | 268 | 306 | 13 | 185 | 414 | 528 | 119 | 237 | 1053 | 613 | 4089
2039 | 400 | 300 | 344 | 15 | 208 | 459 | 576 | 129 | 258 | 1189 | 685 | 4563
2040 | 452 | 335 | 384 | 16 | 232 | 508 | 628 | 140 | 280 | 1336 | 763 | 5074
2041 | 506 | 370 | 427 | 18 | 258 | 559 | 680 | 152 | 303 | 1486 | 844 | 5603
2042 | 562 | 407 | 470 | 20 | 284 | 610 | 733 | 164 | 325 | 1639 | 927 | 6141
2043 | 619 | 443 | 514 | 22 | 310 | 661 | 786 | 174 | 349 | 1793 | 1010 | 6681
2044 | 675 | 480 | 557 | 24 | 336 | 713 | 840 | 186 | 372 | 1946 | 1094 | 7223
2045 | 732 | 517 | 601 | 25 | 363 | 766 | 893 | 198 | 395 | 2101 | 1180 | 7771
2046 | 787 | 552 | 644 | 27 | 388 | 818 | 946 | 210 | 418 | 2251 | 1264 | 8305
2047 | 839 | 587 | 685 | 28 | 412 | 867 | 998 | 221 | 439 | 2394 | 1345 | 8815
2048 | 891 | 620 | 725 | 30 | 435 | 917 | 1049 | 232 | 461 | 2536 | 1425 | 9321
2049 | 940 | 652 | 763 | 31 | 457 | 964 | 1099 | 242 | 482 | 2670 | 1502 | 9802
2050 | 985 | 683 | 797 | 32 | 475 | 1008 | 1146 | 253 | 502 | 2795 | 1573 | 10249
2051 | 1025 | 709 | 828 | 33 | 493 | 1049 | 1190 | 262 | 520 | 2906 | 1638 | 10653
2052 | 1059 | 733 | 855 | 33 | 506 | 1086 | 1230 | 270 | 537 | 3004 | 1698 | 11011
2053 | 1088 | 754 | 877 | 34 | 518 | 1118 | 1268 | 277 | 551 | 3089 | 1749 | 11323
2054 | 1110 | 771 | 895 | 34 | 527 | 1147 | 1299 | 284 | 564 | 3158 | 1793 | 11582
2055 | 1128 | 785 | 909 | 34 | 532 | 1170 | 1329 | 290 | 574 | 3214 | 1830 | 11795
2056 | 1139 | 794 | 917 | 33 | 535 | 1189 | 1354 | 293 | 583 | 3254 | 1859 | 11950
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13b-L
Table I-13b-L: Building Electrification Summer Coincident Peak - Lower Demand Forecast
Reflects Cumulative Future Impacts
Total Increase in Summer Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 6
2027 | 1 | 1 | 1 | 0 | 1 | 1 | 2 | 0 | 1 | 7 | 2 | 17
2028 | 2 | 1 | 2 | 0 | 1 | 2 | 3 | 1 | 1 | 10 | 3 | 26
2029 | 2 | 2 | 2 | 0 | 1 | 3 | 4 | 1 | 2 | 15 | 4 | 36
2030 | 4 | 3 | 3 | 0 | 2 | 4 | 5 | 1 | 3 | 19 | 6 | 50
2031 | 6 | 4 | 5 | 0 | 3 | 5 | 7 | 2 | 3 | 26 | 9 | 70
2032 | 8 | 5 | 6 | 0 | 4 | 7 | 9 | 2 | 4 | 33 | 12 | 90
2033 | 9 | 6 | 8 | 0 | 5 | 9 | 11 | 2 | 5 | 41 | 14 | 110
2034 | 11 | 7 | 9 | 0 | 6 | 11 | 13 | 3 | 6 | 50 | 17 | 133
2035 | 14 | 9 | 11 | 0 | 7 | 12 | 15 | 3 | 7 | 62 | 21 | 161
2036 | 16 | 10 | 13 | 1 | 8 | 14 | 17 | 4 | 8 | 74 | 24 | 189
2037 | 18 | 11 | 13 | 1 | 8 | 15 | 19 | 4 | 9 | 84 | 26 | 208
2038 | 18 | 12 | 14 | 1 | 9 | 17 | 21 | 5 | 10 | 94 | 29 | 230
2039 | 19 | 12 | 15 | 1 | 10 | 17 | 22 | 5 | 10 | 101 | 29 | 241
2040 | 19 | 13 | 16 | 1 | 10 | 18 | 24 | 5 | 11 | 109 | 31 | 257
2041 | 20 | 14 | 16 | 1 | 10 | 20 | 26 | 5 | 12 | 123 | 35 | 282
2042 | 22 | 14 | 17 | 1 | 10 | 20 | 28 | 5 | 13 | 132 | 37 | 299
2043 | 22 | 15 | 18 | 1 | 11 | 22 | 30 | 5 | 13 | 142 | 40 | 319
2044 | 24 | 17 | 19 | 1 | 11 | 23 | 32 | 6 | 14 | 151 | 43 | 341
2045 | 25 | 17 | 21 | 1 | 13 | 25 | 34 | 6 | 15 | 165 | 46 | 368
2046 | 27 | 19 | 23 | 1 | 13 | 26 | 37 | 7 | 17 | 176 | 48 | 394
2047 | 28 | 19 | 25 | 1 | 14 | 28 | 38 | 7 | 17 | 183 | 48 | 408
2048 | 29 | 20 | 25 | 1 | 14 | 29 | 41 | 7 | 18 | 195 | 53 | 432
2049 | 30 | 21 | 26 | 1 | 14 | 30 | 43 | 7 | 18 | 207 | 56 | 453
2050 | 32 | 23 | 27 | 1 | 16 | 33 | 47 | 9 | 20 | 221 | 61 | 490
2051 | 34 | 24 | 29 | 2 | 16 | 34 | 49 | 9 | 21 | 231 | 64 | 513
2052 | 35 | 25 | 29 | 2 | 17 | 35 | 50 | 9 | 21 | 241 | 66 | 530
2053 | 35 | 25 | 29 | 2 | 17 | 36 | 51 | 9 | 22 | 251 | 68 | 545
2054 | 35 | 26 | 30 | 2 | 17 | 37 | 53 | 9 | 22 | 259 | 70 | 560
2055 | 36 | 26 | 31 | 2 | 17 | 38 | 54 | 10 | 23 | 268 | 72 | 577
2056 | 37 | 26 | 31 | 2 | 17 | 38 | 55 | 10 | 24 | 276 | 73 | 589
Note: Reflects end-use electrification of space conditioning, water heating, cooking, and other end-uses.

## I-13c-L
Table I-13c-L: Building Electrification Winter Coincident Peak - Lower Demand Forecast
Reflects Cumulative Future Impacts
Total Increase in Winter Coincident Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 4 | 4 | 4 | 0 | 3 | 7 | 8 | 3 | 5 | 12 | 8 | 58
2027-28 | 11 | 9 | 10 | 1 | 6 | 14 | 17 | 6 | 10 | 31 | 18 | 133
2028-29 | 24 | 19 | 21 | 2 | 13 | 29 | 33 | 9 | 18 | 70 | 39 | 277
2029-30 | 49 | 34 | 39 | 4 | 25 | 48 | 54 | 14 | 28 | 137 | 71 | 503
2030-31 | 75 | 51 | 59 | 4 | 38 | 69 | 79 | 19 | 38 | 205 | 101 | 738
2031-32 | 90 | 61 | 71 | 4 | 46 | 82 | 95 | 24 | 45 | 273 | 132 | 923
2032-33 | 105 | 71 | 84 | 4 | 55 | 99 | 116 | 28 | 53 | 347 | 166 | 1128
2033-34 | 118 | 81 | 96 | 6 | 62 | 113 | 132 | 32 | 61 | 407 | 183 | 1291
2034-35 | 133 | 91 | 108 | 6 | 70 | 127 | 147 | 35 | 68 | 465 | 209 | 1459
2035-36 | 148 | 101 | 119 | 7 | 78 | 142 | 163 | 40 | 76 | 529 | 237 | 1640
2036-37 | 169 | 114 | 135 | 8 | 88 | 159 | 182 | 44 | 84 | 602 | 269 | 1854
2037-38 | 186 | 126 | 148 | 8 | 96 | 176 | 199 | 49 | 93 | 674 | 301 | 2056
2038-39 | 204 | 137 | 162 | 9 | 105 | 192 | 216 | 53 | 101 | 740 | 330 | 2249
2039-40 | 222 | 150 | 175 | 9 | 113 | 211 | 237 | 58 | 110 | 819 | 364 | 2468
2040-41 | 244 | 164 | 192 | 10 | 124 | 231 | 257 | 64 | 119 | 901 | 400 | 2706
2041-42 | 270 | 181 | 212 | 11 | 137 | 255 | 282 | 69 | 130 | 994 | 443 | 2984
2042-43 | 291 | 195 | 228 | 12 | 146 | 274 | 302 | 74 | 139 | 1069 | 477 | 3207
2043-44 | 319 | 213 | 250 | 13 | 161 | 296 | 326 | 79 | 150 | 1155 | 518 | 3480
2044-45 | 341 | 228 | 268 | 14 | 172 | 319 | 350 | 85 | 161 | 1243 | 558 | 3739
2045-46 | 362 | 242 | 284 | 14 | 182 | 340 | 373 | 91 | 171 | 1325 | 596 | 3980
2046-47 | 380 | 255 | 297 | 15 | 190 | 361 | 395 | 97 | 183 | 1412 | 633 | 4218
2047-48 | 395 | 267 | 309 | 16 | 197 | 379 | 411 | 101 | 192 | 1475 | 663 | 4405
2048-49 | 413 | 281 | 323 | 17 | 205 | 399 | 430 | 107 | 203 | 1545 | 695 | 4618
2049-50 | 433 | 297 | 339 | 17 | 216 | 420 | 452 | 113 | 216 | 1624 | 733 | 4860
2050-51 | 452 | 308 | 354 | 19 | 224 | 438 | 474 | 118 | 223 | 1690 | 765 | 5065
2051-52 | 470 | 320 | 367 | 20 | 232 | 456 | 497 | 122 | 232 | 1760 | 799 | 5275
2052-53 | 492 | 335 | 384 | 20 | 241 | 480 | 524 | 128 | 243 | 1846 | 839 | 5532
2053-54 | 507 | 349 | 397 | 22 | 248 | 501 | 543 | 133 | 256 | 1911 | 871 | 5738
2054-55 | 527 | 366 | 414 | 24 | 258 | 526 | 570 | 140 | 270 | 1998 | 912 | 6005
2055-56 | 549 | 381 | 431 | 25 | 269 | 549 | 595 | 148 | 282 | 2080 | 952 | 6261
2056-57 | 569 | 395 | 446 | 26 | 279 | 569 | 619 | 153 | 292 | 2154 | 988 | 6490
Note: Reflects end-use electrification of space heating, water heating, cooking, and other end-uses.

## I-13d
Table I-13d: Comparison of Electrification Impacts
Reflects Cumulative Impacts
NYCA Annual Energy Usage - GWh
Year | Lower Demand Forecast |  |  | Baseline Forecast |  |  | Higher Demand Forecast
| EV | Building | Total | EV | Building | Total | EV | Building | Total
2026 | 1308 | 159 | 1467 | 1309 | 449 | 1758 | 1311 | 817 | 2128
2027 | 1584 | 206 | 1790 | 1590 | 803 | 2393 | 1596 | 1564 | 3160
2028 | 1891 | 305 | 2196 | 1911 | 1245 | 3156 | 1936 | 2425 | 4361
2029 | 2236 | 450 | 2686 | 2298 | 1757 | 4055 | 2350 | 3380 | 5730
2030 | 2618 | 751 | 3369 | 2761 | 2455 | 5216 | 2861 | 4548 | 7409
2031 | 3053 | 1118 | 4171 | 3312 | 3250 | 6562 | 3487 | 5842 | 9329
2032 | 3525 | 1499 | 5024 | 3971 | 4090 | 8061 | 4264 | 7204 | 11468
2033 | 4044 | 1901 | 5945 | 4775 | 4981 | 9756 | 5236 | 8640 | 13876
2034 | 4607 | 2307 | 6914 | 5756 | 5902 | 11658 | 6459 | 10121 | 16580
2035 | 5219 | 2745 | 7964 | 6958 | 6877 | 13835 | 8002 | 11679 | 19681
2036 | 5872 | 3207 | 9079 | 8446 | 7895 | 16341 | 9965 | 13286 | 23251
2037 | 6563 | 3638 | 10201 | 10284 | 8897 | 19181 | 12462 | 14879 | 27341
2038 | 7273 | 4089 | 11362 | 12152 | 9922 | 22074 | 14984 | 16493 | 31477
2039 | 8001 | 4563 | 12564 | 14020 | 10969 | 24989 | 17515 | 18128 | 35643
2040 | 8729 | 5074 | 13803 | 15879 | 12048 | 27927 | 20043 | 19781 | 39824
2041 | 9464 | 5603 | 15067 | 17717 | 13120 | 30837 | 22554 | 21417 | 43971
2042 | 10190 | 6141 | 16331 | 19534 | 14181 | 33715 | 25032 | 23024 | 48056
2043 | 10931 | 6681 | 17612 | 21331 | 15213 | 36544 | 27484 | 24580 | 52064
2044 | 11698 | 7223 | 18921 | 23092 | 16207 | 39299 | 29885 | 26067 | 55952
2045 | 12481 | 7771 | 20252 | 24810 | 17169 | 41979 | 32219 | 27504 | 59723
2046 | 13289 | 8305 | 21594 | 26460 | 18065 | 44525 | 34457 | 28843 | 63300
2047 | 14128 | 8815 | 22943 | 28030 | 18892 | 46922 | 36551 | 30086 | 66637
2048 | 15001 | 9321 | 24322 | 29463 | 19708 | 49171 | 38428 | 31314 | 69742
2049 | 15903 | 9802 | 25705 | 30754 | 20451 | 51205 | 40068 | 32441 | 72509
2050 | 16837 | 10249 | 27086 | 31894 | 21117 | 53011 | 41445 | 33472 | 74917
2051 | 17651 | 10653 | 28304 | 32610 | 21704 | 54314 | 42222 | 34390 | 76612
2052 | 18530 | 11011 | 29541 | 33304 | 22209 | 55513 | 42915 | 35197 | 78112
2053 | 19383 | 11323 | 30706 | 33827 | 22628 | 56455 | 43359 | 35897 | 79256
2054 | 20246 | 11582 | 31828 | 34317 | 22970 | 57287 | 43740 | 36486 | 80226
2055 | 21095 | 11795 | 32890 | 34773 | 23233 | 58006 | 44072 | 36972 | 81044
2056 | 21892 | 11950 | 33842 | 35165 | 23423 | 58588 | 44329 | 37361 | 81690
Note: Electric Vehicle annual energy usage from Tables I-1b, I-11b, I-15a, and I-16a.
Includes light duty vehicles, medium and heavy duty vehicles, and buses.
Note: Building electrification annual energy usage from Tables I-1b, I-13a, I-15a, and I-16a.
Includes electrification of space heating, water heating, cooking, and other end uses.

## I-14-L
Table I-14-L: Lower Demand Large Load Forecast
Reflects Cumulative Existing and Future Load Impacts of Large Load Projects
Summer Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 100 | 0 | 0 | 160 | 15 | 0 | 62 | 0 | 0 | 0 | 0 | 337
2027 | 240 | 11 | 0 | 170 | 15 | 0 | 73 | 0 | 0 | 0 | 0 | 509
2028 | 340 | 11 | 0 | 170 | 15 | 0 | 84 | 0 | 0 | 0 | 0 | 620
2029 | 440 | 11 | 30 | 170 | 15 | 0 | 97 | 0 | 0 | 0 | 0 | 763
2030 | 440 | 11 | 170 | 170 | 15 | 0 | 108 | 0 | 0 | 0 | 0 | 914
2031 | 440 | 11 | 265 | 170 | 15 | 0 | 109 | 0 | 0 | 0 | 0 | 1010
2032 | 440 | 11 | 335 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1081
2033 | 440 | 11 | 405 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1151
2034 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2035 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2036 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2037 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2038 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2039 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2040 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2041 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
Winter Peak Demand by Zone - MW
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026-27 | 190 | 0 | 0 | 169 | 15 | 0 | 62 | 0 | 0 | 0 | 0 | 436
2027-28 | 290 | 11 | 0 | 170 | 15 | 0 | 73 | 0 | 0 | 0 | 0 | 559
2028-29 | 390 | 11 | 0 | 170 | 15 | 0 | 84 | 0 | 0 | 0 | 0 | 670
2029-30 | 440 | 11 | 70 | 170 | 15 | 0 | 97 | 0 | 0 | 0 | 0 | 803
2030-31 | 440 | 11 | 180 | 170 | 15 | 0 | 108 | 0 | 0 | 0 | 0 | 924
2031-32 | 440 | 11 | 275 | 170 | 15 | 0 | 109 | 0 | 0 | 0 | 0 | 1020
2032-33 | 440 | 11 | 345 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1091
2033-34 | 440 | 11 | 415 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1161
2034-35 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2035-36 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2036-37 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2037-38 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2038-39 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2039-40 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2040-41 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
2041-42 | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
Annual Energy by Zone - GWh
Year | A | B | C | D | E | F | G | H | I | J | K | NYCA
2026 | 940 | 10 | 0 | 1250 | 110 | 0 | 360 | 0 | 0 | 0 | 0 | 2670
2027 | 1540 | 40 | 0 | 1290 | 110 | 0 | 460 | 0 | 0 | 0 | 0 | 3440
2028 | 2210 | 70 | 0 | 1290 | 110 | 0 | 540 | 0 | 0 | 0 | 0 | 4220
2029 | 2830 | 70 | 200 | 1290 | 110 | 0 | 620 | 0 | 0 | 0 | 0 | 5120
2030 | 2940 | 70 | 1080 | 1290 | 110 | 0 | 700 | 0 | 0 | 0 | 0 | 6190
2031 | 2940 | 70 | 1870 | 1290 | 110 | 0 | 730 | 0 | 0 | 0 | 0 | 7010
2032 | 2940 | 70 | 2480 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 7630
2033 | 2940 | 70 | 3040 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8190
2034 | 2940 | 70 | 3580 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8730
2035 | 2940 | 70 | 3730 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8880
2036 | 2940 | 70 | 3730 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8880
2037 | 2940 | 70 | 3730 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8880
2038 | 2940 | 70 | 3730 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8880
2039 | 2940 | 70 | 3730 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8880
2040 | 2940 | 70 | 3730 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8880
2041 | 2940 | 70 | 3730 | 1290 | 110 | 0 | 740 | 0 | 0 | 0 | 0 | 8880
Large Loads by Forecast - MW
Forecast | A | B | C | D | E | F | G | H | I | J | K | NYCA
Lower | 440 | 11 | 475 | 170 | 15 | 0 | 110 | 0 | 0 | 0 | 0 | 1221
Baseline | 440 | 411 | 1050 | 435 | 65 | 0 | 292 | 0 | 0 | 0 | 244 | 2937
Higher | 760 | 411 | 1700 | 711 | 65 | 210 | 292 | 0 | 0 | 0 | 244 | 4393
All Loads | 2090 | 600 | 2216 | 2647 | 2924 | 450 | 292 | 1200 | 0 | 0 | 244 | 12663
Notes:
Forecasts for 2041 onward match the final year forecasts in these tables.
These forecast values are embedded in the final annual energy, summer peak, and winter peak demand forecasts.
Table IV-7 lists the NYISO Interconnection Queue information for proposed interconnecting large loads. These forecast tables do not necessarily reflect the proposed date and MW values listed in Table IV-7, and include impacts for load projects not listed in the NYISO IQ as of March 15, 2026.
Large Loads by Forecast table lists maximum large load demand included in the Lower, Baseline, and Higher Demand Forecasts.
All Loads row lists maximum aggregated Zonal load for projects listed in Table IV-7 or included in the 2026 Gold Book large load forecasts.