## NYC Inputs
NYC Locality ICAP Forecast Inputs for Class Year 2019 NYC Additional SDU Study Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: April 19, 2021
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2022 | 2023 | 2024 | 2022/23 | 2023/24 | 2024/25 | Document | Abbrev.
Load Forecast | ICAP MW | 11559 | 11523 | 11557 | 11559 | 11523 | 11557 | (3) Table I-4a | LF
Locational Capacity Requirement | % | 86.01% | 86.01% | 86.01% | 86.01% | 86.01% | 86.01% | (4) for current values, MSP values are NYISO projections | LCR
ICAP Monthly Reference Point | $/kW-mo | 23.79 | 21.98 | 20.47 | 23.79 | 21.98 | 20.47 | (1) for current values, MSP values are NYISO projections | RP_ICAP
ICAP/UCAP Derating Factor | % | 5.51% | 4.77% | 4.77% | 5.63% | 5.31% | 5.31% | (5) for current values, MSP values are NYISO projections | EFORd
UCAP Reference Point | $/kW-mo | 25.18 | 23.08 | 21.5 | 25.21 | 23.21 | 21.62 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 9394.1 | 9438.2 | 9466 | 9382.2 | 9384.7 | 9412.4 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 118% | 118% | 118% | 118% | 118% | 118% | (1) | DCL
UCAP at $0 | UCAP MW | 11085 | 11137.1 | 11169.9 | 11071 | 11073.9 | 11106.6 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.014891 | -0.013585 | -0.012618 | -0.014928 | -0.01374 | -0.012761 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2022: 2.115%; 2023: 2.115%; 2024: 2.115% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 9568 | 8839.2833 | 8839.2833 | 10441.3 | 9780.4 | 9780.4 | (3) Table III-2 less Retirements, expected Retirements, and seasonal deactivations
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 308.8667 | 308.8667 | 308.8667 | 310.4588 | 310.4588 | 310.4588 | Max value (8), actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 16 | 16 | 16 | 19.5 | 19.5 | 19.5 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, UCAP | 437.9 | 437.9 | 437.9 | 313.8 | 313.8 | 313.8 | (2)
Unoffered and Unsold MW (UCAP) | MW, UCAP | -22.4 | -22.4 | -22.4 | -100.9 | -100.9 | -100.9 | (2)
Existing capacity that received an Offer Floor |  | 2022: Summer; 2023: Winter
Astoria Energy II | MW, ICAP | 2022: 570; 2023: 659 | (3) Table III-2
Class Year 2019 NYC Additional SDU Study Examined Facilities | Requested CRIS MW
CH Interconnection | 1000
Liberty Generating Alternative | 1172
Ravenswood Energy Storage 1 | 129
Ravenswood Energy Storage 2 | 129
El Sunset Park Wind | 816
Prior Class Year Examined Facilities, not yet entered Market |  | 2022: Summer; 2023: Winter
King’s Plaza | CRIS MW | 2022: 6; 2023: 6 | (3) Table IV-1
Spring Creek Tower | CRIS MW | 2022: 8; 2023: 8 | (3) Table IV-1
Groundvault Energy Storage (LDG‐01304) | CRIS MW | 2022: 12.5; 2023: 12.5 | (3) Table IV-1
Stillwell Energy Storage (LDG‐01326) | CRIS MW | 2022: 10; 2023: 10 | (3) Table IV-1
Cleancar Energy Storage (LDG‐01330) | CRIS MW | 2022: 15; 2023: 15 | (3) Table IV-1
Facilities Evaluated Under MST Sections 23.4.5.7.15.5, .6, and .7 | Summer CRIS | 2022: Summer Capability; 2023: Winter Capability
74 St. GT 1 | 19 | 2022: 15.9; 2023: 19.5 | (3) Table IV-6
74 St. GT 2 | 20.1 | 2022: 19.3; 2023: 21.4 | (3) Table IV-6
Astoria GT 2-1 | 41.2 | 2022: 35.6; 2023: 46 | (3) Table IV-6
Astoria GT 2-2 | 42.4 | 2022: 34.2; 2023: 45.8 | (3) Table IV-6
Astoria GT 2-3 | 41.2 | 2022: 36.9; 2023: 47 | (3) Table IV-6
Astoria GT 2-4 | 41 | 2022: 35.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 3-1 | 41.2 | 2022: 34.6; 2023: 44.5 | (3) Table IV-6
Astoria GT 3-2 | 43.5 | 2022: 35.2; 2023: 45.5 | (3) Table IV-6
Astoria GT 3-3 | 43 | 2022: 34.9; 2023: 45.2 | (3) Table IV-6
Astoria GT 3-4 | 43 | 2022: 36.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 4-1 | 42.6 | 2022: 31.9; 2023: 44.8 | (3) Table IV-6
Astoria GT 4-2 | 41.4 | 2022: 33.5; 2023: 42.8 | (3) Table IV-6
Astoria GT 4-3 | 41.1 | 2022: 34.1; 2023: 44.6 | (3) Table IV-6
Astoria GT 4-4 | 42.8 | 2022: 33.3; 2023: 44 | (3) Table IV-6
Gowanus 1-1 | 19.1 | 2022: 18.6; 2023: 24 | (3) Table IV-6
Gowanus 1-2 | 17.1 | 2022: 19.1; 2023: 24.1 | (3) Table IV-6
Gowanus 1-3 | 17.2 | 2022: 17.9; 2023: 23.3 | (3) Table IV-6
Gowanus 1-4 | 17.1 | 2022: 16.3; 2023: 21.2 | (3) Table IV-6
Gowanus 1-5 | 16.5 | 2022: 17.3; 2023: 22.8 | (3) Table IV-6
Gowanus 1-6 | 18 | 2022: 16.5; 2023: 21.4 | (3) Table IV-6
Gowanus 1-7 | 17.6 | 2022: 17.2; 2023: 22.1 | (3) Table IV-6
Gowanus 1-8 | 16.1 | 2022: 15.3; 2023: 21.7 | (3) Table IV-6
Gowanus 4-1 | 16.8 | 2022: 18.9; 2023: 24.7 | (3) Table IV-6
Gowanus 4-2 | 17.3 | 2022: 17.3; 2023: 23.1 | (3) Table IV-6
Gowanus 4-3 | 17.6 | 2022: 18; 2023: 23.4 | (3) Table IV-6
Gowanus 4-4 | 17.1 | 2022: 15.8; 2023: 22.3 | (3) Table IV-6
Gowanus 4-5 | 17.1 | 2022: 16.8; 2023: 22.2 | (3) Table IV-6
Gowanus 4-6 | 18.6 | 2022: 18; 2023: 24.8 | (3) Table IV-6
Gowanus 4-7 | 16.6 | 2022: 14; 2023: 21.1 | (3) Table IV-6
Gowanus 4-8 | 19 | 2022: 16.5; 2023: 23.2 | (3) Table IV-6
Hudson Ave 3 | 16 | 2022: 16.6; 2023: 19.5 | (6), (3) Table IV-4
Hudson Ave 4 | 13.9 | 2022: 14; 2023: 16.3 | (3) Table IV-4
Hudson Ave 5 | 15.1 | 2022: 14.2; 2023: 20.2 | (3) Table IV-6
Ravenswood 01 | 8.8 | 2022: 8.1; 2023: 10.1 | (3) Table IV-6
Ravenswood 09 | 21.7 | 2022: 16.3; 2023: 22.8 | (3) Table IV-3
Ravenswood 10 | 21.2 | 2022: 16.5; 2023: 24.4 | (3) Table IV-6
Ravenswood 11 | 20.2 | 2022: 16.4; 2023: 22.4 | (3) Table IV-6
Ravenswood 2-1 | 40.4 | 2022: 31.4; 2023: 41.7 | (3) Table IV-3
Ravenswood 2-2 | 37.6 | 2022: 29.9; 2023: 41.9 | (3) Table IV-3
Ravenswood 2-3 | 39.2 | 2022: 28.9; 2023: 37.3 | (3) Table IV-3
Ravenswood 2-4 | 39.8 | 2022: 30.7; 2023: 41.6 | (3) Table IV-3
Ravenswood 3-1 | 40.5 | 2022: 31.9; 2023: 40.8 | (3) Table IV-3
Ravenswood 3-2 | 38.1 | 2022: 29.4; 2023: 40.3 | (3) Table IV-3
Ravenswood 3-4 | 35.8 | 2022: 31.2; 2023: 40.8 | (3) Table IV-3
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2020 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2020-2021 Capability Year. (January 8, 2020)
https://www.nyiso.com/documents/20142/8583126/LCR2020-Report.pdf
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" folder
(7) First Quarter 2021 Survey of Professional Forecasters
https://www.philadelphiafed.org/surveys-and-data/real-time-data-research/spf-q1-2021
See table for Median Short-Run and Long-Run Projections for Inflation
(8) NYISO Installed Capacity Manual. June 2020
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf

## GHIJ Inputs
G-J Locality ICAP Forecast Inputs for Class Year 2019 NYC Additional SDU Study Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: April 19, 2021
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2022 | 2023 | 2024 | 2022/23 | 2023/24 | 2024/25 | Document | Abbrev.
Load Forecast | ICAP MW | 15757 | 15705 | 15733 | 15757 | 15705 | 15733 | (3) Table I-5 | LF
Locational Capacity Requirement | % | 92.02% | 92.02% | 86.02% | 92.02% | 92.02% | 86.02% | (4) for current values, MSP values are NYISO projections | LCR
ICAP Monthly Reference Point | $/kW-mo | 16.99 | 15.95 | 15.15 | 16.99 | 15.95 | 15.15 | (1) for current values, MSP values are NYISO projections | RP_ICAP
ICAP/UCAP Derating Factor | % | 5.41% | 5.13% | 5.13% | 5.13% | 4.89% | 4.89% | (5) for current values, MSP values are NYISO projections | EFORd
UCAP Reference Point | $/kW-mo | 17.96 | 16.81 | 15.97 | 17.91 | 16.77 | 15.93 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 13715.2 | 13710.4 | 12839.3 | 13755.8 | 13745.1 | 12871.7 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 115% | 115% | 115% | 115% | 115% | 115% | (1) | DCL
UCAP at $0 | UCAP MW | 15772.5 | 15767 | 14765.2 | 15819.2 | 15806.9 | 14802.5 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.0087299 | -0.0081737 | -0.0082922 | -0.0086798 | -0.0081337 | -0.0082505 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2022: 2.115%; 2023: 2.115%; 2024: 2.115% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 14320.2 | 13553.4833 | 13553.4833 | 15439.1 | 14731.8 | 14731.8 | (3) Table III-2 less Retirements, expected Retirements, and seasonal deactivations
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 308.8667 | 308.8667 | 308.8667 | 310.4588 | 310.4588 | 310.4588 | Max value (8), actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 16 | 16 | 16 | 19.5 | 19.5 | 19.5 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, UCAP | 537.7 | 537.7 | 537.7 | 380.7 | 380.7 | 380.7 | (2)
Unoffered and Unsold MW (UCAP) | MW, UCAP | -27.9 | -27.9 | -27.9 | -126.8 | -126.8 | -126.8 | (2)
Existing capacity that received an Offer Floor |  | 2022: Summer; 2023: Winter
Astoria Energy II | MW, ICAP | 2022: 570; 2023: 659 | (3) Table III-2
Class Year 2019 NYC Additional SDU Study Examined Facilities |  | 2022: Requested CRIS MW
CH Interconnection | CRIS MW | 2022: 1000 | (3) Table IV-1
Liberty Generating Alternative | CRIS MW | 2022: 1172 | (3) Table IV-1
Ravenswood Energy Storage 1 | CRIS MW | 2022: 129 | (3) Table IV-1
Ravenswood Energy Storage 2 | CRIS MW | 2022: 129 | (3) Table IV-1
El Sunset Park Wind | CRIS MW | 2022: 816 | (3) Table IV-1
Prior Class Year Examined Facilities, not yet entered Market |  | 2022: Summer; 2023: Winter
King’s Plaza | CRIS MW | 2022: 6; 2023: 6 | (3) Table IV-1
Spring Creek Tower | CRIS MW | 2022: 8; 2023: 8 | (3) Table IV-1
Groundvault Energy Storage (LDG‐01304) | CRIS MW | 2022: 12.5; 2023: 12.5 | (3) Table IV-1
Stillwell Energy Storage (LDG‐01326) | CRIS MW | 2022: 10; 2023: 10 | (3) Table IV-1
Cleancar Energy Storage (LDG‐01330) | CRIS MW | 2022: 15; 2023: 15 | (3) Table IV-1
Eagle Energy Storage | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Yonkers Grid (MC434295/LDG‐01344) | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Flint Mine Solar | CRIS MW | 2022: 100; 2023: 100 | (3) Table IV-1
Danskammer Energy Center | CRIS MW | 2022: 600; 2023: 600 | (3) Table IV-1
Greene County I | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Greene County II | CRIS MW | 2022: 10; 2023: 10 | (3) Table IV-1
Little Pond Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Greene County 3 | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Hannacroix Solar (CH‐08360) | CRIS MW | 2022: 3.23; 2023: 3.23 | (3) Table IV-1
Monsey 44‐6 (LDG‐0171) | CRIS MW | 2022: 5; 2023: 5 | (3) Table IV-1
Monsey 44‐2 (LDG‐0180) | CRIS MW | 2022: 5; 2023: 5 | (3) Table IV-1
Monsey 44‐3 (LDG‐0179) | CRIS MW | 2022: 5; 2023: 5 | (3) Table IV-1
Cuddebackville Battery (LDG‐0182‐83‐84) | CRIS MW | 2022: 10; 2023: 10 | (3) Table IV-1
Facilities Evaluated Under MST Sections 23.4.5.7.15.5, .6, and .7 | Summer CRIS | 2022: Summer Capability; 2023: Winter Capability
Coxsackie GT | 19.9 | 2022: 20.2; 2023: 23.9 | (3) Table IV-6
South Cairo | 19.8 | 2022: 18.1; 2023: 22.5 | (3) Table IV-6
Indian Point 2 | 1026.5 | 2022: 1011.5; 2023: 1029.4 | (6), (3) Table IV-5
Indian Point 3 | 1040.4 | 2022: 1036.3; 2023: 1038.3 | (6), (3) Table IV-5
74 St. GT 1 | 19 | 2022: 15.9; 2023: 19.5 | (3) Table IV-6
74 St. GT 2 | 20.1 | 2022: 19.3; 2023: 21.4 | (3) Table IV-6
Astoria GT 2-1 | 41.2 | 2022: 35.6; 2023: 46 | (3) Table IV-6
Astoria GT 2-2 | 42.4 | 2022: 34.2; 2023: 45.8 | (3) Table IV-6
Astoria GT 2-3 | 41.2 | 2022: 36.9; 2023: 47 | (3) Table IV-6
Astoria GT 2-4 | 41 | 2022: 35.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 3-1 | 41.2 | 2022: 34.6; 2023: 44.5 | (3) Table IV-6
Astoria GT 3-2 | 43.5 | 2022: 35.2; 2023: 45.5 | (3) Table IV-6
Astoria GT 3-3 | 43 | 2022: 34.9; 2023: 45.2 | (3) Table IV-6
Astoria GT 3-4 | 43 | 2022: 36.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 4-1 | 42.6 | 2022: 31.9; 2023: 44.8 | (3) Table IV-6
Astoria GT 4-2 | 41.4 | 2022: 33.5; 2023: 42.8 | (3) Table IV-6
Astoria GT 4-3 | 41.1 | 2022: 34.1; 2023: 44.6 | (3) Table IV-6
Astoria GT 4-4 | 42.8 | 2022: 33.3; 2023: 44 | (3) Table IV-6
Gowanus 1-1 | 19.1 | 2022: 18.6; 2023: 24 | (3) Table IV-6
Gowanus 1-2 | 17.1 | 2022: 19.1; 2023: 24.1 | (3) Table IV-6
Gowanus 1-3 | 17.2 | 2022: 17.9; 2023: 23.3 | (3) Table IV-6
Gowanus 1-4 | 17.1 | 2022: 16.3; 2023: 21.2 | (3) Table IV-6
Gowanus 1-5 | 16.5 | 2022: 17.3; 2023: 22.8 | (3) Table IV-6
Gowanus 1-6 | 18 | 2022: 16.5; 2023: 21.4 | (3) Table IV-6
Gowanus 1-7 | 17.6 | 2022: 17.2; 2023: 22.1 | (3) Table IV-6
Gowanus 1-8 | 16.1 | 2022: 15.3; 2023: 21.7 | (3) Table IV-6
Gowanus 4-1 | 16.8 | 2022: 18.9; 2023: 24.7 | (3) Table IV-6
Gowanus 4-2 | 17.3 | 2022: 17.3; 2023: 23.1 | (3) Table IV-6
Gowanus 4-3 | 17.6 | 2022: 18; 2023: 23.4 | (3) Table IV-6
Gowanus 4-4 | 17.1 | 2022: 15.8; 2023: 22.3 | (3) Table IV-6
Gowanus 4-5 | 17.1 | 2022: 16.8; 2023: 22.2 | (3) Table IV-6
Gowanus 4-6 | 18.6 | 2022: 18; 2023: 24.8 | (3) Table IV-6
Gowanus 4-7 | 16.6 | 2022: 14; 2023: 21.1 | (3) Table IV-6
Gowanus 4-8 | 19 | 2022: 16.5; 2023: 23.2 | (3) Table IV-6
Hudson Ave 3 | 16 | 2022: 16.6; 2023: 19.5 | (6), (3) Table IV-4
Hudson Ave 4 | 13.9 | 2022: 14; 2023: 16.3 | (3) Table IV-4
Hudson Ave 5 | 15.1 | 2022: 14.2; 2023: 20.2 | (3) Table IV-6
Ravenswood 01 | 8.8 | 2022: 8.1; 2023: 10.1 | (3) Table IV-6
Ravenswood 09 | 21.7 | 2022: 16.3; 2023: 22.8 | (3) Table IV-3
Ravenswood 10 | 21.2 | 2022: 16.5; 2023: 24.4 | (3) Table IV-6
Ravenswood 11 | 20.2 | 2022: 16.4; 2023: 22.4 | (3) Table IV-6
Ravenswood 2-1 | 40.4 | 2022: 31.4; 2023: 41.7 | (3) Table IV-3
Ravenswood 2-2 | 37.6 | 2022: 29.9; 2023: 41.9 | (3) Table IV-3
Ravenswood 2-3 | 39.2 | 2022: 28.9; 2023: 37.3 | (3) Table IV-3
Ravenswood 2-4 | 39.8 | 2022: 30.7; 2023: 41.6 | (3) Table IV-3
Ravenswood 3-1 | 40.5 | 2022: 31.9; 2023: 40.8 | (3) Table IV-3
Ravenswood 3-2 | 38.1 | 2022: 29.4; 2023: 40.3 | (3) Table IV-3
Ravenswood 3-4 | 35.8 | 2022: 31.2; 2023: 40.8 | (3) Table IV-3
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2020 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2020-2021 Capability Year. (January 8, 2020)
https://www.nyiso.com/documents/20142/8583126/LCR2020-Report.pdf
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" folder
(7) First Quarter 2021 Survey of Professional Forecasters
https://www.philadelphiafed.org/surveys-and-data/real-time-data-research/spf-q1-2021
See table for Median Short-Run and Long-Run Projections for Inflation
(8) NYISO Installed Capacity Manual. June 2020
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf

## NYCA Inputs
NYCA ICAP Forecast Inputs for Class Year 2019 NYC Additional SDU Study Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: April 19, 2021
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2022 | 2023 | 2024 | 2022/23 | 2023/24 | 2024/25 | Document | Abbrev.
Load Forecast | ICAP MW | 32128 | 31918 | 31838 | 32128 | 31918 | 31838 | (3) Table I-3a | LF
Locational Capacity Requirement | % | 126.1% | 126.1% | 126.1% | 126.1% | 126.1% | 126.1% | (4) for current values, MSP values are NYISO projections | IRM
ICAP Monthly Reference Point | $/kW-mo | 10.59 | 10.57 | 10.17 | 10.59 | 10.57 | 10.17 | (1) for current values, MSP values are NYISO projections | RP_ICAP
ICAP/UCAP Derating Factor | % | 12.9% | 12.93% | 12.93% | 12.18% | 12.89% | 12.89% | (5) for current values, MSP values are NYISO projections | EFORd
UCAP Reference Point | $/kW-mo | 12.16 | 12.14 | 11.68 | 12.06 | 12.13 | 11.67 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 35292.8 | 35050 | 34962.2 | 35584.5 | 35066.1 | 34978.2 | = LF * IRM * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 112% | 112% | 112% | 112% | 112% | 112% | (1) | DCL
UCAP at $0 | UCAP MW | 39527.9 | 39256 | 39157.7 | 39854.6 | 39274 | 39175.6 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.0028712 | -0.0028864 | -0.0027839 | -0.0028243 | -0.0028827 | -0.0027803 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2022: 2.115%; 2023: 2.115%; 2024: 2.115% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 37251.9 | 36460.5833 | 36460.5833 | 39610.1 | 38890.6 | 38890.6 | (3) Table III-2 less Retirements, expected Retirements, and seasonal deactivations
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 1050.5 | 1050.5 | 1050.5 | 1049.0882 | 1049.0882 | 1049.0882 | Max value (8), actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 16 | 16 | 16 | 19.5 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, UCAP | 1226 | 1226 | 1226 | 842.1 | 842.1 | 842.1 | (2)
Unoffered and Unsold MW (UCAP) | MW, UCAP | -149.6 | -149.6 | -149.6 | -448.3 | -448.3 | -448.3 | (2)
Existing capacity that received an Offer Floor |  | 2022: Summer; 2023: Winter
Astoria Energy II | MW, ICAP | 2022: 570; 2023: 659 | (3) Table III-2
Class Year 2019 NYC Additional SDU Study Examined Facilities |  | 2022: Requested CRIS MW
CH Interconnection | CRIS MW | 2022: 1000 | (3) Table IV-1
Liberty Generating Alternative | CRIS MW | 2022: 1172 | (3) Table IV-1
Ravenswood Energy Storage 1 | CRIS MW | 2022: 129 | (3) Table IV-1
Ravenswood Energy Storage 2 | CRIS MW | 2022: 129 | (3) Table IV-1
El Sunset Park Wind | CRIS MW | 2022: 816 | (3) Table IV-1
Prior Class Year Examined Facilities, not yet entered Market |  | 2022: Summer; 2023: Winter
King’s Plaza | CRIS MW | 2022: 6; 2023: 6 | (3) Table IV-1
Spring Creek Tower | CRIS MW | 2022: 8; 2023: 8 | (3) Table IV-1
Groundvault Energy Storage (LDG‐01304) | CRIS MW | 2022: 12.5; 2023: 12.5 | (3) Table IV-1
Stillwell Energy Storage (LDG‐01326) | CRIS MW | 2022: 10; 2023: 10 | (3) Table IV-1
Cleancar Energy Storage (LDG‐01330) | CRIS MW | 2022: 15; 2023: 15 | (3) Table IV-1
Eagle Energy Storage | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Yonkers Grid (MC434295/LDG‐01344) | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Flint Mine Solar | CRIS MW | 2022: 100; 2023: 100 | (3) Table IV-1
Danskammer Energy Center | CRIS MW | 2022: 600; 2023: 600 | (3) Table IV-1
Greene County I | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Greene County II | CRIS MW | 2022: 10; 2023: 10 | (3) Table IV-1
Little Pond Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Greene County 3 | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Hannacroix Solar (CH‐08360) | CRIS MW | 2022: 3.2; 2023: 3.2 | (3) Table IV-1
Monsey 44‐6 (LDG‐0171) | CRIS MW | 2022: 5; 2023: 5 | (3) Table IV-1
Monsey 44‐2 (LDG‐0180) | CRIS MW | 2022: 5; 2023: 5 | (3) Table IV-1
Monsey 44‐3 (LDG‐0179) | CRIS MW | 2022: 5; 2023: 5 | (3) Table IV-1
Cuddebackville Battery (LDG‐0182‐83‐84) | CRIS MW | 2022: 10; 2023: 10 | (3) Table IV-1
Alle Catt II Wind | CRIS MW | 2022: 339.1; 2023: 339.1 | (3) Table IV-1
Bear Ridge Solar | CRIS MW | 2022: 100; 2023: 100 | (3) Table IV-1
Excelsior Energy Center | CRIS MW | 2022: 280; 2023: 280 | (3) Table IV-1
KCE NY 6 | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
KCE NY 10 | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
High Top (South Perry) Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Ontario Landfill | CRIS MW | 2022: 3.6; 2023: 3.6 | (3) Table IV-1
Homer Solar Energy Center | CRIS MW | 2022: 90; 2023: 90 | (3) Table IV-1
Canisteo Wind | CRIS MW | 2022: 290.7; 2023: 290.7 | (3) Table IV-1
Watkins Glen Solar | CRIS MW | 2022: 50; 2023: 50 | (3) Table IV-1
North Light Energy Center | CRIS MW | 2022: 80; 2023: 80 | (3) Table IV-1
Janis Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
North Side Solar | CRIS MW | 2022: 180; 2023: 180 | (3) Table IV-1
Number 3 Wind Energy | CRIS MW | 2022: 105.8; 2023: 105.8 | (3) Table IV-1
Roaring Brook Wind | CRIS MW | 2022: 79.725; 2023: 79.725 | (3) Table IV-1
Bluestone Wind | CRIS MW | 2022: 124.2; 2023: 124.2 | (3) Table IV-1
High Bridge Wind | CRIS MW | 2022: 100.8; 2023: 100.8 | (3) Table IV-1
Puckett Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Mohawk Solar | CRIS MW | 2022: 90.5; 2023: 90.5 | (3) Table IV-1
High River Solar | CRIS MW | 2022: 90; 2023: 90 | (3) Table IV-1
East Point Solar | CRIS MW | 2022: 50; 2023: 50 | (3) Table IV-1
Columbia County 1 | CRIS MW | 2022: 60; 2023: 60 | (3) Table IV-1
Rock District Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Tayandenega Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Albany County 1 | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Albany County 2 | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Pattersonville | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Grissom Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Easton Solar I | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Easton Solar II | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
ELP Ticonderoga Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
ELP Stillwater Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Grissom II Solar | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Dahowa Hydroelectric | CRIS MW | 2022: 10.5; 2023: 10.5 | (3) Table IV-1
Fulton County Landfill | CRIS MW | 2022: 3.2; 2023: 3.2 | (3) Table IV-1
Calverton Solar Energy Center | CRIS MW | 2022: 22.9; 2023: 22.9 | (3) Table IV-1
Far Rockaway Battery Storage | CRIS MW | 2022: 20; 2023: 20 | (3) Table IV-1
Facilities Evaluated Under MST Sections 23.4.5.7.15.5, .6, and .7 | Summer CRIS | 2022: Summer Capability; 2023: Winter Capability
Somerset | 686.5 | 2022: 676.4; 2023: 684.4 | (6), (3) Table IV-5
Monroe Livingston | 2.4 | 2022: 2.4; 2023: 2.4 | (3) Table IV-4
Auburn - State St | 5.8 | 2022: 4.1; 2023: 7.3 | (3) Table IV-4
Binghamton | 43.8 | 2022: 43.7; 2023: 47.1 | (3) Table IV-3
Cayuga 1 | 154.1 | 2022: 151; 2023: 152 | (6), (3) Table IV-4
Cayuga 2 | 154.7 | 2022: 139.6; 2023: 158 | (6), (3) Table IV-3
Steuben County LF | 3.2 | 2022: 3.2; 2023: 3.2 | (3) Table IV-4
Lyonsdale | 20.2 | 2022: 19.3; 2023: 19.7 | (3) Table IV-3
Albany LFGE | 4.5 | 2022: 5.6; 2023: 5.6 | (6), (3) Table IV-5
Coxsackie GT | 19.9 | 2022: 20.2; 2023: 23.9 | (3) Table IV-6
South Cairo | 19.8 | 2022: 18.1; 2023: 22.5 | (3) Table IV-6
Indian Point 2 | 1026.5 | 2022: 1011.5; 2023: 1029.4 | (6), (3) Table IV-5
Indian Point 3 | 1040.4 | 2022: 1036.3; 2023: 1038.3 | (6), (3) Table IV-5
74 St. GT 1 | 19 | 2022: 15.9; 2023: 19.5 | (3) Table IV-6
74 St. GT 2 | 20.1 | 2022: 19.3; 2023: 21.4 | (3) Table IV-6
Astoria GT 2-1 | 41.2 | 2022: 35.6; 2023: 46 | (3) Table IV-6
Astoria GT 2-2 | 42.4 | 2022: 34.2; 2023: 45.8 | (3) Table IV-6
Astoria GT 2-3 | 41.2 | 2022: 36.9; 2023: 47 | (3) Table IV-6
Astoria GT 2-4 | 41 | 2022: 35.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 3-1 | 41.2 | 2022: 34.6; 2023: 44.5 | (3) Table IV-6
Astoria GT 3-2 | 43.5 | 2022: 35.2; 2023: 45.5 | (3) Table IV-6
Astoria GT 3-3 | 43 | 2022: 34.9; 2023: 45.2 | (3) Table IV-6
Astoria GT 3-4 | 43 | 2022: 36.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 4-1 | 42.6 | 2022: 31.9; 2023: 44.8 | (3) Table IV-6
Astoria GT 4-2 | 41.4 | 2022: 33.5; 2023: 42.8 | (3) Table IV-6
Astoria GT 4-3 | 41.1 | 2022: 34.1; 2023: 44.6 | (3) Table IV-6
Astoria GT 4-4 | 42.8 | 2022: 33.3; 2023: 44 | (3) Table IV-6
Gowanus 1-1 | 19.1 | 2022: 18.6; 2023: 24 | (3) Table IV-6
Gowanus 1-2 | 17.1 | 2022: 19.1; 2023: 24.1 | (3) Table IV-6
Gowanus 1-3 | 17.2 | 2022: 17.9; 2023: 23.3 | (3) Table IV-6
Gowanus 1-4 | 17.1 | 2022: 16.3; 2023: 21.2 | (3) Table IV-6
Gowanus 1-5 | 16.5 | 2022: 17.3; 2023: 22.8 | (3) Table IV-6
Gowanus 1-6 | 18 | 2022: 16.5; 2023: 21.4 | (3) Table IV-6
Gowanus 1-7 | 17.6 | 2022: 17.2; 2023: 22.1 | (3) Table IV-6
Gowanus 1-8 | 16.1 | 2022: 15.3; 2023: 21.7 | (3) Table IV-6
Gowanus 4-1 | 16.8 | 2022: 18.9; 2023: 24.7 | (3) Table IV-6
Gowanus 4-2 | 17.3 | 2022: 17.3; 2023: 23.1 | (3) Table IV-6
Gowanus 4-3 | 17.6 | 2022: 18; 2023: 23.4 | (3) Table IV-6
Gowanus 4-4 | 17.1 | 2022: 15.8; 2023: 22.3 | (3) Table IV-6
Gowanus 4-5 | 17.1 | 2022: 16.8; 2023: 22.2 | (3) Table IV-6
Gowanus 4-6 | 18.6 | 2022: 18; 2023: 24.8 | (3) Table IV-6
Gowanus 4-7 | 16.6 | 2022: 14; 2023: 21.1 | (3) Table IV-6
Gowanus 4-8 | 19 | 2022: 16.5; 2023: 23.2 | (3) Table IV-6
Hudson Ave 3 | 16 | 2022: 16.6; 2023: 19.5 | (6), (3) Table IV-4
Hudson Ave 4 | 13.9 | 2022: 14; 2023: 16.3 | (3) Table IV-4
Hudson Ave 5 | 15.1 | 2022: 14.2; 2023: 20.2 | (3) Table IV-6
Ravenswood 01 | 8.8 | 2022: 8.1; 2023: 10.1 | (3) Table IV-6
Ravenswood 09 | 21.7 | 2022: 16.3; 2023: 22.8 | (3) Table IV-3
Ravenswood 10 | 21.2 | 2022: 16.5; 2023: 24.4 | (3) Table IV-6
Ravenswood 11 | 20.2 | 2022: 16.4; 2023: 22.4 | (3) Table IV-6
Ravenswood 2-1 | 40.4 | 2022: 31.4; 2023: 41.7 | (3) Table IV-3
Ravenswood 2-2 | 37.6 | 2022: 29.9; 2023: 41.9 | (3) Table IV-3
Ravenswood 2-3 | 39.2 | 2022: 28.9; 2023: 37.3 | (3) Table IV-3
Ravenswood 2-4 | 39.8 | 2022: 30.7; 2023: 41.6 | (3) Table IV-3
Ravenswood 3-1 | 40.5 | 2022: 31.9; 2023: 40.8 | (3) Table IV-3
Ravenswood 3-2 | 38.1 | 2022: 29.4; 2023: 40.3 | (3) Table IV-3
Ravenswood 3-4 | 35.8 | 2022: 31.2; 2023: 40.8 | (3) Table IV-3
Glenwood GT 01 | 14.6 | 2022: 11.4; 2023: 14.5 | (6)
Northport GT | 13.8 | 2022: 11.7; 2023: 14.5 | (3) Table IV-6
Port Jefferson GT 01 | 14.1 | 2022: 12.9; 2023: 16.6 | (3) Table IV-6
West Babylon 4 | 49 | 2022: 50.2; 2023: 65.4 | (6), (3) Table IV-5
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2020 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2020-2021 Capability Year. (January 8, 2020)
https://www.nyiso.com/documents/20142/8583126/LCR2020-Report.pdf
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" folder
(7) First Quarter 2021 Survey of Professional Forecasters
https://www.philadelphiafed.org/surveys-and-data/real-time-data-research/spf-q1-2021
See table for Median Short-Run and Long-Run Projections for Inflation
(8) NYISO Installed Capacity Manual. June 2020
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf

## DOF NYC
NYC Locality Default Net CONE Shaping
Date Published: April 19, 2021
Input | Abbreviation | Source | Calculation | Units | Capability Year 2022/23 | Capability Year 2023/24 | Capability Year 2024/25
Annual ICAP Reference Value | ARV | (1) | MSP values are NYISO projections | $/kW-yr, ICAP | 204.8757 | 207.4782 | 205.6793
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 217.6 | 217.6 | 217.6
Winter DMNC | Qw | (1) | -- | MW, ICAP | 228.7 | 228.7 | 228.7
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.9 | 226.9 | 226.9
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.061 | 1.064 | 1.114
Demand Curve Length | DCL | (1) | -- | none | 1.18 | 1.18 | 1.18
"Escalation Factor" (Inflation Index) | EF | (1) | -- | % | 2.12% | 2.12% | 2.12%
Excess | Exc | (2) | -- | % | 2.3% | 2.3% | 2.3%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 204.88 | 207.48 | 205.68
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 153.66 | 155.61 | 154.26
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 14.73 | 15.09 | 18
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 9.76 | 9.7 | 6.6
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 157.12 | 159.11 | 157.73
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 15.06 | 15.43 | 18.4
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 9.97 | 9.92 | 6.75
Notes:
- For Class Year 2019 NYC Additional SDU, the Default Net CONE is calculated based on Capability Year 2022/2023, the first year of the Mitigation Study Period.
- For purposes of calculating the default offer floor, the rate used to "escalate" prices (i.e. the "escalation factor") is the inflation index.
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
https://www.nyiso.com/installed-capacity-market

## DOF G-J
G-J Locality Default Net CONE Shaping
Date Published: April 19, 2021
Input | Abbreviation | Source | Calculation | Units | Capability Year 2022/23 | Capability Year 2023/24 | Capability Year 2024/25
Annual ICAP Reference Value | ARV | (1) | MSP values are NYISO projections | $/kW-yr, ICAP | 157.1189 | 157.9385 | 155.6391
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 218 | 218 | 218
Winter DMNC | Qw | (1) | -- | MW, ICAP | 230.3 | 230.3 | 230.3
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.8 | 226.8 | 226.8
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.053 | 1.056 | 1.089
Demand Curve Length | DCL | (1) | -- | none | 1.15 | 1.15 | 1.15
"Escalation Factor" (Inflation Index) | EF | (1) | -- | % | 2.12% | 2.12% | 2.12%
Excess | Exc | (2) | -- | % | 1.5% | 1.5% | 1.5%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 157.12 | 157.94 | 155.64
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 117.84 | 118.46 | 116.73
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 11.4 | 11.58 | 13.23
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 7.36 | 7.29 | 5.39
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 120.49 | 121.12 | 119.36
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 11.66 | 11.84 | 13.53
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 7.53 | 7.45 | 5.51
Notes:
- For Class Year 2019 NYC Additional SDU, the Default Net CONE is calculated based on Capability Year 2022/2023, the first year of the Mitigation Study Period.
- For purposes of calculating the default offer floor, the rate used to "escalate" prices (i.e. the "escalation factor") is the inflation index.
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
https://www.nyiso.com/installed-capacity-market