## NYC Inputs
NYC Locality ICAP Forecast Inputs for Class Year 2019 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: December 15, 2020
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2022 | 2023 | 2024 | 2022/23 | 2023/24 | 2024/25 | Document | Abbrev.
Load Forecast | ICAP MW | 11559 | 11523 | 11557 | 11559 | 11523 | 11557 | (3) Table I-4a | LF
NYC Locational Minimum Installed Capacity Requirement | % | 85.5% | 83.4% | 83.4% | 85.5% | 83.4% | 83.4% | (4) for current values, MSP values are NYISO projections | LCR
ICAP Monthly Reference Point | $/kW-mo | 24.63 | 24.6 | 24.82 | 24.63 | 24.6 | 24.82 | (1) for current values, MSP values are NYISO projections | RP_ICAP
ICAP/UCAP Derating Factor | % | 3.58% | 2.94% | 2.94% | 2.7% | 2.09% | 2.09% | (5) for current values, MSP values are NYISO projections | EFORd
UCAP Reference Point | $/kW-mo | 25.54 | 25.35 | 25.57 | 25.31 | 25.13 | 25.35 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 9529.1 | 9327.6 | 9355.2 | 9616.1 | 9409.3 | 9437.1 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 118% | 118% | 118% | 118% | 118% | 118% | (1) | DCL
UCAP at $0 | UCAP MW | 11244.3 | 11006.6 | 11039.1 | 11347 | 11103 | 11135.8 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.01489 | -0.015098 | -0.015185 | -0.014622 | -0.014837 | -0.014923 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2022: 1.94%; 2023: 1.94%; 2024: 1.94% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 9568 | 8794.7 | 8794.7 | 10441.3 | 9935.5 | 9935.5 | (3) Table III-2 less Retirements, expected Retirements, and seasonal deactivations
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 308.9 | 308.9 | 308.9 | 310.3 | 310.3 | 310.3 | Max value (8), actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 16 | 16 | 16 | 19.5 | 19.5 | 19.5 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, UCAP | 437.9 | 437.9 | 437.9 | 313.8 | 313.8 | 313.8 | (2)
Unoffered and Unsold MW (UCAP) | MW, UCAP | -22.4 | -22.4 | -22.4 | -100.9 | -100.9 | -100.9 | (2)
Existing capacity that Received an Offer Floor |  | 2022: Summer; 2023: Winter
Astoria Energy II | MW, ICAP | 2022: 570; 2023: 659 | (3) Table III-2
Class Year 2019 Examined Facilities in NYC | Requested CRIS MW
Gowanus Gas Turbine Facility Repowering | 574
King’s Plaza | 6
Spring Creek Tower | 8
Groundvault Energy Storage (LDG‐01304) | 12.5
Stillwell Energy Storage (LDG‐01326) | 10
Cleancar Energy Storage (LDG‐01330) | 15
Prior Class Year Examined Facilities and not yet entered the market |  | 2022: Summer; 2023: Winter
Berrians East Replacement (Q393, CY2017-1) | CRIS MW | 2022: 508; 2023: 508 | (3) Table IV-1
Facilities Evaluated under MST Sections 23.4.5.7.15.5, .6, and .7 | Summer CRIS | 2022: Summer Capability; 2023: Winter Capability
74 St. GT 1 | 19 | 2022: 15.9; 2023: 19.5 | (3) Table IV-6
74 St. GT 2 | 20.1 | 2022: 19.3; 2023: 21.4 | (3) Table IV-6
Astoria GT 2-1 | 41.2 | 2022: 35.6; 2023: 46 | (3) Table IV-6
Astoria GT 2-2 | 42.4 | 2022: 34.2; 2023: 45.8 | (3) Table IV-6
Astoria GT 2-3 | 41.2 | 2022: 36.9; 2023: 47 | (3) Table IV-6
Astoria GT 2-4 | 41 | 2022: 35.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 3-1 | 41.2 | 2022: 34.6; 2023: 44.5 | (3) Table IV-6
Astoria GT 3-2 | 43.5 | 2022: 35.2; 2023: 45.5 | (3) Table IV-6
Astoria GT 3-3 | 43 | 2022: 34.9; 2023: 45.2 | (3) Table IV-6
Astoria GT 3-4 | 43 | 2022: 36.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 4-1 | 42.6 | 2022: 31.9; 2023: 44.8 | (3) Table IV-6
Astoria GT 4-2 | 41.4 | 2022: 33.5; 2023: 42.8 | (3) Table IV-6
Astoria GT 4-3 | 41.1 | 2022: 34.1; 2023: 44.6 | (3) Table IV-6
Astoria GT 4-4 | 42.8 | 2022: 33.3; 2023: 44 | (3) Table IV-6
Gowanus 1-1 | 19.1 | 2022: 18.6; 2023: 24 | (3) Table IV-6
Gowanus 1-2 | 17.1 | 2022: 19.1; 2023: 24.1 | (3) Table IV-6
Gowanus 1-3 | 17.2 | 2022: 17.9; 2023: 23.3 | (3) Table IV-6
Gowanus 1-4 | 17.1 | 2022: 16.3; 2023: 21.2 | (3) Table IV-6
Gowanus 1-5 | 16.5 | 2022: 17.3; 2023: 22.8 | (3) Table IV-6
Gowanus 1-6 | 18 | 2022: 16.5; 2023: 21.4 | (3) Table IV-6
Gowanus 1-7 | 17.6 | 2022: 17.2; 2023: 22.1 | (3) Table IV-6
Gowanus 1-8 | 16.1 | 2022: 15.3; 2023: 21.7 | (3) Table IV-6
Gowanus 4-1 | 16.8 | 2022: 18.9; 2023: 24.7 | (3) Table IV-6
Gowanus 4-2 | 17.3 | 2022: 17.3; 2023: 23.1 | (3) Table IV-6
Gowanus 4-3 | 17.6 | 2022: 18; 2023: 23.4 | (3) Table IV-6
Gowanus 4-4 | 17.1 | 2022: 15.8; 2023: 22.3 | (3) Table IV-6
Gowanus 4-5 | 17.1 | 2022: 16.8; 2023: 22.2 | (3) Table IV-6
Gowanus 4-6 | 18.6 | 2022: 18; 2023: 24.8 | (3) Table IV-6
Gowanus 4-7 | 16.6 | 2022: 14; 2023: 21.1 | (3) Table IV-6
Gowanus 4-8 | 19 | 2022: 16.5; 2023: 23.2 | (3) Table IV-6
Hudson Ave 3 | 16 | 2022: 16.6; 2023: 19.5 | (6), (3) Table IV-4
Hudson Ave 4 | 13.9 | 2022: 14; 2023: 16.3 | (3) Table IV-4
Hudson Ave 5 | 15.1 | 2022: 14.2; 2023: 20.2 | (3) Table IV-6
Ravenswood 01 | 8.8 | 2022: 8.1; 2023: 10.1 | (3) Table IV-6
Ravenswood 09 | 21.7 | 2022: 21.7; 2023: 22.8 | (3) Table IV-3
Ravenswood 10 | 21.2 | 2022: 16.5; 2023: 24.4 | (3) Table IV-6
Ravenswood 11 | 20.2 | 2022: 16.4; 2023: 22.4 | (3) Table IV-6
Ravenswood 2-1 | 40.4 | 2022: 40.4; 2023: 75 | (3) Table IV-3
Ravenswood 2-2 | 37.6 | 2022: 37.6; 2023: 41.9 | (3) Table IV-3
Ravenswood 2-3 | 39.2 | 2022: 39.2; 2023: 37.3 | (3) Table IV-3
Ravenswood 2-4 | 39.8 | 2022: 39.8; 2023: 41.6 | (3) Table IV-3
Ravenswood 3-1 | 40.5 | 2022: 40.5; 2023: 40.8 | (3) Table IV-3
Ravenswood 3-2 | 38.1 | 2022: 38.1; 2023: 40.3 | (3) Table IV-3
Ravenswood 3-4 | 35.8 | 2022: 35.8; 2023: 40.8 | (3) Table IV-3
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2020 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2020-2021 Capability Year. (January 8, 2020)
https://www.nyiso.com/documents/20142/8583126/LCR2020-Report.pdf
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" folder
(7) Third Quarter 2020 Survery of Professional Forecasters
https://www.philadelphiafed.org/surveys-and-data/real-time-data-research/spf-q3-2020
See table for Median Short-Run and Long-Run Projections for Inflation
(8) NYISO Installed Capacity Manual. June 2020
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf

## G-J Inputs
G-J Locality ICAP Forecast Inputs for Class Year 2019 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: December 15, 2020
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2022 | 2023 | 2024 | 2022/23 | 2023/24 | 2024/25 | Document | Abbrev.
Load Forecast | ICAP MW | 15757 | 15705 | 15733 | 15757 | 15705 | 15733 | (3) Table I-5 | LF
G-J Locational Minimum Installed Capacity Requirement | % | 91.4% | 89.5% | 89.5% | 91.4% | 89.5% | 89.5% | (4) for current values, MSP values are NYISO projections | LCR
ICAP Monthly Reference Point | $/kW-mo | 19.32 | 19.72 | 20.15 | 19.32 | 19.72 | 20.15 | (1) for current values, MSP values are NYISO projections | RP_ICAP
ICAP/UCAP Derating Factor | % | 4.42% | 4.02% | 4.02% | 3.05% | 2.68% | 2.68% | (5) for current values, MSP values are NYISO projections | EFORd
UCAP Reference Point | $/kW-mo | 20.21 | 20.55 | 20.99 | 19.93 | 20.26 | 20.7 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 13765.3 | 13490.9 | 13515 | 13962.6 | 13679.3 | 13703.7 | = LF * LCR * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 115% | 115% | 115% | 115% | 115% | 115% | (1) | DCL
UCAP at $0 | UCAP MW | 15830.1 | 15514.5 | 15542.3 | 16057 | 15731.2 | 15759.3 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.0097879 | -0.010155 | -0.010354 | -0.0095159 | -0.0098738 | -0.01007 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2022: 1.94%; 2023: 1.94%; 2024: 1.94% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 14320.2 | 13508.9 | 13508.9 | 15439.1 | 14895.3 | 14895.3 | (3) Table III-2 less Retirements, expected Retirements, and seasonal deactivations
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 308.9 | 308.9 | 308.9 | 310.3 | 310.3 | 310.3 | Max value (8), actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 16 | 16 | 16 | 19.5 | 19.5 | 19.5 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, UCAP | 537.7 | 537.7 | 537.7 | 380.7 | 380.7 | 380.7 | (2)
Unoffered and Unsold MW (UCAP) | MW, UCAP | 0 | 0 | 0 | 0 | 0 | 0 | (2)
Existing capacity that Received an Offer Floor |  | 2022: Summer; 2023: Winter
Astoria Energy II | MW, ICAP | 2022: 570; 2023: 659 | (3) Table III-2
Class Year 2019 Examined Facilities in G-J | Requested CRIS MW
Gowanus Gas Turbine Facility Repowering | 574
King’s Plaza | 6
Spring Creek Tower | 8
Groundvault Energy Storage (LDG‐01304) | 12.5
Stillwell Energy Storage (LDG‐01326) | 10
Cleancar Energy Storage (LDG‐01330) | 15
Eagle Energy Storage | 20
Yonkers Grid (MC434295/LDG‐01344) | 20
Flint Mine Solar | 100
KCE NY 2 | 200
Danskammer Energy Center | 88.9
Greene County I | 20
Greene County II | 10
Little Pond Solar | 20
Greene County 3 | 20
Rising Solar II | 20
KCE NY 8a | 20
Blue Stone Solar | 20
KCE NY 14 | 20
Hannacroix Solar (CH‐08360) | 3.23
Monsey 44‐6 (LDG‐0171) | 5
Monsey 44‐2 (LDG‐0180) | 5
Monsey 44‐3 (LDG‐0179) | 5
Cuddebackville Battery (LDG‐0182‐83‐84) | 10
KCE NY 18 | 20
Prior Class Year Examined Facilities and not yet entered the market |  | 2022: Summer; 2023: Winter
Taylor Biomass (Q349, CY2011) | CRIS MW | 2022: 19; 2023: 19 | (3) Table IV-1
Berrians East Replacement (Q393, CY2017-1) | CRIS MW | 2022: 508; 2023: 508 | (3) Table IV-1
Facilities Evaluated under MST Sections 23.4.5.7.15.5, .6, and .7 | Summer CRIS | 2022: Summer Capability; 2023: Winter Capability
Coxsackie GT | 19.9 | 2022: 20.2; 2023: 23.9 | (3) Table IV-6
South Cairo | 19.8 | 2022: 18.1; 2023: 22.5 | (3) Table IV-6
Indian Point 2 | 1026.5 | 2022: 1011.5; 2023: 1029.4 | (6), (3) Table IV-5
Indian Point 3 | 1040.4 | 2022: 1036.3; 2023: 1038.3 | (6), (3) Table IV-5
74 St. GT 1 | 19 | 2022: 15.9; 2023: 19.5 | (3) Table IV-6
74 St. GT 2 | 20.1 | 2022: 19.3; 2023: 21.4 | (3) Table IV-6
Astoria GT 2-1 | 41.2 | 2022: 35.6; 2023: 46 | (3) Table IV-6
Astoria GT 2-2 | 42.4 | 2022: 34.2; 2023: 45.8 | (3) Table IV-6
Astoria GT 2-3 | 41.2 | 2022: 36.9; 2023: 47 | (3) Table IV-6
Astoria GT 2-4 | 41 | 2022: 35.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 3-1 | 41.2 | 2022: 34.6; 2023: 44.5 | (3) Table IV-6
Astoria GT 3-2 | 43.5 | 2022: 35.2; 2023: 45.5 | (3) Table IV-6
Astoria GT 3-3 | 43 | 2022: 34.9; 2023: 45.2 | (3) Table IV-6
Astoria GT 3-4 | 43 | 2022: 36.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 4-1 | 42.6 | 2022: 31.9; 2023: 44.8 | (3) Table IV-6
Astoria GT 4-2 | 41.4 | 2022: 33.5; 2023: 42.8 | (3) Table IV-6
Astoria GT 4-3 | 41.1 | 2022: 34.1; 2023: 44.6 | (3) Table IV-6
Astoria GT 4-4 | 42.8 | 2022: 33.3; 2023: 44 | (3) Table IV-6
Gowanus 1-1 | 19.1 | 2022: 18.6; 2023: 24 | (3) Table IV-6
Gowanus 1-2 | 17.1 | 2022: 19.1; 2023: 24.1 | (3) Table IV-6
Gowanus 1-3 | 17.2 | 2022: 17.9; 2023: 23.3 | (3) Table IV-6
Gowanus 1-4 | 17.1 | 2022: 16.3; 2023: 21.2 | (3) Table IV-6
Gowanus 1-5 | 16.5 | 2022: 17.3; 2023: 22.8 | (3) Table IV-6
Gowanus 1-6 | 18 | 2022: 16.5; 2023: 21.4 | (3) Table IV-6
Gowanus 1-7 | 17.6 | 2022: 17.2; 2023: 22.1 | (3) Table IV-6
Gowanus 1-8 | 16.1 | 2022: 15.3; 2023: 21.7 | (3) Table IV-6
Gowanus 4-1 | 16.8 | 2022: 18.9; 2023: 24.7 | (3) Table IV-6
Gowanus 4-2 | 17.3 | 2022: 17.3; 2023: 23.1 | (3) Table IV-6
Gowanus 4-3 | 17.6 | 2022: 18; 2023: 23.4 | (3) Table IV-6
Gowanus 4-4 | 17.1 | 2022: 15.8; 2023: 22.3 | (3) Table IV-6
Gowanus 4-5 | 17.1 | 2022: 16.8; 2023: 22.2 | (3) Table IV-6
Gowanus 4-6 | 18.6 | 2022: 18; 2023: 24.8 | (3) Table IV-6
Gowanus 4-7 | 16.6 | 2022: 14; 2023: 21.1 | (3) Table IV-6
Gowanus 4-8 | 19 | 2022: 16.5; 2023: 23.2 | (3) Table IV-6
Hudson Ave 3 | 16 | 2022: 16.6; 2023: 19.5 | (6), (3) Table IV-4
Hudson Ave 4 | 13.9 | 2022: 14; 2023: 16.3 | (3) Table IV-4
Hudson Ave 5 | 15.1 | 2022: 14.2; 2023: 20.2 | (3) Table IV-6
Ravenswood 01 | 8.8 | 2022: 8.1; 2023: 10.1 | (3) Table IV-6
Ravenswood 09 | 21.7 | 2022: 21.7; 2023: 22.8 | (3) Table IV-3
Ravenswood 10 | 21.2 | 2022: 16.5; 2023: 24.4 | (3) Table IV-6
Ravenswood 11 | 20.2 | 2022: 16.4; 2023: 22.4 | (3) Table IV-6
Ravenswood 2-1 | 40.4 | 2022: 40.4; 2023: 75 | (3) Table IV-3
Ravenswood 2-2 | 37.6 | 2022: 37.6; 2023: 41.9 | (3) Table IV-3
Ravenswood 2-3 | 39.2 | 2022: 39.2; 2023: 37.3 | (3) Table IV-3
Ravenswood 2-4 | 39.8 | 2022: 39.8; 2023: 41.6 | (3) Table IV-3
Ravenswood 3-1 | 40.5 | 2022: 40.5; 2023: 40.8 | (3) Table IV-3
Ravenswood 3-2 | 38.1 | 2022: 38.1; 2023: 40.3 | (3) Table IV-3
Ravenswood 3-4 | 35.8 | 2022: 35.8; 2023: 40.8 | (3) Table IV-3
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2020 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2020-2021 Capability Year. (January 8, 2020)
https://www.nyiso.com/documents/20142/8583126/LCR2020-Report.pdf
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" folder
(7) Third Quarter 2020 Survery of Professional Forecasters
https://www.philadelphiafed.org/surveys-and-data/real-time-data-research/spf-q3-2020
See table for Median Short-Run and Long-Run Projections for Inflation
(8) NYISO Installed Capacity Manual. June 2020
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf

## NYCA Inputs
NYCA ICAP Forecast Inputs for Class Year 2019 Examined Facilities
See accompanying “Assumptions and References” document posted concurrent with this spreadsheet for further information.
Date Published: December 15, 2020
|  | Summer | Summer | Summer | Winter | Winter | Winter
Demand Curve | Units | 2022 | 2023 | 2024 | 2022/23 | 2023/24 | 2024/25 | Document | Abbrev.
Load Forecast | ICAP MW | 32128 | 31918 | 31838 | 32128 | 31918 | 31838 | (3) Table I-3a | LF
NYCA Installed Reserve Margin | % | 128.5% | 126.7% | 126.7% | 128.5% | 126.7% | 126.7% | (4) for current values, MSP values are NYISO projections | IRM
ICAP Monthly Reference Point | $/kW-mo | 10.76 | 10.84 | 11.01 | 10.76 | 10.84 | 11.01 | (1) for current values, MSP values are NYISO projections | RP_ICAP
ICAP/UCAP Derating Factor | % | 13.71% | 13.76% | 13.76% | 12.46% | 13.21% | 13.21% | (5) for current values, MSP values are NYISO projections | EFORd
UCAP Reference Point | $/kW-mo | 12.47 | 12.57 | 12.77 | 12.29 | 12.49 | 12.69 | = RP_ICAP / (1-EFORd) | RP_UCAP
UCAP Requirement | UCAP MW | 35624.4 | 34875.5 | 34788.1 | 36140.4 | 35098 | 35010 | = LF * IRM * (1-EFORd) | UCAP Req
Zero Crossing Point | % | 112% | 112% | 112% | 112% | 112% | 112% | (1) | DCL
UCAP at $0 | UCAP MW | 39899.3 | 39060.6 | 38962.7 | 40477.2 | 39309.8 | 39211.2 | = UCAP Req * DCL | ZCP
Demand Curve Slope | ($/kWUCAP-mo)/ MWUCAP | -0.002917 | -0.0030035 | -0.003059 | -0.0028339 | -0.0029655 | -0.0030206 | = -1 * RP_UCAP / (ZCP - UCAP Req) | DCS
Demand Curve Inflation Index | % | 2022: 1.94%; 2023: 1.94%; 2024: 1.94% | (7) | EF
Supply (excludes units that received an Offer Floor)
Generation Capacity | MW, ICAP | 37251.9 | 36416 | 36416 | 39610.1 | 39061.2 | 39061.2 | (3) Table III-2 less Retirements, expected Retirements, and seasonal deactivations
Mothballed Units | MW, ICAP | 0 | 0 | 0 | 0 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
UDRs | MW, UCAP | 1050.5 | 1050.5 | 1050.5 | 1049.5222 | 1049.5222 | 1049.5222 | Max value (8), actuals are adjusted historic sales from (2)
Returned to Service | MW, ICAP | 16 | 16 | 16 | 19.5 | 0 | 0 | (6), (3) Tables IV-3, IV-4, and IV-5
Special Case Resources | MW, UCAP | 1226 | 1226 | 1226 | 842.1 | 842.1 | 842.1 | (2)
Unoffered and Unsold MW (UCAP) | MW, UCAP | -149.6 | -149.6 | -149.6 | -448.3 | -448.3 | -448.3 | (2)
Existing capacity that Received an Offer Floor |  | 2022: Summer; 2023: Winter
Astoria Energy II | MW, ICAP | 2022: 570; 2023: 659 | (3) Table III-2
Class Year 2019 Examined Facilities in G-J | Requested CRIS MW
Gowanus Gas Turbine Facility Repowering | 574
King’s Plaza | 6
Spring Creek Tower | 8
Groundvault Energy Storage (LDG‐01304) | 12.5
Stillwell Energy Storage (LDG‐01326) | 10
Cleancar Energy Storage (LDG‐01330) | 15
Eagle Energy Storage | 20
Yonkers Grid (MC434295/LDG‐01344) | 20
Flint Mine Solar | 100
KCE NY 2 | 200
Danskammer Energy Center | 88.9
Greene County I | 20
Greene County II | 10
Little Pond Solar | 20
Greene County 3 | 20
Rising Solar II | 20
KCE NY 8a | 20
Blue Stone Solar | 20
KCE NY 14 | 20
Hannacroix Solar (CH‐08360) | 3.23
Monsey 44‐6 (LDG‐0171) | 5
Monsey 44‐2 (LDG‐0180) | 5
Monsey 44‐3 (LDG‐0179) | 5
Cuddebackville Battery (LDG‐0182‐83‐84) | 10
KCE NY 18 | 20
Class Year 2019 Members in ROS & LI | Requested CRIS MW
SW Energy | 100
Alle Catt II Wind | 339.1
Bear Ridge Solar | 100
Excelsior Energy Center | 280
KCE NY 6 | 20
KCE NY 10 | 20
Heritage Wind | 200.1
High Top (South Perry) Solar | 20
Silver Lake Solar | 24.9
Ontario Landfill | 3.6
Homer Solar Energy Center | 90
Canisteo Wind | 290.7
NW Energy | 60
Watkins Glen Solar | 50
Cortland Energy Center | 50
North Light Energy Center | 80
Janis Solar | 20
North Side Solar | 180
Number 3 Wind Energy | 105.8
Roaring Brook Wind | 79.725
Deer River Wind | 100
Bluestone Wind | 124.2
High Bridge Wind | 100.8
Puckett Solar | 20
Mohawk Solar | 90.5
High River Solar | 90
East Point Solar | 50
Columbia County 1 | 60
Rock District Solar | 20
Tayandenega Solar | 20
Albany County 1 | 20
Albany County 2 | 20
Pattersonville | 20
Grissom Solar | 20
Easton Solar I | 20
Easton Solar II | 20
ELP Ticonderoga Solar | 20
ELP Stillwater Solar | 20
Grissom II Solar | 20
Dahowa Hydroelectric | 10.5
Fulton County Landfill | 3.2
Calverton Solar Energy Center | 22.9
Far Rockaway Battery Storage | 20
Prior Class Year Examined Facilities and not yet entered the market |  | 2022: Summer; 2023: Winter
Taylor Biomass (Q349, CY2011) | CRIS MW | 2022: 19; 2023: 19 | (3) Table IV-1
Berrians East Replacement (Q393, CY2017-1) | CRIS MW | 2022: 508; 2023: 508 | (3) Table IV-1
Facilities Evaluated under MST Sections 23.4.5.7.15.5, .6, and .7 | Summer CRIS | 2022: Summer Capability; 2023: Winter Capability
Somerset | 686.5 | 2022: 676.4; 2023: 684.4 | (6), (3) Table IV-5
Monroe Livingston | 2.4 | 2022: 2.4; 2023: 2.4 | (3) Table IV-4
Auburn - State St | 5.8 | 2022: 4.1; 2023: 7.3 | (3) Table IV-4
Binghamton | 43.8 | 2022: 43.8; 2023: 47.1 | (3) Table IV-3
Cayuga 1 | 154.1 | 2022: 151; 2023: 152 | (6), (3) Table IV-4
Cayuga 2 | 154.7 | 2022: 154.7; 2023: 158 | (6), (3) Table IV-3
Steuben County LF | 3.2 | 2022: 3.2; 2023: 3.2 | (3) Table IV-4
Lyonsdale | 20.2 | 2022: 20.2; 2023: 19.7 | (3) Table IV-3
Albany LFGE | 4.5 | 2022: 5.6; 2023: 5.6 | (6), (3) Table IV-5
Coxsackie GT | 19.9 | 2022: 20.2; 2023: 23.9 | (3) Table IV-6
South Cairo | 19.8 | 2022: 18.1; 2023: 22.5 | (3) Table IV-6
Indian Point 2 | 1026.5 | 2022: 1011.5; 2023: 1029.4 | (6), (3) Table IV-5
Indian Point 3 | 1040.4 | 2022: 1036.3; 2023: 1038.3 | (6), (3) Table IV-5
74 St. GT 1 | 19 | 2022: 15.9; 2023: 19.5 | (3) Table IV-6
74 St. GT 2 | 20.1 | 2022: 19.3; 2023: 21.4 | (3) Table IV-6
Astoria GT 2-1 | 41.2 | 2022: 35.6; 2023: 46 | (3) Table IV-6
Astoria GT 2-2 | 42.4 | 2022: 34.2; 2023: 45.8 | (3) Table IV-6
Astoria GT 2-3 | 41.2 | 2022: 36.9; 2023: 47 | (3) Table IV-6
Astoria GT 2-4 | 41 | 2022: 35.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 3-1 | 41.2 | 2022: 34.6; 2023: 44.5 | (3) Table IV-6
Astoria GT 3-2 | 43.5 | 2022: 35.2; 2023: 45.5 | (3) Table IV-6
Astoria GT 3-3 | 43 | 2022: 34.9; 2023: 45.2 | (3) Table IV-6
Astoria GT 3-4 | 43 | 2022: 36.1; 2023: 46.6 | (3) Table IV-6
Astoria GT 4-1 | 42.6 | 2022: 31.9; 2023: 44.8 | (3) Table IV-6
Astoria GT 4-2 | 41.4 | 2022: 33.5; 2023: 42.8 | (3) Table IV-6
Astoria GT 4-3 | 41.1 | 2022: 34.1; 2023: 44.6 | (3) Table IV-6
Astoria GT 4-4 | 42.8 | 2022: 33.3; 2023: 44 | (3) Table IV-6
Gowanus 1-1 | 19.1 | 2022: 18.6; 2023: 24 | (3) Table IV-6
Gowanus 1-2 | 17.1 | 2022: 19.1; 2023: 24.1 | (3) Table IV-6
Gowanus 1-3 | 17.2 | 2022: 17.9; 2023: 23.3 | (3) Table IV-6
Gowanus 1-4 | 17.1 | 2022: 16.3; 2023: 21.2 | (3) Table IV-6
Gowanus 1-5 | 16.5 | 2022: 17.3; 2023: 22.8 | (3) Table IV-6
Gowanus 1-6 | 18 | 2022: 16.5; 2023: 21.4 | (3) Table IV-6
Gowanus 1-7 | 17.6 | 2022: 17.2; 2023: 22.1 | (3) Table IV-6
Gowanus 1-8 | 16.1 | 2022: 15.3; 2023: 21.7 | (3) Table IV-6
Gowanus 4-1 | 16.8 | 2022: 18.9; 2023: 24.7 | (3) Table IV-6
Gowanus 4-2 | 17.3 | 2022: 17.3; 2023: 23.1 | (3) Table IV-6
Gowanus 4-3 | 17.6 | 2022: 18; 2023: 23.4 | (3) Table IV-6
Gowanus 4-4 | 17.1 | 2022: 15.8; 2023: 22.3 | (3) Table IV-6
Gowanus 4-5 | 17.1 | 2022: 16.8; 2023: 22.2 | (3) Table IV-6
Gowanus 4-6 | 18.6 | 2022: 18; 2023: 24.8 | (3) Table IV-6
Gowanus 4-7 | 16.6 | 2022: 14; 2023: 21.1 | (3) Table IV-6
Gowanus 4-8 | 19 | 2022: 16.5; 2023: 23.2 | (3) Table IV-6
Hudson Ave 3 | 16 | 2022: 16.6; 2023: 19.5 | (6), (3) Table IV-4
Hudson Ave 4 | 13.9 | 2022: 14; 2023: 16.3 | (3) Table IV-4
Hudson Ave 5 | 15.1 | 2022: 14.2; 2023: 20.2 | (3) Table IV-6
Ravenswood 01 | 8.8 | 2022: 8.1; 2023: 10.1 | (3) Table IV-6
Ravenswood 09 | 21.7 | 2022: 21.7; 2023: 22.8 | (3) Table IV-3
Ravenswood 10 | 21.2 | 2022: 16.5; 2023: 24.4 | (3) Table IV-6
Ravenswood 11 | 20.2 | 2022: 16.4; 2023: 22.4 | (3) Table IV-6
Ravenswood 2-1 | 40.4 | 2022: 40.4; 2023: 75 | (3) Table IV-3
Ravenswood 2-2 | 37.6 | 2022: 37.6; 2023: 41.9 | (3) Table IV-3
Ravenswood 2-3 | 39.2 | 2022: 39.2; 2023: 37.3 | (3) Table IV-3
Ravenswood 2-4 | 39.8 | 2022: 39.8; 2023: 41.6 | (3) Table IV-3
Ravenswood 3-1 | 40.5 | 2022: 40.5; 2023: 40.8 | (3) Table IV-3
Ravenswood 3-2 | 38.1 | 2022: 38.1; 2023: 40.3 | (3) Table IV-3
Ravenswood 3-4 | 35.8 | 2022: 35.8; 2023: 40.8 | (3) Table IV-3
Glenwood GT 01 | 14.6 | 2022: 11.4; 2023: 14.5 | (6)
Northport GT | 13.8 | 2022: 11.7; 2023: 15.1 | (3) Table IV-6
Port Jefferson GT 01 | 14.1 | 2022: 12.9; 2023: 16.6 | (3) Table IV-6
West Babylon 4 | 49 | 2022: 50.2; 2023: 65.4 | (6), (3) Table IV-5
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) NYISO Monthly UCAP Reports
https://www.nyiso.com/installed-capacity-market
See the "Monthly Reports" folder and the "Monthly UCAP Reports" subfolder
(3) 2020 Load & Capacity Data "Gold Book"
https://www.nyiso.com/documents/20142/2226333/2020-Gold-Book-Final-Public.pdf
(4) Locational Minimum Installed Capacity Requirements Study Covering the New York Balancing Authority Area for the 2020-2021 Capability Year. (January 8, 2020)
https://www.nyiso.com/documents/20142/8583126/LCR2020-Report.pdf
(5) ICAP Translation of Demand Curve
https://www.nyiso.com/installed-capacity-market
See: "ICAP Auctions" > [Year] > [Capability Period] > "Documents"
(6) Generator Status Update spreadsheet
https://www.nyiso.com/ny-power-system-information-outlook
See the "Generator Status Updates" folder
(7) Third Quarter 2020 Survery of Professional Forecasters
https://www.philadelphiafed.org/surveys-and-data/real-time-data-research/spf-q3-2020
See table for Median Short-Run and Long-Run Projections for Inflation
(8) NYISO Installed Capacity Manual. June 2020
https://www.nyiso.com/documents/20142/2923301/icap_mnl.pdf

## DOF NYC
NYC Default Net CONE Shaping
Date Published: December 15, 2020
Input | Abbreviation | Source | Calculation | Units | Capability Year 2022/23 | Capability Year 2023/24 | Capability Year 2024/25
Annual ICAP Reference Value | ARV | (1) | MSP values are NYISO projections | $/kW-yr, ICAP | 205.36 | 206.83 | 206.05
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 217.6 | 217.6 | 217.6
Winter DMNC | Qw | (1) | -- | MW, ICAP | 228.7 | 228.7 | 228.7
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.9 | 226.9 | 226.9
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.081 | 1.091 | 1.075
Demand Curve Length | DCL | (1) | -- | none | 1.18 | 1.18 | 1.18
Escalation Factor | EF | (1) | -- | % | 3.67% | 3.67% | 3.67%
Excess | Exc | (2) | -- | % | 2.3% | 2.3% | 2.3%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 205.36 | 206.83 | 206.05
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 154.02 | 155.12 | 154.54
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 15.84 | 16.55 | 15.55
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 8.71 | 8.18 | 9.07
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 157.48 | 158.61 | 158.02
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 16.15 | 16.87 | 15.87
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 8.88 | 8.34 | 9.26
Notes:
- For Class Year 2019, the Default Net CONE is calculated based on Capability Year 2022/2023, the first year of the Mitigation Study Period.
- The following inputs reflect values that have been updated since initial posting on November 11, 2020: Ratio of Winter to Summer DMNCs for locality, Summer Monthly Offer Floor (ICAP and UCAP) and Winter Monthly Offer Floors (ICAP and UCAP).
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
https://www.nyiso.com/installed-capacity-market

## DOF G-J
G-J Locality Default Net CONE Shaping
Date Published: December 15, 2020
Input | Abbreviation | Source | Calculation | Units | Capability Year 2022/23 | Capability Year 2023/24 | Capability Year 2024/25
Annual ICAP Reference Value | ARV | (1) | MSP values are NYISO projections | $/kW-yr, ICAP | 170.82 | 173.56 | 174.75
DMNC at 90 degrees Fahrenheit ("ICAP conditions") | Qi | (1) |  | MW, ICAP | 218 | 218 | 218
Winter DMNC | Qw | (1) | -- | MW, ICAP | 230.3 | 230.3 | 230.3
Summer DMNC | Qs | (1) | -- | MW, ICAP | 226.8 | 226.8 | 226.8
Ratio of Winter to Summer DMNCs for Locality | R | (1) | -- | none | 1.064 | 1.07 | 1.06
Demand Curve Length | DCL | (1) | -- | none | 1.15 | 1.15 | 1.15
Escalation Factor | EF | (1) | -- | % | 3.67% | 3.67% | 3.67%
Excess | Exc | (2) | -- | % | 1.5% | 1.5% | 1.5%
Demand Curve Proxy EFORd | EFORd | (2) |  | % | 2.2% | 2.2% | 2.2%
Mitigation Net CONE | MNC | Calc. | ARV | $/kW-yr, ICAP | 170.82 | 173.56 | 174.75
Default Net CONE, ICAP | AOF | Calc. | 0.75*MNC | $/kW-yr, ICAP | 128.12 | 130.17 | 131.06
Summer Monthly Offer Floor, ICAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, ICAP | 12.97 | 13.53 | 13.05
Winter Monthly Offer Floor, ICAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, ICAP | 7.44 | 7.22 | 7.83
Annual Default Offer Floor, UCAP | AOF | Calc. | AOF/(1-EFORd) | $/kW-yr, UCAP | 131 | 133.1 | 134.01
Summer Monthly Offer Floor, UCAP | SOF | Calc. | AOF*Qi/(6*(Qs+Qw((DCL-R)/(DCL-1)))) | $/kW-mo, UCAP | 13.21 | 13.77 | 13.29
Winter Monthly Offer Floor, UCAP | WOF | Calc. | SOF*((DCL-R)/(DCL-1)) | $/kW-mo, UCAP | 7.57 | 7.34 | 7.97
Notes:
- For Class Year 2019, the Default Net CONE is calculated based on Capability Year 2022/2023, the first year of the Mitigation Study Period.
- The following inputs reflect values that have been updated since initial posting on November 11, 2020: Ratio of Winter to Summer DMNCs for locality, Summer Monthly Offer Floor (ICAP and UCAP) and Winter Monthly Offer Floors (ICAP and UCAP).
Source Documents:
(1) NYISO 2020/2021 Demand Curves
https://www.nyiso.com/documents/20142/8478044/DCR-Results-2020-2021.pdf
(2) Documents under Reference Documents/2017-2021 Demand Curve Reset/Demand Curve Reset
https://www.nyiso.com/installed-capacity-market